## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 20:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
79203 | 2021-04-07 17:18 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4591 | μmol/L | 11.5432 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.904 | 148719.809 | 277274.597 | 36.4 | 83.1
79212 | 2021-04-07 17:18 | 0.33068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3219 | μmol/L | 11.5493 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.907 | 148720.8892 | 277259.193 | 36.4 | 83.1
79221 | 2021-04-07 17:18 | 0.66394 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3978 | μmol/L | 11.5493 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.904 | 148696.9001 | 277262.679 | 36.4 | 83.1
79230 | 2021-04-07 17:19 | 0.99686 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4484 | μmol/L | 11.5493 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.902 | 148682.0308 | 277251.3406 | 36.4 | 83.1
79239 | 2021-04-07 17:19 | 1.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5496 | μmol/L | 11.5493 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.898 | 148660.1731 | 277233.5388 | 36.4 | 83.1
79248 | 2021-04-07 17:19 | 1.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5389 | μmol/L | 11.5555 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.896 | 148635.2927 | 277208.2301 | 36.4 | 83.1
79257 | 2021-04-07 17:20 | 1.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3511 | μmol/L | 11.5616 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.901 | 148619.0004 | 277191.9281 | 36.4 | 83.1
79266 | 2021-04-07 17:20 | 2.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5496 | μmol/L | 11.5493 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.898 | 148595.3771 | 277186.4381 | 36.4 | 83.1
79275 | 2021-04-07 17:20 | 2.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3764 | μmol/L | 11.5616 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.9 | 148598.1468 | 277179.048 | 36.4 | 83.1
79284 | 2021-04-07 17:21 | 2.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3404 | μmol/L | 11.5677 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.899 | 148587.095 | 277170.2557 | 36.4 | 83.1
79293 | 2021-04-07 17:21 | 3.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4017 | μmol/L | 11.5616 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.899 | 148563.6386 | 277154.4214 | 36.4 | 83.1
79302 | 2021-04-07 17:21 | 3.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4163 | μmol/L | 11.5677 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.896 | 148560.7307 | 277150.8202 | 36.4 | 83.1
79311 | 2021-04-07 17:22 | 3.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4163 | μmol/L | 11.5677 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.896 | 148547.2419 | 277133.2544 | 36.4 | 83.1
79320 | 2021-04-07 17:22 | 4.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3657 | μmol/L | 11.5677 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.898 | 148529.585 | 277121.5638 | 36.4 | 83.1
79329 | 2021-04-07 17:22 | 4.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4056 | μmol/L | 11.5738 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.894 | 148520.0428 | 277106.7085 | 36.4 | 83.1
79338 | 2021-04-07 17:23 | 4.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4815 | μmol/L | 11.5738 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.891 | 148516.9658 | 277102.4375 | 36.4 | 83.1
79347 | 2021-04-07 17:23 | 5.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3803 | μmol/L | 11.5738 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.895 | 148490.2604 | 277081.719 | 36.4 | 83.1
79356 | 2021-04-07 17:23 | 5.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2938 | μmol/L | 11.5799 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.896 | 148487.0742 | 277087.8066 | 36.4 | 83.1
79365 | 2021-04-07 17:24 | 5.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3444 | μmol/L | 11.5799 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.894 | 148470.1963 | 277058.8447 | 36.4 | 83.1
79374 | 2021-04-07 17:24 | 6.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.1966 | μmol/L | 11.5921 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.895 | 148452.8469 | 277049.52 | 36.4 | 83.1
79383 | 2021-04-07 17:24 | 6.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2831 | μmol/L | 11.586 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.894 | 148434.5132 | 277046.2145 | 36.4 | 83.1
79392 | 2021-04-07 17:25 | 6.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2831 | μmol/L | 11.586 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.894 | 148421.5151 | 277028.0414 | 36.4 | 83.1
79401 | 2021-04-07 17:25 | 7.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3084 | μmol/L | 11.586 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.893 | 148407.4422 | 277031.9467 | 36.4 | 83.1
79410 | 2021-04-07 17:25 | 7.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2472 | μmol/L | 11.5921 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.893 | 148402.018 | 277021.7816 | 36.4 | 83.1
79419 | 2021-04-07 17:26 | 7.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2618 | μmol/L | 11.5982 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.89 | 148385.227 | 277018.3555 | 36.4 | 83.1
79428 | 2021-04-07 17:26 | 8.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2365 | μmol/L | 11.5982 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.891 | 148363.0964 | 276998.1351 | 36.4 | 83.1
79437 | 2021-04-07 17:26 | 8.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2618 | μmol/L | 11.5982 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.89 | 148357.0973 | 276990.2437 | 36.4 | 83.1
79446 | 2021-04-07 17:27 | 8.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2871 | μmol/L | 11.5982 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.889 | 148336.2984 | 276978.0203 | 36.4 | 83.1
79455 | 2021-04-07 17:27 | 9.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2512 | μmol/L | 11.6044 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.888 | 148323.0919 | 276961.7575 | 36.4 | 83.1
79464 | 2021-04-07 17:27 | 9.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2512 | μmol/L | 11.6044 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.888 | 148322.8564 | 276973.7252 | 36.4 | 83.1
79473 | 2021-04-07 17:28 | 9.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3883 | μmol/L | 11.5982 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.885 | 148307.2696 | 276962.82 | 36.4 | 83.1
79482 | 2021-04-07 17:28 | 10.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2765 | μmol/L | 11.6044 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.887 | 148287.4346 | 276945.2701 | 36.4 | 83.1
79491 | 2021-04-07 17:28 | 10.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2765 | μmol/L | 11.6044 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.887 | 148276.428 | 276939.6627 | 36.4 | 83.1
79500 | 2021-04-07 17:29 | 10.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2406 | μmol/L | 11.6105 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.886 | 148262.2388 | 276939.5781 | 36.4 | 83.1
79509 | 2021-04-07 17:29 | 11.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2299 | μmol/L | 11.6166 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.884 | 148252.6137 | 276929.4792 | 36.4 | 83.1
79518 | 2021-04-07 17:29 | 11.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.194 | μmol/L | 11.6227 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.883 | 148235.4149 | 276926.1436 | 36.4 | 83.1
79527 | 2021-04-07 17:30 | 11.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.367 | μmol/L | 11.6105 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.881 | 148230.0048 | 276918.9435 | 36.4 | 83.1
79536 | 2021-04-07 17:30 | 12.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2193 | μmol/L | 11.6227 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.882 | 148207.5201 | 276901.2819 | 36.4 | 83.1
79545 | 2021-04-07 17:30 | 12.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2805 | μmol/L | 11.6166 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.882 | 148210.3298 | 276897.0068 | 36.4 | 83.1
79554 | 2021-04-07 17:31 | 12.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.1794 | μmol/L | 11.6166 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.886 | 148188.9578 | 276879.4568 | 36.4 | 83.1
79563 | 2021-04-07 17:31 | 13.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.1688 | μmol/L | 11.6227 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.884 | 148188.3692 | 276873.953 | 36.4 | 83.1
79572 | 2021-04-07 17:31 | 13.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0464 | μmol/L | 11.6349 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.884 | 148180.4779 | 276866.0898 | 36.4 | 83.1
79581 | 2021-04-07 17:32 | 13.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0212 | μmol/L | 11.6349 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.885 | 148174.9079 | 276862.0802 | 36.4 | 83.1
79590 | 2021-04-07 17:32 | 14.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0318 | μmol/L | 11.6288 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.887 | 148171.3334 | 276861.6957 | 36.4 | 83.1
79599 | 2021-04-07 17:32 | 14.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0065 | μmol/L | 11.6288 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.888 | 148163.5951 | 276847.5134 | 36.4 | 83.1
79608 | 2021-04-07 17:33 | 14.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9959 | μmol/L | 11.6349 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.886 | 148157.9308 | 276845.392 | 36.4 | 83.1
79617 | 2021-04-07 17:33 | 15.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9706 | μmol/L | 11.6349 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.887 | 148142.9099 | 276817.9379 | 36.4 | 83.1
79626 | 2021-04-07 17:33 | 15.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0318 | μmol/L | 11.6288 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.887 | 148142.8794 | 276815.3907 | 36.4 | 83.1
79635 | 2021-04-07 17:34 | 15.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0212 | μmol/L | 11.6349 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.885 | 148121.043 | 276802.5369 | 36.4 | 83.1
79644 | 2021-04-07 17:34 | 16.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.097 | μmol/L | 11.6349 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.882 | 148113.4081 | 276787.9681 | 36.4 | 83.1
79653 | 2021-04-07 17:34 | 16.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9348 | μmol/L | 11.641 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.886 | 148103.8644 | 276791.2752 | 36.4 | 83.1
79662 | 2021-04-07 17:35 | 16.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9348 | μmol/L | 11.641 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.886 | 148100.5054 | 276779.8711 | 36.4 | 83.1
79671 | 2021-04-07 17:35 | 17.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9706 | μmol/L | 11.6349 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.887 | 148091.8821 | 276775.2186 | 36.4 | 83.1
79680 | 2021-04-07 17:35 | 17.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9853 | μmol/L | 11.641 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.884 | 148081.8223 | 276760.4748 | 36.4 | 83.1
79689 | 2021-04-07 17:36 | 17.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.96 | μmol/L | 11.641 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.885 | 148075.7355 | 276761.8605 | 36.4 | 83.1
79698 | 2021-04-07 17:36 | 18.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8232 | μmol/L | 11.6471 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.888 | 148072.223 | 276761.6766 | 36.4 | 83.1
79707 | 2021-04-07 17:36 | 18.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9242 | μmol/L | 11.6471 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.884 | 148064.3586 | 276753.595 | 36.4 | 83.1
79716 | 2021-04-07 17:37 | 18.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9242 | μmol/L | 11.6471 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.884 | 148051.0975 | 276746.5662 | 36.4 | 83.1
79725 | 2021-04-07 17:37 | 19.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8884 | μmol/L | 11.6532 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.883 | 148044.5885 | 276748.3187 | 36.4 | 83.1
79734 | 2021-04-07 17:37 | 19.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8884 | μmol/L | 11.6532 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.883 | 148029.9911 | 276733.078 | 36.4 | 83.1
79743 | 2021-04-07 17:38 | 19.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8378 | μmol/L | 11.6532 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.885 | 148028.2042 | 276728.2335 | 36.4 | 83.1
79752 | 2021-04-07 17:38 | 20.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7768 | μmol/L | 11.6594 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.885 | 148011.3183 | 276726.954 | 36.4 | 83.1
79761 | 2021-04-07 17:38 | 20.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8273 | μmol/L | 11.6594 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.883 | 148006.5785 | 276712.5399 | 36.4 | 83.1
79770 | 2021-04-07 17:39 | 20.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8273 | μmol/L | 11.6594 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.883 | 147996.0609 | 276695.6518 | 36.4 | 83.1
79779 | 2021-04-07 17:39 | 21.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8631 | μmol/L | 11.6532 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.884 | 147988.0951 | 276702.0733 | 36.4 | 83.1
79788 | 2021-04-07 17:39 | 21.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8273 | μmol/L | 11.6594 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.883 | 147977.995 | 276687.4016 | 36.4 | 83.1
79797 | 2021-04-07 17:40 | 21.9966 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8884 | μmol/L | 11.6532 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.883 | 147973.4299 | 276692.7899 | 36.4 | 83.1
79806 | 2021-04-07 17:40 | 22.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.842 | μmol/L | 11.6655 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.88 | 147963.4215 | 276666.0931 | 36.4 | 83.1
79815 | 2021-04-07 17:40 | 22.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7662 | μmol/L | 11.6655 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.883 | 147948.5032 | 276671.7759 | 36.4 | 83.1
79824 | 2021-04-07 17:41 | 22.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8525 | μmol/L | 11.6594 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.882 | 147937.05 | 276670.9651 | 36.4 | 83.1
79833 | 2021-04-07 17:41 | 23.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8062 | μmol/L | 11.6716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.879 | 147920.275 | 276660.4338 | 36.4 | 83.1
79842 | 2021-04-07 17:41 | 23.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8062 | μmol/L | 11.6716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.879 | 147922.2999 | 276650.7522 | 36.4 | 83.1
79851 | 2021-04-07 17:42 | 23.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8062 | μmol/L | 11.6716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.879 | 147907.711 | 276633.6287 | 36.4 | 83.1
79860 | 2021-04-07 17:42 | 24.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7809 | μmol/L | 11.6716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.88 | 147889.7091 | 276628.2292 | 36.4 | 83.1
79869 | 2021-04-07 17:42 | 24.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.882 | μmol/L | 11.6716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.876 | 147885.4945 | 276627.3077 | 36.4 | 83.1
79878 | 2021-04-07 17:43 | 24.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7704 | μmol/L | 11.6777 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.878 | 147873.0285 | 276618.2255 | 36.4 | 83.1
79887 | 2021-04-07 17:43 | 25.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7304 | μmol/L | 11.6716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.882 | 147864.2208 | 276610.4638 | 36.4 | 83.1
79896 | 2021-04-07 17:43 | 25.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8062 | μmol/L | 11.6716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.879 | 147848.9423 | 276608.373 | 36.4 | 83.1
79905 | 2021-04-07 17:44 | 25.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7451 | μmol/L | 11.6777 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.879 | 147836.0811 | 276594.2674 | 36.4 | 83.1
79914 | 2021-04-07 17:44 | 26.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7956 | μmol/L | 11.6777 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.877 | 147834.2749 | 276603.3683 | 36.4 | 83.1
79923 | 2021-04-07 17:44 | 26.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7956 | μmol/L | 11.6777 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.877 | 147822.6499 | 276596.2326 | 36.4 | 83.1
79932 | 2021-04-07 17:45 | 26.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7346 | μmol/L | 11.6838 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.877 | 147815.5189 | 276574.2734 | 36.4 | 83.1
79941 | 2021-04-07 17:45 | 27.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7199 | μmol/L | 11.6777 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.88 | 147822.6104 | 276582.6645 | 36.4 | 83.1
79950 | 2021-04-07 17:45 | 27.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7094 | μmol/L | 11.6838 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.878 | 147815.2657 | 276581.1995 | 36.4 | 83.1
79959 | 2021-04-07 17:46 | 27.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8062 | μmol/L | 11.6716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.879 | 147818.4896 | 276561.5175 | 36.4 | 83.1
79968 | 2021-04-07 17:46 | 28.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6336 | μmol/L | 11.6838 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.881 | 147810.2469 | 276563.9496 | 36.4 | 83.1
79977 | 2021-04-07 17:46 | 28.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6336 | μmol/L | 11.6838 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.881 | 147804.2706 | 276558.8109 | 36.4 | 83.1
79986 | 2021-04-07 17:47 | 28.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6589 | μmol/L | 11.6838 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.88 | 147804.449 | 276548.2444 | 36.4 | 83.1
79995 | 2021-04-07 17:47 | 29.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6483 | μmol/L | 11.6899 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.878 | 147787.511 | 276546.7142 | 36.4 | 83.1
80004 | 2021-04-07 17:47 | 29.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6988 | μmol/L | 11.6899 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.876 | 147781.4694 | 276537.3744 | 36.4 | 83.1
80013 | 2021-04-07 17:48 | 29.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6231 | μmol/L | 11.6899 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.879 | 147761.1424 | 276537.8191 | 36.4 | 83.1
80022 | 2021-04-07 17:48 | 30.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6631 | μmol/L | 11.696 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.875 | 147756.3164 | 276537.5367 | 36.4 | 83.1
80031 | 2021-04-07 17:48 | 30.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6988 | μmol/L | 11.6899 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.876 | 147750.6993 | 276534.6825 | 36.4 | 83.1
80040 | 2021-04-07 17:49 | 30.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6378 | μmol/L | 11.696 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.876 | 147736.8746 | 276522.3638 | 36.4 | 83.1
80049 | 2021-04-07 17:49 | 31.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6126 | μmol/L | 11.696 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.877 | 147733.8126 | 276519.0611 | 36.4 | 83.1
80058 | 2021-04-07 17:49 | 31.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6883 | μmol/L | 11.696 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.874 | 147711.7835 | 276521.8268 | 36.4 | 83.1
80067 | 2021-04-07 17:50 | 31.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7136 | μmol/L | 11.696 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.873 | 147707.762 | 276493.8753 | 36.4 | 83.1
80076 | 2021-04-07 17:50 | 32.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6778 | μmol/L | 11.7021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.872 | 147700.8601 | 276497.2741 | 36.4 | 83.1
80085 | 2021-04-07 17:50 | 32.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7136 | μmol/L | 11.696 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.873 | 147679.8305 | 276487.2491 | 36.4 | 83.1
80094 | 2021-04-07 17:51 | 32.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7136 | μmol/L | 11.696 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.873 | 147671.5972 | 276493.2837 | 36.4 | 83.1
80103 | 2021-04-07 17:51 | 33.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7536 | μmol/L | 11.7021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.869 | 147662.2655 | 276477.2834 | 36.4 | 83.1
80112 | 2021-04-07 17:51 | 33.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7031 | μmol/L | 11.7021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.871 | 147652.0723 | 276473.0393 | 36.4 | 83.1
80121 | 2021-04-07 17:52 | 33.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7178 | μmol/L | 11.7083 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.868 | 147632.3189 | 276461.5256 | 36.4 | 83.1
80130 | 2021-04-07 17:52 | 34.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6063 | μmol/L | 11.7144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.87 | 147630.8597 | 276455.7793 | 36.4 | 83.1
80139 | 2021-04-07 17:52 | 34.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7178 | μmol/L | 11.7083 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.868 | 147619.9624 | 276454.6039 | 36.4 | 83.1
80148 | 2021-04-07 17:53 | 34.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6316 | μmol/L | 11.7144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.869 | 147609.0013 | 276450.8504 | 36.4 | 83.1
80157 | 2021-04-07 17:53 | 35.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8546 | μmol/L | 11.7021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.865 | 147602.7205 | 276438.2688 | 36.4 | 83.1
80166 | 2021-04-07 17:53 | 35.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7683 | μmol/L | 11.7083 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.866 | 147593.5329 | 276437.74 | 36.4 | 83.1
80175 | 2021-04-07 17:54 | 35.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6821 | μmol/L | 11.7144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.867 | 147578.048 | 276434.2212 | 36.4 | 83.1
80184 | 2021-04-07 17:54 | 36.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7326 | μmol/L | 11.7144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.865 | 147577.1014 | 276431.961 | 36.4 | 83.1
80193 | 2021-04-07 17:54 | 36.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7683 | μmol/L | 11.7083 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.866 | 147560.355 | 276416.3081 | 36.4 | 83.1
80202 | 2021-04-07 17:55 | 36.9966 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6968 | μmol/L | 11.7205 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.864 | 147555.6057 | 276407.5139 | 36.4 | 83.1
80211 | 2021-04-07 17:55 | 37.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6211 | μmol/L | 11.7205 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.867 | 147545.9833 | 276406.4991 | 36.4 | 83.1
80220 | 2021-04-07 17:55 | 37.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7073 | μmol/L | 11.7144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.866 | 147552.922 | 276418.7419 | 36.4 | 83.1
80229 | 2021-04-07 17:56 | 37.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.5958 | μmol/L | 11.7205 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.868 | 147546.3052 | 276405.3635 | 36.4 | 83.1
80238 | 2021-04-07 17:56 | 38.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7431 | μmol/L | 11.7083 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.867 | 147549.4396 | 276415.8354 | 36.4 | 83.1
80247 | 2021-04-07 17:56 | 38.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6821 | μmol/L | 11.7144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.867 | 147558.3109 | 276404.9855 | 36.4 | 83.1
80256 | 2021-04-07 17:57 | 38.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6316 | μmol/L | 11.7144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.869 | 147558.8725 | 276393.5834 | 36.4 | 83.1
80265 | 2021-04-07 17:57 | 39.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.5306 | μmol/L | 11.7144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.873 | 147560.1413 | 276373.9648 | 36.4 | 83.1
80274 | 2021-04-07 17:57 | 39.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.3687 | μmol/L | 11.7205 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.877 | 147580.2993 | 276387.8013 | 36.4 | 83.1
80283 | 2021-04-07 17:58 | 39.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.3435 | μmol/L | 11.7205 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.878 | 147585.0651 | 276386.8703 | 36.4 | 83.1
80292 | 2021-04-07 17:58 | 40.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.2679 | μmol/L | 11.7205 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.881 | 147594.7233 | 276379.652 | 36.4 | 83.1
80301 | 2021-04-07 17:58 | 40.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.207 | μmol/L | 11.7266 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.881 | 147603.805 | 276373.8541 | 36.4 | 83.1
80310 | 2021-04-07 17:59 | 40.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.2175 | μmol/L | 11.7205 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.883 | 147618.2625 | 276389.4196 | 36.4 | 83.1
80319 | 2021-04-07 17:59 | 41.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.1671 | μmol/L | 11.7205 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.885 | 147632.9106 | 276370.7115 | 36.4 | 83.1
80328 | 2021-04-07 17:59 | 41.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.9551 | μmol/L | 11.7266 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.891 | 147635.3383 | 276371.3814 | 36.4 | 83.1
80337 | 2021-04-07 18:00 | 41.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.0054 | μmol/L | 11.7266 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.889 | 147650.8137 | 276369.291 | 36.4 | 83.1
80346 | 2021-04-07 18:00 | 42.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.0159 | μmol/L | 11.7205 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.891 | 147664.9062 | 276363.4381 | 36.4 | 83.1
80355 | 2021-04-07 18:00 | 42.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.7076 | μmol/L | 11.7388 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.896 | 147664.8105 | 276358.0749 | 36.4 | 83.1
80364 | 2021-04-07 18:01 | 42.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.7936 | μmol/L | 11.7327 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.895 | 147666.215 | 276353.3639 | 36.4 | 83.1
80373 | 2021-04-07 18:01 | 43.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.7181 | μmol/L | 11.7327 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.898 | 147673.8064 | 276362.7578 | 36.4 | 83.1
80382 | 2021-04-07 18:01 | 43.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6929 | μmol/L | 11.7327 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.899 | 147682.3575 | 276345.6374 | 36.4 | 83.1
80391 | 2021-04-07 18:02 | 43.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.7181 | μmol/L | 11.7327 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.898 | 147681.2218 | 276346.5102 | 36.4 | 83.1
80400 | 2021-04-07 18:02 | 44.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.5819 | μmol/L | 11.7388 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.901 | 147678.9098 | 276325.1907 | 36.4 | 83.1
80409 | 2021-04-07 18:02 | 44.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6825 | μmol/L | 11.7388 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.897 | 147673.3499 | 276320.1285 | 36.4 | 83.1
80418 | 2021-04-07 18:03 | 44.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6426 | μmol/L | 11.7327 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.901 | 147681.7833 | 276326.3136 | 36.4 | 83.1
80427 | 2021-04-07 18:03 | 45.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.5819 | μmol/L | 11.7388 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.901 | 147668.8635 | 276309.4488 | 36.4 | 83.1
80436 | 2021-04-07 18:03 | 45.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.4709 | μmol/L | 11.7449 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.903 | 147678.512 | 276321.555 | 36.4 | 83.1
80445 | 2021-04-07 18:04 | 45.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.4353 | μmol/L | 11.751 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.902 | 147678.3338 | 276318.2722 | 36.4 | 83.1
80454 | 2021-04-07 18:04 | 46.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.5211 | μmol/L | 11.7449 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.901 | 147678.5346 | 276317.0396 | 36.4 | 83.1
80463 | 2021-04-07 18:04 | 46.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.5316 | μmol/L | 11.7388 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.903 | 147685.1737 | 276304.1225 | 36.4 | 83.1
80472 | 2021-04-07 18:05 | 46.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.5463 | μmol/L | 11.7449 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.9 | 147677.6416 | 276307.298 | 36.4 | 83.1
80481 | 2021-04-07 18:05 | 47.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.4206 | μmol/L | 11.7449 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.905 | 147678.0674 | 276302.2967 | 36.4 | 83.1
80490 | 2021-04-07 18:05 | 47.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.5064 | μmol/L | 11.7388 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.904 | 147668.1082 | 276307.5208 | 36.4 | 83.1
80499 | 2021-04-07 18:06 | 47.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.4855 | μmol/L | 11.751 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.9 | 147659.1638 | 276292.4703 | 36.4 | 83.1
80508 | 2021-04-07 18:06 | 48.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.4206 | μmol/L | 11.7449 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.905 | 147660.8071 | 276298.6617 | 36.4 | 83.1
80517 | 2021-04-07 18:06 | 48.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.5714 | μmol/L | 11.7449 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.899 | 147647.4896 | 276292.6523 | 36.4 | 83.1
80526 | 2021-04-07 18:07 | 48.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6972 | μmol/L | 11.7449 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.894 | 147634.3765 | 276295.4821 | 36.4 | 83.1
80535 | 2021-04-07 18:07 | 49.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6217 | μmol/L | 11.7449 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.897 | 147616.0302 | 276276.9876 | 36.4 | 83.1
80544 | 2021-04-07 18:07 | 49.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.5861 | μmol/L | 11.751 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.896 | 147599.9515 | 276268.9663 | 36.4 | 83.1
80553 | 2021-04-07 18:08 | 49.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6364 | μmol/L | 11.751 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.894 | 147573.2356 | 276272.9387 | 36.4 | 83.1
80562 | 2021-04-07 18:08 | 50.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.737 | μmol/L | 11.751 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.89 | 147558.1313 | 276282.0534 | 36.4 | 83.1
80571 | 2021-04-07 18:08 | 50.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.7119 | μmol/L | 11.751 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.891 | 147544.896 | 276282.4371 | 36.4 | 83.1
80580 | 2021-04-07 18:09 | 50.9972 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.7518 | μmol/L | 11.7572 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.887 | 147527.5616 | 276268.2152 | 36.4 | 83.1
80589 | 2021-04-07 18:09 | 51.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.7413 | μmol/L | 11.7633 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.885 | 147508.9844 | 276276.1113 | 36.4 | 83.1
80598 | 2021-04-07 18:09 | 51.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8021 | μmol/L | 11.7572 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.885 | 147498.2281 | 276274.0104 | 36.4 | 83.1
80607 | 2021-04-07 18:10 | 51.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8985 | μmol/L | 11.7449 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.886 | 147481.5722 | 276263.6617 | 36.4 | 83.1
80616 | 2021-04-07 18:10 | 52.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8524 | μmol/L | 11.7572 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.883 | 147466.9424 | 276261.7055 | 36.4 | 83.1
80625 | 2021-04-07 18:10 | 52.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8168 | μmol/L | 11.7633 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.882 | 147454.1425 | 276252.818 | 36.4 | 83.1
80634 | 2021-04-07 18:11 | 52.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.928 | μmol/L | 11.7572 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.88 | 147449.5193 | 276244.4475 | 36.4 | 83.1
80643 | 2021-04-07 18:11 | 53.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.9783 | μmol/L | 11.7572 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.878 | 147439.8043 | 276256.7341 | 36.4 | 83.1
80652 | 2021-04-07 18:11 | 53.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.0035 | μmol/L | 11.7572 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.877 | 147431.078 | 276249.5108 | 36.4 | 83.1
80661 | 2021-04-07 18:12 | 53.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8924 | μmol/L | 11.7633 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.879 | 147420.6536 | 276253.9195 | 36.4 | 83.1
80670 | 2021-04-07 18:12 | 54.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.9931 | μmol/L | 11.7633 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.875 | 147413.3265 | 276238.0912 | 36.4 | 83.1
80679 | 2021-04-07 18:12 | 54.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.9679 | μmol/L | 11.7633 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.876 | 147396.1429 | 276239.8545 | 36.4 | 83.1
80688 | 2021-04-07 18:13 | 54.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8568 | μmol/L | 11.7694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.878 | 147390.8651 | 276250.532 | 36.4 | 83.1
80697 | 2021-04-07 18:13 | 55.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.9323 | μmol/L | 11.7694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.875 | 147384.6903 | 276236.8032 | 36.4 | 83.1
80706 | 2021-04-07 18:13 | 55.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8819 | μmol/L | 11.7694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.877 | 147380.6876 | 276229.2076 | 36.4 | 83.1
80715 | 2021-04-07 18:14 | 55.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.9931 | μmol/L | 11.7633 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.875 | 147383.4039 | 276234.9636 | 36.4 | 83.1
80724 | 2021-04-07 18:14 | 56.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.9575 | μmol/L | 11.7694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.874 | 147382.1643 | 276224.9598 | 36.4 | 83.1
80733 | 2021-04-07 18:14 | 56.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8715 | μmol/L | 11.7755 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.875 | 147380.3422 | 276226.6276 | 36.4 | 83.1
80742 | 2021-04-07 18:15 | 56.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8819 | μmol/L | 11.7694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.877 | 147392.2286 | 276220.9412 | 36.4 | 83.1
80751 | 2021-04-07 18:15 | 57.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8568 | μmol/L | 11.7694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.878 | 147390.3383 | 276220.2039 | 36.4 | 83.1
80760 | 2021-04-07 18:15 | 57.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8316 | μmol/L | 11.7694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.879 | 147395.8922 | 276217.9932 | 36.4 | 83.1
80769 | 2021-04-07 18:16 | 57.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8568 | μmol/L | 11.7694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.878 | 147398.0226 | 276208.4139 | 36.4 | 83.1
80778 | 2021-04-07 18:16 | 58.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.7457 | μmol/L | 11.7755 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.88 | 147397.3548 | 276217.7177 | 36.4 | 83.1
80787 | 2021-04-07 18:16 | 58.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.6598 | μmol/L | 11.7816 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.881 | 147397.7139 | 276214.8563 | 36.4 | 83.1
80795 | 2021-04-07 18:17 | 58.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.8064 | μmol/L | 11.7694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.88 | 147399.6712 | 276212.9752 | 36.4 | 83.1
80803 | 2021-04-07 18:17 | 59.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.645 | μmol/L | 11.7755 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.884 | 147413.919 | 276224.2941 | 36.4 | 83.1
80811 | 2021-04-07 18:17 | 59.6639 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 299.645 | μmol/L | 11.7755 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.884 | 147429.8469 | 276223.9172 | 36.4 | 83.1