## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 20:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
79205 | 2021-04-07 17:18 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4077 | μmol/L | 11.4887 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.073 | 160586.0803 | 299623.2644 | 59.9307 | 49.4
79214 | 2021-04-07 17:18 | 0.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4467 | μmol/L | 11.4949 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.069 | 160576.021 | 299598.9885 | 59.9307 | 49.4
79223 | 2021-04-07 17:18 | 0.65936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4941 | μmol/L | 11.4949 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.067 | 160561.7887 | 299610.2814 | 59.9307 | 49.4
79232 | 2021-04-07 17:19 | 0.99318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4467 | μmol/L | 11.4949 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.069 | 160544.5582 | 299599.2245 | 59.9307 | 49.4
79241 | 2021-04-07 17:19 | 1.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4148 | μmol/L | 11.501 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.068 | 160529.9605 | 299595.1716 | 59.9307 | 49.4
79250 | 2021-04-07 17:19 | 1.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.5415 | μmol/L | 11.4949 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.065 | 160502.5901 | 299591.3645 | 59.9307 | 49.4
79259 | 2021-04-07 17:20 | 1.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.5178 | μmol/L | 11.4949 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.066 | 160485.8529 | 299560.0252 | 59.9307 | 49.4
79268 | 2021-04-07 17:20 | 2.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.5095 | μmol/L | 11.501 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.064 | 160474.5989 | 299553.4532 | 59.9307 | 49.4
79277 | 2021-04-07 17:20 | 2.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4066 | μmol/L | 11.5072 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.066 | 160457.637 | 299520.4 | 59.9307 | 49.4
79286 | 2021-04-07 17:21 | 2.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3983 | μmol/L | 11.5133 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.064 | 160432.7256 | 299505.6906 | 59.9307 | 49.4
79295 | 2021-04-07 17:21 | 3.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3983 | μmol/L | 11.5133 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.064 | 160415.8668 | 299464.0762 | 59.9307 | 49.4
79304 | 2021-04-07 17:21 | 3.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3983 | μmol/L | 11.5133 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.064 | 160392.2467 | 299455.5121 | 59.9307 | 49.4
79313 | 2021-04-07 17:22 | 3.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4694 | μmol/L | 11.5133 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.061 | 160382.4536 | 299465.8592 | 59.9307 | 49.4
79322 | 2021-04-07 17:22 | 4.3263 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3901 | μmol/L | 11.5195 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.062 | 160371.363 | 299451.5898 | 59.9307 | 49.4
79331 | 2021-04-07 17:22 | 4.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4374 | μmol/L | 11.5195 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.06 | 160350.2123 | 299417.8305 | 59.9307 | 49.4
79340 | 2021-04-07 17:23 | 4.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4457 | μmol/L | 11.5133 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.062 | 160346.9363 | 299430.5399 | 59.9307 | 49.4
79349 | 2021-04-07 17:23 | 5.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3901 | μmol/L | 11.5195 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.062 | 160333.3287 | 299421.3134 | 59.9307 | 49.4
79358 | 2021-04-07 17:23 | 5.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3582 | μmol/L | 11.5256 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.061 | 160313.0016 | 299413.1749 | 59.9307 | 49.4
79367 | 2021-04-07 17:24 | 5.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4292 | μmol/L | 11.5256 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.058 | 160295.9271 | 299408.761 | 59.9307 | 49.4
79376 | 2021-04-07 17:24 | 6.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3819 | μmol/L | 11.5256 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.06 | 160282.721 | 299411.1953 | 59.9307 | 49.4
79385 | 2021-04-07 17:24 | 6.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3973 | μmol/L | 11.5318 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.057 | 160270.1926 | 299397.5901 | 59.9307 | 49.4
79394 | 2021-04-07 17:25 | 6.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3737 | μmol/L | 11.5318 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.058 | 160253.5855 | 299391.0207 | 59.9307 | 49.4
79403 | 2021-04-07 17:25 | 7.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3418 | μmol/L | 11.538 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.057 | 160250.5056 | 299387.8476 | 59.9307 | 49.4
79412 | 2021-04-07 17:25 | 7.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3345 | μmol/L | 11.5256 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.062 | 160222.3946 | 299376.722 | 59.9307 | 49.4
79421 | 2021-04-07 17:26 | 7.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.2944 | μmol/L | 11.538 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.059 | 160217.3698 | 299373.1559 | 59.9307 | 49.4
79430 | 2021-04-07 17:26 | 8.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3654 | μmol/L | 11.538 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.056 | 160190.8907 | 299349.7418 | 59.9307 | 49.4
79439 | 2021-04-07 17:26 | 8.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3973 | μmol/L | 11.5318 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.057 | 160179.8199 | 299333.4562 | 59.9307 | 49.4
79448 | 2021-04-07 17:27 | 8.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3654 | μmol/L | 11.538 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.056 | 160163.7417 | 299341.7961 | 59.9307 | 49.4
79457 | 2021-04-07 17:27 | 9.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3973 | μmol/L | 11.5318 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.057 | 160150.1033 | 299339.6013 | 59.9307 | 49.4
79466 | 2021-04-07 17:27 | 9.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3181 | μmol/L | 11.538 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.058 | 160148.6192 | 299322.1202 | 59.9307 | 49.4
79475 | 2021-04-07 17:28 | 9.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.2862 | μmol/L | 11.5441 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.057 | 160127.7409 | 299307.2344 | 59.9307 | 49.4
79484 | 2021-04-07 17:28 | 10.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.2389 | μmol/L | 11.5441 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.059 | 160109.8956 | 299302.8957 | 59.9307 | 49.4
79493 | 2021-04-07 17:28 | 10.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3099 | μmol/L | 11.5441 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.056 | 160115.8315 | 299287.1551 | 59.9307 | 49.4
79502 | 2021-04-07 17:29 | 10.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3017 | μmol/L | 11.5503 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.054 | 160091.5623 | 299272.2533 | 59.9307 | 49.4
79511 | 2021-04-07 17:29 | 11.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4046 | μmol/L | 11.5441 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.052 | 160084.8527 | 299273.2938 | 59.9307 | 49.4
79520 | 2021-04-07 17:29 | 11.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.278 | μmol/L | 11.5503 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.055 | 160059.4669 | 299257.9932 | 59.9307 | 49.4
79529 | 2021-04-07 17:30 | 11.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1989 | μmol/L | 11.5564 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.056 | 160056.5714 | 299269.8507 | 59.9307 | 49.4
79538 | 2021-04-07 17:30 | 12.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.2699 | μmol/L | 11.5564 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.053 | 160045.346 | 299238.9003 | 59.9307 | 49.4
79547 | 2021-04-07 17:30 | 12.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.2462 | μmol/L | 11.5564 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.054 | 160027.7148 | 299229.9927 | 59.9307 | 49.4
79556 | 2021-04-07 17:31 | 12.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3254 | μmol/L | 11.5503 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.053 | 160019.7136 | 299234.1336 | 59.9307 | 49.4
79565 | 2021-04-07 17:31 | 13.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.278 | μmol/L | 11.5503 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.055 | 160016.6624 | 299236.5593 | 59.9307 | 49.4
79574 | 2021-04-07 17:31 | 13.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.2699 | μmol/L | 11.5564 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.053 | 160011.7505 | 299218.6859 | 59.9307 | 49.4
79583 | 2021-04-07 17:32 | 13.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.2225 | μmol/L | 11.5564 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.055 | 159994.0717 | 299211.7735 | 59.9307 | 49.4
79592 | 2021-04-07 17:32 | 14.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1197 | μmol/L | 11.5626 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.057 | 159984.8792 | 299180.7565 | 59.9307 | 49.4
79601 | 2021-04-07 17:32 | 14.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.238 | μmol/L | 11.5626 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.052 | 159979.6371 | 299181.9377 | 59.9307 | 49.4
79610 | 2021-04-07 17:33 | 14.9925 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1434 | μmol/L | 11.5626 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.056 | 159973.2191 | 299197.5258 | 59.9307 | 49.4
79619 | 2021-04-07 17:33 | 15.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1352 | μmol/L | 11.5687 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.054 | 159963.5936 | 299177.9001 | 59.9307 | 49.4
79628 | 2021-04-07 17:33 | 15.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.238 | μmol/L | 11.5626 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.052 | 159946.5296 | 299166.0866 | 59.9307 | 49.4
79637 | 2021-04-07 17:34 | 15.9925 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1352 | μmol/L | 11.5687 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.054 | 159938.4168 | 299159.5076 | 59.9307 | 49.4
79646 | 2021-04-07 17:34 | 16.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0879 | μmol/L | 11.5687 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.056 | 159931.2329 | 299142.4956 | 59.9307 | 49.4
79655 | 2021-04-07 17:34 | 16.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1589 | μmol/L | 11.5687 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.053 | 159919.4856 | 299134.4204 | 59.9307 | 49.4
79664 | 2021-04-07 17:35 | 16.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1589 | μmol/L | 11.5687 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.053 | 159906.7279 | 299140.66 | 59.9307 | 49.4
79673 | 2021-04-07 17:35 | 17.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1507 | μmol/L | 11.5749 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.051 | 159900.1505 | 299136.9757 | 59.9307 | 49.4
79682 | 2021-04-07 17:35 | 17.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1825 | μmol/L | 11.5687 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.052 | 159886.5401 | 299134.9115 | 59.9307 | 49.4
79691 | 2021-04-07 17:36 | 17.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1034 | μmol/L | 11.5749 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.053 | 159891.811 | 299120.854 | 59.9307 | 49.4
79700 | 2021-04-07 17:36 | 18.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.2062 | μmol/L | 11.5687 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.051 | 159872.4124 | 299099.1867 | 59.9307 | 49.4
79709 | 2021-04-07 17:36 | 18.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1507 | μmol/L | 11.5749 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.051 | 159873.1755 | 299133.0807 | 59.9307 | 49.4
79718 | 2021-04-07 17:37 | 18.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1743 | μmol/L | 11.5749 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.05 | 159858.2795 | 299108.7005 | 59.9307 | 49.4
79727 | 2021-04-07 17:37 | 19.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0797 | μmol/L | 11.5749 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.054 | 159856.6212 | 299086.8176 | 59.9307 | 49.4
79736 | 2021-04-07 17:37 | 19.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0797 | μmol/L | 11.5749 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.054 | 159836.8354 | 299070.818 | 59.9307 | 49.4
79745 | 2021-04-07 17:38 | 19.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1034 | μmol/L | 11.5749 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.053 | 159836.4365 | 299082.7526 | 59.9307 | 49.4
79754 | 2021-04-07 17:38 | 20.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1507 | μmol/L | 11.5749 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.051 | 159834.4612 | 299089.8631 | 59.9307 | 49.4
79763 | 2021-04-07 17:38 | 20.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0561 | μmol/L | 11.5749 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.055 | 159825.4765 | 299068.2173 | 59.9307 | 49.4
79772 | 2021-04-07 17:39 | 20.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0952 | μmol/L | 11.5811 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.051 | 159816.8157 | 299051.9112 | 59.9307 | 49.4
79781 | 2021-04-07 17:39 | 21.3263 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0398 | μmol/L | 11.5872 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.051 | 159816.3372 | 299054.5521 | 59.9307 | 49.4
79790 | 2021-04-07 17:39 | 21.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0716 | μmol/L | 11.5811 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.052 | 159800.0505 | 299046.1231 | 59.9307 | 49.4
79799 | 2021-04-07 17:40 | 21.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.977 | μmol/L | 11.5811 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.056 | 159794.5983 | 299034.1664 | 59.9307 | 49.4
79808 | 2021-04-07 17:40 | 22.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.9925 | μmol/L | 11.5872 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.053 | 159796.5109 | 299039.2992 | 59.9307 | 49.4
79817 | 2021-04-07 17:40 | 22.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0006 | μmol/L | 11.5811 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.055 | 159793.6745 | 299037.5485 | 59.9307 | 49.4
79826 | 2021-04-07 17:41 | 22.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.9371 | μmol/L | 11.5934 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.053 | 159787.19 | 299022.4214 | 59.9307 | 49.4
79835 | 2021-04-07 17:41 | 23.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.9371 | μmol/L | 11.5934 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.053 | 159770.6336 | 299024.1315 | 59.9307 | 49.4
79844 | 2021-04-07 17:41 | 23.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.9134 | μmol/L | 11.5934 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.054 | 159775.1507 | 299025.0209 | 59.9307 | 49.4
79853 | 2021-04-07 17:42 | 23.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.9688 | μmol/L | 11.5872 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.054 | 159770.254 | 299022.049 | 59.9307 | 49.4
79862 | 2021-04-07 17:42 | 24.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.858 | μmol/L | 11.5995 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.054 | 159756.5315 | 299006.1239 | 59.9307 | 49.4
79871 | 2021-04-07 17:42 | 24.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8898 | μmol/L | 11.5934 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.055 | 159755.258 | 299007.3211 | 59.9307 | 49.4
79880 | 2021-04-07 17:43 | 24.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8898 | μmol/L | 11.5934 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.055 | 159750.0477 | 298992.8492 | 59.9307 | 49.4
79889 | 2021-04-07 17:43 | 25.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.7635 | μmol/L | 11.5995 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.058 | 159746.8286 | 298976.1493 | 59.9307 | 49.4
79898 | 2021-04-07 17:43 | 25.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8898 | μmol/L | 11.5934 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.055 | 159742.4436 | 298970.513 | 59.9307 | 49.4
79907 | 2021-04-07 17:44 | 25.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.7554 | μmol/L | 11.6057 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.056 | 159739.3942 | 298976.5409 | 59.9307 | 49.4
79916 | 2021-04-07 17:44 | 26.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8816 | μmol/L | 11.5995 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.053 | 159726.2997 | 298955.7753 | 59.9307 | 49.4
79925 | 2021-04-07 17:44 | 26.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8189 | μmol/L | 11.5934 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.058 | 159717.202 | 298952.4636 | 59.9307 | 49.4
79934 | 2021-04-07 17:45 | 26.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.7399 | μmol/L | 11.5995 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.059 | 159724.8159 | 298940.1398 | 59.9307 | 49.4
79943 | 2021-04-07 17:45 | 27.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8662 | μmol/L | 11.5934 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.056 | 159704.591 | 298936.4134 | 59.9307 | 49.4
79952 | 2021-04-07 17:45 | 27.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.7399 | μmol/L | 11.5995 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.059 | 159710.4211 | 298943.9199 | 59.9307 | 49.4
79961 | 2021-04-07 17:46 | 27.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8108 | μmol/L | 11.5995 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.056 | 159705.2242 | 298941.1141 | 59.9307 | 49.4
79970 | 2021-04-07 17:46 | 28.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.6292 | μmol/L | 11.6118 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.059 | 159695.3455 | 298934.6616 | 59.9307 | 49.4
79979 | 2021-04-07 17:46 | 28.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.7554 | μmol/L | 11.6057 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.056 | 159705.1131 | 298958.0691 | 59.9307 | 49.4
79988 | 2021-04-07 17:47 | 28.9925 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.858 | μmol/L | 11.5995 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.054 | 159700.9877 | 298953.1005 | 59.9307 | 49.4
79997 | 2021-04-07 17:47 | 29.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.6373 | μmol/L | 11.6057 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.061 | 159688.1663 | 298938.0267 | 59.9307 | 49.4
80006 | 2021-04-07 17:47 | 29.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.6056 | μmol/L | 11.6118 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.06 | 159687.5702 | 298909.2643 | 59.9307 | 49.4
80015 | 2021-04-07 17:48 | 29.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.503 | μmol/L | 11.618 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.062 | 159686.1972 | 298893.8654 | 59.9307 | 49.4
80024 | 2021-04-07 17:48 | 30.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.5738 | μmol/L | 11.618 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.059 | 159673.6595 | 298894.9883 | 59.9307 | 49.4
80033 | 2021-04-07 17:48 | 30.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.5502 | μmol/L | 11.618 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.06 | 159677.7847 | 298889.3986 | 59.9307 | 49.4
80042 | 2021-04-07 17:49 | 30.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.6292 | μmol/L | 11.6118 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.059 | 159670.0829 | 298878.6923 | 59.9307 | 49.4
80051 | 2021-04-07 17:49 | 31.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.503 | μmol/L | 11.618 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.062 | 159667.8142 | 298881.7256 | 59.9307 | 49.4
80060 | 2021-04-07 17:49 | 31.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.503 | μmol/L | 11.618 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.062 | 159662.5949 | 298866.8079 | 59.9307 | 49.4
80069 | 2021-04-07 17:50 | 31.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.5584 | μmol/L | 11.6118 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.062 | 159661.6391 | 298879.602 | 59.9307 | 49.4
80078 | 2021-04-07 17:50 | 32.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.4558 | μmol/L | 11.618 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.064 | 159658.7562 | 298851.6795 | 59.9307 | 49.4
80087 | 2021-04-07 17:50 | 32.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.4949 | μmol/L | 11.6242 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.06 | 159655.4706 | 298857.3608 | 59.9307 | 49.4
80096 | 2021-04-07 17:51 | 32.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.4006 | μmol/L | 11.6242 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.064 | 159649.0441 | 298848.1072 | 59.9307 | 49.4
80105 | 2021-04-07 17:51 | 33.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.3534 | μmol/L | 11.6242 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.066 | 159653.3986 | 298866.3085 | 59.9307 | 49.4
80114 | 2021-04-07 17:51 | 33.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.4006 | μmol/L | 11.6242 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.064 | 159644.1798 | 298849.5316 | 59.9307 | 49.4
80123 | 2021-04-07 17:52 | 33.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.3453 | μmol/L | 11.6303 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.064 | 159645.5803 | 298833.413 | 59.9307 | 49.4
80132 | 2021-04-07 17:52 | 34.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.3062 | μmol/L | 11.6242 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.068 | 159643.1483 | 298829.2487 | 59.9307 | 49.4
80141 | 2021-04-07 17:52 | 34.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.377 | μmol/L | 11.6242 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.065 | 159642.0737 | 298828.9862 | 59.9307 | 49.4
80150 | 2021-04-07 17:53 | 34.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.3217 | μmol/L | 11.6303 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.065 | 159642.4196 | 298813.8636 | 59.9307 | 49.4
80159 | 2021-04-07 17:53 | 35.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.2745 | μmol/L | 11.6303 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.067 | 159642.76 | 298811.377 | 59.9307 | 49.4
80168 | 2021-04-07 17:53 | 35.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.2745 | μmol/L | 11.6303 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.067 | 159640.0264 | 298810.7225 | 59.9307 | 49.4
80177 | 2021-04-07 17:54 | 35.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.2745 | μmol/L | 11.6303 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.067 | 159641.7989 | 298804.2426 | 59.9307 | 49.4
80186 | 2021-04-07 17:54 | 36.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.2826 | μmol/L | 11.6242 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.069 | 159636.9703 | 298796.3046 | 59.9307 | 49.4
80195 | 2021-04-07 17:54 | 36.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.1015 | μmol/L | 11.6365 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.072 | 159637.8209 | 298798.6369 | 59.9307 | 49.4
80204 | 2021-04-07 17:55 | 36.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.3217 | μmol/L | 11.6303 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.065 | 159644.738 | 298797.0448 | 59.9307 | 49.4
80213 | 2021-04-07 17:55 | 37.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.1567 | μmol/L | 11.6303 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.072 | 159640.2482 | 298792.0007 | 59.9307 | 49.4
80222 | 2021-04-07 17:55 | 37.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.0779 | μmol/L | 11.6365 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.073 | 159644.0233 | 298809.4096 | 59.9307 | 49.4
80231 | 2021-04-07 17:56 | 37.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.0779 | μmol/L | 11.6365 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.073 | 159639.053 | 298780.2751 | 59.9307 | 49.4
80240 | 2021-04-07 17:56 | 38.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.9991 | μmol/L | 11.6426 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.074 | 159641.8743 | 298764.7869 | 59.9307 | 49.4
80249 | 2021-04-07 17:56 | 38.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.0227 | μmol/L | 11.6426 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.073 | 159640.2997 | 298763.5457 | 59.9307 | 49.4
80258 | 2021-04-07 17:57 | 38.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.1015 | μmol/L | 11.6365 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.072 | 159647.274 | 298762.0165 | 59.9307 | 49.4
80267 | 2021-04-07 17:57 | 39.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.0308 | μmol/L | 11.6365 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.075 | 159635.9087 | 298745.5226 | 59.9307 | 49.4
80276 | 2021-04-07 17:57 | 39.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.8969 | μmol/L | 11.6488 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.076 | 159650.5373 | 298770.853 | 59.9307 | 49.4
80285 | 2021-04-07 17:58 | 39.9925 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.9756 | μmol/L | 11.6426 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.075 | 159649.3243 | 298767.7773 | 59.9307 | 49.4
80294 | 2021-04-07 17:58 | 40.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.9521 | μmol/L | 11.6426 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.076 | 159641.9564 | 298756.3423 | 59.9307 | 49.4
80303 | 2021-04-07 17:58 | 40.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.8498 | μmol/L | 11.6488 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.078 | 159652.4286 | 298755.4789 | 59.9307 | 49.4
80312 | 2021-04-07 17:59 | 40.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.9285 | μmol/L | 11.6426 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.077 | 159654.6558 | 298755.1942 | 59.9307 | 49.4
80321 | 2021-04-07 17:59 | 41.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.8579 | μmol/L | 11.6426 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.08 | 159651.8648 | 298742.441 | 59.9307 | 49.4
80330 | 2021-04-07 17:59 | 41.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.7947 | μmol/L | 11.655 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.078 | 159661.6743 | 298752.6329 | 59.9307 | 49.4
80339 | 2021-04-07 18:00 | 41.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.7402 | μmol/L | 11.6426 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.085 | 159661.1089 | 298731.941 | 59.9307 | 49.4
80348 | 2021-04-07 18:00 | 42.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.7006 | μmol/L | 11.655 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.082 | 159671.8715 | 298737.5935 | 59.9307 | 49.4
80357 | 2021-04-07 18:00 | 42.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.7322 | μmol/L | 11.6488 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.083 | 159677.3236 | 298747.7518 | 59.9307 | 49.4
80366 | 2021-04-07 18:01 | 42.9925 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.6219 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.083 | 159679.9568 | 298719.1847 | 59.9307 | 49.4
80375 | 2021-04-07 18:01 | 43.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.5595 | μmol/L | 11.655 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.088 | 159669.8991 | 298731.181 | 59.9307 | 49.4
80384 | 2021-04-07 18:01 | 43.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.583 | μmol/L | 11.655 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.087 | 159681.0522 | 298715.297 | 59.9307 | 49.4
80393 | 2021-04-07 18:02 | 43.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.5595 | μmol/L | 11.655 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.088 | 159686.7981 | 298717.4629 | 59.9307 | 49.4
80402 | 2021-04-07 18:02 | 44.3263 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.5044 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.088 | 159689.6367 | 298706.6954 | 59.9307 | 49.4
80411 | 2021-04-07 18:02 | 44.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.5441 | μmol/L | 11.6488 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.091 | 159705.4343 | 298706.2803 | 59.9307 | 49.4
80420 | 2021-04-07 18:03 | 44.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.5279 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.087 | 159694.8078 | 298692.5443 | 59.9307 | 49.4
80429 | 2021-04-07 18:03 | 45.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.4339 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.091 | 159707.4782 | 298694.8087 | 59.9307 | 49.4
80438 | 2021-04-07 18:03 | 45.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.3869 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.093 | 159723.213 | 298692.235 | 59.9307 | 49.4
80447 | 2021-04-07 18:04 | 45.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.4339 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.091 | 159727.1943 | 298696.5342 | 59.9307 | 49.4
80456 | 2021-04-07 18:04 | 46.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.3399 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.095 | 159739.9505 | 298693.6349 | 59.9307 | 49.4
80465 | 2021-04-07 18:04 | 46.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.2379 | μmol/L | 11.6673 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.097 | 159739.2455 | 298685.3915 | 59.9307 | 49.4
80474 | 2021-04-07 18:05 | 46.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.2379 | μmol/L | 11.6673 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.097 | 159745.7839 | 298684.4135 | 59.9307 | 49.4
80483 | 2021-04-07 18:05 | 47.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.3164 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.096 | 159752.4192 | 298690.3515 | 59.9307 | 49.4
80492 | 2021-04-07 18:05 | 47.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.2225 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.1 | 159749.5614 | 298689.0223 | 59.9307 | 49.4
80501 | 2021-04-07 18:06 | 47.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.2225 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.1 | 159763.9645 | 298685.6515 | 59.9307 | 49.4
80510 | 2021-04-07 18:06 | 48.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.1521 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.103 | 159763.0245 | 298654.3306 | 59.9307 | 49.4
80519 | 2021-04-07 18:06 | 48.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.1441 | μmol/L | 11.6673 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.101 | 159773.0635 | 298645.3412 | 59.9307 | 49.4
80528 | 2021-04-07 18:07 | 48.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.1287 | μmol/L | 11.6611 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.104 | 159785.2774 | 298628.7433 | 59.9307 | 49.4
80537 | 2021-04-07 18:07 | 49.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 276.1206 | μmol/L | 11.6673 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.102 | 159795.5 | 298665.7322 | 59.9307 | 49.4
80546 | 2021-04-07 18:07 | 49.6597 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.9952 | μmol/L | 11.6734 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.105 | 159791.2738 | 298658.5611 | 59.9307 | 49.4
80555 | 2021-04-07 18:08 | 49.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.9564 | μmol/L | 11.6673 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.109 | 159799.9159 | 298656.1243 | 59.9307 | 49.4
80564 | 2021-04-07 18:08 | 50.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.933 | μmol/L | 11.6673 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.11 | 159802.4709 | 298638.267 | 59.9307 | 49.4
80573 | 2021-04-07 18:08 | 50.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.878 | μmol/L | 11.6734 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.11 | 159810.2617 | 298658.8077 | 59.9307 | 49.4
80582 | 2021-04-07 18:09 | 50.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.9249 | μmol/L | 11.6734 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.108 | 159810.0946 | 298654.2709 | 59.9307 | 49.4
80591 | 2021-04-07 18:09 | 51.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.9095 | μmol/L | 11.6673 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.111 | 159828.6629 | 298648.9745 | 59.9307 | 49.4
80600 | 2021-04-07 18:09 | 51.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8861 | μmol/L | 11.6673 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.112 | 159823.3628 | 298646.936 | 59.9307 | 49.4
80609 | 2021-04-07 18:10 | 51.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8077 | μmol/L | 11.6734 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.113 | 159835.2594 | 298644.0697 | 59.9307 | 49.4
80618 | 2021-04-07 18:10 | 52.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8626 | μmol/L | 11.6673 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.113 | 159836.7772 | 298641.3602 | 59.9307 | 49.4
80627 | 2021-04-07 18:10 | 52.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8626 | μmol/L | 11.6673 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.113 | 159839.0229 | 298638.3539 | 59.9307 | 49.4
80636 | 2021-04-07 18:11 | 52.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7374 | μmol/L | 11.6734 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.116 | 159853.2241 | 298649.9068 | 59.9307 | 49.4
80645 | 2021-04-07 18:11 | 53.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.6357 | μmol/L | 11.6796 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.118 | 159867.0056 | 298643.3991 | 59.9307 | 49.4
80654 | 2021-04-07 18:11 | 53.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.6672 | μmol/L | 11.6734 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.119 | 159875.2204 | 298648.7125 | 59.9307 | 49.4
80663 | 2021-04-07 18:12 | 53.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5889 | μmol/L | 11.6796 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.12 | 159874.2631 | 298651.1201 | 59.9307 | 49.4
80672 | 2021-04-07 18:12 | 54.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5654 | μmol/L | 11.6796 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.121 | 159881.7187 | 298635.2587 | 59.9307 | 49.4
80681 | 2021-04-07 18:12 | 54.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5969 | μmol/L | 11.6734 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.122 | 159898.4603 | 298624.4681 | 59.9307 | 49.4
80690 | 2021-04-07 18:13 | 54.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.4952 | μmol/L | 11.6796 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.124 | 159903.5809 | 298636.8692 | 59.9307 | 49.4
80699 | 2021-04-07 18:13 | 55.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.4638 | μmol/L | 11.6857 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.123 | 159909.7301 | 298634.3563 | 59.9307 | 49.4
80708 | 2021-04-07 18:13 | 55.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5267 | μmol/L | 11.6734 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.125 | 159916.4951 | 298636.2011 | 59.9307 | 49.4
80717 | 2021-04-07 18:14 | 55.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.4016 | μmol/L | 11.6796 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.128 | 159926.0875 | 298613.9358 | 59.9307 | 49.4
80726 | 2021-04-07 18:14 | 56.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.3154 | μmol/L | 11.6919 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.127 | 159937.1132 | 298616.6411 | 59.9307 | 49.4
80735 | 2021-04-07 18:14 | 56.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.3315 | μmol/L | 11.6796 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.131 | 159939.1392 | 298615.0129 | 59.9307 | 49.4
80744 | 2021-04-07 18:15 | 56.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.3 | μmol/L | 11.6857 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.13 | 159954.9289 | 298622.5523 | 59.9307 | 49.4
80753 | 2021-04-07 18:15 | 57.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2299 | μmol/L | 11.6857 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.133 | 159959.9209 | 298618.8978 | 59.9307 | 49.4
80762 | 2021-04-07 18:15 | 57.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.1284 | μmol/L | 11.6919 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.135 | 159975.4702 | 298628.0861 | 59.9307 | 49.4
80771 | 2021-04-07 18:16 | 57.9925 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2146 | μmol/L | 11.6796 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.136 | 159979.3862 | 298615.8799 | 59.9307 | 49.4
80780 | 2021-04-07 18:16 | 58.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.1131 | μmol/L | 11.6857 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.138 | 159978.1139 | 298598.3841 | 59.9307 | 49.4
80789 | 2021-04-07 18:16 | 58.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.0897 | μmol/L | 11.6857 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.139 | 160001.0187 | 298629.1999 | 59.9307 | 49.4
80797 | 2021-04-07 18:17 | 58.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.0116 | μmol/L | 11.6919 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.14 | 160003.2616 | 298603.6989 | 59.9307 | 49.4
80805 | 2021-04-07 18:17 | 59.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.043 | μmol/L | 11.6857 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.141 | 160012.4983 | 298617.1988 | 59.9307 | 49.4