## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 20:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
79206 | 2021-04-07 17:18 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6786 | μmol/L | 11.5953 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.388 | 162077.622 | 314623.7555 | 33.25 | 68.6
79215 | 2021-04-07 17:18 | 0.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7226 | μmol/L | 11.5953 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.386 | 162047.3973 | 314632.3709 | 33.25 | 68.6
79224 | 2021-04-07 17:18 | 0.66499 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7885 | μmol/L | 11.5953 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.383 | 162027.3862 | 314623.2521 | 33.25 | 68.6
79233 | 2021-04-07 17:19 | 0.99891 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.734 | μmol/L | 11.6013 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.383 | 161993.2969 | 314596.298 | 33.25 | 68.6
79242 | 2021-04-07 17:19 | 1.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7014 | μmol/L | 11.6074 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.382 | 161983.6986 | 314601.9633 | 33.25 | 68.6
79251 | 2021-04-07 17:19 | 1.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.8325 | μmol/L | 11.5953 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.381 | 161951.6852 | 314570.6129 | 33.25 | 68.6
79260 | 2021-04-07 17:20 | 1.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7779 | μmol/L | 11.6013 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.381 | 161933.1248 | 314563.4948 | 33.25 | 68.6
79269 | 2021-04-07 17:20 | 2.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6909 | μmol/L | 11.6135 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.38 | 161913.1792 | 314547.7414 | 33.25 | 68.6
79278 | 2021-04-07 17:20 | 2.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7348 | μmol/L | 11.6135 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.378 | 161900.9152 | 314540.1638 | 33.25 | 68.6
79287 | 2021-04-07 17:21 | 2.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7128 | μmol/L | 11.6135 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.379 | 161881.2049 | 314530.7618 | 33.25 | 68.6
79296 | 2021-04-07 17:21 | 3.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7674 | μmol/L | 11.6074 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.379 | 161854.5556 | 314516.9758 | 33.25 | 68.6
79305 | 2021-04-07 17:21 | 3.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6909 | μmol/L | 11.6135 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.38 | 161847.4698 | 314498.7844 | 33.25 | 68.6
79314 | 2021-04-07 17:22 | 3.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7568 | μmol/L | 11.6135 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.377 | 161821.3849 | 314481.2391 | 33.25 | 68.6
79323 | 2021-04-07 17:22 | 4.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7682 | μmol/L | 11.6196 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.374 | 161802.0704 | 314471.3921 | 33.25 | 68.6
79332 | 2021-04-07 17:22 | 4.6651 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7682 | μmol/L | 11.6196 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.374 | 161786.7125 | 314456.1564 | 33.25 | 68.6
79341 | 2021-04-07 17:23 | 4.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6478 | μmol/L | 11.6256 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.377 | 161752.4311 | 314441.0106 | 33.25 | 68.6
79350 | 2021-04-07 17:23 | 5.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7577 | μmol/L | 11.6256 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.372 | 161747.6718 | 314432.5817 | 33.25 | 68.6
79359 | 2021-04-07 17:23 | 5.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6812 | μmol/L | 11.6317 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.373 | 161724.2617 | 314406.0793 | 33.25 | 68.6
79368 | 2021-04-07 17:24 | 5.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6592 | μmol/L | 11.6317 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.374 | 161714.3473 | 314397.4089 | 33.25 | 68.6
79377 | 2021-04-07 17:24 | 6.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7137 | μmol/L | 11.6256 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.374 | 161703.0389 | 314392.7121 | 33.25 | 68.6
79386 | 2021-04-07 17:24 | 6.6651 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6047 | μmol/L | 11.6378 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.374 | 161699.3921 | 314387.6574 | 33.25 | 68.6
79395 | 2021-04-07 17:25 | 6.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6487 | μmol/L | 11.6378 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.372 | 161687.4786 | 314375.763 | 33.25 | 68.6
79404 | 2021-04-07 17:25 | 7.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6047 | μmol/L | 11.6378 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.374 | 161663.9027 | 314367.0205 | 33.25 | 68.6
79413 | 2021-04-07 17:25 | 7.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6592 | μmol/L | 11.6317 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.374 | 161646.6801 | 314339.2798 | 33.25 | 68.6
79422 | 2021-04-07 17:26 | 7.9987 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6706 | μmol/L | 11.6378 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.371 | 161637.1512 | 314335.0401 | 33.25 | 68.6
79431 | 2021-04-07 17:26 | 8.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5722 | μmol/L | 11.6438 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.373 | 161631.4717 | 314332.1833 | 33.25 | 68.6
79440 | 2021-04-07 17:26 | 8.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6047 | μmol/L | 11.6378 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.374 | 161619.6069 | 314317.3445 | 33.25 | 68.6
79449 | 2021-04-07 17:27 | 8.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5617 | μmol/L | 11.6499 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.371 | 161597.6732 | 314298.0854 | 33.25 | 68.6
79458 | 2021-04-07 17:27 | 9.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5072 | μmol/L | 11.656 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.371 | 161589.3537 | 314285.7038 | 33.25 | 68.6
79467 | 2021-04-07 17:27 | 9.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5178 | μmol/L | 11.6499 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.373 | 161576.5564 | 314263.7771 | 33.25 | 68.6
79476 | 2021-04-07 17:28 | 9.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4853 | μmol/L | 11.656 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.372 | 161558.7634 | 314264.4754 | 33.25 | 68.6
79485 | 2021-04-07 17:28 | 10.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5837 | μmol/L | 11.6499 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.37 | 161545.5536 | 314248.5538 | 33.25 | 68.6
79494 | 2021-04-07 17:28 | 10.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5072 | μmol/L | 11.656 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.371 | 161526.4799 | 314228.0914 | 33.25 | 68.6
79503 | 2021-04-07 17:29 | 10.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4853 | μmol/L | 11.656 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.372 | 161508.7003 | 314215.7718 | 33.25 | 68.6
79512 | 2021-04-07 17:29 | 11.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4089 | μmol/L | 11.6621 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.373 | 161504.6175 | 314209.924 | 33.25 | 68.6
79521 | 2021-04-07 17:29 | 11.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4528 | μmol/L | 11.6621 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.371 | 161494.1259 | 314215.3725 | 33.25 | 68.6
79530 | 2021-04-07 17:30 | 11.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.3764 | μmol/L | 11.6681 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.372 | 161463.0628 | 314191.9019 | 33.25 | 68.6
79539 | 2021-04-07 17:30 | 12.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4862 | μmol/L | 11.6681 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.367 | 161451.4905 | 314180.9716 | 33.25 | 68.6
79548 | 2021-04-07 17:30 | 12.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4643 | μmol/L | 11.6681 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.368 | 161437.8711 | 314177.5634 | 33.25 | 68.6
79557 | 2021-04-07 17:31 | 12.9987 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5302 | μmol/L | 11.6681 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.365 | 161422.6775 | 314164.0137 | 33.25 | 68.6
79566 | 2021-04-07 17:31 | 13.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5082 | μmol/L | 11.6681 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.366 | 161409.4582 | 314154.6173 | 33.25 | 68.6
79575 | 2021-04-07 17:31 | 13.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4423 | μmol/L | 11.6681 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.369 | 161388.2391 | 314133.1404 | 33.25 | 68.6
79584 | 2021-04-07 17:32 | 13.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4977 | μmol/L | 11.6742 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.364 | 161367.9831 | 314129.591 | 33.25 | 68.6
79593 | 2021-04-07 17:32 | 14.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4977 | μmol/L | 11.6742 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.364 | 161348.9845 | 314123.919 | 33.25 | 68.6
79602 | 2021-04-07 17:32 | 14.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5856 | μmol/L | 11.6742 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.36 | 161335.6218 | 314097.1911 | 33.25 | 68.6
79611 | 2021-04-07 17:33 | 14.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4757 | μmol/L | 11.6742 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.365 | 161326.1362 | 314084.2411 | 33.25 | 68.6
79620 | 2021-04-07 17:33 | 15.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5197 | μmol/L | 11.6742 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.363 | 161315.3618 | 314084.9104 | 33.25 | 68.6
79629 | 2021-04-07 17:33 | 15.6651 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.3994 | μmol/L | 11.6803 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.366 | 161305.034 | 314073.1335 | 33.25 | 68.6
79638 | 2021-04-07 17:34 | 15.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5092 | μmol/L | 11.6803 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.361 | 161300.0826 | 314060.4318 | 33.25 | 68.6
79647 | 2021-04-07 17:34 | 16.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4757 | μmol/L | 11.6742 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.365 | 161277.1391 | 314065.6031 | 33.25 | 68.6
79656 | 2021-04-07 17:34 | 16.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.3126 | μmol/L | 11.6924 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.365 | 161268.8834 | 314053.3006 | 33.25 | 68.6
79665 | 2021-04-07 17:35 | 16.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4328 | μmol/L | 11.6863 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.362 | 161252.2688 | 314038.8396 | 33.25 | 68.6
79674 | 2021-04-07 17:35 | 17.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.641 | μmol/L | 11.6803 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.355 | 161231.6957 | 314036.2624 | 33.25 | 68.6
79683 | 2021-04-07 17:35 | 17.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5426 | μmol/L | 11.6863 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 161210.4168 | 314015.8634 | 33.25 | 68.6
79692 | 2021-04-07 17:36 | 17.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5646 | μmol/L | 11.6863 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.356 | 161205.6729 | 314009.6185 | 33.25 | 68.6
79701 | 2021-04-07 17:36 | 18.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4548 | μmol/L | 11.6863 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.361 | 161186.8535 | 314004.8601 | 33.25 | 68.6
79710 | 2021-04-07 17:36 | 18.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5866 | μmol/L | 11.6863 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.355 | 161184.5958 | 314004.9814 | 33.25 | 68.6
79719 | 2021-04-07 17:37 | 18.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4443 | μmol/L | 11.6924 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.359 | 161170.1649 | 313976.343 | 33.25 | 68.6
79728 | 2021-04-07 17:37 | 19.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4119 | μmol/L | 11.6985 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.358 | 161163.2318 | 313980.1081 | 33.25 | 68.6
79737 | 2021-04-07 17:37 | 19.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4558 | μmol/L | 11.6985 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.356 | 161157.8691 | 313971.2134 | 33.25 | 68.6
79746 | 2021-04-07 17:38 | 19.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4663 | μmol/L | 11.6924 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.358 | 161161.5678 | 313944.8766 | 33.25 | 68.6
79755 | 2021-04-07 17:38 | 20.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.368 | μmol/L | 11.6985 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.36 | 161149.2857 | 313945.739 | 33.25 | 68.6
79764 | 2021-04-07 17:38 | 20.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.3021 | μmol/L | 11.6985 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.363 | 161152.7761 | 313932.4574 | 33.25 | 68.6
79773 | 2021-04-07 17:39 | 20.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2697 | μmol/L | 11.7046 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.362 | 161147.0238 | 313941.3361 | 33.25 | 68.6
79782 | 2021-04-07 17:39 | 21.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.3136 | μmol/L | 11.7046 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.36 | 161143.129 | 313916.3301 | 33.25 | 68.6
79791 | 2021-04-07 17:39 | 21.6656 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2039 | μmol/L | 11.7046 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.365 | 161140.5636 | 313911.9355 | 33.25 | 68.6
79800 | 2021-04-07 17:40 | 21.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2802 | μmol/L | 11.6985 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.364 | 161124.3287 | 313899.173 | 33.25 | 68.6
79809 | 2021-04-07 17:40 | 22.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2258 | μmol/L | 11.7046 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.364 | 161116.7326 | 313890.5308 | 33.25 | 68.6
79818 | 2021-04-07 17:40 | 22.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2153 | μmol/L | 11.7106 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.362 | 161115.5504 | 313900.6965 | 33.25 | 68.6
79827 | 2021-04-07 17:41 | 22.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2039 | μmol/L | 11.7046 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.365 | 161108.9613 | 313883.0386 | 33.25 | 68.6
79836 | 2021-04-07 17:41 | 23.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.1171 | μmol/L | 11.7167 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.364 | 161103.8965 | 313874.1844 | 33.25 | 68.6
79845 | 2021-04-07 17:41 | 23.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2477 | μmol/L | 11.7046 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.363 | 161093.5465 | 313856.5348 | 33.25 | 68.6
79854 | 2021-04-07 17:42 | 23.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2373 | μmol/L | 11.7106 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.361 | 161079.9538 | 313859.4824 | 33.25 | 68.6
79863 | 2021-04-07 17:42 | 24.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.1715 | μmol/L | 11.7106 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.364 | 161073.5421 | 313849.6124 | 33.25 | 68.6
79872 | 2021-04-07 17:42 | 24.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0514 | μmol/L | 11.7167 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.367 | 161055.7968 | 313844.0138 | 33.25 | 68.6
79881 | 2021-04-07 17:43 | 24.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.183 | μmol/L | 11.7167 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.361 | 161049.3723 | 313836.9338 | 33.25 | 68.6
79890 | 2021-04-07 17:43 | 25.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2268 | μmol/L | 11.7167 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.359 | 161047.5961 | 313817.1399 | 33.25 | 68.6
79899 | 2021-04-07 17:43 | 25.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2049 | μmol/L | 11.7167 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.36 | 161030.5812 | 313802.376 | 33.25 | 68.6
79908 | 2021-04-07 17:44 | 25.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.1506 | μmol/L | 11.7228 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.36 | 161013.8968 | 313795.2336 | 33.25 | 68.6
79917 | 2021-04-07 17:44 | 26.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.1725 | μmol/L | 11.7228 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.359 | 161014.9766 | 313788.1255 | 33.25 | 68.6
79926 | 2021-04-07 17:44 | 26.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.1286 | μmol/L | 11.7228 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.361 | 161009.371 | 313786.2253 | 33.25 | 68.6
79935 | 2021-04-07 17:45 | 26.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.1171 | μmol/L | 11.7167 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.364 | 161009.6071 | 313765.8801 | 33.25 | 68.6
79944 | 2021-04-07 17:45 | 27.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0848 | μmol/L | 11.7228 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.363 | 161006.1686 | 313764.9302 | 33.25 | 68.6
79953 | 2021-04-07 17:45 | 27.6656 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0628 | μmol/L | 11.7228 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.364 | 161007.3715 | 313754.2601 | 33.25 | 68.6
79962 | 2021-04-07 17:46 | 27.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0952 | μmol/L | 11.7167 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.365 | 160998.6206 | 313748.8561 | 33.25 | 68.6
79971 | 2021-04-07 17:46 | 28.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9647 | μmol/L | 11.7289 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.366 | 161001.8825 | 313746.4902 | 33.25 | 68.6
79980 | 2021-04-07 17:46 | 28.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9428 | μmol/L | 11.7289 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.367 | 160996.8696 | 313744.7869 | 33.25 | 68.6
79989 | 2021-04-07 17:47 | 28.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0086 | μmol/L | 11.7289 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.364 | 160986.6652 | 313732.3869 | 33.25 | 68.6
79998 | 2021-04-07 17:47 | 29.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9209 | μmol/L | 11.7289 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.368 | 160990.9675 | 313733.0089 | 33.25 | 68.6
80007 | 2021-04-07 17:47 | 29.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8447 | μmol/L | 11.7349 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.369 | 160976.2777 | 313713.8174 | 33.25 | 68.6
80016 | 2021-04-07 17:48 | 29.9987 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.899 | μmol/L | 11.7289 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.369 | 160975.0047 | 313711.6726 | 33.25 | 68.6
80025 | 2021-04-07 17:48 | 30.3316 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8447 | μmol/L | 11.7349 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.369 | 160966.9825 | 313701.3506 | 33.25 | 68.6
80034 | 2021-04-07 17:48 | 30.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9866 | μmol/L | 11.7289 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.365 | 160946.7781 | 313682.0113 | 33.25 | 68.6
80043 | 2021-04-07 17:49 | 30.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8781 | μmol/L | 11.741 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.365 | 160928.4634 | 313683.0731 | 33.25 | 68.6
80052 | 2021-04-07 17:49 | 31.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8781 | μmol/L | 11.741 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.365 | 160913.73 | 313675.6242 | 33.25 | 68.6
80061 | 2021-04-07 17:49 | 31.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9115 | μmol/L | 11.7471 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.361 | 160900.6726 | 313666.738 | 33.25 | 68.6
80070 | 2021-04-07 17:50 | 31.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9877 | μmol/L | 11.741 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.36 | 160885.5079 | 313659.0817 | 33.25 | 68.6
80079 | 2021-04-07 17:50 | 32.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0097 | μmol/L | 11.741 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.359 | 160868.5167 | 313634.9183 | 33.25 | 68.6
80088 | 2021-04-07 17:50 | 32.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0316 | μmol/L | 11.741 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.358 | 160859.0684 | 313645.054 | 33.25 | 68.6
80097 | 2021-04-07 17:51 | 32.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0097 | μmol/L | 11.741 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.359 | 160845.9913 | 313629.1106 | 33.25 | 68.6
80106 | 2021-04-07 17:51 | 33.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9992 | μmol/L | 11.7471 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160829.0282 | 313619.2684 | 33.25 | 68.6
80115 | 2021-04-07 17:51 | 33.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9773 | μmol/L | 11.7471 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.358 | 160831.382 | 313614.6587 | 33.25 | 68.6
80124 | 2021-04-07 17:52 | 33.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0097 | μmol/L | 11.741 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.359 | 160817.5415 | 313613.3125 | 33.25 | 68.6
80133 | 2021-04-07 17:52 | 34.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9992 | μmol/L | 11.7471 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160819.6152 | 313602.8072 | 33.25 | 68.6
80142 | 2021-04-07 17:52 | 34.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9231 | μmol/L | 11.7531 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.358 | 160812.4175 | 313593.4133 | 33.25 | 68.6
80151 | 2021-04-07 17:53 | 34.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9773 | μmol/L | 11.7471 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.358 | 160795.09 | 313585.181 | 33.25 | 68.6
80160 | 2021-04-07 17:53 | 35.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8908 | μmol/L | 11.7592 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160808.9782 | 313601.3944 | 33.25 | 68.6
80169 | 2021-04-07 17:53 | 35.6651 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9888 | μmol/L | 11.7531 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.355 | 160789.3606 | 313589.2319 | 33.25 | 68.6
80178 | 2021-04-07 17:54 | 35.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.945 | μmol/L | 11.7531 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160784.8749 | 313571.0196 | 33.25 | 68.6
80187 | 2021-04-07 17:54 | 36.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8688 | μmol/L | 11.7592 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.358 | 160773.4015 | 313564.2209 | 33.25 | 68.6
80196 | 2021-04-07 17:54 | 36.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8908 | μmol/L | 11.7592 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160758.3265 | 313564.0854 | 33.25 | 68.6
80205 | 2021-04-07 17:55 | 36.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8792 | μmol/L | 11.7531 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.36 | 160753.2862 | 313560.3195 | 33.25 | 68.6
80214 | 2021-04-07 17:55 | 37.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9346 | μmol/L | 11.7592 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.355 | 160746.0531 | 313546.8358 | 33.25 | 68.6
80223 | 2021-04-07 17:55 | 37.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9011 | μmol/L | 11.7531 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.359 | 160744.802 | 313542.3702 | 33.25 | 68.6
80232 | 2021-04-07 17:56 | 37.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0108 | μmol/L | 11.7531 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.354 | 160729.1255 | 313521.4889 | 33.25 | 68.6
80241 | 2021-04-07 17:56 | 38.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8688 | μmol/L | 11.7592 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.358 | 160721.5808 | 313527.11 | 33.25 | 68.6
80250 | 2021-04-07 17:56 | 38.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8908 | μmol/L | 11.7592 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160719.1789 | 313537.4671 | 33.25 | 68.6
80259 | 2021-04-07 17:57 | 38.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8365 | μmol/L | 11.7653 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160715.2766 | 313518.3416 | 33.25 | 68.6
80268 | 2021-04-07 17:57 | 39.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9346 | μmol/L | 11.7592 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.355 | 160710.7018 | 313512.9338 | 33.25 | 68.6
80277 | 2021-04-07 17:57 | 39.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9023 | μmol/L | 11.7653 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.354 | 160714.0884 | 313510.9632 | 33.25 | 68.6
80286 | 2021-04-07 17:58 | 39.9987 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8365 | μmol/L | 11.7653 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160711.3514 | 313512.7054 | 33.25 | 68.6
80295 | 2021-04-07 17:58 | 40.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8365 | μmol/L | 11.7653 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160685.0002 | 313507.5802 | 33.25 | 68.6
80304 | 2021-04-07 17:58 | 40.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7604 | μmol/L | 11.7714 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.358 | 160690.1477 | 313502.3441 | 33.25 | 68.6
80313 | 2021-04-07 17:59 | 40.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7604 | μmol/L | 11.7714 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.358 | 160691.6417 | 313496.4781 | 33.25 | 68.6
80322 | 2021-04-07 17:59 | 41.3316 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8804 | μmol/L | 11.7653 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.355 | 160673.3885 | 313475.9087 | 33.25 | 68.6
80331 | 2021-04-07 17:59 | 41.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8365 | μmol/L | 11.7653 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160672.8918 | 313480.5935 | 33.25 | 68.6
80340 | 2021-04-07 18:00 | 41.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8146 | μmol/L | 11.7653 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.358 | 160674.4472 | 313472.9713 | 33.25 | 68.6
80349 | 2021-04-07 18:00 | 42.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7385 | μmol/L | 11.7714 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.359 | 160656.9789 | 313463.5638 | 33.25 | 68.6
80358 | 2021-04-07 18:00 | 42.6651 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.75 | μmol/L | 11.7774 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.356 | 160660.9463 | 313465.5913 | 33.25 | 68.6
80367 | 2021-04-07 18:01 | 42.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7823 | μmol/L | 11.7714 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160662.311 | 313465.8419 | 33.25 | 68.6
80376 | 2021-04-07 18:01 | 43.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7281 | μmol/L | 11.7774 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.357 | 160647.193 | 313460.3762 | 33.25 | 68.6
80385 | 2021-04-07 18:01 | 43.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.772 | μmol/L | 11.7774 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.355 | 160633.197 | 313444.2994 | 33.25 | 68.6
80394 | 2021-04-07 18:02 | 43.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8481 | μmol/L | 11.7714 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.354 | 160622.7276 | 313437.8042 | 33.25 | 68.6
80403 | 2021-04-07 18:02 | 44.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8596 | μmol/L | 11.7774 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.351 | 160617.1231 | 313447.475 | 33.25 | 68.6
80412 | 2021-04-07 18:02 | 44.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7616 | μmol/L | 11.7835 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.353 | 160607.2162 | 313425.2909 | 33.25 | 68.6
80421 | 2021-04-07 18:03 | 44.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8481 | μmol/L | 11.7714 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.354 | 160598.8254 | 313432.1239 | 33.25 | 68.6
80430 | 2021-04-07 18:03 | 45.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7178 | μmol/L | 11.7835 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.355 | 160599.2105 | 313429.0718 | 33.25 | 68.6
80439 | 2021-04-07 18:03 | 45.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7397 | μmol/L | 11.7835 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.354 | 160611.5944 | 313417.6151 | 33.25 | 68.6
80448 | 2021-04-07 18:04 | 45.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.6959 | μmol/L | 11.7835 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.356 | 160621.3433 | 313417.8831 | 33.25 | 68.6
80457 | 2021-04-07 18:04 | 46.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.6083 | μmol/L | 11.7835 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.36 | 160633.8886 | 313401.1992 | 33.25 | 68.6
80466 | 2021-04-07 18:04 | 46.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.6186 | μmol/L | 11.7774 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.362 | 160655.546 | 313409.8529 | 33.25 | 68.6
80475 | 2021-04-07 18:05 | 46.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.5207 | μmol/L | 11.7835 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.364 | 160667.3371 | 313402.9833 | 33.25 | 68.6
80484 | 2021-04-07 18:05 | 47.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.4009 | μmol/L | 11.7896 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.367 | 160686.2172 | 313399.3947 | 33.25 | 68.6
80493 | 2021-04-07 18:05 | 47.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.2697 | μmol/L | 11.7896 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.373 | 160714.327 | 313414.5837 | 33.25 | 68.6
80502 | 2021-04-07 18:06 | 47.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.2479 | μmol/L | 11.7896 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.374 | 160736.5153 | 313409.0918 | 33.25 | 68.6
80511 | 2021-04-07 18:06 | 48.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.226 | μmol/L | 11.7896 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.375 | 160740.3613 | 313402.3844 | 33.25 | 68.6
80520 | 2021-04-07 18:06 | 48.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.1064 | μmol/L | 11.7956 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.378 | 160750.3261 | 313385.5951 | 33.25 | 68.6
80529 | 2021-04-07 18:07 | 48.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.2364 | μmol/L | 11.7835 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.377 | 160764.375 | 313392.5076 | 33.25 | 68.6
80538 | 2021-04-07 18:07 | 49.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.1167 | μmol/L | 11.7896 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.38 | 160779.9584 | 313387.0453 | 33.25 | 68.6
80547 | 2021-04-07 18:07 | 49.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.0949 | μmol/L | 11.7896 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.381 | 160787.5111 | 313384.4973 | 33.25 | 68.6
80556 | 2021-04-07 18:08 | 49.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.0409 | μmol/L | 11.7956 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.381 | 160782.0972 | 313378.2092 | 33.25 | 68.6
80565 | 2021-04-07 18:08 | 50.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.9535 | μmol/L | 11.7956 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.385 | 160799.8147 | 313369.5511 | 33.25 | 68.6
80574 | 2021-04-07 18:08 | 50.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.0075 | μmol/L | 11.7896 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.385 | 160806.0815 | 313371.2007 | 33.25 | 68.6
80583 | 2021-04-07 18:09 | 50.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.9099 | μmol/L | 11.7956 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.387 | 160790.8977 | 313353.8027 | 33.25 | 68.6
80592 | 2021-04-07 18:09 | 51.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8559 | μmol/L | 11.8017 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.387 | 160792.3257 | 313342.1214 | 33.25 | 68.6
80601 | 2021-04-07 18:09 | 51.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.9099 | μmol/L | 11.7956 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.387 | 160790.9597 | 313350.1358 | 33.25 | 68.6
80610 | 2021-04-07 18:10 | 51.9987 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.9535 | μmol/L | 11.7956 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.385 | 160793.1698 | 313340.9881 | 33.25 | 68.6
80619 | 2021-04-07 18:10 | 52.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.9317 | μmol/L | 11.7956 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.386 | 160794.1668 | 313339.6833 | 33.25 | 68.6
80628 | 2021-04-07 18:10 | 52.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8237 | μmol/L | 11.8078 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.386 | 160786.5805 | 313341.8391 | 33.25 | 68.6
80637 | 2021-04-07 18:11 | 52.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8559 | μmol/L | 11.8017 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.387 | 160792.802 | 313342.4234 | 33.25 | 68.6
80646 | 2021-04-07 18:11 | 53.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8559 | μmol/L | 11.8017 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.387 | 160776.1772 | 313319.4121 | 33.25 | 68.6
80655 | 2021-04-07 18:11 | 53.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8019 | μmol/L | 11.8078 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.387 | 160786.1178 | 313333.6692 | 33.25 | 68.6
80664 | 2021-04-07 18:12 | 53.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8237 | μmol/L | 11.8078 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.386 | 160781.5081 | 313343.181 | 33.25 | 68.6
80673 | 2021-04-07 18:12 | 54.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7686 | μmol/L | 11.8017 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.391 | 160781.6266 | 313321.5158 | 33.25 | 68.6
80682 | 2021-04-07 18:12 | 54.6651 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8237 | μmol/L | 11.8078 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.386 | 160788.4967 | 313326.2262 | 33.25 | 68.6
80691 | 2021-04-07 18:13 | 54.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7146 | μmol/L | 11.8078 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.391 | 160787.5549 | 313317.8806 | 33.25 | 68.6
80700 | 2021-04-07 18:13 | 55.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7043 | μmol/L | 11.8139 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.389 | 160785.1869 | 313309.4945 | 33.25 | 68.6
80709 | 2021-04-07 18:13 | 55.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7583 | μmol/L | 11.8078 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.389 | 160785.2657 | 313306.853 | 33.25 | 68.6
80718 | 2021-04-07 18:14 | 55.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7146 | μmol/L | 11.8078 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.391 | 160783.302 | 313309.9527 | 33.25 | 68.6
80727 | 2021-04-07 18:14 | 56.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7364 | μmol/L | 11.8078 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.39 | 160782.2825 | 313305.389 | 33.25 | 68.6
80736 | 2021-04-07 18:14 | 56.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8559 | μmol/L | 11.8017 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.387 | 160763.9342 | 313302.0446 | 33.25 | 68.6
80745 | 2021-04-07 18:15 | 56.9987 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.6286 | μmol/L | 11.8199 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.39 | 160754.3423 | 313287.7302 | 33.25 | 68.6
80754 | 2021-04-07 18:15 | 57.3316 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7479 | μmol/L | 11.8139 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.387 | 160761.1182 | 313307.3498 | 33.25 | 68.6
80763 | 2021-04-07 18:15 | 57.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7479 | μmol/L | 11.8139 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.387 | 160754.0179 | 313298.9175 | 33.25 | 68.6
80772 | 2021-04-07 18:16 | 57.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7801 | μmol/L | 11.8078 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.388 | 160741.4031 | 313294.7723 | 33.25 | 68.6
80781 | 2021-04-07 18:16 | 58.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7697 | μmol/L | 11.8139 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.386 | 160728.9254 | 313290.0906 | 33.25 | 68.6
80790 | 2021-04-07 18:16 | 58.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7916 | μmol/L | 11.8139 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.385 | 160727.3698 | 313288.7976 | 33.25 | 68.6
80798 | 2021-04-07 18:17 | 58.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.857 | μmol/L | 11.8139 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.382 | 160713.9063 | 313283.416 | 33.25 | 68.6
80806 | 2021-04-07 18:17 | 59.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8467 | μmol/L | 11.8199 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.38 | 160704.2175 | 313282.8966 | 33.25 | 68.6