## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 20:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
79207 | 2021-04-07 17:18 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6595 | μmol/L | 11.5424 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.284 | 138241.1287 | 277044.5255 | 26.25 | 74
79216 | 2021-04-07 17:18 | 0.33896 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.6509 | μmol/L | 11.5485 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.282 | 138229.473 | 277061.3489 | 26.25 | 74
79225 | 2021-04-07 17:18 | 0.67197 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5641 | μmol/L | 11.5607 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.281 | 138220.1425 | 277035.5068 | 26.25 | 74
79234 | 2021-04-07 17:19 | 1.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5408 | μmol/L | 11.5607 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.282 | 138206.64 | 277027.6939 | 26.25 | 74
79243 | 2021-04-07 17:19 | 1.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5873 | μmol/L | 11.5607 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.28 | 138187.8088 | 276986.3941 | 26.25 | 74
79252 | 2021-04-07 17:19 | 1.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5873 | μmol/L | 11.5607 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.28 | 138176.5348 | 276998.3255 | 26.25 | 74
79261 | 2021-04-07 17:20 | 2.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5176 | μmol/L | 11.5607 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.283 | 138161.067 | 276977.2661 | 26.25 | 74
79270 | 2021-04-07 17:20 | 2.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5641 | μmol/L | 11.5607 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.281 | 138142.9784 | 276975.3471 | 26.25 | 74
79279 | 2021-04-07 17:20 | 2.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5641 | μmol/L | 11.5607 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.281 | 138123.098 | 276961.1006 | 26.25 | 74
79288 | 2021-04-07 17:21 | 3.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4626 | μmol/L | 11.5667 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.283 | 138111.2709 | 276955.4375 | 26.25 | 74
79297 | 2021-04-07 17:21 | 3.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5238 | μmol/L | 11.5728 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.278 | 138093.4232 | 276920.5049 | 26.25 | 74
79306 | 2021-04-07 17:21 | 3.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4773 | μmol/L | 11.5728 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.28 | 138083.3291 | 276917.2206 | 26.25 | 74
79315 | 2021-04-07 17:22 | 4.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5153 | μmol/L | 11.5789 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.276 | 138067.5732 | 276895.2501 | 26.25 | 74
79324 | 2021-04-07 17:22 | 4.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5703 | μmol/L | 11.5728 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.276 | 138063.7016 | 276888.3043 | 26.25 | 74
79333 | 2021-04-07 17:22 | 4.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5935 | μmol/L | 11.5728 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.275 | 138045.8674 | 276892.9673 | 26.25 | 74
79342 | 2021-04-07 17:23 | 5.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4835 | μmol/L | 11.585 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.275 | 138028.065 | 276864.6879 | 26.25 | 74
79351 | 2021-04-07 17:23 | 5.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5153 | μmol/L | 11.5789 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.276 | 138005.9806 | 276864.8724 | 26.25 | 74
79360 | 2021-04-07 17:23 | 5.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4053 | μmol/L | 11.5911 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.276 | 138005.5148 | 276869.3288 | 26.25 | 74
79369 | 2021-04-07 17:24 | 6.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4053 | μmol/L | 11.5911 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.276 | 137985.6382 | 276845.7795 | 26.25 | 74
79378 | 2021-04-07 17:24 | 6.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3503 | μmol/L | 11.5971 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.276 | 137974.6517 | 276848.171 | 26.25 | 74
79387 | 2021-04-07 17:24 | 6.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5215 | μmol/L | 11.5911 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.271 | 137948.9738 | 276829.4279 | 26.25 | 74
79396 | 2021-04-07 17:25 | 7.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5595 | μmol/L | 11.5971 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.267 | 137935.0312 | 276801.9534 | 26.25 | 74
79405 | 2021-04-07 17:25 | 7.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4115 | μmol/L | 11.6032 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.271 | 137928.1953 | 276794.103 | 26.25 | 74
79414 | 2021-04-07 17:25 | 7.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.458 | μmol/L | 11.6032 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.269 | 137903.2368 | 276771.7066 | 26.25 | 74
79423 | 2021-04-07 17:26 | 8.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5363 | μmol/L | 11.5971 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.268 | 137908.1664 | 276770.3794 | 26.25 | 74
79432 | 2021-04-07 17:26 | 8.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4813 | μmol/L | 11.6032 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.268 | 137896.6495 | 276767.803 | 26.25 | 74
79441 | 2021-04-07 17:26 | 8.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.5045 | μmol/L | 11.6032 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.267 | 137879.2822 | 276758.2423 | 26.25 | 74
79450 | 2021-04-07 17:27 | 9.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.551 | μmol/L | 11.6032 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.265 | 137865.3676 | 276745.6093 | 26.25 | 74
79459 | 2021-04-07 17:27 | 9.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4813 | μmol/L | 11.6032 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.268 | 137849.1287 | 276737.6029 | 26.25 | 74
79468 | 2021-04-07 17:27 | 9.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4728 | μmol/L | 11.6093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.266 | 137842.2849 | 276721.9463 | 26.25 | 74
79477 | 2021-04-07 17:28 | 10.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4728 | μmol/L | 11.6093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.266 | 137831.582 | 276714.9955 | 26.25 | 74
79486 | 2021-04-07 17:28 | 10.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4961 | μmol/L | 11.6093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.265 | 137819.4618 | 276712.0826 | 26.25 | 74
79495 | 2021-04-07 17:28 | 10.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4643 | μmol/L | 11.6154 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.264 | 137814.0106 | 276695.1177 | 26.25 | 74
79504 | 2021-04-07 17:29 | 11.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4643 | μmol/L | 11.6154 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.264 | 137797.8445 | 276681.0814 | 26.25 | 74
79513 | 2021-04-07 17:29 | 11.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3714 | μmol/L | 11.6154 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.268 | 137790.4374 | 276670.6462 | 26.25 | 74
79522 | 2021-04-07 17:29 | 11.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3164 | μmol/L | 11.6215 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.268 | 137780.9404 | 276664.781 | 26.25 | 74
79531 | 2021-04-07 17:30 | 12.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3397 | μmol/L | 11.6215 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.267 | 137779.2285 | 276653.6629 | 26.25 | 74
79540 | 2021-04-07 17:30 | 12.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3861 | μmol/L | 11.6215 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.265 | 137778.1157 | 276660.1869 | 26.25 | 74
79549 | 2021-04-07 17:30 | 12.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3861 | μmol/L | 11.6215 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.265 | 137769.9215 | 276639.131 | 26.25 | 74
79558 | 2021-04-07 17:31 | 13.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3312 | μmol/L | 11.6275 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.265 | 137768.8994 | 276635.9273 | 26.25 | 74
79567 | 2021-04-07 17:31 | 13.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2615 | μmol/L | 11.6275 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.268 | 137761.3685 | 276622.6212 | 26.25 | 74
79576 | 2021-04-07 17:31 | 13.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2615 | μmol/L | 11.6275 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.268 | 137756.4853 | 276603.0954 | 26.25 | 74
79585 | 2021-04-07 17:32 | 14.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1601 | μmol/L | 11.6336 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.27 | 137757.7233 | 276611.5006 | 26.25 | 74
79594 | 2021-04-07 17:32 | 14.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.0588 | μmol/L | 11.6397 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.272 | 137753.2416 | 276600.4113 | 26.25 | 74
79603 | 2021-04-07 17:32 | 14.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2066 | μmol/L | 11.6336 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.268 | 137755.718 | 276599.6205 | 26.25 | 74
79612 | 2021-04-07 17:33 | 15.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1053 | μmol/L | 11.6397 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.27 | 137753.9614 | 276588.0527 | 26.25 | 74
79621 | 2021-04-07 17:33 | 15.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.0124 | μmol/L | 11.6397 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.274 | 137749.4597 | 276574.6268 | 26.25 | 74
79630 | 2021-04-07 17:33 | 15.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.0588 | μmol/L | 11.6397 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.272 | 137746.1134 | 276547.3324 | 26.25 | 74
79639 | 2021-04-07 17:34 | 16.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.0673 | μmol/L | 11.6336 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.274 | 137747.0257 | 276546.2951 | 26.25 | 74
79648 | 2021-04-07 17:34 | 16.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.0356 | μmol/L | 11.6397 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.273 | 137737.6804 | 276542.5224 | 26.25 | 74
79657 | 2021-04-07 17:34 | 16.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.004 | μmol/L | 11.6458 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.272 | 137731.2851 | 276533.107 | 26.25 | 74
79666 | 2021-04-07 17:35 | 17.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.9344 | μmol/L | 11.6458 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.275 | 137724.7848 | 276528.0499 | 26.25 | 74
79675 | 2021-04-07 17:35 | 17.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8795 | μmol/L | 11.6519 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.275 | 137719.3514 | 276515.4545 | 26.25 | 74
79684 | 2021-04-07 17:35 | 17.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.9491 | μmol/L | 11.6519 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.272 | 137723.8857 | 276500.0035 | 26.25 | 74
79693 | 2021-04-07 17:36 | 18.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8564 | μmol/L | 11.6519 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.276 | 137730.8788 | 276505.1833 | 26.25 | 74
79702 | 2021-04-07 17:36 | 18.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.8332 | μmol/L | 11.6519 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.277 | 137734.193 | 276498.4053 | 26.25 | 74
79711 | 2021-04-07 17:36 | 18.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.7636 | μmol/L | 11.6519 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.28 | 137734.3036 | 276478.4141 | 26.25 | 74
79720 | 2021-04-07 17:37 | 19.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.6709 | μmol/L | 11.6519 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.284 | 137733.7617 | 276485.9323 | 26.25 | 74
79729 | 2021-04-07 17:37 | 19.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.7404 | μmol/L | 11.6519 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.281 | 137745.2352 | 276475.8002 | 26.25 | 74
79738 | 2021-04-07 17:37 | 19.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.5845 | μmol/L | 11.664 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.283 | 137740.9964 | 276461.2229 | 26.25 | 74
79747 | 2021-04-07 17:38 | 20.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.5698 | μmol/L | 11.6579 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.286 | 137747.418 | 276446.3365 | 26.25 | 74
79756 | 2021-04-07 17:38 | 20.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.5235 | μmol/L | 11.6579 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.288 | 137740.4449 | 276445.8691 | 26.25 | 74
79765 | 2021-04-07 17:38 | 20.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.5466 | μmol/L | 11.6579 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.287 | 137745.8908 | 276441.6756 | 26.25 | 74
79774 | 2021-04-07 17:39 | 21.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.5235 | μmol/L | 11.6579 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.288 | 137751.4377 | 276435.1354 | 26.25 | 74
79783 | 2021-04-07 17:39 | 21.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.515 | μmol/L | 11.664 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.286 | 137735.2877 | 276418.365 | 26.25 | 74
79792 | 2021-04-07 17:39 | 21.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.3446 | μmol/L | 11.6701 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.291 | 137738.4678 | 276409.1447 | 26.25 | 74
79801 | 2021-04-07 17:40 | 22.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4687 | μmol/L | 11.664 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.288 | 137732.6365 | 276399.1124 | 26.25 | 74
79810 | 2021-04-07 17:40 | 22.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4687 | μmol/L | 11.664 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.288 | 137727.1257 | 276387.6042 | 26.25 | 74
79819 | 2021-04-07 17:40 | 22.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.353 | μmol/L | 11.664 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.293 | 137726.9542 | 276380.1021 | 26.25 | 74
79828 | 2021-04-07 17:41 | 23.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.5382 | μmol/L | 11.664 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.285 | 137718.9459 | 276374.5992 | 26.25 | 74
79837 | 2021-04-07 17:41 | 23.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4372 | μmol/L | 11.6701 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.287 | 137708.3889 | 276359.0395 | 26.25 | 74
79846 | 2021-04-07 17:41 | 23.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4603 | μmol/L | 11.6701 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.286 | 137705.7817 | 276361.5698 | 26.25 | 74
79855 | 2021-04-07 17:42 | 24.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.5066 | μmol/L | 11.6701 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.284 | 137701.2688 | 276357.1804 | 26.25 | 74
79864 | 2021-04-07 17:42 | 24.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.553 | μmol/L | 11.6701 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.282 | 137690.4609 | 276359.6694 | 26.25 | 74
79873 | 2021-04-07 17:42 | 24.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.3278 | μmol/L | 11.6822 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.287 | 137677.136 | 276355.6188 | 26.25 | 74
79882 | 2021-04-07 17:43 | 25.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4288 | μmol/L | 11.6762 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.285 | 137670.897 | 276339.6311 | 26.25 | 74
79891 | 2021-04-07 17:43 | 25.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4056 | μmol/L | 11.6762 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.286 | 137650.7619 | 276330.8752 | 26.25 | 74
79900 | 2021-04-07 17:43 | 25.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.3362 | μmol/L | 11.6762 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.289 | 137652.8945 | 276316.3603 | 26.25 | 74
79909 | 2021-04-07 17:44 | 26.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.3972 | μmol/L | 11.6822 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.284 | 137641.7419 | 276313.0718 | 26.25 | 74
79918 | 2021-04-07 17:44 | 26.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.412 | μmol/L | 11.6883 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.281 | 137635.3683 | 276304.5402 | 26.25 | 74
79927 | 2021-04-07 17:44 | 26.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4204 | μmol/L | 11.6822 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.283 | 137625.1265 | 276299.4436 | 26.25 | 74
79936 | 2021-04-07 17:45 | 27.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4898 | μmol/L | 11.6822 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.28 | 137608.6584 | 276298.3337 | 26.25 | 74
79945 | 2021-04-07 17:45 | 27.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.3972 | μmol/L | 11.6822 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.284 | 137612.9497 | 276293.7797 | 26.25 | 74
79954 | 2021-04-07 17:45 | 27.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4056 | μmol/L | 11.6762 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.286 | 137607.5385 | 276276.7109 | 26.25 | 74
79963 | 2021-04-07 17:46 | 28.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.3573 | μmol/L | 11.6944 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.281 | 137586.6848 | 276270.6772 | 26.25 | 74
79972 | 2021-04-07 17:46 | 28.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.3972 | μmol/L | 11.6822 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.284 | 137582.1972 | 276262.5848 | 26.25 | 74
79981 | 2021-04-07 17:46 | 28.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.3573 | μmol/L | 11.6944 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.281 | 137567.1318 | 276265.5951 | 26.25 | 74
79990 | 2021-04-07 17:47 | 29.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4583 | μmol/L | 11.6883 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.279 | 137547.2234 | 276257.0675 | 26.25 | 74
79999 | 2021-04-07 17:47 | 29.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4499 | μmol/L | 11.6944 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.277 | 137529.3705 | 276249.2143 | 26.25 | 74
80008 | 2021-04-07 17:47 | 29.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4814 | μmol/L | 11.6883 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.278 | 137527.0453 | 276225.7895 | 26.25 | 74
80017 | 2021-04-07 17:48 | 30.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.4036 | μmol/L | 11.6944 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.279 | 137532.1502 | 276226.6248 | 26.25 | 74
80026 | 2021-04-07 17:48 | 30.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.1785 | μmol/L | 11.7066 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.284 | 137557.058 | 276212.9006 | 26.25 | 74
80035 | 2021-04-07 17:48 | 30.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.2332 | μmol/L | 11.7005 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.284 | 137576.1985 | 276209.0842 | 26.25 | 74
80044 | 2021-04-07 17:49 | 31.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.1407 | μmol/L | 11.7005 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.288 | 137592.5783 | 276196.2967 | 26.25 | 74
80053 | 2021-04-07 17:49 | 31.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 276.0482 | μmol/L | 11.7005 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.292 | 137614.5593 | 276194.3569 | 26.25 | 74
80062 | 2021-04-07 17:49 | 31.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.9095 | μmol/L | 11.7005 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.298 | 137647.6657 | 276201.4446 | 26.25 | 74
80071 | 2021-04-07 17:50 | 32.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.7478 | μmol/L | 11.7005 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.305 | 137659.1226 | 276181.0188 | 26.25 | 74
80080 | 2021-04-07 17:50 | 32.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.7709 | μmol/L | 11.7005 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.304 | 137680.8141 | 276177.6842 | 26.25 | 74
80089 | 2021-04-07 17:50 | 32.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.601 | μmol/L | 11.7066 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.309 | 137701.7569 | 276177.1085 | 26.25 | 74
80098 | 2021-04-07 17:51 | 33.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.5632 | μmol/L | 11.7005 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.313 | 137722.7753 | 276164.5966 | 26.25 | 74
80107 | 2021-04-07 17:51 | 33.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.5087 | μmol/L | 11.7066 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.313 | 137740.6306 | 276153.7684 | 26.25 | 74
80116 | 2021-04-07 17:51 | 33.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.4081 | μmol/L | 11.7126 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.315 | 137747.8103 | 276159.8311 | 26.25 | 74
80125 | 2021-04-07 17:52 | 34.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.3704 | μmol/L | 11.7066 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.319 | 137755.8046 | 276139.2163 | 26.25 | 74
80134 | 2021-04-07 17:52 | 34.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.3012 | μmol/L | 11.7066 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.322 | 137766.8422 | 276144.3995 | 26.25 | 74
80143 | 2021-04-07 17:52 | 34.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1463 | μmol/L | 11.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.324 | 137772.2552 | 276124.3043 | 26.25 | 74
80152 | 2021-04-07 17:53 | 35.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1693 | μmol/L | 11.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.323 | 137776.1862 | 276130.4884 | 26.25 | 74
80161 | 2021-04-07 17:53 | 35.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1233 | μmol/L | 11.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.325 | 137765.5609 | 276121.5256 | 26.25 | 74
80170 | 2021-04-07 17:53 | 35.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.2154 | μmol/L | 11.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.321 | 137760.0473 | 276114.6711 | 26.25 | 74
80179 | 2021-04-07 17:54 | 36.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.2468 | μmol/L | 11.7126 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.322 | 137757.2606 | 276106.017 | 26.25 | 74
80188 | 2021-04-07 17:54 | 36.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.2698 | μmol/L | 11.7126 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.321 | 137737.3088 | 276095.661 | 26.25 | 74
80197 | 2021-04-07 17:54 | 36.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.2154 | μmol/L | 11.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.321 | 137732.9964 | 276114.6909 | 26.25 | 74
80206 | 2021-04-07 17:55 | 37.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.3075 | μmol/L | 11.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.317 | 137712.7955 | 276094.8541 | 26.25 | 74
80215 | 2021-04-07 17:55 | 37.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.2615 | μmol/L | 11.7187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.319 | 137691.3521 | 276084.6672 | 26.25 | 74
80224 | 2021-04-07 17:55 | 37.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.3222 | μmol/L | 11.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.314 | 137674.9929 | 276077.2089 | 26.25 | 74
80233 | 2021-04-07 17:56 | 38.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.3369 | μmol/L | 11.7309 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.311 | 137651.0842 | 276071.3959 | 26.25 | 74
80242 | 2021-04-07 17:56 | 38.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.3914 | μmol/L | 11.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.311 | 137641.6153 | 276069.3404 | 26.25 | 74
80251 | 2021-04-07 17:56 | 38.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.4605 | μmol/L | 11.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.308 | 137626.4575 | 276071.2136 | 26.25 | 74
80260 | 2021-04-07 17:57 | 39.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.4605 | μmol/L | 11.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.308 | 137608.8838 | 276078.9713 | 26.25 | 74
80269 | 2021-04-07 17:57 | 39.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.4291 | μmol/L | 11.7309 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.307 | 137592.6649 | 276060.6824 | 26.25 | 74
80278 | 2021-04-07 17:57 | 39.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.5528 | μmol/L | 11.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.304 | 137577.5127 | 276053.1282 | 26.25 | 74
80287 | 2021-04-07 17:58 | 40.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.5214 | μmol/L | 11.7309 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.303 | 137555.6681 | 276057.172 | 26.25 | 74
80296 | 2021-04-07 17:58 | 40.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.5528 | μmol/L | 11.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.304 | 137552.9255 | 276037.8001 | 26.25 | 74
80305 | 2021-04-07 17:58 | 40.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.599 | μmol/L | 11.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.302 | 137538.532 | 276042.9188 | 26.25 | 74
80314 | 2021-04-07 17:59 | 41.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.6682 | μmol/L | 11.7248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.299 | 137533.4142 | 276046.7941 | 26.25 | 74
80323 | 2021-04-07 17:59 | 41.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.5906 | μmol/L | 11.7309 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.3 | 137527.869 | 276032.5264 | 26.25 | 74
80332 | 2021-04-07 17:59 | 41.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.5592 | μmol/L | 11.737 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.299 | 137523.2759 | 276037.9888 | 26.25 | 74
80341 | 2021-04-07 18:00 | 42.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.5739 | μmol/L | 11.743 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.296 | 137510.4521 | 276025.6412 | 26.25 | 74
80350 | 2021-04-07 18:00 | 42.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.6053 | μmol/L | 11.737 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.297 | 137509.1572 | 276014.9814 | 26.25 | 74
80359 | 2021-04-07 18:00 | 42.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.7291 | μmol/L | 11.7309 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.294 | 137490.7881 | 275996.1683 | 26.25 | 74
80368 | 2021-04-07 18:01 | 43.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.6515 | μmol/L | 11.737 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.295 | 137488.8724 | 275999.8153 | 26.25 | 74
80377 | 2021-04-07 18:01 | 43.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.5278 | μmol/L | 11.743 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.298 | 137496.2094 | 276010.5657 | 26.25 | 74
80386 | 2021-04-07 18:01 | 43.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.5906 | μmol/L | 11.7309 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.3 | 137495.2138 | 276002.8493 | 26.25 | 74
80395 | 2021-04-07 18:02 | 44.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.6515 | μmol/L | 11.737 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.295 | 137500.3271 | 276003.0013 | 26.25 | 74
80404 | 2021-04-07 18:02 | 44.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.5823 | μmol/L | 11.737 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.298 | 137493.7391 | 275993.4873 | 26.25 | 74
80413 | 2021-04-07 18:02 | 44.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.4816 | μmol/L | 11.743 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.3 | 137505.2206 | 275993.4854 | 26.25 | 74
80422 | 2021-04-07 18:03 | 45.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.4355 | μmol/L | 11.743 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.302 | 137510.6802 | 275990.2434 | 26.25 | 74
80431 | 2021-04-07 18:03 | 45.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.4125 | μmol/L | 11.743 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.303 | 137509.0434 | 275982.3015 | 26.25 | 74
80440 | 2021-04-07 18:03 | 45.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.4355 | μmol/L | 11.743 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.302 | 137516.3378 | 275978.5202 | 26.25 | 74
80449 | 2021-04-07 18:04 | 46.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.4355 | μmol/L | 11.743 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.302 | 137522.6808 | 275968.7998 | 26.25 | 74
80458 | 2021-04-07 18:04 | 46.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.3119 | μmol/L | 11.7491 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.305 | 137518.122 | 275975.3351 | 26.25 | 74
80467 | 2021-04-07 18:04 | 46.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.2972 | μmol/L | 11.743 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.308 | 137528.7753 | 275968.1344 | 26.25 | 74
80476 | 2021-04-07 18:05 | 47.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1967 | μmol/L | 11.7491 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.31 | 137531.3048 | 275958.3289 | 26.25 | 74
80485 | 2021-04-07 18:05 | 47.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1736 | μmol/L | 11.7491 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.311 | 137532.6178 | 275959.0526 | 26.25 | 74
80494 | 2021-04-07 18:05 | 47.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.3286 | μmol/L | 11.737 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.309 | 137547.9249 | 275969.5423 | 26.25 | 74
80503 | 2021-04-07 18:06 | 48.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1045 | μmol/L | 11.7491 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.314 | 137546.1473 | 275947.7399 | 26.25 | 74
80512 | 2021-04-07 18:06 | 48.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.2281 | μmol/L | 11.743 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.311 | 137554.5731 | 275954.034 | 26.25 | 74
80521 | 2021-04-07 18:06 | 48.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0732 | μmol/L | 11.7552 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.313 | 137556.8501 | 275960.8098 | 26.25 | 74
80530 | 2021-04-07 18:07 | 49.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1736 | μmol/L | 11.7491 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.311 | 137565.8796 | 275941.2844 | 26.25 | 74
80539 | 2021-04-07 18:07 | 49.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0041 | μmol/L | 11.7552 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.316 | 137577.6376 | 275958.7113 | 26.25 | 74
80548 | 2021-04-07 18:07 | 49.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0271 | μmol/L | 11.7552 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.315 | 137570.7334 | 275957.931 | 26.25 | 74
80557 | 2021-04-07 18:08 | 50.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9811 | μmol/L | 11.7552 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.317 | 137584.0774 | 275950.0539 | 26.25 | 74
80566 | 2021-04-07 18:08 | 50.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9811 | μmol/L | 11.7552 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.317 | 137580.484 | 275938.353 | 26.25 | 74
80575 | 2021-04-07 18:08 | 50.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9498 | μmol/L | 11.7613 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.316 | 137578.8165 | 275942.0847 | 26.25 | 74
80584 | 2021-04-07 18:09 | 51.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9268 | μmol/L | 11.7613 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.317 | 137583.6663 | 275941.0539 | 26.25 | 74
80593 | 2021-04-07 18:09 | 51.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9581 | μmol/L | 11.7552 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.318 | 137588.2183 | 275938.179 | 26.25 | 74
80602 | 2021-04-07 18:09 | 51.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8347 | μmol/L | 11.7613 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.321 | 137591.7452 | 275939.3169 | 26.25 | 74
80611 | 2021-04-07 18:10 | 52.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9351 | μmol/L | 11.7552 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.319 | 137591.6994 | 275917.6766 | 26.25 | 74
80620 | 2021-04-07 18:10 | 52.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9037 | μmol/L | 11.7613 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.318 | 137590.3523 | 275918.0066 | 26.25 | 74
80629 | 2021-04-07 18:10 | 52.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8807 | μmol/L | 11.7613 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.319 | 137595.639 | 275906.7133 | 26.25 | 74
80638 | 2021-04-07 18:11 | 53.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8034 | μmol/L | 11.7674 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.32 | 137588.4575 | 275909.3927 | 26.25 | 74
80647 | 2021-04-07 18:11 | 53.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8347 | μmol/L | 11.7613 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.321 | 137593.1156 | 275910.2776 | 26.25 | 74
80656 | 2021-04-07 18:11 | 53.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.7344 | μmol/L | 11.7674 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.323 | 137591.7193 | 275916.9117 | 26.25 | 74
80665 | 2021-04-07 18:12 | 54.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8117 | μmol/L | 11.7613 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.322 | 137592.7947 | 275909.0055 | 26.25 | 74
80674 | 2021-04-07 18:12 | 54.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.7574 | μmol/L | 11.7674 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.322 | 137583.415 | 275900.1105 | 26.25 | 74
80683 | 2021-04-07 18:12 | 54.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.7804 | μmol/L | 11.7674 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.321 | 137576.1463 | 275900.7279 | 26.25 | 74
80692 | 2021-04-07 18:13 | 55.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8117 | μmol/L | 11.7613 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.322 | 137576.986 | 275906.561 | 26.25 | 74
80701 | 2021-04-07 18:13 | 55.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.7491 | μmol/L | 11.7734 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.32 | 137558.1027 | 275896.4997 | 26.25 | 74
80710 | 2021-04-07 18:13 | 55.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8954 | μmol/L | 11.7674 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.316 | 137552.5454 | 275898.5835 | 26.25 | 74
80719 | 2021-04-07 18:14 | 56.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9184 | μmol/L | 11.7674 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.315 | 137538.2843 | 275896.7789 | 26.25 | 74
80728 | 2021-04-07 18:14 | 56.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8871 | μmol/L | 11.7734 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.314 | 137524.5281 | 275887.9792 | 26.25 | 74
80737 | 2021-04-07 18:14 | 56.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9875 | μmol/L | 11.7674 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.312 | 137501.9764 | 275893.7779 | 26.25 | 74
80746 | 2021-04-07 18:15 | 57.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0022 | μmol/L | 11.7734 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.309 | 137494.7062 | 275884.957 | 26.25 | 74
80755 | 2021-04-07 18:15 | 57.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9562 | μmol/L | 11.7734 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.311 | 137492.1224 | 275893.6177 | 26.25 | 74
80764 | 2021-04-07 18:15 | 57.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0713 | μmol/L | 11.7734 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.306 | 137474.366 | 275894.8625 | 26.25 | 74
80773 | 2021-04-07 18:16 | 58.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0943 | μmol/L | 11.7734 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.305 | 137466.2791 | 275895.4374 | 26.25 | 74
80782 | 2021-04-07 18:16 | 58.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1091 | μmol/L | 11.7795 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.302 | 137448.0927 | 275881.8146 | 26.25 | 74
80791 | 2021-04-07 18:16 | 58.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1404 | μmol/L | 11.7734 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.303 | 137438.39 | 275884.5887 | 26.25 | 74
80799 | 2021-04-07 18:17 | 59.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.086 | μmol/L | 11.7795 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.303 | 137430.4619 | 275868.3158 | 26.25 | 74
80807 | 2021-04-07 18:17 | 59.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0547 | μmol/L | 11.7856 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.302 | 137426.0175 | 275867.7682 | 26.25 | 74
80813 | 2021-04-07 18:17 | 59.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0547 | μmol/L | 11.7856 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.302 | 137432.1411 | 275876.254 | 26.25 | 74
80814 | 2021-04-07 18:18 | 60.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1782 | μmol/L | 11.7795 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.299 | 137412.8778 | 275863.6779 | 26.25 | 74
80815 | 2021-04-07 18:18 | 60.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1468 | μmol/L | 11.7856 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.298 | 137418.1537 | 275880.9186 | 26.25 | 74