## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 20:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
79208 | 2021-04-07 17:18 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 277.3812 | μmol/L | 11.5806 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.16 | 133638.0252 | 275405.8604 | 32.55 | 27.7
79217 | 2021-04-07 17:18 | 0.34208 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 277.1632 | μmol/L | 11.5867 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.167 | 133670.8026 | 275382.6146 | 32.55 | 27.7
79226 | 2021-04-07 17:18 | 0.67578 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 277.0237 | μmol/L | 11.5867 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.173 | 133676.7297 | 275352.1412 | 32.55 | 27.7
79235 | 2021-04-07 17:19 | 1.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.899 | μmol/L | 11.5928 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.176 | 133695.8164 | 275360.1341 | 32.55 | 27.7
79244 | 2021-04-07 17:19 | 1.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.8293 | μmol/L | 11.5928 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.179 | 133697.9384 | 275326.7303 | 32.55 | 27.7
79253 | 2021-04-07 17:19 | 1.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.8441 | μmol/L | 11.5989 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.176 | 133716.234 | 275301.2669 | 32.55 | 27.7
79262 | 2021-04-07 17:20 | 2.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.7364 | μmol/L | 11.5928 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.183 | 133713.505 | 275288.0631 | 32.55 | 27.7
79271 | 2021-04-07 17:20 | 2.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.6203 | μmol/L | 11.5928 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.188 | 133706.8584 | 275259.2772 | 32.55 | 27.7
79280 | 2021-04-07 17:20 | 2.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.5422 | μmol/L | 11.5989 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.189 | 133715.2722 | 275254.7566 | 32.55 | 27.7
79289 | 2021-04-07 17:21 | 3.0091 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.557 | μmol/L | 11.605 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.186 | 133708.0211 | 275230.0453 | 32.55 | 27.7
79298 | 2021-04-07 17:21 | 3.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.519 | μmol/L | 11.5989 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.19 | 133701.5456 | 275215.1103 | 32.55 | 27.7
79307 | 2021-04-07 17:21 | 3.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.479 | μmol/L | 11.6111 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.187 | 133680.9474 | 275197.8396 | 32.55 | 27.7
79316 | 2021-04-07 17:22 | 4.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.5022 | μmol/L | 11.6111 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.186 | 133654.5604 | 275177.7908 | 32.55 | 27.7
79325 | 2021-04-07 17:22 | 4.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.6498 | μmol/L | 11.605 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.182 | 133623.4708 | 275177.4605 | 32.55 | 27.7
79334 | 2021-04-07 17:22 | 4.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.6879 | μmol/L | 11.6111 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.178 | 133577.0465 | 275173.253 | 32.55 | 27.7
79343 | 2021-04-07 17:23 | 5.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.8273 | μmol/L | 11.6111 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.172 | 133535.8037 | 275155.3713 | 32.55 | 27.7
79352 | 2021-04-07 17:23 | 5.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.7724 | μmol/L | 11.6172 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.172 | 133509.0131 | 275145.7751 | 32.55 | 27.7
79361 | 2021-04-07 17:23 | 5.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.8653 | μmol/L | 11.6172 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.168 | 133484.1679 | 275138.1469 | 32.55 | 27.7
79370 | 2021-04-07 17:24 | 6.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.7408 | μmol/L | 11.6233 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.171 | 133471.2055 | 275118.7355 | 32.55 | 27.7
79379 | 2021-04-07 17:24 | 6.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.8105 | μmol/L | 11.6233 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.168 | 133463.1561 | 275108.0279 | 32.55 | 27.7
79388 | 2021-04-07 17:24 | 6.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.7175 | μmol/L | 11.6233 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.172 | 133456.1263 | 275104.0432 | 32.55 | 27.7
79397 | 2021-04-07 17:25 | 7.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.8021 | μmol/L | 11.6294 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.166 | 133458.0378 | 275090.0977 | 32.55 | 27.7
79406 | 2021-04-07 17:25 | 7.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.8802 | μmol/L | 11.6233 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.165 | 133449.2099 | 275074.6794 | 32.55 | 27.7
79415 | 2021-04-07 17:25 | 7.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.7324 | μmol/L | 11.6294 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.169 | 133439.6771 | 275074.0451 | 32.55 | 27.7
79424 | 2021-04-07 17:26 | 8.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.7408 | μmol/L | 11.6233 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.171 | 133429.7444 | 275060.9168 | 32.55 | 27.7
79433 | 2021-04-07 17:26 | 8.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.6311 | μmol/L | 11.6355 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.171 | 133416.084 | 275057.5791 | 32.55 | 27.7
79442 | 2021-04-07 17:26 | 8.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.6543 | μmol/L | 11.6355 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.17 | 133404.775 | 275029.4361 | 32.55 | 27.7
79451 | 2021-04-07 17:27 | 9.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.8021 | μmol/L | 11.6294 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.166 | 133391.6582 | 275039.3621 | 32.55 | 27.7
79460 | 2021-04-07 17:27 | 9.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.7788 | μmol/L | 11.6294 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.167 | 133387.0446 | 275029.699 | 32.55 | 27.7
79469 | 2021-04-07 17:27 | 9.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.7472 | μmol/L | 11.6355 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.166 | 133370.6566 | 275018.9943 | 32.55 | 27.7
79478 | 2021-04-07 17:28 | 10.0091 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.6775 | μmol/L | 11.6355 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.169 | 133375.9109 | 275022.3541 | 32.55 | 27.7
79487 | 2021-04-07 17:28 | 10.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.6543 | μmol/L | 11.6355 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.17 | 133371.9981 | 275011.0861 | 32.55 | 27.7
79496 | 2021-04-07 17:28 | 10.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.5215 | μmol/L | 11.6477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.171 | 133371.619 | 274997.4429 | 32.55 | 27.7
79505 | 2021-04-07 17:29 | 11.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.5679 | μmol/L | 11.6477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.169 | 133359.99 | 274986.6345 | 32.55 | 27.7
79514 | 2021-04-07 17:29 | 11.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.5298 | μmol/L | 11.6416 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.173 | 133349.1738 | 274974.3835 | 32.55 | 27.7
79523 | 2021-04-07 17:29 | 11.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.5131 | μmol/L | 11.6538 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.169 | 133332.292 | 274972.241 | 32.55 | 27.7
79532 | 2021-04-07 17:30 | 12.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.5679 | μmol/L | 11.6477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.169 | 133324.623 | 274954.6775 | 32.55 | 27.7
79541 | 2021-04-07 17:30 | 12.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.6143 | μmol/L | 11.6477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.167 | 133307.4009 | 274943.2707 | 32.55 | 27.7
79550 | 2021-04-07 17:30 | 12.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.5363 | μmol/L | 11.6538 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.168 | 133287.0953 | 274952.3232 | 32.55 | 27.7
79559 | 2021-04-07 17:31 | 13.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.6608 | μmol/L | 11.6477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.165 | 133279.6406 | 274936.2146 | 32.55 | 27.7
79568 | 2021-04-07 17:31 | 13.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.6608 | μmol/L | 11.6477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.165 | 133263.4324 | 274926.4271 | 32.55 | 27.7
79577 | 2021-04-07 17:31 | 13.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.6292 | μmol/L | 11.6538 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.164 | 133254.4062 | 274917.2116 | 32.55 | 27.7
79586 | 2021-04-07 17:32 | 14.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.606 | μmol/L | 11.6538 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.165 | 133255.628 | 274918.2993 | 32.55 | 27.7
79595 | 2021-04-07 17:32 | 14.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.606 | μmol/L | 11.6538 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.165 | 133240.9228 | 274916.3833 | 32.55 | 27.7
79604 | 2021-04-07 17:32 | 14.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.528 | μmol/L | 11.6599 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.166 | 133244.3895 | 274899.9302 | 32.55 | 27.7
79613 | 2021-04-07 17:33 | 15.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.5512 | μmol/L | 11.6599 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.165 | 133243.7937 | 274898.5712 | 32.55 | 27.7
79622 | 2021-04-07 17:33 | 15.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.5131 | μmol/L | 11.6538 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.169 | 133229.6784 | 274896.4876 | 32.55 | 27.7
79631 | 2021-04-07 17:33 | 15.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.528 | μmol/L | 11.6599 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.166 | 133228.15 | 274884.1451 | 32.55 | 27.7
79640 | 2021-04-07 17:34 | 16.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.5512 | μmol/L | 11.6599 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.165 | 133217.2632 | 274884.6623 | 32.55 | 27.7
79649 | 2021-04-07 17:34 | 16.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.4815 | μmol/L | 11.6599 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.168 | 133214.6705 | 274871.7835 | 32.55 | 27.7
79658 | 2021-04-07 17:34 | 16.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.3572 | μmol/L | 11.666 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.171 | 133212.4467 | 274871.2575 | 32.55 | 27.7
79667 | 2021-04-07 17:35 | 17.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.4268 | μmol/L | 11.666 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.168 | 133228.4434 | 274870.507 | 32.55 | 27.7
79676 | 2021-04-07 17:35 | 17.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.4583 | μmol/L | 11.6599 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.169 | 133206.6261 | 274874.756 | 32.55 | 27.7
79685 | 2021-04-07 17:35 | 17.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.4036 | μmol/L | 11.666 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.169 | 133206.9515 | 274859.9801 | 32.55 | 27.7
79694 | 2021-04-07 17:36 | 18.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.256 | μmol/L | 11.6721 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.173 | 133207.1614 | 274858.2408 | 32.55 | 27.7
79703 | 2021-04-07 17:36 | 18.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.3572 | μmol/L | 11.666 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.171 | 133198.8442 | 274827.6602 | 32.55 | 27.7
79712 | 2021-04-07 17:36 | 18.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.2876 | μmol/L | 11.666 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.174 | 133205.1332 | 274838.0876 | 32.55 | 27.7
79721 | 2021-04-07 17:37 | 19.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.256 | μmol/L | 11.6721 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.173 | 133200.7978 | 274835.9562 | 32.55 | 27.7
79730 | 2021-04-07 17:37 | 19.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.256 | μmol/L | 11.6721 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.173 | 133198.53 | 274820.1105 | 32.55 | 27.7
79739 | 2021-04-07 17:37 | 19.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.2792 | μmol/L | 11.6721 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.172 | 133178.1514 | 274811.0018 | 32.55 | 27.7
79748 | 2021-04-07 17:38 | 20.0091 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.1086 | μmol/L | 11.6782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.177 | 133184.2041 | 274814.29 | 32.55 | 27.7
79757 | 2021-04-07 17:38 | 20.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.1781 | μmol/L | 11.6782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.174 | 133173.8679 | 274792.1439 | 32.55 | 27.7
79766 | 2021-04-07 17:38 | 20.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.2162 | μmol/L | 11.6843 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.17 | 133171.283 | 274795.921 | 32.55 | 27.7
79775 | 2021-04-07 17:39 | 21.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.2709 | μmol/L | 11.6782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.17 | 133156.6185 | 274786.9365 | 32.55 | 27.7
79784 | 2021-04-07 17:39 | 21.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.2477 | μmol/L | 11.6782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.171 | 133149.5526 | 274784.9733 | 32.55 | 27.7
79793 | 2021-04-07 17:39 | 21.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.1698 | μmol/L | 11.6843 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.172 | 133141.2754 | 274783.046 | 32.55 | 27.7
79802 | 2021-04-07 17:40 | 22.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.2394 | μmol/L | 11.6843 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.169 | 133127.7946 | 274764.0586 | 32.55 | 27.7
79811 | 2021-04-07 17:40 | 22.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.0919 | μmol/L | 11.6904 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.173 | 133136.4111 | 274772.5881 | 32.55 | 27.7
79820 | 2021-04-07 17:40 | 22.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.1003 | μmol/L | 11.6843 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.175 | 133120.5879 | 274747.2899 | 32.55 | 27.7
79829 | 2021-04-07 17:41 | 23.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.1466 | μmol/L | 11.6843 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.173 | 133120.7295 | 274757.7403 | 32.55 | 27.7
79838 | 2021-04-07 17:41 | 23.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.0688 | μmol/L | 11.6904 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.174 | 133122.8309 | 274744.0256 | 32.55 | 27.7
79847 | 2021-04-07 17:41 | 23.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.9993 | μmol/L | 11.6904 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.177 | 133117.199 | 274741.9872 | 32.55 | 27.7
79856 | 2021-04-07 17:42 | 24.0091 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.0456 | μmol/L | 11.6904 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.175 | 133111.1995 | 274745.3316 | 32.55 | 27.7
79865 | 2021-04-07 17:42 | 24.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.0141 | μmol/L | 11.6965 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.174 | 133119.4081 | 274744.0731 | 32.55 | 27.7
79874 | 2021-04-07 17:42 | 24.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.0919 | μmol/L | 11.6904 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.173 | 133118.314 | 274755.4218 | 32.55 | 27.7
79883 | 2021-04-07 17:43 | 25.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.9993 | μmol/L | 11.6904 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.177 | 133111.6973 | 274740.3507 | 32.55 | 27.7
79892 | 2021-04-07 17:43 | 25.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.8983 | μmol/L | 11.6965 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.179 | 133110.6418 | 274722.4945 | 32.55 | 27.7
79901 | 2021-04-07 17:43 | 25.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.89 | μmol/L | 11.7026 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.177 | 133103.4254 | 274714.5024 | 32.55 | 27.7
79910 | 2021-04-07 17:44 | 26.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.9363 | μmol/L | 11.7026 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.175 | 133099.2243 | 274703.3364 | 32.55 | 27.7
79919 | 2021-04-07 17:44 | 26.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.9678 | μmol/L | 11.6965 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.176 | 133096.4029 | 274712.691 | 32.55 | 27.7
79928 | 2021-04-07 17:44 | 26.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.9446 | μmol/L | 11.6965 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.177 | 133081.1159 | 274708.4381 | 32.55 | 27.7
79937 | 2021-04-07 17:45 | 27.0091 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.1068 | μmol/L | 11.6965 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.17 | 133054.1933 | 274703.4872 | 32.55 | 27.7
79946 | 2021-04-07 17:45 | 27.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.168 | μmol/L | 11.7026 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.165 | 133021.2006 | 274693.939 | 32.55 | 27.7
79955 | 2021-04-07 17:45 | 27.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.1912 | μmol/L | 11.7026 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.164 | 132992.2578 | 274677.7971 | 32.55 | 27.7
79964 | 2021-04-07 17:46 | 28.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.284 | μmol/L | 11.7026 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.16 | 132965.9737 | 274678.1451 | 32.55 | 27.7
79973 | 2021-04-07 17:46 | 28.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.3387 | μmol/L | 11.6965 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.16 | 132957.0265 | 274676.8876 | 32.55 | 27.7
79982 | 2021-04-07 17:46 | 28.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.284 | μmol/L | 11.7026 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.16 | 132960.4614 | 274674.9167 | 32.55 | 27.7
79991 | 2021-04-07 17:47 | 29.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 276.1449 | μmol/L | 11.7026 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.166 | 132987.0763 | 274672.7928 | 32.55 | 27.7
80000 | 2021-04-07 17:47 | 29.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.9826 | μmol/L | 11.7026 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.173 | 133022.9102 | 274665.6006 | 32.55 | 27.7
80009 | 2021-04-07 17:47 | 29.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.7891 | μmol/L | 11.7087 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.179 | 133058.8492 | 274668.8529 | 32.55 | 27.7
80018 | 2021-04-07 17:48 | 30.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.5346 | μmol/L | 11.7087 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.19 | 133095.5951 | 274668.1472 | 32.55 | 27.7
80027 | 2021-04-07 17:48 | 30.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.5032 | μmol/L | 11.7148 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.189 | 133123.2966 | 274659.8548 | 32.55 | 27.7
80036 | 2021-04-07 17:48 | 30.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.3876 | μmol/L | 11.7148 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.194 | 133147.6749 | 274652.9632 | 32.55 | 27.7
80045 | 2021-04-07 17:49 | 31.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.358 | μmol/L | 11.7026 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.2 | 133160.3188 | 274640.1228 | 32.55 | 27.7
80054 | 2021-04-07 17:49 | 31.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.2259 | μmol/L | 11.7148 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.201 | 133186.6183 | 274642.932 | 32.55 | 27.7
80063 | 2021-04-07 17:49 | 31.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.1566 | μmol/L | 11.7148 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.204 | 133195.2068 | 274634.6999 | 32.55 | 27.7
80072 | 2021-04-07 17:50 | 32.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.0874 | μmol/L | 11.7148 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.207 | 133206.4313 | 274629.1179 | 32.55 | 27.7
80081 | 2021-04-07 17:50 | 32.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.9176 | μmol/L | 11.7209 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.212 | 133215.9611 | 274632.5558 | 32.55 | 27.7
80090 | 2021-04-07 17:50 | 32.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.8254 | μmol/L | 11.7209 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.216 | 133230.6318 | 274626.7942 | 32.55 | 27.7
80099 | 2021-04-07 17:51 | 33.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.8107 | μmol/L | 11.7148 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.219 | 133242.9504 | 274612.3289 | 32.55 | 27.7
80108 | 2021-04-07 17:51 | 33.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.8024 | μmol/L | 11.7209 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.217 | 133240.5632 | 274605.1106 | 32.55 | 27.7
80117 | 2021-04-07 17:51 | 33.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.7019 | μmol/L | 11.727 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.219 | 133255.0002 | 274601.7563 | 32.55 | 27.7
80126 | 2021-04-07 17:52 | 34.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6871 | μmol/L | 11.7209 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.222 | 133258.9491 | 274607.904 | 32.55 | 27.7
80135 | 2021-04-07 17:52 | 34.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.618 | μmol/L | 11.7209 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.225 | 133262.3419 | 274608.5219 | 32.55 | 27.7
80144 | 2021-04-07 17:52 | 34.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6954 | μmol/L | 11.7148 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.224 | 133284.2784 | 274592.0741 | 32.55 | 27.7
80153 | 2021-04-07 17:53 | 35.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.618 | μmol/L | 11.7209 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.225 | 133286.158 | 274598.2217 | 32.55 | 27.7
80162 | 2021-04-07 17:53 | 35.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.4946 | μmol/L | 11.727 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.228 | 133272.133 | 274577.0749 | 32.55 | 27.7
80171 | 2021-04-07 17:53 | 35.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.549 | μmol/L | 11.7209 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.228 | 133279.1726 | 274576.421 | 32.55 | 27.7
80180 | 2021-04-07 17:54 | 36.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5637 | μmol/L | 11.727 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.225 | 133270.1501 | 274565.3638 | 32.55 | 27.7
80189 | 2021-04-07 17:54 | 36.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5094 | μmol/L | 11.7331 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.225 | 133254.579 | 274567.6264 | 32.55 | 27.7
80198 | 2021-04-07 17:54 | 36.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6098 | μmol/L | 11.727 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.223 | 133218.9813 | 274556.7503 | 32.55 | 27.7
80207 | 2021-04-07 17:55 | 37.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.7166 | μmol/L | 11.7331 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.216 | 133183.4454 | 274556.6609 | 32.55 | 27.7
80216 | 2021-04-07 17:55 | 37.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.7544 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.212 | 133142.95 | 274551.3216 | 32.55 | 27.7
80225 | 2021-04-07 17:55 | 37.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.9158 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.205 | 133122.4363 | 274555.7259 | 32.55 | 27.7
80234 | 2021-04-07 17:56 | 38.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.0016 | μmol/L | 11.727 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.206 | 133098.58 | 274551.162 | 32.55 | 27.7
80243 | 2021-04-07 17:56 | 38.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.0164 | μmol/L | 11.7331 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.203 | 133077.7685 | 274547.076 | 32.55 | 27.7
80252 | 2021-04-07 17:56 | 38.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.0312 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.2 | 133065.892 | 274547.7728 | 32.55 | 27.7
80261 | 2021-04-07 17:57 | 39.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.0312 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.2 | 133058.545 | 274545.9557 | 32.55 | 27.7
80270 | 2021-04-07 17:57 | 39.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.0543 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.199 | 133057.5462 | 274531.7927 | 32.55 | 27.7
80279 | 2021-04-07 17:57 | 39.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 275.1318 | μmol/L | 11.7331 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.198 | 133056.1188 | 274536.81 | 32.55 | 27.7
80288 | 2021-04-07 17:58 | 40.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.9389 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.204 | 133059.4928 | 274527.4624 | 32.55 | 27.7
80297 | 2021-04-07 17:58 | 40.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.8845 | μmol/L | 11.7453 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.204 | 133068.5187 | 274531.5568 | 32.55 | 27.7
80306 | 2021-04-07 17:58 | 40.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.985 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.202 | 133071.8734 | 274530.6279 | 32.55 | 27.7
80315 | 2021-04-07 17:59 | 41.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.962 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.203 | 133073.0063 | 274526.7675 | 32.55 | 27.7
80324 | 2021-04-07 17:59 | 41.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.9158 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.205 | 133061.7935 | 274507.9736 | 32.55 | 27.7
80333 | 2021-04-07 17:59 | 41.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.9158 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.205 | 133061.3244 | 274504.9614 | 32.55 | 27.7
80342 | 2021-04-07 18:00 | 42.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.9241 | μmol/L | 11.7331 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.207 | 133069.1223 | 274510.0559 | 32.55 | 27.7
80351 | 2021-04-07 18:00 | 42.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.8153 | μmol/L | 11.7453 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.207 | 133067.5323 | 274495.3677 | 32.55 | 27.7
80360 | 2021-04-07 18:00 | 42.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.8071 | μmol/L | 11.7514 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.205 | 133061.8809 | 274502.223 | 32.55 | 27.7
80369 | 2021-04-07 18:01 | 43.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.7775 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.211 | 133057.4137 | 274507.4716 | 32.55 | 27.7
80378 | 2021-04-07 18:01 | 43.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.784 | μmol/L | 11.7514 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.206 | 133056.7736 | 274478.7818 | 32.55 | 27.7
80387 | 2021-04-07 18:01 | 43.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.8467 | μmol/L | 11.7392 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.208 | 133054.588 | 274503.3357 | 32.55 | 27.7
80396 | 2021-04-07 18:02 | 44.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.7462 | μmol/L | 11.7453 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.21 | 133062.2979 | 274491.7991 | 32.55 | 27.7
80405 | 2021-04-07 18:02 | 44.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6605 | μmol/L | 11.7575 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.209 | 133059.3401 | 274488.3226 | 32.55 | 27.7
80414 | 2021-04-07 18:02 | 44.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6145 | μmol/L | 11.7575 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.211 | 133061.3817 | 274494.0948 | 32.55 | 27.7
80423 | 2021-04-07 18:03 | 45.0091 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6375 | μmol/L | 11.7575 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.21 | 133059.2607 | 274492.9291 | 32.55 | 27.7
80432 | 2021-04-07 18:03 | 45.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6918 | μmol/L | 11.7514 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.21 | 133067.2916 | 274470.6757 | 32.55 | 27.7
80441 | 2021-04-07 18:03 | 45.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6836 | μmol/L | 11.7575 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.208 | 133072.1648 | 274469.8391 | 32.55 | 27.7
80450 | 2021-04-07 18:04 | 46.0091 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.7149 | μmol/L | 11.7514 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.209 | 133071.1722 | 274459.1664 | 32.55 | 27.7
80459 | 2021-04-07 18:04 | 46.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5914 | μmol/L | 11.7575 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.212 | 133076.8537 | 274488.1039 | 32.55 | 27.7
80468 | 2021-04-07 18:04 | 46.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5914 | μmol/L | 11.7575 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.212 | 133083.5656 | 274475.3911 | 32.55 | 27.7
80477 | 2021-04-07 18:05 | 47.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5684 | μmol/L | 11.7575 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.213 | 133079.8295 | 274466.6443 | 32.55 | 27.7
80486 | 2021-04-07 18:05 | 47.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5371 | μmol/L | 11.7636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.212 | 133082.547 | 274447.8058 | 32.55 | 27.7
80495 | 2021-04-07 18:05 | 47.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5141 | μmol/L | 11.7636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.213 | 133092.8793 | 274461.7927 | 32.55 | 27.7
80504 | 2021-04-07 18:06 | 48.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5766 | μmol/L | 11.7514 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.215 | 133083.6829 | 274458.0868 | 32.55 | 27.7
80513 | 2021-04-07 18:06 | 48.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.4911 | μmol/L | 11.7636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.214 | 133087.6842 | 274445.809 | 32.55 | 27.7
80522 | 2021-04-07 18:06 | 48.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5371 | μmol/L | 11.7636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.212 | 133084.6284 | 274448.2891 | 32.55 | 27.7
80531 | 2021-04-07 18:07 | 49.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5832 | μmol/L | 11.7636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.21 | 133079.7061 | 274456.3446 | 32.55 | 27.7
80540 | 2021-04-07 18:07 | 49.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5289 | μmol/L | 11.7697 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.21 | 133067.7161 | 274443.5221 | 32.55 | 27.7
80549 | 2021-04-07 18:07 | 49.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6753 | μmol/L | 11.7636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.206 | 133051.8787 | 274439.0236 | 32.55 | 27.7
80558 | 2021-04-07 18:08 | 50.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6753 | μmol/L | 11.7636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.206 | 133034.3986 | 274437.0886 | 32.55 | 27.7
80567 | 2021-04-07 18:08 | 50.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.8136 | μmol/L | 11.7636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.2 | 133008.7893 | 274435.5288 | 32.55 | 27.7
80576 | 2021-04-07 18:08 | 50.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.7906 | μmol/L | 11.7636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.201 | 132993.7897 | 274435.2089 | 32.55 | 27.7
80585 | 2021-04-07 18:09 | 51.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.7593 | μmol/L | 11.7697 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.2 | 132990.0188 | 274436.9932 | 32.55 | 27.7
80594 | 2021-04-07 18:09 | 51.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.7593 | μmol/L | 11.7697 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.2 | 132984.6301 | 274449.8443 | 32.55 | 27.7
80603 | 2021-04-07 18:09 | 51.6758 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.8746 | μmol/L | 11.7697 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.195 | 132995.4989 | 274438.1419 | 32.55 | 27.7
80612 | 2021-04-07 18:10 | 52.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.8136 | μmol/L | 11.7636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.2 | 132989.8448 | 274431.7018 | 32.55 | 27.7
80621 | 2021-04-07 18:10 | 52.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.7362 | μmol/L | 11.7697 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.201 | 132985.8392 | 274425.6059 | 32.55 | 27.7
80630 | 2021-04-07 18:10 | 52.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.7675 | μmol/L | 11.7636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.202 | 132994.3884 | 274428.7921 | 32.55 | 27.7
80639 | 2021-04-07 18:11 | 53.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6588 | μmol/L | 11.7759 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.202 | 132994.7946 | 274403.4533 | 32.55 | 27.7
80648 | 2021-04-07 18:11 | 53.3425 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6588 | μmol/L | 11.7759 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.202 | 133001.5481 | 274417.2325 | 32.55 | 27.7
80657 | 2021-04-07 18:11 | 53.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6045 | μmol/L | 11.782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.202 | 133000.0317 | 274420.8193 | 32.55 | 27.7
80666 | 2021-04-07 18:12 | 54.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.6358 | μmol/L | 11.7759 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.203 | 132994.4573 | 274405.3954 | 32.55 | 27.7
80675 | 2021-04-07 18:12 | 54.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5815 | μmol/L | 11.782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.203 | 132988.7316 | 274406.777 | 32.55 | 27.7
80684 | 2021-04-07 18:12 | 54.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5897 | μmol/L | 11.7759 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.205 | 133000.8989 | 274403.2338 | 32.55 | 27.7
80693 | 2021-04-07 18:13 | 55.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5437 | μmol/L | 11.7759 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.207 | 133000.1538 | 274407.9117 | 32.55 | 27.7
80702 | 2021-04-07 18:13 | 55.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5667 | μmol/L | 11.7759 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.206 | 133002.3732 | 274414.2434 | 32.55 | 27.7
80711 | 2021-04-07 18:13 | 55.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.4433 | μmol/L | 11.782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.209 | 133013.8381 | 274410.477 | 32.55 | 27.7
80720 | 2021-04-07 18:14 | 56.0091 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.5124 | μmol/L | 11.782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.206 | 133015.6523 | 274395.6182 | 32.55 | 27.7
80729 | 2021-04-07 18:14 | 56.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.4894 | μmol/L | 11.782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.207 | 133021.476 | 274399.1301 | 32.55 | 27.7
80738 | 2021-04-07 18:14 | 56.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.4351 | μmol/L | 11.7881 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.207 | 133024.3741 | 274394.3495 | 32.55 | 27.7
80747 | 2021-04-07 18:15 | 57.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.4433 | μmol/L | 11.782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.209 | 133028.8884 | 274398.7538 | 32.55 | 27.7
80756 | 2021-04-07 18:15 | 57.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.3743 | μmol/L | 11.782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.212 | 133030.4472 | 274399.0198 | 32.55 | 27.7
80765 | 2021-04-07 18:15 | 57.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.3743 | μmol/L | 11.782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.212 | 133025.383 | 274394.7587 | 32.55 | 27.7
80774 | 2021-04-07 18:16 | 58.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.32 | μmol/L | 11.7881 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.212 | 133039.5316 | 274392.305 | 32.55 | 27.7
80783 | 2021-04-07 18:16 | 58.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.228 | μmol/L | 11.7881 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.216 | 133047.493 | 274407.2721 | 32.55 | 27.7