## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 20:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
80821 | 2021-04-07 20:23 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.504 | μmol/L | 10.7437 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.271 | 166917.7054 | 303054.4502 | 59.9307 | 49.4
80830 | 2021-04-07 20:23 | 0.34069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.4438 | μmol/L | 10.7683 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.264 | 166857.3217 | 303038.9289 | 59.9307 | 49.4
80839 | 2021-04-07 20:24 | 0.67367 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.4493 | μmol/L | 10.7807 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.259 | 166815.7613 | 303021.8454 | 59.9307 | 49.4
80848 | 2021-04-07 20:24 | 1.0067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.3836 | μmol/L | 10.793 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.257 | 166785.88 | 303004.2953 | 59.9307 | 49.4
80857 | 2021-04-07 20:24 | 1.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.4367 | μmol/L | 10.8053 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.25 | 166735.7248 | 302973.7837 | 59.9307 | 49.4
80866 | 2021-04-07 20:25 | 1.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.3948 | μmol/L | 10.8176 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.247 | 166709.7602 | 302977.5595 | 59.9307 | 49.4
80875 | 2021-04-07 20:25 | 2.0067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.2489 | μmol/L | 10.8361 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.246 | 166681.5338 | 302974.4663 | 59.9307 | 49.4
80884 | 2021-04-07 20:25 | 2.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.2546 | μmol/L | 10.8484 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.241 | 166637.822 | 302967.975 | 59.9307 | 49.4
80893 | 2021-04-07 20:26 | 2.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.4209 | μmol/L | 10.8484 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.234 | 166596.1445 | 302940.1966 | 59.9307 | 49.4
80902 | 2021-04-07 20:26 | 3.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.2661 | μmol/L | 10.873 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.231 | 166569.2755 | 302917.4246 | 59.9307 | 49.4
80911 | 2021-04-07 20:26 | 3.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.2333 | μmol/L | 10.8792 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.23 | 166539.0427 | 302917.8771 | 59.9307 | 49.4
80920 | 2021-04-07 20:27 | 3.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.1441 | μmol/L | 10.8915 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.229 | 166518.9244 | 302890.5749 | 59.9307 | 49.4
80929 | 2021-04-07 20:27 | 4.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.1827 | μmol/L | 10.8976 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.225 | 166493.1912 | 302865.5029 | 59.9307 | 49.4
80938 | 2021-04-07 20:27 | 4.34 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.0608 | μmol/L | 10.9161 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.223 | 166444.1157 | 302871.6828 | 59.9307 | 49.4
80947 | 2021-04-07 20:28 | 4.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.1469 | μmol/L | 10.9223 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.217 | 166389.1555 | 302825.2256 | 59.9307 | 49.4
80956 | 2021-04-07 20:28 | 5.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.1528 | μmol/L | 10.9346 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.212 | 166351.7224 | 302835.2921 | 59.9307 | 49.4
80965 | 2021-04-07 20:28 | 5.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.135 | μmol/L | 10.9469 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.208 | 166306.0571 | 302821.8497 | 59.9307 | 49.4
80974 | 2021-04-07 20:29 | 5.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.0282 | μmol/L | 10.9715 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.203 | 166256.8226 | 302786.3103 | 59.9307 | 49.4
80983 | 2021-04-07 20:29 | 6.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 280.0757 | μmol/L | 10.9715 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.201 | 166225.8791 | 302761.0868 | 59.9307 | 49.4
80992 | 2021-04-07 20:29 | 6.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.9541 | μmol/L | 10.99 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.199 | 166207.5571 | 302767.3923 | 59.9307 | 49.4
81001 | 2021-04-07 20:30 | 6.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.9066 | μmol/L | 10.99 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.201 | 166204.518 | 302739.1783 | 59.9307 | 49.4
81010 | 2021-04-07 20:30 | 7.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.7702 | μmol/L | 11.0023 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.202 | 166189.2666 | 302701.8632 | 59.9307 | 49.4
81019 | 2021-04-07 20:30 | 7.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.7763 | μmol/L | 11.0146 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.197 | 166146.9901 | 302708.0393 | 59.9307 | 49.4
81028 | 2021-04-07 20:31 | 7.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.8062 | μmol/L | 11.0269 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.191 | 166095.4147 | 302691.977 | 59.9307 | 49.4
81037 | 2021-04-07 20:31 | 8.0067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.7736 | μmol/L | 11.0331 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.19 | 166051.3571 | 302668.2869 | 59.9307 | 49.4
81046 | 2021-04-07 20:31 | 8.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.7798 | μmol/L | 11.0454 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.185 | 166012.7301 | 302656.0356 | 59.9307 | 49.4
81055 | 2021-04-07 20:32 | 8.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.7947 | μmol/L | 11.0515 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.182 | 165981.0264 | 302621.3192 | 59.9307 | 49.4
81064 | 2021-04-07 20:32 | 9.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.7772 | μmol/L | 11.0639 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.178 | 165941.6119 | 302629.3225 | 59.9307 | 49.4
81073 | 2021-04-07 20:32 | 9.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.6735 | μmol/L | 11.07 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.18 | 165914.8723 | 302602.5901 | 59.9307 | 49.4
81082 | 2021-04-07 20:33 | 9.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.5761 | μmol/L | 11.0885 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.177 | 165889.0792 | 302590.8334 | 59.9307 | 49.4
81091 | 2021-04-07 20:33 | 10.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.7035 | μmol/L | 11.0823 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.174 | 165852.277 | 302583.1349 | 59.9307 | 49.4
81100 | 2021-04-07 20:33 | 10.34 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.6061 | μmol/L | 11.1008 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.171 | 165814.5202 | 302554.3098 | 59.9307 | 49.4
81109 | 2021-04-07 20:34 | 10.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.5412 | μmol/L | 11.1131 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.169 | 165786.9123 | 302546.6149 | 59.9307 | 49.4
81118 | 2021-04-07 20:34 | 11.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.5475 | μmol/L | 11.1254 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.164 | 165747.6789 | 302502.316 | 59.9307 | 49.4
81127 | 2021-04-07 20:34 | 11.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.5475 | μmol/L | 11.1254 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.164 | 165710.8793 | 302495.3577 | 59.9307 | 49.4
81136 | 2021-04-07 20:35 | 11.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.4827 | μmol/L | 11.1377 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.162 | 165680.5949 | 302460.0211 | 59.9307 | 49.4
81145 | 2021-04-07 20:35 | 12.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.4029 | μmol/L | 11.1439 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.163 | 165662.8509 | 302459.5398 | 59.9307 | 49.4
81154 | 2021-04-07 20:35 | 12.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.4891 | μmol/L | 11.15 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.157 | 165621.5104 | 302444.7442 | 59.9307 | 49.4
81163 | 2021-04-07 20:36 | 12.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.3532 | μmol/L | 11.1624 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.158 | 165597.5774 | 302421.7617 | 59.9307 | 49.4
81172 | 2021-04-07 20:36 | 13.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.3446 | μmol/L | 11.1685 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.156 | 165552.6449 | 302395.7457 | 59.9307 | 49.4
81181 | 2021-04-07 20:36 | 13.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.3036 | μmol/L | 11.1808 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.153 | 165534.4235 | 302398.1072 | 59.9307 | 49.4
81190 | 2021-04-07 20:37 | 13.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.2239 | μmol/L | 11.187 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.154 | 165496.1919 | 302375.3204 | 59.9307 | 49.4
81199 | 2021-04-07 20:37 | 14.0074 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.1355 | μmol/L | 11.1993 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.153 | 165474.6175 | 302355.5771 | 59.9307 | 49.4
81208 | 2021-04-07 20:37 | 14.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.1592 | μmol/L | 11.1993 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.152 | 165474.7652 | 302359.0471 | 59.9307 | 49.4
81217 | 2021-04-07 20:38 | 14.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.1355 | μmol/L | 11.1993 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.153 | 165469.3524 | 302332.8206 | 59.9307 | 49.4
81226 | 2021-04-07 20:38 | 15.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 279.0322 | μmol/L | 11.2055 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.155 | 165458.3985 | 302319.0976 | 59.9307 | 49.4
81235 | 2021-04-07 20:38 | 15.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.8815 | μmol/L | 11.2116 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.159 | 165448.5368 | 302301.058 | 59.9307 | 49.4
81244 | 2021-04-07 20:39 | 15.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.8643 | μmol/L | 11.2239 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.155 | 165433.0634 | 302276.8304 | 59.9307 | 49.4
81253 | 2021-04-07 20:39 | 16.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.817 | μmol/L | 11.2239 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.157 | 165421.9005 | 302284.5182 | 59.9307 | 49.4
81262 | 2021-04-07 20:39 | 16.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.8795 | μmol/L | 11.2301 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.152 | 165391.0149 | 302250.7482 | 59.9307 | 49.4
81271 | 2021-04-07 20:40 | 16.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.7677 | μmol/L | 11.2424 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.152 | 165357.6372 | 302224.3337 | 59.9307 | 49.4
81280 | 2021-04-07 20:40 | 17.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.6881 | μmol/L | 11.2486 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.153 | 165329.287 | 302214.0894 | 59.9307 | 49.4
81289 | 2021-04-07 20:40 | 17.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.671 | μmol/L | 11.2609 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.149 | 165319.1828 | 302203.0991 | 59.9307 | 49.4
81298 | 2021-04-07 20:41 | 17.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.742 | μmol/L | 11.2609 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.146 | 165279.0583 | 302178.9048 | 59.9307 | 49.4
81307 | 2021-04-07 20:41 | 18.0067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.6067 | μmol/L | 11.2732 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.147 | 165268.229 | 302169.7732 | 59.9307 | 49.4
81316 | 2021-04-07 20:41 | 18.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.7098 | μmol/L | 11.267 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.145 | 165259.3625 | 302159.6608 | 59.9307 | 49.4
81325 | 2021-04-07 20:42 | 18.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4241 | μmol/L | 11.2855 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.15 | 165240.8728 | 302139.0025 | 59.9307 | 49.4
81334 | 2021-04-07 20:42 | 19.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.4478 | μmol/L | 11.2855 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.149 | 165223.5048 | 302107.103 | 59.9307 | 49.4
81343 | 2021-04-07 20:42 | 19.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.392 | μmol/L | 11.2917 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.149 | 165223.2085 | 302116.4167 | 59.9307 | 49.4
81352 | 2021-04-07 20:43 | 19.6733 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3211 | μmol/L | 11.2917 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.152 | 165209.6953 | 302093.4385 | 59.9307 | 49.4
81361 | 2021-04-07 20:43 | 20.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.3599 | μmol/L | 11.2978 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.148 | 165195.8594 | 302077.2808 | 59.9307 | 49.4
81370 | 2021-04-07 20:43 | 20.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1539 | μmol/L | 11.3101 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.152 | 165175.5196 | 302061.9918 | 59.9307 | 49.4
81379 | 2021-04-07 20:44 | 20.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.2248 | μmol/L | 11.3101 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.149 | 165172.004 | 302051.1967 | 59.9307 | 49.4
81388 | 2021-04-07 20:44 | 21.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1218 | μmol/L | 11.3163 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.151 | 165156.1342 | 302038.8573 | 59.9307 | 49.4
81397 | 2021-04-07 20:44 | 21.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1218 | μmol/L | 11.3163 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.151 | 165146.4105 | 302037.0662 | 59.9307 | 49.4
81406 | 2021-04-07 20:45 | 21.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.9717 | μmol/L | 11.3224 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.155 | 165118.501 | 302007.5858 | 59.9307 | 49.4
81415 | 2021-04-07 20:45 | 22.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0105 | μmol/L | 11.3286 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.151 | 165113.3013 | 302005.9991 | 59.9307 | 49.4
81424 | 2021-04-07 20:45 | 22.34 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.9784 | μmol/L | 11.3348 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.15 | 165101.295 | 301989.1665 | 59.9307 | 49.4
81433 | 2021-04-07 20:46 | 22.6739 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8756 | μmol/L | 11.3409 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.152 | 165083.2852 | 301966.1438 | 59.9307 | 49.4
81442 | 2021-04-07 20:46 | 23.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8992 | μmol/L | 11.3409 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.151 | 165062.467 | 301967.3757 | 59.9307 | 49.4
81451 | 2021-04-07 20:46 | 23.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8436 | μmol/L | 11.3471 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.151 | 165041.5614 | 301960.6197 | 59.9307 | 49.4
81460 | 2021-04-07 20:47 | 23.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8116 | μmol/L | 11.3532 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.15 | 165016.392 | 301919.166 | 59.9307 | 49.4
81469 | 2021-04-07 20:47 | 24.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8352 | μmol/L | 11.3532 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.149 | 164992.2354 | 301914.0488 | 59.9307 | 49.4
81478 | 2021-04-07 20:47 | 24.34 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8739 | μmol/L | 11.3594 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.145 | 164959.8067 | 301878.1071 | 59.9307 | 49.4
81487 | 2021-04-07 20:48 | 24.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.7947 | μmol/L | 11.3655 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.146 | 164933.9532 | 301864.6606 | 59.9307 | 49.4
81496 | 2021-04-07 20:48 | 25.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8419 | μmol/L | 11.3655 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.144 | 164909.9141 | 301855.6673 | 59.9307 | 49.4
81505 | 2021-04-07 20:48 | 25.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8335 | μmol/L | 11.3717 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.142 | 164854.7519 | 301848.2965 | 59.9307 | 49.4
81514 | 2021-04-07 20:49 | 25.6733 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.9515 | μmol/L | 11.3717 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.137 | 164813.0399 | 301834.725 | 59.9307 | 49.4
81523 | 2021-04-07 20:49 | 26.0072 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8403 | μmol/L | 11.384 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.137 | 164772.8291 | 301820.5999 | 59.9307 | 49.4
81532 | 2021-04-07 20:49 | 26.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.9583 | μmol/L | 11.384 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.132 | 164730.3889 | 301799.9874 | 59.9307 | 49.4
81541 | 2021-04-07 20:50 | 26.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0443 | μmol/L | 11.3902 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.126 | 164690.8047 | 301796.2858 | 59.9307 | 49.4
81550 | 2021-04-07 20:50 | 27.0074 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0207 | μmol/L | 11.3902 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.127 | 164654.668 | 301770.5177 | 59.9307 | 49.4
81559 | 2021-04-07 20:50 | 27.3405 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0276 | μmol/L | 11.4025 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.122 | 164622.0061 | 301733.1092 | 59.9307 | 49.4
81568 | 2021-04-07 20:51 | 27.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.004 | μmol/L | 11.4025 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.123 | 164585.0644 | 301727.3936 | 59.9307 | 49.4
81577 | 2021-04-07 20:51 | 28.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0596 | μmol/L | 11.3963 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.123 | 164571.3692 | 301721.414 | 59.9307 | 49.4
81586 | 2021-04-07 20:51 | 28.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.9956 | μmol/L | 11.4086 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.121 | 164546.4586 | 301713.9709 | 59.9307 | 49.4
81595 | 2021-04-07 20:52 | 28.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.1137 | μmol/L | 11.4086 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.116 | 164518.5546 | 301692.1203 | 59.9307 | 49.4
81604 | 2021-04-07 20:52 | 29.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0817 | μmol/L | 11.4148 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.115 | 164491.8376 | 301694.0363 | 59.9307 | 49.4
81613 | 2021-04-07 20:52 | 29.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0734 | μmol/L | 11.421 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.113 | 164458.2306 | 301672.9174 | 59.9307 | 49.4
81622 | 2021-04-07 20:53 | 29.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0261 | μmol/L | 11.421 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.115 | 164455.1396 | 301673.0251 | 59.9307 | 49.4
81631 | 2021-04-07 20:53 | 30.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 278.0261 | μmol/L | 11.421 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.115 | 164440.8733 | 301643.7065 | 59.9307 | 49.4
81640 | 2021-04-07 20:53 | 30.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8997 | μmol/L | 11.4271 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.118 | 164440.7089 | 301627.3481 | 59.9307 | 49.4
81649 | 2021-04-07 20:54 | 30.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.8997 | μmol/L | 11.4271 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.118 | 164442.1673 | 301631.4618 | 59.9307 | 49.4
81658 | 2021-04-07 20:54 | 31.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 277.7415 | μmol/L | 11.4394 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.12 | 164449.6677 | 301616.7839 | 59.9307 | 49.4