## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 20:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
80823 | 2021-04-07 20:23 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1532 | μmol/L | 10.9103 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.554 | 138865.6084 | 281150.5127 | 26.25 | 74
80832 | 2021-04-07 20:23 | 0.34159 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1945 | μmol/L | 10.9285 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.545 | 138813.8662 | 281154.758 | 26.25 | 74
80841 | 2021-04-07 20:24 | 0.67559 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3376 | μmol/L | 10.9407 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.534 | 138777.0546 | 281147.99 | 26.25 | 74
80850 | 2021-04-07 20:24 | 1.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2174 | μmol/L | 10.9589 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.532 | 138741.8142 | 281108.0905 | 26.25 | 74
80859 | 2021-04-07 20:24 | 1.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2912 | μmol/L | 10.971 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.524 | 138692.3326 | 281103.168 | 26.25 | 74
80868 | 2021-04-07 20:25 | 1.6755 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.319 | μmol/L | 10.9832 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.518 | 138651.6488 | 281091.6148 | 26.25 | 74
80877 | 2021-04-07 20:25 | 2.0087 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2913 | μmol/L | 11.0014 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.512 | 138600.7619 | 281068.6891 | 26.25 | 74
80886 | 2021-04-07 20:25 | 2.3417 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1712 | μmol/L | 11.0197 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.51 | 138569.8386 | 281062.1806 | 26.25 | 74
80895 | 2021-04-07 20:26 | 2.6756 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1667 | μmol/L | 11.0379 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.503 | 138522.5494 | 281035.2058 | 26.25 | 74
80904 | 2021-04-07 20:26 | 3.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.25 | μmol/L | 11.044 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.497 | 138481.4181 | 281024.0967 | 26.25 | 74
80913 | 2021-04-07 20:26 | 3.3421 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1763 | μmol/L | 11.0622 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.493 | 138440.8979 | 281022.0827 | 26.25 | 74
80922 | 2021-04-07 20:27 | 3.6754 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2827 | μmol/L | 11.0683 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.486 | 138401.907 | 281004.975 | 26.25 | 74
80931 | 2021-04-07 20:27 | 4.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2554 | μmol/L | 11.0865 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.48 | 138352.8119 | 280981.2838 | 26.25 | 74
80940 | 2021-04-07 20:27 | 4.3422 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1677 | μmol/L | 11.0987 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.479 | 138315.6886 | 280951.0791 | 26.25 | 74
80949 | 2021-04-07 20:28 | 4.6754 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2883 | μmol/L | 11.1108 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.469 | 138271.9356 | 280930.148 | 26.25 | 74
80958 | 2021-04-07 20:28 | 5.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2098 | μmol/L | 11.1169 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.47 | 138231.7677 | 280934.4266 | 26.25 | 74
80967 | 2021-04-07 20:28 | 5.3418 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2058 | μmol/L | 11.1352 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.463 | 138196.7716 | 280907.0666 | 26.25 | 74
80976 | 2021-04-07 20:29 | 5.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2571 | μmol/L | 11.1473 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.456 | 138156.5115 | 280878.4278 | 26.25 | 74
80985 | 2021-04-07 20:29 | 6.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3084 | μmol/L | 11.1595 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.449 | 138106.4904 | 280867.2843 | 26.25 | 74
80994 | 2021-04-07 20:29 | 6.3417 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.221 | μmol/L | 11.1716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.448 | 138072.9924 | 280838.2075 | 26.25 | 74
81003 | 2021-04-07 20:30 | 6.6757 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2119 | μmol/L | 11.1777 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.446 | 138031.9398 | 280828.0069 | 26.25 | 74
81012 | 2021-04-07 20:30 | 7.0088 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2865 | μmol/L | 11.1899 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.438 | 137989.843 | 280811.9747 | 26.25 | 74
81021 | 2021-04-07 20:30 | 7.3417 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3612 | μmol/L | 11.202 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.43 | 137947.8734 | 280780.5443 | 26.25 | 74
81030 | 2021-04-07 20:31 | 7.6756 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2275 | μmol/L | 11.2142 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.431 | 137900.8476 | 280767.4681 | 26.25 | 74
81039 | 2021-04-07 20:31 | 8.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3343 | μmol/L | 11.2203 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.424 | 137868.2248 | 280760.8802 | 26.25 | 74
81048 | 2021-04-07 20:31 | 8.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2933 | μmol/L | 11.2324 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.421 | 137820.2658 | 280736.3525 | 26.25 | 74
81057 | 2021-04-07 20:32 | 8.6754 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3449 | μmol/L | 11.2446 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.414 | 137768.8124 | 280716.287 | 26.25 | 74
81066 | 2021-04-07 20:32 | 9.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2576 | μmol/L | 11.2567 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.413 | 137733.6181 | 280698.439 | 26.25 | 74
81075 | 2021-04-07 20:32 | 9.3417 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3645 | μmol/L | 11.2628 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.406 | 137702.631 | 280667.8578 | 26.25 | 74
81084 | 2021-04-07 20:33 | 9.6756 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3788 | μmol/L | 11.2689 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.403 | 137660.6624 | 280653.1555 | 26.25 | 74
81093 | 2021-04-07 20:33 | 10.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.361 | μmol/L | 11.281 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.399 | 137625.0608 | 280630.8662 | 26.25 | 74
81102 | 2021-04-07 20:33 | 10.3418 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.468 | μmol/L | 11.2871 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.392 | 137585.6475 | 280607.0717 | 26.25 | 74
81111 | 2021-04-07 20:34 | 10.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3808 | μmol/L | 11.2993 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.391 | 137551.6983 | 280593.436 | 26.25 | 74
81120 | 2021-04-07 20:34 | 11.009 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3399 | μmol/L | 11.3114 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.388 | 137525.4558 | 280574.9886 | 26.25 | 74
81129 | 2021-04-07 20:34 | 11.342 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3918 | μmol/L | 11.3236 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.381 | 137484.2845 | 280561.0412 | 26.25 | 74
81138 | 2021-04-07 20:35 | 11.6751 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4381 | μmol/L | 11.3236 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.379 | 137436.4772 | 280522.9088 | 26.25 | 74
81147 | 2021-04-07 20:35 | 12.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3509 | μmol/L | 11.3357 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.378 | 137411.0527 | 280520.5221 | 26.25 | 74
81156 | 2021-04-07 20:35 | 12.3421 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4117 | μmol/L | 11.3418 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.373 | 137360.8464 | 280495.3839 | 26.25 | 74
81165 | 2021-04-07 20:36 | 12.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3797 | μmol/L | 11.3479 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.372 | 137339.6047 | 280480.263 | 26.25 | 74
81174 | 2021-04-07 20:36 | 13.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3621 | μmol/L | 11.3601 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.368 | 137302.48 | 280460.6386 | 26.25 | 74
81183 | 2021-04-07 20:36 | 13.3423 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3765 | μmol/L | 11.3661 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.365 | 137274.3525 | 280444.0064 | 26.25 | 74
81192 | 2021-04-07 20:37 | 13.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3358 | μmol/L | 11.3783 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.362 | 137241.5644 | 280436.8468 | 26.25 | 74
81201 | 2021-04-07 20:37 | 14.009 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.507 | μmol/L | 11.3722 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.357 | 137204.7314 | 280413.7847 | 26.25 | 74
81210 | 2021-04-07 20:37 | 14.342 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4518 | μmol/L | 11.3783 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.357 | 137178.0877 | 280390.9415 | 26.25 | 74
81219 | 2021-04-07 20:38 | 14.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3328 | μmol/L | 11.3965 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.355 | 137140.8432 | 280363.7147 | 26.25 | 74
81228 | 2021-04-07 20:38 | 15.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4024 | μmol/L | 11.3965 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.352 | 137107.831 | 280341.5463 | 26.25 | 74
81237 | 2021-04-07 20:38 | 15.3421 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3066 | μmol/L | 11.4148 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.349 | 137078.5477 | 280325.9225 | 26.25 | 74
81246 | 2021-04-07 20:39 | 15.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3675 | μmol/L | 11.4208 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.344 | 137048.8 | 280312.9158 | 26.25 | 74
81255 | 2021-04-07 20:39 | 16.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4922 | μmol/L | 11.4148 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.341 | 137017.5045 | 280280.6756 | 26.25 | 74
81264 | 2021-04-07 20:39 | 16.3424 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3733 | μmol/L | 11.433 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.339 | 136987.4086 | 280265.3547 | 26.25 | 74
81273 | 2021-04-07 20:40 | 16.6749 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3733 | μmol/L | 11.433 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.339 | 136948.7053 | 280240.2831 | 26.25 | 74
81282 | 2021-04-07 20:40 | 17.0089 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4197 | μmol/L | 11.433 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.337 | 136915.3784 | 280235.5599 | 26.25 | 74
81291 | 2021-04-07 20:40 | 17.3421 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3791 | μmol/L | 11.4452 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.334 | 136887.637 | 280209.1354 | 26.25 | 74
81300 | 2021-04-07 20:41 | 17.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3472 | μmol/L | 11.4512 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.333 | 136852.891 | 280169.1106 | 26.25 | 74
81309 | 2021-04-07 20:41 | 18.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4314 | μmol/L | 11.4573 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.327 | 136833.9433 | 280166.2468 | 26.25 | 74
81318 | 2021-04-07 20:41 | 18.3422 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3067 | μmol/L | 11.4634 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.33 | 136803.4976 | 280156.9751 | 26.25 | 74
81327 | 2021-04-07 20:42 | 18.6753 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4692 | μmol/L | 11.4634 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.323 | 136777.1332 | 280131.4771 | 26.25 | 74
81336 | 2021-04-07 20:42 | 19.0085 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3591 | μmol/L | 11.4756 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.323 | 136745.2278 | 280111.8072 | 26.25 | 74
81345 | 2021-04-07 20:42 | 19.3418 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4519 | μmol/L | 11.4756 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.319 | 136733.0978 | 280093.6728 | 26.25 | 74
81354 | 2021-04-07 20:43 | 19.6757 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4114 | μmol/L | 11.4877 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.316 | 136703.4885 | 280079.4615 | 26.25 | 74
81363 | 2021-04-07 20:43 | 20.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4665 | μmol/L | 11.4816 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.316 | 136672.0952 | 280061.6499 | 26.25 | 74
81372 | 2021-04-07 20:43 | 20.342 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4028 | μmol/L | 11.4938 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.314 | 136657.5717 | 280042.2475 | 26.25 | 74
81381 | 2021-04-07 20:44 | 20.6749 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.371 | μmol/L | 11.4999 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.313 | 136636.405 | 280033.2476 | 26.25 | 74
81390 | 2021-04-07 20:44 | 21.0088 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4406 | μmol/L | 11.4999 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.31 | 136616.2199 | 280011.523 | 26.25 | 74
81399 | 2021-04-07 20:44 | 21.3417 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2609 | μmol/L | 11.512 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.313 | 136585.1374 | 279991.67 | 26.25 | 74
81408 | 2021-04-07 20:45 | 21.6756 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.377 | μmol/L | 11.512 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.308 | 136561.6531 | 279969.5506 | 26.25 | 74
81417 | 2021-04-07 20:45 | 22.0088 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4234 | μmol/L | 11.512 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.306 | 136538.7224 | 279947.9711 | 26.25 | 74
81426 | 2021-04-07 20:45 | 22.3419 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4381 | μmol/L | 11.5181 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.303 | 136515.6092 | 279934.4031 | 26.25 | 74
81435 | 2021-04-07 20:46 | 22.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4845 | μmol/L | 11.5181 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.301 | 136498.7705 | 279914.0747 | 26.25 | 74
81444 | 2021-04-07 20:46 | 23.0087 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2584 | μmol/L | 11.5303 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.306 | 136494.7086 | 279907.7709 | 26.25 | 74
81453 | 2021-04-07 20:46 | 23.3421 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.328 | μmol/L | 11.5303 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.303 | 136462.543 | 279879.27 | 26.25 | 74
81462 | 2021-04-07 20:47 | 23.6755 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.4442 | μmol/L | 11.5303 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.298 | 136437.1558 | 279869.1196 | 26.25 | 74
81471 | 2021-04-07 20:47 | 24.0087 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2413 | μmol/L | 11.5424 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.302 | 136429.0904 | 279852.6987 | 26.25 | 74
81480 | 2021-04-07 20:47 | 24.3419 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3427 | μmol/L | 11.5363 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.3 | 136408.0744 | 279842.6987 | 26.25 | 74
81489 | 2021-04-07 20:48 | 24.6757 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2877 | μmol/L | 11.5424 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.3 | 136390.121 | 279821.3529 | 26.25 | 74
81498 | 2021-04-07 20:48 | 25.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3952 | μmol/L | 11.5485 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.293 | 136366.754 | 279807.7739 | 26.25 | 74
81507 | 2021-04-07 20:48 | 25.3424 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2559 | μmol/L | 11.5485 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.299 | 136351.917 | 279802.1729 | 26.25 | 74
81516 | 2021-04-07 20:49 | 25.6753 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.317 | μmol/L | 11.5546 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.294 | 136334.4727 | 279775.8704 | 26.25 | 74
81525 | 2021-04-07 20:49 | 26.0085 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3085 | μmol/L | 11.5607 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.292 | 136304.2874 | 279749.5257 | 26.25 | 74
81534 | 2021-04-07 20:49 | 26.3418 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2156 | μmol/L | 11.5607 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.296 | 136299.962 | 279730.0349 | 26.25 | 74
81543 | 2021-04-07 20:50 | 26.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2303 | μmol/L | 11.5667 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.293 | 136278.0519 | 279715.2635 | 26.25 | 74
81552 | 2021-04-07 20:50 | 27.0088 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.3782 | μmol/L | 11.5607 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.289 | 136261.5287 | 279693.9131 | 26.25 | 74
81561 | 2021-04-07 20:50 | 27.342 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2071 | μmol/L | 11.5667 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.294 | 136240.4388 | 279683.4678 | 26.25 | 74
81570 | 2021-04-07 20:51 | 27.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.245 | μmol/L | 11.5728 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.29 | 136219.5835 | 279675.0485 | 26.25 | 74
81579 | 2021-04-07 20:51 | 28.0089 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2914 | μmol/L | 11.5728 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.288 | 136199.535 | 279649.5132 | 26.25 | 74
81588 | 2021-04-07 20:51 | 28.3421 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2829 | μmol/L | 11.5789 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.286 | 136177.2369 | 279631.1311 | 26.25 | 74
81597 | 2021-04-07 20:52 | 28.6751 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2512 | μmol/L | 11.585 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.285 | 136165.9814 | 279609.666 | 26.25 | 74
81606 | 2021-04-07 20:52 | 29.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.228 | μmol/L | 11.585 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.286 | 136149.9934 | 279602.319 | 26.25 | 74
81615 | 2021-04-07 20:52 | 29.3422 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2744 | μmol/L | 11.585 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.284 | 136125.2819 | 279556.1236 | 26.25 | 74
81624 | 2021-04-07 20:53 | 29.6753 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.2891 | μmol/L | 11.5911 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.281 | 136108.675 | 279564.0218 | 26.25 | 74
81633 | 2021-04-07 20:53 | 30.0085 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.173 | μmol/L | 11.5911 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.286 | 136095.5782 | 279544.6878 | 26.25 | 74
81642 | 2021-04-07 20:53 | 30.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1962 | μmol/L | 11.5911 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.285 | 136074.5078 | 279534.9831 | 26.25 | 74
81651 | 2021-04-07 20:54 | 30.6755 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.1645 | μmol/L | 11.5971 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.284 | 136063.452 | 279531.5324 | 26.25 | 74
81660 | 2021-04-07 20:54 | 31.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 277.211 | μmol/L | 11.5971 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.282 | 136051.5729 | 279510.5599 | 26.25 | 74