## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 20:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
80824 | 2021-04-07 20:23 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.6849 | μmol/L | 10.8606 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.385 | 137593.1087 | 278036.8501 | 32.55 | 27.7
80833 | 2021-04-07 20:23 | 0.32786 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.8294 | μmol/L | 10.8728 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.374 | 137522.4085 | 278003.5114 | 32.55 | 27.7
80842 | 2021-04-07 20:24 | 0.66089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.8482 | μmol/L | 10.8911 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.366 | 137456.86 | 277974.7061 | 32.55 | 27.7
80851 | 2021-04-07 20:24 | 0.99484 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.0255 | μmol/L | 10.8972 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.356 | 137374.8621 | 277952.1764 | 32.55 | 27.7
80860 | 2021-04-07 20:24 | 1.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.0584 | μmol/L | 10.9216 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.345 | 137289.1164 | 277908.4933 | 32.55 | 27.7
80869 | 2021-04-07 20:25 | 1.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.1149 | μmol/L | 10.946 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.333 | 137227.5039 | 277895.489 | 32.55 | 27.7
80878 | 2021-04-07 20:25 | 1.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.2692 | μmol/L | 10.9521 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.324 | 137151.1769 | 277874.8697 | 32.55 | 27.7
80887 | 2021-04-07 20:25 | 2.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.4003 | μmol/L | 10.9582 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.316 | 137114.1316 | 277833.8601 | 32.55 | 27.7
80896 | 2021-04-07 20:26 | 2.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.1949 | μmol/L | 10.9704 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.32 | 137094.0819 | 277832.6848 | 32.55 | 27.7
80905 | 2021-04-07 20:26 | 2.9942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.1766 | μmol/L | 10.9826 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.316 | 137074.1496 | 277818.1197 | 32.55 | 27.7
80914 | 2021-04-07 20:26 | 3.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.0557 | μmol/L | 11.0009 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.314 | 137056.3561 | 277788.2251 | 32.55 | 27.7
80923 | 2021-04-07 20:27 | 3.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.0374 | μmol/L | 11.0131 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.31 | 137012.9451 | 277766.0398 | 32.55 | 27.7
80932 | 2021-04-07 20:27 | 3.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.0517 | μmol/L | 11.0192 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.307 | 136980.891 | 277743.779 | 32.55 | 27.7
80941 | 2021-04-07 20:27 | 4.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.0802 | μmol/L | 11.0314 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.301 | 136925.0995 | 277712.2028 | 32.55 | 27.7
80950 | 2021-04-07 20:28 | 4.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.1087 | μmol/L | 11.0436 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.295 | 136885.0581 | 277703.3852 | 32.55 | 27.7
80959 | 2021-04-07 20:28 | 4.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.0905 | μmol/L | 11.0558 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.291 | 136835.6006 | 277702.0491 | 32.55 | 27.7
80968 | 2021-04-07 20:28 | 5.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.0166 | μmol/L | 11.0741 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.287 | 136797.3283 | 277668.2362 | 32.55 | 27.7
80977 | 2021-04-07 20:29 | 5.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.0543 | μmol/L | 11.0802 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.283 | 136769.3078 | 277661.7597 | 32.55 | 27.7
80986 | 2021-04-07 20:29 | 5.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.083 | μmol/L | 11.0924 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.277 | 136744.9463 | 277645.6104 | 32.55 | 27.7
80995 | 2021-04-07 20:29 | 6.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 279.0649 | μmol/L | 11.1046 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.273 | 136712.2503 | 277625.3451 | 32.55 | 27.7
81004 | 2021-04-07 20:30 | 6.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.9211 | μmol/L | 11.1229 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.272 | 136681.9942 | 277610.7255 | 32.55 | 27.7
81013 | 2021-04-07 20:30 | 6.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.9912 | μmol/L | 11.1229 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.269 | 136640.2169 | 277578.5539 | 32.55 | 27.7
81022 | 2021-04-07 20:30 | 7.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.8941 | μmol/L | 11.1412 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.266 | 136592.61 | 277565.4867 | 32.55 | 27.7
81031 | 2021-04-07 20:31 | 7.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.8618 | μmol/L | 11.1473 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.265 | 136574.6961 | 277558.6305 | 32.55 | 27.7
81040 | 2021-04-07 20:31 | 7.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.8529 | μmol/L | 11.1534 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.263 | 136533.8597 | 277539.9858 | 32.55 | 27.7
81049 | 2021-04-07 20:31 | 8.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.7938 | μmol/L | 11.1778 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.256 | 136513.9661 | 277523.2523 | 32.55 | 27.7
81058 | 2021-04-07 20:32 | 8.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.8171 | μmol/L | 11.1778 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.255 | 136473.6823 | 277503.5111 | 32.55 | 27.7
81067 | 2021-04-07 20:32 | 8.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.7203 | μmol/L | 11.1961 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.252 | 136458.1275 | 277482.0651 | 32.55 | 27.7
81076 | 2021-04-07 20:32 | 9.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.7114 | μmol/L | 11.2022 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.25 | 136422.0647 | 277481.4014 | 32.55 | 27.7
81085 | 2021-04-07 20:33 | 9.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.6936 | μmol/L | 11.2144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.246 | 136378.7981 | 277452.279 | 32.55 | 27.7
81094 | 2021-04-07 20:33 | 9.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.8104 | μmol/L | 11.2144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.241 | 136349.1422 | 277445.3717 | 32.55 | 27.7
81103 | 2021-04-07 20:33 | 10.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.6437 | μmol/L | 11.2328 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.241 | 136324.4069 | 277446.897 | 32.55 | 27.7
81112 | 2021-04-07 20:34 | 10.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.7137 | μmol/L | 11.2328 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.238 | 136307.1213 | 277418.2348 | 32.55 | 27.7
81121 | 2021-04-07 20:34 | 10.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.626 | μmol/L | 11.245 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.237 | 136273.5682 | 277401.5277 | 32.55 | 27.7
81130 | 2021-04-07 20:34 | 11.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.5616 | μmol/L | 11.2572 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.235 | 136252.2972 | 277378.0232 | 32.55 | 27.7
81139 | 2021-04-07 20:35 | 11.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.4739 | μmol/L | 11.2694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.234 | 136233.4927 | 277374.5331 | 32.55 | 27.7
81148 | 2021-04-07 20:35 | 11.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.4418 | μmol/L | 11.2755 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.233 | 136217.0801 | 277357.6402 | 32.55 | 27.7
81157 | 2021-04-07 20:35 | 12.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.4563 | μmol/L | 11.2816 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.23 | 136197.7436 | 277338.7391 | 32.55 | 27.7
81166 | 2021-04-07 20:36 | 12.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3775 | μmol/L | 11.2877 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.231 | 136173.9496 | 277321.7883 | 32.55 | 27.7
81175 | 2021-04-07 20:36 | 12.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3366 | μmol/L | 11.2999 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.228 | 136143.394 | 277312.9735 | 32.55 | 27.7
81184 | 2021-04-07 20:36 | 13.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3132 | μmol/L | 11.2999 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.229 | 136113.7557 | 277300.2366 | 32.55 | 27.7
81193 | 2021-04-07 20:37 | 13.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3657 | μmol/L | 11.3121 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.222 | 136084.9522 | 277291.3273 | 32.55 | 27.7
81202 | 2021-04-07 20:37 | 13.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3336 | μmol/L | 11.3182 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.221 | 136062.567 | 277287.791 | 32.55 | 27.7
81211 | 2021-04-07 20:37 | 14.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3395 | μmol/L | 11.3304 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.216 | 136041.331 | 277262.7046 | 32.55 | 27.7
81220 | 2021-04-07 20:38 | 14.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3395 | μmol/L | 11.3304 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.216 | 136018.6921 | 277246.8215 | 32.55 | 27.7
81229 | 2021-04-07 20:38 | 14.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3074 | μmol/L | 11.3365 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.215 | 135994.7773 | 277231.985 | 32.55 | 27.7
81238 | 2021-04-07 20:38 | 15.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.252 | μmol/L | 11.3426 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.215 | 135963.3535 | 277224.8032 | 32.55 | 27.7
81247 | 2021-04-07 20:39 | 15.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2346 | μmol/L | 11.3548 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.211 | 135932.3033 | 277204.8916 | 32.55 | 27.7
81256 | 2021-04-07 20:39 | 15.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3046 | μmol/L | 11.3548 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.208 | 135897.8556 | 277197.402 | 32.55 | 27.7
81265 | 2021-04-07 20:39 | 16.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2405 | μmol/L | 11.367 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.206 | 135868.6897 | 277180.5875 | 32.55 | 27.7
81274 | 2021-04-07 20:40 | 16.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2552 | μmol/L | 11.3731 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.203 | 135853.2164 | 277175.6679 | 32.55 | 27.7
81283 | 2021-04-07 20:40 | 16.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1998 | μmol/L | 11.3792 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.203 | 135815.0014 | 277152.5563 | 32.55 | 27.7
81292 | 2021-04-07 20:40 | 17.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2231 | μmol/L | 11.3792 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.202 | 135788.1864 | 277132.1539 | 32.55 | 27.7
81301 | 2021-04-07 20:41 | 17.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1825 | μmol/L | 11.3914 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.199 | 135767.1505 | 277133.9768 | 32.55 | 27.7
81310 | 2021-04-07 20:41 | 17.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3078 | μmol/L | 11.3853 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.196 | 135744.4792 | 277132.3133 | 32.55 | 27.7
81319 | 2021-04-07 20:41 | 18.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.0865 | μmol/L | 11.4097 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.196 | 135723.1982 | 277111.6534 | 32.55 | 27.7
81328 | 2021-04-07 20:42 | 18.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1565 | μmol/L | 11.4097 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.193 | 135698.797 | 277098.5244 | 32.55 | 27.7
81337 | 2021-04-07 20:42 | 18.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2265 | μmol/L | 11.4097 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.19 | 135681.9096 | 277086.422 | 32.55 | 27.7
81346 | 2021-04-07 20:42 | 19.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.0926 | μmol/L | 11.4219 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.191 | 135661.1152 | 277086.9908 | 32.55 | 27.7
81355 | 2021-04-07 20:43 | 19.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1626 | μmol/L | 11.4219 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.188 | 135639.3124 | 277057.6433 | 32.55 | 27.7
81364 | 2021-04-07 20:43 | 19.9943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.154 | μmol/L | 11.428 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.186 | 135611.3079 | 277048.3465 | 32.55 | 27.7
81373 | 2021-04-07 20:43 | 20.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2006 | μmol/L | 11.428 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.184 | 135580.2924 | 277049.9235 | 32.55 | 27.7
81382 | 2021-04-07 20:44 | 20.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1687 | μmol/L | 11.4341 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.183 | 135553.3777 | 277015.3571 | 32.55 | 27.7
81391 | 2021-04-07 20:44 | 20.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1601 | μmol/L | 11.4402 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.181 | 135528.0913 | 277010.3116 | 32.55 | 27.7
81400 | 2021-04-07 20:44 | 21.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2301 | μmol/L | 11.4402 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.178 | 135511.3053 | 276983.0648 | 32.55 | 27.7
81409 | 2021-04-07 20:45 | 21.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1195 | μmol/L | 11.4524 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.178 | 135477.7293 | 276979.306 | 32.55 | 27.7
81418 | 2021-04-07 20:45 | 21.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1429 | μmol/L | 11.4524 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.177 | 135449.7767 | 276965.3204 | 32.55 | 27.7
81427 | 2021-04-07 20:45 | 22.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1491 | μmol/L | 11.4646 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.172 | 135423.0334 | 276961.5882 | 32.55 | 27.7
81436 | 2021-04-07 20:46 | 22.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1491 | μmol/L | 11.4646 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.172 | 135397.1421 | 276946.3932 | 32.55 | 27.7
81445 | 2021-04-07 20:46 | 22.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2425 | μmol/L | 11.4646 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.168 | 135379.4523 | 276946.6896 | 32.55 | 27.7
81454 | 2021-04-07 20:46 | 23.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.0067 | μmol/L | 11.4829 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.171 | 135361.6587 | 276920.6662 | 32.55 | 27.7
81463 | 2021-04-07 20:47 | 23.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1786 | μmol/L | 11.4768 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.166 | 135336.6436 | 276918.5797 | 32.55 | 27.7
81472 | 2021-04-07 20:47 | 23.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.0915 | μmol/L | 11.489 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.165 | 135313.734 | 276894.0893 | 32.55 | 27.7
81481 | 2021-04-07 20:47 | 24.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2402 | μmol/L | 11.4829 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.161 | 135293.5077 | 276883.6766 | 32.55 | 27.7
81490 | 2021-04-07 20:48 | 24.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1849 | μmol/L | 11.489 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.161 | 135263.6833 | 276881.8262 | 32.55 | 27.7
81499 | 2021-04-07 20:48 | 24.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1615 | μmol/L | 11.489 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.162 | 135223.9843 | 276864.5711 | 32.55 | 27.7
81508 | 2021-04-07 20:48 | 25.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2464 | μmol/L | 11.4951 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.156 | 135206.931 | 276856.7482 | 32.55 | 27.7
81517 | 2021-04-07 20:49 | 25.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3165 | μmol/L | 11.4951 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.153 | 135184.0954 | 276848.7394 | 32.55 | 27.7
81526 | 2021-04-07 20:49 | 25.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2145 | μmol/L | 11.5012 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.155 | 135164.9321 | 276842.1809 | 32.55 | 27.7
81535 | 2021-04-07 20:49 | 26.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2613 | μmol/L | 11.5012 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.153 | 135136.6396 | 276813.6134 | 32.55 | 27.7
81544 | 2021-04-07 20:50 | 26.661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.3229 | μmol/L | 11.5073 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.148 | 135132.4646 | 276813.1659 | 32.55 | 27.7
81553 | 2021-04-07 20:50 | 26.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.2209 | μmol/L | 11.5134 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.15 | 135112.3904 | 276779.1062 | 32.55 | 27.7
81562 | 2021-04-07 20:50 | 27.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1189 | μmol/L | 11.5195 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.152 | 135090.7801 | 276787.8474 | 32.55 | 27.7
81571 | 2021-04-07 20:51 | 27.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1104 | μmol/L | 11.5256 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.15 | 135070.9181 | 276770.2162 | 32.55 | 27.7
81580 | 2021-04-07 20:51 | 27.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1423 | μmol/L | 11.5195 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.151 | 135057.1644 | 276770.7585 | 32.55 | 27.7
81589 | 2021-04-07 20:51 | 28.3276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1338 | μmol/L | 11.5256 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.149 | 135036.3663 | 276746.4062 | 32.55 | 27.7
81598 | 2021-04-07 20:52 | 28.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.172 | μmol/L | 11.5318 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.145 | 135026.9259 | 276735.3321 | 32.55 | 27.7
81607 | 2021-04-07 20:52 | 28.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1486 | μmol/L | 11.5318 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.146 | 134999.5308 | 276724.397 | 32.55 | 27.7
81616 | 2021-04-07 20:52 | 29.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1019 | μmol/L | 11.5318 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.148 | 134984.7712 | 276730.5622 | 32.55 | 27.7
81625 | 2021-04-07 20:53 | 29.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 277.9831 | μmol/L | 11.5501 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.146 | 134961.838 | 276725.498 | 32.55 | 27.7
81634 | 2021-04-07 20:53 | 29.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.0064 | μmol/L | 11.5501 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.145 | 134943.5375 | 276698.1685 | 32.55 | 27.7
81643 | 2021-04-07 20:53 | 30.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1317 | μmol/L | 11.544 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.142 | 134927.487 | 276691.129 | 32.55 | 27.7
81652 | 2021-04-07 20:54 | 30.6609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1317 | μmol/L | 11.544 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.142 | 134909.2611 | 276698.0596 | 32.55 | 27.7
81661 | 2021-04-07 20:54 | 30.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 278.1933 | μmol/L | 11.5501 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.137 | 134884.7533 | 276666.374 | 32.55 | 27.7