## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 21:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
81674 | 2021-04-07 21:16 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.4203 | μmol/L | 10.8448 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.369 | 143128.9975 | 307450.0257 | 59.9307 | 38.1
81683 | 2021-04-07 21:16 | 0.32833 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.5053 | μmol/L | 10.8509 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.363 | 143103.3279 | 307454.3117 | 59.9307 | 38.1
81692 | 2021-04-07 21:16 | 0.66122 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.3635 | μmol/L | 10.8692 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.362 | 143084.8475 | 307462.4744 | 59.9307 | 38.1
81701 | 2021-04-07 21:17 | 0.99487 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.3318 | μmol/L | 10.8753 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.361 | 143058.1214 | 307437.066 | 59.9307 | 38.1
81710 | 2021-04-07 21:17 | 1.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.2368 | μmol/L | 10.8936 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.358 | 143037.3213 | 307416.478 | 59.9307 | 38.1
81719 | 2021-04-07 21:17 | 1.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.1735 | μmol/L | 10.9057 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.356 | 143019.3329 | 307399.1861 | 59.9307 | 38.1
81728 | 2021-04-07 21:18 | 1.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.0869 | μmol/L | 10.9179 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.355 | 143003.0246 | 307384.9042 | 59.9307 | 38.1
81737 | 2021-04-07 21:18 | 2.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.0319 | μmol/L | 10.924 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.355 | 142989.2299 | 307387.8478 | 59.9307 | 38.1
81746 | 2021-04-07 21:18 | 2.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.0387 | μmol/L | 10.9362 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.35 | 142965.2628 | 307371.3311 | 59.9307 | 38.1
81755 | 2021-04-07 21:19 | 2.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.0304 | μmol/L | 10.9423 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.348 | 142946.4004 | 307356.5306 | 59.9307 | 38.1
81764 | 2021-04-07 21:19 | 3.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 275.0138 | μmol/L | 10.9545 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.344 | 142914.157 | 307340.5748 | 59.9307 | 38.1
81773 | 2021-04-07 21:19 | 3.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.8808 | μmol/L | 10.9667 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.345 | 142889.6501 | 307320.925 | 59.9307 | 38.1
81782 | 2021-04-07 21:20 | 3.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.7711 | μmol/L | 10.9789 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.345 | 142878.4623 | 307309.0948 | 59.9307 | 38.1
81791 | 2021-04-07 21:20 | 4.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.8094 | μmol/L | 10.9849 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.341 | 142876.3637 | 307297.7614 | 59.9307 | 38.1
81800 | 2021-04-07 21:20 | 4.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.6847 | μmol/L | 10.991 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.344 | 142898.7284 | 307267.9897 | 59.9307 | 38.1
81809 | 2021-04-07 21:21 | 4.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.3739 | μmol/L | 10.9971 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.355 | 142931.6072 | 307263.1877 | 59.9307 | 38.1
81818 | 2021-04-07 21:21 | 5.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 274.1482 | μmol/L | 11.0093 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.36 | 142960.4741 | 307245.6612 | 59.9307 | 38.1
81827 | 2021-04-07 21:21 | 5.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.9774 | μmol/L | 11.0154 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.365 | 142983.9493 | 307236.5648 | 59.9307 | 38.1
81836 | 2021-04-07 21:22 | 5.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.8367 | μmol/L | 11.0337 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.364 | 143016.6583 | 307225.4695 | 59.9307 | 38.1
81845 | 2021-04-07 21:22 | 6.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5965 | μmol/L | 11.0398 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.372 | 143025.5631 | 307200.9254 | 59.9307 | 38.1
81854 | 2021-04-07 21:22 | 6.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.5188 | μmol/L | 11.0459 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.373 | 143021.9504 | 307184.8903 | 59.9307 | 38.1
81863 | 2021-04-07 21:23 | 6.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3866 | μmol/L | 11.0581 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.374 | 143016.5766 | 307176.8209 | 59.9307 | 38.1
81872 | 2021-04-07 21:23 | 7.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3472 | μmol/L | 11.0702 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.371 | 143007.4655 | 307158.9698 | 59.9307 | 38.1
81881 | 2021-04-07 21:23 | 7.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.339 | μmol/L | 11.0763 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.369 | 142975.4962 | 307153.2772 | 59.9307 | 38.1
81890 | 2021-04-07 21:24 | 7.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.2996 | μmol/L | 11.0885 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.366 | 142959.1392 | 307136.9138 | 59.9307 | 38.1
81899 | 2021-04-07 21:24 | 8.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1908 | μmol/L | 11.1007 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.366 | 142939.761 | 307142.2969 | 59.9307 | 38.1
81908 | 2021-04-07 21:24 | 8.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1827 | μmol/L | 11.1068 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.364 | 142905.8026 | 307123.4881 | 59.9307 | 38.1
81917 | 2021-04-07 21:25 | 8.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3367 | μmol/L | 11.1129 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.355 | 142866.7549 | 307101.7306 | 59.9307 | 38.1
81926 | 2021-04-07 21:25 | 9.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4063 | μmol/L | 11.1129 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.352 | 142830.4401 | 307100.3127 | 59.9307 | 38.1
81935 | 2021-04-07 21:25 | 9.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.4526 | μmol/L | 11.1129 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.35 | 142793.7184 | 307080.0707 | 59.9307 | 38.1
81944 | 2021-04-07 21:26 | 9.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3589 | μmol/L | 11.1312 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.347 | 142777.5417 | 307076.226 | 59.9307 | 38.1
81953 | 2021-04-07 21:26 | 10.3276 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.3276 | μmol/L | 11.1373 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.346 | 142750.0878 | 307058.4367 | 59.9307 | 38.1
81962 | 2021-04-07 21:26 | 10.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.2188 | μmol/L | 11.1494 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.346 | 142729.9982 | 307053.5326 | 59.9307 | 38.1
81971 | 2021-04-07 21:27 | 10.9945 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.1101 | μmol/L | 11.1616 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.346 | 142720.9277 | 307051.9743 | 59.9307 | 38.1
81980 | 2021-04-07 21:27 | 11.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.0941 | μmol/L | 11.1738 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.342 | 142710.9072 | 307043.1023 | 59.9307 | 38.1
81989 | 2021-04-07 21:27 | 11.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.9783 | μmol/L | 11.1738 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.347 | 142703.991 | 307027.0881 | 59.9307 | 38.1
81998 | 2021-04-07 21:28 | 11.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 273.0246 | μmol/L | 11.1738 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.345 | 142706.7932 | 307003.6361 | 59.9307 | 38.1
82007 | 2021-04-07 21:28 | 12.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.8466 | μmol/L | 11.186 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.348 | 142703.4144 | 306998.0399 | 59.9307 | 38.1
82016 | 2021-04-07 21:28 | 12.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.8928 | μmol/L | 11.186 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.346 | 142701.4641 | 306988.9518 | 59.9307 | 38.1
82025 | 2021-04-07 21:29 | 12.9944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.7612 | μmol/L | 11.1982 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.347 | 142705.2142 | 306963.2213 | 59.9307 | 38.1
82034 | 2021-04-07 21:29 | 13.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.6527 | μmol/L | 11.2104 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.347 | 142706.2171 | 306963.612 | 59.9307 | 38.1
82043 | 2021-04-07 21:29 | 13.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.506 | μmol/L | 11.2165 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.351 | 142689.5071 | 306946.7267 | 59.9307 | 38.1
82052 | 2021-04-07 21:30 | 13.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.6527 | μmol/L | 11.2104 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.347 | 142688.7363 | 306941.4087 | 59.9307 | 38.1
82061 | 2021-04-07 21:30 | 14.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.6288 | μmol/L | 11.2286 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.341 | 142657.4292 | 306926.3575 | 59.9307 | 38.1
82070 | 2021-04-07 21:30 | 14.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.5977 | μmol/L | 11.2347 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.34 | 142620.0745 | 306913.6198 | 59.9307 | 38.1
82079 | 2021-04-07 21:31 | 14.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.5898 | μmol/L | 11.2408 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.338 | 142595.4769 | 306896.0694 | 59.9307 | 38.1
82088 | 2021-04-07 21:31 | 15.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.5587 | μmol/L | 11.2469 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.337 | 142576.1845 | 306892.6112 | 59.9307 | 38.1
82097 | 2021-04-07 21:31 | 15.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.605 | μmol/L | 11.2469 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.335 | 142549.8406 | 306879.8833 | 59.9307 | 38.1
82106 | 2021-04-07 21:32 | 15.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.5118 | μmol/L | 11.2652 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.332 | 142523.5121 | 306869.5839 | 59.9307 | 38.1
82115 | 2021-04-07 21:32 | 16.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.5118 | μmol/L | 11.2652 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.332 | 142506.4846 | 306863.4305 | 59.9307 | 38.1
82124 | 2021-04-07 21:32 | 16.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.5964 | μmol/L | 11.2713 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.326 | 142481.9585 | 306846.7407 | 59.9307 | 38.1
82133 | 2021-04-07 21:33 | 16.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.496 | μmol/L | 11.2774 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.328 | 142458.5587 | 306825.7293 | 59.9307 | 38.1
82142 | 2021-04-07 21:33 | 17.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.5423 | μmol/L | 11.2774 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.326 | 142441.7429 | 306821.1796 | 59.9307 | 38.1
82151 | 2021-04-07 21:33 | 17.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.5885 | μmol/L | 11.2774 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.324 | 142426.8943 | 306819.6037 | 59.9307 | 38.1
82160 | 2021-04-07 21:34 | 17.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.4724 | μmol/L | 11.2957 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.322 | 142421.2674 | 306814.3206 | 59.9307 | 38.1
82169 | 2021-04-07 21:34 | 18.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.4492 | μmol/L | 11.2957 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.323 | 142411.169 | 306782.6648 | 59.9307 | 38.1
82178 | 2021-04-07 21:34 | 18.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.4724 | μmol/L | 11.2957 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.322 | 142409.6531 | 306795.6721 | 59.9307 | 38.1
82187 | 2021-04-07 21:35 | 18.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.372 | μmol/L | 11.3018 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.324 | 142392.2938 | 306780.6441 | 59.9307 | 38.1
82196 | 2021-04-07 21:35 | 19.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.4182 | μmol/L | 11.3018 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.322 | 142374.7863 | 306762.3289 | 59.9307 | 38.1
82205 | 2021-04-07 21:35 | 19.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.2329 | μmol/L | 11.32 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.323 | 142363.4584 | 306743.2598 | 59.9307 | 38.1
82214 | 2021-04-07 21:36 | 19.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.2329 | μmol/L | 11.32 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.323 | 142352.4262 | 306750.1974 | 59.9307 | 38.1
82223 | 2021-04-07 21:36 | 20.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.2944 | μmol/L | 11.3261 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.318 | 142359.2001 | 306741.9949 | 59.9307 | 38.1
82232 | 2021-04-07 21:36 | 20.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.2713 | μmol/L | 11.3261 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.319 | 142333.4239 | 306728.9302 | 59.9307 | 38.1
82241 | 2021-04-07 21:37 | 20.9943 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.202 | μmol/L | 11.3261 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.322 | 142328.2916 | 306727.5723 | 59.9307 | 38.1
82250 | 2021-04-07 21:37 | 21.3277 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.1632 | μmol/L | 11.3383 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.319 | 142321.7531 | 306711.6918 | 59.9307 | 38.1
82259 | 2021-04-07 21:37 | 21.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.2325 | μmol/L | 11.3383 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.316 | 142313.1267 | 306702.3232 | 59.9307 | 38.1
82268 | 2021-04-07 21:38 | 21.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.1863 | μmol/L | 11.3383 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.318 | 142313.7498 | 306693.9024 | 59.9307 | 38.1
82277 | 2021-04-07 21:38 | 22.3278 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.1014 | μmol/L | 11.3505 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.317 | 142297.0056 | 306679.9649 | 59.9307 | 38.1
82286 | 2021-04-07 21:38 | 22.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.0783 | μmol/L | 11.3505 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.318 | 142290.0664 | 306682.236 | 59.9307 | 38.1
82295 | 2021-04-07 21:39 | 22.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.0474 | μmol/L | 11.3566 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.317 | 142287.1484 | 306681.8699 | 59.9307 | 38.1
82304 | 2021-04-07 21:39 | 23.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.9704 | μmol/L | 11.3627 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.318 | 142282.1184 | 306663.3155 | 59.9307 | 38.1
82313 | 2021-04-07 21:39 | 23.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.9704 | μmol/L | 11.3627 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.318 | 142275.8393 | 306648.732 | 59.9307 | 38.1
82322 | 2021-04-07 21:40 | 23.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 272.0165 | μmol/L | 11.3627 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.316 | 142272.026 | 306647.767 | 59.9307 | 38.1
82331 | 2021-04-07 21:40 | 24.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.8703 | μmol/L | 11.3688 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.32 | 142264.2248 | 306640.1405 | 59.9307 | 38.1
82340 | 2021-04-07 21:40 | 24.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.8241 | μmol/L | 11.3688 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.322 | 142267.8144 | 306637.6191 | 59.9307 | 38.1
82349 | 2021-04-07 21:41 | 24.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.7933 | μmol/L | 11.3749 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.321 | 142257.0316 | 306621.116 | 59.9307 | 38.1
82358 | 2021-04-07 21:41 | 25.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.7394 | μmol/L | 11.381 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.321 | 142255.8907 | 306625.1833 | 59.9307 | 38.1
82367 | 2021-04-07 21:41 | 25.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.7855 | μmol/L | 11.381 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.319 | 142257.9849 | 306607.2578 | 59.9307 | 38.1
82376 | 2021-04-07 21:42 | 25.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.6702 | μmol/L | 11.381 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.324 | 142273.6263 | 306605.5415 | 59.9307 | 38.1
82385 | 2021-04-07 21:42 | 26.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.6394 | μmol/L | 11.3871 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.323 | 142267.3553 | 306588.237 | 59.9307 | 38.1
82394 | 2021-04-07 21:42 | 26.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.4473 | μmol/L | 11.3932 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.329 | 142290.5989 | 306592.5216 | 59.9307 | 38.1
82403 | 2021-04-07 21:43 | 26.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.4473 | μmol/L | 11.3932 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.329 | 142301.7095 | 306583.8585 | 59.9307 | 38.1
82412 | 2021-04-07 21:43 | 27.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.2324 | μmol/L | 11.3993 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.336 | 142303.9224 | 306556.9761 | 59.9307 | 38.1
82421 | 2021-04-07 21:43 | 27.661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.2017 | μmol/L | 11.4053 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.335 | 142309.3661 | 306548.6301 | 59.9307 | 38.1
82430 | 2021-04-07 21:44 | 27.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.1787 | μmol/L | 11.4053 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.336 | 142320.2206 | 306545.0759 | 59.9307 | 38.1
82439 | 2021-04-07 21:44 | 28.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 271.0329 | μmol/L | 11.4114 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.34 | 142340.7393 | 306532.0679 | 59.9307 | 38.1
82448 | 2021-04-07 21:44 | 28.6611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.9717 | μmol/L | 11.4053 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 23.345 | 142286.5764 | 306538.0937 | 59.9307 | 38.1