## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 21:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
81673 | 2021-04-07 21:15 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.8842 | μmol/L | 10.8073 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.669 | 116572.7938 | 221032.3415 | 27.3 | 43.4
81682 | 2021-04-07 21:16 | 0.33559 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6935 | μmol/L | 10.8256 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.669 | 116573.3016 | 221031.1689 | 27.3 | 43.4
81691 | 2021-04-07 21:16 | 0.66853 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6976 | μmol/L | 10.8378 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.664 | 116552.8551 | 221030.8671 | 27.3 | 43.4
81700 | 2021-04-07 21:16 | 1.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6906 | μmol/L | 10.8561 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.657 | 116525.5112 | 221024.5369 | 27.3 | 43.4
81709 | 2021-04-07 21:17 | 1.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.7319 | μmol/L | 10.8622 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.653 | 116496.1403 | 221016.6745 | 27.3 | 43.4
81718 | 2021-04-07 21:17 | 1.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6947 | μmol/L | 10.8683 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.652 | 116463.0665 | 220997.9012 | 27.3 | 43.4
81727 | 2021-04-07 21:17 | 2.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.7141 | μmol/L | 10.8865 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.644 | 116429.891 | 221004.3796 | 27.3 | 43.4
81736 | 2021-04-07 21:18 | 2.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.7141 | μmol/L | 10.8865 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.644 | 116405.1318 | 220996.4291 | 27.3 | 43.4
81745 | 2021-04-07 21:18 | 2.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.5914 | μmol/L | 10.9109 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.639 | 116366.2081 | 220980.2461 | 27.3 | 43.4
81754 | 2021-04-07 21:18 | 3.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.7116 | μmol/L | 10.917 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.632 | 116334.5869 | 220972.8186 | 27.3 | 43.4
81763 | 2021-04-07 21:19 | 3.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.7159 | μmol/L | 10.9292 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.627 | 116307.6399 | 220962.8439 | 27.3 | 43.4
81772 | 2021-04-07 21:19 | 3.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6896 | μmol/L | 10.9292 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.628 | 116290.6629 | 220956.2963 | 27.3 | 43.4
81781 | 2021-04-07 21:19 | 4.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6044 | μmol/L | 10.9475 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.624 | 116264.4745 | 220939.595 | 27.3 | 43.4
81790 | 2021-04-07 21:20 | 4.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6197 | μmol/L | 10.9536 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.621 | 116238.7062 | 220929.929 | 27.3 | 43.4
81799 | 2021-04-07 21:20 | 4.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.5716 | μmol/L | 10.9658 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.618 | 116215.1633 | 220924.8094 | 27.3 | 43.4
81808 | 2021-04-07 21:20 | 5.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6023 | μmol/L | 10.978 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.612 | 116181.015 | 220913.9834 | 27.3 | 43.4
81817 | 2021-04-07 21:21 | 5.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.5914 | μmol/L | 10.9841 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.61 | 116161.3542 | 220911.1025 | 27.3 | 43.4
81826 | 2021-04-07 21:21 | 5.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.491 | μmol/L | 10.9963 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.609 | 116137.476 | 220914.7626 | 27.3 | 43.4
81835 | 2021-04-07 21:21 | 6.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.4956 | μmol/L | 11.0085 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.604 | 116104.2679 | 220895.5528 | 27.3 | 43.4
81844 | 2021-04-07 21:22 | 6.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6267 | μmol/L | 11.0085 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.599 | 116082.2179 | 220897.2867 | 27.3 | 43.4
81853 | 2021-04-07 21:22 | 6.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.5156 | μmol/L | 11.0267 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.596 | 116035.1832 | 220886.7561 | 27.3 | 43.4
81862 | 2021-04-07 21:22 | 7.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6884 | μmol/L | 11.0328 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.587 | 116006.9264 | 220866.6827 | 27.3 | 43.4
81871 | 2021-04-07 21:23 | 7.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6406 | μmol/L | 11.045 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.584 | 115977.2 | 220861.5101 | 27.3 | 43.4
81880 | 2021-04-07 21:23 | 7.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.5511 | μmol/L | 11.0511 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.585 | 115952.261 | 220854.2187 | 27.3 | 43.4
81889 | 2021-04-07 21:23 | 8.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.5666 | μmol/L | 11.0572 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.582 | 115935.6516 | 220847.1026 | 27.3 | 43.4
81898 | 2021-04-07 21:24 | 8.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6345 | μmol/L | 11.0633 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.577 | 115903.0238 | 220842.3434 | 27.3 | 43.4
81907 | 2021-04-07 21:24 | 8.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.7396 | μmol/L | 11.0633 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.573 | 115883.889 | 220837.3075 | 27.3 | 43.4
81916 | 2021-04-07 21:24 | 9.002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.7444 | μmol/L | 11.0755 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.568 | 115869.8559 | 220820.5209 | 27.3 | 43.4
81925 | 2021-04-07 21:25 | 9.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6334 | μmol/L | 11.0938 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.565 | 115840.6263 | 220825.9652 | 27.3 | 43.4
81934 | 2021-04-07 21:25 | 9.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6752 | μmol/L | 11.0999 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.561 | 115821.3377 | 220814.5369 | 27.3 | 43.4
81943 | 2021-04-07 21:25 | 10.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.5332 | μmol/L | 11.106 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.564 | 115791.5816 | 220805.7845 | 27.3 | 43.4
81952 | 2021-04-07 21:26 | 10.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.6013 | μmol/L | 11.1121 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.559 | 115768.5419 | 220786.9944 | 27.3 | 43.4
81961 | 2021-04-07 21:26 | 10.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.5643 | μmol/L | 11.1182 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.558 | 115761.8797 | 220790.5911 | 27.3 | 43.4
81970 | 2021-04-07 21:26 | 11.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.5011 | μmol/L | 11.1243 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.558 | 115737.6537 | 220779.5552 | 27.3 | 43.4
81979 | 2021-04-07 21:27 | 11.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.4117 | μmol/L | 11.1304 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.559 | 115734.6031 | 220765.3766 | 27.3 | 43.4
81988 | 2021-04-07 21:27 | 11.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.4536 | μmol/L | 11.1365 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.555 | 115720.78 | 220763.0729 | 27.3 | 43.4
81997 | 2021-04-07 21:27 | 12.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.406 | μmol/L | 11.1487 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.552 | 115704.9729 | 220750.107 | 27.3 | 43.4
82006 | 2021-04-07 21:28 | 12.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.4216 | μmol/L | 11.1547 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.549 | 115686.0754 | 220750.0591 | 27.3 | 43.4
82015 | 2021-04-07 21:28 | 12.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.2273 | μmol/L | 11.1608 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.554 | 115677.1087 | 220737.6184 | 27.3 | 43.4
82024 | 2021-04-07 21:28 | 13.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.3585 | μmol/L | 11.1608 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.549 | 115667.1073 | 220733.3561 | 27.3 | 43.4
82033 | 2021-04-07 21:29 | 13.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.2217 | μmol/L | 11.1791 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.547 | 115644.6952 | 220727.7718 | 27.3 | 43.4
82042 | 2021-04-07 21:29 | 13.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.3005 | μmol/L | 11.1791 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.544 | 115617.007 | 220716.9251 | 27.3 | 43.4
82051 | 2021-04-07 21:29 | 14.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.4317 | μmol/L | 11.1791 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.539 | 115599.638 | 220704.8899 | 27.3 | 43.4
82060 | 2021-04-07 21:30 | 14.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.358 | μmol/L | 11.1913 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.537 | 115572.2959 | 220698.0018 | 27.3 | 43.4
82069 | 2021-04-07 21:30 | 14.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.3475 | μmol/L | 11.1974 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.535 | 115544.4027 | 220691.3137 | 27.3 | 43.4
82078 | 2021-04-07 21:30 | 15.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.2213 | μmol/L | 11.2096 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.535 | 115545.4055 | 220695.3492 | 27.3 | 43.4
82087 | 2021-04-07 21:31 | 15.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.3106 | μmol/L | 11.2035 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.534 | 115541.9246 | 220687.1608 | 27.3 | 43.4
82096 | 2021-04-07 21:31 | 15.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.2738 | μmol/L | 11.2096 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.533 | 115534.3262 | 220671.8519 | 27.3 | 43.4
82105 | 2021-04-07 21:31 | 16.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.1478 | μmol/L | 11.2218 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.533 | 115522.123 | 220671.7151 | 27.3 | 43.4
82114 | 2021-04-07 21:32 | 16.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.1897 | μmol/L | 11.2279 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.529 | 115498.7525 | 220663.3676 | 27.3 | 43.4
82123 | 2021-04-07 21:32 | 16.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.1372 | μmol/L | 11.2279 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.531 | 115480.9715 | 220661.9318 | 27.3 | 43.4
82132 | 2021-04-07 21:32 | 17.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.027 | μmol/L | 11.2462 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.528 | 115469.576 | 220646.2354 | 27.3 | 43.4
82141 | 2021-04-07 21:33 | 17.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.1319 | μmol/L | 11.2462 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.524 | 115465.2002 | 220650.0432 | 27.3 | 43.4
82150 | 2021-04-07 21:33 | 17.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 310.1582 | μmol/L | 11.2462 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.523 | 115469.7784 | 220642.3818 | 27.3 | 43.4
82159 | 2021-04-07 21:33 | 18.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.9746 | μmol/L | 11.2462 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.53 | 115472.6014 | 220629.2722 | 27.3 | 43.4
82168 | 2021-04-07 21:34 | 18.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.8749 | μmol/L | 11.2584 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.529 | 115475.0976 | 220623.3981 | 27.3 | 43.4
82177 | 2021-04-07 21:34 | 18.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.8225 | μmol/L | 11.2584 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.531 | 115476.0931 | 220619.4726 | 27.3 | 43.4
82186 | 2021-04-07 21:34 | 19.002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.6705 | μmol/L | 11.2706 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.532 | 115477.1008 | 220597.3029 | 27.3 | 43.4
82195 | 2021-04-07 21:35 | 19.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.5029 | μmol/L | 11.2767 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.536 | 115472.5543 | 220604.8049 | 27.3 | 43.4
82204 | 2021-04-07 21:35 | 19.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.6338 | μmol/L | 11.2767 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.531 | 115454.3185 | 220615.4468 | 27.3 | 43.4
82213 | 2021-04-07 21:35 | 20.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.6496 | μmol/L | 11.2828 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.528 | 115427.3642 | 220598.72 | 27.3 | 43.4
82222 | 2021-04-07 21:36 | 20.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.6758 | μmol/L | 11.2828 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.527 | 115407.4564 | 220599.8372 | 27.3 | 43.4
82231 | 2021-04-07 21:36 | 20.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.7964 | μmol/L | 11.2889 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.52 | 115381.3798 | 220580.9471 | 27.3 | 43.4
82240 | 2021-04-07 21:36 | 21.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.7859 | μmol/L | 11.2949 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.518 | 115360.5195 | 220570.5169 | 27.3 | 43.4
82249 | 2021-04-07 21:37 | 21.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.7231 | μmol/L | 11.301 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.518 | 115341.7859 | 220578.7285 | 27.3 | 43.4
82258 | 2021-04-07 21:37 | 21.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.7651 | μmol/L | 11.3071 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.514 | 115317.689 | 220582.8813 | 27.3 | 43.4
82267 | 2021-04-07 21:37 | 22.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.7913 | μmol/L | 11.3071 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.513 | 115303.58 | 220574.7152 | 27.3 | 43.4
82276 | 2021-04-07 21:38 | 22.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.87 | μmol/L | 11.3071 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.51 | 115296.8791 | 220564.1662 | 27.3 | 43.4
82285 | 2021-04-07 21:38 | 22.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.7547 | μmol/L | 11.3132 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.512 | 115288.7976 | 220552.1724 | 27.3 | 43.4
82294 | 2021-04-07 21:38 | 23.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.7443 | μmol/L | 11.3193 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.51 | 115284.1043 | 220542.3624 | 27.3 | 43.4
82303 | 2021-04-07 21:39 | 23.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.7705 | μmol/L | 11.3193 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.509 | 115268.9896 | 220549.5153 | 27.3 | 43.4
82312 | 2021-04-07 21:39 | 23.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.5662 | μmol/L | 11.3315 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.512 | 115257.0824 | 220528.8835 | 27.3 | 43.4
82321 | 2021-04-07 21:39 | 24.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.671 | μmol/L | 11.3315 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.508 | 115259.3254 | 220529.85 | 27.3 | 43.4
82330 | 2021-04-07 21:40 | 24.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.5662 | μmol/L | 11.3315 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.512 | 115262.5816 | 220526.7496 | 27.3 | 43.4
82339 | 2021-04-07 21:40 | 24.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.5193 | μmol/L | 11.3437 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.509 | 115261.6984 | 220518.0415 | 27.3 | 43.4
82348 | 2021-04-07 21:40 | 25.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.3621 | μmol/L | 11.3437 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.515 | 115265.5192 | 220521.7749 | 27.3 | 43.4
82357 | 2021-04-07 21:41 | 25.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.3883 | μmol/L | 11.3437 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.514 | 115267.8469 | 220503.5511 | 27.3 | 43.4
82366 | 2021-04-07 21:41 | 25.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.336 | μmol/L | 11.3437 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.516 | 115272.1013 | 220501.1482 | 27.3 | 43.4
82375 | 2021-04-07 21:41 | 26.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.3256 | μmol/L | 11.3498 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.514 | 115264.4427 | 220499.6825 | 27.3 | 43.4
82384 | 2021-04-07 21:42 | 26.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.2264 | μmol/L | 11.362 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.513 | 115259.4112 | 220500.9226 | 27.3 | 43.4
82393 | 2021-04-07 21:42 | 26.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.2629 | μmol/L | 11.3559 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.514 | 115238.4059 | 220499.1985 | 27.3 | 43.4
82402 | 2021-04-07 21:42 | 27.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.3469 | μmol/L | 11.3681 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.506 | 115216.8214 | 220498.5733 | 27.3 | 43.4
82411 | 2021-04-07 21:43 | 27.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.2684 | μmol/L | 11.3681 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.509 | 115202.3688 | 220478.426 | 27.3 | 43.4
82420 | 2021-04-07 21:43 | 27.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.3731 | μmol/L | 11.3681 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.505 | 115177.4243 | 220474.0155 | 27.3 | 43.4
82429 | 2021-04-07 21:43 | 28.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.3628 | μmol/L | 11.3742 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.503 | 115158.4647 | 220460.9853 | 27.3 | 43.4
82438 | 2021-04-07 21:44 | 28.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.4937 | μmol/L | 11.3742 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.498 | 115132.4706 | 220459.6171 | 27.3 | 43.4
82447 | 2021-04-07 21:44 | 28.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.4572 | μmol/L | 11.3803 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.497 | 115060.9664 | 220453.5938 | 27.3 | 43.4