## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 11:43

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
82457 | 2021-04-09 10:14 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.4799 | μmol/L | 10.199 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.715 | 151138.8511 | 284381.2977 | 36.4 | 83.1
82466 | 2021-04-09 10:15 | 0.32809 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.4837 | μmol/L | 10.2234 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.705 | 151047.6303 | 284347.3321 | 36.4 | 83.1
82475 | 2021-04-09 10:15 | 0.66193 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.3922 | μmol/L | 10.2417 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.701 | 150964.9382 | 284302.2395 | 36.4 | 83.1
82484 | 2021-04-09 10:15 | 0.99494 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.3963 | μmol/L | 10.2662 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.691 | 150880.5401 | 284285.245 | 36.4 | 83.1
82493 | 2021-04-09 10:16 | 1.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.2926 | μmol/L | 10.2906 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.685 | 150800.4111 | 284249.1999 | 36.4 | 83.1
82502 | 2021-04-09 10:16 | 1.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.1186 | μmol/L | 10.3211 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.679 | 150703.8636 | 284197.3814 | 36.4 | 83.1
82511 | 2021-04-09 10:16 | 1.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.2205 | μmol/L | 10.3395 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.668 | 150608.5601 | 284158.8979 | 36.4 | 83.1
82520 | 2021-04-09 10:17 | 2.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.0632 | μmol/L | 10.3639 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.664 | 150522.5544 | 284122.4636 | 36.4 | 83.1
82529 | 2021-04-09 10:17 | 2.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 320.0803 | μmol/L | 10.3822 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.656 | 150445.2727 | 284088.5658 | 36.4 | 83.1
82538 | 2021-04-09 10:17 | 2.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.8939 | μmol/L | 10.3945 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.658 | 155071.4965 | 284032.2362 | 36.4 | 83.1
82547 | 2021-04-09 10:18 | 3.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.9651 | μmol/L | 10.4128 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.648 | 155007.7251 | 283995.9928 | 36.4 | 83.1
82556 | 2021-04-09 10:18 | 3.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.7518 | μmol/L | 10.425 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.651 | 154897.2 | 283958.7591 | 36.4 | 83.1
82565 | 2021-04-09 10:18 | 3.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.5103 | μmol/L | 10.4494 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.65 | 154873.2493 | 283910.811 | 36.4 | 83.1
82574 | 2021-04-09 10:19 | 4.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.2745 | μmol/L | 10.4617 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.654 | 154878.2868 | 283892.9785 | 36.4 | 83.1
82583 | 2021-04-09 10:19 | 4.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 319.0227 | μmol/L | 10.48 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.656 | 154878.939 | 283845.4348 | 36.4 | 83.1
82592 | 2021-04-09 10:19 | 4.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.6866 | μmol/L | 10.4983 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.661 | 154881.1255 | 283800.8652 | 36.4 | 83.1
82601 | 2021-04-09 10:20 | 5.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.3348 | μmol/L | 10.5289 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.662 | 154870.466 | 283772.1647 | 36.4 | 83.1
82610 | 2021-04-09 10:20 | 5.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 318.0692 | μmol/L | 10.5411 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.667 | 154864.3299 | 283730.4527 | 36.4 | 83.1
82619 | 2021-04-09 10:20 | 5.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.9727 | μmol/L | 10.5472 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.668 | 154855.9361 | 283717.3177 | 36.4 | 83.1
82628 | 2021-04-09 10:21 | 6.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.8026 | μmol/L | 10.5655 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.667 | 154828.2757 | 283668.7046 | 36.4 | 83.1
82637 | 2021-04-09 10:21 | 6.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.725 | μmol/L | 10.5777 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.665 | 154796.0153 | 283634.3999 | 36.4 | 83.1
82646 | 2021-04-09 10:21 | 6.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.835 | μmol/L | 10.59 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.656 | 151513.3244 | 283579.8273 | 36.4 | 83.1
82655 | 2021-04-09 10:22 | 7.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.7455 | μmol/L | 10.6083 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.652 | 151266.2952 | 283556.3504 | 36.4 | 83.1
82664 | 2021-04-09 10:22 | 7.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.7365 | μmol/L | 10.6266 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.645 | 151116.6954 | 283509.586 | 36.4 | 83.1
82673 | 2021-04-09 10:22 | 7.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.9122 | μmol/L | 10.6327 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.636 | 151018.2522 | 283462.3875 | 36.4 | 83.1
82682 | 2021-04-09 10:23 | 8.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.6621 | μmol/L | 10.6511 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.638 | 150960.8405 | 283442.1824 | 36.4 | 83.1
82691 | 2021-04-09 10:23 | 8.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.5162 | μmol/L | 10.6572 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.641 | 150906.6469 | 283406.7071 | 36.4 | 83.1
82700 | 2021-04-09 10:23 | 8.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.4003 | μmol/L | 10.6755 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.638 | 150866.2507 | 283365.3989 | 36.4 | 83.1
82709 | 2021-04-09 10:24 | 9.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.3081 | μmol/L | 10.6816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.639 | 150820.261 | 283329.6143 | 36.4 | 83.1
82718 | 2021-04-09 10:24 | 9.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.9665 | μmol/L | 10.7061 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.642 | 150787.4469 | 283287.8402 | 36.4 | 83.1
82727 | 2021-04-09 10:24 | 9.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.8478 | μmol/L | 10.7122 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.644 | 150748.9566 | 283246.5606 | 36.4 | 83.1
82736 | 2021-04-09 10:25 | 10.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.836 | μmol/L | 10.7183 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.642 | 150697.4904 | 283215.8104 | 36.4 | 83.1
82745 | 2021-04-09 10:25 | 10.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.6137 | μmol/L | 10.7366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.643 | 150660.6398 | 283202.8618 | 36.4 | 83.1
82754 | 2021-04-09 10:25 | 10.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.6286 | μmol/L | 10.7427 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.64 | 150609.7104 | 283142.5756 | 36.4 | 83.1
82763 | 2021-04-09 10:26 | 11.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.4449 | μmol/L | 10.7549 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.642 | 150559.2211 | 283117.7745 | 36.4 | 83.1
82772 | 2021-04-09 10:26 | 11.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.383 | μmol/L | 10.7733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.637 | 150524.8084 | 283089.6222 | 36.4 | 83.1
82781 | 2021-04-09 10:26 | 11.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.383 | μmol/L | 10.7733 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.637 | 150479.6668 | 283042.5374 | 36.4 | 83.1
82790 | 2021-04-09 10:27 | 12.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.1495 | μmol/L | 10.7977 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.636 | 150455.6137 | 283009.8519 | 36.4 | 83.1
82799 | 2021-04-09 10:27 | 12.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.0845 | μmol/L | 10.8038 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.636 | 150408.6877 | 282970.0136 | 36.4 | 83.1
82808 | 2021-04-09 10:27 | 12.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.0461 | μmol/L | 10.8099 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.635 | 150356.1063 | 282948.2821 | 36.4 | 83.1
82817 | 2021-04-09 10:28 | 13.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9845 | μmol/L | 10.8283 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.63 | 150309.185 | 282905.7215 | 36.4 | 83.1
82826 | 2021-04-09 10:28 | 13.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9079 | μmol/L | 10.8405 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.628 | 150258.1401 | 282876.1474 | 36.4 | 83.1
82835 | 2021-04-09 10:28 | 13.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.7399 | μmol/L | 10.8588 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.627 | 150199.2056 | 282839.5143 | 36.4 | 83.1
82844 | 2021-04-09 10:29 | 14.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8082 | μmol/L | 10.8649 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.622 | 150127.1668 | 282806.1951 | 36.4 | 83.1
82853 | 2021-04-09 10:29 | 14.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.7051 | μmol/L | 10.8771 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.621 | 150078.4388 | 282767.2464 | 36.4 | 83.1
82862 | 2021-04-09 10:29 | 14.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.682 | μmol/L | 10.8894 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.617 | 150025.3885 | 282736.4657 | 36.4 | 83.1
82871 | 2021-04-09 10:30 | 15.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8419 | μmol/L | 10.8894 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.611 | 149974.821 | 282714.6311 | 36.4 | 83.1
82880 | 2021-04-09 10:30 | 15.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.6057 | μmol/L | 10.9016 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.615 | 149928.4694 | 282686.5121 | 36.4 | 83.1
82889 | 2021-04-09 10:30 | 15.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.7922 | μmol/L | 10.9016 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.608 | 149881.9138 | 282646.3981 | 36.4 | 83.1
82898 | 2021-04-09 10:31 | 16.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.731 | μmol/L | 10.9199 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.603 | 149822.8406 | 282611.7949 | 36.4 | 83.1
82907 | 2021-04-09 10:31 | 16.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.7995 | μmol/L | 10.926 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.598 | 149753.2542 | 282570.8523 | 36.4 | 83.1
82916 | 2021-04-09 10:31 | 16.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8261 | μmol/L | 10.926 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.597 | 149695.8196 | 282546.1792 | 36.4 | 83.1
82925 | 2021-04-09 10:32 | 17.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8565 | μmol/L | 10.9382 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.591 | 149647.4594 | 282521.8594 | 36.4 | 83.1
82934 | 2021-04-09 10:32 | 17.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.7802 | μmol/L | 10.9505 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.589 | 149592.9072 | 282484.4534 | 36.4 | 83.1
82943 | 2021-04-09 10:32 | 17.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9251 | μmol/L | 10.9444 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.586 | 149529.1826 | 282446.808 | 36.4 | 83.1
82952 | 2021-04-09 10:33 | 18.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8755 | μmol/L | 10.9566 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.583 | 149483.0083 | 282408.5776 | 36.4 | 83.1
82961 | 2021-04-09 10:33 | 18.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9822 | μmol/L | 10.9566 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.579 | 149435.7328 | 282385.5662 | 36.4 | 83.1
82970 | 2021-04-09 10:33 | 18.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.906 | μmol/L | 10.9688 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.577 | 149379.0183 | 282353.0716 | 36.4 | 83.1
82979 | 2021-04-09 10:34 | 19.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.028 | μmol/L | 10.9749 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.57 | 149322.2943 | 282318.2899 | 36.4 | 83.1
82988 | 2021-04-09 10:34 | 19.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9899 | μmol/L | 10.981 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.569 | 149266.2311 | 282287.9818 | 36.4 | 83.1
82997 | 2021-04-09 10:34 | 19.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9557 | μmol/L | 10.9994 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.563 | 149207.6726 | 282259.7813 | 36.4 | 83.1
83006 | 2021-04-09 10:35 | 20.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.0358 | μmol/L | 10.9994 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.56 | 149152.5767 | 282231.5322 | 36.4 | 83.1
83015 | 2021-04-09 10:35 | 20.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9863 | μmol/L | 11.0116 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.557 | 149105.5477 | 282189.5996 | 36.4 | 83.1
83024 | 2021-04-09 10:35 | 20.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.7921 | μmol/L | 11.0299 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.557 | 149067.2681 | 282148.113 | 36.4 | 83.1
83033 | 2021-04-09 10:36 | 21.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9102 | μmol/L | 11.0238 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.555 | 149016.0956 | 282123.6506 | 36.4 | 83.1
83042 | 2021-04-09 10:36 | 21.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8228 | μmol/L | 11.0421 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.551 | 148973.2079 | 282096.121 | 36.4 | 83.1
83051 | 2021-04-09 10:36 | 21.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8916 | μmol/L | 11.0482 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.546 | 148935.4118 | 282052.8962 | 36.4 | 83.1
83060 | 2021-04-09 10:37 | 22.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8002 | μmol/L | 11.0543 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.547 | 148898.07 | 282030.8059 | 36.4 | 83.1
83069 | 2021-04-09 10:37 | 22.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8156 | μmol/L | 11.0605 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.544 | 148858.1812 | 281999.1966 | 36.4 | 83.1
83078 | 2021-04-09 10:37 | 22.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8577 | μmol/L | 11.0666 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.54 | 148804.4792 | 281962.9902 | 36.4 | 83.1
83087 | 2021-04-09 10:38 | 23.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8464 | μmol/L | 11.0727 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.538 | 148758.8493 | 281948.8396 | 36.4 | 83.1
83096 | 2021-04-09 10:38 | 23.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8886 | μmol/L | 11.0788 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.534 | 148707.6273 | 281920.1653 | 36.4 | 83.1
83105 | 2021-04-09 10:38 | 23.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.942 | μmol/L | 11.0788 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.532 | 148658.8493 | 281892.6426 | 36.4 | 83.1
83114 | 2021-04-09 10:39 | 24.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9954 | μmol/L | 11.0788 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.53 | 148631.7597 | 281855.2161 | 36.4 | 83.1
83123 | 2021-04-09 10:39 | 24.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9195 | μmol/L | 11.091 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.528 | 148587.201 | 281823.686 | 36.4 | 83.1
83132 | 2021-04-09 10:39 | 24.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8815 | μmol/L | 11.0971 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.527 | 148543.5229 | 281807.2226 | 36.4 | 83.1
83141 | 2021-04-09 10:40 | 25.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.8703 | μmol/L | 11.1032 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.525 | 148492.7735 | 281769.546 | 36.4 | 83.1
83150 | 2021-04-09 10:40 | 25.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.0193 | μmol/L | 11.1093 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.517 | 148447.4603 | 281758.7663 | 36.4 | 83.1
83159 | 2021-04-09 10:40 | 25.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.0728 | μmol/L | 11.1093 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.515 | 148384.9993 | 281728.1866 | 36.4 | 83.1
83168 | 2021-04-09 10:41 | 26.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.1953 | μmol/L | 11.1155 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.508 | 148335.4092 | 281709.6987 | 36.4 | 83.1
83177 | 2021-04-09 10:41 | 26.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.1306 | μmol/L | 11.1216 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.508 | 148282.6816 | 281672.2831 | 36.4 | 83.1
83186 | 2021-04-09 10:41 | 26.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2643 | μmol/L | 11.1216 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.503 | 148234.5394 | 281637.6338 | 36.4 | 83.1
83195 | 2021-04-09 10:42 | 27.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2264 | μmol/L | 11.1277 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.502 | 148195.7713 | 281611.3768 | 36.4 | 83.1
83204 | 2021-04-09 10:42 | 27.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2575 | μmol/L | 11.1399 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.496 | 148153.5779 | 281582.1092 | 36.4 | 83.1
83213 | 2021-04-09 10:42 | 27.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2843 | μmol/L | 11.1399 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.495 | 148107.8468 | 281559.1961 | 36.4 | 83.1
83222 | 2021-04-09 10:43 | 28.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.1549 | μmol/L | 11.1521 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.495 | 148065.4918 | 281529.7813 | 36.4 | 83.1
83231 | 2021-04-09 10:43 | 28.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.407 | μmol/L | 11.146 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.488 | 148029.3703 | 281500.8622 | 36.4 | 83.1
83240 | 2021-04-09 10:43 | 28.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2508 | μmol/L | 11.1582 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.489 | 147992.0604 | 281467.068 | 36.4 | 83.1
83249 | 2021-04-09 10:44 | 29.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.3423 | μmol/L | 11.1521 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.488 | 147958.6137 | 281445.0854 | 36.4 | 83.1
83258 | 2021-04-09 10:44 | 29.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2397 | μmol/L | 11.1643 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.487 | 147920.4567 | 281427.3802 | 36.4 | 83.1
83267 | 2021-04-09 10:44 | 29.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2285 | μmol/L | 11.1705 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.485 | 147884.3768 | 281400.9011 | 36.4 | 83.1
83276 | 2021-04-09 10:45 | 30.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2442 | μmol/L | 11.1766 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.482 | 147845.5991 | 281368.8491 | 36.4 | 83.1
83285 | 2021-04-09 10:45 | 30.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.3513 | μmol/L | 11.1766 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.478 | 147802.6683 | 281338.9469 | 36.4 | 83.1
83294 | 2021-04-09 10:45 | 30.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2866 | μmol/L | 11.1827 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.478 | 147754.6786 | 281309.4046 | 36.4 | 83.1
83303 | 2021-04-09 10:46 | 31.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.3558 | μmol/L | 11.1888 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.473 | 147724.4378 | 281292.4973 | 36.4 | 83.1
83312 | 2021-04-09 10:46 | 31.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.4094 | μmol/L | 11.1888 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.471 | 147686.8705 | 281258.6111 | 36.4 | 83.1
83321 | 2021-04-09 10:46 | 31.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.3447 | μmol/L | 11.1949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.471 | 147655.3252 | 281232.0025 | 36.4 | 83.1
83330 | 2021-04-09 10:47 | 32.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2422 | μmol/L | 11.2071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.47 | 147628.4551 | 281212.7878 | 36.4 | 83.1
83339 | 2021-04-09 10:47 | 32.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2154 | μmol/L | 11.2071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.471 | 147605.5461 | 281186.7293 | 36.4 | 83.1
83348 | 2021-04-09 10:47 | 32.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2958 | μmol/L | 11.2071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.468 | 147582.6819 | 281154.6193 | 36.4 | 83.1
83357 | 2021-04-09 10:48 | 33.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2422 | μmol/L | 11.2071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.47 | 147549.7468 | 281127.2795 | 36.4 | 83.1
83366 | 2021-04-09 10:48 | 33.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2847 | μmol/L | 11.2132 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.466 | 147514.3359 | 281108.1512 | 36.4 | 83.1
83375 | 2021-04-09 10:48 | 33.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2469 | μmol/L | 11.2193 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.465 | 147463.6694 | 281084.649 | 36.4 | 83.1
83384 | 2021-04-09 10:49 | 34.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.4612 | μmol/L | 11.2193 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.457 | 147407.08 | 281043.1966 | 36.4 | 83.1
83393 | 2021-04-09 10:49 | 34.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.5416 | μmol/L | 11.2193 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.454 | 147357.9515 | 281044.4452 | 36.4 | 83.1
83402 | 2021-04-09 10:49 | 34.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.6756 | μmol/L | 11.2193 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.449 | 147283.1736 | 281020.5497 | 36.4 | 83.1
83411 | 2021-04-09 10:50 | 35.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.7561 | μmol/L | 11.2193 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.446 | 147238.7044 | 280983.6734 | 36.4 | 83.1
83420 | 2021-04-09 10:50 | 35.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.6804 | μmol/L | 11.2316 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.444 | 147189.1756 | 280946.8227 | 36.4 | 83.1
83429 | 2021-04-09 10:50 | 35.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.7498 | μmol/L | 11.2377 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.439 | 147170.5106 | 280941.2648 | 36.4 | 83.1
83438 | 2021-04-09 10:51 | 36.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.8145 | μmol/L | 11.2316 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.439 | 147135.0907 | 280917.3384 | 36.4 | 83.1
83447 | 2021-04-09 10:51 | 36.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.6583 | μmol/L | 11.2438 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.44 | 147097.2152 | 280885.3789 | 36.4 | 83.1
83456 | 2021-04-09 10:51 | 36.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.7278 | μmol/L | 11.2499 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.435 | 147063.5092 | 280868.5498 | 36.4 | 83.1
83465 | 2021-04-09 10:52 | 37.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.7168 | μmol/L | 11.256 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.433 | 147016.6217 | 280825.2881 | 36.4 | 83.1
83474 | 2021-04-09 10:52 | 37.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.8241 | μmol/L | 11.256 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.429 | 146992.0699 | 280815.4833 | 36.4 | 83.1
83483 | 2021-04-09 10:52 | 37.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.7705 | μmol/L | 11.256 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.431 | 146945.448 | 280785.4252 | 36.4 | 83.1
83492 | 2021-04-09 10:53 | 38.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.7863 | μmol/L | 11.2621 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 146905.8014 | 280754.2551 | 36.4 | 83.1
83501 | 2021-04-09 10:53 | 38.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.7863 | μmol/L | 11.2621 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 146875.9777 | 280738.1962 | 36.4 | 83.1
83510 | 2021-04-09 10:53 | 38.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.8022 | μmol/L | 11.2682 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.425 | 146855.4957 | 280717.8097 | 36.4 | 83.1
83519 | 2021-04-09 10:54 | 39.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.8669 | μmol/L | 11.2621 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.425 | 146821.6989 | 280696.0051 | 36.4 | 83.1
83528 | 2021-04-09 10:54 | 39.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.6729 | μmol/L | 11.2805 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.425 | 146776.0114 | 280658.0675 | 36.4 | 83.1
83537 | 2021-04-09 10:54 | 39.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.9523 | μmol/L | 11.2743 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.417 | 146734.8312 | 280646.7041 | 36.4 | 83.1
83546 | 2021-04-09 10:55 | 40.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.9682 | μmol/L | 11.2805 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.414 | 146687.8693 | 280614.9763 | 36.4 | 83.1
83555 | 2021-04-09 10:55 | 40.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1026 | μmol/L | 11.2805 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.409 | 146645.3228 | 280604.7153 | 36.4 | 83.1
83564 | 2021-04-09 10:55 | 40.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1026 | μmol/L | 11.2805 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.409 | 146596.5257 | 280592.1554 | 36.4 | 83.1
83573 | 2021-04-09 10:56 | 41.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1076 | μmol/L | 11.2927 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.404 | 146567.0186 | 280572.6862 | 36.4 | 83.1
83582 | 2021-04-09 10:56 | 41.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.016 | μmol/L | 11.2988 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.405 | 146522.5284 | 280536.7119 | 36.4 | 83.1
83591 | 2021-04-09 10:56 | 41.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.0697 | μmol/L | 11.2988 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.403 | 146492.2085 | 280525.3131 | 36.4 | 83.1
83600 | 2021-04-09 10:57 | 42.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.0807 | μmol/L | 11.2927 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.405 | 146477.6672 | 280510.2605 | 36.4 | 83.1
83609 | 2021-04-09 10:57 | 42.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.9891 | μmol/L | 11.2988 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.406 | 146473.1934 | 280487.6973 | 36.4 | 83.1
83618 | 2021-04-09 10:57 | 42.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.016 | μmol/L | 11.2988 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.405 | 146471.4835 | 280454.1124 | 36.4 | 83.1
83627 | 2021-04-09 10:58 | 43.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.8816 | μmol/L | 11.2988 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.41 | 146472.2066 | 280434.1277 | 36.4 | 83.1
83636 | 2021-04-09 10:58 | 43.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.7255 | μmol/L | 11.311 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.411 | 146450.8471 | 280423.6861 | 36.4 | 83.1
83645 | 2021-04-09 10:58 | 43.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.7524 | μmol/L | 11.311 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.41 | 146431.433 | 280398.1835 | 36.4 | 83.1
83654 | 2021-04-09 10:59 | 44.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.9404 | μmol/L | 11.311 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.403 | 146382.2482 | 280376.5615 | 36.4 | 83.1
83663 | 2021-04-09 10:59 | 44.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.021 | μmol/L | 11.311 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.4 | 146340.6662 | 280359.6177 | 36.4 | 83.1
83672 | 2021-04-09 10:59 | 44.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.0101 | μmol/L | 11.3171 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.398 | 146279.1483 | 280340.5226 | 36.4 | 83.1
83681 | 2021-04-09 11:00 | 45.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2252 | μmol/L | 11.3171 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.39 | 146228.5796 | 280308.6367 | 36.4 | 83.1
83690 | 2021-04-09 11:00 | 45.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.295 | μmol/L | 11.3232 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.385 | 146169.3442 | 280282.5702 | 36.4 | 83.1
83699 | 2021-04-09 11:00 | 45.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2143 | μmol/L | 11.3232 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.388 | 146147.6039 | 280276.9834 | 36.4 | 83.1
83708 | 2021-04-09 11:01 | 46.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.2412 | μmol/L | 11.3232 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.387 | 146132.2717 | 280252.5664 | 36.4 | 83.1
83717 | 2021-04-09 11:01 | 46.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.0958 | μmol/L | 11.3293 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.39 | 146123.9755 | 280231.5754 | 36.4 | 83.1
83726 | 2021-04-09 11:01 | 46.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.1336 | μmol/L | 11.3232 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.391 | 146136.8679 | 280204.5494 | 36.4 | 83.1
83735 | 2021-04-09 11:02 | 47.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 317.0261 | μmol/L | 11.3232 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.395 | 146156.8992 | 280192.9269 | 36.4 | 83.1
83744 | 2021-04-09 11:02 | 47.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.838 | μmol/L | 11.3232 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.402 | 146156.2151 | 280177.0403 | 36.4 | 83.1
83753 | 2021-04-09 11:02 | 47.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.7356 | μmol/L | 11.3355 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.401 | 146157.1938 | 280169.9324 | 36.4 | 83.1
83762 | 2021-04-09 11:03 | 48.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.6928 | μmol/L | 11.3293 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.405 | 146144.4439 | 280140.2532 | 36.4 | 83.1
83771 | 2021-04-09 11:03 | 48.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.6173 | μmol/L | 11.3416 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.403 | 146129.7595 | 280108.6788 | 36.4 | 83.1
83780 | 2021-04-09 11:03 | 48.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.6442 | μmol/L | 11.3416 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.402 | 146115.0179 | 280102.6056 | 36.4 | 83.1
83789 | 2021-04-09 11:04 | 49.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.6173 | μmol/L | 11.3416 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.403 | 146105.2697 | 280089.2722 | 36.4 | 83.1
83798 | 2021-04-09 11:04 | 49.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.5636 | μmol/L | 11.3416 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.405 | 146097.0184 | 280054.2792 | 36.4 | 83.1
83807 | 2021-04-09 11:04 | 49.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.4295 | μmol/L | 11.3416 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.41 | 146103.5384 | 280051.6032 | 36.4 | 83.1
83816 | 2021-04-09 11:05 | 50.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.3005 | μmol/L | 11.3538 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.41 | 146091.6789 | 280024.6691 | 36.4 | 83.1
83825 | 2021-04-09 11:05 | 50.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.365 | μmol/L | 11.3477 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.41 | 146082.9261 | 279990.714 | 36.4 | 83.1
83834 | 2021-04-09 11:05 | 50.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.3382 | μmol/L | 11.3477 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.411 | 146067.3825 | 279972.9196 | 36.4 | 83.1
83843 | 2021-04-09 11:06 | 51.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.22 | μmol/L | 11.3538 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.413 | 146046.5214 | 279964.7408 | 36.4 | 83.1
83852 | 2021-04-09 11:06 | 51.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.1556 | μmol/L | 11.3599 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.413 | 146031.178 | 279938.9207 | 36.4 | 83.1
83861 | 2021-04-09 11:06 | 51.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.2092 | μmol/L | 11.3599 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.411 | 146014.699 | 279924.1833 | 36.4 | 83.1
83870 | 2021-04-09 11:07 | 52.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.0861 | μmol/L | 11.3538 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.418 | 146008.1289 | 279915.3389 | 36.4 | 83.1
83879 | 2021-04-09 11:07 | 52.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.102 | μmol/L | 11.3599 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.415 | 145988.2495 | 279890.6276 | 36.4 | 83.1
83888 | 2021-04-09 11:07 | 52.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9196 | μmol/L | 11.3721 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.417 | 145991.8364 | 279875.052 | 36.4 | 83.1
83897 | 2021-04-09 11:08 | 53.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 316.0216 | μmol/L | 11.3599 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.418 | 145986.8466 | 279856.123 | 36.4 | 83.1
83906 | 2021-04-09 11:08 | 53.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.984 | μmol/L | 11.366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.417 | 145966.7229 | 279838.2445 | 36.4 | 83.1
83915 | 2021-04-09 11:08 | 53.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.9304 | μmol/L | 11.366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.419 | 145961.5176 | 279828.5542 | 36.4 | 83.1
83924 | 2021-04-09 11:09 | 54.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.7749 | μmol/L | 11.3782 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.42 | 145938.4361 | 279805.8963 | 36.4 | 83.1
83933 | 2021-04-09 11:09 | 54.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.866 | μmol/L | 11.3721 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.419 | 145926.8374 | 279775.6527 | 36.4 | 83.1
83942 | 2021-04-09 11:09 | 54.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.7214 | μmol/L | 11.3782 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.422 | 145911.7042 | 279771.1694 | 36.4 | 83.1
83951 | 2021-04-09 11:10 | 55.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.7214 | μmol/L | 11.3782 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.422 | 145894.8692 | 279744.9906 | 36.4 | 83.1
83960 | 2021-04-09 11:10 | 55.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.7214 | μmol/L | 11.3782 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.422 | 145891.2151 | 279722.135 | 36.4 | 83.1
83969 | 2021-04-09 11:10 | 55.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.6303 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.423 | 145880.6808 | 279701.4502 | 36.4 | 83.1
83978 | 2021-04-09 11:11 | 56.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.5501 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.426 | 145882.2738 | 279693.876 | 36.4 | 83.1
83987 | 2021-04-09 11:11 | 56.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.5501 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.426 | 145860.6758 | 279670.4468 | 36.4 | 83.1
83996 | 2021-04-09 11:11 | 56.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.6144 | μmol/L | 11.3782 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.426 | 145852.7921 | 279659.8624 | 36.4 | 83.1
84005 | 2021-04-09 11:12 | 57.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.5609 | μmol/L | 11.3782 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 145843.8981 | 279636.6488 | 36.4 | 83.1
84014 | 2021-04-09 11:12 | 57.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.5233 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.427 | 145825.9107 | 279623.6231 | 36.4 | 83.1
84023 | 2021-04-09 11:12 | 57.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.4323 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 145803.1724 | 279607.2317 | 36.4 | 83.1
84032 | 2021-04-09 11:13 | 58.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.4966 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 145794.3913 | 279598.8982 | 36.4 | 83.1
84041 | 2021-04-09 11:13 | 58.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.4056 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.429 | 145776.3312 | 279581.2998 | 36.4 | 83.1
84050 | 2021-04-09 11:13 | 58.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.4966 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 145764.5244 | 279548.1206 | 36.4 | 83.1
84059 | 2021-04-09 11:14 | 59.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.5233 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.427 | 145755.6021 | 279538.3092 | 36.4 | 83.1
84068 | 2021-04-09 11:14 | 59.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.4431 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.43 | 145738.5884 | 279530.3658 | 36.4 | 83.1
84077 | 2021-04-09 11:14 | 59.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.4164 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.431 | 145727.6583 | 279509.7392 | 36.4 | 83.1
84086 | 2021-04-09 11:15 | 60.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.4164 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.431 | 145699.8537 | 279499.351 | 36.4 | 83.1
84095 | 2021-04-09 11:15 | 60.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.4431 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.43 | 145723.0735 | 279487.2209 | 36.4 | 83.1
84104 | 2021-04-09 11:15 | 60.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.3789 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.43 | 145708.847 | 279470.909 | 36.4 | 83.1
84113 | 2021-04-09 11:16 | 61.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.3789 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.43 | 145692.1483 | 279445.315 | 36.4 | 83.1
84122 | 2021-04-09 11:16 | 61.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.3521 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.431 | 145670.8169 | 279430.8021 | 36.4 | 83.1
84131 | 2021-04-09 11:16 | 61.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.4966 | μmol/L | 11.3843 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 145667.1002 | 279415.8436 | 36.4 | 83.1
84140 | 2021-04-09 11:17 | 62.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.4323 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 145640.4681 | 279371.7451 | 36.4 | 83.1
84149 | 2021-04-09 11:17 | 62.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.368 | μmol/L | 11.3966 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 145618.0443 | 279364.7993 | 36.4 | 83.1
84158 | 2021-04-09 11:17 | 62.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.368 | μmol/L | 11.3966 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 145603.1816 | 279350.103 | 36.4 | 83.1
84167 | 2021-04-09 11:18 | 63.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.368 | μmol/L | 11.3966 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 145596.8988 | 279351.7751 | 36.4 | 83.1
84176 | 2021-04-09 11:18 | 63.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.2237 | μmol/L | 11.4027 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.431 | 145577.2912 | 279318.775 | 36.4 | 83.1
84185 | 2021-04-09 11:18 | 63.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.2771 | μmol/L | 11.4027 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.429 | 145556.7322 | 279306.714 | 36.4 | 83.1
84194 | 2021-04-09 11:19 | 64.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.2129 | μmol/L | 11.4088 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.429 | 145547.1566 | 279298.3705 | 36.4 | 83.1
84203 | 2021-04-09 11:19 | 64.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.2771 | μmol/L | 11.4027 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.429 | 145536.5598 | 279275.154 | 36.4 | 83.1
84212 | 2021-04-09 11:19 | 64.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.2129 | μmol/L | 11.4088 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.429 | 145529.5165 | 279259.4197 | 36.4 | 83.1
84221 | 2021-04-09 11:20 | 65.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.951 | μmol/L | 11.421 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.434 | 145513.185 | 279256.1588 | 36.4 | 83.1
84230 | 2021-04-09 11:20 | 65.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.2021 | μmol/L | 11.4149 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.427 | 145483.8037 | 279238.225 | 36.4 | 83.1
84239 | 2021-04-09 11:20 | 65.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.0952 | μmol/L | 11.4149 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.431 | 145466.9752 | 279224.6377 | 36.4 | 83.1
84248 | 2021-04-09 11:21 | 66.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.0952 | μmol/L | 11.4149 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.431 | 145452.8387 | 279219.0139 | 36.4 | 83.1
84257 | 2021-04-09 11:21 | 66.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1379 | μmol/L | 11.421 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.427 | 145435.0492 | 279190.1633 | 36.4 | 83.1
84266 | 2021-04-09 11:21 | 66.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1379 | μmol/L | 11.421 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.427 | 145387.9684 | 279177.7638 | 36.4 | 83.1
84275 | 2021-04-09 11:22 | 67.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.2447 | μmol/L | 11.421 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.423 | 145381.5807 | 279162.6466 | 36.4 | 83.1
84284 | 2021-04-09 11:22 | 67.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.2288 | μmol/L | 11.4149 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.426 | 145365.1349 | 279156.8642 | 36.4 | 83.1
84293 | 2021-04-09 11:22 | 67.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.218 | μmol/L | 11.421 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.424 | 145346.8967 | 279132.8128 | 36.4 | 83.1
84302 | 2021-04-09 11:23 | 68.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.0362 | μmol/L | 11.4332 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.426 | 145325.4788 | 279119.6254 | 36.4 | 83.1
84311 | 2021-04-09 11:23 | 68.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1004 | μmol/L | 11.4271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.426 | 145307.1542 | 279113.3321 | 36.4 | 83.1
84320 | 2021-04-09 11:23 | 68.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1805 | μmol/L | 11.4271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.423 | 145302.0463 | 279091.1302 | 36.4 | 83.1
84329 | 2021-04-09 11:24 | 69.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1271 | μmol/L | 11.4271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.425 | 145275.6017 | 279081.4823 | 36.4 | 83.1
84338 | 2021-04-09 11:24 | 69.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1805 | μmol/L | 11.4271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.423 | 145256.701 | 279068.2318 | 36.4 | 83.1
84347 | 2021-04-09 11:24 | 69.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1271 | μmol/L | 11.4271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.425 | 145250.4371 | 279052.0962 | 36.4 | 83.1
84356 | 2021-04-09 11:25 | 70.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1698 | μmol/L | 11.4332 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.421 | 145227.0657 | 279026.7797 | 36.4 | 83.1
84365 | 2021-04-09 11:25 | 70.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1431 | μmol/L | 11.4332 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.422 | 145187.5985 | 279009.2883 | 36.4 | 83.1
84374 | 2021-04-09 11:25 | 70.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1163 | μmol/L | 11.4332 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.423 | 145171.9551 | 279006.5075 | 36.4 | 83.1
84383 | 2021-04-09 11:26 | 71.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.2874 | μmol/L | 11.4271 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.419 | 145156.4453 | 278998.0346 | 36.4 | 83.1
84392 | 2021-04-09 11:26 | 71.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.0681 | μmol/L | 11.4455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.42 | 145138.6778 | 278976.0762 | 36.4 | 83.1
84401 | 2021-04-09 11:26 | 71.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.2232 | μmol/L | 11.4332 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.419 | 145115.3776 | 278968.7302 | 36.4 | 83.1
84410 | 2021-04-09 11:27 | 72.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1323 | μmol/L | 11.4393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.42 | 145110.2073 | 278957.7246 | 36.4 | 83.1
84419 | 2021-04-09 11:27 | 72.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.0414 | μmol/L | 11.4455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.421 | 145096.2356 | 278945.4193 | 36.4 | 83.1
84428 | 2021-04-09 11:27 | 72.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1216 | μmol/L | 11.4455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.418 | 145083.4423 | 278936.5324 | 36.4 | 83.1
84437 | 2021-04-09 11:28 | 73.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.2124 | μmol/L | 11.4393 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.417 | 145068.8874 | 278914.714 | 36.4 | 83.1
84446 | 2021-04-09 11:28 | 73.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.0948 | μmol/L | 11.4455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.419 | 145040.7313 | 278899.6741 | 36.4 | 83.1
84455 | 2021-04-09 11:28 | 73.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.175 | μmol/L | 11.4455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.416 | 145029.3617 | 278895.8181 | 36.4 | 83.1
84464 | 2021-04-09 11:29 | 74.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1375 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.415 | 145019.1467 | 278870.6535 | 36.4 | 83.1
84473 | 2021-04-09 11:29 | 74.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.1108 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.416 | 145005.7227 | 278873.0014 | 36.4 | 83.1
84482 | 2021-04-09 11:29 | 74.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.175 | μmol/L | 11.4455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.416 | 144987.8941 | 278855.4007 | 36.4 | 83.1
84491 | 2021-04-09 11:30 | 75.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.0467 | μmol/L | 11.4577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.416 | 144979.7242 | 278850.2184 | 36.4 | 83.1
84500 | 2021-04-09 11:30 | 75.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.0574 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.418 | 144968.0932 | 278826.6526 | 36.4 | 83.1
84509 | 2021-04-09 11:30 | 75.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.9132 | μmol/L | 11.4577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.421 | 144969.8353 | 278820.6447 | 36.4 | 83.1
84518 | 2021-04-09 11:31 | 76.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.004 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.42 | 144950.9421 | 278796.6537 | 36.4 | 83.1
84527 | 2021-04-09 11:31 | 76.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 315.0841 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.417 | 144949.4611 | 278790.3623 | 36.4 | 83.1
84536 | 2021-04-09 11:31 | 76.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.9506 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.422 | 144947.9397 | 278778.2002 | 36.4 | 83.1
84545 | 2021-04-09 11:32 | 77.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.8972 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.424 | 144938.7556 | 278763.3672 | 36.4 | 83.1
84554 | 2021-04-09 11:32 | 77.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.9614 | μmol/L | 11.4455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.424 | 144934.4811 | 278757.4561 | 36.4 | 83.1
84563 | 2021-04-09 11:32 | 77.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.8172 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.427 | 144934.2041 | 278752.4431 | 36.4 | 83.1
84572 | 2021-04-09 11:33 | 78.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.8706 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.425 | 144936.0094 | 278733.6833 | 36.4 | 83.1
84581 | 2021-04-09 11:33 | 78.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.8706 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.425 | 144916.9555 | 278721.0323 | 36.4 | 83.1
84590 | 2021-04-09 11:33 | 78.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.8813 | μmol/L | 11.4455 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.427 | 144922.373 | 278708.913 | 36.4 | 83.1
84599 | 2021-04-09 11:34 | 79.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.8172 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.427 | 144918.0029 | 278693.088 | 36.4 | 83.1
84608 | 2021-04-09 11:34 | 79.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.7264 | μmol/L | 11.4577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 144908.9559 | 278678.4125 | 36.4 | 83.1
84617 | 2021-04-09 11:34 | 79.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.7264 | μmol/L | 11.4577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 144884.0735 | 278666.4145 | 36.4 | 83.1
84626 | 2021-04-09 11:35 | 80.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6731 | μmol/L | 11.4577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.43 | 144893.4426 | 278649.2402 | 36.4 | 83.1
84635 | 2021-04-09 11:35 | 80.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.7105 | μmol/L | 11.4516 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.431 | 144884.0835 | 278642.604 | 36.4 | 83.1
84644 | 2021-04-09 11:35 | 80.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6529 | μmol/L | 11.4516 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.433 | 144879.1087 | 278625.5354 | 36.4 | 83.1
84653 | 2021-04-09 11:36 | 81.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6731 | μmol/L | 11.4577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.43 | 144873.0588 | 278632.9724 | 36.4 | 83.1
84662 | 2021-04-09 11:36 | 81.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5557 | μmol/L | 11.4638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.432 | 144863.0326 | 278617.7829 | 36.4 | 83.1
84671 | 2021-04-09 11:36 | 81.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5931 | μmol/L | 11.4577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.433 | 144860.728 | 278614.1869 | 36.4 | 83.1
84680 | 2021-04-09 11:37 | 82.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6198 | μmol/L | 11.4577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.432 | 144830.3211 | 278580.3856 | 36.4 | 83.1
84689 | 2021-04-09 11:37 | 82.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5931 | μmol/L | 11.4577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.433 | 144814.5897 | 278568.8991 | 36.4 | 83.1
84698 | 2021-04-09 11:37 | 82.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5408 | μmol/L | 11.4699 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.43 | 144809.7001 | 278560.6652 | 36.4 | 83.1
84707 | 2021-04-09 11:38 | 83.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6357 | μmol/L | 11.4638 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.429 | 144791.156 | 278554.3211 | 36.4 | 83.1
84716 | 2021-04-09 11:38 | 83.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.6688 | μmol/L | 11.4577 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.43 | 144777.5123 | 278540.8573 | 36.4 | 83.1
84725 | 2021-04-09 11:38 | 83.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5931 | μmol/L | 11.4577 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.433 | 144772.2369 | 278537.5388 | 36.4 | 83.1
84734 | 2021-04-09 11:39 | 84.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5717 | μmol/L | 11.4699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.429 | 144767.8771 | 278515.4746 | 36.4 | 83.1
84743 | 2021-04-09 11:39 | 84.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5983 | μmol/L | 11.4699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.428 | 144743.9664 | 278500.9712 | 36.4 | 83.1
84752 | 2021-04-09 11:39 | 84.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.4544 | μmol/L | 11.476 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.431 | 144736.2453 | 278494.9283 | 36.4 | 83.1
84761 | 2021-04-09 11:40 | 85.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5717 | μmol/L | 11.4699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.429 | 144740.9591 | 278479.0516 | 36.4 | 83.1
84770 | 2021-04-09 11:40 | 85.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.5408 | μmol/L | 11.4699 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.43 | 144725.4292 | 278479.8641 | 36.4 | 83.1
84779 | 2021-04-09 11:40 | 85.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 314.3745 | μmol/L | 11.476 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.434 | 144725.9863 | 278472.4413 | 36.4 | 83.1