## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 11:43

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
82458 | 2021-04-09 10:14 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.3739 | μmol/L | 10.187 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.286 | 109112.2698 | 313741.7759 | 30.45 | 114.2
82467 | 2021-04-09 10:15 | 0.34066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.3601 | μmol/L | 10.2115 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.277 | 109037.0549 | 313700.7848 | 30.45 | 114.2
82476 | 2021-04-09 10:15 | 0.67446 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.4522 | μmol/L | 10.2299 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.266 | 108972.2126 | 313667.7677 | 30.45 | 114.2
82485 | 2021-04-09 10:15 | 1.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.3715 | μmol/L | 10.2667 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.255 | 108895.3641 | 313634.851 | 30.45 | 114.2
82494 | 2021-04-09 10:16 | 1.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.3675 | μmol/L | 10.2851 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.248 | 108815.2147 | 313587.8573 | 30.45 | 114.2
82503 | 2021-04-09 10:16 | 1.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.3448 | μmol/L | 10.3157 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.237 | 108747.9851 | 313544.3556 | 30.45 | 114.2
82512 | 2021-04-09 10:16 | 2.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.5433 | μmol/L | 10.328 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.224 | 108663.7254 | 313494.9822 | 30.45 | 114.2
82521 | 2021-04-09 10:17 | 2.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.4819 | μmol/L | 10.3525 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.217 | 108594.8553 | 313465.5724 | 30.45 | 114.2
82530 | 2021-04-09 10:17 | 2.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.6658 | μmol/L | 10.3586 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.207 | 108531.1076 | 313408.03 | 30.45 | 114.2
82539 | 2021-04-09 10:17 | 3.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7737 | μmol/L | 10.3831 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.193 | 108461.8449 | 313360.8143 | 30.45 | 114.2
82548 | 2021-04-09 10:18 | 3.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7218 | μmol/L | 10.4015 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.188 | 108386.8433 | 313318.6337 | 30.45 | 114.2
82557 | 2021-04-09 10:18 | 3.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.6941 | μmol/L | 10.4199 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.182 | 108324.3834 | 313278.0752 | 30.45 | 114.2
82566 | 2021-04-09 10:18 | 4.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7149 | μmol/L | 10.4383 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.174 | 108262.0054 | 313214.6868 | 30.45 | 114.2
82575 | 2021-04-09 10:19 | 4.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7749 | μmol/L | 10.4628 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.162 | 108186.3571 | 313174.3036 | 30.45 | 114.2
82584 | 2021-04-09 10:19 | 4.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7233 | μmol/L | 10.4812 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.157 | 108125.553 | 313136.5445 | 30.45 | 114.2
82593 | 2021-04-09 10:19 | 5.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.8835 | μmol/L | 10.4873 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.148 | 108067.8234 | 313101.7127 | 30.45 | 114.2
82602 | 2021-04-09 10:20 | 5.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.7503 | μmol/L | 10.5118 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.144 | 107996.1779 | 313041.666 | 30.45 | 114.2
82611 | 2021-04-09 10:20 | 5.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.8531 | μmol/L | 10.5241 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.135 | 107934.7489 | 313007.0945 | 30.45 | 114.2
82620 | 2021-04-09 10:20 | 6.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.9469 | μmol/L | 10.5425 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.124 | 107876.2154 | 312958.3883 | 30.45 | 114.2
82629 | 2021-04-09 10:21 | 6.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0257 | μmol/L | 10.5547 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.116 | 107818.0482 | 312910.677 | 30.45 | 114.2
82638 | 2021-04-09 10:21 | 6.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.9986 | μmol/L | 10.5731 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.11 | 107754.409 | 312873.7219 | 30.45 | 114.2
82647 | 2021-04-09 10:21 | 7.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.9232 | μmol/L | 10.5915 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.106 | 107694.9235 | 312831.6402 | 30.45 | 114.2
82656 | 2021-04-09 10:22 | 7.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1413 | μmol/L | 10.5915 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.097 | 107632.4052 | 312784.5678 | 30.45 | 114.2
82665 | 2021-04-09 10:22 | 7.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1143 | μmol/L | 10.6099 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.091 | 107586.0257 | 312743.2141 | 30.45 | 114.2
82674 | 2021-04-09 10:22 | 8.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0147 | μmol/L | 10.6283 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.088 | 107540.1045 | 312716.5199 | 30.45 | 114.2
82683 | 2021-04-09 10:23 | 8.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1091 | μmol/L | 10.6466 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.077 | 107482.1359 | 312655.1015 | 30.45 | 114.2
82692 | 2021-04-09 10:23 | 8.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1156 | μmol/L | 10.6589 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.072 | 107421.1323 | 312619.6424 | 30.45 | 114.2
82701 | 2021-04-09 10:23 | 9.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1705 | μmol/L | 10.6712 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.065 | 107374.9326 | 312569.8833 | 30.45 | 114.2
82710 | 2021-04-09 10:24 | 9.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.283 | μmol/L | 10.6773 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.058 | 107321.9934 | 312512.199 | 30.45 | 114.2
82719 | 2021-04-09 10:24 | 9.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1747 | μmol/L | 10.7018 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.053 | 107268.043 | 312484.9142 | 30.45 | 114.2
82728 | 2021-04-09 10:24 | 10.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0665 | μmol/L | 10.7263 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.048 | 107220.0844 | 312433.3561 | 30.45 | 114.2
82737 | 2021-04-09 10:25 | 10.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.2364 | μmol/L | 10.7263 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.041 | 107173.5311 | 312402.794 | 30.45 | 114.2
82746 | 2021-04-09 10:25 | 10.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1371 | μmol/L | 10.7447 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.038 | 107120.4833 | 312355.3363 | 30.45 | 114.2
82755 | 2021-04-09 10:25 | 11.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.2254 | μmol/L | 10.7508 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.032 | 107075.9403 | 312321.1652 | 30.45 | 114.2
82764 | 2021-04-09 10:26 | 11.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1593 | μmol/L | 10.7631 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.03 | 107041.9993 | 312285.9501 | 30.45 | 114.2
82773 | 2021-04-09 10:26 | 11.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0757 | μmol/L | 10.7876 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.024 | 106995.3354 | 312219.4654 | 30.45 | 114.2
82782 | 2021-04-09 10:26 | 12.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0427 | μmol/L | 10.7937 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.023 | 106960.6359 | 312188.8159 | 30.45 | 114.2
82791 | 2021-04-09 10:27 | 12.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.1553 | μmol/L | 10.7999 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.016 | 106911.282 | 312149.2509 | 30.45 | 114.2
82800 | 2021-04-09 10:27 | 12.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 285.0495 | μmol/L | 10.806 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.018 | 106882.4679 | 312116.8215 | 30.45 | 114.2
82809 | 2021-04-09 10:27 | 13.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.999 | μmol/L | 10.8244 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.013 | 106853.5927 | 312082.8629 | 30.45 | 114.2
82818 | 2021-04-09 10:28 | 13.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.9418 | μmol/L | 10.8305 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.013 | 106838.2276 | 312028.6169 | 30.45 | 114.2
82827 | 2021-04-09 10:28 | 13.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.8759 | μmol/L | 10.8428 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.011 | 106817.2573 | 312003.2824 | 30.45 | 114.2
82836 | 2021-04-09 10:28 | 14.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.8915 | μmol/L | 10.8489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.008 | 106792.0745 | 311961.6744 | 30.45 | 114.2
82845 | 2021-04-09 10:29 | 14.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.6472 | μmol/L | 10.8673 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.011 | 106766.7666 | 311916.8387 | 30.45 | 114.2
82854 | 2021-04-09 10:29 | 14.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.6143 | μmol/L | 10.8734 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.01 | 106751.075 | 311858.7258 | 30.45 | 114.2
82863 | 2021-04-09 10:29 | 15.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.436 | μmol/L | 10.8795 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.015 | 106738.3477 | 311821.144 | 30.45 | 114.2
82872 | 2021-04-09 10:30 | 15.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.4274 | μmol/L | 10.8857 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.013 | 106716.7325 | 311779.1097 | 30.45 | 114.2
82881 | 2021-04-09 10:30 | 15.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.4187 | μmol/L | 10.8918 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.011 | 106698.6949 | 311744.1389 | 30.45 | 114.2
82890 | 2021-04-09 10:30 | 16.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.289 | μmol/L | 10.8979 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.014 | 106678.2753 | 311702.188 | 30.45 | 114.2
82899 | 2021-04-09 10:31 | 16.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2804 | μmol/L | 10.904 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.012 | 106648.9985 | 311665.2299 | 30.45 | 114.2
82908 | 2021-04-09 10:31 | 16.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.3929 | μmol/L | 10.9102 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.005 | 106621.2056 | 311634.5195 | 30.45 | 114.2
82917 | 2021-04-09 10:31 | 17.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.2304 | μmol/L | 10.9224 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.007 | 106582.9239 | 311598.6304 | 30.45 | 114.2
82926 | 2021-04-09 10:32 | 17.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.246 | μmol/L | 10.9286 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.004 | 106563.3401 | 311561.0367 | 30.45 | 114.2
82935 | 2021-04-09 10:32 | 17.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.189 | μmol/L | 10.9347 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.004 | 106539.4547 | 311510.5856 | 30.45 | 114.2
82944 | 2021-04-09 10:32 | 18.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1235 | μmol/L | 10.947 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.002 | 106513.731 | 311479.6287 | 30.45 | 114.2
82953 | 2021-04-09 10:33 | 18.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1477 | μmol/L | 10.947 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.001 | 106490.8168 | 311448.8946 | 30.45 | 114.2
82962 | 2021-04-09 10:33 | 18.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.1633 | μmol/L | 10.9531 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.998 | 106468.2769 | 311403.0713 | 30.45 | 114.2
82971 | 2021-04-09 10:33 | 19.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 284.001 | μmol/L | 10.9653 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23 | 106447.4261 | 311358.9951 | 30.45 | 114.2
82980 | 2021-04-09 10:34 | 19.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9441 | μmol/L | 10.9715 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23 | 106425.8403 | 311323.2439 | 30.45 | 114.2
82989 | 2021-04-09 10:34 | 19.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.9114 | μmol/L | 10.9776 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.999 | 106415.6355 | 311297.2008 | 30.45 | 114.2
82998 | 2021-04-09 10:34 | 20.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.8218 | μmol/L | 10.9899 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.998 | 106392.331 | 311266.6666 | 30.45 | 114.2
83007 | 2021-04-09 10:35 | 20.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.7891 | μmol/L | 10.996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.997 | 106370.1708 | 311238.7901 | 30.45 | 114.2
83016 | 2021-04-09 10:35 | 20.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.765 | μmol/L | 10.996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.998 | 106346.7831 | 311187.4866 | 30.45 | 114.2
83025 | 2021-04-09 10:35 | 21.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.7806 | μmol/L | 11.0021 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.995 | 106315.827 | 311143.5776 | 30.45 | 114.2
83034 | 2021-04-09 10:36 | 21.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5377 | μmol/L | 11.0205 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.998 | 106297.3647 | 311112.4456 | 30.45 | 114.2
83043 | 2021-04-09 10:36 | 21.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5135 | μmol/L | 11.0205 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.999 | 106272.7278 | 311076.0563 | 30.45 | 114.2
83052 | 2021-04-09 10:36 | 22.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5207 | μmol/L | 11.0328 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.994 | 106243.9167 | 311041.4996 | 30.45 | 114.2
83061 | 2021-04-09 10:37 | 22.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5932 | μmol/L | 11.0328 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.991 | 106218.5994 | 311008.8104 | 30.45 | 114.2
83070 | 2021-04-09 10:37 | 22.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5606 | μmol/L | 11.0389 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.99 | 106188.1854 | 310981.4213 | 30.45 | 114.2
83079 | 2021-04-09 10:37 | 23.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6005 | μmol/L | 11.045 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.986 | 106142.3339 | 310944.7279 | 30.45 | 114.2
83088 | 2021-04-09 10:38 | 23.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.7697 | μmol/L | 11.045 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.979 | 106111.1117 | 310901.9913 | 30.45 | 114.2
83097 | 2021-04-09 10:38 | 23.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.7045 | μmol/L | 11.0573 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.977 | 106080.2663 | 310871.3689 | 30.45 | 114.2
83106 | 2021-04-09 10:38 | 24.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6477 | μmol/L | 11.0634 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.977 | 106055.9045 | 310836.1645 | 30.45 | 114.2
83115 | 2021-04-09 10:39 | 24.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6477 | μmol/L | 11.0634 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.977 | 106035.5316 | 310794.3976 | 30.45 | 114.2
83124 | 2021-04-09 10:39 | 24.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5741 | μmol/L | 11.0818 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.973 | 106007.1393 | 310762.3422 | 30.45 | 114.2
83133 | 2021-04-09 10:39 | 25.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.655 | μmol/L | 11.0757 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.972 | 105973.7541 | 310737.5835 | 30.45 | 114.2
83142 | 2021-04-09 10:40 | 25.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6225 | μmol/L | 11.0818 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.971 | 105951.4669 | 310695.4181 | 30.45 | 114.2
83151 | 2021-04-09 10:40 | 25.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6624 | μmol/L | 11.0879 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.967 | 105916.7043 | 310658.3783 | 30.45 | 114.2
83160 | 2021-04-09 10:40 | 26.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6866 | μmol/L | 11.0879 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.966 | 105896.3223 | 310625.3485 | 30.45 | 114.2
83169 | 2021-04-09 10:41 | 26.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5973 | μmol/L | 11.1002 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.965 | 105874.4552 | 310580.1571 | 30.45 | 114.2
83178 | 2021-04-09 10:41 | 26.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6299 | μmol/L | 11.0941 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.966 | 105845.3663 | 310560.3486 | 30.45 | 114.2
83187 | 2021-04-09 10:41 | 27.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.6698 | μmol/L | 11.1002 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.962 | 105822.9358 | 310517.3155 | 30.45 | 114.2
83196 | 2021-04-09 10:42 | 27.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5406 | μmol/L | 11.1063 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.965 | 105806.5621 | 310494.5559 | 30.45 | 114.2
83205 | 2021-04-09 10:42 | 27.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.5322 | μmol/L | 11.1124 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.963 | 105780.7542 | 310465.858 | 30.45 | 114.2
83214 | 2021-04-09 10:42 | 28.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.548 | μmol/L | 11.1186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.96 | 105773.0034 | 310428.1984 | 30.45 | 114.2
83223 | 2021-04-09 10:43 | 28.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.443 | μmol/L | 11.1247 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.962 | 105750.8805 | 310405.4238 | 30.45 | 114.2
83232 | 2021-04-09 10:43 | 28.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.3622 | μmol/L | 11.1308 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.963 | 105723.1559 | 310388.0559 | 30.45 | 114.2
83241 | 2021-04-09 10:43 | 29.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.4022 | μmol/L | 11.137 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.959 | 105706.9023 | 310346.6408 | 30.45 | 114.2
83250 | 2021-04-09 10:44 | 29.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.378 | μmol/L | 11.137 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.96 | 105690.5355 | 310317.1039 | 30.45 | 114.2
83259 | 2021-04-09 10:44 | 29.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.3455 | μmol/L | 11.1431 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.959 | 105660.0329 | 310273.2181 | 30.45 | 114.2
83268 | 2021-04-09 10:44 | 30.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.3455 | μmol/L | 11.1431 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.959 | 105649.3867 | 310251.4322 | 30.45 | 114.2
83277 | 2021-04-09 10:45 | 30.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.3372 | μmol/L | 11.1492 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.957 | 105636.4568 | 310225.7082 | 30.45 | 114.2
83286 | 2021-04-09 10:45 | 30.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.313 | μmol/L | 11.1492 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.958 | 105616.4437 | 310192.9566 | 30.45 | 114.2
83295 | 2021-04-09 10:45 | 31.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.3289 | μmol/L | 11.1553 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.955 | 105602.0366 | 310160.9328 | 30.45 | 114.2
83304 | 2021-04-09 10:46 | 31.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.2481 | μmol/L | 11.1615 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.956 | 105581.2702 | 310115.9654 | 30.45 | 114.2
83313 | 2021-04-09 10:46 | 31.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.2157 | μmol/L | 11.1676 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.955 | 105571.5416 | 310079.7753 | 30.45 | 114.2
83322 | 2021-04-09 10:46 | 32.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.1674 | μmol/L | 11.1676 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.957 | 105559.0156 | 310073.225 | 30.45 | 114.2
83331 | 2021-04-09 10:47 | 32.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.0625 | μmol/L | 11.1737 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.959 | 105538.1801 | 310029.1183 | 30.45 | 114.2
83340 | 2021-04-09 10:47 | 32.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.006 | μmol/L | 11.1799 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.959 | 105535.6651 | 310004.3438 | 30.45 | 114.2
83349 | 2021-04-09 10:47 | 33.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 283.006 | μmol/L | 11.1799 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.959 | 105518.4268 | 309969.6918 | 30.45 | 114.2
83358 | 2021-04-09 10:48 | 33.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.8289 | μmol/L | 11.186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.964 | 105501.3387 | 309943.7012 | 30.45 | 114.2
83367 | 2021-04-09 10:48 | 33.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.7483 | μmol/L | 11.1921 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.965 | 105499.8575 | 309908.3015 | 30.45 | 114.2
83376 | 2021-04-09 10:48 | 34.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.8688 | μmol/L | 11.1921 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.96 | 105495.3327 | 309882.0999 | 30.45 | 114.2
83385 | 2021-04-09 10:49 | 34.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.7001 | μmol/L | 11.1921 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.967 | 105483.5322 | 309854.0947 | 30.45 | 114.2
83394 | 2021-04-09 10:49 | 34.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.676 | μmol/L | 11.1921 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.968 | 105473.2807 | 309823.5579 | 30.45 | 114.2
83403 | 2021-04-09 10:49 | 35.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.7001 | μmol/L | 11.1921 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.967 | 105450.9121 | 309785.1305 | 30.45 | 114.2
83412 | 2021-04-09 10:50 | 35.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.6195 | μmol/L | 11.1983 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.968 | 105440.486 | 309768.0328 | 30.45 | 114.2
83421 | 2021-04-09 10:50 | 35.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.6112 | μmol/L | 11.2044 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.966 | 105429.5118 | 309734.0762 | 30.45 | 114.2
83430 | 2021-04-09 10:50 | 36.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.6918 | μmol/L | 11.1983 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.965 | 105412.6049 | 309716.7315 | 30.45 | 114.2
83439 | 2021-04-09 10:51 | 36.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.6112 | μmol/L | 11.2044 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.966 | 105396.3998 | 309685.6334 | 30.45 | 114.2
83448 | 2021-04-09 10:51 | 36.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.378 | μmol/L | 11.2166 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.971 | 105394.8658 | 309664.7508 | 30.45 | 114.2
83457 | 2021-04-09 10:51 | 37.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.4262 | μmol/L | 11.2166 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.969 | 105390.6705 | 309621.3194 | 30.45 | 114.2
83466 | 2021-04-09 10:52 | 37.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.2976 | μmol/L | 11.2228 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.972 | 105387.8403 | 309603.9389 | 30.45 | 114.2
83475 | 2021-04-09 10:52 | 37.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.2735 | μmol/L | 11.2228 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.973 | 105392.2617 | 309565.3428 | 30.45 | 114.2
83484 | 2021-04-09 10:52 | 38.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.145 | μmol/L | 11.2289 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.976 | 105395.489 | 309536.1723 | 30.45 | 114.2
83493 | 2021-04-09 10:53 | 38.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.0969 | μmol/L | 11.2289 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.978 | 105378.8443 | 309502.9088 | 30.45 | 114.2
83502 | 2021-04-09 10:53 | 38.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 282.0729 | μmol/L | 11.2289 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.979 | 105378.6889 | 309490.4761 | 30.45 | 114.2
83511 | 2021-04-09 10:53 | 39.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.9925 | μmol/L | 11.235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.98 | 105354.1628 | 309453.0335 | 30.45 | 114.2
83520 | 2021-04-09 10:54 | 39.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.9925 | μmol/L | 11.235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.98 | 105334.6635 | 309423.685 | 30.45 | 114.2
83529 | 2021-04-09 10:54 | 39.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.9205 | μmol/L | 11.235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.983 | 105326.6234 | 309416.5872 | 30.45 | 114.2
83538 | 2021-04-09 10:54 | 40.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.9122 | μmol/L | 11.2412 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.981 | 105320.9008 | 309393.8053 | 30.45 | 114.2
83547 | 2021-04-09 10:55 | 40.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.9122 | μmol/L | 11.2412 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.981 | 105298.541 | 309351.212 | 30.45 | 114.2
83556 | 2021-04-09 10:55 | 40.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.832 | μmol/L | 11.2473 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.982 | 105289.1453 | 309325.0392 | 30.45 | 114.2
83565 | 2021-04-09 10:55 | 41.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.7037 | μmol/L | 11.2534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.985 | 105281.1566 | 309302.899 | 30.45 | 114.2
83574 | 2021-04-09 10:56 | 41.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6317 | μmol/L | 11.2534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.988 | 105272.0829 | 309267.966 | 30.45 | 114.2
83583 | 2021-04-09 10:56 | 41.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6557 | μmol/L | 11.2534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.987 | 105262.6913 | 309256.4594 | 30.45 | 114.2
83592 | 2021-04-09 10:56 | 42.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6557 | μmol/L | 11.2534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.987 | 105252.4448 | 309214.4222 | 30.45 | 114.2
83601 | 2021-04-09 10:57 | 42.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.6317 | μmol/L | 11.2534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.988 | 105249.012 | 309190.9322 | 30.45 | 114.2
83610 | 2021-04-09 10:57 | 42.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.4953 | μmol/L | 11.2657 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.989 | 105236.6377 | 309169.5855 | 30.45 | 114.2
83619 | 2021-04-09 10:57 | 43.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.5035 | μmol/L | 11.2595 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.991 | 105225.8164 | 309151.579 | 30.45 | 114.2
83628 | 2021-04-09 10:58 | 43.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.5035 | μmol/L | 11.2595 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.991 | 105223.4578 | 309119.5014 | 30.45 | 114.2
83637 | 2021-04-09 10:58 | 43.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.4631 | μmol/L | 11.2718 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.988 | 105220.6536 | 309091.5433 | 30.45 | 114.2
83646 | 2021-04-09 10:58 | 44.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.3035 | μmol/L | 11.2657 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.997 | 105209.9993 | 309074.1878 | 30.45 | 114.2
83655 | 2021-04-09 10:59 | 44.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.3395 | μmol/L | 11.2718 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.993 | 105202.3212 | 309044.9655 | 30.45 | 114.2
83664 | 2021-04-09 10:59 | 44.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1755 | μmol/L | 11.2718 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23 | 105190.7928 | 309008.6125 | 30.45 | 114.2
83673 | 2021-04-09 10:59 | 45.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.2196 | μmol/L | 11.2718 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.998 | 105181.9562 | 308993.4578 | 30.45 | 114.2
83682 | 2021-04-09 11:00 | 45.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1194 | μmol/L | 11.2779 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23 | 105184.4076 | 308964.9373 | 30.45 | 114.2
83691 | 2021-04-09 11:00 | 45.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.1156 | μmol/L | 11.2779 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23 | 105181.3816 | 308937.7662 | 30.45 | 114.2
83700 | 2021-04-09 11:00 | 46.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9915 | μmol/L | 11.2841 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.003 | 105174.693 | 308924.1007 | 30.45 | 114.2
83709 | 2021-04-09 11:01 | 46.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.0476 | μmol/L | 11.2779 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.003 | 105171.2448 | 308904.0276 | 30.45 | 114.2
83718 | 2021-04-09 11:01 | 46.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9638 | μmol/L | 11.2841 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.004 | 105159.6158 | 308873.9759 | 30.45 | 114.2
83727 | 2021-04-09 11:01 | 47.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9197 | μmol/L | 11.2841 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.006 | 105153.3134 | 308850.279 | 30.45 | 114.2
83736 | 2021-04-09 11:02 | 47.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 281.0596 | μmol/L | 11.2841 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23 | 105128.5683 | 308826.1007 | 30.45 | 114.2
83745 | 2021-04-09 11:02 | 47.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.8996 | μmol/L | 11.2963 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.002 | 105107.4454 | 308798.7438 | 30.45 | 114.2
83754 | 2021-04-09 11:02 | 48.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9594 | μmol/L | 11.2902 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.002 | 105093.3698 | 308766.4486 | 30.45 | 114.2
83763 | 2021-04-09 11:03 | 48.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9235 | μmol/L | 11.2963 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.001 | 105084.1695 | 308753.0527 | 30.45 | 114.2
83772 | 2021-04-09 11:03 | 48.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9475 | μmol/L | 11.2963 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23 | 105060.9267 | 308745.4203 | 30.45 | 114.2
83781 | 2021-04-09 11:03 | 49.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.8833 | μmol/L | 11.3086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.998 | 105041.6127 | 308709.7884 | 30.45 | 114.2
83790 | 2021-04-09 11:04 | 49.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9953 | μmol/L | 11.2963 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.998 | 105034.6977 | 308695.1933 | 30.45 | 114.2
83799 | 2021-04-09 11:04 | 49.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.8675 | μmol/L | 11.3025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.001 | 105012.5434 | 308659.3964 | 30.45 | 114.2
83808 | 2021-04-09 11:04 | 50.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9393 | μmol/L | 11.3025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.998 | 105003.6478 | 308666.3297 | 30.45 | 114.2
83817 | 2021-04-09 11:05 | 50.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9393 | μmol/L | 11.3025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.998 | 104984.6882 | 308625.6904 | 30.45 | 114.2
83826 | 2021-04-09 11:05 | 50.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9312 | μmol/L | 11.3086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.996 | 104972.5537 | 308596.4123 | 30.45 | 114.2
83835 | 2021-04-09 11:05 | 51.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9393 | μmol/L | 11.3025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.998 | 104978.8827 | 308583.2866 | 30.45 | 114.2
83844 | 2021-04-09 11:06 | 51.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.9312 | μmol/L | 11.3086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.996 | 104960.8232 | 308552.2341 | 30.45 | 114.2
83853 | 2021-04-09 11:06 | 51.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.8594 | μmol/L | 11.3086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.999 | 104947.5753 | 308542.4892 | 30.45 | 114.2
83862 | 2021-04-09 11:06 | 52.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7794 | μmol/L | 11.3147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23 | 104943.7306 | 308519.2854 | 30.45 | 114.2
83871 | 2021-04-09 11:07 | 52.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.6555 | μmol/L | 11.3208 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.003 | 104943.3208 | 308499.6635 | 30.45 | 114.2
83880 | 2021-04-09 11:07 | 52.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7354 | μmol/L | 11.3147 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.002 | 104936.1617 | 308469.7521 | 30.45 | 114.2
83889 | 2021-04-09 11:07 | 53.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.7474 | μmol/L | 11.3208 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.999 | 104931.0295 | 308456.1422 | 30.45 | 114.2
83898 | 2021-04-09 11:08 | 53.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5838 | μmol/L | 11.3208 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.006 | 104928.6464 | 308440.3544 | 30.45 | 114.2
83907 | 2021-04-09 11:08 | 53.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.5561 | μmol/L | 11.3208 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.007 | 104919.7655 | 308400.5328 | 30.45 | 114.2
83916 | 2021-04-09 11:08 | 54.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4524 | μmol/L | 11.327 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.009 | 104914.3078 | 308374.5671 | 30.45 | 114.2
83925 | 2021-04-09 11:09 | 54.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.3845 | μmol/L | 11.327 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.012 | 104898.9943 | 308360.7868 | 30.45 | 114.2
83934 | 2021-04-09 11:09 | 54.6745 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4763 | μmol/L | 11.327 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.008 | 104901.2432 | 308347.0454 | 30.45 | 114.2
83943 | 2021-04-09 11:09 | 55.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4003 | μmol/L | 11.3331 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.009 | 104881.8391 | 308315.8672 | 30.45 | 114.2
83952 | 2021-04-09 11:10 | 55.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.4524 | μmol/L | 11.327 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.009 | 104885.4759 | 308302.0418 | 30.45 | 114.2
83961 | 2021-04-09 11:10 | 55.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.3764 | μmol/L | 11.3331 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.01 | 104875.2709 | 308289.7703 | 30.45 | 114.2
83970 | 2021-04-09 11:10 | 56.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.301 | μmol/L | 11.3331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.013 | 104871.7552 | 308262.9115 | 30.45 | 114.2
83979 | 2021-04-09 11:11 | 56.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.3726 | μmol/L | 11.3331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.01 | 104864.7513 | 308236.6602 | 30.45 | 114.2
83988 | 2021-04-09 11:11 | 56.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.3726 | μmol/L | 11.3331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.01 | 104842.7651 | 308206.1336 | 30.45 | 114.2
83997 | 2021-04-09 11:11 | 57.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2929 | μmol/L | 11.3392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.011 | 104840.206 | 308201.0114 | 30.45 | 114.2
84006 | 2021-04-09 11:12 | 57.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.3048 | μmol/L | 11.3331 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.013 | 104831.0468 | 308178.7058 | 30.45 | 114.2
84015 | 2021-04-09 11:12 | 57.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.257 | μmol/L | 11.3331 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.015 | 104814.0383 | 308154.5706 | 30.45 | 114.2
84024 | 2021-04-09 11:12 | 58.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1416 | μmol/L | 11.3454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.015 | 104811.0193 | 308129.777 | 30.45 | 114.2
84033 | 2021-04-09 11:13 | 58.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2213 | μmol/L | 11.3392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.014 | 104791.2268 | 308113.8948 | 30.45 | 114.2
84042 | 2021-04-09 11:13 | 58.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2848 | μmol/L | 11.3454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.009 | 104775.7871 | 308095.1521 | 30.45 | 114.2
84051 | 2021-04-09 11:13 | 59.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.269 | μmol/L | 11.3392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.012 | 104770.3993 | 308083.5244 | 30.45 | 114.2
84060 | 2021-04-09 11:14 | 59.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1611 | μmol/L | 11.3515 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.012 | 104753.6458 | 308056.201 | 30.45 | 114.2
84069 | 2021-04-09 11:14 | 59.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2131 | μmol/L | 11.3454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.012 | 104752.2541 | 308037.4027 | 30.45 | 114.2
84078 | 2021-04-09 11:14 | 60.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1654 | μmol/L | 11.3454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.014 | 104743.378 | 308017.1369 | 30.45 | 114.2
84087 | 2021-04-09 11:15 | 60.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.2131 | μmol/L | 11.3454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.012 | 104741.1197 | 307993.3139 | 30.45 | 114.2
84096 | 2021-04-09 11:15 | 60.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1974 | μmol/L | 11.3392 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.015 | 104728.9654 | 307963.0812 | 30.45 | 114.2
84105 | 2021-04-09 11:15 | 61.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 280.1416 | μmol/L | 11.3454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.015 | 104733.0269 | 307936.2851 | 30.45 | 114.2
84114 | 2021-04-09 11:16 | 61.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.9507 | μmol/L | 11.3454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.023 | 104749.0742 | 307926.1229 | 30.45 | 114.2
84123 | 2021-04-09 11:16 | 61.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.7996 | μmol/L | 11.3515 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.027 | 104749.9262 | 307908.2815 | 30.45 | 114.2
84132 | 2021-04-09 11:16 | 62.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.8235 | μmol/L | 11.3515 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.026 | 104745.6314 | 307891.3604 | 30.45 | 114.2
84141 | 2021-04-09 11:17 | 62.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.6805 | μmol/L | 11.3515 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.032 | 104762.681 | 307874.9664 | 30.45 | 114.2
84150 | 2021-04-09 11:17 | 62.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.6091 | μmol/L | 11.3515 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.035 | 104762.3709 | 307861.8383 | 30.45 | 114.2
84159 | 2021-04-09 11:17 | 63.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.5296 | μmol/L | 11.3576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.036 | 104774.448 | 307847.9118 | 30.45 | 114.2
84168 | 2021-04-09 11:18 | 63.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.355 | μmol/L | 11.3638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.041 | 104779.5093 | 307806.4878 | 30.45 | 114.2
84177 | 2021-04-09 11:18 | 63.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.3631 | μmol/L | 11.3576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.043 | 104775.2279 | 307796.6198 | 30.45 | 114.2
84186 | 2021-04-09 11:18 | 64.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.3787 | μmol/L | 11.3638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.04 | 104771.5519 | 307778.9689 | 30.45 | 114.2
84195 | 2021-04-09 11:19 | 64.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.2836 | μmol/L | 11.3638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.044 | 104761.1858 | 307750.8699 | 30.45 | 114.2
84204 | 2021-04-09 11:19 | 64.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.2836 | μmol/L | 11.3638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.044 | 104750.9804 | 307732.3127 | 30.45 | 114.2
84213 | 2021-04-09 11:19 | 65.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.3074 | μmol/L | 11.3638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.043 | 104745.1049 | 307717.0364 | 30.45 | 114.2
84222 | 2021-04-09 11:20 | 65.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.2518 | μmol/L | 11.3699 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.043 | 104737.1818 | 307705.6342 | 30.45 | 114.2
84231 | 2021-04-09 11:20 | 65.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.2836 | μmol/L | 11.3638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.044 | 104736.4301 | 307672.685 | 30.45 | 114.2
84240 | 2021-04-09 11:20 | 66.0077 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0935 | μmol/L | 11.3638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.052 | 104734.3625 | 307680.1959 | 30.45 | 114.2
84249 | 2021-04-09 11:21 | 66.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0697 | μmol/L | 11.3638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.053 | 104741.1794 | 307646.9588 | 30.45 | 114.2
84258 | 2021-04-09 11:21 | 66.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0935 | μmol/L | 11.3638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.052 | 104743.4057 | 307626.0367 | 30.45 | 114.2
84267 | 2021-04-09 11:21 | 67.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0379 | μmol/L | 11.3699 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.052 | 104754.9635 | 307612.662 | 30.45 | 114.2
84276 | 2021-04-09 11:22 | 67.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8162 | μmol/L | 11.376 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.059 | 104764.7282 | 307598.6237 | 30.45 | 114.2
84285 | 2021-04-09 11:22 | 67.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9192 | μmol/L | 11.3699 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.057 | 104770.2228 | 307583.3584 | 30.45 | 114.2
84294 | 2021-04-09 11:22 | 68.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6027 | μmol/L | 11.376 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 104772.5221 | 307557.8441 | 30.45 | 114.2
84303 | 2021-04-09 11:23 | 68.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.642 | μmol/L | 11.3821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.064 | 104773.9564 | 307539.3871 | 30.45 | 114.2
84312 | 2021-04-09 11:23 | 68.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5472 | μmol/L | 11.3821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 104782.417 | 307520.0817 | 30.45 | 114.2
84321 | 2021-04-09 11:23 | 69.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.579 | μmol/L | 11.376 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.069 | 104777.1188 | 307495.1302 | 30.45 | 114.2
84330 | 2021-04-09 11:24 | 69.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.579 | μmol/L | 11.376 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.069 | 104786.3824 | 307478.7958 | 30.45 | 114.2
84339 | 2021-04-09 11:24 | 69.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.334 | μmol/L | 11.3821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.077 | 104781.8959 | 307472.2783 | 30.45 | 114.2
84348 | 2021-04-09 11:24 | 70.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.405 | μmol/L | 11.3821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.074 | 104778.8357 | 307450.2744 | 30.45 | 114.2
84357 | 2021-04-09 11:25 | 70.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4287 | μmol/L | 11.3821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.073 | 104769.4052 | 307456.7318 | 30.45 | 114.2
84366 | 2021-04-09 11:25 | 70.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4524 | μmol/L | 11.3821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.072 | 104751.07 | 307423.727 | 30.45 | 114.2
84375 | 2021-04-09 11:25 | 71.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3577 | μmol/L | 11.3821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.076 | 104744.6618 | 307405.0054 | 30.45 | 114.2
84384 | 2021-04-09 11:26 | 71.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4287 | μmol/L | 11.3821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.073 | 104724.2266 | 307393.7042 | 30.45 | 114.2
84393 | 2021-04-09 11:26 | 71.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6027 | μmol/L | 11.376 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 104701.0776 | 307378.4344 | 30.45 | 114.2
84402 | 2021-04-09 11:26 | 72.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.642 | μmol/L | 11.3821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.064 | 104664.2672 | 307346.223 | 30.45 | 114.2
84411 | 2021-04-09 11:27 | 72.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6577 | μmol/L | 11.3883 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.061 | 104639.0741 | 307347.9165 | 30.45 | 114.2
84420 | 2021-04-09 11:27 | 72.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6814 | μmol/L | 11.3883 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.06 | 104618.2152 | 307324.8505 | 30.45 | 114.2
84429 | 2021-04-09 11:27 | 73.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7213 | μmol/L | 11.376 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.063 | 104600.5317 | 307298.2415 | 30.45 | 114.2
84438 | 2021-04-09 11:28 | 73.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7924 | μmol/L | 11.376 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.06 | 104609.0087 | 307284.9756 | 30.45 | 114.2
84447 | 2021-04-09 11:28 | 73.6743 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6895 | μmol/L | 11.3821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.062 | 104606.7606 | 307264.2808 | 30.45 | 114.2
84456 | 2021-04-09 11:28 | 74.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.745 | μmol/L | 11.376 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.062 | 104597.7953 | 307259.8485 | 30.45 | 114.2
84465 | 2021-04-09 11:29 | 74.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6895 | μmol/L | 11.3821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.062 | 104581.1497 | 307238.6854 | 30.45 | 114.2
84474 | 2021-04-09 11:29 | 74.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6814 | μmol/L | 11.3883 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.06 | 104569.6066 | 307224.2747 | 30.45 | 114.2
84483 | 2021-04-09 11:29 | 75.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6653 | μmol/L | 11.4005 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.056 | 104553.3357 | 307212.7667 | 30.45 | 114.2
84492 | 2021-04-09 11:30 | 75.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6496 | μmol/L | 11.3944 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.059 | 104545.973 | 307215.5925 | 30.45 | 114.2
84501 | 2021-04-09 11:30 | 75.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6733 | μmol/L | 11.3944 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.058 | 104521.3711 | 307175.9194 | 30.45 | 114.2
84510 | 2021-04-09 11:30 | 76.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6178 | μmol/L | 11.4005 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.058 | 104523.524 | 307173.4722 | 30.45 | 114.2
84519 | 2021-04-09 11:31 | 76.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5386 | μmol/L | 11.4067 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.059 | 104522.3498 | 307153.7868 | 30.45 | 114.2
84528 | 2021-04-09 11:31 | 76.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5704 | μmol/L | 11.4005 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.06 | 104511.3332 | 307135.2716 | 30.45 | 114.2
84537 | 2021-04-09 11:31 | 77.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5941 | μmol/L | 11.4005 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.059 | 104509.7664 | 307126.0834 | 30.45 | 114.2
84546 | 2021-04-09 11:32 | 77.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5467 | μmol/L | 11.4005 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.061 | 104499.4084 | 307098.935 | 30.45 | 114.2
84555 | 2021-04-09 11:32 | 77.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5704 | μmol/L | 11.4005 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.06 | 104503.5988 | 307097.8394 | 30.45 | 114.2
84564 | 2021-04-09 11:32 | 78.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3728 | μmol/L | 11.4067 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 104499.727 | 307073.5108 | 30.45 | 114.2
84573 | 2021-04-09 11:33 | 78.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4201 | μmol/L | 11.4067 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.064 | 104493.8614 | 307058.706 | 30.45 | 114.2
84582 | 2021-04-09 11:33 | 78.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3173 | μmol/L | 11.4128 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 104502.5581 | 307048.4663 | 30.45 | 114.2
84591 | 2021-04-09 11:33 | 79.0075 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2307 | μmol/L | 11.4067 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.072 | 104508.4564 | 307021.0624 | 30.45 | 114.2
84600 | 2021-04-09 11:34 | 79.3411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1516 | μmol/L | 11.4128 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.073 | 104526.3163 | 307010.6057 | 30.45 | 114.2
84609 | 2021-04-09 11:34 | 79.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.9226 | μmol/L | 11.4251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.078 | 104533.7531 | 306991.5741 | 30.45 | 114.2
84618 | 2021-04-09 11:34 | 80.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0333 | μmol/L | 11.4128 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.078 | 104541.6982 | 306973.2406 | 30.45 | 114.2
84627 | 2021-04-09 11:35 | 80.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.8442 | μmol/L | 11.4128 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.086 | 104554.8972 | 306965.422 | 30.45 | 114.2
84636 | 2021-04-09 11:35 | 80.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.726 | μmol/L | 11.4128 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.091 | 104571.3847 | 306964.3466 | 30.45 | 114.2
84645 | 2021-04-09 11:35 | 81.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7652 | μmol/L | 11.4189 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.087 | 104574.8117 | 306954.5343 | 30.45 | 114.2
84654 | 2021-04-09 11:36 | 81.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7024 | μmol/L | 11.4128 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.092 | 104571.4011 | 306938.6592 | 30.45 | 114.2
84663 | 2021-04-09 11:36 | 81.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.6552 | μmol/L | 11.4128 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.094 | 104578.0496 | 306921.5939 | 30.45 | 114.2
84672 | 2021-04-09 11:36 | 82.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.6943 | μmol/L | 11.4189 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.09 | 104553.8827 | 306901.7764 | 30.45 | 114.2
84681 | 2021-04-09 11:37 | 82.3409 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.5999 | μmol/L | 11.4189 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.094 | 104554.0527 | 306902.2044 | 30.45 | 114.2
84690 | 2021-04-09 11:37 | 82.6744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.6707 | μmol/L | 11.4189 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.091 | 104557.0972 | 306870.4221 | 30.45 | 114.2
84699 | 2021-04-09 11:37 | 83.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.6471 | μmol/L | 11.4189 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.092 | 104548.4101 | 306864.1154 | 30.45 | 114.2
84708 | 2021-04-09 11:38 | 83.341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.5843 | μmol/L | 11.4128 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.097 | 104556.536 | 306862.8426 | 30.45 | 114.2
84717 | 2021-04-09 11:38 | 83.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.403 | μmol/L | 11.4251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.1 | 104556.192 | 306836.186 | 30.45 | 114.2
84726 | 2021-04-09 11:38 | 84.0076 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.5055 | μmol/L | 11.4189 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.098 | 104537.5538 | 306829.0559 | 30.45 | 114.2
84735 | 2021-04-09 11:39 | 84.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.4111 | μmol/L | 11.4189 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.102 | 104527.9782 | 306814.0892 | 30.45 | 114.2
84744 | 2021-04-09 11:39 | 84.6742 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.521 | μmol/L | 11.4251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.095 | 104519.0679 | 306795.6474 | 30.45 | 114.2
84753 | 2021-04-09 11:39 | 85.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.4738 | μmol/L | 11.4251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.097 | 104525.6345 | 306802.3808 | 30.45 | 114.2
84762 | 2021-04-09 11:40 | 85.3408 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.4266 | μmol/L | 11.4251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.099 | 104514.2355 | 306778.6188 | 30.45 | 114.2
84771 | 2021-04-09 11:40 | 85.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3558 | μmol/L | 11.4251 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.102 | 104512.6301 | 306768.5991 | 30.45 | 114.2
84780 | 2021-04-09 11:40 | 86.0078 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3398 | μmol/L | 11.4373 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.098 | 104513.5141 | 306745.8998 | 30.45 | 114.2