## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 11:43

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
82459 | 2021-04-09 10:14 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.3303 | μmol/L | 10.1651 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.772 | 165726.379 | 306115.9206 | 59.9307 | 49.4
82468 | 2021-04-09 10:15 | 0.33218 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.3108 | μmol/L | 10.1774 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.768 | 165681.0032 | 306081.8916 | 59.9307 | 49.4
82477 | 2021-04-09 10:15 | 0.66604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.2207 | μmol/L | 10.202 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.762 | 165596.8503 | 306047.4374 | 59.9307 | 49.4
82486 | 2021-04-09 10:15 | 0.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.2778 | μmol/L | 10.2143 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.755 | 165502.7667 | 306027.4969 | 59.9307 | 49.4
82495 | 2021-04-09 10:16 | 1.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.1272 | μmol/L | 10.2451 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.749 | 165424.4126 | 305967.9015 | 59.9307 | 49.4
82504 | 2021-04-09 10:16 | 1.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.0727 | μmol/L | 10.2636 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.744 | 165350.2907 | 305950.3767 | 59.9307 | 49.4
82513 | 2021-04-09 10:16 | 1.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.1712 | μmol/L | 10.282 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.733 | 165236.2829 | 305912.8508 | 59.9307 | 49.4
82522 | 2021-04-09 10:17 | 2.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.1583 | μmol/L | 10.3067 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.724 | 165146.9566 | 305877.8054 | 59.9307 | 49.4
82531 | 2021-04-09 10:17 | 2.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.9765 | μmol/L | 10.3251 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.724 | 165067.0733 | 305842.5946 | 59.9307 | 49.4
82540 | 2021-04-09 10:17 | 2.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.0243 | μmol/L | 10.3436 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.715 | 164977.5459 | 305784.8897 | 59.9307 | 49.4
82549 | 2021-04-09 10:18 | 3.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.9956 | μmol/L | 10.3621 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.709 | 164895.6631 | 305775.0123 | 59.9307 | 49.4
82558 | 2021-04-09 10:18 | 3.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.0881 | μmol/L | 10.3682 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.703 | 164793.6041 | 305726.1028 | 59.9307 | 49.4
82567 | 2021-04-09 10:18 | 3.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.0151 | μmol/L | 10.399 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.694 | 164702.2822 | 305690.3651 | 59.9307 | 49.4
82576 | 2021-04-09 10:19 | 4.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.9961 | μmol/L | 10.4113 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.69 | 164617.4275 | 305651.7976 | 59.9307 | 49.4
82585 | 2021-04-09 10:19 | 4.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.1048 | μmol/L | 10.4236 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.681 | 164539.5443 | 305631.9719 | 59.9307 | 49.4
82594 | 2021-04-09 10:19 | 4.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.0094 | μmol/L | 10.4359 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.68 | 164482.013 | 305555.149 | 59.9307 | 49.4
82603 | 2021-04-09 10:20 | 5.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.8281 | μmol/L | 10.4544 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.68 | 164425.579 | 305533.0731 | 59.9307 | 49.4
82612 | 2021-04-09 10:20 | 5.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 298.0321 | μmol/L | 10.4544 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.672 | 164354.0886 | 305503.8966 | 59.9307 | 49.4
82621 | 2021-04-09 10:20 | 5.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.9274 | μmol/L | 10.4729 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.669 | 164287.8844 | 305471.3546 | 59.9307 | 49.4
82630 | 2021-04-09 10:21 | 6.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.6511 | μmol/L | 10.5036 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.668 | 164243.6167 | 305433.0636 | 59.9307 | 49.4
82639 | 2021-04-09 10:21 | 6.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.753 | μmol/L | 10.5036 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.664 | 164171.3266 | 305397.0944 | 59.9307 | 49.4
82648 | 2021-04-09 10:21 | 6.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.6231 | μmol/L | 10.5221 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.662 | 164112.5934 | 305362.4404 | 59.9307 | 49.4
82657 | 2021-04-09 10:22 | 7.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.6554 | μmol/L | 10.5344 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.656 | 164050.6414 | 305327.876 | 59.9307 | 49.4
82666 | 2021-04-09 10:22 | 7.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.4491 | μmol/L | 10.5529 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.657 | 164005.3305 | 305301.3234 | 59.9307 | 49.4
82675 | 2021-04-09 10:22 | 7.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.3704 | μmol/L | 10.5713 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.653 | 163932.1182 | 305243.6894 | 59.9307 | 49.4
82684 | 2021-04-09 10:23 | 8.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.4028 | μmol/L | 10.5837 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.647 | 163865.6359 | 305214.4376 | 59.9307 | 49.4
82693 | 2021-04-09 10:23 | 8.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.2987 | μmol/L | 10.6021 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.644 | 163801.2884 | 305168.6151 | 59.9307 | 49.4
82702 | 2021-04-09 10:23 | 8.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.2803 | μmol/L | 10.6144 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.64 | 163738.0141 | 305154.6874 | 59.9307 | 49.4
82711 | 2021-04-09 10:24 | 9.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.3567 | μmol/L | 10.6144 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.637 | 163672.645 | 305121.8865 | 59.9307 | 49.4
82720 | 2021-04-09 10:24 | 9.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.1671 | μmol/L | 10.6391 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.635 | 163634.7011 | 305078.3989 | 59.9307 | 49.4
82729 | 2021-04-09 10:24 | 9.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.2089 | μmol/L | 10.6452 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.631 | 163575.9039 | 305039.6384 | 59.9307 | 49.4
82738 | 2021-04-09 10:25 | 10.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 297.0378 | μmol/L | 10.6575 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.633 | 163551.896 | 305006.5814 | 59.9307 | 49.4
82747 | 2021-04-09 10:25 | 10.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.8832 | μmol/L | 10.676 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.632 | 163507.3937 | 304978.6438 | 59.9307 | 49.4
82756 | 2021-04-09 10:25 | 10.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.7723 | μmol/L | 10.6822 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.634 | 163481.434 | 304954.6257 | 59.9307 | 49.4
82765 | 2021-04-09 10:26 | 11.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.7632 | μmol/L | 10.6883 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.632 | 163438.3242 | 304928.9457 | 59.9307 | 49.4
82774 | 2021-04-09 10:26 | 11.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.6942 | μmol/L | 10.7006 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.63 | 163386.1544 | 304894.3663 | 59.9307 | 49.4
82783 | 2021-04-09 10:26 | 11.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.7268 | μmol/L | 10.7129 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.624 | 163310.7127 | 304858.2668 | 59.9307 | 49.4
82792 | 2021-04-09 10:27 | 12.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.6923 | μmol/L | 10.7191 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.623 | 163272.0121 | 304829.8332 | 59.9307 | 49.4
82801 | 2021-04-09 10:27 | 12.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.6833 | μmol/L | 10.7252 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.621 | 163226.6402 | 304790.8429 | 59.9307 | 49.4
82810 | 2021-04-09 10:27 | 12.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.5342 | μmol/L | 10.7376 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.622 | 163178.6451 | 304773.7305 | 59.9307 | 49.4
82819 | 2021-04-09 10:28 | 13.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.5454 | μmol/L | 10.7499 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 22.617 | 163117.7859 | 304755.878 | 59.9307 | 49.4
82828 | 2021-04-09 10:28 | 13.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.6088 | μmol/L | 10.756 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.612 | 163053.9847 | 304687.2507 | 59.9307 | 49.4
82837 | 2021-04-09 10:28 | 13.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.5399 | μmol/L | 10.7683 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.61 | 162993.6504 | 304668.4964 | 59.9307 | 49.4
82846 | 2021-04-09 10:29 | 14.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.5309 | μmol/L | 10.7745 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.608 | 162941.2776 | 304646.3715 | 59.9307 | 49.4
82855 | 2021-04-09 10:29 | 14.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.4786 | μmol/L | 10.793 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.603 | 162878.928 | 304599.9076 | 59.9307 | 49.4
82864 | 2021-04-09 10:29 | 14.9996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.4696 | μmol/L | 10.7991 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.601 | 162822.1064 | 304584.6035 | 59.9307 | 49.4
82873 | 2021-04-09 10:30 | 15.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.5204 | μmol/L | 10.7991 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.599 | 162772.0766 | 304551.8795 | 59.9307 | 49.4
82882 | 2021-04-09 10:30 | 15.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.4262 | μmol/L | 10.8114 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.598 | 162711.8654 | 304517.0006 | 59.9307 | 49.4
82891 | 2021-04-09 10:30 | 15.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.4084 | μmol/L | 10.8237 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.594 | 162672.7469 | 304477.8123 | 59.9307 | 49.4
82900 | 2021-04-09 10:31 | 16.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.4503 | μmol/L | 10.8299 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.59 | 162613.1138 | 304460.401 | 59.9307 | 49.4
82909 | 2021-04-09 10:31 | 16.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.4413 | μmol/L | 10.8361 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.588 | 162574.0873 | 304414.0581 | 59.9307 | 49.4
82918 | 2021-04-09 10:31 | 16.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.407 | μmol/L | 10.8422 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.587 | 162511.8154 | 304399.6314 | 59.9307 | 49.4
82927 | 2021-04-09 10:32 | 17.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.5087 | μmol/L | 10.8422 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.583 | 162462.5819 | 304375.6716 | 59.9307 | 49.4
82936 | 2021-04-09 10:32 | 17.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.4146 | μmol/L | 10.8545 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.582 | 162425.2119 | 304342.9554 | 59.9307 | 49.4
82945 | 2021-04-09 10:32 | 17.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.2786 | μmol/L | 10.8607 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.585 | 162401.3399 | 304312.5043 | 59.9307 | 49.4
82954 | 2021-04-09 10:33 | 18.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.1593 | μmol/L | 10.873 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.585 | 162368.4099 | 304284.0013 | 59.9307 | 49.4
82963 | 2021-04-09 10:33 | 18.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.1758 | μmol/L | 10.8792 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.582 | 162321.5699 | 304250.3683 | 59.9307 | 49.4
82972 | 2021-04-09 10:33 | 18.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.1923 | μmol/L | 10.8853 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.579 | 162277.2159 | 304228.5529 | 59.9307 | 49.4
82981 | 2021-04-09 10:34 | 19.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.0984 | μmol/L | 10.8976 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.578 | 162245.8801 | 304207.8677 | 59.9307 | 49.4
82990 | 2021-04-09 10:34 | 19.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 296.073 | μmol/L | 10.8976 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.579 | 162214.9308 | 304165.958 | 59.9307 | 49.4
82999 | 2021-04-09 10:34 | 19.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.945 | μmol/L | 10.9161 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.577 | 162177.5465 | 304147.955 | 59.9307 | 49.4
83008 | 2021-04-09 10:35 | 20.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.9538 | μmol/L | 10.9099 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.579 | 162134.8287 | 304097.0549 | 59.9307 | 49.4
83017 | 2021-04-09 10:35 | 20.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.8092 | μmol/L | 10.9223 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.58 | 162104.7271 | 304075.1688 | 59.9307 | 49.4
83026 | 2021-04-09 10:35 | 20.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.8258 | μmol/L | 10.9284 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.577 | 162081.8291 | 304056.378 | 59.9307 | 49.4
83035 | 2021-04-09 10:36 | 21.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.7409 | μmol/L | 10.9346 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.578 | 162049.9014 | 304036.2485 | 59.9307 | 49.4
83044 | 2021-04-09 10:36 | 21.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.656 | μmol/L | 10.9407 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.579 | 162010.8835 | 303995.7286 | 59.9307 | 49.4
83053 | 2021-04-09 10:36 | 21.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.6218 | μmol/L | 10.9469 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.578 | 161972.3161 | 303966.3002 | 59.9307 | 49.4
83062 | 2021-04-09 10:37 | 22.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.6472 | μmol/L | 10.9469 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.577 | 161942.7804 | 303952.1083 | 59.9307 | 49.4
83071 | 2021-04-09 10:37 | 22.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.6638 | μmol/L | 10.953 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.574 | 161903.5441 | 303912.1439 | 59.9307 | 49.4
83080 | 2021-04-09 10:37 | 22.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.5536 | μmol/L | 10.9592 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.576 | 161867.7176 | 303890.3275 | 59.9307 | 49.4
83089 | 2021-04-09 10:38 | 23.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.5282 | μmol/L | 10.9592 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.577 | 161831.8042 | 303883.6453 | 59.9307 | 49.4
83098 | 2021-04-09 10:38 | 23.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.4259 | μmol/L | 10.9777 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.574 | 161803.2457 | 303836.5567 | 59.9307 | 49.4
83107 | 2021-04-09 10:38 | 23.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.3665 | μmol/L | 10.9838 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.574 | 161763.7844 | 303812.6625 | 59.9307 | 49.4
83116 | 2021-04-09 10:39 | 24.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.4084 | μmol/L | 10.99 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.57 | 161709.9599 | 303784.7446 | 59.9307 | 49.4
83125 | 2021-04-09 10:39 | 24.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.3997 | μmol/L | 10.9961 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.568 | 161662.4744 | 303745.0969 | 59.9307 | 49.4
83134 | 2021-04-09 10:39 | 24.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.4251 | μmol/L | 10.9961 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.567 | 161618.6655 | 303729.3468 | 59.9307 | 49.4
83143 | 2021-04-09 10:40 | 25.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.3316 | μmol/L | 11.0084 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.566 | 161579.3001 | 303714.3806 | 59.9307 | 49.4
83152 | 2021-04-09 10:40 | 25.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.4077 | μmol/L | 11.0084 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.563 | 161527.5358 | 303685.2063 | 59.9307 | 49.4
83161 | 2021-04-09 10:40 | 25.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.4584 | μmol/L | 11.0084 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.561 | 161506.5388 | 303678.4693 | 59.9307 | 49.4
83170 | 2021-04-09 10:41 | 26.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.3736 | μmol/L | 11.0146 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.562 | 161458.0736 | 303628.8559 | 59.9307 | 49.4
83179 | 2021-04-09 10:41 | 26.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.475 | μmol/L | 11.0146 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.558 | 161427.4912 | 303583.1058 | 59.9307 | 49.4
83188 | 2021-04-09 10:41 | 26.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.2462 | μmol/L | 11.0331 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.56 | 161389.4515 | 303564.0622 | 59.9307 | 49.4
83197 | 2021-04-09 10:42 | 27.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.2969 | μmol/L | 11.0331 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.558 | 161362.1695 | 303560.2806 | 59.9307 | 49.4
83206 | 2021-04-09 10:42 | 27.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.2629 | μmol/L | 11.0392 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 161326.6999 | 303526.9771 | 59.9307 | 49.4
83215 | 2021-04-09 10:42 | 27.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.2629 | μmol/L | 11.0392 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 161284.0007 | 303503.7414 | 59.9307 | 49.4
83224 | 2021-04-09 10:43 | 28.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.2289 | μmol/L | 11.0454 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.556 | 161245.8917 | 303483.692 | 59.9307 | 49.4
83233 | 2021-04-09 10:43 | 28.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.1442 | μmol/L | 11.0515 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 161225.7337 | 303477.0518 | 59.9307 | 49.4
83242 | 2021-04-09 10:43 | 28.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.2962 | μmol/L | 11.0515 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.551 | 161191.6634 | 303448.7373 | 59.9307 | 49.4
83251 | 2021-04-09 10:44 | 29.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.1949 | μmol/L | 11.0515 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 161155.8104 | 303425.2414 | 59.9307 | 49.4
83260 | 2021-04-09 10:44 | 29.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.0763 | μmol/L | 11.0639 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 161134.8198 | 303413.4682 | 59.9307 | 49.4
83269 | 2021-04-09 10:44 | 29.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.0423 | μmol/L | 11.07 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.554 | 161105.5611 | 303376.7722 | 59.9307 | 49.4
83278 | 2021-04-09 10:45 | 30.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 295.017 | μmol/L | 11.07 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 161081.7038 | 303356.1607 | 59.9307 | 49.4
83287 | 2021-04-09 10:45 | 30.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.9577 | μmol/L | 11.0762 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 161048.8594 | 303333.5975 | 59.9307 | 49.4
83296 | 2021-04-09 10:45 | 30.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.9071 | μmol/L | 11.0762 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 161030.1977 | 303305.096 | 59.9307 | 49.4
83305 | 2021-04-09 10:46 | 31.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.9238 | μmol/L | 11.0823 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.554 | 161008.3089 | 303282.5334 | 59.9307 | 49.4
83314 | 2021-04-09 10:46 | 31.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.8393 | μmol/L | 11.0885 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 160968.4154 | 303249.7864 | 59.9307 | 49.4
83323 | 2021-04-09 10:46 | 31.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.856 | μmol/L | 11.0946 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.552 | 160931.7809 | 303234.1254 | 59.9307 | 49.4
83332 | 2021-04-09 10:47 | 32.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.9152 | μmol/L | 11.0885 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.552 | 160905.1508 | 303192.1063 | 59.9307 | 49.4
83341 | 2021-04-09 10:47 | 32.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.856 | μmol/L | 11.0946 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.552 | 160881.1167 | 303182.5596 | 59.9307 | 49.4
83350 | 2021-04-09 10:47 | 32.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.7209 | μmol/L | 11.1008 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 160857.8943 | 303152.0245 | 59.9307 | 49.4
83359 | 2021-04-09 10:48 | 33.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.6111 | μmol/L | 11.107 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 160845.5346 | 303132.1616 | 59.9307 | 49.4
83368 | 2021-04-09 10:48 | 33.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.5773 | μmol/L | 11.1131 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.556 | 160822.4809 | 303102.1755 | 59.9307 | 49.4
83377 | 2021-04-09 10:48 | 33.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.5267 | μmol/L | 11.1131 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.558 | 160803.3507 | 303086.0024 | 59.9307 | 49.4
83386 | 2021-04-09 10:49 | 34.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.5348 | μmol/L | 11.1254 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.553 | 160783.9674 | 303060.2192 | 59.9307 | 49.4
83395 | 2021-04-09 10:49 | 34.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.5181 | μmol/L | 11.1193 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.556 | 160747.3958 | 303038.2634 | 59.9307 | 49.4
83404 | 2021-04-09 10:49 | 34.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.459 | μmol/L | 11.1254 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.556 | 160740.0475 | 303021.5366 | 59.9307 | 49.4
83413 | 2021-04-09 10:50 | 35.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.3494 | μmol/L | 11.1316 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.558 | 160712.3925 | 302996.5893 | 59.9307 | 49.4
83422 | 2021-04-09 10:50 | 35.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.3999 | μmol/L | 11.1316 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.556 | 160684.088 | 302961.0954 | 59.9307 | 49.4
83431 | 2021-04-09 10:50 | 35.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.3156 | μmol/L | 11.1377 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 160664.5135 | 302940.723 | 59.9307 | 49.4
83440 | 2021-04-09 10:51 | 36.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.4252 | μmol/L | 11.1316 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 160628.4948 | 302931.3083 | 59.9307 | 49.4
83449 | 2021-04-09 10:51 | 36.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.3241 | μmol/L | 11.1316 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.559 | 160612.777 | 302898.4557 | 59.9307 | 49.4
83458 | 2021-04-09 10:51 | 36.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.2565 | μmol/L | 11.1439 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 160582.1148 | 302898.9665 | 59.9307 | 49.4
83467 | 2021-04-09 10:52 | 37.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.307 | μmol/L | 11.1439 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 160561.1706 | 302856.4495 | 59.9307 | 49.4
83476 | 2021-04-09 10:52 | 37.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.3156 | μmol/L | 11.1377 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 160530.2851 | 302832.566 | 59.9307 | 49.4
83485 | 2021-04-09 10:52 | 37.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.248 | μmol/L | 11.15 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 160505.4619 | 302827.9461 | 59.9307 | 49.4
83494 | 2021-04-09 10:53 | 38.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.248 | μmol/L | 11.15 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 160480.3324 | 302781.3329 | 59.9307 | 49.4
83503 | 2021-04-09 10:53 | 38.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.1299 | μmol/L | 11.1624 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 160456.9022 | 302778.8547 | 59.9307 | 49.4
83512 | 2021-04-09 10:53 | 38.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.1637 | μmol/L | 11.1562 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.556 | 160437.9548 | 302747.8472 | 59.9307 | 49.4
83521 | 2021-04-09 10:54 | 39.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.97 | μmol/L | 11.1685 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.559 | 160428.9602 | 302728.7241 | 59.9307 | 49.4
83530 | 2021-04-09 10:54 | 39.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.9615 | μmol/L | 11.1747 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 160401.0856 | 302716.4239 | 59.9307 | 49.4
83539 | 2021-04-09 10:54 | 39.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.0457 | μmol/L | 11.1685 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.556 | 160372.4935 | 302695.3914 | 59.9307 | 49.4
83548 | 2021-04-09 10:55 | 40.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.911 | μmol/L | 11.1747 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.559 | 160350.8797 | 302670.6818 | 59.9307 | 49.4
83557 | 2021-04-09 10:55 | 40.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.953 | μmol/L | 11.1808 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 160336.1968 | 302649.3333 | 59.9307 | 49.4
83566 | 2021-04-09 10:55 | 40.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.012 | μmol/L | 11.1747 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 160281.2449 | 302623.1503 | 59.9307 | 49.4
83575 | 2021-04-09 10:56 | 41.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.9026 | μmol/L | 11.1808 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 160255.4063 | 302600.4579 | 59.9307 | 49.4
83584 | 2021-04-09 10:56 | 41.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.953 | μmol/L | 11.1808 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 160219.8739 | 302574.5819 | 59.9307 | 49.4
83593 | 2021-04-09 10:56 | 41.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.8351 | μmol/L | 11.1931 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.555 | 160188.7968 | 302557.4767 | 59.9307 | 49.4
83602 | 2021-04-09 10:57 | 42.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.9697 | μmol/L | 11.187 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.552 | 160166.9871 | 302553.1676 | 59.9307 | 49.4
83611 | 2021-04-09 10:57 | 42.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 294.037 | μmol/L | 11.1931 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.547 | 160133.4072 | 302546.6416 | 59.9307 | 49.4
83620 | 2021-04-09 10:57 | 42.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.9528 | μmol/L | 11.1993 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.548 | 160094.1798 | 302507.7209 | 59.9307 | 49.4
83629 | 2021-04-09 10:58 | 43.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.8939 | μmol/L | 11.2055 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.548 | 160070.0077 | 302507.2858 | 59.9307 | 49.4
83638 | 2021-04-09 10:58 | 43.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.9528 | μmol/L | 11.1993 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.548 | 160033.0736 | 302476.8846 | 59.9307 | 49.4
83647 | 2021-04-09 10:58 | 43.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.9443 | μmol/L | 11.2055 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.546 | 159999.8596 | 302449.461 | 59.9307 | 49.4
83656 | 2021-04-09 10:59 | 44.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.9948 | μmol/L | 11.2055 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.544 | 159971.6676 | 302432.8902 | 59.9307 | 49.4
83665 | 2021-04-09 10:59 | 44.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.978 | μmol/L | 11.1993 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.547 | 159956.0292 | 302416.5417 | 59.9307 | 49.4
83674 | 2021-04-09 10:59 | 44.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.8013 | μmol/L | 11.2178 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.547 | 159934.8782 | 302398.2351 | 59.9307 | 49.4
83683 | 2021-04-09 11:00 | 45.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.8602 | μmol/L | 11.2116 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.547 | 159905.2214 | 302370.7762 | 59.9307 | 49.4
83692 | 2021-04-09 11:00 | 45.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.7845 | μmol/L | 11.2116 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.55 | 159898.1089 | 302346.7383 | 59.9307 | 49.4
83701 | 2021-04-09 11:00 | 45.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.7761 | μmol/L | 11.2178 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.548 | 159887.3177 | 302364.2848 | 59.9307 | 49.4
83710 | 2021-04-09 11:01 | 46.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.7593 | μmol/L | 11.2116 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.551 | 159870.597 | 302332.4209 | 59.9307 | 49.4
83719 | 2021-04-09 11:01 | 46.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.7508 | μmol/L | 11.2178 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.549 | 159844.1958 | 302303.3652 | 59.9307 | 49.4
83728 | 2021-04-09 11:01 | 46.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.692 | μmol/L | 11.2239 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.549 | 159820.5729 | 302279.8713 | 59.9307 | 49.4
83737 | 2021-04-09 11:02 | 47.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.6668 | μmol/L | 11.2239 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.55 | 159804.0037 | 302262.5788 | 59.9307 | 49.4
83746 | 2021-04-09 11:02 | 47.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.692 | μmol/L | 11.2239 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.549 | 159796.9399 | 302242.1876 | 59.9307 | 49.4
83755 | 2021-04-09 11:02 | 47.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.5912 | μmol/L | 11.2239 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.553 | 159780.8046 | 302244.721 | 59.9307 | 49.4
83764 | 2021-04-09 11:03 | 48.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.6668 | μmol/L | 11.2239 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.55 | 159760.5255 | 302198.556 | 59.9307 | 49.4
83773 | 2021-04-09 11:03 | 48.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.5827 | μmol/L | 11.2301 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.551 | 159745.2595 | 302179.9486 | 59.9307 | 49.4
83782 | 2021-04-09 11:03 | 48.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.5491 | μmol/L | 11.2362 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.55 | 159722.4838 | 302154.3332 | 59.9307 | 49.4
83791 | 2021-04-09 11:04 | 49.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.4987 | μmol/L | 11.2362 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.552 | 159708.2768 | 302161.1136 | 59.9307 | 49.4
83800 | 2021-04-09 11:04 | 49.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.5827 | μmol/L | 11.2301 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.551 | 159686.5986 | 302148.1922 | 59.9307 | 49.4
83809 | 2021-04-09 11:04 | 49.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.4987 | μmol/L | 11.2362 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.552 | 159680.1564 | 302147.878 | 59.9307 | 49.4
83818 | 2021-04-09 11:05 | 50.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.4399 | μmol/L | 11.2424 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.552 | 159669.8993 | 302101.2031 | 59.9307 | 49.4
83827 | 2021-04-09 11:05 | 50.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.3895 | μmol/L | 11.2424 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.554 | 159645.5837 | 302083.6301 | 59.9307 | 49.4
83836 | 2021-04-09 11:05 | 50.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.3728 | μmol/L | 11.2362 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 159643.5693 | 302077.2149 | 59.9307 | 49.4
83845 | 2021-04-09 11:06 | 51.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.2552 | μmol/L | 11.2486 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.557 | 159618.9976 | 302063.5761 | 59.9307 | 49.4
83854 | 2021-04-09 11:06 | 51.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.2216 | μmol/L | 11.2547 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.556 | 159621.5378 | 302060.312 | 59.9307 | 49.4
83863 | 2021-04-09 11:06 | 51.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.2888 | μmol/L | 11.2424 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.558 | 159595.1428 | 302030.4696 | 59.9307 | 49.4
83872 | 2021-04-09 11:07 | 52.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.2301 | μmol/L | 11.2486 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.558 | 159584.857 | 302002.2007 | 59.9307 | 49.4
83881 | 2021-04-09 11:07 | 52.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.2888 | μmol/L | 11.2424 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.558 | 159569.0636 | 301988.1388 | 59.9307 | 49.4
83890 | 2021-04-09 11:07 | 52.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.0958 | μmol/L | 11.2547 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.561 | 159559.3225 | 301982.3373 | 59.9307 | 49.4
83899 | 2021-04-09 11:08 | 53.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.9868 | μmol/L | 11.2609 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.563 | 159543.3249 | 301960.4086 | 59.9307 | 49.4
83908 | 2021-04-09 11:08 | 53.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 293.0204 | μmol/L | 11.2547 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.564 | 159550.0122 | 301950.7446 | 59.9307 | 49.4
83917 | 2021-04-09 11:08 | 53.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.9617 | μmol/L | 11.2609 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.564 | 159543.168 | 301932.2644 | 59.9307 | 49.4
83926 | 2021-04-09 11:09 | 54.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.9868 | μmol/L | 11.2609 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.563 | 159529.5249 | 301922.3136 | 59.9307 | 49.4
83935 | 2021-04-09 11:09 | 54.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.9114 | μmol/L | 11.2609 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.566 | 159517.6582 | 301900.5523 | 59.9307 | 49.4
83944 | 2021-04-09 11:09 | 54.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.903 | μmol/L | 11.267 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.564 | 159492.9844 | 301869.0192 | 59.9307 | 49.4
83953 | 2021-04-09 11:10 | 55.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.769 | μmol/L | 11.2732 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.567 | 159495.8874 | 301863.1792 | 59.9307 | 49.4
83962 | 2021-04-09 11:10 | 55.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.8276 | μmol/L | 11.267 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.567 | 159473.3812 | 301847.8167 | 59.9307 | 49.4
83971 | 2021-04-09 11:10 | 55.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.7523 | μmol/L | 11.267 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.57 | 159451.0173 | 301822.9651 | 59.9307 | 49.4
83980 | 2021-04-09 11:11 | 56.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.7523 | μmol/L | 11.267 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.57 | 159443.5568 | 301821.3045 | 59.9307 | 49.4
83989 | 2021-04-09 11:11 | 56.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.6936 | μmol/L | 11.2732 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.57 | 159417.9582 | 301791.2166 | 59.9307 | 49.4
83998 | 2021-04-09 11:11 | 56.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.6601 | μmol/L | 11.2793 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.569 | 159419.5794 | 301778.015 | 59.9307 | 49.4
84007 | 2021-04-09 11:12 | 57.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.6434 | μmol/L | 11.2732 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.572 | 159394.4049 | 301760.3387 | 59.9307 | 49.4
84016 | 2021-04-09 11:12 | 57.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.6434 | μmol/L | 11.2732 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.572 | 159380.888 | 301747.6982 | 59.9307 | 49.4
84025 | 2021-04-09 11:12 | 57.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.6099 | μmol/L | 11.2793 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.571 | 159363.4748 | 301743.4172 | 59.9307 | 49.4
84034 | 2021-04-09 11:13 | 58.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.5848 | μmol/L | 11.2793 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.572 | 159357.9738 | 301718.2122 | 59.9307 | 49.4
84043 | 2021-04-09 11:13 | 58.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.5346 | μmol/L | 11.2793 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.574 | 159337.6623 | 301686.6887 | 59.9307 | 49.4
84052 | 2021-04-09 11:13 | 58.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.5011 | μmol/L | 11.2855 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.573 | 159316.6309 | 301671.9539 | 59.9307 | 49.4
84061 | 2021-04-09 11:14 | 59.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.4175 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.574 | 159298.0213 | 301662.0285 | 59.9307 | 49.4
84070 | 2021-04-09 11:14 | 59.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.543 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.569 | 159293.4541 | 301650.7992 | 59.9307 | 49.4
84079 | 2021-04-09 11:14 | 59.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.3924 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.575 | 159287.4506 | 301636.7172 | 59.9307 | 49.4
84088 | 2021-04-09 11:15 | 60.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.4509 | μmol/L | 11.2855 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.575 | 159282.2367 | 301624.4835 | 59.9307 | 49.4
84097 | 2021-04-09 11:15 | 60.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.3924 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.575 | 159263.5931 | 301588.4139 | 59.9307 | 49.4
84106 | 2021-04-09 11:15 | 60.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.4175 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.574 | 159265.1743 | 301589.9419 | 59.9307 | 49.4
84115 | 2021-04-09 11:16 | 61.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.2336 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.579 | 159252.468 | 301575.8935 | 59.9307 | 49.4
84124 | 2021-04-09 11:16 | 61.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.2336 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.579 | 159239.2781 | 301553.0225 | 59.9307 | 49.4
84133 | 2021-04-09 11:16 | 61.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.267 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.58 | 159220.714 | 301534.9075 | 59.9307 | 49.4
84142 | 2021-04-09 11:17 | 62.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.2336 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.579 | 159213.2347 | 301514.8178 | 59.9307 | 49.4
84151 | 2021-04-09 11:17 | 62.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.2586 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.578 | 159195.6179 | 301492.2626 | 59.9307 | 49.4
84160 | 2021-04-09 11:17 | 62.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.1082 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.584 | 159189.0043 | 301492.8217 | 59.9307 | 49.4
84169 | 2021-04-09 11:18 | 63.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.0498 | μmol/L | 11.304 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.584 | 159181.5576 | 301479.1424 | 59.9307 | 49.4
84178 | 2021-04-09 11:18 | 63.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.0748 | μmol/L | 11.304 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.583 | 159170.2647 | 301476.9183 | 59.9307 | 49.4
84187 | 2021-04-09 11:18 | 63.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.0832 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.585 | 159165.0874 | 301463.2735 | 59.9307 | 49.4
84196 | 2021-04-09 11:19 | 64.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.9997 | μmol/L | 11.304 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.586 | 159143.916 | 301427.2298 | 59.9307 | 49.4
84205 | 2021-04-09 11:19 | 64.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 292.0414 | μmol/L | 11.3101 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.582 | 159142.7548 | 301425.555 | 59.9307 | 49.4
84214 | 2021-04-09 11:19 | 64.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.9162 | μmol/L | 11.3101 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.587 | 159129.1416 | 301406.3138 | 59.9307 | 49.4
84223 | 2021-04-09 11:20 | 65.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.9162 | μmol/L | 11.3101 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.587 | 159131.3689 | 301398.5354 | 59.9307 | 49.4
84232 | 2021-04-09 11:20 | 65.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.9245 | μmol/L | 11.304 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.589 | 159120.4617 | 301386.7957 | 59.9307 | 49.4
84241 | 2021-04-09 11:20 | 65.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.791 | μmol/L | 11.3101 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.592 | 159106.9032 | 301365.2302 | 59.9307 | 49.4
84250 | 2021-04-09 11:21 | 66.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.7576 | μmol/L | 11.3163 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.591 | 159104.2455 | 301364.7308 | 59.9307 | 49.4
84259 | 2021-04-09 11:21 | 66.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.6993 | μmol/L | 11.3224 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.591 | 159087.9123 | 301329.9657 | 59.9307 | 49.4
84268 | 2021-04-09 11:21 | 66.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.7076 | μmol/L | 11.3163 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.593 | 159075.9514 | 301335.9528 | 59.9307 | 49.4
84277 | 2021-04-09 11:22 | 67.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.8077 | μmol/L | 11.3163 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.589 | 159059.5259 | 301316.9638 | 59.9307 | 49.4
84286 | 2021-04-09 11:22 | 67.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.766 | μmol/L | 11.3101 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.593 | 159052.2309 | 301293.7043 | 59.9307 | 49.4
84295 | 2021-04-09 11:22 | 67.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.7076 | μmol/L | 11.3163 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.593 | 159050.8475 | 301288.8824 | 59.9307 | 49.4
84304 | 2021-04-09 11:23 | 68.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.6242 | μmol/L | 11.3224 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.594 | 159032.4273 | 301268.7928 | 59.9307 | 49.4
84313 | 2021-04-09 11:23 | 68.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.5909 | μmol/L | 11.3286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.593 | 159026.7333 | 301275.9601 | 59.9307 | 49.4
84322 | 2021-04-09 11:23 | 68.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.6325 | μmol/L | 11.3163 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.596 | 159022.3164 | 301240.713 | 59.9307 | 49.4
84331 | 2021-04-09 11:24 | 69.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.4908 | μmol/L | 11.3286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.597 | 159015.0216 | 301223.1 | 59.9307 | 49.4
84340 | 2021-04-09 11:24 | 69.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.4408 | μmol/L | 11.3286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.599 | 159009.4436 | 301220.8496 | 59.9307 | 49.4
84349 | 2021-04-09 11:24 | 69.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.4742 | μmol/L | 11.3224 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.6 | 159000.4866 | 301216.6616 | 59.9307 | 49.4
84358 | 2021-04-09 11:25 | 70.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.6075 | μmol/L | 11.3163 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.597 | 158983.2539 | 301177.9063 | 59.9307 | 49.4
84367 | 2021-04-09 11:25 | 70.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3909 | μmol/L | 11.3286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.601 | 158976.3863 | 301189.0302 | 59.9307 | 49.4
84376 | 2021-04-09 11:25 | 70.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.4159 | μmol/L | 11.3286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.6 | 158950.6978 | 301143.1991 | 59.9307 | 49.4
84385 | 2021-04-09 11:26 | 71.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3076 | μmol/L | 11.3348 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.602 | 158950.0871 | 301133.2918 | 59.9307 | 49.4
84394 | 2021-04-09 11:26 | 71.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3909 | μmol/L | 11.3286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.601 | 158938.7203 | 301134.2364 | 59.9307 | 49.4
84403 | 2021-04-09 11:26 | 71.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.2743 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.601 | 158938.6096 | 301118.2132 | 59.9307 | 49.4
84412 | 2021-04-09 11:27 | 72.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.2493 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.602 | 158922.1323 | 301101.0163 | 59.9307 | 49.4
84421 | 2021-04-09 11:27 | 72.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.3159 | μmol/L | 11.3286 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.604 | 158915.0383 | 301096.0492 | 59.9307 | 49.4
84430 | 2021-04-09 11:27 | 72.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.1328 | μmol/L | 11.3348 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.609 | 158912.6332 | 301091.5343 | 59.9307 | 49.4
84439 | 2021-04-09 11:28 | 73.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.1245 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.607 | 158899.0846 | 301076.4996 | 59.9307 | 49.4
84448 | 2021-04-09 11:28 | 73.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.1994 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.604 | 158897.7268 | 301052.063 | 59.9307 | 49.4
84457 | 2021-04-09 11:28 | 73.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.1827 | μmol/L | 11.3348 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.607 | 158894.7738 | 301037.5784 | 59.9307 | 49.4
84466 | 2021-04-09 11:29 | 74.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9997 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.612 | 158881.3556 | 301029.2137 | 59.9307 | 49.4
84475 | 2021-04-09 11:29 | 74.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.0163 | μmol/L | 11.3471 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.609 | 158884.0589 | 301034.7986 | 59.9307 | 49.4
84484 | 2021-04-09 11:29 | 74.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 291.0745 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.609 | 158865.5747 | 301014.152 | 59.9307 | 49.4
84493 | 2021-04-09 11:30 | 75.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9914 | μmol/L | 11.3471 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.61 | 158851.9223 | 300997.9642 | 59.9307 | 49.4
84502 | 2021-04-09 11:30 | 75.6658 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9332 | μmol/L | 11.3532 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.61 | 158844.6223 | 300989.6647 | 59.9307 | 49.4
84511 | 2021-04-09 11:30 | 75.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9997 | μmol/L | 11.3409 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.612 | 158834.1863 | 300969.2139 | 59.9307 | 49.4
84520 | 2021-04-09 11:31 | 76.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9664 | μmol/L | 11.3471 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.611 | 158840.7703 | 300972.3302 | 59.9307 | 49.4
84529 | 2021-04-09 11:31 | 76.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8833 | μmol/L | 11.3532 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.612 | 158822.76 | 300968.0012 | 59.9307 | 49.4
84538 | 2021-04-09 11:31 | 76.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9415 | μmol/L | 11.3471 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.612 | 158809.8195 | 300974.5134 | 59.9307 | 49.4
84547 | 2021-04-09 11:32 | 77.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8583 | μmol/L | 11.3532 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.613 | 158804.6043 | 300937.2788 | 59.9307 | 49.4
84556 | 2021-04-09 11:32 | 77.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.4182 | μmol/L | 11.3471 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.633 | 158966.602 | 300933.3515 | 59.9307 | 49.4
84565 | 2021-04-09 11:32 | 77.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.3916 | μmol/L | 11.3532 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.672 | 159225.2345 | 300902.4819 | 59.9307 | 49.4
84574 | 2021-04-09 11:33 | 78.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9292 | μmol/L | 11.3655 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.686 | 159340.3971 | 300903.8955 | 59.9307 | 49.4
84583 | 2021-04-09 11:33 | 78.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.682 | μmol/L | 11.3655 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.696 | 159402.4265 | 300891.6414 | 59.9307 | 49.4
84592 | 2021-04-09 11:33 | 78.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6162 | μmol/L | 11.3594 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.701 | 159445.9517 | 300893.4584 | 59.9307 | 49.4
84601 | 2021-04-09 11:34 | 79.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.5338 | μmol/L | 11.3655 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.702 | 159452.5612 | 300855.0285 | 59.9307 | 49.4
84610 | 2021-04-09 11:34 | 79.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.468 | μmol/L | 11.3594 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.707 | 159472.2957 | 300849.8531 | 59.9307 | 49.4
84619 | 2021-04-09 11:34 | 79.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3116 | μmol/L | 11.3655 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.711 | 159476.0863 | 300854.5867 | 59.9307 | 49.4
84628 | 2021-04-09 11:35 | 80.3326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3199 | μmol/L | 11.3594 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.713 | 159474.4383 | 300843.6578 | 59.9307 | 49.4
84637 | 2021-04-09 11:35 | 80.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.2046 | μmol/L | 11.3717 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.713 | 159482.3974 | 300832.8667 | 59.9307 | 49.4
84646 | 2021-04-09 11:35 | 80.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.2046 | μmol/L | 11.3717 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.713 | 159476.9926 | 300821.7957 | 59.9307 | 49.4
84655 | 2021-04-09 11:36 | 81.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1553 | μmol/L | 11.3717 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.715 | 159482.1245 | 300819.9719 | 59.9307 | 49.4
84664 | 2021-04-09 11:36 | 81.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1883 | μmol/L | 11.3655 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.716 | 159474.5293 | 300809.9 | 59.9307 | 49.4
84673 | 2021-04-09 11:36 | 81.9991 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.18 | μmol/L | 11.3717 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.714 | 159467.4502 | 300793.9434 | 59.9307 | 49.4
84682 | 2021-04-09 11:37 | 82.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1636 | μmol/L | 11.3655 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.717 | 159464.2354 | 300773.8998 | 59.9307 | 49.4
84691 | 2021-04-09 11:37 | 82.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9335 | μmol/L | 11.3717 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.724 | 159471.8308 | 300759.5964 | 59.9307 | 49.4
84700 | 2021-04-09 11:37 | 82.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.0074 | μmol/L | 11.3717 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.721 | 159462.1662 | 300758.4869 | 59.9307 | 49.4
84709 | 2021-04-09 11:38 | 83.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9498 | μmol/L | 11.3779 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.721 | 159464.5544 | 300740.7497 | 59.9307 | 49.4
84718 | 2021-04-09 11:38 | 83.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.0074 | μmol/L | 11.3717 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.721 | 159468.1936 | 300745.5717 | 59.9307 | 49.4
84727 | 2021-04-09 11:38 | 83.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8513 | μmol/L | 11.3779 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.725 | 159470.0126 | 300723.4694 | 59.9307 | 49.4
84736 | 2021-04-09 11:39 | 84.3325 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.7199 | μmol/L | 11.384 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.728 | 159457.7866 | 300718.0485 | 59.9307 | 49.4
84745 | 2021-04-09 11:39 | 84.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8266 | μmol/L | 11.3779 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.726 | 159457.5222 | 300705.1548 | 59.9307 | 49.4
84754 | 2021-04-09 11:39 | 84.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.646 | μmol/L | 11.384 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.731 | 159451.116 | 300692.2434 | 59.9307 | 49.4
84763 | 2021-04-09 11:40 | 85.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.6377 | μmol/L | 11.3902 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.729 | 159447.5141 | 300672.8281 | 59.9307 | 49.4
84772 | 2021-04-09 11:40 | 85.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.5885 | μmol/L | 11.3902 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.731 | 159444.7919 | 300662.0489 | 59.9307 | 49.4
84781 | 2021-04-09 11:40 | 85.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.6706 | μmol/L | 11.384 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 22.73 | 159592.8225 | 300662.0048 | 59.9307 | 49.4