## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 11:43

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
82460 | 2021-04-09 10:14 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.8915 | μmol/L | 10.2355 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.583 | 170653.1957 | 323260.4819 | 33.25 | 68.6
82469 | 2021-04-09 10:15 | 0.33726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.7975 | μmol/L | 10.2597 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.577 | 170591.5454 | 323264.9871 | 33.25 | 68.6
82478 | 2021-04-09 10:15 | 0.67032 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.8389 | μmol/L | 10.284 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.565 | 170324.1941 | 323222.5618 | 33.25 | 68.6
82487 | 2021-04-09 10:15 | 1.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.8145 | μmol/L | 10.2962 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.561 | 170228.7722 | 323169.6094 | 33.25 | 68.6
82496 | 2021-04-09 10:16 | 1.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.5958 | μmol/L | 10.3265 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.558 | 170153.018 | 323127.2114 | 33.25 | 68.6
82505 | 2021-04-09 10:16 | 1.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.5698 | μmol/L | 10.3508 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.549 | 170074.7085 | 323079.2989 | 33.25 | 68.6
82514 | 2021-04-09 10:16 | 2.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.5787 | μmol/L | 10.369 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.541 | 169996.9456 | 323038.2928 | 33.25 | 68.6
82523 | 2021-04-09 10:17 | 2.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.4176 | μmol/L | 10.3933 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.538 | 169911.3311 | 322997.7999 | 33.25 | 68.6
82532 | 2021-04-09 10:17 | 2.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.3469 | μmol/L | 10.4175 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.531 | 169830.058 | 322955.3143 | 33.25 | 68.6
82541 | 2021-04-09 10:17 | 3.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.368 | μmol/L | 10.4297 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.525 | 169747.7897 | 322887.2696 | 33.25 | 68.6
82550 | 2021-04-09 10:18 | 3.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.2524 | μmol/L | 10.454 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.52 | 169684.0598 | 322851.8718 | 33.25 | 68.6
82559 | 2021-04-09 10:18 | 3.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.1714 | μmol/L | 10.4722 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.516 | 169601.7575 | 322807.4903 | 33.25 | 68.6
82568 | 2021-04-09 10:18 | 4.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0785 | μmol/L | 10.4965 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.51 | 169528.5605 | 322750.5737 | 33.25 | 68.6
82577 | 2021-04-09 10:19 | 4.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0998 | μmol/L | 10.5086 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.504 | 169448.2339 | 322707.1365 | 33.25 | 68.6
82586 | 2021-04-09 10:19 | 4.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0641 | μmol/L | 10.5268 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.498 | 169366.5507 | 322663.3023 | 33.25 | 68.6
82595 | 2021-04-09 10:19 | 5.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.051 | μmol/L | 10.545 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.491 | 169279.5877 | 322613.9171 | 33.25 | 68.6
82604 | 2021-04-09 10:20 | 5.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.1518 | μmol/L | 10.5511 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.484 | 169197.5824 | 322573.0749 | 33.25 | 68.6
82613 | 2021-04-09 10:20 | 5.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0593 | μmol/L | 10.5754 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.478 | 169115.1839 | 322535.0487 | 33.25 | 68.6
82622 | 2021-04-09 10:20 | 6.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.012 | μmol/L | 10.5996 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.47 | 169029.9812 | 322485.3672 | 33.25 | 68.6
82631 | 2021-04-09 10:21 | 6.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0335 | μmol/L | 10.6118 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.464 | 168954.7036 | 322432.6798 | 33.25 | 68.6
82640 | 2021-04-09 10:21 | 6.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9531 | μmol/L | 10.63 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.46 | 168874.8744 | 322382.8739 | 33.25 | 68.6
82649 | 2021-04-09 10:21 | 7.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9404 | μmol/L | 10.6482 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.453 | 168801.9903 | 322344.7094 | 33.25 | 68.6
82658 | 2021-04-09 10:22 | 7.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7808 | μmol/L | 10.6725 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.45 | 168728.9694 | 322287.6018 | 33.25 | 68.6
82667 | 2021-04-09 10:22 | 7.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7232 | μmol/L | 10.6907 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.445 | 168645.3903 | 322232.4833 | 33.25 | 68.6
82676 | 2021-04-09 10:22 | 8.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.8016 | μmol/L | 10.6968 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.439 | 168569.9673 | 322185.1176 | 33.25 | 68.6
82685 | 2021-04-09 10:23 | 8.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7558 | μmol/L | 10.7089 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.436 | 168498.8887 | 322153.3359 | 33.25 | 68.6
82694 | 2021-04-09 10:23 | 8.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7775 | μmol/L | 10.721 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.43 | 168429.6026 | 322106.8426 | 33.25 | 68.6
82703 | 2021-04-09 10:23 | 9.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.8109 | μmol/L | 10.7271 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.426 | 168359.1508 | 322065.4228 | 33.25 | 68.6
82712 | 2021-04-09 10:24 | 9.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7309 | μmol/L | 10.7453 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.422 | 168284.2015 | 322032.027 | 33.25 | 68.6
82721 | 2021-04-09 10:24 | 9.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7637 | μmol/L | 10.7635 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.413 | 168201.4674 | 321982.9992 | 33.25 | 68.6
82730 | 2021-04-09 10:24 | 10.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.8313 | μmol/L | 10.7635 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.41 | 168132.1053 | 321937.1577 | 33.25 | 68.6
82739 | 2021-04-09 10:25 | 10.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7064 | μmol/L | 10.7817 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.408 | 168063.1529 | 321895.519 | 33.25 | 68.6
82748 | 2021-04-09 10:25 | 10.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6942 | μmol/L | 10.8 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.401 | 167997.0891 | 321846.7915 | 33.25 | 68.6
82757 | 2021-04-09 10:25 | 11.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6 | μmol/L | 10.8121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.4 | 167934.4912 | 321796.4857 | 33.25 | 68.6
82766 | 2021-04-09 10:26 | 11.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6481 | μmol/L | 10.8242 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.393 | 167875.6099 | 321749.5126 | 33.25 | 68.6
82775 | 2021-04-09 10:26 | 11.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.625 | μmol/L | 10.8364 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.389 | 167797.5187 | 321715.6195 | 33.25 | 68.6
82784 | 2021-04-09 10:26 | 12.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7262 | μmol/L | 10.8425 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.382 | 167733.5753 | 321675.6006 | 33.25 | 68.6
82793 | 2021-04-09 10:27 | 12.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5676 | μmol/L | 10.8667 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.379 | 167667.8312 | 321634.7068 | 33.25 | 68.6
82802 | 2021-04-09 10:27 | 12.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6467 | μmol/L | 10.8607 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.378 | 167600.6935 | 321588.7317 | 33.25 | 68.6
82811 | 2021-04-09 10:27 | 13.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6122 | μmol/L | 10.8789 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.372 | 167540.2092 | 321538.2567 | 33.25 | 68.6
82820 | 2021-04-09 10:28 | 13.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6573 | μmol/L | 10.8789 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.37 | 167481.4218 | 321507.4401 | 33.25 | 68.6
82829 | 2021-04-09 10:28 | 13.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.623 | μmol/L | 10.8971 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.364 | 167418.2967 | 321456.7773 | 33.25 | 68.6
82838 | 2021-04-09 10:28 | 14.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5289 | μmol/L | 10.9092 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.363 | 167351.3997 | 321410.5266 | 33.25 | 68.6
82847 | 2021-04-09 10:29 | 14.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4306 | μmol/L | 10.9274 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.36 | 167296.6178 | 321374.6945 | 33.25 | 68.6
82856 | 2021-04-09 10:29 | 14.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.577 | μmol/L | 10.9335 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.351 | 167219.0044 | 321331.347 | 33.25 | 68.6
82865 | 2021-04-09 10:29 | 15.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4076 | μmol/L | 10.9517 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.351 | 167147.497 | 321286.0569 | 33.25 | 68.6
82874 | 2021-04-09 10:30 | 15.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4489 | μmol/L | 10.9639 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.344 | 167086.4619 | 321245.1937 | 33.25 | 68.6
82883 | 2021-04-09 10:30 | 15.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4601 | μmol/L | 10.9699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.341 | 167031.5565 | 321198.7441 | 33.25 | 68.6
82892 | 2021-04-09 10:30 | 16.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4298 | μmol/L | 10.976 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.34 | 166979.917 | 321153.7276 | 33.25 | 68.6
82901 | 2021-04-09 10:31 | 16.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4148 | μmol/L | 10.9821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.338 | 166934.575 | 321128.1088 | 33.25 | 68.6
82910 | 2021-04-09 10:31 | 16.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4147 | μmol/L | 10.9942 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.333 | 166879.6892 | 321087.9608 | 33.25 | 68.6
82919 | 2021-04-09 10:31 | 17.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.3845 | μmol/L | 11.0003 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.332 | 166819.9484 | 321043.1466 | 33.25 | 68.6
82928 | 2021-04-09 10:32 | 17.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.2943 | μmol/L | 11.0124 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.331 | 166762.5385 | 320997.6576 | 33.25 | 68.6
82937 | 2021-04-09 10:32 | 17.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.3731 | μmol/L | 11.0185 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.325 | 166720.1167 | 320964.9617 | 33.25 | 68.6
82946 | 2021-04-09 10:32 | 18.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.3357 | μmol/L | 11.0246 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.324 | 166653.4 | 320916.8417 | 33.25 | 68.6
82955 | 2021-04-09 10:33 | 18.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.3506 | μmol/L | 11.0306 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.321 | 166604.5089 | 320879.1284 | 33.25 | 68.6
82964 | 2021-04-09 10:33 | 18.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.3469 | μmol/L | 11.0428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.316 | 166537.2871 | 320858.7653 | 33.25 | 68.6
82973 | 2021-04-09 10:33 | 19.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4596 | μmol/L | 11.0428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.311 | 166478.1068 | 320800.2874 | 33.25 | 68.6
82982 | 2021-04-09 10:34 | 19.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4484 | μmol/L | 11.0489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.309 | 166431.0348 | 320775.9226 | 33.25 | 68.6
82991 | 2021-04-09 10:34 | 19.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4371 | μmol/L | 11.0549 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.307 | 166372.0867 | 320732.7874 | 33.25 | 68.6
83000 | 2021-04-09 10:34 | 20.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4033 | μmol/L | 11.061 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.306 | 166319.5635 | 320674.0804 | 33.25 | 68.6
83009 | 2021-04-09 10:35 | 20.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4146 | μmol/L | 11.0671 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.303 | 166273.5954 | 320658.9908 | 33.25 | 68.6
83018 | 2021-04-09 10:35 | 20.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4522 | μmol/L | 11.0731 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.299 | 166216.9463 | 320610.0413 | 33.25 | 68.6
83027 | 2021-04-09 10:35 | 21.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.505 | μmol/L | 11.0792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.294 | 166171.6758 | 320578.8749 | 33.25 | 68.6
83036 | 2021-04-09 10:36 | 21.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.3698 | μmol/L | 11.0913 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.295 | 166110.5303 | 320544.2376 | 33.25 | 68.6
83045 | 2021-04-09 10:36 | 21.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.3848 | μmol/L | 11.0974 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.292 | 166058.0558 | 320495.5382 | 33.25 | 68.6
83054 | 2021-04-09 10:36 | 22.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.3474 | μmol/L | 11.1035 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.291 | 166002.5771 | 320459.3794 | 33.25 | 68.6
83063 | 2021-04-09 10:37 | 22.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.325 | μmol/L | 11.1156 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.287 | 165952.1614 | 320433.3085 | 33.25 | 68.6
83072 | 2021-04-09 10:37 | 22.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4603 | μmol/L | 11.1156 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.281 | 165893.2385 | 320396.9383 | 33.25 | 68.6
83081 | 2021-04-09 10:37 | 23.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5169 | μmol/L | 11.1217 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.276 | 165829.9983 | 320352.6138 | 33.25 | 68.6
83090 | 2021-04-09 10:38 | 23.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4945 | μmol/L | 11.1338 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.272 | 165763.9081 | 320313.9248 | 33.25 | 68.6
83099 | 2021-04-09 10:38 | 23.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4756 | μmol/L | 11.1338 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.273 | 165707.3239 | 320269.8518 | 33.25 | 68.6
83108 | 2021-04-09 10:38 | 24.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4497 | μmol/L | 11.146 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.269 | 165662.5193 | 320236.6077 | 33.25 | 68.6
83117 | 2021-04-09 10:39 | 24.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4948 | μmol/L | 11.146 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.267 | 165610.6723 | 320197.4216 | 33.25 | 68.6
83126 | 2021-04-09 10:39 | 24.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5514 | μmol/L | 11.1521 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.262 | 165566.2593 | 320163.359 | 33.25 | 68.6
83135 | 2021-04-09 10:39 | 25.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5213 | μmol/L | 11.1581 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.261 | 165512.9027 | 320124.704 | 33.25 | 68.6
83144 | 2021-04-09 10:40 | 25.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5439 | μmol/L | 11.1581 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.26 | 165464.4434 | 320088.0579 | 33.25 | 68.6
83153 | 2021-04-09 10:40 | 25.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5291 | μmol/L | 11.1642 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.258 | 165412.7552 | 320063.7292 | 33.25 | 68.6
83162 | 2021-04-09 10:40 | 26.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.518 | μmol/L | 11.1703 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.256 | 165370.7384 | 320026.413 | 33.25 | 68.6
83171 | 2021-04-09 10:41 | 26.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5521 | μmol/L | 11.1763 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.252 | 165313.4569 | 319973.1921 | 33.25 | 68.6
83180 | 2021-04-09 10:41 | 26.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5069 | μmol/L | 11.1763 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.254 | 165276.9153 | 319940.9153 | 33.25 | 68.6
83189 | 2021-04-09 10:41 | 27.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5861 | μmol/L | 11.1824 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.248 | 165229.6012 | 319920.2089 | 33.25 | 68.6
83198 | 2021-04-09 10:42 | 27.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.575 | μmol/L | 11.1885 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.246 | 165182.0975 | 319889.4249 | 33.25 | 68.6
83207 | 2021-04-09 10:42 | 27.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5902 | μmol/L | 11.1946 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.243 | 165133.8467 | 319853.5488 | 33.25 | 68.6
83216 | 2021-04-09 10:42 | 28.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.5755 | μmol/L | 11.2006 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.241 | 165078.8484 | 319815.0709 | 33.25 | 68.6
83225 | 2021-04-09 10:43 | 28.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6096 | μmol/L | 11.2067 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.237 | 165029.2737 | 319783.837 | 33.25 | 68.6
83234 | 2021-04-09 10:43 | 28.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.4971 | μmol/L | 11.2188 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.237 | 164994.8866 | 319763.1423 | 33.25 | 68.6
83243 | 2021-04-09 10:43 | 29.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6999 | μmol/L | 11.2067 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.233 | 164931.2941 | 319738.7141 | 33.25 | 68.6
83252 | 2021-04-09 10:44 | 29.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.61 | μmol/L | 11.2188 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.232 | 164884.6032 | 319685.2707 | 33.25 | 68.6
83261 | 2021-04-09 10:44 | 29.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6216 | μmol/L | 11.2249 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.229 | 164826.2686 | 319637.8535 | 33.25 | 68.6
83270 | 2021-04-09 10:44 | 30.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7572 | μmol/L | 11.2249 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.223 | 164780.9581 | 319614.8749 | 33.25 | 68.6
83279 | 2021-04-09 10:45 | 30.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7235 | μmol/L | 11.231 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.222 | 164739.737 | 319594.1427 | 33.25 | 68.6
83288 | 2021-04-09 10:45 | 30.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6673 | μmol/L | 11.2371 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.222 | 164692.1202 | 319543.5455 | 33.25 | 68.6
83297 | 2021-04-09 10:45 | 31.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7577 | μmol/L | 11.2371 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.218 | 164642.4935 | 319513.6073 | 33.25 | 68.6
83306 | 2021-04-09 10:46 | 31.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6678 | μmol/L | 11.2492 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.217 | 164612.8017 | 319487.8241 | 33.25 | 68.6
83315 | 2021-04-09 10:46 | 31.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7241 | μmol/L | 11.2431 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.217 | 164566.1897 | 319458.0795 | 33.25 | 68.6
83324 | 2021-04-09 10:46 | 32.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6678 | μmol/L | 11.2492 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.217 | 164526.5316 | 319420.6279 | 33.25 | 68.6
83333 | 2021-04-09 10:47 | 32.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7357 | μmol/L | 11.2492 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.214 | 164476.7398 | 319382.6471 | 33.25 | 68.6
83342 | 2021-04-09 10:47 | 32.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.702 | μmol/L | 11.2553 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.213 | 164439.3521 | 319350.0138 | 33.25 | 68.6
83351 | 2021-04-09 10:47 | 33.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7136 | μmol/L | 11.2613 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.21 | 164395.4622 | 319324.1664 | 33.25 | 68.6
83360 | 2021-04-09 10:48 | 33.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.68 | μmol/L | 11.2674 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.209 | 164362.5155 | 319301.0199 | 33.25 | 68.6
83369 | 2021-04-09 10:48 | 33.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.6348 | μmol/L | 11.2674 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.211 | 164311.6219 | 319266.7146 | 33.25 | 68.6
83378 | 2021-04-09 10:48 | 34.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7479 | μmol/L | 11.2674 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.206 | 164274.5415 | 319235.245 | 33.25 | 68.6
83387 | 2021-04-09 10:49 | 34.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.669 | μmol/L | 11.2735 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.207 | 164221.7765 | 319208.5152 | 33.25 | 68.6
83396 | 2021-04-09 10:49 | 34.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.7485 | μmol/L | 11.2796 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.201 | 164184.6644 | 319184.3442 | 33.25 | 68.6
83405 | 2021-04-09 10:49 | 35.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.8163 | μmol/L | 11.2796 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.198 | 164132.8237 | 319149.2916 | 33.25 | 68.6
83414 | 2021-04-09 10:50 | 35.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9069 | μmol/L | 11.2796 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.194 | 164084.0697 | 319117.167 | 33.25 | 68.6
83423 | 2021-04-09 10:50 | 35.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9411 | μmol/L | 11.2856 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.19 | 164043.2546 | 319077.9124 | 33.25 | 68.6
83432 | 2021-04-09 10:50 | 36.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9075 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.189 | 163995.9255 | 319041.6663 | 33.25 | 68.6
83441 | 2021-04-09 10:51 | 36.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.8287 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.19 | 163951.0962 | 319020.8124 | 33.25 | 68.6
83450 | 2021-04-09 10:51 | 36.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9871 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.183 | 163909.5915 | 318984.7069 | 33.25 | 68.6
83459 | 2021-04-09 10:51 | 37.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0207 | μmol/L | 11.2917 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.184 | 163863.1008 | 318959.0637 | 33.25 | 68.6
83468 | 2021-04-09 10:52 | 37.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0215 | μmol/L | 11.3038 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.179 | 163820.8595 | 318927.1647 | 33.25 | 68.6
83477 | 2021-04-09 10:52 | 37.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0777 | μmol/L | 11.2978 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.179 | 163778.5367 | 318899.6105 | 33.25 | 68.6
83486 | 2021-04-09 10:52 | 38.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0332 | μmol/L | 11.3099 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.176 | 163741.0897 | 318880.3448 | 33.25 | 68.6
83495 | 2021-04-09 10:53 | 38.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9879 | μmol/L | 11.3099 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.178 | 163703.2229 | 318837.5389 | 33.25 | 68.6
83504 | 2021-04-09 10:53 | 38.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0222 | μmol/L | 11.316 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.174 | 163671.4576 | 318806.3249 | 33.25 | 68.6
83513 | 2021-04-09 10:53 | 39.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.8645 | μmol/L | 11.3281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.176 | 163641.7376 | 318793.8657 | 33.25 | 68.6
83522 | 2021-04-09 10:54 | 39.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9886 | μmol/L | 11.3221 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.173 | 163599.0637 | 318755.3085 | 33.25 | 68.6
83531 | 2021-04-09 10:54 | 39.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9886 | μmol/L | 11.3221 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.173 | 163566.7537 | 318738.8574 | 33.25 | 68.6
83540 | 2021-04-09 10:54 | 40.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 275.9324 | μmol/L | 11.3281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.173 | 163531.5493 | 318703.248 | 33.25 | 68.6
83549 | 2021-04-09 10:55 | 40.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0003 | μmol/L | 11.3281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.17 | 163493.329 | 318666.651 | 33.25 | 68.6
83558 | 2021-04-09 10:55 | 40.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0683 | μmol/L | 11.3281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.167 | 163448.2171 | 318635.5326 | 33.25 | 68.6
83567 | 2021-04-09 10:55 | 41.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0121 | μmol/L | 11.3342 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.167 | 163403.1183 | 318606.3362 | 33.25 | 68.6
83576 | 2021-04-09 10:56 | 41.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0121 | μmol/L | 11.3342 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.167 | 163364.7656 | 318586.337 | 33.25 | 68.6
83585 | 2021-04-09 10:56 | 41.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.1816 | μmol/L | 11.3281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.162 | 163340.3826 | 318568.0378 | 33.25 | 68.6
83594 | 2021-04-09 10:56 | 42.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.1824 | μmol/L | 11.3403 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.157 | 163292.4259 | 318538.9381 | 33.25 | 68.6
83603 | 2021-04-09 10:57 | 42.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.0355 | μmol/L | 11.3463 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.161 | 163253.9506 | 318499.0231 | 33.25 | 68.6
83612 | 2021-04-09 10:57 | 42.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.1824 | μmol/L | 11.3403 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.157 | 163209.1519 | 318484.757 | 33.25 | 68.6
83621 | 2021-04-09 10:57 | 43.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.2169 | μmol/L | 11.3463 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.153 | 163161.7693 | 318445.2571 | 33.25 | 68.6
83630 | 2021-04-09 10:58 | 43.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.2395 | μmol/L | 11.3463 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.152 | 163114.4151 | 318425.6781 | 33.25 | 68.6
83639 | 2021-04-09 10:58 | 43.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.2513 | μmol/L | 11.3524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.149 | 163080.8743 | 318394.8317 | 33.25 | 68.6
83648 | 2021-04-09 10:58 | 44.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.342 | μmol/L | 11.3524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.145 | 163043.34 | 318380.0244 | 33.25 | 68.6
83657 | 2021-04-09 10:59 | 44.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.1951 | μmol/L | 11.3585 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.149 | 163005.85 | 318358.9834 | 33.25 | 68.6
83666 | 2021-04-09 10:59 | 44.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.3874 | μmol/L | 11.3524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.143 | 162965.4302 | 318320.0163 | 33.25 | 68.6
83675 | 2021-04-09 10:59 | 45.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.5345 | μmol/L | 11.3463 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.139 | 162928.161 | 318291.6269 | 33.25 | 68.6
83684 | 2021-04-09 11:00 | 45.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.3992 | μmol/L | 11.3585 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.14 | 162887.5429 | 318268.1092 | 33.25 | 68.6
83693 | 2021-04-09 11:00 | 45.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.3656 | μmol/L | 11.3646 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.139 | 162853.9114 | 318232.942 | 33.25 | 68.6
83702 | 2021-04-09 11:00 | 46.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.3547 | μmol/L | 11.3706 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.137 | 162820.9958 | 318227.8273 | 33.25 | 68.6
83711 | 2021-04-09 11:01 | 46.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.4228 | μmol/L | 11.3706 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.134 | 162767.0515 | 318190.0904 | 33.25 | 68.6
83720 | 2021-04-09 11:01 | 46.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.4909 | μmol/L | 11.3706 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.131 | 162739.7698 | 318162.6938 | 33.25 | 68.6
83729 | 2021-04-09 11:01 | 47.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.6381 | μmol/L | 11.3646 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.127 | 162705.1602 | 318141.3325 | 33.25 | 68.6
83738 | 2021-04-09 11:02 | 47.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.5591 | μmol/L | 11.3706 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.128 | 162670.7369 | 318115.8176 | 33.25 | 68.6
83747 | 2021-04-09 11:02 | 47.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.5709 | μmol/L | 11.3767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.125 | 162635.21 | 318088.5789 | 33.25 | 68.6
83756 | 2021-04-09 11:02 | 48.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.5482 | μmol/L | 11.3767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.126 | 162610.2527 | 318076.4444 | 33.25 | 68.6
83765 | 2021-04-09 11:03 | 48.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.4801 | μmol/L | 11.3767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.129 | 162578.6293 | 318053.8237 | 33.25 | 68.6
83774 | 2021-04-09 11:03 | 48.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.5709 | μmol/L | 11.3767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.125 | 162549.319 | 318015.4224 | 33.25 | 68.6
83783 | 2021-04-09 11:03 | 49.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.56 | μmol/L | 11.3828 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.123 | 162513.4934 | 317996.3222 | 33.25 | 68.6
83792 | 2021-04-09 11:04 | 49.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.5936 | μmol/L | 11.3767 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.124 | 162484.0341 | 317968.8744 | 33.25 | 68.6
83801 | 2021-04-09 11:04 | 49.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.6055 | μmol/L | 11.3828 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.121 | 162449.985 | 317941.7595 | 33.25 | 68.6
83810 | 2021-04-09 11:04 | 50.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.6055 | μmol/L | 11.3828 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.121 | 162424.3803 | 317921.1852 | 33.25 | 68.6
83819 | 2021-04-09 11:05 | 50.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.561 | μmol/L | 11.3949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.118 | 162384.711 | 317897.6471 | 33.25 | 68.6
83828 | 2021-04-09 11:05 | 50.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.5383 | μmol/L | 11.3949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.119 | 162354.8038 | 317869.2131 | 33.25 | 68.6
83837 | 2021-04-09 11:05 | 51.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.7082 | μmol/L | 11.3888 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.114 | 162317.5279 | 317845.8636 | 33.25 | 68.6
83846 | 2021-04-09 11:06 | 51.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.7082 | μmol/L | 11.3888 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.114 | 162286.3417 | 317829.315 | 33.25 | 68.6
83855 | 2021-04-09 11:06 | 51.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.7428 | μmol/L | 11.3949 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.11 | 162254.4735 | 317811.0212 | 33.25 | 68.6
83864 | 2021-04-09 11:06 | 52.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.6865 | μmol/L | 11.401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.11 | 162228.6053 | 317802.8308 | 33.25 | 68.6
83873 | 2021-04-09 11:07 | 52.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.6075 | μmol/L | 11.4071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.111 | 162190.4261 | 317769.7639 | 33.25 | 68.6
83882 | 2021-04-09 11:07 | 52.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.732 | μmol/L | 11.401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.108 | 162154.0229 | 317741.51 | 33.25 | 68.6
83891 | 2021-04-09 11:07 | 53.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.7666 | μmol/L | 11.4071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.104 | 162124.1236 | 317714.991 | 33.25 | 68.6
83900 | 2021-04-09 11:08 | 53.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.8002 | μmol/L | 11.401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.105 | 162088.8822 | 317686.6629 | 33.25 | 68.6
83909 | 2021-04-09 11:08 | 53.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.8457 | μmol/L | 11.401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.103 | 162072.0234 | 317680.6151 | 33.25 | 68.6
83918 | 2021-04-09 11:08 | 54.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.7893 | μmol/L | 11.4071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.103 | 162020.7218 | 317645.0776 | 33.25 | 68.6
83927 | 2021-04-09 11:09 | 54.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.7439 | μmol/L | 11.4071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.105 | 162003.9894 | 317631.6063 | 33.25 | 68.6
83936 | 2021-04-09 11:09 | 54.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.8803 | μmol/L | 11.4071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.099 | 161971.9792 | 317603.7919 | 33.25 | 68.6
83945 | 2021-04-09 11:09 | 55.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.9258 | μmol/L | 11.4071 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.097 | 161945.1296 | 317579.397 | 33.25 | 68.6
83954 | 2021-04-09 11:10 | 55.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.8467 | μmol/L | 11.4131 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.098 | 161912.8627 | 317538.8499 | 33.25 | 68.6
83963 | 2021-04-09 11:10 | 55.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.915 | μmol/L | 11.4131 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.095 | 161883.2081 | 317529.5675 | 33.25 | 68.6
83972 | 2021-04-09 11:10 | 56.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.8132 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.097 | 161860.1667 | 317503.9952 | 33.25 | 68.6
83981 | 2021-04-09 11:11 | 56.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.8359 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.096 | 161831.8645 | 317503.9192 | 33.25 | 68.6
83990 | 2021-04-09 11:11 | 56.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.8023 | μmol/L | 11.4253 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.095 | 161809.6682 | 317462.2184 | 33.25 | 68.6
83999 | 2021-04-09 11:11 | 57.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.9269 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.092 | 161783.1736 | 317446.8704 | 33.25 | 68.6
84008 | 2021-04-09 11:12 | 57.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.9042 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.093 | 161744.7172 | 317422.4351 | 33.25 | 68.6
84017 | 2021-04-09 11:12 | 57.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.9042 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.093 | 161729.4126 | 317406.6457 | 33.25 | 68.6
84026 | 2021-04-09 11:12 | 58.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.9269 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.092 | 161702.6679 | 317388.5829 | 33.25 | 68.6
84035 | 2021-04-09 11:13 | 58.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.7915 | μmol/L | 11.4313 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.093 | 161678.7432 | 317370.8182 | 33.25 | 68.6
84044 | 2021-04-09 11:13 | 58.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.9388 | μmol/L | 11.4253 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.089 | 161652.9729 | 317340.2952 | 33.25 | 68.6
84053 | 2021-04-09 11:13 | 59.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.0635 | μmol/L | 11.4192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.086 | 161625.9842 | 317317.3258 | 33.25 | 68.6
84062 | 2021-04-09 11:14 | 59.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.9508 | μmol/L | 11.4313 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.086 | 161592.1299 | 317298.708 | 33.25 | 68.6
84071 | 2021-04-09 11:14 | 59.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.9736 | μmol/L | 11.4313 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.085 | 161559.0298 | 317277.152 | 33.25 | 68.6
84080 | 2021-04-09 11:14 | 60.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.0646 | μmol/L | 11.4313 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.081 | 161535.3793 | 317264.1168 | 33.25 | 68.6
84089 | 2021-04-09 11:15 | 60.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.9628 | μmol/L | 11.4374 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.083 | 161488.4668 | 317224.287 | 33.25 | 68.6
84098 | 2021-04-09 11:15 | 60.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.0646 | μmol/L | 11.4313 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.081 | 161471.3759 | 317214.4279 | 33.25 | 68.6
84107 | 2021-04-09 11:15 | 61.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.0874 | μmol/L | 11.4313 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.08 | 161435.2537 | 317182.7535 | 33.25 | 68.6
84116 | 2021-04-09 11:16 | 61.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.0538 | μmol/L | 11.4374 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.079 | 161406.9651 | 317170.4421 | 33.25 | 68.6
84125 | 2021-04-09 11:16 | 61.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.0202 | μmol/L | 11.4435 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.078 | 161388.8912 | 317144.7167 | 33.25 | 68.6
84134 | 2021-04-09 11:16 | 62.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1221 | μmol/L | 11.4374 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.076 | 161358.7739 | 317140.7033 | 33.25 | 68.6
84143 | 2021-04-09 11:17 | 62.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1905 | μmol/L | 11.4374 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.073 | 161329.5628 | 317092.3789 | 33.25 | 68.6
84152 | 2021-04-09 11:17 | 62.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1113 | μmol/L | 11.4435 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.074 | 161295.9769 | 317079.4051 | 33.25 | 68.6
84161 | 2021-04-09 11:17 | 63.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.0778 | μmol/L | 11.4496 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.073 | 161278.0418 | 317062.2609 | 33.25 | 68.6
84170 | 2021-04-09 11:18 | 63.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1689 | μmol/L | 11.4496 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.069 | 161240.2665 | 317042.6477 | 33.25 | 68.6
84179 | 2021-04-09 11:18 | 63.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1233 | μmol/L | 11.4496 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.071 | 161224.8281 | 317043.3037 | 33.25 | 68.6
84188 | 2021-04-09 11:18 | 64.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1353 | μmol/L | 11.4556 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.068 | 161197.5893 | 317007.9919 | 33.25 | 68.6
84197 | 2021-04-09 11:19 | 64.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 276.9651 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.073 | 161177.888 | 316998.3731 | 33.25 | 68.6
84206 | 2021-04-09 11:19 | 64.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.0562 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.069 | 161163.3063 | 316977.0096 | 33.25 | 68.6
84215 | 2021-04-09 11:19 | 65.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.0107 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.071 | 161132.0896 | 316944.6306 | 33.25 | 68.6
84224 | 2021-04-09 11:20 | 65.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.0562 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.069 | 161110.1574 | 316932.1609 | 33.25 | 68.6
84233 | 2021-04-09 11:20 | 65.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1581 | μmol/L | 11.4556 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.067 | 161090.1258 | 316922.7569 | 33.25 | 68.6
84242 | 2021-04-09 11:20 | 66.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1245 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.066 | 161064.8673 | 316907.5332 | 33.25 | 68.6
84251 | 2021-04-09 11:21 | 66.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1701 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.064 | 161039.0866 | 316885.2774 | 33.25 | 68.6
84260 | 2021-04-09 11:21 | 66.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1473 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.065 | 161021.0806 | 316864.9263 | 33.25 | 68.6
84269 | 2021-04-09 11:21 | 67.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.091 | μmol/L | 11.4678 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.065 | 160992.3357 | 316837.7469 | 33.25 | 68.6
84278 | 2021-04-09 11:22 | 67.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1366 | μmol/L | 11.4678 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.063 | 160968.3118 | 316820.6377 | 33.25 | 68.6
84287 | 2021-04-09 11:22 | 67.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.2157 | μmol/L | 11.4617 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.062 | 160943.3143 | 316795.6962 | 33.25 | 68.6
84296 | 2021-04-09 11:22 | 68.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1593 | μmol/L | 11.4678 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.062 | 160930.1876 | 316790.0961 | 33.25 | 68.6
84305 | 2021-04-09 11:23 | 68.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1821 | μmol/L | 11.4678 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.061 | 160895.089 | 316766.1763 | 33.25 | 68.6
84314 | 2021-04-09 11:23 | 68.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.1714 | μmol/L | 11.4738 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.059 | 160876.2962 | 316759.0944 | 33.25 | 68.6
84323 | 2021-04-09 11:23 | 69.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.2505 | μmol/L | 11.4678 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.058 | 160836.8941 | 316732.0017 | 33.25 | 68.6
84332 | 2021-04-09 11:24 | 69.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.2397 | μmol/L | 11.4738 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.056 | 160810.3433 | 316717.508 | 33.25 | 68.6
84341 | 2021-04-09 11:24 | 69.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.229 | μmol/L | 11.4799 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.054 | 160779.583 | 316700.2694 | 33.25 | 68.6
84350 | 2021-04-09 11:24 | 70.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3309 | μmol/L | 11.4738 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.052 | 160765.9473 | 316679.5982 | 33.25 | 68.6
84359 | 2021-04-09 11:25 | 70.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3081 | μmol/L | 11.4738 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.053 | 160740.0758 | 316651.2609 | 33.25 | 68.6
84368 | 2021-04-09 11:25 | 70.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.343 | μmol/L | 11.4799 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.049 | 160702.5411 | 316630.1657 | 33.25 | 68.6
84377 | 2021-04-09 11:25 | 71.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3537 | μmol/L | 11.4738 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.051 | 160691.8397 | 316632.7515 | 33.25 | 68.6
84386 | 2021-04-09 11:26 | 71.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3766 | μmol/L | 11.4738 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.05 | 160658.0987 | 316603.7037 | 33.25 | 68.6
84395 | 2021-04-09 11:26 | 71.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.2866 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.049 | 160632.537 | 316580.3523 | 33.25 | 68.6
84404 | 2021-04-09 11:26 | 72.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.4007 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.044 | 160614.0975 | 316578.9572 | 33.25 | 68.6
84413 | 2021-04-09 11:27 | 72.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3094 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.048 | 160596.0486 | 316553.4767 | 33.25 | 68.6
84422 | 2021-04-09 11:27 | 72.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3322 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.047 | 160577.1705 | 316535.8479 | 33.25 | 68.6
84431 | 2021-04-09 11:27 | 73.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.4571 | μmol/L | 11.4799 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.044 | 160551.2108 | 316520.8001 | 33.25 | 68.6
84440 | 2021-04-09 11:28 | 73.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5027 | μmol/L | 11.4799 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.042 | 160521.8764 | 316501.6248 | 33.25 | 68.6
84449 | 2021-04-09 11:28 | 73.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.4235 | μmol/L | 11.486 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.043 | 160501.3937 | 316491.468 | 33.25 | 68.6
84458 | 2021-04-09 11:28 | 74.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3671 | μmol/L | 11.4921 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.043 | 160493.2273 | 316472.41 | 33.25 | 68.6
84467 | 2021-04-09 11:29 | 74.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.4127 | μmol/L | 11.4921 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.041 | 160469.7965 | 316459.3563 | 33.25 | 68.6
84476 | 2021-04-09 11:29 | 74.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3671 | μmol/L | 11.4921 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.043 | 160456.6838 | 316455.8532 | 33.25 | 68.6
84485 | 2021-04-09 11:29 | 75.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3564 | μmol/L | 11.4981 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.041 | 160440.4168 | 316435.4442 | 33.25 | 68.6
84494 | 2021-04-09 11:30 | 75.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.402 | μmol/L | 11.4981 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.039 | 160401.7913 | 316401.1153 | 33.25 | 68.6
84503 | 2021-04-09 11:30 | 75.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.4812 | μmol/L | 11.4921 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.038 | 160386.9685 | 316380.7924 | 33.25 | 68.6
84512 | 2021-04-09 11:30 | 76.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3792 | μmol/L | 11.4981 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.04 | 160365.6894 | 316374.7998 | 33.25 | 68.6
84521 | 2021-04-09 11:31 | 76.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.402 | μmol/L | 11.4981 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.039 | 160348.6739 | 316357.8958 | 33.25 | 68.6
84530 | 2021-04-09 11:31 | 76.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.4141 | μmol/L | 11.5042 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.036 | 160334.7828 | 316351.169 | 33.25 | 68.6
84539 | 2021-04-09 11:31 | 77.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3578 | μmol/L | 11.5103 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.036 | 160324.4952 | 316333.658 | 33.25 | 68.6
84548 | 2021-04-09 11:32 | 77.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.4476 | μmol/L | 11.4981 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.037 | 160297.7787 | 316310.4503 | 33.25 | 68.6
84557 | 2021-04-09 11:32 | 77.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3685 | μmol/L | 11.5042 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.038 | 160280.3813 | 316296.3275 | 33.25 | 68.6
84566 | 2021-04-09 11:32 | 78.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.3913 | μmol/L | 11.5042 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.037 | 160258.2064 | 316289.0751 | 33.25 | 68.6
84575 | 2021-04-09 11:33 | 78.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.4141 | μmol/L | 11.5042 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.036 | 160235.8161 | 316280.3272 | 33.25 | 68.6
84584 | 2021-04-09 11:33 | 78.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5054 | μmol/L | 11.5042 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.032 | 160211.1538 | 316249.0143 | 33.25 | 68.6
84593 | 2021-04-09 11:33 | 79.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5161 | μmol/L | 11.4981 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.034 | 160199.6393 | 316253.9187 | 33.25 | 68.6
84602 | 2021-04-09 11:34 | 79.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5054 | μmol/L | 11.5042 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.032 | 160167.9394 | 316237.5103 | 33.25 | 68.6
84611 | 2021-04-09 11:34 | 79.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5282 | μmol/L | 11.5042 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.031 | 160145.847 | 316214.0038 | 33.25 | 68.6
84620 | 2021-04-09 11:34 | 80.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5403 | μmol/L | 11.5103 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.028 | 160121.7806 | 316184.7629 | 33.25 | 68.6
84629 | 2021-04-09 11:35 | 80.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5632 | μmol/L | 11.5103 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.027 | 160109.6019 | 316182.6338 | 33.25 | 68.6
84638 | 2021-04-09 11:35 | 80.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.484 | μmol/L | 11.5163 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.028 | 160077.5835 | 316165.447 | 33.25 | 68.6
84647 | 2021-04-09 11:35 | 81.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.6088 | μmol/L | 11.5103 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.025 | 160061.8752 | 316156.3385 | 33.25 | 68.6
84656 | 2021-04-09 11:36 | 81.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.586 | μmol/L | 11.5103 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.026 | 160034.4342 | 316135.1311 | 33.25 | 68.6
84665 | 2021-04-09 11:36 | 81.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.6317 | μmol/L | 11.5103 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.024 | 160023.3604 | 316109.6637 | 33.25 | 68.6
84674 | 2021-04-09 11:36 | 82.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5981 | μmol/L | 11.5163 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.023 | 160017.9591 | 316111.2488 | 33.25 | 68.6
84683 | 2021-04-09 11:37 | 82.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.6773 | μmol/L | 11.5103 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.022 | 159987.1946 | 316099.5765 | 33.25 | 68.6
84692 | 2021-04-09 11:37 | 82.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5189 | μmol/L | 11.5224 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.024 | 159969.2517 | 316082.1235 | 33.25 | 68.6
84701 | 2021-04-09 11:37 | 83.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5981 | μmol/L | 11.5163 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.023 | 159957.2329 | 316062.3708 | 33.25 | 68.6
84710 | 2021-04-09 11:38 | 83.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5981 | μmol/L | 11.5163 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.023 | 159938.1813 | 316049.6706 | 33.25 | 68.6
84719 | 2021-04-09 11:38 | 83.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5646 | μmol/L | 11.5224 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.022 | 159920.3867 | 316040.0706 | 33.25 | 68.6
84728 | 2021-04-09 11:38 | 84.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.621 | μmol/L | 11.5163 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.022 | 159899.6456 | 316013.2608 | 33.25 | 68.6
84737 | 2021-04-09 11:39 | 84.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.5874 | μmol/L | 11.5224 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.021 | 159880.7994 | 315997.941 | 33.25 | 68.6
84746 | 2021-04-09 11:39 | 84.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.6438 | μmol/L | 11.5163 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.021 | 159864.63 | 315989.3024 | 33.25 | 68.6
84755 | 2021-04-09 11:39 | 85.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.6452 | μmol/L | 11.5285 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.016 | 159855.6936 | 315976.9286 | 33.25 | 68.6
84764 | 2021-04-09 11:40 | 85.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.6559 | μmol/L | 11.5224 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.018 | 159832.4114 | 315956.807 | 33.25 | 68.6
84773 | 2021-04-09 11:40 | 85.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.7352 | μmol/L | 11.5163 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.017 | 159823.4837 | 315943.0209 | 33.25 | 68.6
84782 | 2021-04-09 11:40 | 86.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 277.6224 | μmol/L | 11.5285 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.017 | 159970.6309 | 315925.8879 | 33.25 | 68.6