## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 11:43

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
82461 | 2021-04-09 10:14 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.0541 | μmol/L | 10.3086 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.29 | 142060.7889 | 284672.4801 | 26.25 | 74
82470 | 2021-04-09 10:15 | 0.32883 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.0624 | μmol/L | 10.3329 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.28 | 141988.3385 | 284654.5347 | 26.25 | 74
82479 | 2021-04-09 10:15 | 0.66184 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1436 | μmol/L | 10.3572 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.267 | 141886.3995 | 284600.1174 | 26.25 | 74
82488 | 2021-04-09 10:15 | 0.99552 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1038 | μmol/L | 10.3815 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.259 | 141790.7089 | 284567.3412 | 26.25 | 74
82497 | 2021-04-09 10:16 | 1.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1368 | μmol/L | 10.4058 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.248 | 141700.6359 | 284528.8101 | 26.25 | 74
82506 | 2021-04-09 10:16 | 1.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1071 | μmol/L | 10.4241 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.242 | 141619.4217 | 284468.9887 | 26.25 | 74
82515 | 2021-04-09 10:16 | 1.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.0919 | μmol/L | 10.4484 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.233 | 141540.5026 | 284431.5374 | 26.25 | 74
82524 | 2021-04-09 10:17 | 2.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.0042 | μmol/L | 10.4727 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.227 | 141449.8868 | 284385.798 | 26.25 | 74
82533 | 2021-04-09 10:17 | 2.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1444 | μmol/L | 10.4909 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.214 | 141359.687 | 284357.3756 | 26.25 | 74
82542 | 2021-04-09 10:17 | 2.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1296 | μmol/L | 10.5152 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.205 | 141262.6167 | 284302.748 | 26.25 | 74
82551 | 2021-04-09 10:18 | 3.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1731 | μmol/L | 10.5335 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.196 | 141180.9482 | 284259.4068 | 26.25 | 74
82560 | 2021-04-09 10:18 | 3.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.144 | μmol/L | 10.5517 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.19 | 141094.3463 | 284224.0969 | 26.25 | 74
82569 | 2021-04-09 10:18 | 3.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1877 | μmol/L | 10.5699 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.181 | 141019.2522 | 284183.7677 | 26.25 | 74
82578 | 2021-04-09 10:19 | 4.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.9938 | μmol/L | 10.6003 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.177 | 140940.2086 | 284131.0324 | 26.25 | 74
82587 | 2021-04-09 10:19 | 4.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1055 | μmol/L | 10.6064 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.17 | 140870.5073 | 284096.6208 | 26.25 | 74
82596 | 2021-04-09 10:19 | 4.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1737 | μmol/L | 10.6246 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.16 | 140788.2173 | 284050.9111 | 26.25 | 74
82605 | 2021-04-09 10:20 | 5.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.1692 | μmol/L | 10.6429 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.153 | 140719.6035 | 284006.6458 | 26.25 | 74
82614 | 2021-04-09 10:20 | 5.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.0434 | μmol/L | 10.6611 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.151 | 140645.3035 | 283962.494 | 26.25 | 74
82623 | 2021-04-09 10:20 | 5.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.9905 | μmol/L | 10.6793 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.146 | 140578.1483 | 283918.5333 | 26.25 | 74
82632 | 2021-04-09 10:21 | 6.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 289.059 | μmol/L | 10.6975 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.136 | 140526.739 | 283872.9514 | 26.25 | 74
82641 | 2021-04-09 10:21 | 6.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.9967 | μmol/L | 10.7219 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.129 | 140460.3296 | 283839.4637 | 26.25 | 74
82650 | 2021-04-09 10:21 | 6.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.9873 | μmol/L | 10.7279 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.127 | 140393.9439 | 283812.2862 | 26.25 | 74
82659 | 2021-04-09 10:22 | 7.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.9441 | μmol/L | 10.7401 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.124 | 140332.3466 | 283758.5475 | 26.25 | 74
82668 | 2021-04-09 10:22 | 7.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.9643 | μmol/L | 10.7583 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.116 | 140273.8138 | 283720.9114 | 26.25 | 74
82677 | 2021-04-09 10:22 | 7.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.9454 | μmol/L | 10.7705 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.112 | 140211.4308 | 283685.9138 | 26.25 | 74
82686 | 2021-04-09 10:23 | 8.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.9995 | μmol/L | 10.7826 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.105 | 140144.9026 | 283627.0739 | 26.25 | 74
82695 | 2021-04-09 10:23 | 8.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.8256 | μmol/L | 10.8009 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.105 | 140103.1323 | 283593.9055 | 26.25 | 74
82704 | 2021-04-09 10:23 | 8.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.9227 | μmol/L | 10.8009 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.101 | 140047.6014 | 283556.6618 | 26.25 | 74
82713 | 2021-04-09 10:24 | 9.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.8367 | μmol/L | 10.8252 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.095 | 139992.5229 | 283520.2568 | 26.25 | 74
82722 | 2021-04-09 10:24 | 9.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.6874 | μmol/L | 10.8434 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.094 | 139952.0782 | 283484.4965 | 26.25 | 74
82731 | 2021-04-09 10:24 | 9.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.7994 | μmol/L | 10.8495 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.087 | 139886.2679 | 283437.6021 | 26.25 | 74
82740 | 2021-04-09 10:25 | 10.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.7901 | μmol/L | 10.8556 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.085 | 139821.341 | 283403.1652 | 26.25 | 74
82749 | 2021-04-09 10:25 | 10.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.7379 | μmol/L | 10.8738 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.08 | 139783.2203 | 283372.2667 | 26.25 | 74
82758 | 2021-04-09 10:25 | 10.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.6466 | μmol/L | 10.886 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.079 | 139736.511 | 283321.7642 | 26.25 | 74
82767 | 2021-04-09 10:26 | 11.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.6766 | μmol/L | 10.8981 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.073 | 139690.1692 | 283287.3967 | 26.25 | 74
82776 | 2021-04-09 10:26 | 11.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.6674 | μmol/L | 10.9042 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.071 | 139637.4724 | 283254.6527 | 26.25 | 74
82785 | 2021-04-09 10:26 | 11.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.6974 | μmol/L | 10.9163 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.065 | 139579.9117 | 283212.9782 | 26.25 | 74
82794 | 2021-04-09 10:27 | 12.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.5727 | μmol/L | 10.9346 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.063 | 139530.444 | 283177.0003 | 26.25 | 74
82803 | 2021-04-09 10:27 | 12.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.597 | μmol/L | 10.9346 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.062 | 139481.3057 | 283120.1559 | 26.25 | 74
82812 | 2021-04-09 10:27 | 12.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.5451 | μmol/L | 10.9528 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.057 | 139441.8976 | 283087.0935 | 26.25 | 74
82821 | 2021-04-09 10:28 | 13.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.4631 | μmol/L | 10.9589 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.058 | 139412.655 | 283057.9097 | 26.25 | 74
82830 | 2021-04-09 10:28 | 13.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.5176 | μmol/L | 10.971 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.051 | 139373.6577 | 283026.7084 | 26.25 | 74
82839 | 2021-04-09 10:28 | 13.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.4265 | μmol/L | 10.9832 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.05 | 139326.3868 | 282989.4624 | 26.25 | 74
82848 | 2021-04-09 10:29 | 14.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.3203 | μmol/L | 10.9893 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.052 | 139271.962 | 282942.4843 | 26.25 | 74
82857 | 2021-04-09 10:29 | 14.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.5053 | μmol/L | 10.9954 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.042 | 139231.803 | 282911.743 | 26.25 | 74
82866 | 2021-04-09 10:29 | 14.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.3415 | μmol/L | 11.0075 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.044 | 139198.9267 | 282870.9888 | 26.25 | 74
82875 | 2021-04-09 10:30 | 15.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.3081 | μmol/L | 11.0136 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.043 | 139151.6088 | 282843.1073 | 26.25 | 74
82884 | 2021-04-09 10:30 | 15.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.4537 | μmol/L | 11.0136 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 139119.9202 | 282807.8306 | 26.25 | 74
82893 | 2021-04-09 10:30 | 15.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.2656 | μmol/L | 11.0257 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.04 | 139083.224 | 282761.7874 | 26.25 | 74
82902 | 2021-04-09 10:31 | 16.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.2717 | μmol/L | 11.0379 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 139038.3056 | 282737.3662 | 26.25 | 74
82911 | 2021-04-09 10:31 | 16.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.2869 | μmol/L | 11.044 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.032 | 138993.9235 | 282704.3018 | 26.25 | 74
82920 | 2021-04-09 10:31 | 16.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.2203 | μmol/L | 11.0561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.03 | 138953.3517 | 282669.7107 | 26.25 | 74
82929 | 2021-04-09 10:32 | 17.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.1385 | μmol/L | 11.0622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.031 | 138923.4172 | 282631.2186 | 26.25 | 74
82938 | 2021-04-09 10:32 | 17.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.1537 | μmol/L | 11.0683 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.028 | 138901.9479 | 282595.4668 | 26.25 | 74
82947 | 2021-04-09 10:32 | 17.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.178 | μmol/L | 11.0683 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.027 | 138859.6055 | 282565.7963 | 26.25 | 74
82956 | 2021-04-09 10:33 | 18.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.0781 | μmol/L | 11.0865 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 138835.0044 | 282520.8808 | 26.25 | 74
82965 | 2021-04-09 10:33 | 18.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.0781 | μmol/L | 11.0865 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 138808.0865 | 282493.1116 | 26.25 | 74
82974 | 2021-04-09 10:33 | 18.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.0206 | μmol/L | 11.0926 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 138775.8267 | 282455.0847 | 26.25 | 74
82983 | 2021-04-09 10:34 | 19.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.9057 | μmol/L | 11.1048 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 138741.4894 | 282416.1138 | 26.25 | 74
82992 | 2021-04-09 10:34 | 19.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 288.0269 | μmol/L | 11.1048 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.019 | 138705.5928 | 282381.7204 | 26.25 | 74
83001 | 2021-04-09 10:34 | 19.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.7334 | μmol/L | 11.123 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.024 | 138681.295 | 282354.3689 | 26.25 | 74
83010 | 2021-04-09 10:35 | 20.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.912 | μmol/L | 11.1169 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.019 | 138646.1416 | 282314.032 | 26.25 | 74
83019 | 2021-04-09 10:35 | 20.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.7729 | μmol/L | 11.1291 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 138617.7611 | 282288.7353 | 26.25 | 74
83028 | 2021-04-09 10:35 | 20.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.7729 | μmol/L | 11.1291 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 138585.0429 | 282259.7999 | 26.25 | 74
83037 | 2021-04-09 10:36 | 21.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8124 | μmol/L | 11.1352 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.016 | 138541.0094 | 282218.385 | 26.25 | 74
83046 | 2021-04-09 10:36 | 21.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8851 | μmol/L | 11.1352 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.013 | 138499.9757 | 282177.6454 | 26.25 | 74
83055 | 2021-04-09 10:36 | 21.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8761 | μmol/L | 11.1412 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.011 | 138462.0447 | 282141.0517 | 26.25 | 74
83064 | 2021-04-09 10:37 | 22.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.7129 | μmol/L | 11.1534 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.013 | 138436.042 | 282106.0006 | 26.25 | 74
83073 | 2021-04-09 10:37 | 22.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.8098 | μmol/L | 11.1534 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.009 | 138390.2119 | 282079.7933 | 26.25 | 74
83082 | 2021-04-09 10:37 | 22.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.695 | μmol/L | 11.1655 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.009 | 138356.1385 | 282058.8577 | 26.25 | 74
83091 | 2021-04-09 10:38 | 23.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.7103 | μmol/L | 11.1716 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.006 | 138320.7763 | 282026.0254 | 26.25 | 74
83100 | 2021-04-09 10:38 | 23.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.7346 | μmol/L | 11.1716 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.005 | 138293.3955 | 281983.319 | 26.25 | 74
83109 | 2021-04-09 10:38 | 23.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.7014 | μmol/L | 11.1777 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.004 | 138259.6869 | 281936.6661 | 26.25 | 74
83118 | 2021-04-09 10:39 | 24.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.7499 | μmol/L | 11.1777 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.002 | 138236.1765 | 281930.2607 | 26.25 | 74
83127 | 2021-04-09 10:39 | 24.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.6837 | μmol/L | 11.1899 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23 | 138191.396 | 281889.0079 | 26.25 | 74
83136 | 2021-04-09 10:39 | 24.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.6021 | μmol/L | 11.1959 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.001 | 138166.22 | 281861.9821 | 26.25 | 74
83145 | 2021-04-09 10:40 | 25.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.699 | μmol/L | 11.1959 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.997 | 138137.1203 | 281829.0783 | 26.25 | 74
83154 | 2021-04-09 10:40 | 25.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.6506 | μmol/L | 11.1959 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.999 | 138110.4931 | 281783.4111 | 26.25 | 74
83163 | 2021-04-09 10:40 | 25.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.6175 | μmol/L | 11.202 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.998 | 138078.1081 | 281754.4126 | 26.25 | 74
83172 | 2021-04-09 10:41 | 26.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.6328 | μmol/L | 11.2081 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.995 | 138056.5125 | 281728.1339 | 26.25 | 74
83181 | 2021-04-09 10:41 | 26.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.5997 | μmol/L | 11.2142 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.994 | 138029.4019 | 281704.4851 | 26.25 | 74
83190 | 2021-04-09 10:41 | 26.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.5667 | μmol/L | 11.2203 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.993 | 137997.8874 | 281672.8579 | 26.25 | 74
83199 | 2021-04-09 10:42 | 27.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.5755 | μmol/L | 11.2142 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.995 | 137973.8595 | 281645.9698 | 26.25 | 74
83208 | 2021-04-09 10:42 | 27.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.5909 | μmol/L | 11.2203 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.992 | 137941.7597 | 281622.383 | 26.25 | 74
83217 | 2021-04-09 10:42 | 27.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.6305 | μmol/L | 11.2263 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.988 | 137910.4279 | 281584.4398 | 26.25 | 74
83226 | 2021-04-09 10:43 | 28.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.4763 | μmol/L | 11.2324 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.992 | 137896.9475 | 281555.2257 | 26.25 | 74
83235 | 2021-04-09 10:43 | 28.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.4521 | μmol/L | 11.2324 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.993 | 137877.551 | 281523.718 | 26.25 | 74
83244 | 2021-04-09 10:43 | 28.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.4521 | μmol/L | 11.2324 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.993 | 137853.3988 | 281504.3297 | 26.25 | 74
83253 | 2021-04-09 10:44 | 29.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.4345 | μmol/L | 11.2446 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.989 | 137829.5571 | 281463.2028 | 26.25 | 74
83262 | 2021-04-09 10:44 | 29.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.353 | μmol/L | 11.2506 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.99 | 137806.0183 | 281439.7306 | 26.25 | 74
83271 | 2021-04-09 10:44 | 29.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.353 | μmol/L | 11.2506 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.99 | 137778.276 | 281401.4148 | 26.25 | 74
83280 | 2021-04-09 10:45 | 30.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.3046 | μmol/L | 11.2506 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.992 | 137768.5567 | 281390.1065 | 26.25 | 74
83289 | 2021-04-09 10:45 | 30.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2144 | μmol/L | 11.2628 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.991 | 137732.7966 | 281347.2099 | 26.25 | 74
83298 | 2021-04-09 10:45 | 30.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2958 | μmol/L | 11.2567 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.99 | 137702.6978 | 281325.7696 | 26.25 | 74
83307 | 2021-04-09 10:46 | 31.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.166 | μmol/L | 11.2628 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.993 | 137678.8999 | 281297.9032 | 26.25 | 74
83316 | 2021-04-09 10:46 | 31.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2144 | μmol/L | 11.2628 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.991 | 137665.6353 | 281267.1983 | 26.25 | 74
83325 | 2021-04-09 10:46 | 31.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2298 | μmol/L | 11.2689 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.988 | 137635.1464 | 281237.112 | 26.25 | 74
83334 | 2021-04-09 10:47 | 32.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2056 | μmol/L | 11.2689 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.989 | 137612.7532 | 281215.2423 | 26.25 | 74
83343 | 2021-04-09 10:47 | 32.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1485 | μmol/L | 11.275 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.989 | 137590.2545 | 281191.2419 | 26.25 | 74
83352 | 2021-04-09 10:47 | 32.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2056 | μmol/L | 11.2689 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.989 | 137569.9763 | 281153.6398 | 26.25 | 74
83361 | 2021-04-09 10:48 | 33.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1727 | μmol/L | 11.275 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.988 | 137544.1371 | 281132.2295 | 26.25 | 74
83370 | 2021-04-09 10:48 | 33.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0913 | μmol/L | 11.281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.989 | 137518.7582 | 281094.7544 | 26.25 | 74
83379 | 2021-04-09 10:48 | 33.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.2123 | μmol/L | 11.281 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.984 | 137505.9714 | 281087.7093 | 26.25 | 74
83388 | 2021-04-09 10:49 | 34.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0254 | μmol/L | 11.2932 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.987 | 137464.5197 | 281031.8878 | 26.25 | 74
83397 | 2021-04-09 10:49 | 34.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1551 | μmol/L | 11.2871 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.984 | 137443.2944 | 281008.8678 | 26.25 | 74
83406 | 2021-04-09 10:49 | 34.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0013 | μmol/L | 11.2932 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.988 | 137417.2281 | 280981.7935 | 26.25 | 74
83415 | 2021-04-09 10:50 | 35.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1134 | μmol/L | 11.2993 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.981 | 137392.3803 | 280964.6513 | 26.25 | 74
83424 | 2021-04-09 10:50 | 35.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0167 | μmol/L | 11.2993 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.985 | 137370.4132 | 280926.8134 | 26.25 | 74
83433 | 2021-04-09 10:50 | 35.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0409 | μmol/L | 11.2993 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.984 | 137349.209 | 280894.6771 | 26.25 | 74
83442 | 2021-04-09 10:51 | 36.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0167 | μmol/L | 11.2993 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.985 | 137332.9542 | 280872.4115 | 26.25 | 74
83451 | 2021-04-09 10:51 | 36.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9354 | μmol/L | 11.3054 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.986 | 137328.0793 | 280858.6699 | 26.25 | 74
83460 | 2021-04-09 10:51 | 36.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0167 | μmol/L | 11.2993 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.985 | 137301.929 | 280830.1563 | 26.25 | 74
83469 | 2021-04-09 10:52 | 37.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9112 | μmol/L | 11.3054 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.987 | 137284.4167 | 280797.6491 | 26.25 | 74
83478 | 2021-04-09 10:52 | 37.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9267 | μmol/L | 11.3114 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.984 | 137250.8033 | 280776.9149 | 26.25 | 74
83487 | 2021-04-09 10:52 | 37.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0563 | μmol/L | 11.3054 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.981 | 137221.9597 | 280753.2509 | 26.25 | 74
83496 | 2021-04-09 10:53 | 38.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0389 | μmol/L | 11.3175 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.977 | 137191.796 | 280731.1313 | 26.25 | 74
83505 | 2021-04-09 10:53 | 38.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0147 | μmol/L | 11.3175 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.978 | 137150.7397 | 280699.9989 | 26.25 | 74
83514 | 2021-04-09 10:53 | 38.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9334 | μmol/L | 11.3236 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.979 | 137140.4942 | 280684.8851 | 26.25 | 74
83523 | 2021-04-09 10:54 | 39.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9818 | μmol/L | 11.3236 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.977 | 137107.2627 | 280659.6008 | 26.25 | 74
83532 | 2021-04-09 10:54 | 39.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.006 | μmol/L | 11.3236 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.976 | 137082.9473 | 280630.811 | 26.25 | 74
83541 | 2021-04-09 10:54 | 39.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0456 | μmol/L | 11.3297 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.972 | 137059.2244 | 280605.7218 | 26.25 | 74
83550 | 2021-04-09 10:55 | 40.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8763 | μmol/L | 11.3297 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.979 | 137043.8619 | 280588.2216 | 26.25 | 74
83559 | 2021-04-09 10:55 | 40.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9489 | μmol/L | 11.3297 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.976 | 137015.4497 | 280572.2871 | 26.25 | 74
83568 | 2021-04-09 10:55 | 40.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8918 | μmol/L | 11.3357 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.976 | 136995.2797 | 280536.9159 | 26.25 | 74
83577 | 2021-04-09 10:56 | 41.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0698 | μmol/L | 11.3297 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.971 | 136977.8276 | 280526.0983 | 26.25 | 74
83586 | 2021-04-09 10:56 | 41.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9644 | μmol/L | 11.3357 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.973 | 136955.7902 | 280493.2876 | 26.25 | 74
83595 | 2021-04-09 10:56 | 41.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9798 | μmol/L | 11.3418 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.97 | 136926.6828 | 280455.5984 | 26.25 | 74
83604 | 2021-04-09 10:57 | 42.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0127 | μmol/L | 11.3357 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.971 | 136912.988 | 280437.3364 | 26.25 | 74
83613 | 2021-04-09 10:57 | 42.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9228 | μmol/L | 11.3479 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.97 | 136884.7944 | 280412.2449 | 26.25 | 74
83622 | 2021-04-09 10:57 | 42.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9712 | μmol/L | 11.3479 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.968 | 136846.6722 | 280387.1825 | 26.25 | 74
83631 | 2021-04-09 10:58 | 43.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9383 | μmol/L | 11.354 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.967 | 136819.0932 | 280367.2101 | 26.25 | 74
83640 | 2021-04-09 10:58 | 43.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1163 | μmol/L | 11.3479 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.962 | 136782.0181 | 280343.3804 | 26.25 | 74
83649 | 2021-04-09 10:58 | 43.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0351 | μmol/L | 11.354 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.963 | 136766.572 | 280324.5435 | 26.25 | 74
83658 | 2021-04-09 10:59 | 44.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1077 | μmol/L | 11.354 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.96 | 136733.3275 | 280294.5632 | 26.25 | 74
83667 | 2021-04-09 10:59 | 44.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0264 | μmol/L | 11.3601 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.961 | 136703.2145 | 280273.4025 | 26.25 | 74
83676 | 2021-04-09 10:59 | 44.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0835 | μmol/L | 11.354 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.961 | 136678.6846 | 280245.0749 | 26.25 | 74
83685 | 2021-04-09 11:00 | 45.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0264 | μmol/L | 11.3601 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.961 | 136657.6483 | 280224.2991 | 26.25 | 74
83694 | 2021-04-09 11:00 | 45.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1232 | μmol/L | 11.3601 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.957 | 136634.2294 | 280207.4129 | 26.25 | 74
83703 | 2021-04-09 11:00 | 45.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1232 | μmol/L | 11.3601 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.957 | 136611.5201 | 280185.4897 | 26.25 | 74
83712 | 2021-04-09 11:01 | 46.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0177 | μmol/L | 11.3661 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.959 | 136602.9821 | 280169.9323 | 26.25 | 74
83721 | 2021-04-09 11:01 | 46.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9935 | μmol/L | 11.3661 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.96 | 136581.113 | 280140.1979 | 26.25 | 74
83730 | 2021-04-09 11:01 | 46.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9607 | μmol/L | 11.3722 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.959 | 136570.2393 | 280120.7841 | 26.25 | 74
83739 | 2021-04-09 11:02 | 47.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0177 | μmol/L | 11.3661 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.959 | 136554.4907 | 280099.7436 | 26.25 | 74
83748 | 2021-04-09 11:02 | 47.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9365 | μmol/L | 11.3722 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.96 | 136535.2186 | 280082.9395 | 26.25 | 74
83757 | 2021-04-09 11:02 | 47.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9278 | μmol/L | 11.3783 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.958 | 136530.9932 | 280046.1247 | 26.25 | 74
83766 | 2021-04-09 11:03 | 48.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7827 | μmol/L | 11.3783 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.964 | 136510.1695 | 280020.7083 | 26.25 | 74
83775 | 2021-04-09 11:03 | 48.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8311 | μmol/L | 11.3783 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.962 | 136489.1033 | 279999.7327 | 26.25 | 74
83784 | 2021-04-09 11:03 | 48.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9037 | μmol/L | 11.3783 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.959 | 136469.0825 | 280000.1922 | 26.25 | 74
83793 | 2021-04-09 11:04 | 49.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8795 | μmol/L | 11.3783 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.96 | 136451.6003 | 279969.6827 | 26.25 | 74
83802 | 2021-04-09 11:04 | 49.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8795 | μmol/L | 11.3783 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.96 | 136444.5724 | 279947.9212 | 26.25 | 74
83811 | 2021-04-09 11:04 | 49.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7171 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.962 | 136423.0346 | 279938.9114 | 26.25 | 74
83820 | 2021-04-09 11:05 | 50.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7741 | μmol/L | 11.3844 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.962 | 136421.0214 | 279912.0925 | 26.25 | 74
83829 | 2021-04-09 11:05 | 50.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7413 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.961 | 136387.1432 | 279884.3073 | 26.25 | 74
83838 | 2021-04-09 11:05 | 50.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7896 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.959 | 136379.0537 | 279875.4718 | 26.25 | 74
83847 | 2021-04-09 11:06 | 51.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8138 | μmol/L | 11.3905 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.958 | 136359.836 | 279837.482 | 26.25 | 74
83856 | 2021-04-09 11:06 | 51.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8052 | μmol/L | 11.3965 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.956 | 136337.4522 | 279842.6554 | 26.25 | 74
83865 | 2021-04-09 11:06 | 51.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8052 | μmol/L | 11.3965 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.956 | 136309.5944 | 279807.5839 | 26.25 | 74
83874 | 2021-04-09 11:07 | 52.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8778 | μmol/L | 11.3965 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.953 | 136269.3877 | 279767.4539 | 26.25 | 74
83883 | 2021-04-09 11:07 | 52.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9019 | μmol/L | 11.3965 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.952 | 136252.333 | 279757.6062 | 26.25 | 74
83892 | 2021-04-09 11:07 | 52.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8449 | μmol/L | 11.4026 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.952 | 136233.7548 | 279741.3946 | 26.25 | 74
83901 | 2021-04-09 11:08 | 53.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9745 | μmol/L | 11.3965 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.949 | 136213.697 | 279728.5578 | 26.25 | 74
83910 | 2021-04-09 11:08 | 53.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7966 | μmol/L | 11.4026 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.954 | 136195.4641 | 279702.927 | 26.25 | 74
83919 | 2021-04-09 11:08 | 53.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9175 | μmol/L | 11.4026 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.949 | 136177.9646 | 279668.8036 | 26.25 | 74
83928 | 2021-04-09 11:09 | 54.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8363 | μmol/L | 11.4087 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.95 | 136158.8878 | 279655.3784 | 26.25 | 74
83937 | 2021-04-09 11:09 | 54.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.788 | μmol/L | 11.4087 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.952 | 136138.3537 | 279645.8784 | 26.25 | 74
83946 | 2021-04-09 11:09 | 54.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7966 | μmol/L | 11.4026 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.954 | 136126.7367 | 279622.4675 | 26.25 | 74
83955 | 2021-04-09 11:10 | 55.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8933 | μmol/L | 11.4026 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.95 | 136111.7838 | 279610.6378 | 26.25 | 74
83964 | 2021-04-09 11:10 | 55.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7154 | μmol/L | 11.4087 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.955 | 136105.2632 | 279582.8864 | 26.25 | 74
83973 | 2021-04-09 11:10 | 55.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7794 | μmol/L | 11.4148 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.95 | 136077.0214 | 279553.5379 | 26.25 | 74
83982 | 2021-04-09 11:11 | 56.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8847 | μmol/L | 11.4087 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.948 | 136056.4607 | 279547.031 | 26.25 | 74
83991 | 2021-04-09 11:11 | 56.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9331 | μmol/L | 11.4087 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.946 | 136022.4493 | 279522.3917 | 26.25 | 74
84000 | 2021-04-09 11:11 | 56.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9573 | μmol/L | 11.4087 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.945 | 136005.3719 | 279504.7075 | 26.25 | 74
84009 | 2021-04-09 11:12 | 57.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9815 | μmol/L | 11.4087 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.944 | 135978.1826 | 279492.42 | 26.25 | 74
84018 | 2021-04-09 11:12 | 57.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9487 | μmol/L | 11.4148 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.943 | 135961.7831 | 279480.3678 | 26.25 | 74
84027 | 2021-04-09 11:12 | 57.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9401 | μmol/L | 11.4208 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.941 | 135940.102 | 279450.0329 | 26.25 | 74
84036 | 2021-04-09 11:13 | 58.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9487 | μmol/L | 11.4148 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.943 | 135913.1054 | 279438.3767 | 26.25 | 74
84045 | 2021-04-09 11:13 | 58.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0127 | μmol/L | 11.4208 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.938 | 135896.2943 | 279413.0436 | 26.25 | 74
84054 | 2021-04-09 11:13 | 58.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9885 | μmol/L | 11.4208 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.939 | 135881.8115 | 279400.2033 | 26.25 | 74
84063 | 2021-04-09 11:14 | 59.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9643 | μmol/L | 11.4208 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.94 | 135863.9515 | 279371.0552 | 26.25 | 74
84072 | 2021-04-09 11:14 | 59.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0127 | μmol/L | 11.4208 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.938 | 135845.2916 | 279353.0867 | 26.25 | 74
84081 | 2021-04-09 11:14 | 59.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8675 | μmol/L | 11.4208 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.944 | 135831.0007 | 279331.3494 | 26.25 | 74
84090 | 2021-04-09 11:15 | 60.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8831 | μmol/L | 11.4269 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.941 | 135820.0629 | 279315.0736 | 26.25 | 74
84099 | 2021-04-09 11:15 | 60.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9073 | μmol/L | 11.4269 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.94 | 135789.8357 | 279301.2807 | 26.25 | 74
84108 | 2021-04-09 11:15 | 60.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9073 | μmol/L | 11.4269 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.94 | 135778.1334 | 279296.6578 | 26.25 | 74
84117 | 2021-04-09 11:16 | 61.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9315 | μmol/L | 11.4269 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.939 | 135765.6111 | 279252.6383 | 26.25 | 74
84126 | 2021-04-09 11:16 | 61.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0283 | μmol/L | 11.4269 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.935 | 135739.3001 | 279242.5555 | 26.25 | 74
84135 | 2021-04-09 11:16 | 61.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.0283 | μmol/L | 11.4269 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.935 | 135730.5451 | 279236.7889 | 26.25 | 74
84144 | 2021-04-09 11:17 | 62.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9956 | μmol/L | 11.433 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.934 | 135692.779 | 279206.8418 | 26.25 | 74
84153 | 2021-04-09 11:17 | 62.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9229 | μmol/L | 11.433 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.937 | 135679.6044 | 279185.6394 | 26.25 | 74
84162 | 2021-04-09 11:17 | 62.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8987 | μmol/L | 11.433 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.938 | 135663.1431 | 279171.8894 | 26.25 | 74
84171 | 2021-04-09 11:18 | 63.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9956 | μmol/L | 11.433 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.934 | 135639.5047 | 279158.4989 | 26.25 | 74
84180 | 2021-04-09 11:18 | 63.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8902 | μmol/L | 11.4391 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.936 | 135626.4709 | 279146.0275 | 26.25 | 74
84189 | 2021-04-09 11:18 | 63.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9628 | μmol/L | 11.4391 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.933 | 135612.4028 | 279127.3354 | 26.25 | 74
84198 | 2021-04-09 11:19 | 64.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 287.1166 | μmol/L | 11.433 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.929 | 135594.7439 | 279104.3609 | 26.25 | 74
84207 | 2021-04-09 11:19 | 64.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9784 | μmol/L | 11.4452 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.93 | 135572.5626 | 279091.9317 | 26.25 | 74
84216 | 2021-04-09 11:19 | 64.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.987 | μmol/L | 11.4391 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.932 | 135563.4251 | 279076.7598 | 26.25 | 74
84225 | 2021-04-09 11:20 | 65.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8574 | μmol/L | 11.4452 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.935 | 135545.4899 | 279046.1859 | 26.25 | 74
84234 | 2021-04-09 11:20 | 65.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.9784 | μmol/L | 11.4452 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.93 | 135542.0649 | 279041.0471 | 26.25 | 74
84243 | 2021-04-09 11:20 | 65.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.93 | μmol/L | 11.4452 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.932 | 135532.9168 | 279029.6638 | 26.25 | 74
84252 | 2021-04-09 11:21 | 66.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7919 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.933 | 135514.6001 | 279002.524 | 26.25 | 74
84261 | 2021-04-09 11:21 | 66.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8973 | μmol/L | 11.4512 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.931 | 135513.6746 | 278981.2928 | 26.25 | 74
84270 | 2021-04-09 11:21 | 66.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8247 | μmol/L | 11.4512 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.934 | 135497.7945 | 278960.8995 | 26.25 | 74
84279 | 2021-04-09 11:22 | 67.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7194 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.936 | 135484.138 | 278951.464 | 26.25 | 74
84288 | 2021-04-09 11:22 | 67.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8973 | μmol/L | 11.4512 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.931 | 135477.8529 | 278943.5932 | 26.25 | 74
84297 | 2021-04-09 11:22 | 67.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8731 | μmol/L | 11.4512 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.932 | 135462.1264 | 278913.2946 | 26.25 | 74
84306 | 2021-04-09 11:23 | 68.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8005 | μmol/L | 11.4512 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.935 | 135449.7914 | 278906.9073 | 26.25 | 74
84315 | 2021-04-09 11:23 | 68.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8403 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.931 | 135430.6077 | 278885.033 | 26.25 | 74
84324 | 2021-04-09 11:23 | 68.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7677 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.934 | 135428.2123 | 278865.4039 | 26.25 | 74
84333 | 2021-04-09 11:24 | 69.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8005 | μmol/L | 11.4512 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.935 | 135411.9902 | 278862.209 | 26.25 | 74
84342 | 2021-04-09 11:24 | 69.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7919 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.933 | 135402.2211 | 278835.6798 | 26.25 | 74
84351 | 2021-04-09 11:24 | 69.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8318 | μmol/L | 11.4634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.929 | 135382.5036 | 278825.8557 | 26.25 | 74
84360 | 2021-04-09 11:25 | 70.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8403 | μmol/L | 11.4573 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.931 | 135364.7641 | 278813.0431 | 26.25 | 74
84369 | 2021-04-09 11:25 | 70.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8076 | μmol/L | 11.4634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.93 | 135345.7545 | 278791.206 | 26.25 | 74
84378 | 2021-04-09 11:25 | 70.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.856 | μmol/L | 11.4634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.928 | 135336.8981 | 278774.4412 | 26.25 | 74
84387 | 2021-04-09 11:26 | 71.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7108 | μmol/L | 11.4634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.934 | 135314.6238 | 278766.6832 | 26.25 | 74
84396 | 2021-04-09 11:26 | 71.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.856 | μmol/L | 11.4634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.928 | 135310.104 | 278746.8259 | 26.25 | 74
84405 | 2021-04-09 11:26 | 71.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8318 | μmol/L | 11.4634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.929 | 135298.6967 | 278722.0996 | 26.25 | 74
84414 | 2021-04-09 11:27 | 72.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7749 | μmol/L | 11.4695 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.929 | 135282.5072 | 278715.9395 | 26.25 | 74
84423 | 2021-04-09 11:27 | 72.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.799 | μmol/L | 11.4695 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.928 | 135260.9503 | 278695.5835 | 26.25 | 74
84432 | 2021-04-09 11:27 | 72.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.856 | μmol/L | 11.4634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.928 | 135254.7535 | 278684.9904 | 26.25 | 74
84441 | 2021-04-09 11:28 | 73.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.856 | μmol/L | 11.4634 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.928 | 135232.9054 | 278677.5511 | 26.25 | 74
84450 | 2021-04-09 11:28 | 73.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.799 | μmol/L | 11.4695 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.928 | 135227.1188 | 278663.1865 | 26.25 | 74
84459 | 2021-04-09 11:28 | 73.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7265 | μmol/L | 11.4695 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.931 | 135215.702 | 278654.4696 | 26.25 | 74
84468 | 2021-04-09 11:29 | 74.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.8474 | μmol/L | 11.4695 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.926 | 135201.3021 | 278631.704 | 26.25 | 74
84477 | 2021-04-09 11:29 | 74.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.6852 | μmol/L | 11.4816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.928 | 135183.6645 | 278610.3787 | 26.25 | 74
84486 | 2021-04-09 11:29 | 74.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.7265 | μmol/L | 11.4695 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.931 | 135184.3673 | 278604.7057 | 26.25 | 74
84495 | 2021-04-09 11:30 | 75.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.6696 | μmol/L | 11.4756 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.931 | 135170.957 | 278595.2053 | 26.25 | 74
84504 | 2021-04-09 11:30 | 75.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.6611 | μmol/L | 11.4816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.929 | 135163.2506 | 278572.0531 | 26.25 | 74
84513 | 2021-04-09 11:30 | 75.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.6938 | μmol/L | 11.4756 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.93 | 135158.6463 | 278578.1441 | 26.25 | 74
84522 | 2021-04-09 11:31 | 76.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.5885 | μmol/L | 11.4816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.932 | 135152.9385 | 278548.4416 | 26.25 | 74
84531 | 2021-04-09 11:31 | 76.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.5558 | μmol/L | 11.4877 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.931 | 135155.1907 | 278535.4879 | 26.25 | 74
84540 | 2021-04-09 11:31 | 76.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.5885 | μmol/L | 11.4816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.932 | 135150.0179 | 278516.7869 | 26.25 | 74
84549 | 2021-04-09 11:32 | 77.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.5644 | μmol/L | 11.4816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.933 | 135150.337 | 278497.5549 | 26.25 | 74
84558 | 2021-04-09 11:32 | 77.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.516 | μmol/L | 11.4816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.935 | 135147.486 | 278483.3595 | 26.25 | 74
84567 | 2021-04-09 11:32 | 77.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3867 | μmol/L | 11.4877 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.938 | 135136.2657 | 278482.1156 | 26.25 | 74
84576 | 2021-04-09 11:33 | 78.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3625 | μmol/L | 11.4877 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.939 | 135141.726 | 278468.1102 | 26.25 | 74
84585 | 2021-04-09 11:33 | 78.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3828 | μmol/L | 11.4877 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.938 | 135137.0662 | 278448.1975 | 26.25 | 74
84594 | 2021-04-09 11:33 | 78.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.3586 | μmol/L | 11.4877 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.939 | 135133.816 | 278432.3942 | 26.25 | 74
84603 | 2021-04-09 11:34 | 79.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2535 | μmol/L | 11.4938 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.941 | 135140.2578 | 278430.2795 | 26.25 | 74
84612 | 2021-04-09 11:34 | 79.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.266 | μmol/L | 11.4877 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.943 | 135129.9575 | 278412.3078 | 26.25 | 74
84621 | 2021-04-09 11:34 | 79.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2816 | μmol/L | 11.4938 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.94 | 135130.5372 | 278415.2239 | 26.25 | 74
84630 | 2021-04-09 11:35 | 80.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.157 | μmol/L | 11.4938 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.945 | 135122.2704 | 278398.75 | 26.25 | 74
84639 | 2021-04-09 11:35 | 80.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2379 | μmol/L | 11.4877 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.944 | 135116.1062 | 278368.5234 | 26.25 | 74
84648 | 2021-04-09 11:35 | 80.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2177 | μmol/L | 11.4877 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.945 | 135098.8626 | 278351.2936 | 26.25 | 74
84657 | 2021-04-09 11:36 | 81.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1726 | μmol/L | 11.4999 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.942 | 135090.1206 | 278359.3595 | 26.25 | 74
84666 | 2021-04-09 11:36 | 81.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0605 | μmol/L | 11.4938 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.949 | 135084.6505 | 278334.6442 | 26.25 | 74
84675 | 2021-04-09 11:36 | 81.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2535 | μmol/L | 11.4938 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.941 | 135076.7089 | 278314.656 | 26.25 | 74
84684 | 2021-04-09 11:37 | 82.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.052 | μmol/L | 11.4999 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.947 | 135070.4166 | 278304.7994 | 26.25 | 74
84693 | 2021-04-09 11:37 | 82.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0279 | μmol/L | 11.4999 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.948 | 135063.7093 | 278310.4155 | 26.25 | 74
84702 | 2021-04-09 11:37 | 82.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0279 | μmol/L | 11.4999 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.948 | 135054.6688 | 278283.4345 | 26.25 | 74
84711 | 2021-04-09 11:38 | 83.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1811 | μmol/L | 11.4938 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.944 | 135037.6909 | 278269.1447 | 26.25 | 74
84720 | 2021-04-09 11:38 | 83.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.052 | μmol/L | 11.4999 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.947 | 135023.6039 | 278269.2319 | 26.25 | 74
84729 | 2021-04-09 11:38 | 83.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1329 | μmol/L | 11.4938 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.946 | 135020.0132 | 278256.5989 | 26.25 | 74
84738 | 2021-04-09 11:39 | 84.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0761 | μmol/L | 11.4999 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.946 | 135001.1634 | 278234.915 | 26.25 | 74
84747 | 2021-04-09 11:39 | 84.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0037 | μmol/L | 11.4999 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.949 | 134990.237 | 278236.7218 | 26.25 | 74
84756 | 2021-04-09 11:39 | 84.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0194 | μmol/L | 11.506 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.946 | 134967.1049 | 278207.4719 | 26.25 | 74
84765 | 2021-04-09 11:40 | 85.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.2294 | μmol/L | 11.4938 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.942 | 134958.8691 | 278198.8526 | 26.25 | 74
84774 | 2021-04-09 11:40 | 85.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.0917 | μmol/L | 11.506 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.943 | 134956.5945 | 278185.911 | 26.25 | 74
84783 | 2021-04-09 11:40 | 85.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 286.1485 | μmol/L | 11.4999 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.943 | 134856.7371 | 278153.8797 | 26.25 | 74