## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 11:43

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
82462 | 2021-04-09 10:14 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2852 | μmol/L | 10.6287 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.991 | 131065.0849 | 280155.8232 | 32.55 | 27.7
82471 | 2021-04-09 10:15 | 0.33296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2716 | μmol/L | 10.6531 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.982 | 130972.9785 | 280143.2567 | 32.55 | 27.7
82480 | 2021-04-09 10:15 | 0.66678 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.439 | μmol/L | 10.6714 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.968 | 130860.5298 | 280106.1447 | 32.55 | 27.7
82489 | 2021-04-09 10:15 | 1.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5086 | μmol/L | 10.6897 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.958 | 130759.9981 | 280057.4023 | 32.55 | 27.7
82498 | 2021-04-09 10:16 | 1.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.8177 | μmol/L | 10.6958 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.943 | 130650.9531 | 280030.049 | 32.55 | 27.7
82507 | 2021-04-09 10:16 | 1.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0103 | μmol/L | 10.7141 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.928 | 130537.1676 | 280013.9896 | 32.55 | 27.7
82516 | 2021-04-09 10:16 | 2.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2617 | μmol/L | 10.7263 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.913 | 130418.742 | 279987.4857 | 32.55 | 27.7
82525 | 2021-04-09 10:17 | 2.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2582 | μmol/L | 10.7447 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.906 | 130301.6372 | 279949.4981 | 32.55 | 27.7
82534 | 2021-04-09 10:17 | 2.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3531 | μmol/L | 10.763 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.895 | 130208.7859 | 279922.7397 | 32.55 | 27.7
82543 | 2021-04-09 10:17 | 2.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4821 | μmol/L | 10.7752 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.885 | 130118.5107 | 279885.3461 | 32.55 | 27.7
82552 | 2021-04-09 10:18 | 3.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5773 | μmol/L | 10.7935 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.874 | 130025.7307 | 279867.3524 | 32.55 | 27.7
82561 | 2021-04-09 10:18 | 3.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7311 | μmol/L | 10.8057 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.863 | 129934.6841 | 279833.1298 | 32.55 | 27.7
82570 | 2021-04-09 10:18 | 4.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8359 | μmol/L | 10.8179 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.854 | 129840.9953 | 279803.9414 | 32.55 | 27.7
82579 | 2021-04-09 10:19 | 4.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8914 | μmol/L | 10.8301 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.847 | 129751.8182 | 279763.5533 | 32.55 | 27.7
82588 | 2021-04-09 10:19 | 4.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.9223 | μmol/L | 10.8423 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.841 | 129683.9191 | 279740.9985 | 32.55 | 27.7
82597 | 2021-04-09 10:19 | 4.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8947 | μmol/L | 10.8606 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.835 | 129615.7705 | 279714.4814 | 32.55 | 27.7
82606 | 2021-04-09 10:20 | 5.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8919 | μmol/L | 10.8789 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.828 | 129548.2727 | 279686.8904 | 32.55 | 27.7
82615 | 2021-04-09 10:20 | 5.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.0061 | μmol/L | 10.885 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.821 | 129486.4874 | 279668.8416 | 32.55 | 27.7
82624 | 2021-04-09 10:20 | 5.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.1451 | μmol/L | 10.8911 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.813 | 129407.6039 | 279633.3402 | 32.55 | 27.7
82633 | 2021-04-09 10:21 | 6.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.2166 | μmol/L | 10.9094 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.803 | 129327.7789 | 279614.8095 | 32.55 | 27.7
82642 | 2021-04-09 10:21 | 6.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.214 | μmol/L | 10.9277 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.796 | 129256.8201 | 279578.0627 | 32.55 | 27.7
82651 | 2021-04-09 10:21 | 7.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.4456 | μmol/L | 10.9216 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.789 | 129187.688 | 279555.259 | 32.55 | 27.7
82660 | 2021-04-09 10:22 | 7.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.5721 | μmol/L | 10.9338 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.779 | 129113.2813 | 279537.0212 | 32.55 | 27.7
82669 | 2021-04-09 10:22 | 7.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.5578 | μmol/L | 10.946 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.775 | 129038.9822 | 279513.682 | 32.55 | 27.7
82678 | 2021-04-09 10:22 | 7.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.6816 | μmol/L | 10.946 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.77 | 128958.1237 | 279469.4467 | 32.55 | 27.7
82687 | 2021-04-09 10:23 | 8.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8174 | μmol/L | 10.9521 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.762 | 128896.5777 | 279442.6407 | 32.55 | 27.7
82696 | 2021-04-09 10:23 | 8.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8527 | μmol/L | 10.9643 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.756 | 128829.5895 | 279430.8991 | 32.55 | 27.7
82705 | 2021-04-09 10:23 | 9.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.93 | μmol/L | 10.9765 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.748 | 128749.1863 | 279393.1191 | 32.55 | 27.7
82714 | 2021-04-09 10:24 | 9.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.0947 | μmol/L | 10.9826 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.739 | 128693.9721 | 279370.4671 | 32.55 | 27.7
82723 | 2021-04-09 10:24 | 9.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.0767 | μmol/L | 10.9948 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.735 | 128623.7124 | 279341.153 | 32.55 | 27.7
82732 | 2021-04-09 10:24 | 9.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.0091 | μmol/L | 11.007 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.733 | 128570.5206 | 279332.3464 | 32.55 | 27.7
82741 | 2021-04-09 10:25 | 10.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.0994 | μmol/L | 11.0131 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.727 | 128498.5537 | 279301.198 | 32.55 | 27.7
82750 | 2021-04-09 10:25 | 10.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2732 | μmol/L | 11.0131 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.72 | 128439.7798 | 279273.1745 | 32.55 | 27.7
82759 | 2021-04-09 10:25 | 11.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.314 | μmol/L | 11.0192 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.716 | 128366.5783 | 279244.6146 | 32.55 | 27.7
82768 | 2021-04-09 10:26 | 11.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4293 | μmol/L | 11.0253 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.709 | 128306.3912 | 279226.824 | 32.55 | 27.7
82777 | 2021-04-09 10:26 | 11.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.5696 | μmol/L | 11.0314 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.701 | 128238.0814 | 279199.476 | 32.55 | 27.7
82786 | 2021-04-09 10:26 | 11.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.6762 | μmol/L | 11.0436 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.692 | 128173.0452 | 279186.0668 | 32.55 | 27.7
82795 | 2021-04-09 10:27 | 12.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.726 | μmol/L | 11.0436 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.69 | 128124.512 | 279154.5279 | 32.55 | 27.7
82804 | 2021-04-09 10:27 | 12.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7918 | μmol/L | 11.0497 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.685 | 128067.9143 | 279123.2792 | 32.55 | 27.7
82813 | 2021-04-09 10:27 | 13.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.6655 | μmol/L | 11.068 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.683 | 128007.1409 | 279106.3803 | 32.55 | 27.7
82822 | 2021-04-09 10:28 | 13.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7563 | μmol/L | 11.0741 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.677 | 127954.8412 | 279093.4185 | 32.55 | 27.7
82831 | 2021-04-09 10:28 | 13.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9058 | μmol/L | 11.0741 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.671 | 127883.2685 | 279056.3692 | 32.55 | 27.7
82840 | 2021-04-09 10:28 | 14 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.9628 | μmol/L | 11.0863 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.664 | 127807.7734 | 279041.4883 | 32.55 | 27.7
82849 | 2021-04-09 10:29 | 14.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0039 | μmol/L | 11.0924 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.66 | 127759.045 | 278999.6675 | 32.55 | 27.7
82858 | 2021-04-09 10:29 | 14.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1109 | μmol/L | 11.1046 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.651 | 127701.6268 | 278988.38 | 32.55 | 27.7
82867 | 2021-04-09 10:29 | 14.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1609 | μmol/L | 11.1046 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.649 | 127649.9621 | 278961.5455 | 32.55 | 27.7
82876 | 2021-04-09 10:30 | 15.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3445 | μmol/L | 11.0985 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.644 | 127600.3571 | 278951.8123 | 32.55 | 27.7
82885 | 2021-04-09 10:30 | 15.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.318 | μmol/L | 11.1168 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.638 | 127535.7164 | 278918.8249 | 32.55 | 27.7
82894 | 2021-04-09 10:30 | 16.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4179 | μmol/L | 11.1168 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.634 | 127489.1256 | 278881.6112 | 32.55 | 27.7
82903 | 2021-04-09 10:31 | 16.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5679 | μmol/L | 11.1168 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.628 | 127424.3366 | 278873.2058 | 32.55 | 27.7
82912 | 2021-04-09 10:31 | 16.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4503 | μmol/L | 11.129 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.628 | 127368.6546 | 278846.314 | 32.55 | 27.7
82921 | 2021-04-09 10:31 | 16.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6504 | μmol/L | 11.129 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.62 | 127310.6976 | 278831.5784 | 32.55 | 27.7
82930 | 2021-04-09 10:32 | 17.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7329 | μmol/L | 11.1412 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.612 | 127259.0567 | 278800.5079 | 32.55 | 27.7
82939 | 2021-04-09 10:32 | 17.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6991 | μmol/L | 11.1473 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.611 | 127209.4722 | 278795.4381 | 32.55 | 27.7
82948 | 2021-04-09 10:32 | 17.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7993 | μmol/L | 11.1473 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.607 | 127163.7577 | 278762.0889 | 32.55 | 27.7
82957 | 2021-04-09 10:33 | 18.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9495 | μmol/L | 11.1473 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.601 | 127119.8876 | 278747.5135 | 32.55 | 27.7
82966 | 2021-04-09 10:33 | 18.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9157 | μmol/L | 11.1534 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.6 | 127070.9248 | 278726.5998 | 32.55 | 27.7
82975 | 2021-04-09 10:33 | 18.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9571 | μmol/L | 11.1595 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.596 | 127019.8875 | 278702.3462 | 32.55 | 27.7
82984 | 2021-04-09 10:34 | 19.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.1162 | μmol/L | 11.1534 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.592 | 126969.2217 | 278692.0997 | 32.55 | 27.7
82993 | 2021-04-09 10:34 | 19.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.1238 | μmol/L | 11.1656 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.587 | 126917.7559 | 278660.4906 | 32.55 | 27.7
83002 | 2021-04-09 10:34 | 19.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.0562 | μmol/L | 11.1778 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.585 | 126870.1008 | 278626.7105 | 32.55 | 27.7
83011 | 2021-04-09 10:35 | 20.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.2318 | μmol/L | 11.1778 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.578 | 126811.7426 | 278611.576 | 32.55 | 27.7
83020 | 2021-04-09 10:35 | 20.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.1391 | μmol/L | 11.19 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.577 | 126773.0122 | 278591.2192 | 32.55 | 27.7
83029 | 2021-04-09 10:35 | 21.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.3486 | μmol/L | 11.1839 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.571 | 126730.141 | 278569.7476 | 32.55 | 27.7
83038 | 2021-04-09 10:36 | 21.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.281 | μmol/L | 11.1961 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.569 | 126670.9272 | 278548.399 | 32.55 | 27.7
83047 | 2021-04-09 10:36 | 21.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.2974 | μmol/L | 11.2022 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.566 | 126626.4303 | 278526.708 | 32.55 | 27.7
83056 | 2021-04-09 10:36 | 22.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4567 | μmol/L | 11.1961 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.562 | 126582.726 | 278501.8144 | 32.55 | 27.7
83065 | 2021-04-09 10:37 | 22.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.364 | μmol/L | 11.2083 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.561 | 126557.0314 | 278486.0646 | 32.55 | 27.7
83074 | 2021-04-09 10:37 | 22.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.3138 | μmol/L | 11.2083 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.563 | 126520.6922 | 278465.7546 | 32.55 | 27.7
83083 | 2021-04-09 10:37 | 23.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.3805 | μmol/L | 11.2144 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.558 | 126498.8348 | 278451.8789 | 32.55 | 27.7
83092 | 2021-04-09 10:38 | 23.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4221 | μmol/L | 11.2205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.554 | 126457.2313 | 278426.911 | 32.55 | 27.7
83101 | 2021-04-09 10:38 | 23.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4056 | μmol/L | 11.2144 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.557 | 126436.0327 | 278396.7843 | 32.55 | 27.7
83110 | 2021-04-09 10:38 | 23.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4472 | μmol/L | 11.2205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.553 | 126396.9525 | 278376.6313 | 32.55 | 27.7
83119 | 2021-04-09 10:39 | 24.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4307 | μmol/L | 11.2144 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.556 | 126359.6932 | 278363.3885 | 32.55 | 27.7
83128 | 2021-04-09 10:39 | 24.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4637 | μmol/L | 11.2267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.55 | 126315.5032 | 278345.6389 | 32.55 | 27.7
83137 | 2021-04-09 10:39 | 25.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4888 | μmol/L | 11.2267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.549 | 126280.2387 | 278326.3716 | 32.55 | 27.7
83146 | 2021-04-09 10:40 | 25.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.6145 | μmol/L | 11.2267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.544 | 126251.7642 | 278306.8882 | 32.55 | 27.7
83155 | 2021-04-09 10:40 | 25.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.6145 | μmol/L | 11.2267 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.544 | 126223.4969 | 278287.3541 | 32.55 | 27.7
83164 | 2021-04-09 10:40 | 25.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.5721 | μmol/L | 11.2389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.541 | 126183.4949 | 278267.0132 | 32.55 | 27.7
83173 | 2021-04-09 10:41 | 26.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.5886 | μmol/L | 11.245 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.538 | 126146.7597 | 278239.0183 | 32.55 | 27.7
83182 | 2021-04-09 10:41 | 26.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.7481 | μmol/L | 11.2389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.534 | 126111.9022 | 278233.032 | 32.55 | 27.7
83191 | 2021-04-09 10:41 | 27.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.7481 | μmol/L | 11.2389 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.534 | 126073.8628 | 278201.5441 | 32.55 | 27.7
83200 | 2021-04-09 10:42 | 27.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.6892 | μmol/L | 11.245 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.534 | 126042.1885 | 278190.4102 | 32.55 | 27.7
83209 | 2021-04-09 10:42 | 27.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.6217 | μmol/L | 11.2572 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.532 | 126028.5352 | 278170.2812 | 32.55 | 27.7
83218 | 2021-04-09 10:42 | 28.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.5965 | μmol/L | 11.2572 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.533 | 126008.052 | 278146.2398 | 32.55 | 27.7
83227 | 2021-04-09 10:43 | 28.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.496 | μmol/L | 11.2572 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.537 | 125992.2742 | 278126.5683 | 32.55 | 27.7
83236 | 2021-04-09 10:43 | 28.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4622 | μmol/L | 11.2633 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.536 | 125973.5823 | 278119.2989 | 32.55 | 27.7
83245 | 2021-04-09 10:43 | 28.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4622 | μmol/L | 11.2633 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.536 | 125944.9254 | 278112.1161 | 32.55 | 27.7
83254 | 2021-04-09 10:44 | 29.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.3948 | μmol/L | 11.2755 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.534 | 125915.5061 | 278076.2825 | 32.55 | 27.7
83263 | 2021-04-09 10:44 | 29.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.5793 | μmol/L | 11.2694 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.529 | 125886.0995 | 278062.3014 | 32.55 | 27.7
83272 | 2021-04-09 10:44 | 30.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.5205 | μmol/L | 11.2755 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.529 | 125862.7688 | 278037.4748 | 32.55 | 27.7
83281 | 2021-04-09 10:45 | 30.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4365 | μmol/L | 11.2816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.53 | 125847.4088 | 278027.8413 | 32.55 | 27.7
83290 | 2021-04-09 10:45 | 30.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4114 | μmol/L | 11.2816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.531 | 125825.2911 | 278011.5922 | 32.55 | 27.7
83299 | 2021-04-09 10:45 | 30.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.3862 | μmol/L | 11.2816 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.532 | 125801.3479 | 277986.9903 | 32.55 | 27.7
83308 | 2021-04-09 10:46 | 31.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.3189 | μmol/L | 11.2938 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.53 | 125785.805 | 277962.2343 | 32.55 | 27.7
83317 | 2021-04-09 10:46 | 31.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.2184 | μmol/L | 11.2938 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.534 | 125761.8481 | 277949.7259 | 32.55 | 27.7
83326 | 2021-04-09 10:46 | 32.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.3189 | μmol/L | 11.2938 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.53 | 125744.1352 | 277927.4481 | 32.55 | 27.7
83335 | 2021-04-09 10:47 | 32.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.3606 | μmol/L | 11.2999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.526 | 125703.485 | 277908.6169 | 32.55 | 27.7
83344 | 2021-04-09 10:47 | 32.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.3606 | μmol/L | 11.2999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.526 | 125666.6467 | 277897.5594 | 32.55 | 27.7
83353 | 2021-04-09 10:47 | 33.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4611 | μmol/L | 11.2999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.522 | 125632.547 | 277892.2271 | 32.55 | 27.7
83362 | 2021-04-09 10:48 | 33.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.5114 | μmol/L | 11.2999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.52 | 125591.242 | 277859.7558 | 32.55 | 27.7
83371 | 2021-04-09 10:48 | 33.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4274 | μmol/L | 11.306 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.521 | 125558.129 | 277844.0215 | 32.55 | 27.7
83380 | 2021-04-09 10:48 | 34.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.6623 | μmol/L | 11.2999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.514 | 125529.5668 | 277844.9242 | 32.55 | 27.7
83389 | 2021-04-09 10:49 | 34.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.6035 | μmol/L | 11.306 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.514 | 125501.211 | 277829.9384 | 32.55 | 27.7
83398 | 2021-04-09 10:49 | 34.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.6372 | μmol/L | 11.2999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.515 | 125470.8021 | 277790.3528 | 32.55 | 27.7
83407 | 2021-04-09 10:49 | 34.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.6538 | μmol/L | 11.306 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.512 | 125446.4465 | 277781.75 | 32.55 | 27.7
83416 | 2021-04-09 10:50 | 35.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.6453 | μmol/L | 11.3121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.51 | 125423.061 | 277762.0908 | 32.55 | 27.7
83425 | 2021-04-09 10:50 | 35.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.6035 | μmol/L | 11.306 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.514 | 125407.0158 | 277736.5374 | 32.55 | 27.7
83434 | 2021-04-09 10:50 | 35.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.7293 | μmol/L | 11.306 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.509 | 125379.7356 | 277731.5033 | 32.55 | 27.7
83443 | 2021-04-09 10:51 | 36.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.7208 | μmol/L | 11.3121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.507 | 125348.9018 | 277698.7445 | 32.55 | 27.7
83452 | 2021-04-09 10:51 | 36.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.511 | μmol/L | 11.3182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.513 | 125340.71 | 277698.9313 | 32.55 | 27.7
83461 | 2021-04-09 10:51 | 37.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.511 | μmol/L | 11.3182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.513 | 125328.5815 | 277678.1736 | 32.55 | 27.7
83470 | 2021-04-09 10:52 | 37.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.6201 | μmol/L | 11.3121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.511 | 125311.498 | 277672.0529 | 32.55 | 27.7
83479 | 2021-04-09 10:52 | 37.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.511 | μmol/L | 11.3182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.513 | 125302.5949 | 277653.3378 | 32.55 | 27.7
83488 | 2021-04-09 10:52 | 37.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.427 | μmol/L | 11.3243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.514 | 125289.5985 | 277631.7002 | 32.55 | 27.7
83497 | 2021-04-09 10:53 | 38.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4607 | μmol/L | 11.3182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.515 | 125275.9708 | 277627.9313 | 32.55 | 27.7
83506 | 2021-04-09 10:53 | 38.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4607 | μmol/L | 11.3182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.515 | 125256.1911 | 277600.0335 | 32.55 | 27.7
83515 | 2021-04-09 10:53 | 39.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.3431 | μmol/L | 11.3304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.515 | 125236.7753 | 277587.035 | 32.55 | 27.7
83524 | 2021-04-09 10:54 | 39.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.4185 | μmol/L | 11.3304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.512 | 125204.2204 | 277579.7998 | 32.55 | 27.7
83533 | 2021-04-09 10:54 | 39.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.427 | μmol/L | 11.3243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.514 | 125174.3745 | 277557.8123 | 32.55 | 27.7
83542 | 2021-04-09 10:54 | 39.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.41 | μmol/L | 11.3365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.51 | 125154.3032 | 277541.063 | 32.55 | 27.7
83551 | 2021-04-09 10:55 | 40.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.3934 | μmol/L | 11.3304 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.513 | 125143.8718 | 277536.2054 | 32.55 | 27.7
83560 | 2021-04-09 10:55 | 40.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.2341 | μmol/L | 11.3365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.517 | 125135.1235 | 277510.5517 | 32.55 | 27.7
83569 | 2021-04-09 10:55 | 41.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.2005 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.516 | 125133.8366 | 277491.3242 | 32.55 | 27.7
83578 | 2021-04-09 10:56 | 41.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.1753 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.517 | 125125.5426 | 277488.7758 | 32.55 | 27.7
83587 | 2021-04-09 10:56 | 41.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.1251 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.519 | 125102.7339 | 277459.2783 | 32.55 | 27.7
83596 | 2021-04-09 10:56 | 42.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.1502 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.518 | 125090.0355 | 277455.0403 | 32.55 | 27.7
83605 | 2021-04-09 10:57 | 42.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.2592 | μmol/L | 11.3365 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.516 | 125067.1236 | 277427.2361 | 32.55 | 27.7
83614 | 2021-04-09 10:57 | 42.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.2507 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.514 | 125047.2603 | 277418.1461 | 32.55 | 27.7
83623 | 2021-04-09 10:57 | 43.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.1669 | μmol/L | 11.3487 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.515 | 125022.9941 | 277400.9507 | 32.55 | 27.7
83632 | 2021-04-09 10:58 | 43.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.2507 | μmol/L | 11.3426 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.514 | 124997.3049 | 277403.205 | 32.55 | 27.7
83641 | 2021-04-09 10:58 | 43.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.1835 | μmol/L | 11.3548 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.512 | 124967.517 | 277369.6054 | 32.55 | 27.7
83650 | 2021-04-09 10:58 | 43.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.1417 | μmol/L | 11.3487 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.516 | 124961.5794 | 277353.4723 | 32.55 | 27.7
83659 | 2021-04-09 10:59 | 44.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 295.1081 | μmol/L | 11.3548 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.515 | 124945.8367 | 277357.4698 | 32.55 | 27.7
83668 | 2021-04-09 10:59 | 44.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.9826 | μmol/L | 11.3548 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.52 | 124947.5213 | 277333.1584 | 32.55 | 27.7
83677 | 2021-04-09 10:59 | 44.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.7985 | μmol/L | 11.3609 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.525 | 124953.964 | 277323.7863 | 32.55 | 27.7
83686 | 2021-04-09 11:00 | 45.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.807 | μmol/L | 11.3548 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.527 | 124962.7441 | 277305.9109 | 32.55 | 27.7
83695 | 2021-04-09 11:00 | 45.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6731 | μmol/L | 11.3609 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.53 | 124968.8876 | 277301.1239 | 32.55 | 27.7
83704 | 2021-04-09 11:00 | 46.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6982 | μmol/L | 11.3609 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.529 | 124966.1376 | 277284.9938 | 32.55 | 27.7
83713 | 2021-04-09 11:01 | 46.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5979 | μmol/L | 11.3609 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.533 | 124948.6857 | 277258.3149 | 32.55 | 27.7
83722 | 2021-04-09 11:01 | 46.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5143 | μmol/L | 11.367 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.534 | 124939.2511 | 277253.0639 | 32.55 | 27.7
83731 | 2021-04-09 11:01 | 46.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5058 | μmol/L | 11.3731 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.532 | 124906.1324 | 277242.8405 | 32.55 | 27.7
83740 | 2021-04-09 11:02 | 47.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6396 | μmol/L | 11.367 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.529 | 124878.8536 | 277230.2248 | 32.55 | 27.7
83749 | 2021-04-09 11:02 | 47.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4723 | μmol/L | 11.3792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.531 | 124855.9103 | 277216.9287 | 32.55 | 27.7
83758 | 2021-04-09 11:02 | 47.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6145 | μmol/L | 11.367 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.53 | 124827.5297 | 277190.1692 | 32.55 | 27.7
83767 | 2021-04-09 11:03 | 48.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.6562 | μmol/L | 11.3731 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.526 | 124822.4745 | 277181.4442 | 32.55 | 27.7
83776 | 2021-04-09 11:03 | 48.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4723 | μmol/L | 11.3792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.531 | 124799.3118 | 277163.3379 | 32.55 | 27.7
83785 | 2021-04-09 11:03 | 49.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5224 | μmol/L | 11.3792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.529 | 124791.738 | 277153.0421 | 32.55 | 27.7
83794 | 2021-04-09 11:04 | 49.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.5224 | μmol/L | 11.3792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.529 | 124791.4788 | 277144.606 | 32.55 | 27.7
83803 | 2021-04-09 11:04 | 49.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4473 | μmol/L | 11.3792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.532 | 124770.2047 | 277121.7119 | 32.55 | 27.7
83812 | 2021-04-09 11:04 | 50 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4388 | μmol/L | 11.3853 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.53 | 124758.7164 | 277098.3099 | 32.55 | 27.7
83821 | 2021-04-09 11:05 | 50.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3972 | μmol/L | 11.3792 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.534 | 124737.0456 | 277101.4749 | 32.55 | 27.7
83830 | 2021-04-09 11:05 | 50.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4639 | μmol/L | 11.3853 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.529 | 124720.8042 | 277070.6644 | 32.55 | 27.7
83839 | 2021-04-09 11:05 | 51.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4639 | μmol/L | 11.3853 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.529 | 124716.0148 | 277081.837 | 32.55 | 27.7
83848 | 2021-04-09 11:06 | 51.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3637 | μmol/L | 11.3853 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.533 | 124702.0505 | 277044.8419 | 32.55 | 27.7
83857 | 2021-04-09 11:06 | 51.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3637 | μmol/L | 11.3853 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.533 | 124689.4074 | 277047.2797 | 32.55 | 27.7
83866 | 2021-04-09 11:06 | 51.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.2551 | μmol/L | 11.3914 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.535 | 124683.161 | 277048.1109 | 32.55 | 27.7
83875 | 2021-04-09 11:07 | 52.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.2216 | μmol/L | 11.3975 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.534 | 124652.015 | 277026.6992 | 32.55 | 27.7
83884 | 2021-04-09 11:07 | 52.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3052 | μmol/L | 11.3914 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.533 | 124640.7791 | 277014.7594 | 32.55 | 27.7
83893 | 2021-04-09 11:07 | 53.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.2301 | μmol/L | 11.3914 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.536 | 124620.5441 | 276991.4898 | 32.55 | 27.7
83902 | 2021-04-09 11:08 | 53.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.4053 | μmol/L | 11.3914 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.529 | 124599.5783 | 276980.9864 | 32.55 | 27.7
83911 | 2021-04-09 11:08 | 53.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1966 | μmol/L | 11.3975 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.535 | 124587.137 | 276973.6117 | 32.55 | 27.7
83920 | 2021-04-09 11:08 | 54.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.3218 | μmol/L | 11.3975 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.53 | 124573.5457 | 276967.6299 | 32.55 | 27.7
83929 | 2021-04-09 11:09 | 54.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1966 | μmol/L | 11.3975 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.535 | 124570.3717 | 276955.8223 | 32.55 | 27.7
83938 | 2021-04-09 11:09 | 54.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1381 | μmol/L | 11.4036 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.535 | 124570.3745 | 276933.0625 | 32.55 | 27.7
83947 | 2021-04-09 11:09 | 55.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1466 | μmol/L | 11.3975 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.537 | 124567.3923 | 276931.3534 | 32.55 | 27.7
83956 | 2021-04-09 11:10 | 55.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1466 | μmol/L | 11.3975 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.537 | 124549.8447 | 276915.3598 | 32.55 | 27.7
83965 | 2021-04-09 11:10 | 55.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1882 | μmol/L | 11.4036 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.533 | 124531.307 | 276907.6289 | 32.55 | 27.7
83974 | 2021-04-09 11:10 | 56 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.1798 | μmol/L | 11.4097 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.531 | 124509.7922 | 276880.3129 | 32.55 | 27.7
83983 | 2021-04-09 11:11 | 56.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.2132 | μmol/L | 11.4036 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.532 | 124500.3152 | 276871.2257 | 32.55 | 27.7
83992 | 2021-04-09 11:11 | 56.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 294.0547 | μmol/L | 11.4097 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.536 | 124506.0127 | 276865.1403 | 32.55 | 27.7
84001 | 2021-04-09 11:11 | 56.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.8296 | μmol/L | 11.4097 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.545 | 124513.1519 | 276852.6142 | 32.55 | 27.7
84010 | 2021-04-09 11:12 | 57.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7797 | μmol/L | 11.4097 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.547 | 124523.5467 | 276833.9296 | 32.55 | 27.7
84019 | 2021-04-09 11:12 | 57.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.6713 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.549 | 124521.4273 | 276817.1278 | 32.55 | 27.7
84028 | 2021-04-09 11:12 | 58.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7547 | μmol/L | 11.4097 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.548 | 124507.4013 | 276794.821 | 32.55 | 27.7
84037 | 2021-04-09 11:13 | 58.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.7047 | μmol/L | 11.4097 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.55 | 124502.8379 | 276793.5538 | 32.55 | 27.7
84046 | 2021-04-09 11:13 | 58.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.6548 | μmol/L | 11.4097 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.552 | 124501.3134 | 276779.4444 | 32.55 | 27.7
84055 | 2021-04-09 11:13 | 59.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4882 | μmol/L | 11.4219 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.554 | 124492.3588 | 276774.3704 | 32.55 | 27.7
84064 | 2021-04-09 11:14 | 59.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.5715 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.553 | 124479.6262 | 276762.0277 | 32.55 | 27.7
84073 | 2021-04-09 11:14 | 59.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.5964 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.552 | 124476.2775 | 276759.4935 | 32.55 | 27.7
84082 | 2021-04-09 11:14 | 59.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.5964 | μmol/L | 11.4158 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.552 | 124457.4436 | 276724.3814 | 32.55 | 27.7
84091 | 2021-04-09 11:15 | 60.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4383 | μmol/L | 11.4219 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.556 | 124440.1309 | 276722.8395 | 32.55 | 27.7
84100 | 2021-04-09 11:15 | 60.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.563 | μmol/L | 11.4219 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.551 | 124423.0519 | 276706.2832 | 32.55 | 27.7
84109 | 2021-04-09 11:15 | 60.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.5546 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.549 | 124407.932 | 276696.7308 | 32.55 | 27.7
84118 | 2021-04-09 11:16 | 61.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.5047 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.551 | 124397.0292 | 276689.1687 | 32.55 | 27.7
84127 | 2021-04-09 11:16 | 61.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.588 | μmol/L | 11.4219 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.55 | 124384.6384 | 276687.2371 | 32.55 | 27.7
84136 | 2021-04-09 11:16 | 61.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4798 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.552 | 124379.268 | 276671.1097 | 32.55 | 27.7
84145 | 2021-04-09 11:17 | 62.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4632 | μmol/L | 11.4219 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.555 | 124370.1691 | 276661.7316 | 32.55 | 27.7
84154 | 2021-04-09 11:17 | 62.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.5131 | μmol/L | 11.4219 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.553 | 124355.5091 | 276634.6421 | 32.55 | 27.7
84163 | 2021-04-09 11:17 | 63 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4133 | μmol/L | 11.4219 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.557 | 124337.9519 | 276627.6987 | 32.55 | 27.7
84172 | 2021-04-09 11:18 | 63.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4548 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.553 | 124324.1371 | 276619.4384 | 32.55 | 27.7
84181 | 2021-04-09 11:18 | 63.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4548 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.553 | 124308.586 | 276615.7709 | 32.55 | 27.7
84190 | 2021-04-09 11:18 | 63.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.3965 | μmol/L | 11.4341 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.553 | 124291.4149 | 276593.0856 | 32.55 | 27.7
84199 | 2021-04-09 11:19 | 64.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4548 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.553 | 124274.0084 | 276592.1759 | 32.55 | 27.7
84208 | 2021-04-09 11:19 | 64.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4049 | μmol/L | 11.428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.555 | 124259.3975 | 276567.5554 | 32.55 | 27.7
84217 | 2021-04-09 11:19 | 65.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.4215 | μmol/L | 11.4341 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.552 | 124260.8008 | 276565.0435 | 32.55 | 27.7
84226 | 2021-04-09 11:20 | 65.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.3382 | μmol/L | 11.4402 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.553 | 124251.4436 | 276549.8306 | 32.55 | 27.7
84235 | 2021-04-09 11:20 | 65.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2634 | μmol/L | 11.4402 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.556 | 124241.5069 | 276540.5289 | 32.55 | 27.7
84244 | 2021-04-09 11:20 | 66.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.1637 | μmol/L | 11.4402 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.56 | 124247.4763 | 276526.927 | 32.55 | 27.7
84253 | 2021-04-09 11:21 | 66.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.1637 | μmol/L | 11.4402 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.56 | 124254.5579 | 276531.3905 | 32.55 | 27.7
84262 | 2021-04-09 11:21 | 66.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.0556 | μmol/L | 11.4463 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.562 | 124241.188 | 276526.8755 | 32.55 | 27.7
84271 | 2021-04-09 11:21 | 66.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.9476 | μmol/L | 11.4524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 124244.1407 | 276524.5572 | 32.55 | 27.7
84280 | 2021-04-09 11:22 | 67.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.0556 | μmol/L | 11.4463 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.562 | 124241.0538 | 276494.6439 | 32.55 | 27.7
84289 | 2021-04-09 11:22 | 67.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.0556 | μmol/L | 11.4463 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.562 | 124221.4524 | 276480.2909 | 32.55 | 27.7
84298 | 2021-04-09 11:22 | 68.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.064 | μmol/L | 11.4402 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 124197.8613 | 276481.0145 | 32.55 | 27.7
84307 | 2021-04-09 11:23 | 68.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.1469 | μmol/L | 11.4524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.556 | 124161.9069 | 276460.968 | 32.55 | 27.7
84316 | 2021-04-09 11:23 | 68.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2052 | μmol/L | 11.4463 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.556 | 124144.3484 | 276456.1298 | 32.55 | 27.7
84325 | 2021-04-09 11:23 | 69.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2301 | μmol/L | 11.4463 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.555 | 124102.6615 | 276434.9952 | 32.55 | 27.7
84334 | 2021-04-09 11:24 | 69.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.3215 | μmol/L | 11.4524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.549 | 124085.6682 | 276436.4152 | 32.55 | 27.7
84343 | 2021-04-09 11:24 | 69.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2217 | μmol/L | 11.4524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.553 | 124081.3644 | 276419.0844 | 32.55 | 27.7
84352 | 2021-04-09 11:24 | 69.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.1136 | μmol/L | 11.4585 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.555 | 124080.2796 | 276414.8106 | 32.55 | 27.7
84361 | 2021-04-09 11:25 | 70.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2301 | μmol/L | 11.4463 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.555 | 124077.6584 | 276416.1346 | 32.55 | 27.7
84370 | 2021-04-09 11:25 | 70.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.0472 | μmol/L | 11.4524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.56 | 124078.4977 | 276396.2247 | 32.55 | 27.7
84379 | 2021-04-09 11:25 | 71.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.989 | μmol/L | 11.4585 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.56 | 124086.8077 | 276402.8904 | 32.55 | 27.7
84388 | 2021-04-09 11:26 | 71.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.9227 | μmol/L | 11.4524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.565 | 124111.4745 | 276394.8339 | 32.55 | 27.7
84397 | 2021-04-09 11:26 | 71.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8645 | μmol/L | 11.4585 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.565 | 124117.3812 | 276375.8518 | 32.55 | 27.7
84406 | 2021-04-09 11:26 | 72.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.765 | μmol/L | 11.4585 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.569 | 124107.2596 | 276365.0998 | 32.55 | 27.7
84415 | 2021-04-09 11:27 | 72.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.7733 | μmol/L | 11.4524 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.571 | 124107.5139 | 276346.1091 | 32.55 | 27.7
84424 | 2021-04-09 11:27 | 72.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.5079 | μmol/L | 11.4646 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.577 | 124120.1998 | 276330.9489 | 32.55 | 27.7
84433 | 2021-04-09 11:27 | 72.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.3504 | μmol/L | 11.4707 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.581 | 124123.3516 | 276336.5215 | 32.55 | 27.7
84442 | 2021-04-09 11:28 | 73.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.3007 | μmol/L | 11.4707 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.583 | 124131.0633 | 276327.2259 | 32.55 | 27.7
84451 | 2021-04-09 11:28 | 73.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.4498 | μmol/L | 11.4707 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.577 | 124125.0908 | 276303.7265 | 32.55 | 27.7
84460 | 2021-04-09 11:28 | 73.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.3669 | μmol/L | 11.4768 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.578 | 124096.0221 | 276296.8388 | 32.55 | 27.7
84469 | 2021-04-09 11:29 | 74.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.4001 | μmol/L | 11.4707 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.579 | 124074.0257 | 276283.2612 | 32.55 | 27.7
84478 | 2021-04-09 11:29 | 74.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.5824 | μmol/L | 11.4646 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.574 | 124054.7863 | 276277.6682 | 32.55 | 27.7
84487 | 2021-04-09 11:29 | 74.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.5243 | μmol/L | 11.4707 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.574 | 124029.1676 | 276273.3186 | 32.55 | 27.7
84496 | 2021-04-09 11:30 | 75.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.6238 | μmol/L | 11.4707 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.57 | 123997.8827 | 276265.3547 | 32.55 | 27.7
84505 | 2021-04-09 11:30 | 75.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8313 | μmol/L | 11.4646 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.564 | 123965.9456 | 276254.2199 | 32.55 | 27.7
84514 | 2021-04-09 11:30 | 76.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.7233 | μmol/L | 11.4707 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.566 | 123935.9753 | 276254.1573 | 32.55 | 27.7
84523 | 2021-04-09 11:31 | 76.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8892 | μmol/L | 11.4768 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.557 | 123907.0587 | 276248.9261 | 32.55 | 27.7
84532 | 2021-04-09 11:31 | 76.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8892 | μmol/L | 11.4768 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.557 | 123871.1366 | 276227.0177 | 32.55 | 27.7
84541 | 2021-04-09 11:31 | 77.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.0387 | μmol/L | 11.4768 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.551 | 123840.938 | 276231.6921 | 32.55 | 27.7
84550 | 2021-04-09 11:32 | 77.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.0055 | μmol/L | 11.4829 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.55 | 123798.6005 | 276221.6081 | 32.55 | 27.7
84559 | 2021-04-09 11:32 | 77.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.1052 | μmol/L | 11.4829 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.546 | 123779.1528 | 276202.7101 | 32.55 | 27.7
84568 | 2021-04-09 11:32 | 78.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2382 | μmol/L | 11.4768 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.543 | 123747.6253 | 276188.9427 | 32.55 | 27.7
84577 | 2021-04-09 11:33 | 78.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2049 | μmol/L | 11.4829 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.542 | 123719.8533 | 276174.2887 | 32.55 | 27.7
84586 | 2021-04-09 11:33 | 78.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2797 | μmol/L | 11.4829 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.539 | 123700.2346 | 276174.6991 | 32.55 | 27.7
84595 | 2021-04-09 11:33 | 78.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2714 | μmol/L | 11.489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.537 | 123677.5703 | 276156.4467 | 32.55 | 27.7
84604 | 2021-04-09 11:34 | 79.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.3047 | μmol/L | 11.4829 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.538 | 123659.1436 | 276154.4063 | 32.55 | 27.7
84613 | 2021-04-09 11:34 | 79.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.3462 | μmol/L | 11.489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.534 | 123655.2943 | 276159.2008 | 32.55 | 27.7
84622 | 2021-04-09 11:34 | 80.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.2797 | μmol/L | 11.4829 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.539 | 123655.3873 | 276140.008 | 32.55 | 27.7
84631 | 2021-04-09 11:35 | 80.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.1716 | μmol/L | 11.489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.541 | 123658.4462 | 276128.0998 | 32.55 | 27.7
84640 | 2021-04-09 11:35 | 80.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.155 | μmol/L | 11.4829 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.544 | 123650.5665 | 276131.2181 | 32.55 | 27.7
84649 | 2021-04-09 11:35 | 80.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.155 | μmol/L | 11.4829 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.544 | 123649.7722 | 276114.4184 | 32.55 | 27.7
84658 | 2021-04-09 11:36 | 81.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.1218 | μmol/L | 11.489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.543 | 123656.061 | 276118.8833 | 32.55 | 27.7
84667 | 2021-04-09 11:36 | 81.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.1218 | μmol/L | 11.489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.543 | 123658.1163 | 276115.9319 | 32.55 | 27.7
84676 | 2021-04-09 11:36 | 82.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.047 | μmol/L | 11.489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.546 | 123640.173 | 276094.0013 | 32.55 | 27.7
84685 | 2021-04-09 11:37 | 82.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.9888 | μmol/L | 11.4951 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.546 | 123648.0665 | 276082.6996 | 32.55 | 27.7
84694 | 2021-04-09 11:37 | 82.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 293.0719 | μmol/L | 11.489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.545 | 123622.0752 | 276085.7011 | 32.55 | 27.7
84703 | 2021-04-09 11:37 | 82.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.9888 | μmol/L | 11.4951 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.546 | 123631.016 | 276094.8195 | 32.55 | 27.7
84712 | 2021-04-09 11:38 | 83.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8892 | μmol/L | 11.4951 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.55 | 123631.4331 | 276080.7826 | 32.55 | 27.7
84721 | 2021-04-09 11:38 | 83.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8642 | μmol/L | 11.4951 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.551 | 123628.9151 | 276055.7651 | 32.55 | 27.7
84730 | 2021-04-09 11:38 | 84.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.831 | μmol/L | 11.5012 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.55 | 123628.8146 | 276060.9613 | 32.55 | 27.7
84739 | 2021-04-09 11:39 | 84.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8227 | μmol/L | 11.5073 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.548 | 123620.2213 | 276050.9361 | 32.55 | 27.7
84748 | 2021-04-09 11:39 | 84.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.7398 | μmol/L | 11.4951 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.556 | 123613.0386 | 276050.837 | 32.55 | 27.7
84757 | 2021-04-09 11:39 | 84.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8559 | μmol/L | 11.5012 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.549 | 123595.8885 | 276041.4159 | 32.55 | 27.7
84766 | 2021-04-09 11:40 | 85.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8642 | μmol/L | 11.4951 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.551 | 123582.0311 | 276026.1681 | 32.55 | 27.7
84775 | 2021-04-09 11:40 | 85.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8227 | μmol/L | 11.5073 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.548 | 123565.9476 | 276013.0436 | 32.55 | 27.7
84784 | 2021-04-09 11:40 | 85.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 292.8061 | μmol/L | 11.5012 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.551 | 123486.8521 | 276013.9986 | 32.55 | 27.7