## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 14:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
84787 | 2021-04-09 12:07 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.0818 | μmol/L | 10.3656 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.151 | 108006.9665 | 304290.218 | 28.7 | 67.6
84796 | 2021-04-09 12:07 | 0.33813 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.0643 | μmol/L | 10.3777 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.147 | 107962.1058 | 304303.1162 | 28.7 | 67.6
84805 | 2021-04-09 12:07 | 0.67193 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2328 | μmol/L | 10.3959 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.133 | 107922.1627 | 304286.3495 | 28.7 | 67.6
84814 | 2021-04-09 12:08 | 1.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.1406 | μmol/L | 10.4262 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.125 | 107888.3763 | 304286.3609 | 28.7 | 67.6
84823 | 2021-04-09 12:08 | 1.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.139 | μmol/L | 10.4444 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.118 | 107843.9561 | 304281.4093 | 28.7 | 67.6
84832 | 2021-04-09 12:08 | 1.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.3983 | μmol/L | 10.4505 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.105 | 107798.0149 | 304261.4401 | 28.7 | 67.6
84841 | 2021-04-09 12:09 | 2.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2663 | μmol/L | 10.4748 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.101 | 107753.9546 | 304259.7413 | 28.7 | 67.6
84850 | 2021-04-09 12:09 | 2.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2318 | μmol/L | 10.499 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.093 | 107723.7187 | 304254.7747 | 28.7 | 67.6
84859 | 2021-04-09 12:09 | 2.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2147 | μmol/L | 10.5112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.089 | 107687.5719 | 304239.436 | 28.7 | 67.6
84868 | 2021-04-09 12:10 | 3.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2133 | μmol/L | 10.5294 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.082 | 107651.5958 | 304227.57 | 28.7 | 67.6
84877 | 2021-04-09 12:10 | 3.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.2206 | μmol/L | 10.5415 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.077 | 107624.6027 | 304235.1064 | 28.7 | 67.6
84886 | 2021-04-09 12:10 | 3.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.1707 | μmol/L | 10.5597 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.072 | 107594.2087 | 304203.7997 | 28.7 | 67.6
84895 | 2021-04-09 12:11 | 4.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.1537 | μmol/L | 10.5719 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.068 | 107572.7971 | 304211.5164 | 28.7 | 67.6
84904 | 2021-04-09 12:11 | 4.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.0551 | μmol/L | 10.5901 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.065 | 107546.2425 | 304199.9469 | 28.7 | 67.6
84913 | 2021-04-09 12:11 | 4.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.0625 | μmol/L | 10.6022 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.06 | 107528.403 | 304181.7065 | 28.7 | 67.6
84922 | 2021-04-09 12:12 | 5.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 286.1431 | μmol/L | 10.6143 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.052 | 107504.3695 | 304167.7829 | 28.7 | 67.6
84931 | 2021-04-09 12:12 | 5.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.9472 | μmol/L | 10.6325 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.053 | 107485.6261 | 304176.2559 | 28.7 | 67.6
84940 | 2021-04-09 12:12 | 5.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.9791 | μmol/L | 10.6447 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.047 | 107465.8649 | 304166.6593 | 28.7 | 67.6
84949 | 2021-04-09 12:13 | 6.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.9379 | μmol/L | 10.6568 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.044 | 107443.9079 | 304145.0518 | 28.7 | 67.6
84958 | 2021-04-09 12:13 | 6.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.8724 | μmol/L | 10.6689 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.042 | 107422.8805 | 304140.7146 | 28.7 | 67.6
84967 | 2021-04-09 12:13 | 6.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.8884 | μmol/L | 10.675 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.039 | 107410.1015 | 304141.6077 | 28.7 | 67.6
84976 | 2021-04-09 12:14 | 7.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.7659 | μmol/L | 10.6932 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.037 | 107388.0186 | 304131.0284 | 28.7 | 67.6
84985 | 2021-04-09 12:14 | 7.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.7249 | μmol/L | 10.7054 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.034 | 107368.0837 | 304119.1349 | 28.7 | 67.6
84994 | 2021-04-09 12:14 | 7.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.7896 | μmol/L | 10.7114 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.029 | 107355.853 | 304097.7043 | 28.7 | 67.6
85003 | 2021-04-09 12:15 | 8.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.6672 | μmol/L | 10.7296 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.027 | 107326.7521 | 304092.5828 | 28.7 | 67.6
85012 | 2021-04-09 12:15 | 8.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.6102 | μmol/L | 10.7357 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.027 | 107303.6102 | 304076.1885 | 28.7 | 67.6
85021 | 2021-04-09 12:15 | 8.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.6584 | μmol/L | 10.7539 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.018 | 107294.866 | 304067.5528 | 28.7 | 67.6
85030 | 2021-04-09 12:16 | 9.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.4797 | μmol/L | 10.76 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.023 | 107288.1784 | 304073.3409 | 28.7 | 67.6
85039 | 2021-04-09 12:16 | 9.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.5606 | μmol/L | 10.7721 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.015 | 107259.5108 | 304057.9361 | 28.7 | 67.6
85048 | 2021-04-09 12:16 | 9.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.3655 | μmol/L | 10.7903 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.016 | 107251.5582 | 304052.2615 | 28.7 | 67.6
85057 | 2021-04-09 12:17 | 10.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.4752 | μmol/L | 10.7964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.009 | 107238.6519 | 304046.5676 | 28.7 | 67.6
85066 | 2021-04-09 12:17 | 10.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.3651 | μmol/L | 10.8085 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.009 | 107216.0377 | 304022.2846 | 28.7 | 67.6
85075 | 2021-04-09 12:17 | 10.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.3244 | μmol/L | 10.8207 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.006 | 107213.6349 | 304049.1583 | 28.7 | 67.6
85084 | 2021-04-09 12:18 | 11.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.2107 | μmol/L | 10.8328 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.006 | 107191.4761 | 304027.5445 | 28.7 | 67.6
85093 | 2021-04-09 12:18 | 11.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.2475 | μmol/L | 10.8389 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.002 | 107165.8154 | 304013.7575 | 28.7 | 67.6
85102 | 2021-04-09 12:18 | 11.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.215 | μmol/L | 10.8449 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.001 | 107153.3327 | 304002.6973 | 28.7 | 67.6
85111 | 2021-04-09 12:19 | 12.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.2716 | μmol/L | 10.8571 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.994 | 107124.3689 | 303974.2603 | 28.7 | 67.6
85120 | 2021-04-09 12:19 | 12.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.2878 | μmol/L | 10.8631 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.991 | 107110.813 | 303965.8446 | 28.7 | 67.6
85129 | 2021-04-09 12:19 | 12.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.2715 | μmol/L | 10.8753 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.987 | 107092.8224 | 303956.8528 | 28.7 | 67.6
85138 | 2021-04-09 12:20 | 13.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1336 | μmol/L | 10.8874 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.988 | 107076.814 | 303962.3951 | 28.7 | 67.6
85147 | 2021-04-09 12:20 | 13.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0445 | μmol/L | 10.8995 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.987 | 107060.4813 | 303951.2498 | 28.7 | 67.6
85156 | 2021-04-09 12:20 | 13.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.085 | μmol/L | 10.9056 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.983 | 107050.0656 | 303954.026 | 28.7 | 67.6
85165 | 2021-04-09 12:21 | 14.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0283 | μmol/L | 10.9117 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.983 | 107027.5705 | 303924.3311 | 28.7 | 67.6
85174 | 2021-04-09 12:21 | 14.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.1661 | μmol/L | 10.9177 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.975 | 107024.1114 | 303916.6886 | 28.7 | 67.6
85183 | 2021-04-09 12:21 | 14.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0364 | μmol/L | 10.9238 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.978 | 107005.7863 | 303896.09 | 28.7 | 67.6
85192 | 2021-04-09 12:22 | 15.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0203 | μmol/L | 10.936 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.974 | 106997.2411 | 303909.2242 | 28.7 | 67.6
85201 | 2021-04-09 12:22 | 15.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9799 | μmol/L | 10.9481 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.971 | 106978.5399 | 303887.5025 | 28.7 | 67.6
85210 | 2021-04-09 12:22 | 15.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8989 | μmol/L | 10.9542 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.972 | 106965.4385 | 303880.1592 | 28.7 | 67.6
85219 | 2021-04-09 12:23 | 16.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 285.0368 | μmol/L | 10.9602 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.964 | 106948.9667 | 303858.9507 | 28.7 | 67.6
85228 | 2021-04-09 12:23 | 16.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9315 | μmol/L | 10.9663 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.966 | 106936.1824 | 303859.7038 | 28.7 | 67.6
85237 | 2021-04-09 12:23 | 16.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8911 | μmol/L | 10.9784 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.963 | 106918.5231 | 303842.2237 | 28.7 | 67.6
85246 | 2021-04-09 12:24 | 17.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9397 | μmol/L | 10.9784 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.961 | 106910.7612 | 303843.3452 | 28.7 | 67.6
85255 | 2021-04-09 12:24 | 17.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.9724 | μmol/L | 10.9906 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.955 | 106904.4159 | 303841.3719 | 28.7 | 67.6
85264 | 2021-04-09 12:24 | 17.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8185 | μmol/L | 10.9966 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.959 | 106895.857 | 303830.7267 | 28.7 | 67.6
85273 | 2021-04-09 12:25 | 18.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.8026 | μmol/L | 11.0088 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.955 | 106876.6038 | 303825.5929 | 28.7 | 67.6
85282 | 2021-04-09 12:25 | 18.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7053 | μmol/L | 11.0088 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.959 | 106876.5473 | 303816.7783 | 28.7 | 67.6
85291 | 2021-04-09 12:25 | 18.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.7946 | μmol/L | 11.0148 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.953 | 106853.4338 | 303816.8584 | 28.7 | 67.6
85300 | 2021-04-09 12:26 | 19.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.6815 | μmol/L | 11.027 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.953 | 106839.7822 | 303794.1517 | 28.7 | 67.6
85309 | 2021-04-09 12:26 | 19.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.5684 | μmol/L | 11.0391 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.953 | 106826.7162 | 303777.1069 | 28.7 | 67.6
85318 | 2021-04-09 12:26 | 19.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.6899 | μmol/L | 11.0391 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.948 | 106819.0212 | 303769.5434 | 28.7 | 67.6
85327 | 2021-04-09 12:27 | 20.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.6497 | μmol/L | 11.0513 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.945 | 106803.4606 | 303765.0271 | 28.7 | 67.6
85336 | 2021-04-09 12:27 | 20.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.6983 | μmol/L | 11.0513 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.943 | 106793.0388 | 303746.2082 | 28.7 | 67.6
85345 | 2021-04-09 12:27 | 20.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.5853 | μmol/L | 11.0634 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.943 | 106788.3446 | 303748.4935 | 28.7 | 67.6
85354 | 2021-04-09 12:28 | 21.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.5124 | μmol/L | 11.0634 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.946 | 106772.2164 | 303730.5062 | 28.7 | 67.6
85363 | 2021-04-09 12:28 | 21.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.5288 | μmol/L | 11.0695 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.943 | 106764.6001 | 303723.6927 | 28.7 | 67.6
85372 | 2021-04-09 12:28 | 21.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.5209 | μmol/L | 11.0755 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.941 | 106767.378 | 303715.2052 | 28.7 | 67.6
85381 | 2021-04-09 12:29 | 22.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4159 | μmol/L | 11.0816 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.943 | 106760.2237 | 303699.4485 | 28.7 | 67.6
85390 | 2021-04-09 12:29 | 22.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3759 | μmol/L | 11.0937 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.94 | 106740.6674 | 303690.956 | 28.7 | 67.6
85399 | 2021-04-09 12:29 | 22.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4323 | μmol/L | 11.0877 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.94 | 106742.708 | 303691.8127 | 28.7 | 67.6
85408 | 2021-04-09 12:30 | 23.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.4001 | μmol/L | 11.0937 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.939 | 106733.1618 | 303681.4274 | 28.7 | 67.6
85417 | 2021-04-09 12:30 | 23.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3359 | μmol/L | 11.1059 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.937 | 106718.2733 | 303676.1896 | 28.7 | 67.6
85426 | 2021-04-09 12:30 | 23.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3116 | μmol/L | 11.1059 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.938 | 106715.0926 | 303660.6559 | 28.7 | 67.6
85435 | 2021-04-09 12:31 | 24.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2552 | μmol/L | 11.1119 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.938 | 106726.4815 | 303655.6222 | 28.7 | 67.6
85444 | 2021-04-09 12:31 | 24.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2638 | μmol/L | 11.1241 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.933 | 106704.5753 | 303652.3746 | 28.7 | 67.6
85453 | 2021-04-09 12:31 | 24.6713 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1745 | μmol/L | 11.118 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.939 | 106706.0784 | 303658.8085 | 28.7 | 67.6
85462 | 2021-04-09 12:32 | 25.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.2317 | μmol/L | 11.1302 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.932 | 106694.6927 | 303633.3993 | 28.7 | 67.6
85471 | 2021-04-09 12:32 | 25.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.054 | μmol/L | 11.1362 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.937 | 106676.9669 | 303632.2331 | 28.7 | 67.6
85480 | 2021-04-09 12:32 | 25.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.151 | μmol/L | 11.1362 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.933 | 106667.1255 | 303617.1257 | 28.7 | 67.6
85489 | 2021-04-09 12:33 | 26.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.3209 | μmol/L | 11.1362 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.926 | 106648.2148 | 303609.44 | 28.7 | 67.6
85498 | 2021-04-09 12:33 | 26.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1839 | μmol/L | 11.1484 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.927 | 106645.0511 | 303607.0412 | 28.7 | 67.6
85507 | 2021-04-09 12:33 | 26.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1761 | μmol/L | 11.1544 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.925 | 106641.8442 | 303604.7712 | 28.7 | 67.6
85516 | 2021-04-09 12:34 | 27.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.0635 | μmol/L | 11.1666 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.925 | 106623.2814 | 303593.3782 | 28.7 | 67.6
85525 | 2021-04-09 12:34 | 27.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.112 | μmol/L | 11.1666 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.923 | 106614.3999 | 303592.7676 | 28.7 | 67.6
85534 | 2021-04-09 12:34 | 27.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.0072 | μmol/L | 11.1726 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.925 | 106600.6171 | 303579.501 | 28.7 | 67.6
85543 | 2021-04-09 12:35 | 28.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.08 | μmol/L | 11.1726 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.922 | 106593.4977 | 303564.2708 | 28.7 | 67.6
85552 | 2021-04-09 12:35 | 28.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.1285 | μmol/L | 11.1726 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.92 | 106581.5401 | 303569.0706 | 28.7 | 67.6
85561 | 2021-04-09 12:35 | 28.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.113 | μmol/L | 11.1848 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.916 | 106566.6932 | 303566.1872 | 28.7 | 67.6
85570 | 2021-04-09 12:36 | 29.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 284.0237 | μmol/L | 11.1787 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.922 | 106573.4482 | 303558.4078 | 28.7 | 67.6
85579 | 2021-04-09 12:36 | 29.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9354 | μmol/L | 11.1908 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.921 | 106560.7005 | 303547.4076 | 28.7 | 67.6
85588 | 2021-04-09 12:36 | 29.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9839 | μmol/L | 11.1908 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.919 | 106556.843 | 303535.1671 | 28.7 | 67.6
85597 | 2021-04-09 12:37 | 30.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8957 | μmol/L | 11.203 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.918 | 106557.0977 | 303523.6022 | 28.7 | 67.6
85606 | 2021-04-09 12:37 | 30.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9762 | μmol/L | 11.1969 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.917 | 106546.9974 | 303516.6983 | 28.7 | 67.6
85615 | 2021-04-09 12:37 | 30.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.791 | μmol/L | 11.2091 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.92 | 106541.8934 | 303523.8968 | 28.7 | 67.6
85624 | 2021-04-09 12:38 | 31.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8637 | μmol/L | 11.2091 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.917 | 106535.5675 | 303506.4109 | 28.7 | 67.6
85633 | 2021-04-09 12:38 | 31.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9199 | μmol/L | 11.203 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.917 | 106537.0479 | 303492.8411 | 28.7 | 67.6
85642 | 2021-04-09 12:38 | 31.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.9044 | μmol/L | 11.2151 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.913 | 106521.4212 | 303485.1216 | 28.7 | 67.6
85651 | 2021-04-09 12:39 | 32.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7193 | μmol/L | 11.2273 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.916 | 106522.7106 | 303458.8275 | 28.7 | 67.6
85660 | 2021-04-09 12:39 | 32.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.8163 | μmol/L | 11.2273 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.912 | 106520.0464 | 303482.352 | 28.7 | 67.6
85669 | 2021-04-09 12:39 | 32.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6709 | μmol/L | 11.2273 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.918 | 106520.5657 | 303464.6476 | 28.7 | 67.6
85678 | 2021-04-09 12:40 | 33.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.7435 | μmol/L | 11.2273 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.915 | 106525.4968 | 303473.063 | 28.7 | 67.6
85687 | 2021-04-09 12:40 | 33.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.542 | μmol/L | 11.2333 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.921 | 106506.1426 | 303450.7064 | 28.7 | 67.6
85696 | 2021-04-09 12:40 | 33.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6951 | μmol/L | 11.2273 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.917 | 106507.7268 | 303448.3417 | 28.7 | 67.6
85705 | 2021-04-09 12:41 | 34.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.5585 | μmol/L | 11.2394 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.918 | 106506.4878 | 303446.738 | 28.7 | 67.6
85714 | 2021-04-09 12:41 | 34.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.6312 | μmol/L | 11.2394 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.915 | 106506.8502 | 303436.1916 | 28.7 | 67.6
85723 | 2021-04-09 12:41 | 34.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4705 | μmol/L | 11.2515 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.917 | 106500.5569 | 303427.6365 | 28.7 | 67.6
85732 | 2021-04-09 12:42 | 35.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.5828 | μmol/L | 11.2394 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.917 | 106504.2321 | 303422.6671 | 28.7 | 67.6
85741 | 2021-04-09 12:42 | 35.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4144 | μmol/L | 11.2576 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.917 | 106489.0941 | 303405.0909 | 28.7 | 67.6
85750 | 2021-04-09 12:42 | 35.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4463 | μmol/L | 11.2515 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.918 | 106491.3603 | 303412.6934 | 28.7 | 67.6
85759 | 2021-04-09 12:43 | 36.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4463 | μmol/L | 11.2515 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.918 | 106491.6268 | 303400.5935 | 28.7 | 67.6
85768 | 2021-04-09 12:43 | 36.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4144 | μmol/L | 11.2576 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.917 | 106483.0111 | 303393.2263 | 28.7 | 67.6
85777 | 2021-04-09 12:43 | 36.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.5355 | μmol/L | 11.2576 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.912 | 106480.7293 | 303387.3447 | 28.7 | 67.6
85786 | 2021-04-09 12:44 | 37.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3825 | μmol/L | 11.2637 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.916 | 106469.6474 | 303377.2112 | 28.7 | 67.6
85795 | 2021-04-09 12:44 | 37.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3265 | μmol/L | 11.2697 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.916 | 106468.5114 | 303373.4146 | 28.7 | 67.6
85804 | 2021-04-09 12:44 | 37.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3265 | μmol/L | 11.2697 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.916 | 106459.4744 | 303353.8099 | 28.7 | 67.6
85813 | 2021-04-09 12:45 | 38.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3188 | μmol/L | 11.2758 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.914 | 106455.9742 | 303345.5747 | 28.7 | 67.6
85822 | 2021-04-09 12:45 | 38.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.343 | μmol/L | 11.2758 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.913 | 106460.3524 | 303355.9038 | 28.7 | 67.6
85831 | 2021-04-09 12:45 | 38.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3277 | μmol/L | 11.288 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.909 | 106442.2629 | 303331.043 | 28.7 | 67.6
85840 | 2021-04-09 12:46 | 39.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3595 | μmol/L | 11.2819 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.91 | 106423.1325 | 303323.8364 | 28.7 | 67.6
85849 | 2021-04-09 12:46 | 39.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3111 | μmol/L | 11.2819 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.912 | 106420.2366 | 303309.3111 | 28.7 | 67.6
85858 | 2021-04-09 12:46 | 39.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2793 | μmol/L | 11.288 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.911 | 106422.1174 | 303310.9418 | 28.7 | 67.6
85867 | 2021-04-09 12:47 | 40.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2309 | μmol/L | 11.288 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.913 | 106399.7194 | 303295.2029 | 28.7 | 67.6
85876 | 2021-04-09 12:47 | 40.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2233 | μmol/L | 11.294 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.911 | 106401.8254 | 303299.4496 | 28.7 | 67.6
85885 | 2021-04-09 12:47 | 40.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3519 | μmol/L | 11.288 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.908 | 106386.0606 | 303282.9273 | 28.7 | 67.6
85894 | 2021-04-09 12:48 | 41.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2156 | μmol/L | 11.3001 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.909 | 106384.6263 | 303266.0745 | 28.7 | 67.6
85903 | 2021-04-09 12:48 | 41.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2958 | μmol/L | 11.294 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.908 | 106380.0701 | 303274.5889 | 28.7 | 67.6
85912 | 2021-04-09 12:48 | 41.6713 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2564 | μmol/L | 11.3062 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.905 | 106377.9988 | 303272.2205 | 28.7 | 67.6
85921 | 2021-04-09 12:49 | 42.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.208 | μmol/L | 11.3062 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.907 | 106365.9484 | 303263.1287 | 28.7 | 67.6
85930 | 2021-04-09 12:49 | 42.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1838 | μmol/L | 11.3062 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.908 | 106362.5269 | 303251.8685 | 28.7 | 67.6
85939 | 2021-04-09 12:49 | 42.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.152 | μmol/L | 11.3122 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.907 | 106356.4415 | 303241.686 | 28.7 | 67.6
85948 | 2021-04-09 12:50 | 43.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2806 | μmol/L | 11.3062 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.904 | 106340.8582 | 303233.4891 | 28.7 | 67.6
85957 | 2021-04-09 12:50 | 43.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2093 | μmol/L | 11.3244 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106338.2849 | 303224.3744 | 28.7 | 67.6
85966 | 2021-04-09 12:50 | 43.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.2488 | μmol/L | 11.3122 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.903 | 106336.4078 | 303233.2243 | 28.7 | 67.6
85975 | 2021-04-09 12:51 | 44.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1927 | μmol/L | 11.3183 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.903 | 106321.7475 | 303206.8067 | 28.7 | 67.6
85984 | 2021-04-09 12:51 | 44.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1444 | μmol/L | 11.3183 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.905 | 106314.0536 | 303204.5004 | 28.7 | 67.6
85993 | 2021-04-09 12:51 | 44.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0884 | μmol/L | 11.3244 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.905 | 106309.4162 | 303194.1553 | 28.7 | 67.6
86002 | 2021-04-09 12:52 | 45.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1126 | μmol/L | 11.3244 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.904 | 106305.7876 | 303198.4079 | 28.7 | 67.6
86011 | 2021-04-09 12:52 | 45.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1458 | μmol/L | 11.3365 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.898 | 106293.7435 | 303180.461 | 28.7 | 67.6
86020 | 2021-04-09 12:52 | 45.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0808 | μmol/L | 11.3304 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.903 | 106296.0751 | 303187.8224 | 28.7 | 67.6
86029 | 2021-04-09 12:53 | 46.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1216 | μmol/L | 11.3365 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.899 | 106283.5158 | 303175.7733 | 28.7 | 67.6
86038 | 2021-04-09 12:53 | 46.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1941 | μmol/L | 11.3365 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.896 | 106277.7233 | 303172.9338 | 28.7 | 67.6
86047 | 2021-04-09 12:53 | 46.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.049 | μmol/L | 11.3365 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.902 | 106286.6173 | 303160.29 | 28.7 | 67.6
86056 | 2021-04-09 12:54 | 47.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9931 | μmol/L | 11.3426 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.902 | 106280.8522 | 303169.9545 | 28.7 | 67.6
86065 | 2021-04-09 12:54 | 47.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0974 | μmol/L | 11.3365 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106272.7832 | 303168.5183 | 28.7 | 67.6
86074 | 2021-04-09 12:54 | 47.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9371 | μmol/L | 11.3486 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.902 | 106275.6001 | 303162.8935 | 28.7 | 67.6
86083 | 2021-04-09 12:55 | 48.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9931 | μmol/L | 11.3426 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.902 | 106264.6655 | 303138.3658 | 28.7 | 67.6
86092 | 2021-04-09 12:55 | 48.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0338 | μmol/L | 11.3486 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.898 | 106259.5612 | 303132.2014 | 28.7 | 67.6
86101 | 2021-04-09 12:55 | 48.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0097 | μmol/L | 11.3486 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.899 | 106259.2305 | 303133.0018 | 28.7 | 67.6
86110 | 2021-04-09 12:56 | 49.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9855 | μmol/L | 11.3486 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106259.6947 | 303124.2658 | 28.7 | 67.6
86119 | 2021-04-09 12:56 | 49.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0338 | μmol/L | 11.3486 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.898 | 106252.7907 | 303118.0858 | 28.7 | 67.6
86128 | 2021-04-09 12:56 | 49.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9537 | μmol/L | 11.3547 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.899 | 106248.4805 | 303109.9361 | 28.7 | 67.6
86137 | 2021-04-09 12:57 | 50.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0505 | μmol/L | 11.3547 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.895 | 106244.4547 | 303100.8463 | 28.7 | 67.6
86146 | 2021-04-09 12:57 | 50.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8495 | μmol/L | 11.3608 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.901 | 106246.3611 | 303106.3393 | 28.7 | 67.6
86155 | 2021-04-09 12:57 | 50.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9462 | μmol/L | 11.3608 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.897 | 106233.6737 | 303099.3296 | 28.7 | 67.6
86164 | 2021-04-09 12:58 | 51.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8737 | μmol/L | 11.3608 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106236.0176 | 303078.871 | 28.7 | 67.6
86173 | 2021-04-09 12:58 | 51.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9945 | μmol/L | 11.3608 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.895 | 106234.4318 | 303092.3451 | 28.7 | 67.6
86182 | 2021-04-09 12:58 | 51.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.922 | μmol/L | 11.3608 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.898 | 106213.5974 | 303080.3157 | 28.7 | 67.6
86191 | 2021-04-09 12:59 | 52.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8903 | μmol/L | 11.3669 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.897 | 106203.4283 | 303064.6319 | 28.7 | 67.6
86200 | 2021-04-09 12:59 | 52.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8903 | μmol/L | 11.3669 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.897 | 106195.67 | 303060.7449 | 28.7 | 67.6
86209 | 2021-04-09 12:59 | 52.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0111 | μmol/L | 11.3669 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.892 | 106192.9382 | 303065.2804 | 28.7 | 67.6
86218 | 2021-04-09 13:00 | 53.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9311 | μmol/L | 11.3729 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.893 | 106195.6042 | 303067.9288 | 28.7 | 67.6
86227 | 2021-04-09 13:00 | 53.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8752 | μmol/L | 11.379 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.893 | 106186.2754 | 303045.5693 | 28.7 | 67.6
86236 | 2021-04-09 13:00 | 53.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9552 | μmol/L | 11.3729 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.892 | 106173.0657 | 303037.2811 | 28.7 | 67.6
86245 | 2021-04-09 13:01 | 54.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.851 | μmol/L | 11.379 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.894 | 106179.8129 | 303042.1686 | 28.7 | 67.6
86254 | 2021-04-09 13:01 | 54.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.9477 | μmol/L | 11.379 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.89 | 106174.8311 | 303040.1657 | 28.7 | 67.6
86263 | 2021-04-09 13:01 | 54.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8752 | μmol/L | 11.379 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.893 | 106177.7352 | 303035.0009 | 28.7 | 67.6
86272 | 2021-04-09 13:02 | 55.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8918 | μmol/L | 11.3851 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.89 | 106161.7024 | 303021.6628 | 28.7 | 67.6
86281 | 2021-04-09 13:02 | 55.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.7468 | μmol/L | 11.3851 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.896 | 106168.6113 | 303026.9988 | 28.7 | 67.6
86290 | 2021-04-09 13:02 | 55.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.771 | μmol/L | 11.3851 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.895 | 106162.5124 | 303015.9352 | 28.7 | 67.6
86299 | 2021-04-09 13:03 | 56.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.7876 | μmol/L | 11.3911 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.892 | 106163.5982 | 303009.7208 | 28.7 | 67.6
86308 | 2021-04-09 13:03 | 56.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.7634 | μmol/L | 11.3911 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.893 | 106165.5136 | 303007.7959 | 28.7 | 67.6
86317 | 2021-04-09 13:03 | 56.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5793 | μmol/L | 11.4033 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.896 | 106154.7641 | 302992.7708 | 28.7 | 67.6
86326 | 2021-04-09 13:04 | 57.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8676 | μmol/L | 11.3851 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.891 | 106152.3387 | 302995.1932 | 28.7 | 67.6
86335 | 2021-04-09 13:04 | 57.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.6985 | μmol/L | 11.3851 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.898 | 106161.5237 | 302983.2358 | 28.7 | 67.6
86344 | 2021-04-09 13:04 | 57.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.6351 | μmol/L | 11.3972 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.896 | 106171.0571 | 302979.6423 | 28.7 | 67.6
86353 | 2021-04-09 13:05 | 58.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5386 | μmol/L | 11.3972 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106176.6608 | 302988.7724 | 28.7 | 67.6
86362 | 2021-04-09 13:05 | 58.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.6427 | μmol/L | 11.3911 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.898 | 106176.1206 | 302986.3925 | 28.7 | 67.6
86371 | 2021-04-09 13:05 | 58.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.4903 | μmol/L | 11.3972 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.902 | 106167.6335 | 302975.9992 | 28.7 | 67.6
86380 | 2021-04-09 13:06 | 59.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5069 | μmol/L | 11.4033 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.899 | 106174.308 | 302956.4702 | 28.7 | 67.6
86389 | 2021-04-09 13:06 | 59.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.4511 | μmol/L | 11.4093 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.899 | 106181.1468 | 302965.7501 | 28.7 | 67.6
86398 | 2021-04-09 13:06 | 59.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.4104 | μmol/L | 11.4033 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.903 | 106175.5601 | 302947.4899 | 28.7 | 67.6
86407 | 2021-04-09 13:07 | 60.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.338 | μmol/L | 11.4033 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.906 | 106184.7332 | 302947.651 | 28.7 | 67.6
86416 | 2021-04-09 13:07 | 60.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3546 | μmol/L | 11.4093 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.903 | 106182.7708 | 302935.3412 | 28.7 | 67.6
86425 | 2021-04-09 13:07 | 60.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.427 | μmol/L | 11.4093 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106178.5173 | 302943.2839 | 28.7 | 67.6
86434 | 2021-04-09 13:08 | 61.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3546 | μmol/L | 11.4093 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.903 | 106179.8347 | 302940.6897 | 28.7 | 67.6
86443 | 2021-04-09 13:08 | 61.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.2989 | μmol/L | 11.4154 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.903 | 106176.9841 | 302922.55 | 28.7 | 67.6
86452 | 2021-04-09 13:08 | 61.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.2914 | μmol/L | 11.4215 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.901 | 106171.5866 | 302928.3976 | 28.7 | 67.6
86461 | 2021-04-09 13:09 | 62.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3712 | μmol/L | 11.4154 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106167.5409 | 302919.931 | 28.7 | 67.6
86470 | 2021-04-09 13:09 | 62.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.2673 | μmol/L | 11.4215 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.902 | 106168.4968 | 302916.0783 | 28.7 | 67.6
86479 | 2021-04-09 13:09 | 62.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1949 | μmol/L | 11.4215 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.905 | 106151.22 | 302918.3564 | 28.7 | 67.6
86488 | 2021-04-09 13:10 | 63.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.2357 | μmol/L | 11.4275 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.901 | 106144.5952 | 302915.1616 | 28.7 | 67.6
86497 | 2021-04-09 13:10 | 63.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1874 | μmol/L | 11.4275 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.903 | 106143.7671 | 302903.5986 | 28.7 | 67.6
86506 | 2021-04-09 13:10 | 63.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3804 | μmol/L | 11.4275 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.895 | 106122.0205 | 302892.1884 | 28.7 | 67.6
86515 | 2021-04-09 13:11 | 64.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3562 | μmol/L | 11.4275 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.896 | 106118.2377 | 302883.2445 | 28.7 | 67.6
86524 | 2021-04-09 13:11 | 64.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3729 | μmol/L | 11.4336 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.893 | 106100.2402 | 302902.2923 | 28.7 | 67.6
86533 | 2021-04-09 13:11 | 64.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3488 | μmol/L | 11.4336 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.894 | 106096.8808 | 302876.7079 | 28.7 | 67.6
86542 | 2021-04-09 13:12 | 65.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.501 | μmol/L | 11.4275 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.89 | 106089.0668 | 302892.5013 | 28.7 | 67.6
86551 | 2021-04-09 13:12 | 65.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.4211 | μmol/L | 11.4336 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.891 | 106082.1638 | 302873.1154 | 28.7 | 67.6
86560 | 2021-04-09 13:12 | 65.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3804 | μmol/L | 11.4275 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.895 | 106072.4026 | 302870.9625 | 28.7 | 67.6
86569 | 2021-04-09 13:13 | 66.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.4694 | μmol/L | 11.4336 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.889 | 106067.619 | 302866.1286 | 28.7 | 67.6
86578 | 2021-04-09 13:13 | 66.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5327 | μmol/L | 11.4215 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.891 | 106066.314 | 302853.0285 | 28.7 | 67.6
86587 | 2021-04-09 13:13 | 66.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.4769 | μmol/L | 11.4275 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.891 | 106061.6826 | 302848.0283 | 28.7 | 67.6
86596 | 2021-04-09 13:14 | 67.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3172 | μmol/L | 11.4397 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.893 | 106063.8767 | 302843.4268 | 28.7 | 67.6
86605 | 2021-04-09 13:14 | 67.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.501 | μmol/L | 11.4275 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.89 | 106067.3895 | 302828.5898 | 28.7 | 67.6
86614 | 2021-04-09 13:14 | 67.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.4211 | μmol/L | 11.4336 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.891 | 106055.6214 | 302824.5248 | 28.7 | 67.6
86623 | 2021-04-09 13:15 | 68.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3005 | μmol/L | 11.4336 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.896 | 106059.9984 | 302814.9542 | 28.7 | 67.6
86632 | 2021-04-09 13:15 | 68.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.293 | μmol/L | 11.4397 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.894 | 106068.0757 | 302806.0083 | 28.7 | 67.6
86641 | 2021-04-09 13:15 | 68.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3413 | μmol/L | 11.4397 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.892 | 106050.349 | 302813.4847 | 28.7 | 67.6
86650 | 2021-04-09 13:16 | 69.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.2689 | μmol/L | 11.4397 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.895 | 106062.1448 | 302799.3058 | 28.7 | 67.6
86659 | 2021-04-09 13:16 | 69.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.1168 | μmol/L | 11.4458 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.899 | 106076.2583 | 302800.8752 | 28.7 | 67.6
86668 | 2021-04-09 13:16 | 69.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.0927 | μmol/L | 11.4458 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106087.2695 | 302798.2494 | 28.7 | 67.6
86677 | 2021-04-09 13:17 | 70.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.0445 | μmol/L | 11.4458 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.902 | 106095.8774 | 302795.6683 | 28.7 | 67.6
86686 | 2021-04-09 13:17 | 70.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.052 | μmol/L | 11.4397 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.904 | 106106.1788 | 302803.5507 | 28.7 | 67.6
86695 | 2021-04-09 13:17 | 70.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.0038 | μmol/L | 11.4397 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.906 | 106109.9634 | 302783.2667 | 28.7 | 67.6
86704 | 2021-04-09 13:18 | 71.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.9315 | μmol/L | 11.4397 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.909 | 106103.1816 | 302792.4473 | 28.7 | 67.6
86713 | 2021-04-09 13:18 | 71.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.0445 | μmol/L | 11.4458 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.902 | 106106.8185 | 302791.2249 | 28.7 | 67.6
86722 | 2021-04-09 13:18 | 71.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.924 | μmol/L | 11.4458 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.907 | 106115.615 | 302782.8817 | 28.7 | 67.6
86731 | 2021-04-09 13:19 | 72.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.8369 | μmol/L | 11.4579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.906 | 106108.8896 | 302772.0534 | 28.7 | 67.6
86740 | 2021-04-09 13:19 | 72.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.8925 | μmol/L | 11.4518 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.906 | 106115.561 | 302768.2494 | 28.7 | 67.6
86749 | 2021-04-09 13:19 | 72.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.8203 | μmol/L | 11.4518 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.909 | 106106.7457 | 302747.1748 | 28.7 | 67.6
86758 | 2021-04-09 13:20 | 73.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.6684 | μmol/L | 11.4579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.913 | 106090.54 | 302753.2397 | 28.7 | 67.6
86767 | 2021-04-09 13:20 | 73.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.9481 | μmol/L | 11.4458 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.906 | 106096.9615 | 302747.6728 | 28.7 | 67.6
86776 | 2021-04-09 13:20 | 73.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.8609 | μmol/L | 11.4579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.905 | 106094.1564 | 302747.0122 | 28.7 | 67.6
86785 | 2021-04-09 13:21 | 74.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.8369 | μmol/L | 11.4579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.906 | 106073.3549 | 302727.6445 | 28.7 | 67.6
86794 | 2021-04-09 13:21 | 74.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.9647 | μmol/L | 11.4518 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.903 | 106074.9294 | 302744.3765 | 28.7 | 67.6
86803 | 2021-04-09 13:21 | 74.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.9814 | μmol/L | 11.4579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106062.647 | 302732.9028 | 28.7 | 67.6
86812 | 2021-04-09 13:22 | 75.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.8776 | μmol/L | 11.464 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.902 | 106058.5827 | 302723.5016 | 28.7 | 67.6
86821 | 2021-04-09 13:22 | 75.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.822 | μmol/L | 11.47 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.902 | 106044.8893 | 302731.0902 | 28.7 | 67.6
86830 | 2021-04-09 13:22 | 75.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.9017 | μmol/L | 11.464 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.901 | 106044.833 | 302713.4306 | 28.7 | 67.6
86839 | 2021-04-09 13:23 | 76.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.9498 | μmol/L | 11.464 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.899 | 106036.9123 | 302702.635 | 28.7 | 67.6
86848 | 2021-04-09 13:23 | 76.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.9424 | μmol/L | 11.47 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.897 | 106041.432 | 302705.4717 | 28.7 | 67.6
86857 | 2021-04-09 13:23 | 76.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.9257 | μmol/L | 11.464 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106029.7955 | 302690.4571 | 28.7 | 67.6
86866 | 2021-04-09 13:24 | 77.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.9017 | μmol/L | 11.464 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.901 | 106032.9043 | 302695.5963 | 28.7 | 67.6
86875 | 2021-04-09 13:24 | 77.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.8535 | μmol/L | 11.464 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.903 | 106028.8316 | 302686.7169 | 28.7 | 67.6
86884 | 2021-04-09 13:24 | 77.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.7497 | μmol/L | 11.47 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.905 | 106042.8738 | 302684.4966 | 28.7 | 67.6
86893 | 2021-04-09 13:25 | 78.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.7497 | μmol/L | 11.47 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.905 | 106036.3685 | 302675.918 | 28.7 | 67.6
86902 | 2021-04-09 13:25 | 78.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.846 | μmol/L | 11.47 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.901 | 106034.2642 | 302662.947 | 28.7 | 67.6
86911 | 2021-04-09 13:25 | 78.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.6701 | μmol/L | 11.4761 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.906 | 106034.619 | 302658.5613 | 28.7 | 67.6
86920 | 2021-04-09 13:26 | 79.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.7257 | μmol/L | 11.47 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.906 | 106029.9178 | 302636.0896 | 28.7 | 67.6
86929 | 2021-04-09 13:26 | 79.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.7738 | μmol/L | 11.47 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.904 | 106025.7886 | 302634.2509 | 28.7 | 67.6
86938 | 2021-04-09 13:26 | 79.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.7257 | μmol/L | 11.47 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.906 | 106015.5262 | 302620.1157 | 28.7 | 67.6
86947 | 2021-04-09 13:27 | 80.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.7257 | μmol/L | 11.47 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.906 | 106025.4898 | 302629.6702 | 28.7 | 67.6
86956 | 2021-04-09 13:27 | 80.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.7016 | μmol/L | 11.47 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.907 | 106031.9347 | 302626.0673 | 28.7 | 67.6
86965 | 2021-04-09 13:27 | 80.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.646 | μmol/L | 11.4761 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.907 | 106029.1469 | 302608.6493 | 28.7 | 67.6
86974 | 2021-04-09 13:28 | 81.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.559 | μmol/L | 11.4882 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.906 | 106034.8957 | 302609.2042 | 28.7 | 67.6
86983 | 2021-04-09 13:28 | 81.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.5664 | μmol/L | 11.4822 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.908 | 106035.3042 | 302607.8813 | 28.7 | 67.6
86992 | 2021-04-09 13:28 | 81.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.5979 | μmol/L | 11.4761 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.909 | 106048.1673 | 302600.8588 | 28.7 | 67.6
87001 | 2021-04-09 13:29 | 82.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3833 | μmol/L | 11.4943 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.911 | 106047.6273 | 302602.0098 | 28.7 | 67.6
87010 | 2021-04-09 13:29 | 82.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.4388 | μmol/L | 11.4882 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.911 | 106052.4603 | 302584.022 | 28.7 | 67.6
87019 | 2021-04-09 13:29 | 82.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2465 | μmol/L | 11.4882 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.919 | 106046.7738 | 302572.741 | 28.7 | 67.6
87028 | 2021-04-09 13:30 | 83.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.4222 | μmol/L | 11.4822 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.914 | 106044.8452 | 302568.1821 | 28.7 | 67.6
87037 | 2021-04-09 13:30 | 83.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3426 | μmol/L | 11.4882 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.915 | 106039.3451 | 302571.174 | 28.7 | 67.6
87046 | 2021-04-09 13:30 | 83.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2946 | μmol/L | 11.4882 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.917 | 106045.5244 | 302558.662 | 28.7 | 67.6
87055 | 2021-04-09 13:31 | 84.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3352 | μmol/L | 11.4943 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.913 | 106039.2305 | 302563.1763 | 28.7 | 67.6
87064 | 2021-04-09 13:31 | 84.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1356 | μmol/L | 11.5004 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.919 | 106027.8652 | 302543.5025 | 28.7 | 67.6
87073 | 2021-04-09 13:31 | 84.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3667 | μmol/L | 11.4882 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.914 | 106025.476 | 302550.6641 | 28.7 | 67.6
87082 | 2021-04-09 13:32 | 85.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2631 | μmol/L | 11.4943 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.916 | 106030.4395 | 302555.116 | 28.7 | 67.6
87091 | 2021-04-09 13:32 | 85.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3352 | μmol/L | 11.4943 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.913 | 106026.3329 | 302540.2364 | 28.7 | 67.6
87100 | 2021-04-09 13:32 | 85.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2151 | μmol/L | 11.4943 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.918 | 106023.5179 | 302525.3244 | 28.7 | 67.6
87109 | 2021-04-09 13:33 | 86.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2631 | μmol/L | 11.4943 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.916 | 106032.6784 | 302528.5687 | 28.7 | 67.6
87118 | 2021-04-09 13:33 | 86.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.119 | μmol/L | 11.4943 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.922 | 106045.6398 | 302524.8884 | 28.7 | 67.6
87127 | 2021-04-09 13:33 | 86.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1265 | μmol/L | 11.4882 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.924 | 106039.4445 | 302518.6999 | 28.7 | 67.6
87136 | 2021-04-09 13:34 | 87.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.119 | μmol/L | 11.4943 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.922 | 106040.5587 | 302502.0938 | 28.7 | 67.6
87145 | 2021-04-09 13:34 | 87.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.9676 | μmol/L | 11.5004 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.926 | 106047.0272 | 302496.5884 | 28.7 | 67.6
87154 | 2021-04-09 13:34 | 87.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.9362 | μmol/L | 11.5065 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.925 | 106050.8967 | 302511.7263 | 28.7 | 67.6
87163 | 2021-04-09 13:35 | 88.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.9436 | μmol/L | 11.5004 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.927 | 106047.3343 | 302500.5186 | 28.7 | 67.6
87172 | 2021-04-09 13:35 | 88.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.0156 | μmol/L | 11.5004 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.924 | 106060.6385 | 302503.5512 | 28.7 | 67.6
87181 | 2021-04-09 13:35 | 88.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.951 | μmol/L | 11.4943 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.929 | 106063.6104 | 302494.0612 | 28.7 | 67.6
87190 | 2021-04-09 13:36 | 89.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.8956 | μmol/L | 11.5004 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.929 | 106056.5219 | 302493.7144 | 28.7 | 67.6
87199 | 2021-04-09 13:36 | 89.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.8403 | μmol/L | 11.5065 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.929 | 106048.3062 | 302473.3742 | 28.7 | 67.6
87208 | 2021-04-09 13:36 | 89.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.7683 | μmol/L | 11.5065 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.932 | 106050.3208 | 302478.0976 | 28.7 | 67.6
87217 | 2021-04-09 13:37 | 90.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.7923 | μmol/L | 11.5065 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.931 | 106052.1569 | 302456.0511 | 28.7 | 67.6
87226 | 2021-04-09 13:37 | 90.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.8163 | μmol/L | 11.5065 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.93 | 106055.4276 | 302455.9913 | 28.7 | 67.6
87235 | 2021-04-09 13:37 | 90.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.8956 | μmol/L | 11.5004 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.929 | 106053.3398 | 302456.9325 | 28.7 | 67.6
87244 | 2021-04-09 13:38 | 91.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.7609 | μmol/L | 11.5125 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.93 | 106066.5847 | 302461.3846 | 28.7 | 67.6
87253 | 2021-04-09 13:38 | 91.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.7444 | μmol/L | 11.5065 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.933 | 106064.0799 | 302443.961 | 28.7 | 67.6
87262 | 2021-04-09 13:38 | 91.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.7204 | μmol/L | 11.5065 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.934 | 106053.8139 | 302431.9471 | 28.7 | 67.6
87271 | 2021-04-09 13:39 | 92.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.7369 | μmol/L | 11.5125 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.931 | 106052.4438 | 302407.8377 | 28.7 | 67.6
87280 | 2021-04-09 13:39 | 92.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.689 | μmol/L | 11.5125 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.933 | 106068.1923 | 302428.5999 | 28.7 | 67.6
87289 | 2021-04-09 13:39 | 92.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5858 | μmol/L | 11.5186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.935 | 106059.2567 | 302417.6747 | 28.7 | 67.6
87298 | 2021-04-09 13:40 | 93.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5932 | μmol/L | 11.5125 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.937 | 106064.2627 | 302426.7424 | 28.7 | 67.6
87307 | 2021-04-09 13:40 | 93.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5618 | μmol/L | 11.5186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.936 | 106071.0468 | 302431.6164 | 28.7 | 67.6
87316 | 2021-04-09 13:40 | 93.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5692 | μmol/L | 11.5125 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.938 | 106068.9267 | 302418.4059 | 28.7 | 67.6
87325 | 2021-04-09 13:41 | 94.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.466 | μmol/L | 11.5186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.94 | 106065.1423 | 302413.1393 | 28.7 | 67.6
87334 | 2021-04-09 13:41 | 94.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4107 | μmol/L | 11.5247 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.94 | 106065.6313 | 302394.8664 | 28.7 | 67.6
87343 | 2021-04-09 13:41 | 94.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4421 | μmol/L | 11.5186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.941 | 106069.1238 | 302403.9155 | 28.7 | 67.6
87352 | 2021-04-09 13:42 | 95.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4899 | μmol/L | 11.5186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.939 | 106078.7729 | 302400.165 | 28.7 | 67.6
87361 | 2021-04-09 13:42 | 95.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4421 | μmol/L | 11.5186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.941 | 106059.0849 | 302388.3958 | 28.7 | 67.6
87370 | 2021-04-09 13:42 | 95.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5618 | μmol/L | 11.5186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.936 | 106050.1666 | 302375.8172 | 28.7 | 67.6
87379 | 2021-04-09 13:43 | 96.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4347 | μmol/L | 11.5247 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.939 | 106056.2319 | 302379.9058 | 28.7 | 67.6
87388 | 2021-04-09 13:43 | 96.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4421 | μmol/L | 11.5186 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.941 | 106045.1785 | 302373.1504 | 28.7 | 67.6
87397 | 2021-04-09 13:43 | 96.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4826 | μmol/L | 11.5247 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.937 | 106029.4896 | 302359.3107 | 28.7 | 67.6
87406 | 2021-04-09 13:44 | 97.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5544 | μmol/L | 11.5247 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.934 | 106039.2737 | 302370.5238 | 28.7 | 67.6
87415 | 2021-04-09 13:44 | 97.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4586 | μmol/L | 11.5247 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.938 | 106022.3979 | 302350.6377 | 28.7 | 67.6
87424 | 2021-04-09 13:44 | 97.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.3794 | μmol/L | 11.5307 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.939 | 106013.8878 | 302358.7542 | 28.7 | 67.6
87433 | 2021-04-09 13:45 | 98.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5305 | μmol/L | 11.5247 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.935 | 106019.8056 | 302354.3235 | 28.7 | 67.6
87442 | 2021-04-09 13:45 | 98.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5065 | μmol/L | 11.5247 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.936 | 106028.5765 | 302358.402 | 28.7 | 67.6
87451 | 2021-04-09 13:45 | 98.6713 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.5065 | μmol/L | 11.5247 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.936 | 106020.7724 | 302341.0461 | 28.7 | 67.6
87460 | 2021-04-09 13:46 | 99.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.372 | μmol/L | 11.5368 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.937 | 106026.7423 | 302335.2147 | 28.7 | 67.6
87469 | 2021-04-09 13:46 | 99.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4273 | μmol/L | 11.5307 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.937 | 106022.789 | 302330.648 | 28.7 | 67.6
87478 | 2021-04-09 13:46 | 99.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4107 | μmol/L | 11.5247 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.94 | 106021.3265 | 302310.1863 | 28.7 | 67.6
87487 | 2021-04-09 13:47 | 100.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.3555 | μmol/L | 11.5307 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.94 | 106032.4607 | 302331.6798 | 28.7 | 67.6
87496 | 2021-04-09 13:47 | 100.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2284 | μmol/L | 11.5368 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.943 | 106037.537 | 302316.7169 | 28.7 | 67.6
87505 | 2021-04-09 13:47 | 100.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.3315 | μmol/L | 11.5307 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.941 | 106028.9514 | 302311.5685 | 28.7 | 67.6
87514 | 2021-04-09 13:48 | 101.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.3002 | μmol/L | 11.5368 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.94 | 106028.0273 | 302296.5567 | 28.7 | 67.6
87523 | 2021-04-09 13:48 | 101.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2284 | μmol/L | 11.5368 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.943 | 106027.3877 | 302299.9894 | 28.7 | 67.6
87532 | 2021-04-09 13:48 | 101.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2523 | μmol/L | 11.5368 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.942 | 106023.7316 | 302284.4238 | 28.7 | 67.6
87541 | 2021-04-09 13:49 | 102.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.3002 | μmol/L | 11.5368 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.94 | 106034.6955 | 302296.0885 | 28.7 | 67.6
87550 | 2021-04-09 13:49 | 102.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2837 | μmol/L | 11.5307 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.943 | 106032.3029 | 302290.6587 | 28.7 | 67.6
87559 | 2021-04-09 13:49 | 102.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2284 | μmol/L | 11.5368 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.943 | 106032.4743 | 302288.285 | 28.7 | 67.6
87568 | 2021-04-09 13:50 | 103.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1493 | μmol/L | 11.5429 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.944 | 106027.5128 | 302275.2706 | 28.7 | 67.6
87577 | 2021-04-09 13:50 | 103.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1567 | μmol/L | 11.5368 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.946 | 106033.9536 | 302282.6202 | 28.7 | 67.6
87586 | 2021-04-09 13:50 | 103.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1254 | μmol/L | 11.5429 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.945 | 106042.6893 | 302279.2602 | 28.7 | 67.6
87595 | 2021-04-09 13:51 | 104.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1254 | μmol/L | 11.5429 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.945 | 106037.2195 | 302266.7914 | 28.7 | 67.6
87604 | 2021-04-09 13:51 | 104.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0536 | μmol/L | 11.5429 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.948 | 106031.3813 | 302267.356 | 28.7 | 67.6
87613 | 2021-04-09 13:51 | 104.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1088 | μmol/L | 11.5368 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.948 | 106034.9193 | 302259.5277 | 28.7 | 67.6
87622 | 2021-04-09 13:52 | 105.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0941 | μmol/L | 11.5489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.944 | 106028.7014 | 302256.1402 | 28.7 | 67.6
87631 | 2021-04-09 13:52 | 105.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9819 | μmol/L | 11.5429 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.951 | 106034.8088 | 302256.2559 | 28.7 | 67.6
87640 | 2021-04-09 13:52 | 105.6713 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0058 | μmol/L | 11.5429 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.95 | 106047.7307 | 302267.464 | 28.7 | 67.6
87649 | 2021-04-09 13:53 | 106.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9819 | μmol/L | 11.5429 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.951 | 106042.9037 | 302255.0789 | 28.7 | 67.6
87658 | 2021-04-09 13:53 | 106.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0058 | μmol/L | 11.5429 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.95 | 106034.2325 | 302240.997 | 28.7 | 67.6
87667 | 2021-04-09 13:53 | 106.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9507 | μmol/L | 11.5489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.95 | 106034.2548 | 302226.2723 | 28.7 | 67.6
87676 | 2021-04-09 13:54 | 107.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8551 | μmol/L | 11.5489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.954 | 106038.9979 | 302253.6275 | 28.7 | 67.6
87685 | 2021-04-09 13:54 | 107.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.9268 | μmol/L | 11.5489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.951 | 106041.8831 | 302250.0327 | 28.7 | 67.6
87694 | 2021-04-09 13:54 | 107.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8238 | μmol/L | 11.555 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.953 | 106042.7855 | 302235.6147 | 28.7 | 67.6
87703 | 2021-04-09 13:55 | 108.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8716 | μmol/L | 11.555 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.951 | 106040.21 | 302223.8184 | 28.7 | 67.6
87712 | 2021-04-09 13:55 | 108.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8477 | μmol/L | 11.555 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.952 | 106038.1948 | 302226.8804 | 28.7 | 67.6
87721 | 2021-04-09 13:55 | 108.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8551 | μmol/L | 11.5489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.954 | 106047.5198 | 302224.9288 | 28.7 | 67.6
87730 | 2021-04-09 13:56 | 109.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7522 | μmol/L | 11.555 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.956 | 106044.5134 | 302220.2212 | 28.7 | 67.6
87739 | 2021-04-09 13:56 | 109.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7044 | μmol/L | 11.555 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.958 | 106045.4431 | 302220.4611 | 28.7 | 67.6
87748 | 2021-04-09 13:56 | 109.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7283 | μmol/L | 11.555 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.957 | 106050.7809 | 302201.9039 | 28.7 | 67.6
87757 | 2021-04-09 13:57 | 110.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7044 | μmol/L | 11.555 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.958 | 106045.2169 | 302202.5004 | 28.7 | 67.6
87766 | 2021-04-09 13:57 | 110.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6255 | μmol/L | 11.5611 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.959 | 106041.4309 | 302204.495 | 28.7 | 67.6
87775 | 2021-04-09 13:57 | 110.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.642 | μmol/L | 11.5671 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.956 | 106050.5291 | 302200.4544 | 28.7 | 67.6
87784 | 2021-04-09 13:58 | 111.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8 | μmol/L | 11.555 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.954 | 106051.7213 | 302198.0554 | 28.7 | 67.6
87793 | 2021-04-09 13:58 | 111.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8312 | μmol/L | 11.5489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.955 | 106036.2285 | 302189.3274 | 28.7 | 67.6
87802 | 2021-04-09 13:58 | 111.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7522 | μmol/L | 11.555 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.956 | 106032.0172 | 302186.3945 | 28.7 | 67.6
87811 | 2021-04-09 13:59 | 112.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5704 | μmol/L | 11.5671 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.959 | 106029.823 | 302161.0064 | 28.7 | 67.6
87820 | 2021-04-09 13:59 | 112.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5943 | μmol/L | 11.5671 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.958 | 106025.0309 | 302164.4234 | 28.7 | 67.6
87829 | 2021-04-09 13:59 | 112.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7926 | μmol/L | 11.5611 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.952 | 106021.9065 | 302167.4334 | 28.7 | 67.6
87838 | 2021-04-09 14:00 | 113.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6493 | μmol/L | 11.5611 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.958 | 106010.7478 | 302160.361 | 28.7 | 67.6
87847 | 2021-04-09 14:00 | 113.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7448 | μmol/L | 11.5611 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.954 | 106014.873 | 302147.6905 | 28.7 | 67.6
87856 | 2021-04-09 14:00 | 113.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6732 | μmol/L | 11.5611 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.957 | 106015.6255 | 302153.2473 | 28.7 | 67.6
87865 | 2021-04-09 14:01 | 114.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7687 | μmol/L | 11.5611 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.953 | 106016.2998 | 302155.9357 | 28.7 | 67.6
87874 | 2021-04-09 14:01 | 114.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5943 | μmol/L | 11.5671 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.958 | 106011.5701 | 302130.5445 | 28.7 | 67.6
87883 | 2021-04-09 14:01 | 114.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6181 | μmol/L | 11.5671 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.957 | 106013.4602 | 302120.3981 | 28.7 | 67.6
87892 | 2021-04-09 14:02 | 115.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5704 | μmol/L | 11.5671 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.959 | 106018.6545 | 302149.3766 | 28.7 | 67.6
87901 | 2021-04-09 14:02 | 115.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4988 | μmol/L | 11.5671 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.962 | 106022.8918 | 302136.3706 | 28.7 | 67.6
87910 | 2021-04-09 14:02 | 115.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5227 | μmol/L | 11.5671 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.961 | 106037.0646 | 302138.4508 | 28.7 | 67.6
87919 | 2021-04-09 14:03 | 116.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3887 | μmol/L | 11.5793 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.962 | 106031.5354 | 302128.1814 | 28.7 | 67.6
87928 | 2021-04-09 14:03 | 116.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4199 | μmol/L | 11.5732 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.963 | 106035.0616 | 302115.5994 | 28.7 | 67.6
87937 | 2021-04-09 14:03 | 116.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3684 | μmol/L | 11.5732 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.965 | 106046.8904 | 302119.4209 | 28.7 | 67.6
87946 | 2021-04-09 14:04 | 117.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3446 | μmol/L | 11.5732 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.966 | 106047.3593 | 302107.739 | 28.7 | 67.6
87955 | 2021-04-09 14:04 | 117.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.2219 | μmol/L | 11.5793 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.969 | 106040.4149 | 302108.3926 | 28.7 | 67.6
87964 | 2021-04-09 14:04 | 117.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.2219 | μmol/L | 11.5793 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.969 | 106054.8134 | 302087.7946 | 28.7 | 67.6
87973 | 2021-04-09 14:05 | 118.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.2492 | μmol/L | 11.5732 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.97 | 106067.027 | 302108.2042 | 28.7 | 67.6
87982 | 2021-04-09 14:05 | 118.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1466 | μmol/L | 11.5793 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.972 | 106063.2929 | 302096.1562 | 28.7 | 67.6
87991 | 2021-04-09 14:05 | 118.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.099 | μmol/L | 11.5793 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.974 | 106067.2766 | 302085.9591 | 28.7 | 67.6
88000 | 2021-04-09 14:06 | 119.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0752 | μmol/L | 11.5793 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.975 | 106086.2452 | 302085.6873 | 28.7 | 67.6
88009 | 2021-04-09 14:06 | 119.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0752 | μmol/L | 11.5793 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.975 | 106088.2104 | 302084.6035 | 28.7 | 67.6
88018 | 2021-04-09 14:06 | 119.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9561 | μmol/L | 11.5793 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.98 | 106100.8221 | 302093.1507 | 28.7 | 67.6
88024 | 2021-04-09 14:07 | 120.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8536 | μmol/L | 11.5854 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.982 | 106117.1975 | 302080.2972 | 28.7 | 67.6