## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 14:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
84786 | 2021-04-09 12:07 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0526 | μmol/L | 10.143 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.228 | 114856.8525 | 220174.9042 | 27.3 | 43.4
84795 | 2021-04-09 12:07 | 0.33502 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.9205 | μmol/L | 10.1674 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.223 | 114832.7329 | 220169.8541 | 27.3 | 43.4
84804 | 2021-04-09 12:07 | 0.66794 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0371 | μmol/L | 10.1796 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.214 | 114794.8418 | 220170.8961 | 27.3 | 43.4
84813 | 2021-04-09 12:08 | 1.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7648 | μmol/L | 10.204 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.214 | 114752.1782 | 220172.2786 | 27.3 | 43.4
84822 | 2021-04-09 12:08 | 1.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8415 | μmol/L | 10.2222 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.204 | 114721.0534 | 220163.2809 | 27.3 | 43.4
84831 | 2021-04-09 12:08 | 1.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.9746 | μmol/L | 10.2405 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.192 | 114662.4831 | 220158.5741 | 27.3 | 43.4
84840 | 2021-04-09 12:09 | 2.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1079 | μmol/L | 10.2588 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.18 | 114601.1974 | 220160.1753 | 27.3 | 43.4
84849 | 2021-04-09 12:09 | 2.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.9483 | μmol/L | 10.2832 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.176 | 114558.2575 | 220155.4368 | 27.3 | 43.4
84858 | 2021-04-09 12:09 | 2.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1498 | μmol/L | 10.2954 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.164 | 114509.8781 | 220163.331 | 27.3 | 43.4
84867 | 2021-04-09 12:10 | 3.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1428 | μmol/L | 10.3137 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.157 | 114469.6723 | 220138.5478 | 27.3 | 43.4
84876 | 2021-04-09 12:10 | 3.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0912 | μmol/L | 10.3258 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.154 | 114417.4883 | 220147.2032 | 27.3 | 43.4
84885 | 2021-04-09 12:10 | 3.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.9999 | μmol/L | 10.3441 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.15 | 114378.9668 | 220140.4135 | 27.3 | 43.4
84894 | 2021-04-09 12:11 | 4.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1339 | μmol/L | 10.3624 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.138 | 114346.135 | 220144.3514 | 27.3 | 43.4
84903 | 2021-04-09 12:11 | 4.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1272 | μmol/L | 10.3807 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.131 | 114298.8925 | 220134.0647 | 27.3 | 43.4
84912 | 2021-04-09 12:11 | 4.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1322 | μmol/L | 10.3929 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.126 | 114264.4751 | 220116.8547 | 27.3 | 43.4
84921 | 2021-04-09 12:12 | 5.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0975 | μmol/L | 10.4112 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.12 | 114230.1033 | 220117.6726 | 27.3 | 43.4
84930 | 2021-04-09 12:12 | 5.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0744 | μmol/L | 10.4233 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.116 | 114189.4185 | 220103.1812 | 27.3 | 43.4
84939 | 2021-04-09 12:12 | 5.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0961 | μmol/L | 10.4416 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.108 | 114156.1907 | 220090.8208 | 27.3 | 43.4
84948 | 2021-04-09 12:13 | 6.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.2819 | μmol/L | 10.4477 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.099 | 114117.661 | 220086.0842 | 27.3 | 43.4
84957 | 2021-04-09 12:13 | 6.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1911 | μmol/L | 10.466 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.095 | 114075.5413 | 220082.0557 | 27.3 | 43.4
84966 | 2021-04-09 12:13 | 6.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1286 | μmol/L | 10.4843 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.09 | 114039.4667 | 220070.631 | 27.3 | 43.4
84975 | 2021-04-09 12:14 | 7.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.3031 | μmol/L | 10.4965 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.079 | 114001.974 | 220079.5865 | 27.3 | 43.4
84984 | 2021-04-09 12:14 | 7.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1393 | μmol/L | 10.5087 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.08 | 113953.5791 | 220072.0146 | 27.3 | 43.4
84993 | 2021-04-09 12:14 | 7.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.4268 | μmol/L | 10.5209 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.065 | 113907.5873 | 220063.0677 | 27.3 | 43.4
85002 | 2021-04-09 12:15 | 8.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.3476 | μmol/L | 10.533 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.063 | 113858.643 | 220068.3629 | 27.3 | 43.4
85011 | 2021-04-09 12:15 | 8.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.3983 | μmol/L | 10.5513 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.054 | 113823.7561 | 220051.9901 | 27.3 | 43.4
85020 | 2021-04-09 12:15 | 8.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.4604 | μmol/L | 10.5635 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.047 | 113786.1391 | 220048.4399 | 27.3 | 43.4
85029 | 2021-04-09 12:16 | 9.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.4942 | μmol/L | 10.5757 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.041 | 113744.8461 | 220041.6783 | 27.3 | 43.4
85038 | 2021-04-09 12:16 | 9.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.5282 | μmol/L | 10.5879 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.035 | 113704.8836 | 220028.802 | 27.3 | 43.4
85047 | 2021-04-09 12:16 | 9.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.4097 | μmol/L | 10.6062 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.032 | 113680.5976 | 220012.7129 | 27.3 | 43.4
85056 | 2021-04-09 12:17 | 10.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.4549 | μmol/L | 10.6123 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.028 | 113652.1142 | 220027.3752 | 27.3 | 43.4
85065 | 2021-04-09 12:17 | 10.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.4607 | μmol/L | 10.6245 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.023 | 113624.2797 | 220010.5122 | 27.3 | 43.4
85074 | 2021-04-09 12:17 | 10.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.5231 | μmol/L | 10.6367 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.016 | 113599.1043 | 220000.8855 | 27.3 | 43.4
85083 | 2021-04-09 12:18 | 11.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.4442 | μmol/L | 10.6488 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.014 | 113566.6795 | 219994.8209 | 27.3 | 43.4
85092 | 2021-04-09 12:18 | 11.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.3654 | μmol/L | 10.661 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.012 | 113550.997 | 219999.4811 | 27.3 | 43.4
85101 | 2021-04-09 12:18 | 11.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.3713 | μmol/L | 10.6732 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.007 | 113539.4335 | 219990.8953 | 27.3 | 43.4
85110 | 2021-04-09 12:19 | 12.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.4167 | μmol/L | 10.6793 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.003 | 113505.9227 | 219987.3944 | 27.3 | 43.4
85119 | 2021-04-09 12:19 | 12.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.3662 | μmol/L | 10.6915 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22 | 113488.4792 | 219979.1471 | 27.3 | 43.4
85128 | 2021-04-09 12:19 | 12.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.231 | μmol/L | 10.7037 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22 | 113473.3612 | 219978.4811 | 27.3 | 43.4
85137 | 2021-04-09 12:20 | 13.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.2481 | μmol/L | 10.7098 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.997 | 113456.0392 | 219970.2909 | 27.3 | 43.4
85146 | 2021-04-09 12:20 | 13.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1977 | μmol/L | 10.722 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.994 | 113451.6041 | 219971.3991 | 27.3 | 43.4
85155 | 2021-04-09 12:20 | 13.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0626 | μmol/L | 10.7342 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.994 | 113435.7498 | 219963.5358 | 27.3 | 43.4
85164 | 2021-04-09 12:21 | 14.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1081 | μmol/L | 10.7403 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.99 | 113425.5858 | 219960.8039 | 27.3 | 43.4
85173 | 2021-04-09 12:21 | 14.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.9448 | μmol/L | 10.7525 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.991 | 113421.9847 | 219955.3409 | 27.3 | 43.4
85182 | 2021-04-09 12:21 | 14.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8663 | μmol/L | 10.7646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.989 | 113411.716 | 219951.969 | 27.3 | 43.4
85191 | 2021-04-09 12:22 | 15.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.9228 | μmol/L | 10.7646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.987 | 113389.9979 | 219943.0485 | 27.3 | 43.4
85200 | 2021-04-09 12:22 | 15.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7314 | μmol/L | 10.7768 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.989 | 113368.251 | 219932.4804 | 27.3 | 43.4
85209 | 2021-04-09 12:22 | 15.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8789 | μmol/L | 10.789 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.979 | 113363.5345 | 219942.7707 | 27.3 | 43.4
85218 | 2021-04-09 12:23 | 16.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.6484 | μmol/L | 10.8073 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.98 | 113327.9577 | 219927.6353 | 27.3 | 43.4
85227 | 2021-04-09 12:23 | 16.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.9134 | μmol/L | 10.8012 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.973 | 113310.442 | 219927.1503 | 27.3 | 43.4
85236 | 2021-04-09 12:23 | 16.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8069 | μmol/L | 10.8134 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.972 | 113290.5018 | 219916.4321 | 27.3 | 43.4
85245 | 2021-04-09 12:24 | 17.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8415 | μmol/L | 10.8256 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.966 | 113268.7589 | 219910.0032 | 27.3 | 43.4
85254 | 2021-04-09 12:24 | 17.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8306 | μmol/L | 10.8317 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.964 | 113243.3591 | 219911.0675 | 27.3 | 43.4
85263 | 2021-04-09 12:24 | 17.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8197 | μmol/L | 10.8378 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.962 | 113225.4951 | 219904.4069 | 27.3 | 43.4
85272 | 2021-04-09 12:25 | 18.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7024 | μmol/L | 10.8561 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.959 | 113207.0204 | 219889.5932 | 27.3 | 43.4
85281 | 2021-04-09 12:25 | 18.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8262 | μmol/L | 10.85 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.957 | 113187.1596 | 219899.9906 | 27.3 | 43.4
85290 | 2021-04-09 12:25 | 18.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.6633 | μmol/L | 10.8622 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.958 | 113169.9792 | 219882.5009 | 27.3 | 43.4
85299 | 2021-04-09 12:26 | 19.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.6698 | μmol/L | 10.8744 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.953 | 113146.2053 | 219869.2686 | 27.3 | 43.4
85308 | 2021-04-09 12:26 | 19.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7263 | μmol/L | 10.8744 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.951 | 113125.2886 | 219881.4255 | 27.3 | 43.4
85317 | 2021-04-09 12:26 | 19.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8069 | μmol/L | 10.8926 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.941 | 113101.7905 | 219874.5576 | 27.3 | 43.4
85326 | 2021-04-09 12:27 | 20.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7961 | μmol/L | 10.8987 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.939 | 113089.078 | 219867.4754 | 27.3 | 43.4
85335 | 2021-04-09 12:27 | 20.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7678 | μmol/L | 10.8987 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.94 | 113064.6091 | 219864.5494 | 27.3 | 43.4
85344 | 2021-04-09 12:27 | 20.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.5942 | μmol/L | 10.917 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.939 | 113039.8948 | 219858.9109 | 27.3 | 43.4
85353 | 2021-04-09 12:28 | 21.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8203 | μmol/L | 10.917 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.931 | 113030.2829 | 219848.0709 | 27.3 | 43.4
85362 | 2021-04-09 12:28 | 21.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.714 | μmol/L | 10.9292 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.93 | 113008.3943 | 219847.6729 | 27.3 | 43.4
85371 | 2021-04-09 12:28 | 21.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.714 | μmol/L | 10.9292 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.93 | 112991.1372 | 219839.6299 | 27.3 | 43.4
85380 | 2021-04-09 12:29 | 22.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.749 | μmol/L | 10.9414 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.924 | 112993.8624 | 219840.9533 | 27.3 | 43.4
85389 | 2021-04-09 12:29 | 22.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.6925 | μmol/L | 10.9414 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.926 | 112967.2931 | 219832.3124 | 27.3 | 43.4
85398 | 2021-04-09 12:29 | 22.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7559 | μmol/L | 10.9536 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.919 | 112937.8038 | 219821.9979 | 27.3 | 43.4
85407 | 2021-04-09 12:30 | 23.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8193 | μmol/L | 10.9658 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.912 | 112915.4201 | 219815.6569 | 27.3 | 43.4
85416 | 2021-04-09 12:30 | 23.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.9714 | μmol/L | 10.9597 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.909 | 112879.5341 | 219812.3278 | 27.3 | 43.4
85425 | 2021-04-09 12:30 | 23.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0066 | μmol/L | 10.9719 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.903 | 112836.0501 | 219811.643 | 27.3 | 43.4
85434 | 2021-04-09 12:31 | 24.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.9853 | μmol/L | 10.9841 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.899 | 112809.1684 | 219808.1296 | 27.3 | 43.4
85443 | 2021-04-09 12:31 | 24.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0702 | μmol/L | 10.9841 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.896 | 112766.0568 | 219791.4027 | 27.3 | 43.4
85452 | 2021-04-09 12:31 | 24.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.3428 | μmol/L | 10.9902 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.884 | 112726.6774 | 219806.3002 | 27.3 | 43.4
85461 | 2021-04-09 12:32 | 25.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.3782 | μmol/L | 11.0024 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.878 | 112690.3306 | 219793.174 | 27.3 | 43.4
85470 | 2021-04-09 12:32 | 25.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.3959 | μmol/L | 11.0085 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.875 | 112657.1319 | 219778.7189 | 27.3 | 43.4
85479 | 2021-04-09 12:32 | 25.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.481 | μmol/L | 11.0085 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.872 | 112617.747 | 219776.0838 | 27.3 | 43.4
85488 | 2021-04-09 12:33 | 26.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.6974 | μmol/L | 11.0145 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.862 | 112586.0091 | 219784.1632 | 27.3 | 43.4
85497 | 2021-04-09 12:33 | 26.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.7152 | μmol/L | 11.0206 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.859 | 112562.5037 | 219782.8011 | 27.3 | 43.4
85506 | 2021-04-09 12:33 | 26.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.733 | μmol/L | 11.0267 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.856 | 112525.6183 | 219762.7147 | 27.3 | 43.4
85515 | 2021-04-09 12:34 | 27.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.875 | μmol/L | 11.0267 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.851 | 112504.4216 | 219758.2207 | 27.3 | 43.4
85524 | 2021-04-09 12:34 | 27.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.7402 | μmol/L | 11.0389 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.851 | 112500.5461 | 219760.7004 | 27.3 | 43.4
85533 | 2021-04-09 12:34 | 27.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.8538 | μmol/L | 11.0389 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.847 | 112475.7626 | 219758.0781 | 27.3 | 43.4
85542 | 2021-04-09 12:35 | 28.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.9001 | μmol/L | 11.045 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.843 | 112477.1535 | 219753.85 | 27.3 | 43.4
85551 | 2021-04-09 12:35 | 28.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.634 | μmol/L | 11.0511 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.85 | 112464.668 | 219741.2298 | 27.3 | 43.4
85560 | 2021-04-09 12:35 | 28.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.5278 | μmol/L | 11.0633 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.849 | 112463.1287 | 219749.6021 | 27.3 | 43.4
85569 | 2021-04-09 12:36 | 29.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.5845 | μmol/L | 11.0633 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.847 | 112453.026 | 219729.9837 | 27.3 | 43.4
85578 | 2021-04-09 12:36 | 29.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.6308 | μmol/L | 11.0694 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.843 | 112465.7243 | 219722.8907 | 27.3 | 43.4
85587 | 2021-04-09 12:36 | 29.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.4605 | μmol/L | 11.0694 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.849 | 112442.3711 | 219727.8623 | 27.3 | 43.4
85596 | 2021-04-09 12:37 | 30.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.45 | μmol/L | 11.0755 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.847 | 112449.3579 | 219728.3812 | 27.3 | 43.4
85605 | 2021-04-09 12:37 | 30.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.2693 | μmol/L | 11.0816 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.851 | 112441.2953 | 219724.2288 | 27.3 | 43.4
85614 | 2021-04-09 12:37 | 30.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.3722 | μmol/L | 11.0877 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.845 | 112431.3079 | 219714.3319 | 27.3 | 43.4
85623 | 2021-04-09 12:38 | 31.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.2767 | μmol/L | 11.0938 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.846 | 112437.5249 | 219707.7662 | 27.3 | 43.4
85632 | 2021-04-09 12:38 | 31.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1528 | μmol/L | 11.0999 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.848 | 112431.9274 | 219709.1628 | 27.3 | 43.4
85641 | 2021-04-09 12:38 | 31.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0752 | μmol/L | 11.1121 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.846 | 112428.541 | 219703.6174 | 27.3 | 43.4
85650 | 2021-04-09 12:39 | 32.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.199 | μmol/L | 11.106 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.844 | 112427.0063 | 219705.4435 | 27.3 | 43.4
85659 | 2021-04-09 12:39 | 32.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.1319 | μmol/L | 11.1121 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.844 | 112421.787 | 219699.627 | 27.3 | 43.4
85668 | 2021-04-09 12:39 | 32.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0752 | μmol/L | 11.1121 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.846 | 112413.3031 | 219686.5231 | 27.3 | 43.4
85677 | 2021-04-09 12:40 | 33.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.9126 | μmol/L | 11.1243 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.847 | 112417.6124 | 219692.683 | 27.3 | 43.4
85686 | 2021-04-09 12:40 | 33.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7606 | μmol/L | 11.1304 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.85 | 112413.3073 | 219682.597 | 27.3 | 43.4
85695 | 2021-04-09 12:40 | 33.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8843 | μmol/L | 11.1243 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.848 | 112417.6122 | 219682.7128 | 27.3 | 43.4
85704 | 2021-04-09 12:41 | 34.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7889 | μmol/L | 11.1304 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.849 | 112416.5852 | 219675.6021 | 27.3 | 43.4
85713 | 2021-04-09 12:41 | 34.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8068 | μmol/L | 11.1365 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.846 | 112411.0023 | 219668.3864 | 27.3 | 43.4
85722 | 2021-04-09 12:41 | 34.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7501 | μmol/L | 11.1365 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.848 | 112421.3335 | 219666.776 | 27.3 | 43.4
85731 | 2021-04-09 12:42 | 35.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.6548 | μmol/L | 11.1426 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.849 | 112418.4066 | 219668.1052 | 27.3 | 43.4
85740 | 2021-04-09 12:42 | 35.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.5208 | μmol/L | 11.1547 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.849 | 112416.6765 | 219668.658 | 27.3 | 43.4
85749 | 2021-04-09 12:42 | 35.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.4642 | μmol/L | 11.1547 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.851 | 112417.1223 | 219662.3686 | 27.3 | 43.4
85758 | 2021-04-09 12:43 | 36.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.6727 | μmol/L | 11.1487 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.846 | 112387.599 | 219658.3253 | 27.3 | 43.4
85767 | 2021-04-09 12:43 | 36.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.567 | μmol/L | 11.1608 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.845 | 112368.0318 | 219650.3974 | 27.3 | 43.4
85776 | 2021-04-09 12:43 | 36.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7369 | μmol/L | 11.1608 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.839 | 112356.4102 | 219645.2365 | 27.3 | 43.4
85785 | 2021-04-09 12:44 | 37.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.6029 | μmol/L | 11.173 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.839 | 112329.7406 | 219652.1774 | 27.3 | 43.4
85794 | 2021-04-09 12:44 | 37.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7057 | μmol/L | 11.1791 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.833 | 112311.216 | 219637.0073 | 27.3 | 43.4
85803 | 2021-04-09 12:44 | 37.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7057 | μmol/L | 11.1791 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.833 | 112297.6165 | 219629.2388 | 27.3 | 43.4
85812 | 2021-04-09 12:45 | 38.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7057 | μmol/L | 11.1791 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.833 | 112274.4564 | 219630.5145 | 27.3 | 43.4
85821 | 2021-04-09 12:45 | 38.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.752 | μmol/L | 11.1852 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.829 | 112243.495 | 219616.656 | 27.3 | 43.4
85830 | 2021-04-09 12:45 | 38.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7314 | μmol/L | 11.1974 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.825 | 112224.9333 | 219618.4649 | 27.3 | 43.4
85839 | 2021-04-09 12:46 | 39.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.9117 | μmol/L | 11.1913 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.821 | 112198.0626 | 219608.0077 | 27.3 | 43.4
85848 | 2021-04-09 12:46 | 39.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0251 | μmol/L | 11.1913 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.817 | 112178.8532 | 219611.6355 | 27.3 | 43.4
85857 | 2021-04-09 12:46 | 39.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0715 | μmol/L | 11.1974 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.813 | 112170.3316 | 219598.9217 | 27.3 | 43.4
85866 | 2021-04-09 12:47 | 40.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0045 | μmol/L | 11.2035 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.813 | 112173.603 | 219602.5889 | 27.3 | 43.4
85875 | 2021-04-09 12:47 | 40.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8911 | μmol/L | 11.2035 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.817 | 112155.786 | 219601.8598 | 27.3 | 43.4
85884 | 2021-04-09 12:47 | 40.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 330.0328 | μmol/L | 11.2035 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.812 | 112164.8997 | 219601.3424 | 27.3 | 43.4
85893 | 2021-04-09 12:48 | 41.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8524 | μmol/L | 11.2096 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.816 | 112165.8473 | 219592.0191 | 27.3 | 43.4
85902 | 2021-04-09 12:48 | 41.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8705 | μmol/L | 11.2157 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.813 | 112145.2957 | 219573.1946 | 27.3 | 43.4
85911 | 2021-04-09 12:48 | 41.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.8138 | μmol/L | 11.2157 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.815 | 112141.1454 | 219575.6922 | 27.3 | 43.4
85920 | 2021-04-09 12:49 | 42.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.6799 | μmol/L | 11.2279 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.815 | 112143.9989 | 219572.1307 | 27.3 | 43.4
85929 | 2021-04-09 12:49 | 42.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7571 | μmol/L | 11.2157 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.817 | 112137.6067 | 219580.3124 | 27.3 | 43.4
85938 | 2021-04-09 12:49 | 42.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.6799 | μmol/L | 11.2279 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.815 | 112121.6928 | 219562.6555 | 27.3 | 43.4
85947 | 2021-04-09 12:50 | 43.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.7468 | μmol/L | 11.2218 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.815 | 112138.0584 | 219559.7136 | 27.3 | 43.4
85956 | 2021-04-09 12:50 | 43.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.6799 | μmol/L | 11.2279 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.815 | 112130.6036 | 219568.5207 | 27.3 | 43.4
85965 | 2021-04-09 12:50 | 43.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.3762 | μmol/L | 11.2401 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.821 | 112134.0026 | 219571.1912 | 27.3 | 43.4
85974 | 2021-04-09 12:51 | 44.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.3762 | μmol/L | 11.2401 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.821 | 112128.3458 | 219554.9624 | 27.3 | 43.4
85983 | 2021-04-09 12:51 | 44.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.546 | μmol/L | 11.2401 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.815 | 112123.8773 | 219549.9984 | 27.3 | 43.4
85992 | 2021-04-09 12:51 | 44.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.5743 | μmol/L | 11.2401 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.814 | 112119.6825 | 219547.0068 | 27.3 | 43.4
86001 | 2021-04-09 12:52 | 45.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.5924 | μmol/L | 11.2462 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.811 | 112126.7817 | 219546.9631 | 27.3 | 43.4
86010 | 2021-04-09 12:52 | 45.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.4225 | μmol/L | 11.2462 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.817 | 112112.4757 | 219542.4457 | 27.3 | 43.4
86019 | 2021-04-09 12:52 | 45.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.3659 | μmol/L | 11.2462 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.819 | 112121.7601 | 219552.7319 | 27.3 | 43.4
86028 | 2021-04-09 12:53 | 46.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.3557 | μmol/L | 11.2523 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.817 | 112123.0267 | 219539.2972 | 27.3 | 43.4
86037 | 2021-04-09 12:53 | 46.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.204 | μmol/L | 11.2584 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.82 | 112131.3832 | 219529.9879 | 27.3 | 43.4
86046 | 2021-04-09 12:53 | 46.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.204 | μmol/L | 11.2584 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.82 | 112135.4714 | 219515.5287 | 27.3 | 43.4
86055 | 2021-04-09 12:54 | 47.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.1191 | μmol/L | 11.2584 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.823 | 112149.1509 | 219525.5623 | 27.3 | 43.4
86064 | 2021-04-09 12:54 | 47.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 329.1474 | μmol/L | 11.2584 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.822 | 112146.1285 | 219526.2524 | 27.3 | 43.4
86073 | 2021-04-09 12:54 | 47.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.8726 | μmol/L | 11.2706 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.827 | 112142.8198 | 219512.4681 | 27.3 | 43.4
86082 | 2021-04-09 12:55 | 48.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.8443 | μmol/L | 11.2706 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.828 | 112153.1113 | 219506.1058 | 27.3 | 43.4
86091 | 2021-04-09 12:55 | 48.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.7878 | μmol/L | 11.2706 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.83 | 112152.086 | 219507.3886 | 27.3 | 43.4
86100 | 2021-04-09 12:55 | 48.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.8263 | μmol/L | 11.2645 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.831 | 112166.278 | 219510.6364 | 27.3 | 43.4
86109 | 2021-04-09 12:56 | 49.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.7313 | μmol/L | 11.2706 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.832 | 112166.2379 | 219491.1653 | 27.3 | 43.4
86118 | 2021-04-09 12:56 | 49.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4569 | μmol/L | 11.2828 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.837 | 112176.1152 | 219502.2645 | 27.3 | 43.4
86127 | 2021-04-09 12:56 | 49.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.6466 | μmol/L | 11.2706 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.835 | 112182.5317 | 219492.8952 | 27.3 | 43.4
86136 | 2021-04-09 12:57 | 50.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4467 | μmol/L | 11.2889 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.835 | 112189.9546 | 219493.8444 | 27.3 | 43.4
86145 | 2021-04-09 12:57 | 50.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4287 | μmol/L | 11.2828 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.838 | 112193.5397 | 219498.3157 | 27.3 | 43.4
86154 | 2021-04-09 12:57 | 50.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3339 | μmol/L | 11.2889 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.839 | 112189.499 | 219498.1114 | 27.3 | 43.4
86163 | 2021-04-09 12:58 | 51.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3057 | μmol/L | 11.2889 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.84 | 112195.3083 | 219488.5131 | 27.3 | 43.4
86172 | 2021-04-09 12:58 | 51.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3339 | μmol/L | 11.2889 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.839 | 112191.3603 | 219484.6499 | 27.3 | 43.4
86181 | 2021-04-09 12:58 | 51.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1545 | μmol/L | 11.2949 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.843 | 112190.7113 | 219470.3315 | 27.3 | 43.4
86190 | 2021-04-09 12:59 | 52.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2109 | μmol/L | 11.2949 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.841 | 112180.6866 | 219465.1183 | 27.3 | 43.4
86199 | 2021-04-09 12:59 | 52.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2955 | μmol/L | 11.2949 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.838 | 112182.8724 | 219477.1557 | 27.3 | 43.4
86208 | 2021-04-09 12:59 | 52.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1443 | μmol/L | 11.301 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.841 | 112181.182 | 219473.6656 | 27.3 | 43.4
86217 | 2021-04-09 13:00 | 53.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1725 | μmol/L | 11.301 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.84 | 112170.8533 | 219470.4826 | 27.3 | 43.4
86226 | 2021-04-09 13:00 | 53.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1342 | μmol/L | 11.3071 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.839 | 112166.3397 | 219465.9342 | 27.3 | 43.4
86235 | 2021-04-09 13:00 | 53.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0113 | μmol/L | 11.3132 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.841 | 112159.3514 | 219449.4562 | 27.3 | 43.4
86244 | 2021-04-09 13:01 | 54.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1803 | μmol/L | 11.3132 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.835 | 112143.9066 | 219452.1954 | 27.3 | 43.4
86253 | 2021-04-09 13:01 | 54.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2187 | μmol/L | 11.3071 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.836 | 112132.0091 | 219455.8812 | 27.3 | 43.4
86262 | 2021-04-09 13:01 | 54.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1138 | μmol/L | 11.3193 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.835 | 112139.5155 | 219447.354 | 27.3 | 43.4
86271 | 2021-04-09 13:02 | 55.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0293 | μmol/L | 11.3193 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.838 | 112129.0363 | 219444.8502 | 27.3 | 43.4
86280 | 2021-04-09 13:02 | 55.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0755 | μmol/L | 11.3254 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.834 | 112128.1108 | 219436.2923 | 27.3 | 43.4
86289 | 2021-04-09 13:02 | 55.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1984 | μmol/L | 11.3193 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.832 | 112133.0001 | 219437.3482 | 27.3 | 43.4
86298 | 2021-04-09 13:03 | 56.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1138 | μmol/L | 11.3193 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.835 | 112112.7334 | 219421.6517 | 27.3 | 43.4
86307 | 2021-04-09 13:03 | 56.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.142 | μmol/L | 11.3193 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.834 | 112098.3137 | 219423.3797 | 27.3 | 43.4
86316 | 2021-04-09 13:03 | 56.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1781 | μmol/L | 11.3315 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.828 | 112092.8833 | 219435.1654 | 27.3 | 43.4
86325 | 2021-04-09 13:04 | 57.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1318 | μmol/L | 11.3254 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.832 | 112072.0289 | 219434.8793 | 27.3 | 43.4
86334 | 2021-04-09 13:04 | 57.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4138 | μmol/L | 11.3254 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.822 | 112055.1502 | 219424.463 | 27.3 | 43.4
86343 | 2021-04-09 13:04 | 57.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2345 | μmol/L | 11.3315 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.826 | 112055.6706 | 219419.2032 | 27.3 | 43.4
86352 | 2021-04-09 13:05 | 58.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4037 | μmol/L | 11.3315 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.82 | 112016.9237 | 219424.1103 | 27.3 | 43.4
86361 | 2021-04-09 13:05 | 58.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3371 | μmol/L | 11.3376 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.82 | 112010.956 | 219411.9067 | 27.3 | 43.4
86370 | 2021-04-09 13:05 | 58.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4884 | μmol/L | 11.3315 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.817 | 112003.2225 | 219410.9581 | 27.3 | 43.4
86379 | 2021-04-09 13:06 | 59.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.45 | μmol/L | 11.3376 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.816 | 111984.6872 | 219404.9885 | 27.3 | 43.4
86388 | 2021-04-09 13:06 | 59.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4117 | μmol/L | 11.3437 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.815 | 111971.0529 | 219393.7577 | 27.3 | 43.4
86397 | 2021-04-09 13:06 | 59.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4681 | μmol/L | 11.3437 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.813 | 111962.7381 | 219397.3211 | 27.3 | 43.4
86406 | 2021-04-09 13:07 | 60.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.458 | μmol/L | 11.3498 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.811 | 111956.2285 | 219398.3537 | 27.3 | 43.4
86415 | 2021-04-09 13:07 | 60.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4399 | μmol/L | 11.3437 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.814 | 111936.1329 | 219388.1623 | 27.3 | 43.4
86424 | 2021-04-09 13:07 | 60.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.5043 | μmol/L | 11.3559 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.807 | 111947.1174 | 219381.8013 | 27.3 | 43.4
86433 | 2021-04-09 13:08 | 61.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.5145 | μmol/L | 11.3498 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.809 | 111929.2005 | 219379.2712 | 27.3 | 43.4
86442 | 2021-04-09 13:08 | 61.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.5043 | μmol/L | 11.3559 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.807 | 111921.9935 | 219382.2861 | 27.3 | 43.4
86451 | 2021-04-09 13:08 | 61.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4761 | μmol/L | 11.3559 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.808 | 111933.9991 | 219381.8862 | 27.3 | 43.4
86460 | 2021-04-09 13:09 | 62.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.5145 | μmol/L | 11.3498 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.809 | 111929.2199 | 219375.7556 | 27.3 | 43.4
86469 | 2021-04-09 13:09 | 62.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3531 | μmol/L | 11.362 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.81 | 111931.822 | 219366.5846 | 27.3 | 43.4
86478 | 2021-04-09 13:09 | 62.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4096 | μmol/L | 11.362 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.808 | 111913.8819 | 219361.5972 | 27.3 | 43.4
86487 | 2021-04-09 13:10 | 63.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2483 | μmol/L | 11.3742 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.809 | 111918.4466 | 219366.6151 | 27.3 | 43.4
86496 | 2021-04-09 13:10 | 63.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4479 | μmol/L | 11.3559 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.809 | 111915.3039 | 219361.2699 | 27.3 | 43.4
86505 | 2021-04-09 13:10 | 63.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.343 | μmol/L | 11.3681 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.808 | 111909.3463 | 219368.8705 | 27.3 | 43.4
86514 | 2021-04-09 13:11 | 64.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4096 | μmol/L | 11.362 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.808 | 111906.7267 | 219366.9464 | 27.3 | 43.4
86523 | 2021-04-09 13:11 | 64.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2302 | μmol/L | 11.3681 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.812 | 111906.6531 | 219364.5529 | 27.3 | 43.4
86532 | 2021-04-09 13:11 | 64.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3713 | μmol/L | 11.3681 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.807 | 111910.4113 | 219362.2763 | 27.3 | 43.4
86541 | 2021-04-09 13:12 | 65.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3047 | μmol/L | 11.3742 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.807 | 111887.8494 | 219367.5312 | 27.3 | 43.4
86550 | 2021-04-09 13:12 | 65.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.333 | μmol/L | 11.3742 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.806 | 111880.0742 | 219349.6111 | 27.3 | 43.4
86559 | 2021-04-09 13:12 | 65.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4459 | μmol/L | 11.3742 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.802 | 111863.2314 | 219344.9376 | 27.3 | 43.4
86568 | 2021-04-09 13:13 | 66.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4076 | μmol/L | 11.3803 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.801 | 111852.0112 | 219342.7586 | 27.3 | 43.4
86577 | 2021-04-09 13:13 | 66.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.5023 | μmol/L | 11.3742 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.8 | 111841.1929 | 219345.2709 | 27.3 | 43.4
86586 | 2021-04-09 13:13 | 66.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4176 | μmol/L | 11.3742 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.803 | 111837.3386 | 219340.2992 | 27.3 | 43.4
86595 | 2021-04-09 13:14 | 67.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4459 | μmol/L | 11.3742 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.802 | 111823.9784 | 219340.5038 | 27.3 | 43.4
86604 | 2021-04-09 13:14 | 67.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.464 | μmol/L | 11.3803 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.799 | 111825.1615 | 219339.8603 | 27.3 | 43.4
86613 | 2021-04-09 13:14 | 67.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.5871 | μmol/L | 11.3742 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.797 | 111825.0068 | 219333.47 | 27.3 | 43.4
86622 | 2021-04-09 13:15 | 68.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4358 | μmol/L | 11.3803 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.8 | 111821.5896 | 219330.2977 | 27.3 | 43.4
86631 | 2021-04-09 13:15 | 68.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.4076 | μmol/L | 11.3803 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.801 | 111820.1285 | 219327.23 | 27.3 | 43.4
86640 | 2021-04-09 13:15 | 68.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3793 | μmol/L | 11.3803 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.802 | 111831.123 | 219337.2051 | 27.3 | 43.4
86649 | 2021-04-09 13:16 | 69.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3693 | μmol/L | 11.3864 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.8 | 111836.3226 | 219315.4301 | 27.3 | 43.4
86658 | 2021-04-09 13:16 | 69.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1436 | μmol/L | 11.3864 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.808 | 111838.0117 | 219317.7585 | 27.3 | 43.4
86667 | 2021-04-09 13:16 | 69.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2564 | μmol/L | 11.3864 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.804 | 111854.372 | 219327.5197 | 27.3 | 43.4
86676 | 2021-04-09 13:17 | 70.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1718 | μmol/L | 11.3864 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.807 | 111855.2461 | 219307.5895 | 27.3 | 43.4
86685 | 2021-04-09 13:17 | 70.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1436 | μmol/L | 11.3864 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.808 | 111849.5961 | 219307.6272 | 27.3 | 43.4
86694 | 2021-04-09 13:17 | 70.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0771 | μmol/L | 11.3925 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.808 | 111857.5834 | 219310.224 | 27.3 | 43.4
86703 | 2021-04-09 13:18 | 71.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.9543 | μmol/L | 11.3986 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.81 | 111862.9057 | 219309.3563 | 27.3 | 43.4
86712 | 2021-04-09 13:18 | 71.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.9543 | μmol/L | 11.3986 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.81 | 111853.2707 | 219313.2792 | 27.3 | 43.4
86721 | 2021-04-09 13:18 | 71.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.8034 | μmol/L | 11.4047 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.813 | 111850.3032 | 219303.0313 | 27.3 | 43.4
86730 | 2021-04-09 13:19 | 72.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0389 | μmol/L | 11.3986 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.807 | 111857.7548 | 219288.1613 | 27.3 | 43.4
86739 | 2021-04-09 13:19 | 72.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.9261 | μmol/L | 11.3986 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.811 | 111843.8837 | 219282.7542 | 27.3 | 43.4
86748 | 2021-04-09 13:19 | 72.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0107 | μmol/L | 11.3986 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.808 | 111833.4738 | 219285.7355 | 27.3 | 43.4
86757 | 2021-04-09 13:20 | 73.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.9725 | μmol/L | 11.4047 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.807 | 111834.6099 | 219292.4576 | 27.3 | 43.4
86766 | 2021-04-09 13:20 | 73.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.9161 | μmol/L | 11.4047 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.809 | 111815.6541 | 219280.4273 | 27.3 | 43.4
86775 | 2021-04-09 13:20 | 73.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0288 | μmol/L | 11.4047 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.805 | 111807.3908 | 219272.1004 | 27.3 | 43.4
86784 | 2021-04-09 13:21 | 74.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.9061 | μmol/L | 11.4108 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.807 | 111806.7536 | 219273.8666 | 27.3 | 43.4
86793 | 2021-04-09 13:21 | 74.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0188 | μmol/L | 11.4108 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.803 | 111789.6596 | 219271.6264 | 27.3 | 43.4
86802 | 2021-04-09 13:21 | 74.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0752 | μmol/L | 11.4108 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.801 | 111785.8367 | 219273.3248 | 27.3 | 43.4
86811 | 2021-04-09 13:22 | 75.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1034 | μmol/L | 11.4108 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.8 | 111777.329 | 219250.654 | 27.3 | 43.4
86820 | 2021-04-09 13:22 | 75.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0088 | μmol/L | 11.4169 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.801 | 111760.8698 | 219255.9338 | 27.3 | 43.4
86829 | 2021-04-09 13:22 | 75.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.188 | μmol/L | 11.4108 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.797 | 111753.0091 | 219258.9709 | 27.3 | 43.4
86838 | 2021-04-09 13:23 | 76.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0006 | μmol/L | 11.4047 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.806 | 111751.9878 | 219249.5224 | 27.3 | 43.4
86847 | 2021-04-09 13:23 | 76.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1498 | μmol/L | 11.4169 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.796 | 111736.8574 | 219256.8998 | 27.3 | 43.4
86856 | 2021-04-09 13:23 | 76.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.027 | μmol/L | 11.423 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.798 | 111726.8367 | 219239.8643 | 27.3 | 43.4
86865 | 2021-04-09 13:24 | 77.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2162 | μmol/L | 11.4108 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.796 | 111729.8762 | 219247.4293 | 27.3 | 43.4
86874 | 2021-04-09 13:24 | 77.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0934 | μmol/L | 11.4169 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.798 | 111709.7068 | 219239.1679 | 27.3 | 43.4
86883 | 2021-04-09 13:24 | 77.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2062 | μmol/L | 11.4169 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.794 | 111706.0149 | 219241.4696 | 27.3 | 43.4
86892 | 2021-04-09 13:25 | 78.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.027 | μmol/L | 11.423 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.798 | 111695.412 | 219245.5375 | 27.3 | 43.4
86901 | 2021-04-09 13:25 | 78.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2909 | μmol/L | 11.4169 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.791 | 111677.8142 | 219242.6827 | 27.3 | 43.4
86910 | 2021-04-09 13:25 | 78.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1216 | μmol/L | 11.4169 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.797 | 111674.9326 | 219241.5536 | 27.3 | 43.4
86919 | 2021-04-09 13:26 | 79.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.2344 | μmol/L | 11.4169 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.793 | 111678.2086 | 219232.0295 | 27.3 | 43.4
86928 | 2021-04-09 13:26 | 79.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.168 | μmol/L | 11.423 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.793 | 111669.1638 | 219231.1015 | 27.3 | 43.4
86937 | 2021-04-09 13:26 | 79.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.3473 | μmol/L | 11.4169 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.789 | 111670.2144 | 219226.3335 | 27.3 | 43.4
86946 | 2021-04-09 13:27 | 80.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1298 | μmol/L | 11.4291 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.792 | 111666.3411 | 219225.5932 | 27.3 | 43.4
86955 | 2021-04-09 13:27 | 80.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0734 | μmol/L | 11.4291 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.794 | 111666.8411 | 219220.7153 | 27.3 | 43.4
86964 | 2021-04-09 13:27 | 80.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1298 | μmol/L | 11.4291 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.792 | 111656.3324 | 219219.3161 | 27.3 | 43.4
86973 | 2021-04-09 13:28 | 81.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1862 | μmol/L | 11.4291 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.79 | 111646.9522 | 219211.0732 | 27.3 | 43.4
86982 | 2021-04-09 13:28 | 81.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1016 | μmol/L | 11.4291 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.793 | 111654.7 | 219208.5909 | 27.3 | 43.4
86991 | 2021-04-09 13:28 | 81.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.158 | μmol/L | 11.4291 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.791 | 111641.7833 | 219202.3873 | 27.3 | 43.4
87000 | 2021-04-09 13:29 | 82.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.1298 | μmol/L | 11.4291 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.792 | 111639.7732 | 219204.6968 | 27.3 | 43.4
87009 | 2021-04-09 13:29 | 82.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0871 | μmol/L | 11.4352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.791 | 111642.6561 | 219213.9406 | 27.3 | 43.4
87018 | 2021-04-09 13:29 | 82.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.017 | μmol/L | 11.4291 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.796 | 111630.6882 | 219204.9104 | 27.3 | 43.4
87027 | 2021-04-09 13:30 | 83.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.148 | μmol/L | 11.4352 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.789 | 111639.87 | 219192.2997 | 27.3 | 43.4
87036 | 2021-04-09 13:30 | 83.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.148 | μmol/L | 11.4352 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.789 | 111619.2955 | 219187.9217 | 27.3 | 43.4
87045 | 2021-04-09 13:30 | 83.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 328.0307 | μmol/L | 11.4352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.793 | 111631.4662 | 219189.7861 | 27.3 | 43.4
87054 | 2021-04-09 13:31 | 84.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.9406 | μmol/L | 11.4413 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.794 | 111624.1054 | 219183.0034 | 27.3 | 43.4
87063 | 2021-04-09 13:31 | 84.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.8279 | μmol/L | 11.4413 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.798 | 111630.6234 | 219174.1076 | 27.3 | 43.4
87072 | 2021-04-09 13:31 | 84.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.9743 | μmol/L | 11.4352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.795 | 111618.4251 | 219172.5218 | 27.3 | 43.4
87081 | 2021-04-09 13:32 | 85.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.9124 | μmol/L | 11.4413 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.795 | 111634.2923 | 219169.573 | 27.3 | 43.4
87090 | 2021-04-09 13:32 | 85.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.7433 | μmol/L | 11.4413 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.801 | 111630.4126 | 219164.1689 | 27.3 | 43.4
87099 | 2021-04-09 13:32 | 85.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.7997 | μmol/L | 11.4413 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.799 | 111640.1633 | 219166.4749 | 27.3 | 43.4
87108 | 2021-04-09 13:33 | 86.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.7997 | μmol/L | 11.4413 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.799 | 111628.3482 | 219160.1189 | 27.3 | 43.4
87117 | 2021-04-09 13:33 | 86.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.7571 | μmol/L | 11.4474 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.798 | 111630.1014 | 219148.9337 | 27.3 | 43.4
87126 | 2021-04-09 13:33 | 86.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6952 | μmol/L | 11.4534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.798 | 111627.9401 | 219152.3772 | 27.3 | 43.4
87135 | 2021-04-09 13:34 | 87.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.7052 | μmol/L | 11.4474 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.8 | 111631.6679 | 219140.9793 | 27.3 | 43.4
87144 | 2021-04-09 13:34 | 87.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.5682 | μmol/L | 11.4595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.8 | 111629.519 | 219144.0459 | 27.3 | 43.4
87153 | 2021-04-09 13:34 | 87.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6952 | μmol/L | 11.4534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.798 | 111630.1885 | 219141.0198 | 27.3 | 43.4
87162 | 2021-04-09 13:35 | 88.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.6626 | μmol/L | 11.4534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.799 | 111625.3365 | 219131.7119 | 27.3 | 43.4
87171 | 2021-04-09 13:35 | 88.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.7234 | μmol/L | 11.4534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.797 | 111629.573 | 219124.6003 | 27.3 | 43.4
87180 | 2021-04-09 13:35 | 88.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.5682 | μmol/L | 11.4595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.8 | 111625.8967 | 219123.5762 | 27.3 | 43.4
87189 | 2021-04-09 13:36 | 89.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.5163 | μmol/L | 11.4595 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.802 | 111627.8913 | 219131.4537 | 27.3 | 43.4
87198 | 2021-04-09 13:36 | 89.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.412 | μmol/L | 11.4717 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.801 | 111631.3681 | 219126.5534 | 27.3 | 43.4
87207 | 2021-04-09 13:36 | 89.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.5163 | μmol/L | 11.4595 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.802 | 111619.9004 | 219121.7864 | 27.3 | 43.4
87216 | 2021-04-09 13:37 | 90.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.5445 | μmol/L | 11.4595 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.801 | 111626.2933 | 219114.3662 | 27.3 | 43.4
87225 | 2021-04-09 13:37 | 90.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4174 | μmol/L | 11.4656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.803 | 111623.1216 | 219117.4926 | 27.3 | 43.4
87234 | 2021-04-09 13:37 | 90.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.295 | μmol/L | 11.4717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.805 | 111639.3929 | 219130.8552 | 27.3 | 43.4
87243 | 2021-04-09 13:38 | 91.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4319 | μmol/L | 11.4595 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.805 | 111633.86 | 219117.5947 | 27.3 | 43.4
87252 | 2021-04-09 13:38 | 91.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4037 | μmol/L | 11.4595 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.806 | 111627.7993 | 219099.2642 | 27.3 | 43.4
87261 | 2021-04-09 13:38 | 91.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4319 | μmol/L | 11.4595 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.805 | 111638.5014 | 219099.0853 | 27.3 | 43.4
87270 | 2021-04-09 13:39 | 92.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4837 | μmol/L | 11.4595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.803 | 111624.0901 | 219099.8605 | 27.3 | 43.4
87279 | 2021-04-09 13:39 | 92.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4555 | μmol/L | 11.4595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.804 | 111623.0281 | 219102.2815 | 27.3 | 43.4
87288 | 2021-04-09 13:39 | 92.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.45 | μmol/L | 11.4656 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.802 | 111633.7208 | 219097.6548 | 27.3 | 43.4
87297 | 2021-04-09 13:40 | 93.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4881 | μmol/L | 11.4595 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.803 | 111610.3236 | 219097.4082 | 27.3 | 43.4
87306 | 2021-04-09 13:40 | 93.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4737 | μmol/L | 11.4656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.801 | 111598.6606 | 219090.2129 | 27.3 | 43.4
87315 | 2021-04-09 13:40 | 93.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.3794 | μmol/L | 11.4717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.802 | 111577.8672 | 219085.2608 | 27.3 | 43.4
87324 | 2021-04-09 13:41 | 94.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.4737 | μmol/L | 11.4656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.801 | 111584.718 | 219077.962 | 27.3 | 43.4
87333 | 2021-04-09 13:41 | 94.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.45 | μmol/L | 11.4656 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.802 | 111596.3923 | 219076.9996 | 27.3 | 43.4
87342 | 2021-04-09 13:41 | 94.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.3893 | μmol/L | 11.4656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.804 | 111605.6412 | 219078.9704 | 27.3 | 43.4
87351 | 2021-04-09 13:42 | 95.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.2387 | μmol/L | 11.4717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.807 | 111609.5664 | 219074.1176 | 27.3 | 43.4
87360 | 2021-04-09 13:42 | 95.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.1869 | μmol/L | 11.4717 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.809 | 111630.1911 | 219077.9136 | 27.3 | 43.4
87369 | 2021-04-09 13:42 | 95.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.1444 | μmol/L | 11.4778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.808 | 111622.7303 | 219087.8596 | 27.3 | 43.4
87378 | 2021-04-09 13:43 | 96.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.1924 | μmol/L | 11.4656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.811 | 111638.5521 | 219073.7464 | 27.3 | 43.4
87387 | 2021-04-09 13:43 | 96.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.9477 | μmol/L | 11.4778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.815 | 111640.4347 | 219063.5959 | 27.3 | 43.4
87396 | 2021-04-09 13:43 | 96.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.9939 | μmol/L | 11.4839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.811 | 111635.5972 | 219070.1781 | 27.3 | 43.4
87405 | 2021-04-09 13:44 | 97.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.0182 | μmol/L | 11.4717 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.815 | 111631.6018 | 219062.8551 | 27.3 | 43.4
87414 | 2021-04-09 13:44 | 97.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.9758 | μmol/L | 11.4778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.814 | 111633.8909 | 219073.5139 | 27.3 | 43.4
87423 | 2021-04-09 13:44 | 97.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.9939 | μmol/L | 11.4839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.811 | 111623.1612 | 219064.4112 | 27.3 | 43.4
87432 | 2021-04-09 13:45 | 98.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.9477 | μmol/L | 11.4778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.815 | 111614.8895 | 219062.055 | 27.3 | 43.4
87441 | 2021-04-09 13:45 | 98.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.9096 | μmol/L | 11.4839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.814 | 111612.9817 | 219051.3149 | 27.3 | 43.4
87450 | 2021-04-09 13:45 | 98.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 327.0601 | μmol/L | 11.4778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.811 | 111615.9664 | 219055.2709 | 27.3 | 43.4
87459 | 2021-04-09 13:46 | 99.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.9802 | μmol/L | 11.4778 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.814 | 111615.5459 | 219052.0606 | 27.3 | 43.4
87468 | 2021-04-09 13:46 | 99.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.9278 | μmol/L | 11.49 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.811 | 111624.8947 | 219046.0773 | 27.3 | 43.4
87477 | 2021-04-09 13:46 | 99.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.9422 | μmol/L | 11.4839 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.813 | 111628.2003 | 219043.5436 | 27.3 | 43.4
87486 | 2021-04-09 13:47 | 100.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.8017 | μmol/L | 11.4839 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.818 | 111646.78 | 219036.5201 | 27.3 | 43.4
87495 | 2021-04-09 13:47 | 100.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.7973 | μmol/L | 11.4839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.818 | 111644.8069 | 219041.6477 | 27.3 | 43.4
87504 | 2021-04-09 13:47 | 100.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.6669 | μmol/L | 11.4778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.825 | 111655.9741 | 219032.7748 | 27.3 | 43.4
87513 | 2021-04-09 13:48 | 101.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.6751 | μmol/L | 11.49 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.82 | 111669.1655 | 219031.7648 | 27.3 | 43.4
87522 | 2021-04-09 13:48 | 101.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.4506 | μmol/L | 11.49 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.828 | 111674.1097 | 219029.7214 | 27.3 | 43.4
87531 | 2021-04-09 13:48 | 101.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.5727 | μmol/L | 11.4839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.826 | 111683.4851 | 219027.4688 | 27.3 | 43.4
87540 | 2021-04-09 13:49 | 102.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.2824 | μmol/L | 11.49 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.834 | 111711.9373 | 219026.2873 | 27.3 | 43.4
87549 | 2021-04-09 13:49 | 102.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.2588 | μmol/L | 11.49 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 21.835 | 111711.3788 | 219022.6019 | 27.3 | 43.4
87558 | 2021-04-09 13:49 | 102.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 326.2544 | μmol/L | 11.49 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.835 | 111726.2059 | 219019.4068 | 27.3 | 43.4
87567 | 2021-04-09 13:50 | 103.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.9924 | μmol/L | 11.4961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.842 | 111747.1406 | 219016.454 | 27.3 | 43.4
87576 | 2021-04-09 13:50 | 103.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.8804 | μmol/L | 11.4961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.846 | 111759.5976 | 219013.9856 | 27.3 | 43.4
87585 | 2021-04-09 13:50 | 103.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.7405 | μmol/L | 11.4961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.851 | 111789.6402 | 219018.4612 | 27.3 | 43.4
87594 | 2021-04-09 13:51 | 104.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.6566 | μmol/L | 11.4961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.854 | 111811.2894 | 219007.5187 | 27.3 | 43.4
87603 | 2021-04-09 13:51 | 104.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.6187 | μmol/L | 11.5022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.853 | 111834.0343 | 219006.518 | 27.3 | 43.4
87612 | 2021-04-09 13:51 | 104.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.5268 | μmol/L | 11.49 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.861 | 111859.5055 | 219004.88 | 27.3 | 43.4
87621 | 2021-04-09 13:52 | 105.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.0782 | μmol/L | 11.5083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.87 | 111895.7944 | 219009.8628 | 27.3 | 43.4
87630 | 2021-04-09 13:52 | 105.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 325.1259 | μmol/L | 11.4961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.873 | 111928.3506 | 218997.6758 | 27.3 | 43.4
87639 | 2021-04-09 13:52 | 105.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.883 | μmol/L | 11.5083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.877 | 111946.396 | 218999.8614 | 27.3 | 43.4
87648 | 2021-04-09 13:53 | 106.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.7257 | μmol/L | 11.5022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.885 | 111983.1161 | 218994.2341 | 27.3 | 43.4
87657 | 2021-04-09 13:53 | 106.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.66 | μmol/L | 11.5083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.885 | 112000.1503 | 218997.5802 | 27.3 | 43.4
87666 | 2021-04-09 13:53 | 106.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.5486 | μmol/L | 11.5083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.889 | 112020.615 | 218993.0861 | 27.3 | 43.4
87675 | 2021-04-09 13:54 | 107.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.326 | μmol/L | 11.5083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.897 | 112043.7188 | 218989.6031 | 27.3 | 43.4
87684 | 2021-04-09 13:54 | 107.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2147 | μmol/L | 11.5083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.901 | 112059.2074 | 218995.9113 | 27.3 | 43.4
87693 | 2021-04-09 13:54 | 107.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2525 | μmol/L | 11.5022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.902 | 112072.4803 | 218989.1461 | 27.3 | 43.4
87702 | 2021-04-09 13:55 | 108.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 324.2247 | μmol/L | 11.5022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.903 | 112092.6792 | 218986.2529 | 27.3 | 43.4
87711 | 2021-04-09 13:55 | 108.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.9824 | μmol/L | 11.5144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.907 | 112110.6118 | 218977.7493 | 27.3 | 43.4
87720 | 2021-04-09 13:55 | 108.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.7603 | μmol/L | 11.5144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.915 | 112136.3326 | 218987.9474 | 27.3 | 43.4
87729 | 2021-04-09 13:56 | 109.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.5938 | μmol/L | 11.5144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.921 | 112161.7392 | 218975.0014 | 27.3 | 43.4
87738 | 2021-04-09 13:56 | 109.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.5284 | μmol/L | 11.5205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.921 | 112176.924 | 218974.2547 | 27.3 | 43.4
87747 | 2021-04-09 13:56 | 109.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4828 | μmol/L | 11.5144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.925 | 112194.7509 | 218964.3087 | 27.3 | 43.4
87756 | 2021-04-09 13:57 | 110.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4096 | μmol/L | 11.5083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.93 | 112207.476 | 218970.7464 | 27.3 | 43.4
87765 | 2021-04-09 13:57 | 110.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3066 | μmol/L | 11.5205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.929 | 112212.084 | 218974.0751 | 27.3 | 43.4
87774 | 2021-04-09 13:57 | 110.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4373 | μmol/L | 11.5083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.929 | 112220.9257 | 218969.6615 | 27.3 | 43.4
87783 | 2021-04-09 13:58 | 111.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3442 | μmol/L | 11.5144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.93 | 112209.2876 | 218979.4418 | 27.3 | 43.4
87792 | 2021-04-09 13:58 | 111.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3819 | μmol/L | 11.5083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.931 | 112206.348 | 218967.0746 | 27.3 | 43.4
87801 | 2021-04-09 13:58 | 111.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4828 | μmol/L | 11.5144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.925 | 112202.562 | 218964.1799 | 27.3 | 43.4
87810 | 2021-04-09 13:59 | 112.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4373 | μmol/L | 11.5083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.929 | 112203.8627 | 218969.7076 | 27.3 | 43.4
87819 | 2021-04-09 13:59 | 112.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3442 | μmol/L | 11.5144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.93 | 112184.2491 | 218949.42 | 27.3 | 43.4
87828 | 2021-04-09 13:59 | 112.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4274 | μmol/L | 11.5144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.927 | 112191.8633 | 218952.345 | 27.3 | 43.4
87837 | 2021-04-09 14:00 | 113.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3343 | μmol/L | 11.5205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.928 | 112189.588 | 218948.798 | 27.3 | 43.4
87846 | 2021-04-09 14:00 | 113.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4274 | μmol/L | 11.5144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.927 | 112184.4736 | 218949.5479 | 27.3 | 43.4
87855 | 2021-04-09 14:00 | 113.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.4274 | μmol/L | 11.5144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.927 | 112186.1944 | 218954.6579 | 27.3 | 43.4
87864 | 2021-04-09 14:01 | 114.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2135 | μmol/L | 11.5266 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.93 | 112189.4018 | 218941.6243 | 27.3 | 43.4
87873 | 2021-04-09 14:01 | 114.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3343 | μmol/L | 11.5205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.928 | 112184.0414 | 218940.5387 | 27.3 | 43.4
87882 | 2021-04-09 14:01 | 114.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.3165 | μmol/L | 11.5144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.931 | 112179.2106 | 218936.1188 | 27.3 | 43.4
87891 | 2021-04-09 14:02 | 115.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2413 | μmol/L | 11.5266 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.929 | 112194.3067 | 218936.5417 | 27.3 | 43.4
87900 | 2021-04-09 14:02 | 115.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2512 | μmol/L | 11.5205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.931 | 112180.2677 | 218932.7992 | 27.3 | 43.4
87909 | 2021-04-09 14:02 | 115.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1305 | μmol/L | 11.5266 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.933 | 112179.8877 | 218924.0884 | 27.3 | 43.4
87918 | 2021-04-09 14:03 | 116.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1581 | μmol/L | 11.5266 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.932 | 112190.9479 | 218929.7807 | 27.3 | 43.4
87927 | 2021-04-09 14:03 | 116.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1482 | μmol/L | 11.5327 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.93 | 112181.8673 | 218927.8861 | 27.3 | 43.4
87936 | 2021-04-09 14:03 | 116.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1106 | μmol/L | 11.5388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.929 | 112169.8793 | 218924.0208 | 27.3 | 43.4
87945 | 2021-04-09 14:04 | 117.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.2313 | μmol/L | 11.5327 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.927 | 112167.0544 | 218929.2091 | 27.3 | 43.4
87954 | 2021-04-09 14:04 | 117.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1106 | μmol/L | 11.5388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.929 | 112174.1495 | 218920.3689 | 27.3 | 43.4
87963 | 2021-04-09 14:04 | 117.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 323.1482 | μmol/L | 11.5327 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.93 | 112165.6468 | 218917.6515 | 27.3 | 43.4
87972 | 2021-04-09 14:05 | 118.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.9346 | μmol/L | 11.5449 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.933 | 112167.3206 | 218918.6982 | 27.3 | 43.4
87981 | 2021-04-09 14:05 | 118.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.9069 | μmol/L | 11.5449 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.934 | 112171.3062 | 218900.9011 | 27.3 | 43.4
87990 | 2021-04-09 14:05 | 118.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.9445 | μmol/L | 11.5388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.935 | 112173.0089 | 218898.3817 | 27.3 | 43.4
87999 | 2021-04-09 14:06 | 119.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.9722 | μmol/L | 11.5388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.934 | 112182.9113 | 218891.5633 | 27.3 | 43.4
88008 | 2021-04-09 14:06 | 119.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.7133 | μmol/L | 11.5449 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.941 | 112210.537 | 218897.1573 | 27.3 | 43.4
88017 | 2021-04-09 14:06 | 119.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.7508 | μmol/L | 11.5388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.942 | 112220.0221 | 218897.4823 | 27.3 | 43.4
88023 | 2021-04-09 14:07 | 120.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 322.6955 | μmol/L | 11.5388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.944 | 112238.7198 | 218895.0641 | 27.3 | 43.4