## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 21:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
81672 | 2021-04-07 21:15 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.2675 | μmol/L | 10.8328 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.596 | 111692.7121 | 305646.2285 | 28.7 | 67.6
81681 | 2021-04-07 21:16 | 0.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.3425 | μmol/L | 10.8449 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.588 | 111688.816 | 305645.7491 | 28.7 | 67.6
81690 | 2021-04-07 21:16 | 0.66041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.1117 | μmol/L | 10.8631 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.591 | 111667.9223 | 305642.9661 | 28.7 | 67.6
81699 | 2021-04-07 21:16 | 0.99335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0953 | μmol/L | 10.8753 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.587 | 111652.6468 | 305633.8154 | 28.7 | 67.6
81708 | 2021-04-07 21:17 | 1.3271 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.1475 | μmol/L | 10.8874 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.58 | 111639.7258 | 305633.1156 | 28.7 | 67.6
81717 | 2021-04-07 21:17 | 1.66 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0395 | μmol/L | 10.8995 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.58 | 111618.0052 | 305605.663 | 28.7 | 67.6
81726 | 2021-04-07 21:17 | 1.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.1457 | μmol/L | 10.9056 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.573 | 111597.872 | 305591.9854 | 28.7 | 67.6
81735 | 2021-04-07 21:18 | 2.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9692 | μmol/L | 10.9177 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.576 | 111576.4173 | 305575.2136 | 28.7 | 67.6
81744 | 2021-04-07 21:18 | 2.6603 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0214 | μmol/L | 10.9299 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.569 | 111548.5442 | 305551.4884 | 28.7 | 67.6
81753 | 2021-04-07 21:18 | 2.9938 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8597 | μmol/L | 10.9481 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.569 | 111538.3189 | 305556.9808 | 28.7 | 67.6
81762 | 2021-04-07 21:19 | 3.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8892 | μmol/L | 10.9602 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.563 | 111522.7498 | 305542.2633 | 28.7 | 67.6
81771 | 2021-04-07 21:19 | 3.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8124 | μmol/L | 10.9663 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.564 | 111499.3623 | 305516.4485 | 28.7 | 67.6
81780 | 2021-04-07 21:19 | 3.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8958 | μmol/L | 10.9724 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.558 | 111479.9417 | 305515.9513 | 28.7 | 67.6
81789 | 2021-04-07 21:20 | 4.3272 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7423 | μmol/L | 10.9845 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.56 | 111452.2021 | 305487.3186 | 28.7 | 67.6
81798 | 2021-04-07 21:20 | 4.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6952 | μmol/L | 11.0027 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.555 | 111429.1037 | 305478.1051 | 28.7 | 67.6
81807 | 2021-04-07 21:20 | 4.9935 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7328 | μmol/L | 11.0088 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.551 | 111411.1856 | 305466.0802 | 28.7 | 67.6
81816 | 2021-04-07 21:21 | 5.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7167 | μmol/L | 11.0209 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.547 | 111388.6193 | 305447.6007 | 28.7 | 67.6
81825 | 2021-04-07 21:21 | 5.66 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7086 | μmol/L | 11.027 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.545 | 111358.6863 | 305435.7536 | 28.7 | 67.6
81834 | 2021-04-07 21:21 | 5.9938 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6777 | μmol/L | 11.0331 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.544 | 111349.8568 | 305433.0116 | 28.7 | 67.6
81843 | 2021-04-07 21:22 | 6.3269 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5701 | μmol/L | 11.0452 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.544 | 111328.4335 | 305396.0556 | 28.7 | 67.6
81852 | 2021-04-07 21:22 | 6.6602 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5998 | μmol/L | 11.0573 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.538 | 111315.4764 | 305403.6403 | 28.7 | 67.6
81861 | 2021-04-07 21:22 | 6.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5461 | μmol/L | 11.0634 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.538 | 111292.6652 | 305370.4375 | 28.7 | 67.6
81870 | 2021-04-07 21:23 | 7.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5152 | μmol/L | 11.0695 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.537 | 111277.1362 | 305364.4915 | 28.7 | 67.6
81879 | 2021-04-07 21:23 | 7.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4603 | μmol/L | 11.0937 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.53 | 111257.9698 | 305341.0882 | 28.7 | 67.6
81888 | 2021-04-07 21:23 | 7.9933 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5369 | μmol/L | 11.0877 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.529 | 111230.0506 | 305323.8396 | 28.7 | 67.6
81897 | 2021-04-07 21:24 | 8.3271 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4295 | μmol/L | 11.0998 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.529 | 111208.3286 | 305310.1572 | 28.7 | 67.6
81906 | 2021-04-07 21:24 | 8.6602 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4901 | μmol/L | 11.1059 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.524 | 111190.8008 | 305301.1402 | 28.7 | 67.6
81915 | 2021-04-07 21:24 | 8.9933 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4821 | μmol/L | 11.1119 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.522 | 111179.6776 | 305292.2877 | 28.7 | 67.6
81924 | 2021-04-07 21:25 | 9.3271 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4205 | μmol/L | 11.1241 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.52 | 111154.9654 | 305284.7851 | 28.7 | 67.6
81933 | 2021-04-07 21:25 | 9.6604 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4732 | μmol/L | 11.1362 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.513 | 111129.6663 | 305262.8291 | 28.7 | 67.6
81942 | 2021-04-07 21:25 | 9.9935 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4195 | μmol/L | 11.1423 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.513 | 111121.9627 | 305252.643 | 28.7 | 67.6
81951 | 2021-04-07 21:26 | 10.3266 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4424 | μmol/L | 11.1423 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.512 | 111099.595 | 305244.4773 | 28.7 | 67.6
81960 | 2021-04-07 21:26 | 10.6599 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3808 | μmol/L | 11.1544 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.51 | 111084.8847 | 305230.3265 | 28.7 | 67.6
81969 | 2021-04-07 21:26 | 10.994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4415 | μmol/L | 11.1605 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.505 | 111073.2014 | 305213.4634 | 28.7 | 67.6
81978 | 2021-04-07 21:27 | 11.3272 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3193 | μmol/L | 11.1666 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.508 | 111053.3189 | 305212.6333 | 28.7 | 67.6
81987 | 2021-04-07 21:27 | 11.6603 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3114 | μmol/L | 11.1726 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.506 | 111039.3298 | 305185.7751 | 28.7 | 67.6
81996 | 2021-04-07 21:27 | 11.9934 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2271 | μmol/L | 11.1848 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.505 | 111023.4276 | 305173.7393 | 28.7 | 67.6
82005 | 2021-04-07 21:28 | 12.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.1735 | μmol/L | 11.1908 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.505 | 111008.2681 | 305145.7613 | 28.7 | 67.6
82014 | 2021-04-07 21:28 | 12.6605 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.1121 | μmol/L | 11.203 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.503 | 110997.0688 | 305152.3138 | 28.7 | 67.6
82023 | 2021-04-07 21:28 | 12.9935 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.9972 | μmol/L | 11.2212 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.501 | 110996.0217 | 305132.3777 | 28.7 | 67.6
82032 | 2021-04-07 21:29 | 13.3266 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.0736 | μmol/L | 11.2151 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.5 | 110982.3981 | 305125.6285 | 28.7 | 67.6
82041 | 2021-04-07 21:29 | 13.6605 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.1571 | μmol/L | 11.2212 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.494 | 110970.655 | 305102.6778 | 28.7 | 67.6
82050 | 2021-04-07 21:29 | 13.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.0579 | μmol/L | 11.2273 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.496 | 110960.1705 | 305098.2212 | 28.7 | 67.6
82059 | 2021-04-07 21:30 | 14.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.0272 | μmol/L | 11.2333 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.495 | 110946.6922 | 305098.3824 | 28.7 | 67.6
82068 | 2021-04-07 21:30 | 14.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.0729 | μmol/L | 11.2333 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.493 | 110932.2827 | 305076.706 | 28.7 | 67.6
82077 | 2021-04-07 21:30 | 14.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.9659 | μmol/L | 11.2455 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.493 | 110908.3733 | 305059.3284 | 28.7 | 67.6
82086 | 2021-04-07 21:31 | 15.3266 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.0494 | μmol/L | 11.2515 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.487 | 110900.1484 | 305053.0179 | 28.7 | 67.6
82095 | 2021-04-07 21:31 | 15.6605 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.1029 | μmol/L | 11.2455 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.487 | 110883.6837 | 305029.8162 | 28.7 | 67.6
82104 | 2021-04-07 21:31 | 15.9934 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.9575 | μmol/L | 11.2697 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.484 | 110869.8299 | 305027.771 | 28.7 | 67.6
82113 | 2021-04-07 21:32 | 16.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.9347 | μmol/L | 11.2697 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.485 | 110860.0331 | 305011.8066 | 28.7 | 67.6
82122 | 2021-04-07 21:32 | 16.6603 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.9119 | μmol/L | 11.2697 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.486 | 110848.9654 | 305000.5162 | 28.7 | 67.6
82131 | 2021-04-07 21:32 | 16.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.8279 | μmol/L | 11.2819 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.485 | 110838.5845 | 305000.602 | 28.7 | 67.6
82140 | 2021-04-07 21:33 | 17.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.8963 | μmol/L | 11.2819 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.482 | 110835.2104 | 304987.4536 | 28.7 | 67.6
82149 | 2021-04-07 21:33 | 17.6602 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.8963 | μmol/L | 11.2819 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.482 | 110833.0087 | 304996.3663 | 28.7 | 67.6
82158 | 2021-04-07 21:33 | 17.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6755 | μmol/L | 11.294 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.487 | 110821.1105 | 304967.0004 | 28.7 | 67.6
82167 | 2021-04-07 21:34 | 18.327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.7361 | μmol/L | 11.3001 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.482 | 110814.7396 | 304952.8225 | 28.7 | 67.6
82176 | 2021-04-07 21:34 | 18.6599 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.7056 | μmol/L | 11.3062 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.481 | 110818.2906 | 304958.9037 | 28.7 | 67.6
82185 | 2021-04-07 21:34 | 18.994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5382 | μmol/L | 11.3122 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.486 | 110803.2299 | 304953.6009 | 28.7 | 67.6
82194 | 2021-04-07 21:35 | 19.3269 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.7056 | μmol/L | 11.3062 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.481 | 110793.2599 | 304929.0975 | 28.7 | 67.6
82203 | 2021-04-07 21:35 | 19.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.7129 | μmol/L | 11.3183 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.476 | 110784.2769 | 304920.6814 | 28.7 | 67.6
82212 | 2021-04-07 21:35 | 19.9938 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6901 | μmol/L | 11.3183 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.477 | 110767.5966 | 304917.5002 | 28.7 | 67.6
82221 | 2021-04-07 21:36 | 20.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6367 | μmol/L | 11.3244 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.477 | 110749.2086 | 304895.894 | 28.7 | 67.6
82230 | 2021-04-07 21:36 | 20.66 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6974 | μmol/L | 11.3304 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.472 | 110738.2381 | 304897.726 | 28.7 | 67.6
82239 | 2021-04-07 21:36 | 20.9933 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6974 | μmol/L | 11.3304 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.472 | 110725.9749 | 304890.6872 | 28.7 | 67.6
82248 | 2021-04-07 21:37 | 21.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6897 | μmol/L | 11.3365 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.47 | 110716.6454 | 304870.2116 | 28.7 | 67.6
82257 | 2021-04-07 21:37 | 21.6605 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4463 | μmol/L | 11.3486 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.476 | 110706.1273 | 304872.4096 | 28.7 | 67.6
82266 | 2021-04-07 21:37 | 21.9935 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5603 | μmol/L | 11.3486 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.471 | 110696.6739 | 304858.2978 | 28.7 | 67.6
82275 | 2021-04-07 21:38 | 22.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6059 | μmol/L | 11.3486 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.469 | 110689.9664 | 304843.7062 | 28.7 | 67.6
82284 | 2021-04-07 21:38 | 22.6606 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5449 | μmol/L | 11.3608 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.467 | 110685.9453 | 304847.4306 | 28.7 | 67.6
82293 | 2021-04-07 21:38 | 22.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4537 | μmol/L | 11.3608 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.471 | 110682.3687 | 304842.7658 | 28.7 | 67.6
82302 | 2021-04-07 21:39 | 23.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5221 | μmol/L | 11.3608 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.468 | 110680.8711 | 304828.979 | 28.7 | 67.6
82311 | 2021-04-07 21:39 | 23.6606 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4232 | μmol/L | 11.3669 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.47 | 110680.1964 | 304827.3644 | 28.7 | 67.6
82320 | 2021-04-07 21:39 | 23.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.37 | μmol/L | 11.3729 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.47 | 110673.1353 | 304811.7713 | 28.7 | 67.6
82329 | 2021-04-07 21:40 | 24.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.446 | μmol/L | 11.3669 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.469 | 110664.5046 | 304791.8644 | 28.7 | 67.6
82338 | 2021-04-07 21:40 | 24.6606 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4383 | μmol/L | 11.3729 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.467 | 110662.5105 | 304776.4528 | 28.7 | 67.6
82347 | 2021-04-07 21:40 | 24.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2863 | μmol/L | 11.3851 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.469 | 110649.656 | 304768.1473 | 28.7 | 67.6
82356 | 2021-04-07 21:41 | 25.3268 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2786 | μmol/L | 11.3911 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.467 | 110648.9562 | 304763.9128 | 28.7 | 67.6
82365 | 2021-04-07 21:41 | 25.6606 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2938 | μmol/L | 11.3972 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.464 | 110632.0975 | 304757.3046 | 28.7 | 67.6
82374 | 2021-04-07 21:41 | 25.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3165 | μmol/L | 11.3972 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.463 | 110611.7476 | 304727.7662 | 28.7 | 67.6
82383 | 2021-04-07 21:42 | 26.3266 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.343 | μmol/L | 11.3972 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.462 | 110609.8859 | 304735.2277 | 28.7 | 67.6
82392 | 2021-04-07 21:42 | 26.6604 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2861 | μmol/L | 11.4033 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.462 | 110595.0786 | 304718.7563 | 28.7 | 67.6
82401 | 2021-04-07 21:42 | 26.9936 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3317 | μmol/L | 11.4033 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.46 | 110581.1962 | 304721.5868 | 28.7 | 67.6
82410 | 2021-04-07 21:43 | 27.3267 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2101 | μmol/L | 11.4093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.463 | 110576.8947 | 304696.4352 | 28.7 | 67.6
82419 | 2021-04-07 21:43 | 27.6606 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2557 | μmol/L | 11.4093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.461 | 110564.5734 | 304699.7927 | 28.7 | 67.6
82428 | 2021-04-07 21:43 | 27.9935 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2025 | μmol/L | 11.4154 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.461 | 110566.4228 | 304690.1533 | 28.7 | 67.6
82437 | 2021-04-07 21:44 | 28.3266 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.1949 | μmol/L | 11.4215 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.459 | 110552.2676 | 304662.3142 | 28.7 | 67.6
82446 | 2021-04-07 21:44 | 28.6605 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2177 | μmol/L | 11.4215 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.458 | 110499.7789 | 304659.5035 | 28.7 | 67.6