## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-07 21:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
81671 | 2021-04-07 21:15 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.1594 | μmol/L | 10.8833 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.14 | 151972.1914 | 279337.1664 | 36.4 | 83.1
81680 | 2021-04-07 21:16 | 0.33705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.1614 | μmol/L | 10.8955 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.135 | 152002.5329 | 279325.0683 | 36.4 | 83.1
81689 | 2021-04-07 21:16 | 0.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.9753 | μmol/L | 10.9138 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.135 | 151982.2968 | 279336.1681 | 36.4 | 83.1
81698 | 2021-04-07 21:16 | 1.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.929 | μmol/L | 10.9382 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.127 | 151941.3863 | 279323.4984 | 36.4 | 83.1
81707 | 2021-04-07 21:17 | 1.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.9795 | μmol/L | 10.9382 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.125 | 151903.2238 | 279295.7888 | 36.4 | 83.1
81716 | 2021-04-07 21:17 | 1.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.9564 | μmol/L | 10.9505 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.121 | 151877.0712 | 279279.2492 | 36.4 | 83.1
81725 | 2021-04-07 21:17 | 2.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.9586 | μmol/L | 10.9627 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.116 | 151839.1789 | 279263.7921 | 36.4 | 83.1
81734 | 2021-04-07 21:18 | 2.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.9356 | μmol/L | 10.9749 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.112 | 151786.0717 | 279264.4341 | 36.4 | 83.1
81743 | 2021-04-07 21:18 | 2.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 302.0756 | μmol/L | 10.981 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.104 | 151750.2223 | 279249.5695 | 36.4 | 83.1
81752 | 2021-04-07 21:18 | 3.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.9769 | μmol/L | 10.9932 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.103 | 151714.1136 | 279235.5377 | 36.4 | 83.1
81761 | 2021-04-07 21:19 | 3.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.9792 | μmol/L | 11.0055 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.098 | 151689.3994 | 279216.1284 | 36.4 | 83.1
81770 | 2021-04-07 21:19 | 3.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.8554 | μmol/L | 11.0177 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.098 | 151658.8809 | 279221.0477 | 36.4 | 83.1
81779 | 2021-04-07 21:19 | 4.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.8578 | μmol/L | 11.0299 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.093 | 151628.2498 | 279194.4477 | 36.4 | 83.1
81788 | 2021-04-07 21:20 | 4.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.9221 | μmol/L | 11.036 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.088 | 151600.1928 | 279191.556 | 36.4 | 83.1
81797 | 2021-04-07 21:20 | 4.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7617 | μmol/L | 11.0543 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.087 | 151577.9619 | 279183.1715 | 36.4 | 83.1
81806 | 2021-04-07 21:20 | 5.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.8513 | μmol/L | 11.0605 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.081 | 151536.3074 | 279167.8951 | 36.4 | 83.1
81815 | 2021-04-07 21:21 | 5.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.9775 | μmol/L | 11.0605 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.076 | 151494.3395 | 279156.6433 | 36.4 | 83.1
81824 | 2021-04-07 21:21 | 5.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.8791 | μmol/L | 11.0727 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.075 | 151460.7043 | 279132.1753 | 36.4 | 83.1
81833 | 2021-04-07 21:21 | 6.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7188 | μmol/L | 11.091 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.074 | 151432.0738 | 279131.7406 | 36.4 | 83.1
81842 | 2021-04-07 21:22 | 6.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.671 | μmol/L | 11.1032 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.071 | 151406.6046 | 279108.1401 | 36.4 | 83.1
81851 | 2021-04-07 21:22 | 6.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7354 | μmol/L | 11.1093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.066 | 151376.4675 | 279099.5693 | 36.4 | 83.1
81860 | 2021-04-07 21:22 | 7.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7493 | μmol/L | 11.1155 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.063 | 151338.4472 | 279080.7227 | 36.4 | 83.1
81869 | 2021-04-07 21:23 | 7.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7632 | μmol/L | 11.1216 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.06 | 151318.8275 | 279076.5252 | 36.4 | 83.1
81878 | 2021-04-07 21:23 | 7.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.665 | μmol/L | 11.1338 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.059 | 151304.2845 | 279072.9297 | 36.4 | 83.1
81887 | 2021-04-07 21:23 | 8.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6172 | μmol/L | 11.146 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.056 | 151263.9357 | 279057.607 | 36.4 | 83.1
81896 | 2021-04-07 21:24 | 8.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7687 | μmol/L | 11.146 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.05 | 151238.2206 | 279047.9312 | 36.4 | 83.1
81905 | 2021-04-07 21:24 | 8.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6704 | μmol/L | 11.1582 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.049 | 151207.3431 | 279024.056 | 36.4 | 83.1
81914 | 2021-04-07 21:24 | 9.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7462 | μmol/L | 11.1582 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.046 | 151178.9505 | 279015.7509 | 36.4 | 83.1
81923 | 2021-04-07 21:25 | 9.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6227 | μmol/L | 11.1705 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.046 | 151157.7291 | 279019.4237 | 36.4 | 83.1
81932 | 2021-04-07 21:25 | 9.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6255 | μmol/L | 11.1827 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.041 | 151128.0981 | 278990.6701 | 36.4 | 83.1
81941 | 2021-04-07 21:25 | 10.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.676 | μmol/L | 11.1827 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.039 | 151088.5956 | 278984.4348 | 36.4 | 83.1
81950 | 2021-04-07 21:26 | 10.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.8164 | μmol/L | 11.1888 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.031 | 151037.8605 | 278971.6183 | 36.4 | 83.1
81959 | 2021-04-07 21:26 | 10.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.8304 | μmol/L | 11.1949 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.028 | 151010.9035 | 278977.6228 | 36.4 | 83.1
81968 | 2021-04-07 21:26 | 11.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.7828 | μmol/L | 11.2071 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.025 | 150978.908 | 278958.5234 | 36.4 | 83.1
81977 | 2021-04-07 21:27 | 11.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6847 | μmol/L | 11.2193 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.024 | 150959.3845 | 278957.9442 | 36.4 | 83.1
81986 | 2021-04-07 21:27 | 11.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6736 | μmol/L | 11.2255 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.022 | 150942.5119 | 278936.8156 | 36.4 | 83.1
81995 | 2021-04-07 21:27 | 12.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5978 | μmol/L | 11.2255 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.025 | 150928.0244 | 278932.7243 | 36.4 | 83.1
82004 | 2021-04-07 21:28 | 12.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6624 | μmol/L | 11.2316 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.02 | 150917.8538 | 278926.7325 | 36.4 | 83.1
82013 | 2021-04-07 21:28 | 12.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6513 | μmol/L | 11.2377 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.018 | 150904.835 | 278917.3874 | 36.4 | 83.1
82022 | 2021-04-07 21:28 | 13.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5785 | μmol/L | 11.2499 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.016 | 150874.0912 | 278901.3286 | 36.4 | 83.1
82031 | 2021-04-07 21:29 | 13.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5422 | μmol/L | 11.256 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.015 | 150853.7988 | 278885.1774 | 36.4 | 83.1
82040 | 2021-04-07 21:29 | 13.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5311 | μmol/L | 11.2621 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.013 | 150837.981 | 278878.4506 | 36.4 | 83.1
82049 | 2021-04-07 21:29 | 14.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5311 | μmol/L | 11.2621 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.013 | 150821.5857 | 278883.9188 | 36.4 | 83.1
82058 | 2021-04-07 21:30 | 14.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.621 | μmol/L | 11.2682 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.007 | 150792.0938 | 278867.7518 | 36.4 | 83.1
82067 | 2021-04-07 21:30 | 14.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.6857 | μmol/L | 11.2743 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.002 | 150760.3042 | 278863.298 | 36.4 | 83.1
82076 | 2021-04-07 21:30 | 15.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5231 | μmol/L | 11.2805 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.006 | 150740.7497 | 278843.3428 | 36.4 | 83.1
82085 | 2021-04-07 21:31 | 15.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5262 | μmol/L | 11.2927 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.001 | 150729.0249 | 278837.7858 | 36.4 | 83.1
82094 | 2021-04-07 21:31 | 15.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4757 | μmol/L | 11.2927 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.003 | 150708.2029 | 278820.2981 | 36.4 | 83.1
82103 | 2021-04-07 21:31 | 16.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5009 | μmol/L | 11.2927 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.002 | 150684.7796 | 278805.6104 | 36.4 | 83.1
82112 | 2021-04-07 21:32 | 16.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4536 | μmol/L | 11.3049 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.999 | 150677.153 | 278808.7904 | 36.4 | 83.1
82121 | 2021-04-07 21:32 | 16.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3416 | μmol/L | 11.311 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.001 | 150659.6995 | 278798.7161 | 36.4 | 83.1
82130 | 2021-04-07 21:32 | 17.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.482 | μmol/L | 11.3171 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.993 | 150643.7903 | 278790.2922 | 36.4 | 83.1
82139 | 2021-04-07 21:33 | 17.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5578 | μmol/L | 11.3171 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.99 | 150626.0579 | 278779.1438 | 36.4 | 83.1
82148 | 2021-04-07 21:33 | 17.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5215 | μmol/L | 11.3232 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.989 | 150613.7973 | 278778.8323 | 36.4 | 83.1
82157 | 2021-04-07 21:33 | 18.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3843 | μmol/L | 11.3293 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.992 | 150602.3987 | 278760.2828 | 36.4 | 83.1
82166 | 2021-04-07 21:34 | 18.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3843 | μmol/L | 11.3293 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.992 | 150574.6268 | 278745.6012 | 36.4 | 83.1
82175 | 2021-04-07 21:34 | 18.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3118 | μmol/L | 11.3416 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.99 | 150561.2187 | 278746.8029 | 36.4 | 83.1
82184 | 2021-04-07 21:34 | 19.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2646 | μmol/L | 11.3538 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.987 | 150539.9645 | 278731.2228 | 36.4 | 83.1
82193 | 2021-04-07 21:35 | 19.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3513 | μmol/L | 11.3477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.986 | 150531.5932 | 278734.4647 | 36.4 | 83.1
82202 | 2021-04-07 21:35 | 19.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2646 | μmol/L | 11.3538 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.987 | 150513.8042 | 278717.5338 | 36.4 | 83.1
82211 | 2021-04-07 21:35 | 20.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4161 | μmol/L | 11.3538 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.981 | 150494.6174 | 278702.0403 | 36.4 | 83.1
82220 | 2021-04-07 21:36 | 20.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3546 | μmol/L | 11.3599 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.981 | 150471.3641 | 278687.992 | 36.4 | 83.1
82229 | 2021-04-07 21:36 | 20.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2931 | μmol/L | 11.366 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.981 | 150457.2332 | 278688.2888 | 36.4 | 83.1
82238 | 2021-04-07 21:36 | 21.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3184 | μmol/L | 11.366 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.98 | 150435.1494 | 278678.4281 | 36.4 | 83.1
82247 | 2021-04-07 21:37 | 21.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2822 | μmol/L | 11.3721 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.979 | 150411.1851 | 278672.6663 | 36.4 | 83.1
82256 | 2021-04-07 21:37 | 21.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.3722 | μmol/L | 11.3782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.973 | 150409.1397 | 278664.4267 | 36.4 | 83.1
82265 | 2021-04-07 21:37 | 22.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2965 | μmol/L | 11.3782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.976 | 150376.8918 | 278660.3669 | 36.4 | 83.1
82274 | 2021-04-07 21:38 | 22.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2494 | μmol/L | 11.3905 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.973 | 150345.2417 | 278660.0228 | 36.4 | 83.1
82283 | 2021-04-07 21:38 | 22.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4514 | μmol/L | 11.3905 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.965 | 150307.5015 | 278648.3697 | 36.4 | 83.1
82292 | 2021-04-07 21:38 | 23.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.502 | μmol/L | 11.3905 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.963 | 150273.0462 | 278630.2635 | 36.4 | 83.1
82301 | 2021-04-07 21:39 | 23.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4043 | μmol/L | 11.4027 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.962 | 150255.5049 | 278630.8292 | 36.4 | 83.1
82310 | 2021-04-07 21:39 | 23.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.5163 | μmol/L | 11.3966 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.96 | 150251.7858 | 278627.1098 | 36.4 | 83.1
82319 | 2021-04-07 21:39 | 24.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.4043 | μmol/L | 11.4027 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.962 | 150260.5112 | 278608.9379 | 36.4 | 83.1
82328 | 2021-04-07 21:40 | 24.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.2058 | μmol/L | 11.4149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.965 | 150268.5839 | 278613.1514 | 36.4 | 83.1
82337 | 2021-04-07 21:40 | 24.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.1409 | μmol/L | 11.4088 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.97 | 150286.0301 | 278607.0773 | 36.4 | 83.1
82346 | 2021-04-07 21:40 | 25.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.1048 | μmol/L | 11.4149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.969 | 150286.6266 | 278584.7594 | 36.4 | 83.1
82355 | 2021-04-07 21:41 | 25.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 301.0543 | μmol/L | 11.4149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.971 | 150308.3298 | 278581.1229 | 36.4 | 83.1
82364 | 2021-04-07 21:41 | 25.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.9173 | μmol/L | 11.421 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.974 | 150313.444 | 278583.8654 | 36.4 | 83.1
82373 | 2021-04-07 21:41 | 26.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8417 | μmol/L | 11.421 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.977 | 150322.8226 | 278583.7738 | 36.4 | 83.1
82382 | 2021-04-07 21:42 | 26.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7552 | μmol/L | 11.4271 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.978 | 150323.2697 | 278567.7981 | 36.4 | 83.1
82391 | 2021-04-07 21:42 | 26.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6687 | μmol/L | 11.4332 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.979 | 150325.0054 | 278549.2644 | 36.4 | 83.1
82400 | 2021-04-07 21:42 | 27.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.7191 | μmol/L | 11.4332 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.977 | 150307.413 | 278538.9382 | 36.4 | 83.1
82409 | 2021-04-07 21:43 | 27.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8199 | μmol/L | 11.4332 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.973 | 150282.511 | 278549.8196 | 36.4 | 83.1
82418 | 2021-04-07 21:43 | 27.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8199 | μmol/L | 11.4332 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.973 | 150267.164 | 278538.4262 | 36.4 | 83.1
82427 | 2021-04-07 21:43 | 28.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.8091 | μmol/L | 11.4393 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.971 | 150265.1044 | 278528.607 | 36.4 | 83.1
82436 | 2021-04-07 21:44 | 28.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6974 | μmol/L | 11.4455 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.973 | 150254.9652 | 278520.1491 | 36.4 | 83.1
82445 | 2021-04-07 21:44 | 28.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 300.6362 | μmol/L | 11.4516 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 22.973 | 150209.9867 | 278515.2005 | 36.4 | 83.1