## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 15:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
88025 | 2021-04-09 14:25 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.4685 | μmol/L | 11.052 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.869 | 136984.245 | 304830.7782 | 59.9307 | 38.1
88034 | 2021-04-09 14:25 | 0.33006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.4604 | μmol/L | 11.0581 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.867 | 136967.3014 | 304840.5397 | 59.9307 | 38.1
88043 | 2021-04-09 14:25 | 0.66301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.3955 | μmol/L | 11.0702 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.865 | 136948.3474 | 304843.7981 | 59.9307 | 38.1
88052 | 2021-04-09 14:26 | 0.99647 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.4527 | μmol/L | 11.0824 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.858 | 136923.8136 | 304843.45 | 59.9307 | 38.1
88061 | 2021-04-09 14:26 | 1.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.4855 | μmol/L | 11.0946 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.852 | 136906.4867 | 304840.7957 | 59.9307 | 38.1
88070 | 2021-04-09 14:26 | 1.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.331 | μmol/L | 11.1007 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.856 | 136908.4681 | 304846.1428 | 59.9307 | 38.1
88079 | 2021-04-09 14:27 | 1.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.2662 | μmol/L | 11.1129 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.854 | 136917.3435 | 304847.4733 | 59.9307 | 38.1
88088 | 2021-04-09 14:27 | 2.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.2827 | μmol/L | 11.119 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.851 | 136913.7795 | 304838.8536 | 59.9307 | 38.1
88097 | 2021-04-09 14:27 | 2.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.2747 | μmol/L | 11.1251 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.849 | 136896.2286 | 304837.171 | 59.9307 | 38.1
88106 | 2021-04-09 14:28 | 2.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.21 | μmol/L | 11.1373 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.847 | 136889.9653 | 304831.5309 | 59.9307 | 38.1
88115 | 2021-04-09 14:28 | 3.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0721 | μmol/L | 11.1494 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.848 | 136889.3439 | 304824.9081 | 59.9307 | 38.1
88124 | 2021-04-09 14:28 | 3.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0074 | μmol/L | 11.1616 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.846 | 136880.7268 | 304831.6033 | 59.9307 | 38.1
88133 | 2021-04-09 14:29 | 3.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0562 | μmol/L | 11.1616 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.844 | 136872.1849 | 304834.9569 | 59.9307 | 38.1
88142 | 2021-04-09 14:29 | 4.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0727 | μmol/L | 11.1677 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.841 | 136849.4069 | 304819.6146 | 59.9307 | 38.1
88151 | 2021-04-09 14:29 | 4.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0648 | μmol/L | 11.1738 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.839 | 136839.6437 | 304824.5306 | 59.9307 | 38.1
88160 | 2021-04-09 14:30 | 4.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0569 | μmol/L | 11.1799 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.837 | 136831.7053 | 304826.361 | 59.9307 | 38.1
88169 | 2021-04-09 14:30 | 5.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.9679 | μmol/L | 11.1921 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.836 | 136816.4796 | 304797.6033 | 59.9307 | 38.1
88178 | 2021-04-09 14:30 | 5.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.9034 | μmol/L | 11.2043 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.834 | 136810.0286 | 304799.1621 | 59.9307 | 38.1
88187 | 2021-04-09 14:31 | 5.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1064 | μmol/L | 11.1982 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.828 | 136785.7542 | 304791.7084 | 59.9307 | 38.1
88196 | 2021-04-09 14:31 | 6.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.993 | μmol/L | 11.2104 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.828 | 136768.3904 | 304793.7362 | 59.9307 | 38.1
88205 | 2021-04-09 14:31 | 6.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1638 | μmol/L | 11.2104 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.821 | 136733.7545 | 304786.123 | 59.9307 | 38.1
88214 | 2021-04-09 14:32 | 6.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1804 | μmol/L | 11.2165 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.818 | 136713.2951 | 304795.6651 | 59.9307 | 38.1
88223 | 2021-04-09 14:32 | 7.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1159 | μmol/L | 11.2286 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.816 | 136683.6443 | 304776.0757 | 59.9307 | 38.1
88232 | 2021-04-09 14:32 | 7.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1002 | μmol/L | 11.2408 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.812 | 136676.2146 | 304767.4161 | 59.9307 | 38.1
88241 | 2021-04-09 14:33 | 7.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0514 | μmol/L | 11.2408 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.814 | 136658.4641 | 304761.7494 | 59.9307 | 38.1
88250 | 2021-04-09 14:33 | 8.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.1412 | μmol/L | 11.2469 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.808 | 136652.4496 | 304762.5538 | 59.9307 | 38.1
88259 | 2021-04-09 14:33 | 8.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.9626 | μmol/L | 11.253 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.813 | 136662.8523 | 304746.9257 | 59.9307 | 38.1
88268 | 2021-04-09 14:34 | 8.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.9791 | μmol/L | 11.2591 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.81 | 136652.6659 | 304745.2181 | 59.9307 | 38.1
88277 | 2021-04-09 14:34 | 9.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0201 | μmol/L | 11.2652 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.806 | 136637.4782 | 304743.1523 | 59.9307 | 38.1
88286 | 2021-04-09 14:34 | 9.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.9635 | μmol/L | 11.2713 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.806 | 136617.1107 | 304722.3477 | 59.9307 | 38.1
88295 | 2021-04-09 14:35 | 9.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 285.0046 | μmol/L | 11.2774 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.802 | 136617.8701 | 304729.7663 | 59.9307 | 38.1
88304 | 2021-04-09 14:35 | 10.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.8992 | μmol/L | 11.2835 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.804 | 136606.4753 | 304709.0172 | 59.9307 | 38.1
88313 | 2021-04-09 14:35 | 10.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.8182 | μmol/L | 11.2896 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.805 | 136606.4938 | 304729.0678 | 59.9307 | 38.1
88322 | 2021-04-09 14:36 | 10.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.7052 | μmol/L | 11.3018 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.805 | 136603.9133 | 304712.9111 | 59.9307 | 38.1
88331 | 2021-04-09 14:36 | 11.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6974 | μmol/L | 11.3079 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.803 | 136592.5254 | 304710.5934 | 59.9307 | 38.1
88340 | 2021-04-09 14:36 | 11.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6897 | μmol/L | 11.314 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.801 | 136577.9538 | 304708.134 | 59.9307 | 38.1
88349 | 2021-04-09 14:37 | 11.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6576 | μmol/L | 11.32 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.8 | 136577.9876 | 304713.654 | 59.9307 | 38.1
88358 | 2021-04-09 14:37 | 12.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6332 | μmol/L | 11.32 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.801 | 136577.0375 | 304688.5559 | 59.9307 | 38.1
88367 | 2021-04-09 14:37 | 12.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.4959 | μmol/L | 11.3322 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.802 | 136578.718 | 304682.6971 | 59.9307 | 38.1
88376 | 2021-04-09 14:38 | 12.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.5767 | μmol/L | 11.3261 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.801 | 136562.1856 | 304671.5908 | 59.9307 | 38.1
88385 | 2021-04-09 14:38 | 13.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.5125 | μmol/L | 11.3383 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.799 | 136543.7724 | 304670.5236 | 59.9307 | 38.1
88394 | 2021-04-09 14:38 | 13.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.5292 | μmol/L | 11.3444 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.796 | 136528.7506 | 304677.2504 | 59.9307 | 38.1
88403 | 2021-04-09 14:39 | 13.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.5292 | μmol/L | 11.3444 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.796 | 136513.0231 | 304663.1697 | 59.9307 | 38.1
88412 | 2021-04-09 14:39 | 14.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.619 | μmol/L | 11.3505 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.79 | 136486.9316 | 304641.5532 | 59.9307 | 38.1
88421 | 2021-04-09 14:39 | 14.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6677 | μmol/L | 11.3505 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.788 | 136471.7157 | 304632.9784 | 59.9307 | 38.1
88430 | 2021-04-09 14:40 | 14.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.5831 | μmol/L | 11.3566 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.789 | 136449.3743 | 304631.8155 | 59.9307 | 38.1
88439 | 2021-04-09 14:40 | 15.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.7165 | μmol/L | 11.3505 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.786 | 136438.8653 | 304631.6914 | 59.9307 | 38.1
88448 | 2021-04-09 14:40 | 15.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.5395 | μmol/L | 11.3749 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.784 | 136418.4368 | 304612.4675 | 59.9307 | 38.1
88457 | 2021-04-09 14:41 | 15.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6203 | μmol/L | 11.3688 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.783 | 136413.2599 | 304608.8826 | 59.9307 | 38.1
88466 | 2021-04-09 14:41 | 16.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6126 | μmol/L | 11.3749 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.781 | 136388.6261 | 304592.7993 | 59.9307 | 38.1
88475 | 2021-04-09 14:41 | 16.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.637 | μmol/L | 11.3749 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.78 | 136374.2436 | 304582.5401 | 59.9307 | 38.1
88484 | 2021-04-09 14:42 | 16.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6537 | μmol/L | 11.381 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.777 | 136364.8091 | 304603.0314 | 59.9307 | 38.1
88493 | 2021-04-09 14:42 | 17.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.8001 | μmol/L | 11.381 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.771 | 136343.5554 | 304576.5175 | 59.9307 | 38.1
88502 | 2021-04-09 14:42 | 17.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.6705 | μmol/L | 11.3871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.774 | 136356.9185 | 304565.6169 | 59.9307 | 38.1
88511 | 2021-04-09 14:43 | 17.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.3703 | μmol/L | 11.3932 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.784 | 136377.36 | 304564.3438 | 59.9307 | 38.1
88520 | 2021-04-09 14:43 | 18.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.2973 | μmol/L | 11.3932 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.787 | 136405.1655 | 304564.0288 | 59.9307 | 38.1
88529 | 2021-04-09 14:43 | 18.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.1922 | μmol/L | 11.3993 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.789 | 136426.6221 | 304555.3094 | 59.9307 | 38.1
88538 | 2021-04-09 14:44 | 18.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.0796 | μmol/L | 11.4114 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.789 | 136421.9631 | 304553.9786 | 59.9307 | 38.1
88547 | 2021-04-09 14:44 | 19.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.2166 | μmol/L | 11.3993 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.788 | 136404.3872 | 304530.763 | 59.9307 | 38.1
88556 | 2021-04-09 14:44 | 19.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.1283 | μmol/L | 11.4114 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.787 | 136387.8485 | 304534.6784 | 59.9307 | 38.1
88565 | 2021-04-09 14:45 | 19.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.2013 | μmol/L | 11.4114 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.784 | 136370.4685 | 304533.2033 | 59.9307 | 38.1
88574 | 2021-04-09 14:45 | 20.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.25 | μmol/L | 11.4114 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.782 | 136359.1193 | 304523.6926 | 59.9307 | 38.1
88583 | 2021-04-09 14:45 | 20.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.186 | μmol/L | 11.4236 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.78 | 136349.759 | 304522.1072 | 59.9307 | 38.1
88592 | 2021-04-09 14:46 | 20.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.1898 | μmol/L | 11.4175 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.782 | 136350.0328 | 304507.1759 | 59.9307 | 38.1
88601 | 2021-04-09 14:46 | 21.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.04 | μmol/L | 11.4236 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.786 | 136369.1743 | 304490.2022 | 59.9307 | 38.1
88610 | 2021-04-09 14:46 | 21.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.04 | μmol/L | 11.4236 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.786 | 136365.9324 | 304481.2747 | 59.9307 | 38.1
88619 | 2021-04-09 14:47 | 21.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8789 | μmol/L | 11.4358 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.788 | 136356.0471 | 304482.3291 | 59.9307 | 38.1
88628 | 2021-04-09 14:47 | 22.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.0005 | μmol/L | 11.4358 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.783 | 136338.7806 | 304491.5285 | 59.9307 | 38.1
88637 | 2021-04-09 14:47 | 22.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.0415 | μmol/L | 11.4419 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.779 | 136324.0677 | 304483.1348 | 59.9307 | 38.1
88646 | 2021-04-09 14:48 | 22.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9366 | μmol/L | 11.448 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.781 | 136293.5528 | 304481.992 | 59.9307 | 38.1
88655 | 2021-04-09 14:48 | 23.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9777 | μmol/L | 11.4541 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.777 | 136285.9672 | 304465.273 | 59.9307 | 38.1
88664 | 2021-04-09 14:48 | 23.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 284.002 | μmol/L | 11.4541 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.776 | 136278.2768 | 304459.5345 | 59.9307 | 38.1
88673 | 2021-04-09 14:49 | 23.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9701 | μmol/L | 11.4602 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.775 | 136278.4003 | 304457.6131 | 59.9307 | 38.1
88682 | 2021-04-09 14:49 | 24.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9252 | μmol/L | 11.4541 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.779 | 136273.8747 | 304458.4517 | 59.9307 | 38.1
88691 | 2021-04-09 14:49 | 24.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.9215 | μmol/L | 11.4602 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.777 | 136260.9454 | 304453.4153 | 59.9307 | 38.1
88700 | 2021-04-09 14:50 | 24.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.7604 | μmol/L | 11.4724 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.779 | 136277.9016 | 304441.4755 | 59.9307 | 38.1
88709 | 2021-04-09 14:50 | 25.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8091 | μmol/L | 11.4724 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.777 | 136263.3712 | 304427.5081 | 59.9307 | 38.1
88718 | 2021-04-09 14:50 | 25.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8334 | μmol/L | 11.4724 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.776 | 136258.1879 | 304423.352 | 59.9307 | 38.1
88727 | 2021-04-09 14:51 | 25.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.8015 | μmol/L | 11.4785 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.775 | 136250.6423 | 304411.3855 | 59.9307 | 38.1
88736 | 2021-04-09 14:51 | 26.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.7529 | μmol/L | 11.4785 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.777 | 136260.5695 | 304406.1993 | 59.9307 | 38.1
88745 | 2021-04-09 14:51 | 26.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6557 | μmol/L | 11.4785 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.781 | 136255.8362 | 304392.3443 | 59.9307 | 38.1
88754 | 2021-04-09 14:52 | 26.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.7043 | μmol/L | 11.4785 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.779 | 136237.2623 | 304378.1358 | 59.9307 | 38.1
88763 | 2021-04-09 14:52 | 27.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5434 | μmol/L | 11.4907 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.781 | 136252.3994 | 304372.9963 | 59.9307 | 38.1
88772 | 2021-04-09 14:52 | 27.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6406 | μmol/L | 11.4907 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.777 | 136238.3282 | 304381.2987 | 59.9307 | 38.1
88781 | 2021-04-09 14:53 | 27.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5677 | μmol/L | 11.4907 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.78 | 136228.2723 | 304363.231 | 59.9307 | 38.1
88790 | 2021-04-09 14:53 | 28.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6087 | μmol/L | 11.4967 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.776 | 136211.0933 | 304382.1371 | 59.9307 | 38.1
88799 | 2021-04-09 14:53 | 28.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6087 | μmol/L | 11.4967 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.776 | 136200.6294 | 304375.8753 | 59.9307 | 38.1
88808 | 2021-04-09 14:54 | 28.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5283 | μmol/L | 11.5028 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.777 | 136195.2564 | 304363.9396 | 59.9307 | 38.1
88817 | 2021-04-09 14:54 | 29.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.7303 | μmol/L | 11.4967 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.771 | 136174.1783 | 304357.4873 | 59.9307 | 38.1
88826 | 2021-04-09 14:54 | 29.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.7546 | μmol/L | 11.4967 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.77 | 136156.4173 | 304327.3389 | 59.9307 | 38.1
88835 | 2021-04-09 14:55 | 29.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.6423 | μmol/L | 11.5089 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.77 | 136153.0008 | 304338.0748 | 59.9307 | 38.1
88844 | 2021-04-09 14:55 | 30.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.5937 | μmol/L | 11.5089 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.772 | 136157.0262 | 304324.0861 | 59.9307 | 38.1
88853 | 2021-04-09 14:55 | 30.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.4965 | μmol/L | 11.5089 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.776 | 136169.7179 | 304330.0774 | 59.9307 | 38.1
88862 | 2021-04-09 14:56 | 30.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.4162 | μmol/L | 11.515 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.777 | 136185.5215 | 304305.0936 | 59.9307 | 38.1
88871 | 2021-04-09 14:56 | 31.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.263 | μmol/L | 11.5211 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.781 | 136229.453 | 304323.9719 | 59.9307 | 38.1
88880 | 2021-04-09 14:56 | 31.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 283.069 | μmol/L | 11.5211 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.789 | 136263.2938 | 304299.1666 | 59.9307 | 38.1
88889 | 2021-04-09 14:57 | 31.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.9924 | μmol/L | 11.5211 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.792 | 136293.6946 | 304294.5439 | 59.9307 | 38.1
88898 | 2021-04-09 14:57 | 32.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7743 | μmol/L | 11.5211 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.801 | 136326.1085 | 304286.4499 | 59.9307 | 38.1
88907 | 2021-04-09 14:57 | 32.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.7259 | μmol/L | 11.5211 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.803 | 136352.2558 | 304292.3557 | 59.9307 | 38.1
88916 | 2021-04-09 14:58 | 32.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.6012 | μmol/L | 11.5272 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.806 | 136372.5481 | 304289.6456 | 59.9307 | 38.1
88925 | 2021-04-09 14:58 | 33.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4039 | μmol/L | 11.5272 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.814 | 136392.6152 | 304264.2223 | 59.9307 | 38.1
88934 | 2021-04-09 14:58 | 33.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.4319 | μmol/L | 11.5272 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.813 | 136404.5105 | 304272.4742 | 59.9307 | 38.1
88943 | 2021-04-09 14:59 | 33.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3035 | μmol/L | 11.5333 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.816 | 136406.8367 | 304265.2922 | 59.9307 | 38.1
88952 | 2021-04-09 14:59 | 34.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.3035 | μmol/L | 11.5333 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.816 | 136426.9087 | 304267.4052 | 59.9307 | 38.1
88961 | 2021-04-09 14:59 | 34.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2235 | μmol/L | 11.5394 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.817 | 136425.4536 | 304262.4406 | 59.9307 | 38.1
88970 | 2021-04-09 15:00 | 34.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1994 | μmol/L | 11.5394 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.818 | 136419.0716 | 304246.7935 | 59.9307 | 38.1
88979 | 2021-04-09 15:00 | 35.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0636 | μmol/L | 11.5516 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.819 | 136425.5456 | 304245.8258 | 59.9307 | 38.1
88988 | 2021-04-09 15:00 | 35.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0598 | μmol/L | 11.5516 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.819 | 136430.0086 | 304244.1519 | 59.9307 | 38.1
88997 | 2021-04-09 15:01 | 35.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9912 | μmol/L | 11.5516 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.822 | 136441.7817 | 304239.9046 | 59.9307 | 38.1
89006 | 2021-04-09 15:01 | 36.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0431 | μmol/L | 11.5455 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.822 | 136445.6833 | 304248.8312 | 59.9307 | 38.1
89015 | 2021-04-09 15:01 | 36.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9557 | μmol/L | 11.5577 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.821 | 136435.0381 | 304243.61 | 59.9307 | 38.1
89024 | 2021-04-09 15:02 | 36.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.928 | μmol/L | 11.5638 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.82 | 136424.0196 | 304225.6181 | 59.9307 | 38.1
89033 | 2021-04-09 15:02 | 37.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9837 | μmol/L | 11.5577 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.82 | 136411.5864 | 304207.8353 | 59.9307 | 38.1
89042 | 2021-04-09 15:02 | 37.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.032 | μmol/L | 11.5577 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.818 | 136403.2805 | 304206.1527 | 59.9307 | 38.1
89051 | 2021-04-09 15:03 | 37.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9763 | μmol/L | 11.5638 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.818 | 136383.0677 | 304206.2702 | 59.9307 | 38.1
89060 | 2021-04-09 15:03 | 38.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0207 | μmol/L | 11.5638 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.816 | 136365.9757 | 304206.9598 | 59.9307 | 38.1
89069 | 2021-04-09 15:03 | 38.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0171 | μmol/L | 11.5699 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.814 | 136354.5175 | 304199.4313 | 59.9307 | 38.1
89078 | 2021-04-09 15:04 | 38.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1823 | μmol/L | 11.5699 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.807 | 136326.564 | 304182.5064 | 59.9307 | 38.1
89087 | 2021-04-09 15:04 | 39.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1581 | μmol/L | 11.5699 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.808 | 136303.2212 | 304178.5794 | 59.9307 | 38.1
89096 | 2021-04-09 15:04 | 39.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1304 | μmol/L | 11.576 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.807 | 136281.0944 | 304168.2714 | 59.9307 | 38.1
89105 | 2021-04-09 15:05 | 39.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2548 | μmol/L | 11.5699 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.804 | 136269.9722 | 304164.9364 | 59.9307 | 38.1
89114 | 2021-04-09 15:05 | 40.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.199 | μmol/L | 11.576 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.804 | 136257.0731 | 304157.5424 | 59.9307 | 38.1
89123 | 2021-04-09 15:05 | 40.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2231 | μmol/L | 11.576 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.803 | 136250.7568 | 304160.4073 | 59.9307 | 38.1
89132 | 2021-04-09 15:06 | 40.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1915 | μmol/L | 11.5821 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.802 | 136240.2234 | 304162.7515 | 59.9307 | 38.1
89141 | 2021-04-09 15:06 | 41.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1283 | μmol/L | 11.5942 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.8 | 136232.6961 | 304154.8354 | 59.9307 | 38.1
89150 | 2021-04-09 15:06 | 41.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2882 | μmol/L | 11.5821 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.798 | 136226.9772 | 304153.8665 | 59.9307 | 38.1
89159 | 2021-04-09 15:07 | 41.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.264 | μmol/L | 11.5821 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.799 | 136210.4751 | 304158.0606 | 59.9307 | 38.1
89168 | 2021-04-09 15:07 | 42.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2324 | μmol/L | 11.5881 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.798 | 136199.2947 | 304145.9781 | 59.9307 | 38.1
89177 | 2021-04-09 15:07 | 42.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1841 | μmol/L | 11.5881 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.8 | 136201.5616 | 304148.0217 | 59.9307 | 38.1
89186 | 2021-04-09 15:08 | 42.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2491 | μmol/L | 11.5942 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.795 | 136194.664 | 304146.9165 | 59.9307 | 38.1
89195 | 2021-04-09 15:08 | 43.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1934 | μmol/L | 11.6003 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.795 | 136185.8567 | 304131.966 | 59.9307 | 38.1
89204 | 2021-04-09 15:08 | 43.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.225 | μmol/L | 11.5942 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.796 | 136179.8927 | 304120.9744 | 59.9307 | 38.1
89213 | 2021-04-09 15:09 | 43.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1209 | μmol/L | 11.6003 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.798 | 136179.9834 | 304116.8432 | 59.9307 | 38.1
89222 | 2021-04-09 15:09 | 44.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1692 | μmol/L | 11.6003 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.796 | 136169.8806 | 304120.3107 | 59.9307 | 38.1
89231 | 2021-04-09 15:09 | 44.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2975 | μmol/L | 11.5942 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.793 | 136164.5598 | 304110.5709 | 59.9307 | 38.1
89240 | 2021-04-09 15:10 | 44.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1618 | μmol/L | 11.6064 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.794 | 136157.9844 | 304097.0768 | 59.9307 | 38.1
89249 | 2021-04-09 15:10 | 45.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1692 | μmol/L | 11.6003 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.796 | 136157.1062 | 304107.3984 | 59.9307 | 38.1
89258 | 2021-04-09 15:10 | 45.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1618 | μmol/L | 11.6064 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.794 | 136140.1635 | 304094.8779 | 59.9307 | 38.1
89267 | 2021-04-09 15:11 | 45.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1618 | μmol/L | 11.6064 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.794 | 136140.6341 | 304095.2286 | 59.9307 | 38.1
89276 | 2021-04-09 15:11 | 46.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.2343 | μmol/L | 11.6064 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.791 | 136132.1968 | 304085.0343 | 59.9307 | 38.1
89285 | 2021-04-09 15:11 | 46.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1785 | μmol/L | 11.6125 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.791 | 136124.6718 | 304085.4731 | 59.9307 | 38.1
89294 | 2021-04-09 15:12 | 46.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1544 | μmol/L | 11.6125 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.792 | 136120.9306 | 304077.3918 | 59.9307 | 38.1
89303 | 2021-04-09 15:12 | 47.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1544 | μmol/L | 11.6125 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.792 | 136110.9242 | 304058.4778 | 59.9307 | 38.1
89312 | 2021-04-09 15:12 | 47.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1618 | μmol/L | 11.6064 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.794 | 136095.1284 | 304057.6864 | 59.9307 | 38.1
89321 | 2021-04-09 15:13 | 47.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.147 | μmol/L | 11.6186 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.79 | 136100.4206 | 304061.4858 | 59.9307 | 38.1
89330 | 2021-04-09 15:13 | 48.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.1228 | μmol/L | 11.6186 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.791 | 136087.8763 | 304044.8887 | 59.9307 | 38.1
89339 | 2021-04-09 15:13 | 48.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0429 | μmol/L | 11.6247 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.792 | 136086.5942 | 304043.6506 | 59.9307 | 38.1
89348 | 2021-04-09 15:14 | 48.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0262 | μmol/L | 11.6186 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.795 | 136086.342 | 304043.2817 | 59.9307 | 38.1
89357 | 2021-04-09 15:14 | 49.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 282.0671 | μmol/L | 11.6247 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.791 | 136097.1573 | 304035.013 | 59.9307 | 38.1
89366 | 2021-04-09 15:14 | 49.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9946 | μmol/L | 11.6247 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.794 | 136094.1739 | 304026.844 | 59.9307 | 38.1
89375 | 2021-04-09 15:15 | 49.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9222 | μmol/L | 11.6247 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.797 | 136120.5437 | 304028.1011 | 59.9307 | 38.1
89384 | 2021-04-09 15:15 | 50.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.9054 | μmol/L | 11.6186 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.8 | 136133.2415 | 304021.3668 | 59.9307 | 38.1
89393 | 2021-04-09 15:15 | 50.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.705 | μmol/L | 11.6247 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.806 | 136148.8848 | 304011.3864 | 59.9307 | 38.1
89402 | 2021-04-09 15:16 | 50.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6493 | μmol/L | 11.6308 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.806 | 136162.8343 | 303993.3486 | 59.9307 | 38.1
89411 | 2021-04-09 15:16 | 51.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.6808 | μmol/L | 11.6247 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.807 | 136175.7973 | 304000.1358 | 59.9307 | 38.1
89420 | 2021-04-09 15:16 | 51.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.5047 | μmol/L | 11.6308 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.812 | 136203.9966 | 304004.5088 | 59.9307 | 38.1
89429 | 2021-04-09 15:17 | 51.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.3527 | μmol/L | 11.6369 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.816 | 136220.6062 | 303989.0948 | 59.9307 | 38.1
89438 | 2021-04-09 15:17 | 52.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.336 | μmol/L | 11.6308 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.819 | 136247.2942 | 303985.7429 | 59.9307 | 38.1
89447 | 2021-04-09 15:17 | 52.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.2638 | μmol/L | 11.6308 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.822 | 136274.3516 | 303981.4593 | 59.9307 | 38.1
89456 | 2021-04-09 15:18 | 52.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 281.0398 | μmol/L | 11.6369 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.829 | 136289.7738 | 303967.0184 | 59.9307 | 38.1
89465 | 2021-04-09 15:18 | 53.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.9122 | μmol/L | 11.643 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.832 | 136314.2919 | 303971.7145 | 59.9307 | 38.1
89474 | 2021-04-09 15:18 | 53.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.8881 | μmol/L | 11.643 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.833 | 136339.1059 | 303969.3175 | 59.9307 | 38.1
89483 | 2021-04-09 15:19 | 53.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7679 | μmol/L | 11.643 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.838 | 136359.6346 | 303966.587 | 59.9307 | 38.1
89492 | 2021-04-09 15:19 | 54.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.7033 | μmol/L | 11.6369 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.843 | 136375.3801 | 303954.0985 | 59.9307 | 38.1
89501 | 2021-04-09 15:19 | 54.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.4484 | μmol/L | 11.6491 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.849 | 136395.2405 | 303954.3473 | 59.9307 | 38.1
89510 | 2021-04-09 15:20 | 54.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.4964 | μmol/L | 11.6491 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.847 | 136422.036 | 303939.2864 | 59.9307 | 38.1
89519 | 2021-04-09 15:20 | 55.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2731 | μmol/L | 11.6552 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.854 | 136427.2954 | 303930.6212 | 59.9307 | 38.1
89528 | 2021-04-09 15:20 | 55.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.3764 | μmol/L | 11.6491 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.852 | 136438.594 | 303928.1963 | 59.9307 | 38.1
89537 | 2021-04-09 15:21 | 55.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2971 | μmol/L | 11.6552 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.853 | 136456.6061 | 303932.3518 | 59.9307 | 38.1
89546 | 2021-04-09 15:21 | 56.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2012 | μmol/L | 11.6552 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.857 | 136460.2821 | 303923.1896 | 59.9307 | 38.1
89555 | 2021-04-09 15:21 | 56.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.2086 | μmol/L | 11.6491 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.859 | 136475.1827 | 303913.2967 | 59.9307 | 38.1
89564 | 2021-04-09 15:22 | 56.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0261 | μmol/L | 11.6613 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.862 | 136469.6488 | 303915.0185 | 59.9307 | 38.1
89573 | 2021-04-09 15:22 | 57.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 280.0979 | μmol/L | 11.6613 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.859 | 136472.3672 | 303908.0193 | 59.9307 | 38.1