## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 14:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
84793 | 2021-04-09 12:07 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.8248 | μmol/L | 10.4091 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.055 | 128611.6449 | 276129.9358 | 32.55 | 27.7
84802 | 2021-04-09 12:07 | 0.34215 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7612 | μmol/L | 10.4335 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.048 | 128554.9682 | 276111.5181 | 32.55 | 27.7
84811 | 2021-04-09 12:08 | 0.67513 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7466 | μmol/L | 10.4579 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.039 | 128511.9715 | 276094.3562 | 32.55 | 27.7
84820 | 2021-04-09 12:08 | 1.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7419 | μmol/L | 10.4762 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.032 | 128466.3511 | 276065.6103 | 32.55 | 27.7
84829 | 2021-04-09 12:08 | 1.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7128 | μmol/L | 10.4945 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.026 | 128395.9317 | 276044.6142 | 32.55 | 27.7
84838 | 2021-04-09 12:09 | 1.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.8306 | μmol/L | 10.5128 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.014 | 128346.87 | 276028.7933 | 32.55 | 27.7
84847 | 2021-04-09 12:09 | 2.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.8603 | μmol/L | 10.525 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.008 | 128288.8168 | 276017.3179 | 32.55 | 27.7
84856 | 2021-04-09 12:09 | 2.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7973 | μmol/L | 10.5494 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.001 | 128243.4258 | 276015.6191 | 32.55 | 27.7
84865 | 2021-04-09 12:10 | 2.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.8138 | μmol/L | 10.5677 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.993 | 128186.7789 | 275992.3495 | 32.55 | 27.7
84874 | 2021-04-09 12:10 | 3.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9113 | μmol/L | 10.586 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.982 | 128120.4538 | 275972.01 | 32.55 | 27.7
84883 | 2021-04-09 12:10 | 3.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0392 | μmol/L | 10.5982 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.972 | 128061.5271 | 275958.7746 | 32.55 | 27.7
84892 | 2021-04-09 12:11 | 3.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0352 | μmol/L | 10.6165 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.965 | 128003.4842 | 275955.4948 | 32.55 | 27.7
84901 | 2021-04-09 12:11 | 4.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2124 | μmol/L | 10.6287 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.953 | 127944.0922 | 275940.7905 | 32.55 | 27.7
84910 | 2021-04-09 12:11 | 4.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0518 | μmol/L | 10.6531 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.95 | 127892.0973 | 275936.0306 | 32.55 | 27.7
84919 | 2021-04-09 12:12 | 4.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3369 | μmol/L | 10.6592 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.936 | 127841.8666 | 275925.1409 | 32.55 | 27.7
84928 | 2021-04-09 12:12 | 5.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2009 | μmol/L | 10.6836 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.932 | 127796.3609 | 275925.0305 | 32.55 | 27.7
84937 | 2021-04-09 12:12 | 5.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1235 | μmol/L | 10.7019 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.928 | 127750.7276 | 275912.2296 | 32.55 | 27.7
84946 | 2021-04-09 12:13 | 5.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2369 | μmol/L | 10.708 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.921 | 127720.3201 | 275902.0471 | 32.55 | 27.7
84955 | 2021-04-09 12:13 | 6.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3165 | μmol/L | 10.7202 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.913 | 127678.0162 | 275895.3629 | 32.55 | 27.7
84964 | 2021-04-09 12:13 | 6.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.396 | μmol/L | 10.7324 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.905 | 127632.0446 | 275875.0563 | 32.55 | 27.7
84973 | 2021-04-09 12:14 | 6.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4019 | μmol/L | 10.7447 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.9 | 127598.1938 | 275871.5943 | 32.55 | 27.7
84982 | 2021-04-09 12:14 | 7.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.321 | μmol/L | 10.763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.896 | 127535.556 | 275849.0331 | 32.55 | 27.7
84991 | 2021-04-09 12:14 | 7.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4783 | μmol/L | 10.7752 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.885 | 127495.9246 | 275847.6192 | 32.55 | 27.7
85000 | 2021-04-09 12:15 | 7.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5182 | μmol/L | 10.7813 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.881 | 127446.0836 | 275829.5811 | 32.55 | 27.7
85009 | 2021-04-09 12:15 | 8.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3581 | μmol/L | 10.8057 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.878 | 127415.0979 | 275836.7212 | 32.55 | 27.7
85018 | 2021-04-09 12:15 | 8.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4342 | μmol/L | 10.8179 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.87 | 127390.1317 | 275825.9989 | 32.55 | 27.7
85027 | 2021-04-09 12:16 | 8.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4496 | μmol/L | 10.824 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.867 | 127362.6859 | 275829.2056 | 32.55 | 27.7
85036 | 2021-04-09 12:16 | 9.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3327 | μmol/L | 10.8362 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.867 | 127350.7262 | 275805.6531 | 32.55 | 27.7
85045 | 2021-04-09 12:16 | 9.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3142 | μmol/L | 10.8484 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.863 | 127321.1728 | 275793.714 | 32.55 | 27.7
85054 | 2021-04-09 12:17 | 9.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4319 | μmol/L | 10.8545 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.856 | 127293.6649 | 275791.4489 | 32.55 | 27.7
85063 | 2021-04-09 12:17 | 10.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3267 | μmol/L | 10.8728 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.853 | 127277.1276 | 275789.2285 | 32.55 | 27.7
85072 | 2021-04-09 12:17 | 10.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3667 | μmol/L | 10.8789 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.849 | 127237.8663 | 275771.1981 | 32.55 | 27.7
85081 | 2021-04-09 12:18 | 10.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3522 | μmol/L | 10.8911 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.845 | 127222.2716 | 275775.0689 | 32.55 | 27.7
85090 | 2021-04-09 12:18 | 11.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1916 | μmol/L | 10.8972 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.849 | 127202.9737 | 275765.5756 | 32.55 | 27.7
85099 | 2021-04-09 12:18 | 11.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2718 | μmol/L | 10.9094 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.841 | 127176.7247 | 275763.8949 | 32.55 | 27.7
85108 | 2021-04-09 12:19 | 11.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3766 | μmol/L | 10.9216 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.832 | 127134.1083 | 275757.3738 | 32.55 | 27.7
85117 | 2021-04-09 12:19 | 12.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3921 | μmol/L | 10.9277 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.829 | 127099.6773 | 275748.6946 | 32.55 | 27.7
85126 | 2021-04-09 12:19 | 12.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4478 | μmol/L | 10.9399 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.822 | 127068.4447 | 275756.6272 | 32.55 | 27.7
85135 | 2021-04-09 12:20 | 12.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4543 | μmol/L | 10.9521 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.817 | 127034.541 | 275745.026 | 32.55 | 27.7
85144 | 2021-04-09 12:20 | 13.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4453 | μmol/L | 10.9582 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.815 | 126998.4965 | 275724.1798 | 32.55 | 27.7
85153 | 2021-04-09 12:20 | 13.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4609 | μmol/L | 10.9643 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.812 | 126974.749 | 275715.5805 | 32.55 | 27.7
85162 | 2021-04-09 12:21 | 13.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4921 | μmol/L | 10.9765 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.806 | 126939.4685 | 275715.9441 | 32.55 | 27.7
85171 | 2021-04-09 12:21 | 14.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6153 | μmol/L | 10.9765 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.801 | 126914.9723 | 275703.2629 | 32.55 | 27.7
85180 | 2021-04-09 12:21 | 14.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6466 | μmol/L | 10.9887 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.795 | 126876.1992 | 275689.6146 | 32.55 | 27.7
85189 | 2021-04-09 12:22 | 14.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6039 | μmol/L | 11.0009 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.792 | 126850.3206 | 275683.1886 | 32.55 | 27.7
85198 | 2021-04-09 12:22 | 15.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5456 | μmol/L | 11.007 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.792 | 126824.3882 | 275689.7756 | 32.55 | 27.7
85207 | 2021-04-09 12:22 | 15.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5366 | μmol/L | 11.0131 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.79 | 126835.9998 | 275701.6498 | 32.55 | 27.7
85216 | 2021-04-09 12:23 | 15.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3461 | μmol/L | 11.0253 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.793 | 126810.581 | 275672.4039 | 32.55 | 27.7
85225 | 2021-04-09 12:23 | 16.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5994 | μmol/L | 11.0375 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.778 | 126753.4233 | 275650.4696 | 32.55 | 27.7
85234 | 2021-04-09 12:23 | 16.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5569 | μmol/L | 11.0497 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.775 | 126702.0403 | 275658.9219 | 32.55 | 27.7
85243 | 2021-04-09 12:24 | 16.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7139 | μmol/L | 11.0436 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.771 | 126690.6009 | 275644.1739 | 32.55 | 27.7
85252 | 2021-04-09 12:24 | 17.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5726 | μmol/L | 11.0558 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.772 | 126690.457 | 275641.1362 | 32.55 | 27.7
85261 | 2021-04-09 12:24 | 17.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4897 | μmol/L | 11.0619 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.773 | 126705.7239 | 275627.9488 | 32.55 | 27.7
85270 | 2021-04-09 12:25 | 17.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4157 | μmol/L | 11.0619 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.776 | 126719.604 | 275612.6303 | 32.55 | 27.7
85279 | 2021-04-09 12:25 | 18.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2253 | μmol/L | 11.0741 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.779 | 126726.5576 | 275627.8827 | 32.55 | 27.7
85288 | 2021-04-09 12:25 | 18.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2164 | μmol/L | 11.0802 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.777 | 126720.7629 | 275625.3065 | 32.55 | 27.7
85297 | 2021-04-09 12:26 | 18.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1582 | μmol/L | 11.0863 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.777 | 126704.1461 | 275625.7072 | 32.55 | 27.7
85306 | 2021-04-09 12:26 | 19.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2972 | μmol/L | 11.0924 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.769 | 126667.7475 | 275611.3782 | 32.55 | 27.7
85315 | 2021-04-09 12:26 | 19.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2883 | μmol/L | 11.0985 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.767 | 126631.8998 | 275602.6827 | 32.55 | 27.7
85324 | 2021-04-09 12:27 | 19.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4856 | μmol/L | 11.0985 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.759 | 126596.9924 | 275597.3949 | 32.55 | 27.7
85333 | 2021-04-09 12:27 | 20.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.385 | μmol/L | 11.1168 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.756 | 126558.2646 | 275599.1037 | 32.55 | 27.7
85342 | 2021-04-09 12:27 | 20.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5331 | μmol/L | 11.1168 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.75 | 126512.2833 | 275594.4698 | 32.55 | 27.7
85351 | 2021-04-09 12:28 | 20.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5736 | μmol/L | 11.1229 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.746 | 126479.3984 | 275573.0674 | 32.55 | 27.7
85360 | 2021-04-09 12:28 | 21.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5559 | μmol/L | 11.1351 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.742 | 126452.4959 | 275571.8606 | 32.55 | 27.7
85369 | 2021-04-09 12:28 | 21.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7041 | μmol/L | 11.1351 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.736 | 126418.4054 | 275573.9838 | 32.55 | 27.7
85378 | 2021-04-09 12:29 | 21.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6706 | μmol/L | 11.1412 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.735 | 126394.1361 | 275553.0435 | 32.55 | 27.7
85387 | 2021-04-09 12:29 | 22.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7112 | μmol/L | 11.1473 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.731 | 126363.1503 | 275564.7034 | 32.55 | 27.7
85396 | 2021-04-09 12:29 | 22.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8101 | μmol/L | 11.1473 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.727 | 126338.586 | 275554.5062 | 32.55 | 27.7
85405 | 2021-04-09 12:30 | 22.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8507 | μmol/L | 11.1534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.723 | 126330.1136 | 275556.8373 | 32.55 | 27.7
85414 | 2021-04-09 12:30 | 23.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.826 | μmol/L | 11.1534 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.724 | 126302.3401 | 275542.7978 | 32.55 | 27.7
85423 | 2021-04-09 12:30 | 23.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8666 | μmol/L | 11.1595 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.72 | 126290.1308 | 275539.2233 | 32.55 | 27.7
85432 | 2021-04-09 12:31 | 23.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.8579 | μmol/L | 11.1656 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.718 | 126287.1069 | 275531.7046 | 32.55 | 27.7
85441 | 2021-04-09 12:31 | 24.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7414 | μmol/L | 11.1778 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.718 | 126272.7988 | 275531.7123 | 32.55 | 27.7
85450 | 2021-04-09 12:31 | 24.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7909 | μmol/L | 11.1778 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126263.2584 | 275529.8657 | 32.55 | 27.7
85459 | 2021-04-09 12:32 | 24.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6163 | μmol/L | 11.1961 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126249.0675 | 275518.4421 | 32.55 | 27.7
85468 | 2021-04-09 12:32 | 25.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6745 | μmol/L | 11.19 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.716 | 126239.5786 | 275519.5778 | 32.55 | 27.7
85477 | 2021-04-09 12:32 | 25.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6905 | μmol/L | 11.1961 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.713 | 126224.6713 | 275511.2883 | 32.55 | 27.7
85486 | 2021-04-09 12:33 | 25.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7399 | μmol/L | 11.1961 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.711 | 126219.3022 | 275507.3436 | 32.55 | 27.7
85495 | 2021-04-09 12:33 | 26.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7312 | μmol/L | 11.2022 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.709 | 126201.1766 | 275497.4704 | 32.55 | 27.7
85504 | 2021-04-09 12:33 | 26.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7224 | μmol/L | 11.2083 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.707 | 126190.1465 | 275488.3193 | 32.55 | 27.7
85513 | 2021-04-09 12:34 | 26.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6977 | μmol/L | 11.2083 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.708 | 126170.415 | 275472.1463 | 32.55 | 27.7
85522 | 2021-04-09 12:34 | 27.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6803 | μmol/L | 11.2205 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.704 | 126158.8742 | 275462.9771 | 32.55 | 27.7
85531 | 2021-04-09 12:34 | 27.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.705 | μmol/L | 11.2205 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.703 | 126131.3042 | 275474.7417 | 32.55 | 27.7
85540 | 2021-04-09 12:35 | 27.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.721 | μmol/L | 11.2267 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.7 | 126107.4665 | 275474.1268 | 32.55 | 27.7
85549 | 2021-04-09 12:35 | 28.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.82 | μmol/L | 11.2267 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.696 | 126094.4723 | 275456.4051 | 32.55 | 27.7
85558 | 2021-04-09 12:35 | 28.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7371 | μmol/L | 11.2328 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.697 | 126085.2665 | 275452.5733 | 32.55 | 27.7
85567 | 2021-04-09 12:36 | 28.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7865 | μmol/L | 11.2328 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.695 | 126071.534 | 275439.899 | 32.55 | 27.7
85576 | 2021-04-09 12:36 | 29.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7036 | μmol/L | 11.2389 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.696 | 126076.5752 | 275447.9769 | 32.55 | 27.7
85585 | 2021-04-09 12:36 | 29.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6702 | μmol/L | 11.245 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.695 | 126062.8163 | 275437.4165 | 32.55 | 27.7
85594 | 2021-04-09 12:37 | 29.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.695 | μmol/L | 11.245 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.694 | 126053.8513 | 275450.8245 | 32.55 | 27.7
85603 | 2021-04-09 12:37 | 30.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6863 | μmol/L | 11.2511 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.692 | 126035.9653 | 275446.0349 | 32.55 | 27.7
85612 | 2021-04-09 12:37 | 30.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6776 | μmol/L | 11.2572 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.69 | 126034.4037 | 275424.402 | 32.55 | 27.7
85621 | 2021-04-09 12:38 | 30.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5948 | μmol/L | 11.2633 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.691 | 126024.7107 | 275426.1117 | 32.55 | 27.7
85630 | 2021-04-09 12:38 | 31.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6443 | μmol/L | 11.2633 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.689 | 126014.9105 | 275413.002 | 32.55 | 27.7
85639 | 2021-04-09 12:38 | 31.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6603 | μmol/L | 11.2694 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.686 | 126000.5763 | 275411.4923 | 32.55 | 27.7
85648 | 2021-04-09 12:39 | 31.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6603 | μmol/L | 11.2694 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.686 | 125987.7447 | 275409.4456 | 32.55 | 27.7
85657 | 2021-04-09 12:39 | 32.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7679 | μmol/L | 11.2633 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.684 | 125982.1742 | 275399.9289 | 32.55 | 27.7
85666 | 2021-04-09 12:39 | 32.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7345 | μmol/L | 11.2694 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.683 | 125971.681 | 275388.5857 | 32.55 | 27.7
85675 | 2021-04-09 12:40 | 32.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6517 | μmol/L | 11.2755 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.684 | 125962.6147 | 275405.2183 | 32.55 | 27.7
85684 | 2021-04-09 12:40 | 33.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5194 | μmol/L | 11.2816 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.687 | 125957.6689 | 275389.2784 | 32.55 | 27.7
85693 | 2021-04-09 12:40 | 33.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6431 | μmol/L | 11.2816 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.682 | 125943.2146 | 275376.6114 | 32.55 | 27.7
85702 | 2021-04-09 12:41 | 33.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6925 | μmol/L | 11.2816 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.68 | 125944.8163 | 275383.9758 | 32.55 | 27.7
85711 | 2021-04-09 12:41 | 34.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6097 | μmol/L | 11.2877 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.681 | 125936.6347 | 275366.6555 | 32.55 | 27.7
85720 | 2021-04-09 12:41 | 34.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7086 | μmol/L | 11.2877 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.677 | 125926.3414 | 275370.9021 | 32.55 | 27.7
85729 | 2021-04-09 12:42 | 34.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6506 | μmol/L | 11.2938 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.677 | 125903.4631 | 275359.11 | 32.55 | 27.7
85738 | 2021-04-09 12:42 | 35.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.7581 | μmol/L | 11.2877 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.675 | 125898.8772 | 275350.4581 | 32.55 | 27.7
85747 | 2021-04-09 12:42 | 35.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.6258 | μmol/L | 11.2938 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.678 | 125901.4684 | 275360.2382 | 32.55 | 27.7
85756 | 2021-04-09 12:43 | 35.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5097 | μmol/L | 11.306 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.678 | 125893.3788 | 275342.6531 | 32.55 | 27.7
85765 | 2021-04-09 12:43 | 36.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5183 | μmol/L | 11.2999 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.68 | 125889.385 | 275346.979 | 32.55 | 27.7
85774 | 2021-04-09 12:43 | 36.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5506 | μmol/L | 11.3121 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.674 | 125877.6474 | 275346.4339 | 32.55 | 27.7
85783 | 2021-04-09 12:44 | 36.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5344 | μmol/L | 11.306 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.677 | 125876.8424 | 275341.0966 | 32.55 | 27.7
85792 | 2021-04-09 12:44 | 37.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5753 | μmol/L | 11.3121 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.673 | 125870.3454 | 275332.5168 | 32.55 | 27.7
85801 | 2021-04-09 12:44 | 37.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5506 | μmol/L | 11.3121 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.674 | 125854.3806 | 275327.1315 | 32.55 | 27.7
85810 | 2021-04-09 12:45 | 37.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5258 | μmol/L | 11.3121 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.675 | 125831.274 | 275312.6271 | 32.55 | 27.7
85819 | 2021-04-09 12:45 | 38.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5753 | μmol/L | 11.3121 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.673 | 125833.0973 | 275318.7536 | 32.55 | 27.7
85828 | 2021-04-09 12:45 | 38.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5173 | μmol/L | 11.3182 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.673 | 125820.2106 | 275288.3214 | 32.55 | 27.7
85837 | 2021-04-09 12:46 | 38.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4592 | μmol/L | 11.3243 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.673 | 125813.6567 | 275297.2249 | 32.55 | 27.7
85846 | 2021-04-09 12:46 | 39.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4012 | μmol/L | 11.3304 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.673 | 125795.794 | 275292.8922 | 32.55 | 27.7
85855 | 2021-04-09 12:46 | 39.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5087 | μmol/L | 11.3243 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.671 | 125794.5912 | 275288.4167 | 32.55 | 27.7
85864 | 2021-04-09 12:47 | 39.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5001 | μmol/L | 11.3304 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.669 | 125793.6908 | 275285.0203 | 32.55 | 27.7
85873 | 2021-04-09 12:47 | 40.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4421 | μmol/L | 11.3365 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.669 | 125790.3248 | 275287.7572 | 32.55 | 27.7
85882 | 2021-04-09 12:47 | 40.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3262 | μmol/L | 11.3487 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.669 | 125788.1937 | 275287.0658 | 32.55 | 27.7
85891 | 2021-04-09 12:48 | 40.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4421 | μmol/L | 11.3365 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.669 | 125765.9256 | 275279.4786 | 32.55 | 27.7
85900 | 2021-04-09 12:48 | 41.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4174 | μmol/L | 11.3365 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.67 | 125755.2595 | 275268.1852 | 32.55 | 27.7
85909 | 2021-04-09 12:48 | 41.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.483 | μmol/L | 11.3426 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.665 | 125747.0984 | 275266.4104 | 32.55 | 27.7
85918 | 2021-04-09 12:49 | 41.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5077 | μmol/L | 11.3426 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.664 | 125736.558 | 275255.6259 | 32.55 | 27.7
85927 | 2021-04-09 12:49 | 42.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4003 | μmol/L | 11.3487 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.666 | 125729.9862 | 275263.5555 | 32.55 | 27.7
85936 | 2021-04-09 12:49 | 42.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3423 | μmol/L | 11.3548 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.666 | 125714.256 | 275257.7994 | 32.55 | 27.7
85945 | 2021-04-09 12:50 | 42.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3918 | μmol/L | 11.3548 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.664 | 125715.7064 | 275245.2313 | 32.55 | 27.7
85954 | 2021-04-09 12:50 | 43.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4165 | μmol/L | 11.3548 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.663 | 125695.0091 | 275239.389 | 32.55 | 27.7
85963 | 2021-04-09 12:50 | 43.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5239 | μmol/L | 11.3487 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.661 | 125689.9812 | 275241.9619 | 32.55 | 27.7
85972 | 2021-04-09 12:51 | 43.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4659 | μmol/L | 11.3548 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.661 | 125677.1706 | 275227.9052 | 32.55 | 27.7
85981 | 2021-04-09 12:51 | 44.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4907 | μmol/L | 11.3548 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.66 | 125672.05 | 275234.5922 | 32.55 | 27.7
85990 | 2021-04-09 12:51 | 44.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3994 | μmol/L | 11.367 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.659 | 125650.4486 | 275231.4115 | 32.55 | 27.7
85999 | 2021-04-09 12:52 | 44.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4242 | μmol/L | 11.367 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.658 | 125640.3155 | 275212.9903 | 32.55 | 27.7
86008 | 2021-04-09 12:52 | 45.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3662 | μmol/L | 11.3731 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.658 | 125630.5286 | 275208.3898 | 32.55 | 27.7
86017 | 2021-04-09 12:52 | 45.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5231 | μmol/L | 11.367 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.654 | 125620.2471 | 275208.2495 | 32.55 | 27.7
86026 | 2021-04-09 12:53 | 45.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4651 | μmol/L | 11.3731 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.654 | 125605.1891 | 275205.6535 | 32.55 | 27.7
86035 | 2021-04-09 12:53 | 46.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.5146 | μmol/L | 11.3731 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.652 | 125607.0588 | 275211.989 | 32.55 | 27.7
86044 | 2021-04-09 12:53 | 46.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4319 | μmol/L | 11.3792 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.653 | 125601.6655 | 275206.2161 | 32.55 | 27.7
86053 | 2021-04-09 12:54 | 46.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4566 | μmol/L | 11.3792 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.652 | 125578.7012 | 275193.7741 | 32.55 | 27.7
86062 | 2021-04-09 12:54 | 47.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3739 | μmol/L | 11.3853 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.653 | 125569.062 | 275187.6226 | 32.55 | 27.7
86071 | 2021-04-09 12:54 | 47.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3986 | μmol/L | 11.3853 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.652 | 125565.9497 | 275197.9346 | 32.55 | 27.7
86080 | 2021-04-09 12:55 | 47.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4149 | μmol/L | 11.3914 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.649 | 125548.3347 | 275179.8313 | 32.55 | 27.7
86089 | 2021-04-09 12:55 | 48.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4891 | μmol/L | 11.3914 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.646 | 125546.0866 | 275173.9813 | 32.55 | 27.7
86098 | 2021-04-09 12:55 | 48.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.357 | μmol/L | 11.3975 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.649 | 125545.5795 | 275181.4989 | 32.55 | 27.7
86107 | 2021-04-09 12:56 | 48.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.4891 | μmol/L | 11.3914 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.646 | 125533.5101 | 275155.2395 | 32.55 | 27.7
86116 | 2021-04-09 12:56 | 49.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3902 | μmol/L | 11.3914 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.65 | 125535.9147 | 275166.0436 | 32.55 | 27.7
86125 | 2021-04-09 12:56 | 49.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3979 | μmol/L | 11.4036 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.645 | 125525.9119 | 275160.9789 | 32.55 | 27.7
86134 | 2021-04-09 12:57 | 49.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2002 | μmol/L | 11.4036 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.653 | 125518.1915 | 275146.7015 | 32.55 | 27.7
86143 | 2021-04-09 12:57 | 50.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3485 | μmol/L | 11.4036 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.647 | 125516.9094 | 275135.0278 | 32.55 | 27.7
86152 | 2021-04-09 12:57 | 50.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3153 | μmol/L | 11.4097 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.646 | 125518.2198 | 275149.9339 | 32.55 | 27.7
86161 | 2021-04-09 12:58 | 50.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3238 | μmol/L | 11.4036 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.648 | 125510.1105 | 275135.558 | 32.55 | 27.7
86170 | 2021-04-09 12:58 | 51.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3153 | μmol/L | 11.4097 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.646 | 125504.9466 | 275140.6294 | 32.55 | 27.7
86179 | 2021-04-09 12:58 | 51.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2411 | μmol/L | 11.4097 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.649 | 125492.8377 | 275140.4598 | 32.55 | 27.7
86188 | 2021-04-09 12:59 | 51.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.299 | μmol/L | 11.4036 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.649 | 125484.5818 | 275128.5439 | 32.55 | 27.7
86197 | 2021-04-09 12:59 | 52.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3153 | μmol/L | 11.4097 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.646 | 125484.7941 | 275129.0109 | 32.55 | 27.7
86206 | 2021-04-09 12:59 | 52.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3647 | μmol/L | 11.4097 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.644 | 125478.4794 | 275117.365 | 32.55 | 27.7
86215 | 2021-04-09 13:00 | 52.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2574 | μmol/L | 11.4158 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.646 | 125478.2141 | 275123.6879 | 32.55 | 27.7
86224 | 2021-04-09 13:00 | 53.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.3153 | μmol/L | 11.4097 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.646 | 125490.543 | 275125.9688 | 32.55 | 27.7
86233 | 2021-04-09 13:00 | 53.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2164 | μmol/L | 11.4097 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.65 | 125489.6836 | 275116.5912 | 32.55 | 27.7
86242 | 2021-04-09 13:01 | 53.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1338 | μmol/L | 11.4158 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.651 | 125488.2203 | 275113.4904 | 32.55 | 27.7
86251 | 2021-04-09 13:01 | 54.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1338 | μmol/L | 11.4158 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.651 | 125499.6873 | 275123.7601 | 32.55 | 27.7
86260 | 2021-04-09 13:01 | 54.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1585 | μmol/L | 11.4158 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.65 | 125487.4552 | 275100.4852 | 32.55 | 27.7
86269 | 2021-04-09 13:02 | 54.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9935 | μmol/L | 11.428 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.652 | 125481.1323 | 275089.5276 | 32.55 | 27.7
86278 | 2021-04-09 13:02 | 55.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1501 | μmol/L | 11.4219 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.648 | 125483.55 | 275117.8795 | 32.55 | 27.7
86287 | 2021-04-09 13:02 | 55.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9603 | μmol/L | 11.4341 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.651 | 125467.4111 | 275099.431 | 32.55 | 27.7
86296 | 2021-04-09 13:03 | 55.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1748 | μmol/L | 11.4219 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.647 | 125457.5178 | 275088.4226 | 32.55 | 27.7
86305 | 2021-04-09 13:03 | 56.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1169 | μmol/L | 11.428 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.647 | 125454.8531 | 275095.9026 | 32.55 | 27.7
86314 | 2021-04-09 13:03 | 56.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1169 | μmol/L | 11.428 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.647 | 125440.7613 | 275100.0097 | 32.55 | 27.7
86323 | 2021-04-09 13:04 | 56.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1579 | μmol/L | 11.4341 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.643 | 125439.0927 | 275089.0022 | 32.55 | 27.7
86332 | 2021-04-09 13:04 | 57.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2074 | μmol/L | 11.4341 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.641 | 125421.4008 | 275077.3898 | 32.55 | 27.7
86341 | 2021-04-09 13:04 | 57.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1579 | μmol/L | 11.4341 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.643 | 125405.6286 | 275060.6148 | 32.55 | 27.7
86350 | 2021-04-09 13:05 | 57.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1332 | μmol/L | 11.4341 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.644 | 125397.7528 | 275063.3203 | 32.55 | 27.7
86359 | 2021-04-09 13:05 | 58.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1742 | μmol/L | 11.4402 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.64 | 125387.3062 | 275065.8558 | 32.55 | 27.7
86368 | 2021-04-09 13:05 | 58.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1411 | μmol/L | 11.4463 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.639 | 125382.5392 | 275049.315 | 32.55 | 27.7
86377 | 2021-04-09 13:06 | 58.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1658 | μmol/L | 11.4463 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.638 | 125364.2646 | 275049.2089 | 32.55 | 27.7
86386 | 2021-04-09 13:06 | 59.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1658 | μmol/L | 11.4463 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.638 | 125363.2408 | 275051.6083 | 32.55 | 27.7
86395 | 2021-04-09 13:06 | 59.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2978 | μmol/L | 11.4402 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.635 | 125351.8748 | 275056.9692 | 32.55 | 27.7
86404 | 2021-04-09 13:07 | 59.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2236 | μmol/L | 11.4402 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.638 | 125334.9289 | 275038.9886 | 32.55 | 27.7
86413 | 2021-04-09 13:07 | 60.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2894 | μmol/L | 11.4463 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 125337.1523 | 275035.4121 | 32.55 | 27.7
86422 | 2021-04-09 13:07 | 60.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1574 | μmol/L | 11.4524 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 125326.1261 | 275029.1902 | 32.55 | 27.7
86431 | 2021-04-09 13:08 | 60.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2894 | μmol/L | 11.4463 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 125327.9616 | 275045.7967 | 32.55 | 27.7
86440 | 2021-04-09 13:08 | 61.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.2315 | μmol/L | 11.4524 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 125335.7005 | 275029.1571 | 32.55 | 27.7
86449 | 2021-04-09 13:08 | 61.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1821 | μmol/L | 11.4524 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.635 | 125320.7433 | 275038.4663 | 32.55 | 27.7
86458 | 2021-04-09 13:09 | 61.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.149 | μmol/L | 11.4585 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.634 | 125314.6574 | 275031.5845 | 32.55 | 27.7
86467 | 2021-04-09 13:09 | 62.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0996 | μmol/L | 11.4585 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 125308.2858 | 275022.4688 | 32.55 | 27.7
86476 | 2021-04-09 13:09 | 62.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0664 | μmol/L | 11.4646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.635 | 125304.6155 | 275017.2649 | 32.55 | 27.7
86485 | 2021-04-09 13:10 | 62.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1737 | μmol/L | 11.4585 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 125299.8994 | 275008.3165 | 32.55 | 27.7
86494 | 2021-04-09 13:10 | 63.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1159 | μmol/L | 11.4646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 125295.821 | 275013.6004 | 32.55 | 27.7
86503 | 2021-04-09 13:10 | 63.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0417 | μmol/L | 11.4646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 125295.5259 | 275019.798 | 32.55 | 27.7
86512 | 2021-04-09 13:11 | 63.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0417 | μmol/L | 11.4646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 125298.6303 | 275013.995 | 32.55 | 27.7
86521 | 2021-04-09 13:11 | 64.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1737 | μmol/L | 11.4585 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 125285.4293 | 274997.5668 | 32.55 | 27.7
86530 | 2021-04-09 13:11 | 64.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0912 | μmol/L | 11.4646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.634 | 125279.6972 | 274989.1737 | 32.55 | 27.7
86539 | 2021-04-09 13:12 | 64.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0912 | μmol/L | 11.4646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.634 | 125276.1257 | 274989.2582 | 32.55 | 27.7
86548 | 2021-04-09 13:12 | 65.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1159 | μmol/L | 11.4646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 125264.0976 | 274998.4924 | 32.55 | 27.7
86557 | 2021-04-09 13:12 | 65.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1653 | μmol/L | 11.4646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.631 | 125277.2699 | 274997.48 | 32.55 | 27.7
86566 | 2021-04-09 13:13 | 65.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.19 | μmol/L | 11.4646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.63 | 125268.2652 | 274991.4584 | 32.55 | 27.7
86575 | 2021-04-09 13:13 | 66.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1406 | μmol/L | 11.4646 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.632 | 125265.0651 | 274974.2447 | 32.55 | 27.7
86584 | 2021-04-09 13:13 | 66.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.1075 | μmol/L | 11.4707 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.631 | 125271.0192 | 274985.8834 | 32.55 | 27.7
86593 | 2021-04-09 13:14 | 66.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 291.0003 | μmol/L | 11.4768 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 125261.7081 | 274984.7749 | 32.55 | 27.7
86602 | 2021-04-09 13:14 | 67.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9509 | μmol/L | 11.4768 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.635 | 125265.1503 | 274963.1164 | 32.55 | 27.7
86611 | 2021-04-09 13:14 | 67.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9919 | μmol/L | 11.4829 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.631 | 125269.7452 | 274960.8766 | 32.55 | 27.7
86620 | 2021-04-09 13:15 | 67.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9593 | μmol/L | 11.4707 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.637 | 125257.9003 | 274957.8497 | 32.55 | 27.7
86629 | 2021-04-09 13:15 | 68.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9015 | μmol/L | 11.4768 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.637 | 125268.6966 | 274964.3327 | 32.55 | 27.7
86638 | 2021-04-09 13:15 | 68.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9262 | μmol/L | 11.4768 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 125260.7761 | 274964.4253 | 32.55 | 27.7
86647 | 2021-04-09 13:16 | 68.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9178 | μmol/L | 11.4829 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.634 | 125264.3565 | 274958.9199 | 32.55 | 27.7
86656 | 2021-04-09 13:16 | 69.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.9015 | μmol/L | 11.4768 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.637 | 125265.305 | 274954.2416 | 32.55 | 27.7
86665 | 2021-04-09 13:16 | 69.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7944 | μmol/L | 11.4829 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.639 | 125270.453 | 274957.0564 | 32.55 | 27.7
86674 | 2021-04-09 13:17 | 69.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.8521 | μmol/L | 11.4768 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.639 | 125261.5197 | 274938.4812 | 32.55 | 27.7
86683 | 2021-04-09 13:17 | 70.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.8684 | μmol/L | 11.4829 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 125269.3983 | 274934.4217 | 32.55 | 27.7
86692 | 2021-04-09 13:17 | 70.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7613 | μmol/L | 11.489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.638 | 125258.3962 | 274933.6365 | 32.55 | 27.7
86701 | 2021-04-09 13:18 | 70.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7944 | μmol/L | 11.4829 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.639 | 125253.8714 | 274931.0482 | 32.55 | 27.7
86710 | 2021-04-09 13:18 | 71.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.786 | μmol/L | 11.489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.637 | 125253.8455 | 274928.0027 | 32.55 | 27.7
86719 | 2021-04-09 13:18 | 71.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.786 | μmol/L | 11.489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.637 | 125248.5836 | 274919.8912 | 32.55 | 27.7
86728 | 2021-04-09 13:19 | 71.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7613 | μmol/L | 11.489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.638 | 125250.3036 | 274927.9643 | 32.55 | 27.7
86737 | 2021-04-09 13:19 | 72.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6542 | μmol/L | 11.4951 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.64 | 125243.0205 | 274907.6616 | 32.55 | 27.7
86746 | 2021-04-09 13:19 | 72.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.786 | μmol/L | 11.489 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.637 | 125239.5626 | 274916.1698 | 32.55 | 27.7
86755 | 2021-04-09 13:20 | 72.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6706 | μmol/L | 11.5012 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.637 | 125247.9951 | 274918.3267 | 32.55 | 27.7
86764 | 2021-04-09 13:20 | 73.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.6789 | μmol/L | 11.4951 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.639 | 125243.7455 | 274910.2387 | 32.55 | 27.7
86773 | 2021-04-09 13:20 | 73.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5966 | μmol/L | 11.5012 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.64 | 125240.1241 | 274909.4624 | 32.55 | 27.7
86782 | 2021-04-09 13:21 | 73.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.7036 | μmol/L | 11.4951 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.638 | 125242.4842 | 274910.4248 | 32.55 | 27.7
86791 | 2021-04-09 13:21 | 74.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5472 | μmol/L | 11.5012 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.642 | 125245.9705 | 274898.6459 | 32.55 | 27.7
86800 | 2021-04-09 13:21 | 74.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4733 | μmol/L | 11.5012 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.645 | 125243.4028 | 274893.1098 | 32.55 | 27.7
86809 | 2021-04-09 13:22 | 74.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5226 | μmol/L | 11.5012 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.643 | 125253.8432 | 274895.9661 | 32.55 | 27.7
86818 | 2021-04-09 13:22 | 75.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4733 | μmol/L | 11.5012 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.645 | 125248.7012 | 274883.9278 | 32.55 | 27.7
86827 | 2021-04-09 13:22 | 75.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4156 | μmol/L | 11.5073 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.645 | 125259.0885 | 274883.884 | 32.55 | 27.7
86836 | 2021-04-09 13:23 | 75.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4156 | μmol/L | 11.5073 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.645 | 125258.7538 | 274879.7715 | 32.55 | 27.7
86845 | 2021-04-09 13:23 | 76.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3663 | μmol/L | 11.5073 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.647 | 125260.7327 | 274888.8268 | 32.55 | 27.7
86854 | 2021-04-09 13:23 | 76.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3171 | μmol/L | 11.5073 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.649 | 125265.8106 | 274891.3325 | 32.55 | 27.7
86863 | 2021-04-09 13:24 | 76.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3663 | μmol/L | 11.5073 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.647 | 125272.5106 | 274870.8068 | 32.55 | 27.7
86872 | 2021-04-09 13:24 | 77.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3334 | μmol/L | 11.5134 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.646 | 125268.2047 | 274871.5395 | 32.55 | 27.7
86881 | 2021-04-09 13:24 | 77.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3334 | μmol/L | 11.5134 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.646 | 125271.7224 | 274862.0818 | 32.55 | 27.7
86890 | 2021-04-09 13:25 | 77.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2841 | μmol/L | 11.5134 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.648 | 125270.9121 | 274845.8984 | 32.55 | 27.7
86899 | 2021-04-09 13:25 | 78.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.128 | μmol/L | 11.5195 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.652 | 125268.0827 | 274861.8208 | 32.55 | 27.7
86908 | 2021-04-09 13:25 | 78.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2348 | μmol/L | 11.5134 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.65 | 125267.1407 | 274861.0577 | 32.55 | 27.7
86917 | 2021-04-09 13:26 | 78.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1856 | μmol/L | 11.5134 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.652 | 125255.9261 | 274838.1951 | 32.55 | 27.7
86926 | 2021-04-09 13:26 | 79.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2594 | μmol/L | 11.5134 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.649 | 125246.3244 | 274832.4722 | 32.55 | 27.7
86935 | 2021-04-09 13:26 | 79.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2594 | μmol/L | 11.5134 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.649 | 125251.1588 | 274839.5442 | 32.55 | 27.7
86944 | 2021-04-09 13:27 | 79.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.128 | μmol/L | 11.5195 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.652 | 125242.0877 | 274834.0743 | 32.55 | 27.7
86953 | 2021-04-09 13:27 | 80.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3004 | μmol/L | 11.5195 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.645 | 125234.7879 | 274836.8439 | 32.55 | 27.7
86962 | 2021-04-09 13:27 | 80.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2019 | μmol/L | 11.5195 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.649 | 125220.6503 | 274825.0393 | 32.55 | 27.7
86971 | 2021-04-09 13:28 | 80.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2511 | μmol/L | 11.5195 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.647 | 125211.6658 | 274826.4691 | 32.55 | 27.7
86980 | 2021-04-09 13:28 | 81.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1443 | μmol/L | 11.5256 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.649 | 125206.1712 | 274818.2184 | 32.55 | 27.7
86989 | 2021-04-09 13:28 | 81.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2511 | μmol/L | 11.5195 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.647 | 125184.3146 | 274808.6017 | 32.55 | 27.7
86998 | 2021-04-09 13:29 | 81.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.292 | μmol/L | 11.5256 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.643 | 125177.6442 | 274805.8315 | 32.55 | 27.7
87007 | 2021-04-09 13:29 | 82.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1769 | μmol/L | 11.5379 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.643 | 125171.7835 | 274820.178 | 32.55 | 27.7
87016 | 2021-04-09 13:29 | 82.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2345 | μmol/L | 11.5318 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.643 | 125157.9116 | 274817.3664 | 32.55 | 27.7
87025 | 2021-04-09 13:30 | 82.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3906 | μmol/L | 11.5256 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.639 | 125151.8763 | 274792.7714 | 32.55 | 27.7
87034 | 2021-04-09 13:30 | 83.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1686 | μmol/L | 11.544 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.641 | 125129.1733 | 274795.3968 | 32.55 | 27.7
87043 | 2021-04-09 13:30 | 83.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.374 | μmol/L | 11.5379 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.635 | 125128.8757 | 274786.3242 | 32.55 | 27.7
87052 | 2021-04-09 13:31 | 83.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3084 | μmol/L | 11.5318 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.64 | 125116.6529 | 274786.1243 | 32.55 | 27.7
87061 | 2021-04-09 13:31 | 84.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3247 | μmol/L | 11.5379 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.637 | 125107.6172 | 274804.9663 | 32.55 | 27.7
87070 | 2021-04-09 13:31 | 84.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3493 | μmol/L | 11.5379 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 125097.754 | 274781.5591 | 32.55 | 27.7
87079 | 2021-04-09 13:32 | 84.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3903 | μmol/L | 11.544 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.632 | 125082.494 | 274785.8471 | 32.55 | 27.7
87088 | 2021-04-09 13:32 | 85.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3986 | μmol/L | 11.5379 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.634 | 125077.0374 | 274773.2251 | 32.55 | 27.7
87097 | 2021-04-09 13:32 | 85.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3903 | μmol/L | 11.544 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.632 | 125069.5725 | 274779.2571 | 32.55 | 27.7
87106 | 2021-04-09 13:33 | 85.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4233 | μmol/L | 11.5379 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 125064.2165 | 274770.9626 | 32.55 | 27.7
87115 | 2021-04-09 13:33 | 86.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.415 | μmol/L | 11.544 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.631 | 125057.2456 | 274769.9461 | 32.55 | 27.7
87124 | 2021-04-09 13:33 | 86.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4233 | μmol/L | 11.5379 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 125050.044 | 274766.6871 | 32.55 | 27.7
87133 | 2021-04-09 13:34 | 86.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4396 | μmol/L | 11.544 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.63 | 125049.205 | 274750.7364 | 32.55 | 27.7
87142 | 2021-04-09 13:34 | 87.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.341 | μmol/L | 11.544 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.634 | 125047.4813 | 274752.6764 | 32.55 | 27.7
87151 | 2021-04-09 13:34 | 87.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2835 | μmol/L | 11.5501 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.634 | 125054.2437 | 274748.5493 | 32.55 | 27.7
87160 | 2021-04-09 13:35 | 87.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2918 | μmol/L | 11.544 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 125051.2863 | 274738.7684 | 32.55 | 27.7
87169 | 2021-04-09 13:35 | 88.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2342 | μmol/L | 11.5501 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 125058.4572 | 274742.882 | 32.55 | 27.7
87178 | 2021-04-09 13:35 | 88.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1686 | μmol/L | 11.544 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.641 | 125079.6353 | 274744.1284 | 32.55 | 27.7
87187 | 2021-04-09 13:36 | 88.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0126 | μmol/L | 11.5501 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.645 | 125078.4443 | 274736.6641 | 32.55 | 27.7
87196 | 2021-04-09 13:36 | 89.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0126 | μmol/L | 11.5501 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.645 | 125080.9932 | 274725.756 | 32.55 | 27.7
87205 | 2021-04-09 13:36 | 89.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0372 | μmol/L | 11.5501 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.644 | 125087.9723 | 274722.9574 | 32.55 | 27.7
87214 | 2021-04-09 13:37 | 89.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0947 | μmol/L | 11.544 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.644 | 125091.0853 | 274726.3605 | 32.55 | 27.7
87223 | 2021-04-09 13:37 | 90.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0043 | μmol/L | 11.5562 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.643 | 125086.3281 | 274716.0872 | 32.55 | 27.7
87232 | 2021-04-09 13:37 | 90.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0043 | μmol/L | 11.5562 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.643 | 125076.5404 | 274727.6238 | 32.55 | 27.7
87241 | 2021-04-09 13:38 | 90.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9468 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.643 | 125061.5892 | 274709.6567 | 32.55 | 27.7
87250 | 2021-04-09 13:38 | 91.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9058 | μmol/L | 11.5562 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.647 | 125068.8488 | 274716.6461 | 32.55 | 27.7
87259 | 2021-04-09 13:38 | 91.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0781 | μmol/L | 11.5562 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.64 | 125057.8639 | 274719.9597 | 32.55 | 27.7
87268 | 2021-04-09 13:39 | 91.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9304 | μmol/L | 11.5562 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.646 | 125051.9483 | 274710.4155 | 32.55 | 27.7
87277 | 2021-04-09 13:39 | 92.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0698 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.638 | 125040.4929 | 274715.0303 | 32.55 | 27.7
87286 | 2021-04-09 13:39 | 92.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0452 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.639 | 125032.2209 | 274695.1647 | 32.55 | 27.7
87295 | 2021-04-09 13:40 | 92.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1766 | μmol/L | 11.5562 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 125033.707 | 274698.8948 | 32.55 | 27.7
87304 | 2021-04-09 13:40 | 93.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0452 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.639 | 125017.4006 | 274694.6556 | 32.55 | 27.7
87313 | 2021-04-09 13:40 | 93.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0452 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.639 | 125021.198 | 274695.1007 | 32.55 | 27.7
87322 | 2021-04-09 13:41 | 93.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.996 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.641 | 125018.9164 | 274695.8852 | 32.55 | 27.7
87331 | 2021-04-09 13:41 | 94.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0206 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.64 | 125016.432 | 274691.563 | 32.55 | 27.7
87340 | 2021-04-09 13:41 | 94.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0206 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.64 | 125002.4608 | 274671.8582 | 32.55 | 27.7
87349 | 2021-04-09 13:42 | 94.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9631 | μmol/L | 11.5684 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.64 | 125000.4782 | 274674.2324 | 32.55 | 27.7
87358 | 2021-04-09 13:42 | 95.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1191 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124983.7063 | 274670.0507 | 32.55 | 27.7
87367 | 2021-04-09 13:42 | 95.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.193 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 124973.2795 | 274670.7106 | 32.55 | 27.7
87376 | 2021-04-09 13:43 | 95.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1191 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124968.5499 | 274667.0269 | 32.55 | 27.7
87385 | 2021-04-09 13:43 | 96.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0862 | μmol/L | 11.5684 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.635 | 124949.7646 | 274665.8282 | 32.55 | 27.7
87394 | 2021-04-09 13:43 | 96.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.1354 | μmol/L | 11.5684 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 124933.2521 | 274644.1809 | 32.55 | 27.7
87403 | 2021-04-09 13:44 | 96.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2833 | μmol/L | 11.5684 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.627 | 124920.7282 | 274635.0416 | 32.55 | 27.7
87412 | 2021-04-09 13:44 | 97.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2915 | μmol/L | 11.5623 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.629 | 124906.7506 | 274640.5409 | 32.55 | 27.7
87421 | 2021-04-09 13:44 | 97.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2257 | μmol/L | 11.5745 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.627 | 124895.1128 | 274640.5122 | 32.55 | 27.7
87430 | 2021-04-09 13:45 | 97.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3243 | μmol/L | 11.5745 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.623 | 124876.9624 | 274653.5325 | 32.55 | 27.7
87439 | 2021-04-09 13:45 | 98.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.275 | μmol/L | 11.5745 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.625 | 124862.7269 | 274636.8928 | 32.55 | 27.7
87448 | 2021-04-09 13:45 | 98.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3983 | μmol/L | 11.5745 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.62 | 124854.8699 | 274629.622 | 32.55 | 27.7
87457 | 2021-04-09 13:46 | 98.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4476 | μmol/L | 11.5745 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.618 | 124847.087 | 274642.1144 | 32.55 | 27.7
87466 | 2021-04-09 13:46 | 99.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4107 | μmol/L | 11.5806 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.617 | 124833.6734 | 274637.4319 | 32.55 | 27.7
87475 | 2021-04-09 13:46 | 99.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4969 | μmol/L | 11.5745 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.616 | 124826.714 | 274642.3369 | 32.55 | 27.7
87484 | 2021-04-09 13:47 | 99.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3407 | μmol/L | 11.5806 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.62 | 124818.0178 | 274629.8765 | 32.55 | 27.7
87493 | 2021-04-09 13:47 | 100.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.464 | μmol/L | 11.5806 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.615 | 124801.0463 | 274622.0684 | 32.55 | 27.7
87502 | 2021-04-09 13:47 | 100.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.645 | μmol/L | 11.5745 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.61 | 124792.4585 | 274626.3087 | 32.55 | 27.7
87511 | 2021-04-09 13:48 | 100.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3489 | μmol/L | 11.5928 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.615 | 124787.1483 | 274626.262 | 32.55 | 27.7
87520 | 2021-04-09 13:48 | 101.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.464 | μmol/L | 11.5806 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.615 | 124777.629 | 274631.0503 | 32.55 | 27.7
87529 | 2021-04-09 13:48 | 101.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5133 | μmol/L | 11.5806 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.613 | 124767.1455 | 274615.15 | 32.55 | 27.7
87538 | 2021-04-09 13:49 | 101.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5051 | μmol/L | 11.5867 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.611 | 124766.0883 | 274622.7677 | 32.55 | 27.7
87547 | 2021-04-09 13:49 | 102.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5627 | μmol/L | 11.5806 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.611 | 124767.2796 | 274623.4738 | 32.55 | 27.7
87556 | 2021-04-09 13:49 | 102.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4887 | μmol/L | 11.5806 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.614 | 124765.509 | 274609.8098 | 32.55 | 27.7
87565 | 2021-04-09 13:50 | 102.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4887 | μmol/L | 11.5806 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.614 | 124767.2142 | 274605.6399 | 32.55 | 27.7
87574 | 2021-04-09 13:50 | 103.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5051 | μmol/L | 11.5867 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.611 | 124760.3653 | 274608.6996 | 32.55 | 27.7
87583 | 2021-04-09 13:50 | 103.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4435 | μmol/L | 11.5928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.611 | 124759.841 | 274602.5033 | 32.55 | 27.7
87592 | 2021-04-09 13:51 | 103.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.5298 | μmol/L | 11.5867 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.61 | 124760.7669 | 274593.4485 | 32.55 | 27.7
87601 | 2021-04-09 13:51 | 104.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3982 | μmol/L | 11.5928 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.613 | 124763.0827 | 274600.7985 | 32.55 | 27.7
87610 | 2021-04-09 13:51 | 104.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.464 | μmol/L | 11.5806 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.615 | 124761.9136 | 274590.6928 | 32.55 | 27.7
87619 | 2021-04-09 13:52 | 104.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4804 | μmol/L | 11.5867 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.612 | 124758.288 | 274577.0379 | 32.55 | 27.7
87628 | 2021-04-09 13:52 | 105.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.4064 | μmol/L | 11.5867 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.615 | 124761.9998 | 274576.3465 | 32.55 | 27.7
87637 | 2021-04-09 13:52 | 105.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2995 | μmol/L | 11.5928 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.617 | 124761.2494 | 274586.8019 | 32.55 | 27.7
87646 | 2021-04-09 13:53 | 105.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.3531 | μmol/L | 11.5867 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.617 | 124766.01 | 274574.2618 | 32.55 | 27.7
87655 | 2021-04-09 13:53 | 106.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2627 | μmol/L | 11.5989 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.616 | 124759.9791 | 274574.861 | 32.55 | 27.7
87664 | 2021-04-09 13:53 | 106.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.2585 | μmol/L | 11.5867 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.621 | 124773.4779 | 274576.0047 | 32.55 | 27.7
87673 | 2021-04-09 13:54 | 106.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.197 | μmol/L | 11.5928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.621 | 124776.9179 | 274576.7677 | 32.55 | 27.7
87682 | 2021-04-09 13:54 | 107.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.086 | μmol/L | 11.605 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.621 | 124783.7062 | 274566.1059 | 32.55 | 27.7
87691 | 2021-04-09 13:54 | 107.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.127 | μmol/L | 11.5928 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.624 | 124793.049 | 274568.4178 | 32.55 | 27.7
87700 | 2021-04-09 13:55 | 107.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0163 | μmol/L | 11.5989 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.626 | 124802.5164 | 274557.5758 | 32.55 | 27.7
87709 | 2021-04-09 13:55 | 108.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0449 | μmol/L | 11.5989 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.625 | 124809.8523 | 274566.1555 | 32.55 | 27.7
87718 | 2021-04-09 13:55 | 108.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9957 | μmol/L | 11.5989 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.627 | 124818.8458 | 274550.9996 | 32.55 | 27.7
87727 | 2021-04-09 13:56 | 108.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 290.0492 | μmol/L | 11.5928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.627 | 124824.1828 | 274563.4041 | 32.55 | 27.7
87736 | 2021-04-09 13:56 | 109.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.9753 | μmol/L | 11.5928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.63 | 124837.5502 | 274543.9443 | 32.55 | 27.7
87745 | 2021-04-09 13:56 | 109.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7906 | μmol/L | 11.605 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.633 | 124843.5489 | 274554.4304 | 32.55 | 27.7
87754 | 2021-04-09 13:57 | 109.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7168 | μmol/L | 11.605 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124856.974 | 274535.3995 | 32.55 | 27.7
87763 | 2021-04-09 13:57 | 110.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7168 | μmol/L | 11.605 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124862.2821 | 274547.5485 | 32.55 | 27.7
87772 | 2021-04-09 13:57 | 110.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7128 | μmol/L | 11.605 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124868.3792 | 274542.943 | 32.55 | 27.7
87781 | 2021-04-09 13:58 | 110.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.6594 | μmol/L | 11.6111 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124869.6901 | 274542.1028 | 32.55 | 27.7
87790 | 2021-04-09 13:58 | 111.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.6102 | μmol/L | 11.6111 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.638 | 124855.9794 | 274526.8217 | 32.55 | 27.7
87799 | 2021-04-09 13:58 | 111.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.5528 | μmol/L | 11.6172 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.638 | 124859.7718 | 274535.4748 | 32.55 | 27.7
87808 | 2021-04-09 13:59 | 111.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7168 | μmol/L | 11.605 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124843.4065 | 274540.44 | 32.55 | 27.7
87817 | 2021-04-09 13:59 | 112.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7168 | μmol/L | 11.605 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124830.2689 | 274524.3274 | 32.55 | 27.7
87826 | 2021-04-09 13:59 | 112.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7046 | μmol/L | 11.6111 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.634 | 124828.2072 | 274515.8006 | 32.55 | 27.7
87835 | 2021-04-09 14:00 | 112.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.6266 | μmol/L | 11.6172 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.635 | 124814.6159 | 274522.3619 | 32.55 | 27.7
87844 | 2021-04-09 14:00 | 113.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7783 | μmol/L | 11.6111 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.631 | 124812.432 | 274509.7349 | 32.55 | 27.7
87853 | 2021-04-09 14:00 | 113.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.5898 | μmol/L | 11.6233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.634 | 124809.3327 | 274511.3348 | 32.55 | 27.7
87862 | 2021-04-09 14:01 | 113.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7249 | μmol/L | 11.6172 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.631 | 124802.5811 | 274506.9155 | 32.55 | 27.7
87871 | 2021-04-09 14:01 | 114.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7003 | μmol/L | 11.6172 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.632 | 124810.467 | 274502.8101 | 32.55 | 27.7
87880 | 2021-04-09 14:01 | 114.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.7455 | μmol/L | 11.6172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.63 | 124809.2413 | 274503.5951 | 32.55 | 27.7
87889 | 2021-04-09 14:02 | 114.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.5734 | μmol/L | 11.6172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.637 | 124811.2244 | 274502.9562 | 32.55 | 27.7
87898 | 2021-04-09 14:02 | 115.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.598 | μmol/L | 11.6172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124808.2921 | 274502.4851 | 32.55 | 27.7
87907 | 2021-04-09 14:02 | 115.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.598 | μmol/L | 11.6172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124805.5468 | 274487.5587 | 32.55 | 27.7
87916 | 2021-04-09 14:03 | 115.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.5898 | μmol/L | 11.6233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.634 | 124822.9067 | 274493.7845 | 32.55 | 27.7
87925 | 2021-04-09 14:03 | 116.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.5734 | μmol/L | 11.6172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.637 | 124817.7263 | 274486.0757 | 32.55 | 27.7
87934 | 2021-04-09 14:03 | 116.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.5406 | μmol/L | 11.6233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124819.0203 | 274498.8652 | 32.55 | 27.7
87943 | 2021-04-09 14:04 | 116.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.4178 | μmol/L | 11.6233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.641 | 124831.9597 | 274482.5319 | 32.55 | 27.7
87952 | 2021-04-09 14:04 | 117.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.426 | μmol/L | 11.6172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.643 | 124834.1083 | 274498.2754 | 32.55 | 27.7
87961 | 2021-04-09 14:04 | 117.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.3113 | μmol/L | 11.6294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.643 | 124828.9328 | 274493.8656 | 32.55 | 27.7
87970 | 2021-04-09 14:05 | 117.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.4178 | μmol/L | 11.6233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.641 | 124833.8159 | 274478.1869 | 32.55 | 27.7
87979 | 2021-04-09 14:05 | 118.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.3441 | μmol/L | 11.6233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.644 | 124841.7298 | 274479.6199 | 32.55 | 27.7
87988 | 2021-04-09 14:05 | 118.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2868 | μmol/L | 11.6294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.644 | 124835.718 | 274467.3482 | 32.55 | 27.7
87997 | 2021-04-09 14:06 | 118.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.3932 | μmol/L | 11.6233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.642 | 124833.8513 | 274473.5705 | 32.55 | 27.7
88006 | 2021-04-09 14:06 | 119.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.164 | μmol/L | 11.6294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.649 | 124840.7003 | 274461.2413 | 32.55 | 27.7
88015 | 2021-04-09 14:06 | 119.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 289.2213 | μmol/L | 11.6233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.649 | 124836.3112 | 274466.3138 | 32.55 | 27.7