## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 15:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
88027 | 2021-04-09 14:25 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3856 | μmol/L | 11.0331 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.004 | 106578.1735 | 302606.6514 | 28.7 | 67.6
88036 | 2021-04-09 14:25 | 0.34137 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.418 | μmol/L | 11.0452 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.998 | 106578.3208 | 302626.9605 | 28.7 | 67.6
88045 | 2021-04-09 14:25 | 0.67435 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4342 | μmol/L | 11.0513 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.995 | 106579.2725 | 302641.2303 | 28.7 | 67.6
88054 | 2021-04-09 14:26 | 1.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.4263 | μmol/L | 11.0573 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.993 | 106586.7633 | 302641.9423 | 28.7 | 67.6
88063 | 2021-04-09 14:26 | 1.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.3863 | μmol/L | 11.0695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.99 | 106582.5644 | 302642.6233 | 28.7 | 67.6
88072 | 2021-04-09 14:26 | 1.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.338 | μmol/L | 11.0695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.992 | 106584.6498 | 302648.5343 | 28.7 | 67.6
88081 | 2021-04-09 14:27 | 2.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.1289 | μmol/L | 11.0816 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.996 | 106591.7849 | 302643.5473 | 28.7 | 67.6
88090 | 2021-04-09 14:27 | 2.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 283.0407 | μmol/L | 11.0937 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.995 | 106600.3378 | 302646.4717 | 28.7 | 67.6
88099 | 2021-04-09 14:27 | 2.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.8639 | μmol/L | 11.0998 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23 | 106615.616 | 302660.3916 | 28.7 | 67.6
88108 | 2021-04-09 14:28 | 3.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.6553 | μmol/L | 11.1119 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.004 | 106632.997 | 302639.3342 | 28.7 | 67.6
88117 | 2021-04-09 14:28 | 3.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.7837 | μmol/L | 11.1059 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.001 | 106641.3554 | 302656.2866 | 28.7 | 67.6
88126 | 2021-04-09 14:28 | 3.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.5432 | μmol/L | 11.1241 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.004 | 106656.3037 | 302650.5174 | 28.7 | 67.6
88135 | 2021-04-09 14:29 | 4.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.407 | μmol/L | 11.1362 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.005 | 106669.0999 | 302658.9212 | 28.7 | 67.6
88144 | 2021-04-09 14:29 | 4.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3589 | μmol/L | 11.1362 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.007 | 106659.7061 | 302635.9145 | 28.7 | 67.6
88153 | 2021-04-09 14:29 | 4.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.271 | μmol/L | 11.1484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.006 | 106670.5103 | 302632.8551 | 28.7 | 67.6
88162 | 2021-04-09 14:30 | 5.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.3751 | μmol/L | 11.1423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.004 | 106676.7221 | 302621.2575 | 28.7 | 67.6
88171 | 2021-04-09 14:30 | 5.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.0629 | μmol/L | 11.1605 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.01 | 106673.8209 | 302619.0504 | 28.7 | 67.6
88180 | 2021-04-09 14:30 | 5.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.135 | μmol/L | 11.1605 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.007 | 106676.7026 | 302612.9341 | 28.7 | 67.6
88189 | 2021-04-09 14:31 | 6.0076 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.0232 | μmol/L | 11.1726 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.007 | 106680.6693 | 302592.7207 | 28.7 | 67.6
88198 | 2021-04-09 14:31 | 6.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 282.0232 | μmol/L | 11.1726 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.007 | 106676.1528 | 302588.1346 | 28.7 | 67.6
88207 | 2021-04-09 14:31 | 6.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.8952 | μmol/L | 11.1787 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.01 | 106682.7007 | 302595.151 | 28.7 | 67.6
88216 | 2021-04-09 14:32 | 7.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.8238 | μmol/L | 11.1969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.006 | 106678.4311 | 302579.0367 | 28.7 | 67.6
88225 | 2021-04-09 14:32 | 7.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.8075 | μmol/L | 11.1908 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.009 | 106673.2285 | 302591.9919 | 28.7 | 67.6
88234 | 2021-04-09 14:32 | 7.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.7439 | μmol/L | 11.203 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.007 | 106679.752 | 302581.1931 | 28.7 | 67.6
88243 | 2021-04-09 14:33 | 8.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.7199 | μmol/L | 11.203 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.008 | 106680.4908 | 302560.2885 | 28.7 | 67.6
88252 | 2021-04-09 14:33 | 8.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.6323 | μmol/L | 11.2151 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.007 | 106697.0272 | 302569.4259 | 28.7 | 67.6
88261 | 2021-04-09 14:33 | 8.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.5603 | μmol/L | 11.2151 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.01 | 106696.9712 | 302567.2592 | 28.7 | 67.6
88270 | 2021-04-09 14:34 | 9.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.4806 | μmol/L | 11.2212 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.011 | 106704.5141 | 302555.1215 | 28.7 | 67.6
88279 | 2021-04-09 14:34 | 9.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.3931 | μmol/L | 11.2333 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.01 | 106702.5389 | 302551.7693 | 28.7 | 67.6
88288 | 2021-04-09 14:34 | 9.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2415 | μmol/L | 11.2394 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.014 | 106703.8032 | 302535.8542 | 28.7 | 67.6
88297 | 2021-04-09 14:35 | 10.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.2894 | μmol/L | 11.2394 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.012 | 106709.1146 | 302540.3302 | 28.7 | 67.6
88306 | 2021-04-09 14:35 | 10.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.1858 | μmol/L | 11.2455 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.014 | 106705.2685 | 302535.6551 | 28.7 | 67.6
88315 | 2021-04-09 14:35 | 10.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.0505 | μmol/L | 11.2576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.015 | 106702.2585 | 302522.117 | 28.7 | 67.6
88324 | 2021-04-09 14:36 | 11.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.0266 | μmol/L | 11.2576 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.016 | 106710.4683 | 302512.3584 | 28.7 | 67.6
88333 | 2021-04-09 14:36 | 11.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.8991 | μmol/L | 11.2637 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.019 | 106698.3151 | 302516.1917 | 28.7 | 67.6
88342 | 2021-04-09 14:36 | 11.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 281.0112 | μmol/L | 11.2697 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.012 | 106691.078 | 302492.4587 | 28.7 | 67.6
88351 | 2021-04-09 14:37 | 12.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.8598 | μmol/L | 11.2758 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.016 | 106693.2924 | 302480.0955 | 28.7 | 67.6
88360 | 2021-04-09 14:37 | 12.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.9 | μmol/L | 11.2819 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.012 | 106695.5091 | 302482.0065 | 28.7 | 67.6
88369 | 2021-04-09 14:37 | 12.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.6529 | μmol/L | 11.288 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.02 | 106702.2728 | 302469.8825 | 28.7 | 67.6
88378 | 2021-04-09 14:38 | 13.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.717 | μmol/L | 11.294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.015 | 106697.5117 | 302476.45 | 28.7 | 67.6
88387 | 2021-04-09 14:38 | 13.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.6768 | μmol/L | 11.288 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.019 | 106713.9881 | 302468.6432 | 28.7 | 67.6
88396 | 2021-04-09 14:38 | 13.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4941 | μmol/L | 11.3001 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.022 | 106715.3644 | 302453.1962 | 28.7 | 67.6
88405 | 2021-04-09 14:39 | 14.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.4941 | μmol/L | 11.3001 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.022 | 106719.8845 | 302431.9792 | 28.7 | 67.6
88414 | 2021-04-09 14:39 | 14.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.3114 | μmol/L | 11.3122 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.025 | 106736.5447 | 302449.3246 | 28.7 | 67.6
88423 | 2021-04-09 14:39 | 14.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.2321 | μmol/L | 11.3183 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.026 | 106746.0877 | 302436.889 | 28.7 | 67.6
88432 | 2021-04-09 14:40 | 15.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.1127 | μmol/L | 11.3183 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.031 | 106752.5314 | 302422.8369 | 28.7 | 67.6
88441 | 2021-04-09 14:40 | 15.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0096 | μmol/L | 11.3244 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.033 | 106753.1623 | 302411.3206 | 28.7 | 67.6
88450 | 2021-04-09 14:40 | 15.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 280.0258 | μmol/L | 11.3304 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.03 | 106760.7709 | 302400.9241 | 28.7 | 67.6
88459 | 2021-04-09 14:41 | 16.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.875 | μmol/L | 11.3365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.034 | 106773.1513 | 302403.4053 | 28.7 | 67.6
88468 | 2021-04-09 14:41 | 16.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8512 | μmol/L | 11.3365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.035 | 106772.3921 | 302395.7017 | 28.7 | 67.6
88477 | 2021-04-09 14:41 | 16.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8512 | μmol/L | 11.3365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.035 | 106780.1687 | 302397.462 | 28.7 | 67.6
88486 | 2021-04-09 14:42 | 17.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7959 | μmol/L | 11.3426 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.035 | 106782.6722 | 302386.3588 | 28.7 | 67.6
88495 | 2021-04-09 14:42 | 17.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6614 | μmol/L | 11.3547 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106788.8681 | 302385.7001 | 28.7 | 67.6
88504 | 2021-04-09 14:42 | 17.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.59 | μmol/L | 11.3547 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106789.7314 | 302360.0614 | 28.7 | 67.6
88513 | 2021-04-09 14:43 | 18.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5109 | μmol/L | 11.3608 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.04 | 106791.7288 | 302357.5139 | 28.7 | 67.6
88522 | 2021-04-09 14:43 | 18.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5347 | μmol/L | 11.3608 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106797.7282 | 302358.6367 | 28.7 | 67.6
88531 | 2021-04-09 14:43 | 18.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3842 | μmol/L | 11.3669 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.043 | 106801.2942 | 302346.4024 | 28.7 | 67.6
88540 | 2021-04-09 14:44 | 19.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5347 | μmol/L | 11.3608 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106791.4193 | 302330.2781 | 28.7 | 67.6
88549 | 2021-04-09 14:44 | 19.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4795 | μmol/L | 11.3669 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106794.9017 | 302322.2552 | 28.7 | 67.6
88558 | 2021-04-09 14:44 | 19.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4795 | μmol/L | 11.3669 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106785.0092 | 302317.3907 | 28.7 | 67.6
88567 | 2021-04-09 14:45 | 20.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3214 | μmol/L | 11.379 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.041 | 106778.5655 | 302311.6566 | 28.7 | 67.6
88576 | 2021-04-09 14:45 | 20.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.2663 | μmol/L | 11.3851 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.041 | 106778.2524 | 302298.6118 | 28.7 | 67.6
88585 | 2021-04-09 14:45 | 20.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.369 | μmol/L | 11.379 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106776.5845 | 302279.6273 | 28.7 | 67.6
88594 | 2021-04-09 14:46 | 21.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3377 | μmol/L | 11.3851 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.038 | 106773.548 | 302279.1913 | 28.7 | 67.6
88603 | 2021-04-09 14:46 | 21.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.2349 | μmol/L | 11.3911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.04 | 106774.4061 | 302283.1087 | 28.7 | 67.6
88612 | 2021-04-09 14:46 | 21.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.2035 | μmol/L | 11.3972 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106769.2636 | 302269.1644 | 28.7 | 67.6
88621 | 2021-04-09 14:47 | 22.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1559 | μmol/L | 11.3972 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.041 | 106776.8226 | 302259.4515 | 28.7 | 67.6
88630 | 2021-04-09 14:47 | 22.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0295 | μmol/L | 11.4033 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.044 | 106768.7675 | 302253.6095 | 28.7 | 67.6
88639 | 2021-04-09 14:47 | 22.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0533 | μmol/L | 11.4033 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.043 | 106772.3193 | 302229.5297 | 28.7 | 67.6
88648 | 2021-04-09 14:48 | 23.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9981 | μmol/L | 11.4093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.043 | 106787.2381 | 302235.2016 | 28.7 | 67.6
88657 | 2021-04-09 14:48 | 23.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8242 | μmol/L | 11.4154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.048 | 106789.6864 | 302236.6277 | 28.7 | 67.6
88666 | 2021-04-09 14:48 | 23.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9506 | μmol/L | 11.4093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.045 | 106780.8523 | 302220.1992 | 28.7 | 67.6
88675 | 2021-04-09 14:49 | 24.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8005 | μmol/L | 11.4154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.049 | 106782.9969 | 302223.8961 | 28.7 | 67.6
88684 | 2021-04-09 14:49 | 24.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8718 | μmol/L | 11.4154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.046 | 106759.6406 | 302215.1833 | 28.7 | 67.6
88693 | 2021-04-09 14:49 | 24.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.8092 | μmol/L | 11.4275 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.044 | 106738.6587 | 302212.7775 | 28.7 | 67.6
88702 | 2021-04-09 14:50 | 25.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0544 | μmol/L | 11.4215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.036 | 106714.8425 | 302187.9842 | 28.7 | 67.6
88711 | 2021-04-09 14:50 | 25.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.968 | μmol/L | 11.4336 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.035 | 106693.2631 | 302191.7529 | 28.7 | 67.6
88720 | 2021-04-09 14:50 | 25.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9843 | μmol/L | 11.4397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.032 | 106681.85 | 302193.938 | 28.7 | 67.6
88729 | 2021-04-09 14:51 | 26.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0631 | μmol/L | 11.4336 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.031 | 106664.3666 | 302178.6798 | 28.7 | 67.6
88738 | 2021-04-09 14:51 | 26.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1508 | μmol/L | 11.4397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.025 | 106650.0157 | 302163.1563 | 28.7 | 67.6
88747 | 2021-04-09 14:51 | 26.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1583 | μmol/L | 11.4336 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.027 | 106634.7222 | 302148.0939 | 28.7 | 67.6
88756 | 2021-04-09 14:52 | 27.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0481 | μmol/L | 11.4458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.027 | 106636.2603 | 302165.783 | 28.7 | 67.6
88765 | 2021-04-09 14:52 | 27.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1433 | μmol/L | 11.4458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.023 | 106624.4479 | 302150.144 | 28.7 | 67.6
88774 | 2021-04-09 14:52 | 27.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1032 | μmol/L | 11.4397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.027 | 106619.3811 | 302131.014 | 28.7 | 67.6
88783 | 2021-04-09 14:53 | 28.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0719 | μmol/L | 11.4458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.026 | 106601.0612 | 302144.4502 | 28.7 | 67.6
88792 | 2021-04-09 14:53 | 28.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0957 | μmol/L | 11.4458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.025 | 106592.0632 | 302123.6223 | 28.7 | 67.6
88801 | 2021-04-09 14:53 | 28.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0093 | μmol/L | 11.4579 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.024 | 106586.255 | 302113.9737 | 28.7 | 67.6
88810 | 2021-04-09 14:54 | 29.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0807 | μmol/L | 11.4579 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.021 | 106567.9391 | 302105.4142 | 28.7 | 67.6
88819 | 2021-04-09 14:54 | 29.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1521 | μmol/L | 11.4579 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.018 | 106551.3324 | 302109.9968 | 28.7 | 67.6
88828 | 2021-04-09 14:54 | 29.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1684 | μmol/L | 11.464 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.015 | 106539.2526 | 302097.1787 | 28.7 | 67.6
88837 | 2021-04-09 14:55 | 30.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.2085 | μmol/L | 11.47 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.011 | 106516.3041 | 302089.3562 | 28.7 | 67.6
88846 | 2021-04-09 14:55 | 30.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.2636 | μmol/L | 11.464 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.011 | 106506.6813 | 302090.505 | 28.7 | 67.6
88855 | 2021-04-09 14:55 | 30.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3752 | μmol/L | 11.47 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.004 | 106472.9531 | 302081.2298 | 28.7 | 67.6
88864 | 2021-04-09 14:56 | 31.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3439 | μmol/L | 11.4761 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.003 | 106459.2584 | 302074.5758 | 28.7 | 67.6
88873 | 2021-04-09 14:56 | 31.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3678 | μmol/L | 11.4761 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.002 | 106442.1127 | 302052.7128 | 28.7 | 67.6
88882 | 2021-04-09 14:56 | 31.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4154 | μmol/L | 11.4761 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23 | 106433.3192 | 302057.087 | 28.7 | 67.6
88891 | 2021-04-09 14:57 | 32.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5033 | μmol/L | 11.4822 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.994 | 106407.1995 | 302044.5088 | 28.7 | 67.6
88900 | 2021-04-09 14:57 | 32.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4005 | μmol/L | 11.4882 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.996 | 106399.3077 | 302053.5155 | 28.7 | 67.6
88909 | 2021-04-09 14:57 | 32.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6225 | μmol/L | 11.4822 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.989 | 106377.4144 | 302034.8075 | 28.7 | 67.6
88918 | 2021-04-09 14:58 | 33.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5197 | μmol/L | 11.4882 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.991 | 106355.7115 | 302039.6575 | 28.7 | 67.6
88927 | 2021-04-09 14:58 | 33.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5912 | μmol/L | 11.4882 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.988 | 106342.6032 | 302042.0151 | 28.7 | 67.6
88936 | 2021-04-09 14:58 | 33.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6389 | μmol/L | 11.4882 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.986 | 106332.6941 | 302018.0079 | 28.7 | 67.6
88945 | 2021-04-09 14:59 | 34.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7031 | μmol/L | 11.4943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.981 | 106317.8757 | 302001.9421 | 28.7 | 67.6
88954 | 2021-04-09 14:59 | 34.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7582 | μmol/L | 11.4882 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.981 | 106303.8222 | 302022.495 | 28.7 | 67.6
88963 | 2021-04-09 14:59 | 34.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7269 | μmol/L | 11.4943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.98 | 106297.9694 | 302000.6316 | 28.7 | 67.6
88972 | 2021-04-09 15:00 | 35.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7508 | μmol/L | 11.4943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.979 | 106291.3396 | 301997.6135 | 28.7 | 67.6
88981 | 2021-04-09 15:00 | 35.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7598 | μmol/L | 11.5065 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.974 | 106270.0997 | 301985.9826 | 28.7 | 67.6
88990 | 2021-04-09 15:00 | 35.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.8463 | μmol/L | 11.4943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.975 | 106270.6353 | 301994.6358 | 28.7 | 67.6
88999 | 2021-04-09 15:01 | 36.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6643 | μmol/L | 11.5065 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.978 | 106272.4482 | 301967.8152 | 28.7 | 67.6
89008 | 2021-04-09 15:01 | 36.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.6405 | μmol/L | 11.5065 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.979 | 106262.4066 | 301974.7734 | 28.7 | 67.6
89017 | 2021-04-09 15:01 | 36.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.633 | μmol/L | 11.5125 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.977 | 106270.4357 | 301973.5998 | 28.7 | 67.6
89026 | 2021-04-09 15:02 | 37.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.7121 | μmol/L | 11.5065 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.976 | 106265.7842 | 301946.7298 | 28.7 | 67.6
89035 | 2021-04-09 15:02 | 37.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5064 | μmol/L | 11.5186 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.98 | 106260.7129 | 301957.2237 | 28.7 | 67.6
89044 | 2021-04-09 15:02 | 37.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.633 | μmol/L | 11.5125 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.977 | 106258.2792 | 301952.532 | 28.7 | 67.6
89053 | 2021-04-09 15:03 | 38.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4825 | μmol/L | 11.5186 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.981 | 106268.1684 | 301942.7396 | 28.7 | 67.6
89062 | 2021-04-09 15:03 | 38.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.5228 | μmol/L | 11.5247 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.977 | 106253.6536 | 301937.7678 | 28.7 | 67.6
89071 | 2021-04-09 15:03 | 38.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3321 | μmol/L | 11.5247 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.985 | 106258.7928 | 301949.1151 | 28.7 | 67.6
89080 | 2021-04-09 15:04 | 39.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4036 | μmol/L | 11.5247 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.982 | 106255.2004 | 301937.062 | 28.7 | 67.6
89089 | 2021-04-09 15:04 | 39.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.4036 | μmol/L | 11.5247 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.982 | 106261.7435 | 301926.9851 | 28.7 | 67.6
89098 | 2021-04-09 15:04 | 39.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.277 | μmol/L | 11.5307 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.985 | 106257.8525 | 301919.5901 | 28.7 | 67.6
89107 | 2021-04-09 15:05 | 40.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.3559 | μmol/L | 11.5247 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.984 | 106272.6814 | 301920.0457 | 28.7 | 67.6
89116 | 2021-04-09 15:05 | 40.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.2294 | μmol/L | 11.5307 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.987 | 106285.4143 | 301918.3851 | 28.7 | 67.6
89125 | 2021-04-09 15:05 | 40.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.1818 | μmol/L | 11.5307 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.989 | 106292.4358 | 301897.1471 | 28.7 | 67.6
89134 | 2021-04-09 15:06 | 41.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.2056 | μmol/L | 11.5307 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.988 | 106301.7271 | 301900.1796 | 28.7 | 67.6
89143 | 2021-04-09 15:06 | 41.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 279.0003 | μmol/L | 11.5429 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.992 | 106313.7254 | 301906.7237 | 28.7 | 67.6
89152 | 2021-04-09 15:06 | 41.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9364 | μmol/L | 11.5368 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.997 | 106323.909 | 301897.0945 | 28.7 | 67.6
89161 | 2021-04-09 15:07 | 42.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.9126 | μmol/L | 11.5368 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.998 | 106344.3845 | 301892.2401 | 28.7 | 67.6
89170 | 2021-04-09 15:07 | 42.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.6674 | μmol/L | 11.5429 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.006 | 106370.3396 | 301886.053 | 28.7 | 67.6
89179 | 2021-04-09 15:07 | 42.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.5486 | μmol/L | 11.5429 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.011 | 106383.9005 | 301877.2996 | 28.7 | 67.6
89188 | 2021-04-09 15:08 | 43.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.5961 | μmol/L | 11.5429 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.009 | 106397.6087 | 301870.2359 | 28.7 | 67.6
89197 | 2021-04-09 15:08 | 43.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.4225 | μmol/L | 11.5489 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.014 | 106422.0054 | 301870.2409 | 28.7 | 67.6
89206 | 2021-04-09 15:08 | 43.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.375 | μmol/L | 11.5489 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.016 | 106431.9959 | 301861.6029 | 28.7 | 67.6
89215 | 2021-04-09 15:09 | 44.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.1615 | μmol/L | 11.5489 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.025 | 106448.9314 | 301849.1016 | 28.7 | 67.6
89224 | 2021-04-09 15:09 | 44.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.083 | μmol/L | 11.555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.026 | 106467.1399 | 301845.7876 | 28.7 | 67.6
89233 | 2021-04-09 15:09 | 44.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 278.0119 | μmol/L | 11.555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.029 | 106475.8788 | 301846.565 | 28.7 | 67.6
89242 | 2021-04-09 15:10 | 45.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.9882 | μmol/L | 11.555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.03 | 106494.1536 | 301858.1904 | 28.7 | 67.6
89251 | 2021-04-09 15:10 | 45.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.8698 | μmol/L | 11.555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.035 | 106503.3552 | 301818.566 | 28.7 | 67.6
89260 | 2021-04-09 15:10 | 45.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.744 | μmol/L | 11.5611 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.038 | 106522.0607 | 301827.8458 | 28.7 | 67.6
89269 | 2021-04-09 15:11 | 46.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.7203 | μmol/L | 11.5611 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 106527.4184 | 301819.3465 | 28.7 | 67.6
89278 | 2021-04-09 15:11 | 46.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.6967 | μmol/L | 11.5611 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.04 | 106543.2263 | 301814.592 | 28.7 | 67.6
89287 | 2021-04-09 15:11 | 46.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.5074 | μmol/L | 11.5611 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.048 | 106538.2041 | 301797.9885 | 28.7 | 67.6
89296 | 2021-04-09 15:12 | 47.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.5547 | μmol/L | 11.5611 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.046 | 106545.8549 | 301801.3724 | 28.7 | 67.6
89305 | 2021-04-09 15:12 | 47.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.5784 | μmol/L | 11.5611 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.045 | 106551.7578 | 301794.9189 | 28.7 | 67.6
89314 | 2021-04-09 15:12 | 47.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.4217 | μmol/L | 11.5732 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.047 | 106554.093 | 301789.6716 | 28.7 | 67.6
89323 | 2021-04-09 15:13 | 48.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.3818 | μmol/L | 11.5671 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.051 | 106562.5811 | 301784.1768 | 28.7 | 67.6
89332 | 2021-04-09 15:13 | 48.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.4291 | μmol/L | 11.5671 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.049 | 106564.5649 | 301785.9914 | 28.7 | 67.6
89341 | 2021-04-09 15:13 | 48.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.2799 | μmol/L | 11.5732 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.053 | 106564.8809 | 301762.1487 | 28.7 | 67.6
89350 | 2021-04-09 15:14 | 49.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.2017 | μmol/L | 11.5793 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.054 | 106566.866 | 301748.2499 | 28.7 | 67.6
89359 | 2021-04-09 15:14 | 49.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.2091 | μmol/L | 11.5732 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.056 | 106581.3643 | 301759.6767 | 28.7 | 67.6
89368 | 2021-04-09 15:14 | 49.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.1382 | μmol/L | 11.5732 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.059 | 106590.4747 | 301757.1987 | 28.7 | 67.6
89377 | 2021-04-09 15:15 | 50.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.0055 | μmol/L | 11.5854 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.06 | 106596.941 | 301747.9328 | 28.7 | 67.6
89386 | 2021-04-09 15:15 | 50.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.9657 | μmol/L | 11.5793 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.064 | 106608.3213 | 301742.3056 | 28.7 | 67.6
89395 | 2021-04-09 15:15 | 50.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 277.0601 | μmol/L | 11.5793 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.06 | 106616.6129 | 301730.2516 | 28.7 | 67.6
89404 | 2021-04-09 15:16 | 51.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.9185 | μmol/L | 11.5793 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 106619.164 | 301739.4851 | 28.7 | 67.6
89413 | 2021-04-09 15:16 | 51.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.8404 | μmol/L | 11.5854 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.067 | 106621.2503 | 301726.7207 | 28.7 | 67.6
89422 | 2021-04-09 15:16 | 51.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.7151 | μmol/L | 11.5914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.07 | 106625.7717 | 301714.931 | 28.7 | 67.6
89431 | 2021-04-09 15:17 | 52.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.7696 | μmol/L | 11.5854 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.07 | 106626.5732 | 301705.5911 | 28.7 | 67.6
89440 | 2021-04-09 15:17 | 52.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6989 | μmol/L | 11.5854 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.073 | 106631.8961 | 301713.8354 | 28.7 | 67.6
89449 | 2021-04-09 15:17 | 52.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.5973 | μmol/L | 11.5914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.075 | 106642.6207 | 301698.7179 | 28.7 | 67.6
89458 | 2021-04-09 15:18 | 53.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.6753 | μmol/L | 11.5854 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.074 | 106644.3306 | 301691.794 | 28.7 | 67.6
89467 | 2021-04-09 15:18 | 53.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.5973 | μmol/L | 11.5914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.075 | 106642.03 | 301686.9992 | 28.7 | 67.6
89476 | 2021-04-09 15:18 | 53.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.5428 | μmol/L | 11.5975 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.075 | 106648.4634 | 301685.11 | 28.7 | 67.6
89485 | 2021-04-09 15:19 | 54.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4795 | μmol/L | 11.5914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.08 | 106655.5798 | 301689.3206 | 28.7 | 67.6
89494 | 2021-04-09 15:19 | 54.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4251 | μmol/L | 11.5975 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.08 | 106660.6382 | 301679.9889 | 28.7 | 67.6
89503 | 2021-04-09 15:19 | 54.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.3633 | μmol/L | 11.6096 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.078 | 106653.7638 | 301659.3654 | 28.7 | 67.6
89512 | 2021-04-09 15:20 | 55.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.456 | μmol/L | 11.5914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.081 | 106651.9751 | 301676.3253 | 28.7 | 67.6
89521 | 2021-04-09 15:20 | 55.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.4919 | μmol/L | 11.5975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.077 | 106661.3782 | 301657.2752 | 28.7 | 67.6
89530 | 2021-04-09 15:20 | 55.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.3236 | μmol/L | 11.6036 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.082 | 106664.6396 | 301661.9622 | 28.7 | 67.6
89539 | 2021-04-09 15:21 | 56.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2727 | μmol/L | 11.6036 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.084 | 106661.6626 | 301663.0454 | 28.7 | 67.6
89548 | 2021-04-09 15:21 | 56.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2457 | μmol/L | 11.6096 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.083 | 106669.2718 | 301638.084 | 28.7 | 67.6
89557 | 2021-04-09 15:21 | 56.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2765 | μmol/L | 11.6036 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.084 | 106669.7425 | 301637.1634 | 28.7 | 67.6
89566 | 2021-04-09 15:22 | 57.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.2295 | μmol/L | 11.6036 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.086 | 106677.9747 | 301649.5722 | 28.7 | 67.6
89575 | 2021-04-09 15:22 | 57.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 276.0267 | μmol/L | 11.6157 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.09 | 106679.0517 | 301647.8194 | 28.7 | 67.6