## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 15:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
88029 | 2021-04-09 14:25 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0614 | μmol/L | 11.0511 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.173 | 103743.827 | 304664.5008 | 30.45 | 114.2
88038 | 2021-04-09 14:25 | 0.33658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0919 | μmol/L | 11.0634 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.167 | 103734.1274 | 304695.4015 | 30.45 | 114.2
88047 | 2021-04-09 14:25 | 0.67039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.075 | μmol/L | 11.0757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.163 | 103718.8002 | 304700.4145 | 30.45 | 114.2
88056 | 2021-04-09 14:26 | 1.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.1461 | μmol/L | 11.0757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.16 | 103712.0197 | 304697.6295 | 30.45 | 114.2
88065 | 2021-04-09 14:26 | 1.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.1529 | μmol/L | 11.0879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.155 | 103694.4802 | 304704.4421 | 30.45 | 114.2
88074 | 2021-04-09 14:26 | 1.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0497 | μmol/L | 11.0941 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.157 | 103676.3053 | 304695.9884 | 30.45 | 114.2
88083 | 2021-04-09 14:27 | 2.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9617 | μmol/L | 11.1063 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.156 | 103659.465 | 304711.6911 | 30.45 | 114.2
88092 | 2021-04-09 14:27 | 2.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0244 | μmol/L | 11.1124 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.151 | 103647.6268 | 304701.875 | 30.45 | 114.2
88101 | 2021-04-09 14:27 | 2.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0314 | μmol/L | 11.1247 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.146 | 103636.355 | 304703.5999 | 30.45 | 114.2
88110 | 2021-04-09 14:28 | 3.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.1178 | μmol/L | 11.1308 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.14 | 103624.7244 | 304695.4297 | 30.45 | 114.2
88119 | 2021-04-09 14:28 | 3.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.062 | μmol/L | 11.137 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.14 | 103602.6281 | 304697.6516 | 30.45 | 114.2
88128 | 2021-04-09 14:28 | 3.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0453 | μmol/L | 11.1492 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.136 | 103586.8107 | 304696.7601 | 30.45 | 114.2
88137 | 2021-04-09 14:29 | 4.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9254 | μmol/L | 11.1676 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.134 | 103578.6303 | 304682.8398 | 30.45 | 114.2
88146 | 2021-04-09 14:29 | 4.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.1472 | μmol/L | 11.1615 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.127 | 103562.8369 | 304691.6847 | 30.45 | 114.2
88155 | 2021-04-09 14:29 | 4.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.1068 | μmol/L | 11.1737 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.124 | 103555.7649 | 304687.546 | 30.45 | 114.2
88164 | 2021-04-09 14:30 | 5.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9479 | μmol/L | 11.186 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.126 | 103542.6592 | 304694.998 | 30.45 | 114.2
88173 | 2021-04-09 14:30 | 5.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.0665 | μmol/L | 11.186 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.121 | 103536.2308 | 304672.2202 | 30.45 | 114.2
88182 | 2021-04-09 14:30 | 5.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 279.1139 | μmol/L | 11.186 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.119 | 103527.0018 | 304657.7905 | 30.45 | 114.2
88191 | 2021-04-09 14:31 | 6.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8993 | μmol/L | 11.2044 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.121 | 103527.9203 | 304662.916 | 30.45 | 114.2
88200 | 2021-04-09 14:31 | 6.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9147 | μmol/L | 11.2105 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.118 | 103510.4179 | 304659.3155 | 30.45 | 114.2
88209 | 2021-04-09 14:31 | 6.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8827 | μmol/L | 11.2166 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.117 | 103501.4055 | 304661.1002 | 30.45 | 114.2
88218 | 2021-04-09 14:32 | 7.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9693 | μmol/L | 11.2228 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.111 | 103489.1885 | 304652.8916 | 30.45 | 114.2
88227 | 2021-04-09 14:32 | 7.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9373 | μmol/L | 11.2289 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.11 | 103478.7335 | 304643.8388 | 30.45 | 114.2
88236 | 2021-04-09 14:32 | 7.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7703 | μmol/L | 11.2473 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.11 | 103473.1941 | 304624.2589 | 30.45 | 114.2
88245 | 2021-04-09 14:33 | 8.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.9683 | μmol/L | 11.2412 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.104 | 103469.124 | 304634.9805 | 30.45 | 114.2
88254 | 2021-04-09 14:33 | 8.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7539 | μmol/L | 11.2595 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.106 | 103455.876 | 304631.3452 | 30.45 | 114.2
88263 | 2021-04-09 14:33 | 8.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.825 | μmol/L | 11.2595 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.103 | 103452.2 | 304624.8169 | 30.45 | 114.2
88272 | 2021-04-09 14:34 | 9.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8405 | μmol/L | 11.2657 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.1 | 103453.0159 | 304613.6352 | 30.45 | 114.2
88281 | 2021-04-09 14:34 | 9.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6663 | μmol/L | 11.2718 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.105 | 103440.5032 | 304615.0589 | 30.45 | 114.2
88290 | 2021-04-09 14:34 | 9.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8241 | μmol/L | 11.2779 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.096 | 103430.9487 | 304617.8274 | 30.45 | 114.2
88299 | 2021-04-09 14:35 | 10.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.8003 | μmol/L | 11.2779 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.097 | 103428.7131 | 304596.9773 | 30.45 | 114.2
88308 | 2021-04-09 14:35 | 10.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7602 | μmol/L | 11.2902 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.094 | 103418.4591 | 304591.3861 | 30.45 | 114.2
88317 | 2021-04-09 14:35 | 10.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7365 | μmol/L | 11.2902 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.095 | 103407.1599 | 304588.3978 | 30.45 | 114.2
88326 | 2021-04-09 14:36 | 11.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7284 | μmol/L | 11.2963 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.093 | 103414.1549 | 304591.2276 | 30.45 | 114.2
88335 | 2021-04-09 14:36 | 11.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6409 | μmol/L | 11.3086 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.092 | 103391.1698 | 304574.5358 | 30.45 | 114.2
88344 | 2021-04-09 14:36 | 11.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6646 | μmol/L | 11.3086 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.091 | 103373.7629 | 304567.0412 | 30.45 | 114.2
88353 | 2021-04-09 14:37 | 12.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.7038 | μmol/L | 11.3147 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.087 | 103365.8411 | 304563.5865 | 30.45 | 114.2
88362 | 2021-04-09 14:37 | 12.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6483 | μmol/L | 11.3208 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.087 | 103364.3221 | 304556.8332 | 30.45 | 114.2
88371 | 2021-04-09 14:37 | 12.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6246 | μmol/L | 11.3208 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.088 | 103355.1589 | 304552.9302 | 30.45 | 114.2
88380 | 2021-04-09 14:38 | 13.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.6401 | μmol/L | 11.327 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.085 | 103352.799 | 304544.1489 | 30.45 | 114.2
88389 | 2021-04-09 14:38 | 13.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5964 | μmol/L | 11.3392 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.082 | 103339.7782 | 304532.9585 | 30.45 | 114.2
88398 | 2021-04-09 14:38 | 13.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.4779 | μmol/L | 11.3392 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.087 | 103331.0822 | 304523.8067 | 30.45 | 114.2
88407 | 2021-04-09 14:39 | 14.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5253 | μmol/L | 11.3392 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.085 | 103327.3563 | 304519.1503 | 30.45 | 114.2
88416 | 2021-04-09 14:39 | 14.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5209 | μmol/L | 11.3454 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.083 | 103307.5077 | 304514.2048 | 30.45 | 114.2
88425 | 2021-04-09 14:39 | 14.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5365 | μmol/L | 11.3515 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.08 | 103302.2589 | 304506.5743 | 30.45 | 114.2
88434 | 2021-04-09 14:40 | 15.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5009 | μmol/L | 11.3576 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.079 | 103293.7177 | 304501.5597 | 30.45 | 114.2
88443 | 2021-04-09 14:40 | 15.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5402 | μmol/L | 11.3638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.075 | 103290.6196 | 304502.8269 | 30.45 | 114.2
88452 | 2021-04-09 14:40 | 15.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.5165 | μmol/L | 11.3638 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.076 | 103289.8022 | 304486.2958 | 30.45 | 114.2
88461 | 2021-04-09 14:41 | 16.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.2871 | μmol/L | 11.376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.081 | 103291.8565 | 304478.3987 | 30.45 | 114.2
88470 | 2021-04-09 14:41 | 16.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.3227 | μmol/L | 11.3699 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.082 | 103299.445 | 304477.4455 | 30.45 | 114.2
88479 | 2021-04-09 14:41 | 16.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1607 | μmol/L | 11.3821 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.084 | 103308.7541 | 304466.1464 | 30.45 | 114.2
88488 | 2021-04-09 14:42 | 17.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.1844 | μmol/L | 11.3821 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.083 | 103313.7033 | 304450.1799 | 30.45 | 114.2
88497 | 2021-04-09 14:42 | 17.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.0854 | μmol/L | 11.3883 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.085 | 103324.8852 | 304453.1219 | 30.45 | 114.2
88506 | 2021-04-09 14:42 | 17.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 278.058 | μmol/L | 11.3883 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.086 | 103333.4419 | 304427.5739 | 30.45 | 114.2
88515 | 2021-04-09 14:43 | 18.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.8925 | μmol/L | 11.3883 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.093 | 103339.5311 | 304432.2215 | 30.45 | 114.2
88524 | 2021-04-09 14:43 | 18.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.8608 | μmol/L | 11.3944 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.092 | 103345.4359 | 304418.0133 | 30.45 | 114.2
88533 | 2021-04-09 14:43 | 18.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7663 | μmol/L | 11.3944 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.096 | 103351.506 | 304405.6365 | 30.45 | 114.2
88542 | 2021-04-09 14:44 | 19.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.7464 | μmol/L | 11.3944 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.097 | 103355.3189 | 304398.5851 | 30.45 | 114.2
88551 | 2021-04-09 14:44 | 19.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.6594 | μmol/L | 11.4067 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.096 | 103368.3555 | 304393.3651 | 30.45 | 114.2
88560 | 2021-04-09 14:44 | 19.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.5886 | μmol/L | 11.4067 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.099 | 103373.4059 | 304392.9036 | 30.45 | 114.2
88569 | 2021-04-09 14:45 | 20.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.4116 | μmol/L | 11.4128 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.104 | 103379.6828 | 304387.9816 | 30.45 | 114.2
88578 | 2021-04-09 14:45 | 20.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3799 | μmol/L | 11.4189 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.103 | 103385.3159 | 304381.7797 | 30.45 | 114.2
88587 | 2021-04-09 14:45 | 20.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3799 | μmol/L | 11.4189 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.103 | 103389.4343 | 304376.2991 | 30.45 | 114.2
88596 | 2021-04-09 14:46 | 21.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3799 | μmol/L | 11.4189 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.103 | 103383.1581 | 304360.2611 | 30.45 | 114.2
88605 | 2021-04-09 14:46 | 21.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.2775 | μmol/L | 11.4251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.105 | 103375.5123 | 304350.7382 | 30.45 | 114.2
88614 | 2021-04-09 14:46 | 21.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3521 | μmol/L | 11.4251 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.102 | 103361.4711 | 304352.6288 | 30.45 | 114.2
88623 | 2021-04-09 14:47 | 22.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.2026 | μmol/L | 11.4312 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.106 | 103361.5417 | 304330.8622 | 30.45 | 114.2
88632 | 2021-04-09 14:47 | 22.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.4346 | μmol/L | 11.4312 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.096 | 103357.2632 | 304334.8736 | 30.45 | 114.2
88641 | 2021-04-09 14:47 | 22.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3086 | μmol/L | 11.4373 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.099 | 103346.1616 | 304315.6534 | 30.45 | 114.2
88650 | 2021-04-09 14:48 | 23.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3638 | μmol/L | 11.4312 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.099 | 103339.8055 | 304311.1935 | 30.45 | 114.2
88659 | 2021-04-09 14:48 | 23.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.2299 | μmol/L | 11.4434 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.1 | 103331.9484 | 304312.9241 | 30.45 | 114.2
88668 | 2021-04-09 14:48 | 23.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.4186 | μmol/L | 11.4434 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.092 | 103327.8893 | 304298.5705 | 30.45 | 114.2
88677 | 2021-04-09 14:49 | 24.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.3006 | μmol/L | 11.4434 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.097 | 103329.483 | 304281.1325 | 30.45 | 114.2
88686 | 2021-04-09 14:49 | 24.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.1196 | μmol/L | 11.4557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.1 | 103343.8055 | 304272.9734 | 30.45 | 114.2
88695 | 2021-04-09 14:49 | 24.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.0409 | μmol/L | 11.4618 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.101 | 103354.0191 | 304280.1431 | 30.45 | 114.2
88704 | 2021-04-09 14:50 | 25.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.0569 | μmol/L | 11.4496 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.105 | 103359.6506 | 304275.4427 | 30.45 | 114.2
88713 | 2021-04-09 14:50 | 25.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 277.0253 | μmol/L | 11.4557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.104 | 103373.7954 | 304270.3045 | 30.45 | 114.2
88722 | 2021-04-09 14:50 | 25.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.7113 | μmol/L | 11.4618 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.115 | 103381.3523 | 304262.4323 | 30.45 | 114.2
88731 | 2021-04-09 14:51 | 26.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.7428 | μmol/L | 11.4557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.116 | 103385.3464 | 304239.6392 | 30.45 | 114.2
88740 | 2021-04-09 14:51 | 26.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.6797 | μmol/L | 11.468 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.114 | 103392.4573 | 304234.7717 | 30.45 | 114.2
88749 | 2021-04-09 14:51 | 26.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.6562 | μmol/L | 11.468 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.115 | 103403.1109 | 304228.3481 | 30.45 | 114.2
88758 | 2021-04-09 14:52 | 27.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.6562 | μmol/L | 11.468 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.115 | 103405.7231 | 304229.6984 | 30.45 | 114.2
88767 | 2021-04-09 14:52 | 27.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.4639 | μmol/L | 11.4741 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.121 | 103411.3955 | 304231.5494 | 30.45 | 114.2
88776 | 2021-04-09 14:52 | 27.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.4051 | μmol/L | 11.4802 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.121 | 103411.8942 | 304205.0109 | 30.45 | 114.2
88785 | 2021-04-09 14:53 | 28.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.3581 | μmol/L | 11.4802 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.123 | 103418.3014 | 304210.3279 | 30.45 | 114.2
88794 | 2021-04-09 14:53 | 28.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.3384 | μmol/L | 11.4802 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.124 | 103428.0008 | 304203.7117 | 30.45 | 114.2
88803 | 2021-04-09 14:53 | 28.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.3426 | μmol/L | 11.4741 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.126 | 103418.3106 | 304182.3331 | 30.45 | 114.2
88812 | 2021-04-09 14:54 | 29.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.2877 | μmol/L | 11.4802 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.126 | 103425.4605 | 304187.0424 | 30.45 | 114.2
88821 | 2021-04-09 14:54 | 29.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.2445 | μmol/L | 11.4802 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.128 | 103439.2903 | 304187.0524 | 30.45 | 114.2
88830 | 2021-04-09 14:54 | 29.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.1778 | μmol/L | 11.4925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.126 | 103432.3644 | 304162.6803 | 30.45 | 114.2
88839 | 2021-04-09 14:55 | 30.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.2092 | μmol/L | 11.4864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.127 | 103433.4923 | 304169.2269 | 30.45 | 114.2
88848 | 2021-04-09 14:55 | 30.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.0994 | μmol/L | 11.4986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.127 | 103438.7135 | 304161.4409 | 30.45 | 114.2
88857 | 2021-04-09 14:55 | 30.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.1308 | μmol/L | 11.4925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.128 | 103429.5335 | 304140.6121 | 30.45 | 114.2
88866 | 2021-04-09 14:56 | 31.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.9037 | μmol/L | 11.5047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.133 | 103429.8766 | 304145.3576 | 30.45 | 114.2
88875 | 2021-04-09 14:56 | 31.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.99 | μmol/L | 11.4925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.134 | 103432.2318 | 304142.5312 | 30.45 | 114.2
88884 | 2021-04-09 14:56 | 31.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.9821 | μmol/L | 11.4986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.132 | 103428.6872 | 304127.729 | 30.45 | 114.2
88893 | 2021-04-09 14:57 | 32.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.0525 | μmol/L | 11.4986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.129 | 103421.5239 | 304118.2354 | 30.45 | 114.2
88902 | 2021-04-09 14:57 | 32.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.021 | μmol/L | 11.5047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.128 | 103417.5904 | 304117.6037 | 30.45 | 114.2
88911 | 2021-04-09 14:57 | 32.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 276.0525 | μmol/L | 11.4986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.129 | 103433.9651 | 304115.2325 | 30.45 | 114.2
88920 | 2021-04-09 14:58 | 33.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.8569 | μmol/L | 11.5047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.135 | 103433.3374 | 304102.8644 | 30.45 | 114.2
88929 | 2021-04-09 14:58 | 33.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.8489 | μmol/L | 11.5109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.133 | 103433.1038 | 304091.7899 | 30.45 | 114.2
88938 | 2021-04-09 14:58 | 33.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.7631 | μmol/L | 11.5047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.139 | 103442.8645 | 304086.5286 | 30.45 | 114.2
88947 | 2021-04-09 14:59 | 34.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.7317 | μmol/L | 11.5109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.138 | 103442.1308 | 304091.7392 | 30.45 | 114.2
88956 | 2021-04-09 14:59 | 34.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.8489 | μmol/L | 11.5109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.133 | 103447.7735 | 304079.0198 | 30.45 | 114.2
88965 | 2021-04-09 14:59 | 34.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.7472 | μmol/L | 11.517 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.135 | 103447.7979 | 304070.9817 | 30.45 | 114.2
88974 | 2021-04-09 15:00 | 35.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.6769 | μmol/L | 11.517 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.138 | 103448.9044 | 304063.1993 | 30.45 | 114.2
88983 | 2021-04-09 15:00 | 35.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.5752 | μmol/L | 11.5231 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.14 | 103449.3743 | 304063.6711 | 30.45 | 114.2
88992 | 2021-04-09 15:00 | 35.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.5284 | μmol/L | 11.5231 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.142 | 103455.9269 | 304056.8272 | 30.45 | 114.2
89001 | 2021-04-09 15:01 | 36.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.4034 | μmol/L | 11.5293 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.145 | 103457.4706 | 304051.2074 | 30.45 | 114.2
89010 | 2021-04-09 15:01 | 36.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.4816 | μmol/L | 11.5231 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.144 | 103451.1315 | 304042.958 | 30.45 | 114.2
89019 | 2021-04-09 15:01 | 36.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.3253 | μmol/L | 11.5354 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.146 | 103455.7726 | 304042.6438 | 30.45 | 114.2
89028 | 2021-04-09 15:02 | 37.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.4268 | μmol/L | 11.5293 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.144 | 103460.9728 | 304025.8602 | 30.45 | 114.2
89037 | 2021-04-09 15:02 | 37.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.3487 | μmol/L | 11.5354 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.145 | 103463.9899 | 304017.1798 | 30.45 | 114.2
89046 | 2021-04-09 15:02 | 37.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.2785 | μmol/L | 11.5354 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.148 | 103467.6666 | 304009.4348 | 30.45 | 114.2
89055 | 2021-04-09 15:03 | 38.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.2083 | μmol/L | 11.5354 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.151 | 103481.6672 | 304006.8618 | 30.45 | 114.2
89064 | 2021-04-09 15:03 | 38.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.2004 | μmol/L | 11.5415 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.149 | 103485.9179 | 304007.1203 | 30.45 | 114.2
89073 | 2021-04-09 15:03 | 38.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.1148 | μmol/L | 11.5354 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.155 | 103526.6186 | 303995.7193 | 30.45 | 114.2
89082 | 2021-04-09 15:04 | 39.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.0914 | μmol/L | 11.5354 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.156 | 103532.8523 | 303997.7955 | 30.45 | 114.2
89091 | 2021-04-09 15:04 | 39.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9588 | μmol/L | 11.5477 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.157 | 103537.79 | 303992.5291 | 30.45 | 114.2
89100 | 2021-04-09 15:04 | 39.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9433 | μmol/L | 11.5415 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.16 | 103540.8224 | 303990.673 | 30.45 | 114.2
89109 | 2021-04-09 15:05 | 40.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.912 | μmol/L | 11.5477 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.159 | 103540.7327 | 303988.8358 | 30.45 | 114.2
89118 | 2021-04-09 15:05 | 40.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9433 | μmol/L | 11.5415 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.16 | 103536.6368 | 303977.485 | 30.45 | 114.2
89127 | 2021-04-09 15:05 | 40.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9354 | μmol/L | 11.5477 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.158 | 103522.4011 | 303977.2047 | 30.45 | 114.2
89136 | 2021-04-09 15:06 | 41.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9354 | μmol/L | 11.5477 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.158 | 103531.0442 | 303965.4029 | 30.45 | 114.2
89145 | 2021-04-09 15:06 | 41.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 275.0601 | μmol/L | 11.5415 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.155 | 103519.7626 | 303948.7946 | 30.45 | 114.2
89154 | 2021-04-09 15:06 | 41.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9976 | μmol/L | 11.5538 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.153 | 103510.4176 | 303942.5913 | 30.45 | 114.2
89163 | 2021-04-09 15:07 | 42.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9196 | μmol/L | 11.5599 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.154 | 103502.9678 | 303948.9441 | 30.45 | 114.2
89172 | 2021-04-09 15:07 | 42.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9897 | μmol/L | 11.5599 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.151 | 103507.4828 | 303938.3003 | 30.45 | 114.2
89181 | 2021-04-09 15:07 | 42.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.9196 | μmol/L | 11.5599 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.154 | 103517.0818 | 303933.7395 | 30.45 | 114.2
89190 | 2021-04-09 15:08 | 43.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8495 | μmol/L | 11.5599 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.157 | 103516.1551 | 303915.4852 | 30.45 | 114.2
89199 | 2021-04-09 15:08 | 43.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.7949 | μmol/L | 11.566 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.157 | 103524.9504 | 303923.9427 | 30.45 | 114.2
89208 | 2021-04-09 15:08 | 43.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.8028 | μmol/L | 11.5599 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.159 | 103513.4613 | 303917.5636 | 30.45 | 114.2
89217 | 2021-04-09 15:09 | 44.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.6782 | μmol/L | 11.566 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.162 | 103527.1198 | 303922.0866 | 30.45 | 114.2
89226 | 2021-04-09 15:09 | 44.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.7482 | μmol/L | 11.566 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.159 | 103532.3218 | 303902.2747 | 30.45 | 114.2
89235 | 2021-04-09 15:09 | 44.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.6082 | μmol/L | 11.566 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.165 | 103536.5165 | 303900.126 | 30.45 | 114.2
89244 | 2021-04-09 15:10 | 45.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.7095 | μmol/L | 11.5599 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.163 | 103548.9502 | 303890.4102 | 30.45 | 114.2
89253 | 2021-04-09 15:10 | 45.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.6082 | μmol/L | 11.566 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.165 | 103545.9296 | 303882.0992 | 30.45 | 114.2
89262 | 2021-04-09 15:10 | 45.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.4604 | μmol/L | 11.5722 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.169 | 103553.7326 | 303879.621 | 30.45 | 114.2
89271 | 2021-04-09 15:11 | 46.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.4371 | μmol/L | 11.5722 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.17 | 103550.655 | 303872.5442 | 30.45 | 114.2
89280 | 2021-04-09 15:11 | 46.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.3668 | μmol/L | 11.5906 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.166 | 103552.5026 | 303861.7313 | 30.45 | 114.2
89289 | 2021-04-09 15:11 | 46.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.4059 | μmol/L | 11.5783 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.169 | 103548.5093 | 303860.1187 | 30.45 | 114.2
89298 | 2021-04-09 15:12 | 47.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.3281 | μmol/L | 11.5844 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.17 | 103548.3127 | 303847.322 | 30.45 | 114.2
89307 | 2021-04-09 15:12 | 47.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.4604 | μmol/L | 11.5722 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.169 | 103548.0397 | 303840.1556 | 30.45 | 114.2
89316 | 2021-04-09 15:12 | 47.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.4371 | μmol/L | 11.5722 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.17 | 103538.8728 | 303841.2968 | 30.45 | 114.2
89325 | 2021-04-09 15:13 | 48.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.3826 | μmol/L | 11.5783 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.17 | 103534.7497 | 303835.532 | 30.45 | 114.2
89334 | 2021-04-09 15:13 | 48.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.3281 | μmol/L | 11.5844 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.17 | 103538.761 | 303834.8574 | 30.45 | 114.2
89343 | 2021-04-09 15:13 | 48.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.3514 | μmol/L | 11.5844 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.169 | 103540.4412 | 303829.9625 | 30.45 | 114.2
89352 | 2021-04-09 15:14 | 49.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.2815 | μmol/L | 11.5844 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.172 | 103533.9792 | 303825.8502 | 30.45 | 114.2
89361 | 2021-04-09 15:14 | 49.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.227 | μmol/L | 11.5906 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.172 | 103535.6954 | 303811.9887 | 30.45 | 114.2
89370 | 2021-04-09 15:14 | 49.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.165 | μmol/L | 11.5844 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.177 | 103537.8846 | 303797.9981 | 30.45 | 114.2
89379 | 2021-04-09 15:15 | 50.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.2037 | μmol/L | 11.5906 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.173 | 103542.8493 | 303787.8408 | 30.45 | 114.2
89388 | 2021-04-09 15:15 | 50.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.1106 | μmol/L | 11.5906 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.177 | 103553.2364 | 303800.7206 | 30.45 | 114.2
89397 | 2021-04-09 15:15 | 50.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.1106 | μmol/L | 11.5906 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.177 | 103560.9796 | 303786.4379 | 30.45 | 114.2
89406 | 2021-04-09 15:16 | 51.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.0408 | μmol/L | 11.5906 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.18 | 103566.3193 | 303784.1777 | 30.45 | 114.2
89415 | 2021-04-09 15:16 | 51.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 274.0873 | μmol/L | 11.5906 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.178 | 103576.1841 | 303781.4166 | 30.45 | 114.2
89424 | 2021-04-09 15:16 | 51.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.9864 | μmol/L | 11.5967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.18 | 103580.9916 | 303766.9858 | 30.45 | 114.2
89433 | 2021-04-09 15:17 | 52.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.87 | μmol/L | 11.5967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.185 | 103581.1771 | 303766.1981 | 30.45 | 114.2
89442 | 2021-04-09 15:17 | 52.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.87 | μmol/L | 11.5967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.185 | 103588.6561 | 303754.1831 | 30.45 | 114.2
89451 | 2021-04-09 15:17 | 52.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.8314 | μmol/L | 11.5906 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.189 | 103594.2122 | 303750.0793 | 30.45 | 114.2
89460 | 2021-04-09 15:18 | 53.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.7459 | μmol/L | 11.6028 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.188 | 103600.1677 | 303743.9129 | 30.45 | 114.2
89469 | 2021-04-09 15:18 | 53.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.8003 | μmol/L | 11.5967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.188 | 103605.3452 | 303736.9314 | 30.45 | 114.2
89478 | 2021-04-09 15:18 | 53.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.6841 | μmol/L | 11.5967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.193 | 103618.5803 | 303736.1654 | 30.45 | 114.2
89487 | 2021-04-09 15:19 | 54.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.5833 | μmol/L | 11.6028 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.195 | 103623.671 | 303727.7692 | 30.45 | 114.2
89496 | 2021-04-09 15:19 | 54.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.4361 | μmol/L | 11.609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.199 | 103628.0326 | 303717.4204 | 30.45 | 114.2
89505 | 2021-04-09 15:19 | 54.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.4593 | μmol/L | 11.609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.198 | 103646.7265 | 303721.6789 | 30.45 | 114.2
89514 | 2021-04-09 15:20 | 55.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.3896 | μmol/L | 11.609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.201 | 103647.9233 | 303715.956 | 30.45 | 114.2
89523 | 2021-04-09 15:20 | 55.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.3432 | μmol/L | 11.609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.203 | 103647.8817 | 303709.0574 | 30.45 | 114.2
89532 | 2021-04-09 15:20 | 55.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.2426 | μmol/L | 11.6151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.205 | 103658.526 | 303708.1912 | 30.45 | 114.2
89541 | 2021-04-09 15:21 | 56.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.32 | μmol/L | 11.609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.204 | 103660.2417 | 303699.0091 | 30.45 | 114.2
89550 | 2021-04-09 15:21 | 56.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.2968 | μmol/L | 11.609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.205 | 103663.783 | 303696.0731 | 30.45 | 114.2
89559 | 2021-04-09 15:21 | 56.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.1962 | μmol/L | 11.6151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.207 | 103672.7031 | 303691.5884 | 30.45 | 114.2
89568 | 2021-04-09 15:22 | 57.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.0956 | μmol/L | 11.6212 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.209 | 103665.4113 | 303679.2553 | 30.45 | 114.2
89577 | 2021-04-09 15:22 | 57.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 273.173 | μmol/L | 11.6151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.208 | 103669.2397 | 303678.3979 | 30.45 | 114.2