## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 15:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
88030 | 2021-04-09 14:25 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.5566 | μmol/L | 11.0084 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.756 | 158458.5722 | 299155.1754 | 59.9307 | 49.4
88039 | 2021-04-09 14:25 | 0.32769 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.697 | μmol/L | 11.0146 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.748 | 158435.3426 | 299149.5019 | 59.9307 | 49.4
88048 | 2021-04-09 14:26 | 0.66077 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7628 | μmol/L | 11.0208 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.743 | 158400.5375 | 299183.5809 | 59.9307 | 49.4
88057 | 2021-04-09 14:26 | 0.99449 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7864 | μmol/L | 11.0392 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.735 | 158350.2299 | 299152.7421 | 59.9307 | 49.4
88066 | 2021-04-09 14:26 | 1.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7528 | μmol/L | 11.0454 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.734 | 158328.3523 | 299169.1871 | 59.9307 | 49.4
88075 | 2021-04-09 14:27 | 1.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7939 | μmol/L | 11.0515 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.73 | 158314.9781 | 299164.0755 | 59.9307 | 49.4
88084 | 2021-04-09 14:27 | 1.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8685 | μmol/L | 11.0515 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.727 | 158292.2014 | 299169.8389 | 59.9307 | 49.4
88093 | 2021-04-09 14:27 | 2.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9843 | μmol/L | 11.0577 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.72 | 158249.7024 | 299165.6868 | 59.9307 | 49.4
88102 | 2021-04-09 14:28 | 2.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9085 | μmol/L | 11.0762 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.716 | 158219.2882 | 299154.118 | 59.9307 | 49.4
88111 | 2021-04-09 14:28 | 2.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8414 | μmol/L | 11.0885 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.714 | 158201.5333 | 299156.902 | 59.9307 | 49.4
88120 | 2021-04-09 14:28 | 3.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8911 | μmol/L | 11.0885 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.712 | 158185.436 | 299128.8702 | 59.9307 | 49.4
88129 | 2021-04-09 14:29 | 3.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9572 | μmol/L | 11.0946 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.707 | 158168.269 | 299152.069 | 59.9307 | 49.4
88138 | 2021-04-09 14:29 | 3.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8241 | μmol/L | 11.1008 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.71 | 158164.2181 | 299156.7167 | 59.9307 | 49.4
88147 | 2021-04-09 14:29 | 4.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9064 | μmol/L | 11.1131 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.702 | 158122.883 | 299148.5531 | 59.9307 | 49.4
88156 | 2021-04-09 14:30 | 4.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9227 | μmol/L | 11.1193 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.699 | 158103.5709 | 299135.9884 | 59.9307 | 49.4
88165 | 2021-04-09 14:30 | 4.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8394 | μmol/L | 11.1254 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.7 | 158090.787 | 299147.1098 | 59.9307 | 49.4
88174 | 2021-04-09 14:30 | 5.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9639 | μmol/L | 11.1254 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.695 | 158073.7071 | 299120.5276 | 59.9307 | 49.4
88183 | 2021-04-09 14:31 | 5.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.739 | μmol/L | 11.1439 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.697 | 158077.7125 | 299116.1622 | 59.9307 | 49.4
88192 | 2021-04-09 14:31 | 5.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.83 | μmol/L | 11.15 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.691 | 158032.0945 | 299111.5782 | 59.9307 | 49.4
88201 | 2021-04-09 14:31 | 6.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8712 | μmol/L | 11.1562 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.687 | 158008.9239 | 299118.1263 | 59.9307 | 49.4
88210 | 2021-04-09 14:32 | 6.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9708 | μmol/L | 11.1562 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.683 | 157982.1447 | 299088.2998 | 59.9307 | 49.4
88219 | 2021-04-09 14:32 | 6.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.9708 | μmol/L | 11.1562 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.683 | 157962.8635 | 299099.6653 | 59.9307 | 49.4
88228 | 2021-04-09 14:32 | 7.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8705 | μmol/L | 11.1747 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.68 | 157956.1563 | 299106.414 | 59.9307 | 49.4
88237 | 2021-04-09 14:33 | 7.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8954 | μmol/L | 11.1747 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.679 | 157946.46 | 299096.7102 | 59.9307 | 49.4
88246 | 2021-04-09 14:33 | 7.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8121 | μmol/L | 11.1808 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.68 | 157934.9586 | 299085.5848 | 59.9307 | 49.4
88255 | 2021-04-09 14:33 | 8.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7787 | μmol/L | 11.187 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.679 | 157921.7271 | 299089.3642 | 59.9307 | 49.4
88264 | 2021-04-09 14:34 | 8.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.82 | μmol/L | 11.1931 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.675 | 157904.2424 | 299069.9834 | 59.9307 | 49.4
88273 | 2021-04-09 14:34 | 8.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8364 | μmol/L | 11.1993 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.672 | 157889.1653 | 299069.5436 | 59.9307 | 49.4
88282 | 2021-04-09 14:34 | 9.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.8364 | μmol/L | 11.1993 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.672 | 157868.9635 | 299065.1835 | 59.9307 | 49.4
88291 | 2021-04-09 14:35 | 9.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.7362 | μmol/L | 11.2178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.669 | 157851.3758 | 299062.552 | 59.9307 | 49.4
88300 | 2021-04-09 14:35 | 9.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6615 | μmol/L | 11.2178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.672 | 157866.7133 | 299072.9252 | 59.9307 | 49.4
88309 | 2021-04-09 14:35 | 10.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.6864 | μmol/L | 11.2178 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.671 | 157865.473 | 299066.2639 | 59.9307 | 49.4
88318 | 2021-04-09 14:36 | 10.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.653 | μmol/L | 11.2239 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.67 | 157861.4197 | 299047.0127 | 59.9307 | 49.4
88327 | 2021-04-09 14:36 | 10.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.5699 | μmol/L | 11.2301 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.671 | 157867.0967 | 299043.2843 | 59.9307 | 49.4
88336 | 2021-04-09 14:36 | 11.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.4952 | μmol/L | 11.2301 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.674 | 157869.6893 | 299051.1923 | 59.9307 | 49.4
88345 | 2021-04-09 14:37 | 11.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.5699 | μmol/L | 11.2301 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.671 | 157856.2583 | 299015.5146 | 59.9307 | 49.4
88354 | 2021-04-09 14:37 | 11.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3207 | μmol/L | 11.2486 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.674 | 157853.1271 | 299027.8349 | 59.9307 | 49.4
88363 | 2021-04-09 14:37 | 12.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.4037 | μmol/L | 11.2424 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.673 | 157839.9272 | 299010.9366 | 59.9307 | 49.4
88372 | 2021-04-09 14:38 | 12.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2873 | μmol/L | 11.2547 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.673 | 157845.4452 | 299002.7017 | 59.9307 | 49.4
88381 | 2021-04-09 14:38 | 12.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.3286 | μmol/L | 11.2609 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.669 | 157831.4182 | 299000.2597 | 59.9307 | 49.4
88390 | 2021-04-09 14:38 | 13.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2456 | μmol/L | 11.267 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.67 | 157837.151 | 299013.0601 | 59.9307 | 49.4
88399 | 2021-04-09 14:39 | 13.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1959 | μmol/L | 11.267 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.672 | 157831.9669 | 299010.0204 | 59.9307 | 49.4
88408 | 2021-04-09 14:39 | 13.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0797 | μmol/L | 11.2793 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.672 | 157826.2713 | 298998.7907 | 59.9307 | 49.4
88417 | 2021-04-09 14:39 | 14.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.2123 | μmol/L | 11.2732 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.669 | 157822.5374 | 298994.6391 | 59.9307 | 49.4
88426 | 2021-04-09 14:40 | 14.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.1294 | μmol/L | 11.2793 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.67 | 157817.1843 | 298973.6938 | 59.9307 | 49.4
88435 | 2021-04-09 14:40 | 14.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0216 | μmol/L | 11.2855 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.672 | 157800.9777 | 298957.2325 | 59.9307 | 49.4
88444 | 2021-04-09 14:40 | 15.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 290.0464 | μmol/L | 11.2855 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.671 | 157816.8439 | 298967.4024 | 59.9307 | 49.4
88453 | 2021-04-09 14:41 | 15.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.9635 | μmol/L | 11.2917 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.672 | 157819.74 | 298975.593 | 59.9307 | 49.4
88462 | 2021-04-09 14:41 | 15.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.9139 | μmol/L | 11.2917 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.674 | 157826.6157 | 298961.683 | 59.9307 | 49.4
88471 | 2021-04-09 14:41 | 16.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.8806 | μmol/L | 11.2978 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.673 | 157821.3824 | 298949.6991 | 59.9307 | 49.4
88480 | 2021-04-09 14:42 | 16.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.831 | μmol/L | 11.2978 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.675 | 157828.2996 | 298938.1854 | 59.9307 | 49.4
88489 | 2021-04-09 14:42 | 16.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.7482 | μmol/L | 11.304 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.676 | 157830.6692 | 298931.4258 | 59.9307 | 49.4
88498 | 2021-04-09 14:42 | 17.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6406 | μmol/L | 11.3101 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.678 | 157839.6234 | 298947.8659 | 59.9307 | 49.4
88507 | 2021-04-09 14:43 | 17.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.6322 | μmol/L | 11.3163 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.676 | 157848.7825 | 298951.5848 | 59.9307 | 49.4
88516 | 2021-04-09 14:43 | 17.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.5662 | μmol/L | 11.3101 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.681 | 157863.4646 | 298944.0435 | 59.9307 | 49.4
88525 | 2021-04-09 14:43 | 18.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.318 | μmol/L | 11.3286 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.684 | 157869.2324 | 298931.4462 | 59.9307 | 49.4
88534 | 2021-04-09 14:44 | 18.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2932 | μmol/L | 11.3286 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.685 | 157881.0124 | 298931.2807 | 59.9307 | 49.4
88543 | 2021-04-09 14:44 | 18.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.2932 | μmol/L | 11.3286 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.685 | 157878.803 | 298904.6034 | 59.9307 | 49.4
88552 | 2021-04-09 14:44 | 19.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1611 | μmol/L | 11.3348 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.688 | 157898.7022 | 298917.5419 | 59.9307 | 49.4
88561 | 2021-04-09 14:45 | 19.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1858 | μmol/L | 11.3348 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.687 | 157888.7119 | 298892.5458 | 59.9307 | 49.4
88570 | 2021-04-09 14:45 | 19.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.029 | μmol/L | 11.3409 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.691 | 157902.0706 | 298890.723 | 59.9307 | 49.4
88579 | 2021-04-09 14:45 | 20.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 289.1116 | μmol/L | 11.3348 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.69 | 157901.0552 | 298887.8352 | 59.9307 | 49.4
88588 | 2021-04-09 14:46 | 20.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8639 | μmol/L | 11.3532 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.693 | 157905.5925 | 298887.9915 | 59.9307 | 49.4
88597 | 2021-04-09 14:46 | 20.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9133 | μmol/L | 11.3532 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.691 | 157896.6882 | 298873.2396 | 59.9307 | 49.4
88606 | 2021-04-09 14:46 | 21.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8556 | μmol/L | 11.3594 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.691 | 157889.9379 | 298877.8418 | 59.9307 | 49.4
88615 | 2021-04-09 14:47 | 21.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.9381 | μmol/L | 11.3532 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.69 | 157893.1115 | 298866.4399 | 59.9307 | 49.4
88624 | 2021-04-09 14:47 | 21.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7731 | μmol/L | 11.3655 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.692 | 157874.6998 | 298852.0347 | 59.9307 | 49.4
88633 | 2021-04-09 14:47 | 22.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.8308 | μmol/L | 11.3594 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.692 | 157877.597 | 298864.0536 | 59.9307 | 49.4
88642 | 2021-04-09 14:48 | 22.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7978 | μmol/L | 11.3655 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.691 | 157866.1851 | 298877.8509 | 59.9307 | 49.4
88651 | 2021-04-09 14:48 | 22.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6906 | μmol/L | 11.3717 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.693 | 157854.0556 | 298865.8917 | 59.9307 | 49.4
88660 | 2021-04-09 14:48 | 23.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7317 | μmol/L | 11.3779 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.689 | 157846.0448 | 298840.9482 | 59.9307 | 49.4
88669 | 2021-04-09 14:49 | 23.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.7647 | μmol/L | 11.3717 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.69 | 157847.0028 | 298828.1512 | 59.9307 | 49.4
88678 | 2021-04-09 14:49 | 23.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6576 | μmol/L | 11.3779 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.692 | 157849.2999 | 298837.7759 | 59.9307 | 49.4
88687 | 2021-04-09 14:49 | 24.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.74 | μmol/L | 11.3717 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.691 | 157846.6089 | 298835.9105 | 59.9307 | 49.4
88696 | 2021-04-09 14:50 | 24.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.6493 | μmol/L | 11.384 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.69 | 157841.6186 | 298820.982 | 59.9307 | 49.4
88705 | 2021-04-09 14:50 | 24.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.5175 | μmol/L | 11.3902 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.693 | 157853.5648 | 298837.9853 | 59.9307 | 49.4
88714 | 2021-04-09 14:50 | 25.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.5999 | μmol/L | 11.384 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.692 | 157843.3046 | 298806.979 | 59.9307 | 49.4
88723 | 2021-04-09 14:51 | 25.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.4187 | μmol/L | 11.3902 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.697 | 157849.158 | 298798.6001 | 59.9307 | 49.4
88732 | 2021-04-09 14:51 | 25.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.4928 | μmol/L | 11.3902 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.694 | 157850.5521 | 298797.7862 | 59.9307 | 49.4
88741 | 2021-04-09 14:51 | 26.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3774 | μmol/L | 11.4025 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.694 | 157854.1324 | 298788.1124 | 59.9307 | 49.4
88750 | 2021-04-09 14:52 | 26.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.4351 | μmol/L | 11.3963 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.694 | 157844.9298 | 298810.3696 | 59.9307 | 49.4
88759 | 2021-04-09 14:52 | 26.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.2211 | μmol/L | 11.4086 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.698 | 157837.0429 | 298789.4283 | 59.9307 | 49.4
88768 | 2021-04-09 14:52 | 27.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3281 | μmol/L | 11.4025 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.696 | 157842.4786 | 298771.9445 | 59.9307 | 49.4
88777 | 2021-04-09 14:53 | 27.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.3034 | μmol/L | 11.4025 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.697 | 157845.2761 | 298763.8546 | 59.9307 | 49.4
88786 | 2021-04-09 14:53 | 27.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1964 | μmol/L | 11.4086 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.699 | 157813.7622 | 298749.976 | 59.9307 | 49.4
88795 | 2021-04-09 14:53 | 28.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1141 | μmol/L | 11.4148 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.7 | 157831.1359 | 298770.6227 | 59.9307 | 49.4
88804 | 2021-04-09 14:54 | 28.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1964 | μmol/L | 11.4086 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.699 | 157831.4366 | 298744.846 | 59.9307 | 49.4
88813 | 2021-04-09 14:54 | 28.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1964 | μmol/L | 11.4086 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.699 | 157820.526 | 298725.5685 | 59.9307 | 49.4
88822 | 2021-04-09 14:54 | 29.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1635 | μmol/L | 11.4148 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.698 | 157829.8933 | 298755.8408 | 59.9307 | 49.4
88831 | 2021-04-09 14:55 | 29.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.0648 | μmol/L | 11.4148 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.702 | 157817.1743 | 298723.1848 | 59.9307 | 49.4
88840 | 2021-04-09 14:55 | 29.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.1717 | μmol/L | 11.4086 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.7 | 157832.2873 | 298738.0572 | 59.9307 | 49.4
88849 | 2021-04-09 14:55 | 30.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.0566 | μmol/L | 11.421 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.7 | 157825.1394 | 298724.994 | 59.9307 | 49.4
88858 | 2021-04-09 14:56 | 30.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 288.0483 | μmol/L | 11.4271 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.698 | 157822.9274 | 298734.4222 | 59.9307 | 49.4
88867 | 2021-04-09 14:56 | 30.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.9251 | μmol/L | 11.4271 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.703 | 157823.0848 | 298729.8583 | 59.9307 | 49.4
88876 | 2021-04-09 14:56 | 31.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8922 | μmol/L | 11.4333 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.702 | 157821.0664 | 298726.3578 | 59.9307 | 49.4
88885 | 2021-04-09 14:57 | 31.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8429 | μmol/L | 11.4333 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.704 | 157823.9221 | 298742.9541 | 59.9307 | 49.4
88894 | 2021-04-09 14:57 | 31.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8347 | μmol/L | 11.4394 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.702 | 157824.3472 | 298759.8497 | 59.9307 | 49.4
88903 | 2021-04-09 14:57 | 32.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.7608 | μmol/L | 11.4394 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.705 | 157828.5312 | 298744.5433 | 59.9307 | 49.4
88912 | 2021-04-09 14:58 | 32.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.8429 | μmol/L | 11.4333 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.704 | 157840.8221 | 298746.5623 | 59.9307 | 49.4
88921 | 2021-04-09 14:58 | 32.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.7115 | μmol/L | 11.4394 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157835.4311 | 298691.5964 | 59.9307 | 49.4
88930 | 2021-04-09 14:58 | 33.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.654 | μmol/L | 11.4456 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157834.4395 | 298686.8124 | 59.9307 | 49.4
88939 | 2021-04-09 14:59 | 33.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.7115 | μmol/L | 11.4394 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.707 | 157838.0504 | 298667.5183 | 59.9307 | 49.4
88948 | 2021-04-09 14:59 | 33.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.5884 | μmol/L | 11.4394 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.712 | 157833.3496 | 298662.1379 | 59.9307 | 49.4
88957 | 2021-04-09 14:59 | 34.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.5802 | μmol/L | 11.4456 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.71 | 157842.3431 | 298650.1463 | 59.9307 | 49.4
88966 | 2021-04-09 15:00 | 34.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.5227 | μmol/L | 11.4517 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.71 | 157843.8224 | 298652.7493 | 59.9307 | 49.4
88975 | 2021-04-09 15:00 | 34.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.4981 | μmol/L | 11.4517 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.711 | 157853.3779 | 298632.5719 | 59.9307 | 49.4
88984 | 2021-04-09 15:00 | 35.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.3669 | μmol/L | 11.4579 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.714 | 157850.6718 | 298624.0365 | 59.9307 | 49.4
88993 | 2021-04-09 15:01 | 35.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.3669 | μmol/L | 11.4579 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.714 | 157868.9432 | 298634.049 | 59.9307 | 49.4
89002 | 2021-04-09 15:01 | 35.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.244 | μmol/L | 11.4579 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.719 | 157878.0576 | 298629.1135 | 59.9307 | 49.4
89011 | 2021-04-09 15:01 | 36.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.2194 | μmol/L | 11.4579 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.72 | 157881.195 | 298630.6516 | 59.9307 | 49.4
89020 | 2021-04-09 15:02 | 36.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.1129 | μmol/L | 11.4641 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.722 | 157891.692 | 298632.4256 | 59.9307 | 49.4
89029 | 2021-04-09 15:02 | 36.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.0638 | μmol/L | 11.4641 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157899.4397 | 298638.1924 | 59.9307 | 49.4
89038 | 2021-04-09 15:02 | 37.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.0065 | μmol/L | 11.4702 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157899.4591 | 298613.8569 | 59.9307 | 49.4
89047 | 2021-04-09 15:03 | 37.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.0147 | μmol/L | 11.4641 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.726 | 157904.7514 | 298645.0664 | 59.9307 | 49.4
89056 | 2021-04-09 15:03 | 37.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.9246 | μmol/L | 11.4764 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.725 | 157899.4349 | 298648.7209 | 59.9307 | 49.4
89065 | 2021-04-09 15:03 | 38.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 287.0065 | μmol/L | 11.4702 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157886.596 | 298652.8637 | 59.9307 | 49.4
89074 | 2021-04-09 15:04 | 38.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.9737 | μmol/L | 11.4764 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.723 | 157888.3303 | 298643.072 | 59.9307 | 49.4
89083 | 2021-04-09 15:04 | 38.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.8346 | μmol/L | 11.4887 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157886.8339 | 298660.1638 | 59.9307 | 49.4
89092 | 2021-04-09 15:04 | 39.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.8919 | μmol/L | 11.4825 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157885.6248 | 298649.6747 | 59.9307 | 49.4
89101 | 2021-04-09 15:05 | 39.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.9983 | μmol/L | 11.4764 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.722 | 157883.6694 | 298619.2148 | 59.9307 | 49.4
89110 | 2021-04-09 15:05 | 39.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.8101 | μmol/L | 11.4887 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.725 | 157888.7034 | 298637.9998 | 59.9307 | 49.4
89119 | 2021-04-09 15:05 | 40.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.8101 | μmol/L | 11.4887 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.725 | 157876.5877 | 298619.1974 | 59.9307 | 49.4
89128 | 2021-04-09 15:06 | 40.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.8428 | μmol/L | 11.4825 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.726 | 157888.5098 | 298606.7117 | 59.9307 | 49.4
89137 | 2021-04-09 15:06 | 40.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.761 | μmol/L | 11.4887 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.727 | 157887.4518 | 298596.3932 | 59.9307 | 49.4
89146 | 2021-04-09 15:06 | 41.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.7937 | μmol/L | 11.4825 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.728 | 157889.8269 | 298607.5596 | 59.9307 | 49.4
89155 | 2021-04-09 15:07 | 41.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.7119 | μmol/L | 11.4887 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.729 | 157900.4506 | 298583.9838 | 59.9307 | 49.4
89164 | 2021-04-09 15:07 | 41.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.6302 | μmol/L | 11.4949 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.73 | 157899.521 | 298581.6793 | 59.9307 | 49.4
89173 | 2021-04-09 15:07 | 42.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.6629 | μmol/L | 11.4887 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.731 | 157906.5363 | 298577.3666 | 59.9307 | 49.4
89182 | 2021-04-09 15:08 | 42.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.761 | μmol/L | 11.4887 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.727 | 157912.7177 | 298591.191 | 59.9307 | 49.4
89191 | 2021-04-09 15:08 | 42.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.5321 | μmol/L | 11.4949 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.734 | 157921.5153 | 298574.9654 | 59.9307 | 49.4
89200 | 2021-04-09 15:08 | 43.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.4749 | μmol/L | 11.501 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.734 | 157918.0636 | 298550.0264 | 59.9307 | 49.4
89209 | 2021-04-09 15:09 | 43.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.4749 | μmol/L | 11.501 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.734 | 157912.3173 | 298553.1197 | 59.9307 | 49.4
89218 | 2021-04-09 15:09 | 43.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.4586 | μmol/L | 11.4949 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.737 | 157923.7984 | 298536.8605 | 59.9307 | 49.4
89227 | 2021-04-09 15:09 | 44.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.3851 | μmol/L | 11.4949 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.74 | 157913.9688 | 298540.7965 | 59.9307 | 49.4
89236 | 2021-04-09 15:10 | 44.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.3687 | μmol/L | 11.5072 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.736 | 157915.5827 | 298527.57 | 59.9307 | 49.4
89245 | 2021-04-09 15:10 | 44.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.3524 | μmol/L | 11.501 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.739 | 157921.7554 | 298548.1973 | 59.9307 | 49.4
89254 | 2021-04-09 15:10 | 45.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.3524 | μmol/L | 11.501 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.739 | 157922.3019 | 298546.8366 | 59.9307 | 49.4
89263 | 2021-04-09 15:11 | 45.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.3443 | μmol/L | 11.5072 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.737 | 157929.9093 | 298547.2794 | 59.9307 | 49.4
89272 | 2021-04-09 15:11 | 45.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.2626 | μmol/L | 11.5133 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.738 | 157925.4071 | 298535.828 | 59.9307 | 49.4
89281 | 2021-04-09 15:11 | 46.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.2137 | μmol/L | 11.5133 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.74 | 157926.4173 | 298512.1753 | 59.9307 | 49.4
89290 | 2021-04-09 15:12 | 46.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.2545 | μmol/L | 11.5195 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.736 | 157906.9471 | 298496.7356 | 59.9307 | 49.4
89299 | 2021-04-09 15:12 | 46.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.3116 | μmol/L | 11.5133 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.736 | 157904.3837 | 298507.7959 | 59.9307 | 49.4
89308 | 2021-04-09 15:12 | 47.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.3198 | μmol/L | 11.5072 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.738 | 157892.0396 | 298521.6059 | 59.9307 | 49.4
89317 | 2021-04-09 15:13 | 47.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.2871 | μmol/L | 11.5133 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.737 | 157885.1873 | 298509.0325 | 59.9307 | 49.4
89326 | 2021-04-09 15:13 | 47.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.2055 | μmol/L | 11.5195 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.738 | 157877.9205 | 298504.7758 | 59.9307 | 49.4
89335 | 2021-04-09 15:13 | 48.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.23 | μmol/L | 11.5195 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.737 | 157858.4159 | 298480.8005 | 59.9307 | 49.4
89344 | 2021-04-09 15:14 | 48.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.4096 | μmol/L | 11.5133 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.732 | 157847.6398 | 298479.4735 | 59.9307 | 49.4
89353 | 2021-04-09 15:14 | 48.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.2463 | μmol/L | 11.5256 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.734 | 157853.5996 | 298498.9518 | 59.9307 | 49.4
89362 | 2021-04-09 15:14 | 49.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.2463 | μmol/L | 11.5256 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.734 | 157838.8198 | 298478.5687 | 59.9307 | 49.4
89371 | 2021-04-09 15:15 | 49.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.279 | μmol/L | 11.5195 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.735 | 157828.3294 | 298482.4044 | 59.9307 | 49.4
89380 | 2021-04-09 15:15 | 49.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.1647 | μmol/L | 11.5318 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.735 | 157817.2778 | 298481.2043 | 59.9307 | 49.4
89389 | 2021-04-09 15:15 | 50.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.2953 | μmol/L | 11.5256 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.732 | 157803.3391 | 298448.6303 | 59.9307 | 49.4
89398 | 2021-04-09 15:16 | 50.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.2953 | μmol/L | 11.5256 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.732 | 157804.2839 | 298458.6706 | 59.9307 | 49.4
89407 | 2021-04-09 15:16 | 50.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.3198 | μmol/L | 11.5256 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.731 | 157792.9499 | 298456.6837 | 59.9307 | 49.4
89416 | 2021-04-09 15:16 | 51.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.1892 | μmol/L | 11.5318 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.734 | 157792.9532 | 298440.6457 | 59.9307 | 49.4
89425 | 2021-04-09 15:17 | 51.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.2708 | μmol/L | 11.5256 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.733 | 157794.055 | 298437.3372 | 59.9307 | 49.4
89434 | 2021-04-09 15:17 | 51.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.1321 | μmol/L | 11.538 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.734 | 157808.2186 | 298452.4099 | 59.9307 | 49.4
89443 | 2021-04-09 15:17 | 52.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.0342 | μmol/L | 11.538 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.738 | 157810.0007 | 298438.3121 | 59.9307 | 49.4
89452 | 2021-04-09 15:18 | 52.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 286.0913 | μmol/L | 11.5318 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.738 | 157825.4334 | 298428.1234 | 59.9307 | 49.4
89461 | 2021-04-09 15:18 | 52.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.9608 | μmol/L | 11.538 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.741 | 157842.114 | 298439.0074 | 59.9307 | 49.4
89470 | 2021-04-09 15:18 | 53.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.8304 | μmol/L | 11.5441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.744 | 157856.2225 | 298425.9107 | 59.9307 | 49.4
89479 | 2021-04-09 15:19 | 53.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.7816 | μmol/L | 11.5441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.746 | 157877.8754 | 298413.4721 | 59.9307 | 49.4
89488 | 2021-04-09 15:19 | 53.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.7327 | μmol/L | 11.5441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.748 | 157906.1476 | 298434.4616 | 59.9307 | 49.4
89497 | 2021-04-09 15:19 | 54.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.5536 | μmol/L | 11.5503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.753 | 157919.3172 | 298421.8327 | 59.9307 | 49.4
89506 | 2021-04-09 15:20 | 54.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.5129 | μmol/L | 11.5441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.757 | 157929.2906 | 298421.195 | 59.9307 | 49.4
89515 | 2021-04-09 15:20 | 54.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.4884 | μmol/L | 11.5441 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.758 | 157954.3157 | 298414.2968 | 59.9307 | 49.4
89524 | 2021-04-09 15:20 | 55.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.4113 | μmol/L | 11.5441 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 22.761 | 157965.0959 | 298409.8508 | 59.9307 | 49.4
89533 | 2021-04-09 15:21 | 55.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.277 | μmol/L | 11.5564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.762 | 157978.0487 | 298385.5465 | 59.9307 | 49.4
89542 | 2021-04-09 15:21 | 55.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.2851 | μmol/L | 11.5503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.764 | 157984.7266 | 298390.1598 | 59.9307 | 49.4
89551 | 2021-04-09 15:21 | 56.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.2363 | μmol/L | 11.5503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.766 | 157995.6445 | 298385.3738 | 59.9307 | 49.4
89560 | 2021-04-09 15:22 | 56.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.0819 | μmol/L | 11.5564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.77 | 158009.6533 | 298414.1962 | 59.9307 | 49.4
89569 | 2021-04-09 15:22 | 56.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.1144 | μmol/L | 11.5503 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.771 | 158023.1897 | 298376.2914 | 59.9307 | 49.4
89578 | 2021-04-09 15:22 | 57.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 285.0819 | μmol/L | 11.5564 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.77 | 158032.6248 | 298378.1611 | 59.9307 | 49.4