## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 15:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
88032 | 2021-04-09 14:25 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.7031 | μmol/L | 11.1534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.096 | 133944.6388 | 276440.7427 | 26.25 | 74
88041 | 2021-04-09 14:25 | 0.33879 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.6221 | μmol/L | 11.1595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.097 | 133946.862 | 276452.4914 | 26.25 | 74
88050 | 2021-04-09 14:26 | 0.67173 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5562 | μmol/L | 11.1716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.095 | 133948.5067 | 276454.3877 | 26.25 | 74
88059 | 2021-04-09 14:26 | 1.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.5233 | μmol/L | 11.1777 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.094 | 133954.903 | 276472.9864 | 26.25 | 74
88068 | 2021-04-09 14:26 | 1.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.4424 | μmol/L | 11.1838 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.095 | 133957.8939 | 276474.9888 | 26.25 | 74
88077 | 2021-04-09 14:27 | 1.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2717 | μmol/L | 11.202 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.095 | 133947.0097 | 276450.4142 | 26.25 | 74
88086 | 2021-04-09 14:27 | 2.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2868 | μmol/L | 11.2081 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.092 | 133946.4049 | 276445.3943 | 26.25 | 74
88095 | 2021-04-09 14:27 | 2.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2868 | μmol/L | 11.2081 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.092 | 133941.1297 | 276456.7402 | 26.25 | 74
88104 | 2021-04-09 14:28 | 2.6716 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2211 | μmol/L | 11.2203 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.09 | 133926.1021 | 276455.6344 | 26.25 | 74
88113 | 2021-04-09 14:28 | 3.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.2362 | μmol/L | 11.2263 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.087 | 133906.8476 | 276453.3844 | 26.25 | 74
88122 | 2021-04-09 14:28 | 3.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1945 | μmol/L | 11.2385 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.084 | 133907.3324 | 276445.9036 | 26.25 | 74
88131 | 2021-04-09 14:29 | 3.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1138 | μmol/L | 11.2446 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.085 | 133911.437 | 276440.9186 | 26.25 | 74
88140 | 2021-04-09 14:29 | 4.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1289 | μmol/L | 11.2506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.082 | 133901.4108 | 276435.9432 | 26.25 | 74
88149 | 2021-04-09 14:29 | 4.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0961 | μmol/L | 11.2567 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.081 | 133893.3237 | 276431.11 | 26.25 | 74
88158 | 2021-04-09 14:30 | 4.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.1112 | μmol/L | 11.2628 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.078 | 133886.4056 | 276441.6218 | 26.25 | 74
88167 | 2021-04-09 14:30 | 5.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0305 | μmol/L | 11.2689 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.079 | 133885.6128 | 276449.4668 | 26.25 | 74
88176 | 2021-04-09 14:30 | 5.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8603 | μmol/L | 11.2871 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.079 | 133859.6008 | 276423.3569 | 26.25 | 74
88185 | 2021-04-09 14:31 | 5.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 285.0369 | μmol/L | 11.281 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.074 | 133865.6569 | 276434.7707 | 26.25 | 74
88194 | 2021-04-09 14:31 | 6.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8515 | μmol/L | 11.2932 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.077 | 133849.1791 | 276416.9881 | 26.25 | 74
88203 | 2021-04-09 14:31 | 6.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.9146 | μmol/L | 11.2993 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.072 | 133851.0459 | 276428.3064 | 26.25 | 74
88212 | 2021-04-09 14:32 | 6.6716 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8819 | μmol/L | 11.3054 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.071 | 133835.5498 | 276417.4563 | 26.25 | 74
88221 | 2021-04-09 14:32 | 7.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.9211 | μmol/L | 11.3114 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.067 | 133813.6834 | 276404.6571 | 26.25 | 74
88230 | 2021-04-09 14:32 | 7.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8404 | μmol/L | 11.3175 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 133797.0387 | 276394.6242 | 26.25 | 74
88239 | 2021-04-09 14:33 | 7.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.7511 | μmol/L | 11.3297 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.067 | 133790.5313 | 276391.303 | 26.25 | 74
88248 | 2021-04-09 14:33 | 8.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.799 | μmol/L | 11.3297 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.065 | 133782.3655 | 276397.5113 | 26.25 | 74
88257 | 2021-04-09 14:33 | 8.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.8142 | μmol/L | 11.3357 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.062 | 133780.2326 | 276379.8486 | 26.25 | 74
88266 | 2021-04-09 14:34 | 8.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.7097 | μmol/L | 11.3418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.064 | 133780.4742 | 276369.5637 | 26.25 | 74
88275 | 2021-04-09 14:34 | 9.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6443 | μmol/L | 11.354 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.062 | 133778.9625 | 276378.2169 | 26.25 | 74
88284 | 2021-04-09 14:34 | 9.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.6291 | μmol/L | 11.3479 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.065 | 133777.5122 | 276373.0378 | 26.25 | 74
88293 | 2021-04-09 14:35 | 9.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.492 | μmol/L | 11.3601 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 133786.6063 | 276377.1002 | 26.25 | 74
88302 | 2021-04-09 14:35 | 10.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.4681 | μmol/L | 11.3601 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.067 | 133787.7164 | 276362.7683 | 26.25 | 74
88311 | 2021-04-09 14:35 | 10.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3072 | μmol/L | 11.3722 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.069 | 133790.9148 | 276364.5616 | 26.25 | 74
88320 | 2021-04-09 14:36 | 10.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.3789 | μmol/L | 11.3722 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 133794.819 | 276345.862 | 26.25 | 74
88329 | 2021-04-09 14:36 | 11.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.155 | μmol/L | 11.3783 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.073 | 133799.8201 | 276336.1144 | 26.25 | 74
88338 | 2021-04-09 14:36 | 11.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.1942 | μmol/L | 11.3844 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.069 | 133819.3929 | 276335.2767 | 26.25 | 74
88347 | 2021-04-09 14:37 | 11.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.9857 | μmol/L | 11.3965 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.073 | 133815.1103 | 276328.578 | 26.25 | 74
88356 | 2021-04-09 14:37 | 12.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0335 | μmol/L | 11.3965 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.071 | 133819.3478 | 276322.4781 | 26.25 | 74
88365 | 2021-04-09 14:37 | 12.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0335 | μmol/L | 11.3965 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.071 | 133806.3992 | 276301.6871 | 26.25 | 74
88374 | 2021-04-09 14:38 | 12.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8728 | μmol/L | 11.4087 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.073 | 133798.7734 | 276309.7863 | 26.25 | 74
88383 | 2021-04-09 14:38 | 13.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 284.0487 | μmol/L | 11.4026 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 133783.844 | 276288.3244 | 26.25 | 74
88392 | 2021-04-09 14:38 | 13.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.9923 | μmol/L | 11.4087 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 133785.238 | 276302.2519 | 26.25 | 74
88401 | 2021-04-09 14:39 | 13.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8794 | μmol/L | 11.4208 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 133775.9269 | 276292.9536 | 26.25 | 74
88410 | 2021-04-09 14:39 | 14.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8556 | μmol/L | 11.4208 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.069 | 133762.379 | 276288.2712 | 26.25 | 74
88419 | 2021-04-09 14:39 | 14.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8708 | μmol/L | 11.4269 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 133751.3839 | 276282.1987 | 26.25 | 74
88428 | 2021-04-09 14:40 | 14.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8708 | μmol/L | 11.4269 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 133748.1627 | 276262.5984 | 26.25 | 74
88437 | 2021-04-09 14:40 | 15.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8861 | μmol/L | 11.433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.063 | 133743.8256 | 276273.1789 | 26.25 | 74
88446 | 2021-04-09 14:40 | 15.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8861 | μmol/L | 11.433 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.063 | 133747.9697 | 276266.2545 | 26.25 | 74
88455 | 2021-04-09 14:41 | 15.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.7256 | μmol/L | 11.4452 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.065 | 133740.3976 | 276249.2849 | 26.25 | 74
88464 | 2021-04-09 14:41 | 16.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.8058 | μmol/L | 11.4391 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.064 | 133733.9758 | 276253.379 | 26.25 | 74
88473 | 2021-04-09 14:41 | 16.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.6693 | μmol/L | 11.4512 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.065 | 133726.0708 | 276222.3914 | 26.25 | 74
88482 | 2021-04-09 14:42 | 16.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.7256 | μmol/L | 11.4452 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.065 | 133725.8532 | 276231.7741 | 26.25 | 74
88491 | 2021-04-09 14:42 | 17.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.6607 | μmol/L | 11.4573 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.063 | 133729.5343 | 276225.8794 | 26.25 | 74
88500 | 2021-04-09 14:42 | 17.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.5891 | μmol/L | 11.4573 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 133731.3986 | 276219.9935 | 26.25 | 74
88509 | 2021-04-09 14:43 | 17.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.5328 | μmol/L | 11.4634 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 133723.9977 | 276224.7803 | 26.25 | 74
88518 | 2021-04-09 14:43 | 18.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.5805 | μmol/L | 11.4634 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.064 | 133717.2874 | 276217.229 | 26.25 | 74
88527 | 2021-04-09 14:43 | 18.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.5958 | μmol/L | 11.4695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.061 | 133694.9696 | 276197.3346 | 26.25 | 74
88536 | 2021-04-09 14:44 | 18.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.6674 | μmol/L | 11.4695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.058 | 133673.5569 | 276192.7384 | 26.25 | 74
88545 | 2021-04-09 14:44 | 19.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.5634 | μmol/L | 11.4756 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.06 | 133657.4602 | 276181.864 | 26.25 | 74
88554 | 2021-04-09 14:44 | 19.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.5071 | μmol/L | 11.4816 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.06 | 133659.9064 | 276179.8317 | 26.25 | 74
88563 | 2021-04-09 14:45 | 19.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.5787 | μmol/L | 11.4816 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.057 | 133645.8174 | 276173.7197 | 26.25 | 74
88572 | 2021-04-09 14:45 | 20.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.531 | μmol/L | 11.4816 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.059 | 133646.9889 | 276149.1255 | 26.25 | 74
88581 | 2021-04-09 14:45 | 20.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.4423 | μmol/L | 11.4938 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.058 | 133642.8658 | 276154.4037 | 26.25 | 74
88590 | 2021-04-09 14:46 | 20.6716 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.4986 | μmol/L | 11.4877 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.058 | 133637.3583 | 276150.9029 | 26.25 | 74
88599 | 2021-04-09 14:46 | 21.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.3946 | μmol/L | 11.4938 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.06 | 133643.4487 | 276148.483 | 26.25 | 74
88608 | 2021-04-09 14:46 | 21.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.2584 | μmol/L | 11.506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.061 | 133654.9495 | 276146.1532 | 26.25 | 74
88617 | 2021-04-09 14:47 | 21.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.2907 | μmol/L | 11.4999 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.062 | 133663.6554 | 276136.0611 | 26.25 | 74
88626 | 2021-04-09 14:47 | 22.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.1631 | μmol/L | 11.506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.065 | 133668.1137 | 276131.4165 | 26.25 | 74
88635 | 2021-04-09 14:47 | 22.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.1784 | μmol/L | 11.512 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.062 | 133667.4777 | 276116.0351 | 26.25 | 74
88644 | 2021-04-09 14:48 | 22.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.1154 | μmol/L | 11.506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.067 | 133666.1109 | 276112.6075 | 26.25 | 74
88653 | 2021-04-09 14:48 | 23.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.1393 | μmol/L | 11.506 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 133680.2962 | 276104.9486 | 26.25 | 74
88662 | 2021-04-09 14:48 | 23.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.0117 | μmol/L | 11.512 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.069 | 133671.2499 | 276089.8266 | 26.25 | 74
88671 | 2021-04-09 14:49 | 23.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.0355 | μmol/L | 11.512 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 133676.1338 | 276090.0586 | 26.25 | 74
88680 | 2021-04-09 14:49 | 24.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.027 | μmol/L | 11.5181 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 133669.0743 | 276080.967 | 26.25 | 74
88689 | 2021-04-09 14:49 | 24.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 283.0031 | μmol/L | 11.5181 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.067 | 133669.9136 | 276071.3882 | 26.25 | 74
88698 | 2021-04-09 14:50 | 24.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.9555 | μmol/L | 11.5181 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.069 | 133669.2894 | 276061.4719 | 26.25 | 74
88707 | 2021-04-09 14:50 | 25.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.8756 | μmol/L | 11.5242 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.07 | 133665.0263 | 276062.9289 | 26.25 | 74
88716 | 2021-04-09 14:50 | 25.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.8909 | μmol/L | 11.5303 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.067 | 133654.2185 | 276064.5393 | 26.25 | 74
88725 | 2021-04-09 14:51 | 25.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.8195 | μmol/L | 11.5303 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.07 | 133639.5476 | 276040.9858 | 26.25 | 74
88734 | 2021-04-09 14:51 | 26.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.772 | μmol/L | 11.5303 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.072 | 133643.8278 | 276024.6487 | 26.25 | 74
88743 | 2021-04-09 14:51 | 26.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7006 | μmol/L | 11.5303 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.075 | 133649.3808 | 276036.9272 | 26.25 | 74
88752 | 2021-04-09 14:52 | 26.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7312 | μmol/L | 11.5424 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.069 | 133637.0816 | 276010.6441 | 26.25 | 74
88761 | 2021-04-09 14:52 | 27.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7397 | μmol/L | 11.5363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.071 | 133634.8856 | 276013.1353 | 26.25 | 74
88770 | 2021-04-09 14:52 | 27.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6836 | μmol/L | 11.5424 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.071 | 133633.8783 | 276012.3387 | 26.25 | 74
88779 | 2021-04-09 14:53 | 27.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.8586 | μmol/L | 11.5363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 133617.6645 | 276010.2237 | 26.25 | 74
88788 | 2021-04-09 14:53 | 28.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6429 | μmol/L | 11.5546 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 133615.16 | 276001.5554 | 26.25 | 74
88797 | 2021-04-09 14:53 | 28.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6989 | μmol/L | 11.5485 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 133596.7841 | 275981.3635 | 26.25 | 74
88806 | 2021-04-09 14:54 | 28.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7465 | μmol/L | 11.5485 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 133602.1492 | 275998.6671 | 26.25 | 74
88815 | 2021-04-09 14:54 | 29.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7057 | μmol/L | 11.5607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.063 | 133596.3695 | 275987.1187 | 26.25 | 74
88824 | 2021-04-09 14:54 | 29.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6344 | μmol/L | 11.5607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.066 | 133582.2153 | 275973.7711 | 26.25 | 74
88833 | 2021-04-09 14:55 | 29.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6429 | μmol/L | 11.5546 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 133577.3525 | 275964.5373 | 26.25 | 74
88842 | 2021-04-09 14:55 | 30.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6582 | μmol/L | 11.5607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.065 | 133562.0337 | 275964.7604 | 26.25 | 74
88851 | 2021-04-09 14:55 | 30.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6973 | μmol/L | 11.5667 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.061 | 133549.5474 | 275952.9312 | 26.25 | 74
88860 | 2021-04-09 14:56 | 30.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.8009 | μmol/L | 11.5607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.059 | 133541.8047 | 275957.077 | 26.25 | 74
88869 | 2021-04-09 14:56 | 31.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6735 | μmol/L | 11.5667 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.062 | 133522.2612 | 275937.6093 | 26.25 | 74
88878 | 2021-04-09 14:56 | 31.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.857 | μmol/L | 11.5546 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.059 | 133520.2336 | 275938.5584 | 26.25 | 74
88887 | 2021-04-09 14:57 | 31.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6413 | μmol/L | 11.5728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.061 | 133513.7242 | 275943.7003 | 26.25 | 74
88896 | 2021-04-09 14:57 | 32.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5937 | μmol/L | 11.5728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.063 | 133506.8331 | 275935.4188 | 26.25 | 74
88905 | 2021-04-09 14:57 | 32.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6888 | μmol/L | 11.5728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.059 | 133498.7905 | 275929.641 | 26.25 | 74
88914 | 2021-04-09 14:58 | 32.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7364 | μmol/L | 11.5728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.057 | 133486.8199 | 275927.1887 | 26.25 | 74
88923 | 2021-04-09 14:58 | 33.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7602 | μmol/L | 11.5728 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.056 | 133472.8431 | 275922.0944 | 26.25 | 74
88932 | 2021-04-09 14:58 | 33.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6566 | μmol/L | 11.5789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.058 | 133462.8175 | 275906.3039 | 26.25 | 74
88941 | 2021-04-09 14:59 | 33.6715 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6244 | μmol/L | 11.585 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.057 | 133458.9304 | 275899.4198 | 26.25 | 74
88950 | 2021-04-09 14:59 | 34.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6244 | μmol/L | 11.585 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.057 | 133452.7518 | 275897.1194 | 26.25 | 74
88959 | 2021-04-09 14:59 | 34.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7195 | μmol/L | 11.585 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.053 | 133434.5601 | 275895.768 | 26.25 | 74
88968 | 2021-04-09 15:00 | 34.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7195 | μmol/L | 11.585 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.053 | 133424.6386 | 275897.803 | 26.25 | 74
88977 | 2021-04-09 15:00 | 35.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6719 | μmol/L | 11.585 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.055 | 133420.5453 | 275890.1226 | 26.25 | 74
88986 | 2021-04-09 15:00 | 35.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7349 | μmol/L | 11.5911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.05 | 133407.025 | 275878.9361 | 26.25 | 74
88995 | 2021-04-09 15:01 | 35.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7587 | μmol/L | 11.5911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.049 | 133388.1231 | 275861.4505 | 26.25 | 74
89004 | 2021-04-09 15:01 | 36.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6397 | μmol/L | 11.5911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.054 | 133390.6395 | 275861.5578 | 26.25 | 74
89013 | 2021-04-09 15:01 | 36.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7111 | μmol/L | 11.5911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.051 | 133378.1492 | 275847.2222 | 26.25 | 74
89022 | 2021-04-09 15:02 | 36.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5515 | μmol/L | 11.6032 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.053 | 133373.2051 | 275849.841 | 26.25 | 74
89031 | 2021-04-09 15:02 | 37.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7349 | μmol/L | 11.5911 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.05 | 133378.1977 | 275850.5219 | 26.25 | 74
89040 | 2021-04-09 15:02 | 37.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6704 | μmol/L | 11.6032 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.048 | 133368.2631 | 275854.1389 | 26.25 | 74
89049 | 2021-04-09 15:03 | 37.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5991 | μmol/L | 11.6032 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.051 | 133357.9768 | 275834.8958 | 26.25 | 74
89058 | 2021-04-09 15:03 | 38.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6858 | μmol/L | 11.6093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.045 | 133358.237 | 275831.3546 | 26.25 | 74
89067 | 2021-04-09 15:03 | 38.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7026 | μmol/L | 11.5971 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.049 | 133341.4359 | 275819.6229 | 26.25 | 74
89076 | 2021-04-09 15:04 | 38.6716 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.718 | μmol/L | 11.6032 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.046 | 133340.1024 | 275823.569 | 26.25 | 74
89085 | 2021-04-09 15:04 | 39.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.662 | μmol/L | 11.6093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.046 | 133326.0547 | 275809.4061 | 26.25 | 74
89094 | 2021-04-09 15:04 | 39.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7334 | μmol/L | 11.6093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.043 | 133313.2357 | 275800.8097 | 26.25 | 74
89103 | 2021-04-09 15:05 | 39.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6858 | μmol/L | 11.6093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.045 | 133312.3212 | 275803.9173 | 26.25 | 74
89112 | 2021-04-09 15:05 | 40.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6298 | μmol/L | 11.6154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.045 | 133300.8977 | 275807.4701 | 26.25 | 74
89121 | 2021-04-09 15:05 | 40.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.725 | μmol/L | 11.6154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.041 | 133291.1419 | 275798.723 | 26.25 | 74
89130 | 2021-04-09 15:06 | 40.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7726 | μmol/L | 11.6154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 133270.3028 | 275785.4477 | 26.25 | 74
89139 | 2021-04-09 15:06 | 41.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.669 | μmol/L | 11.6215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.041 | 133267.1404 | 275772.953 | 26.25 | 74
89148 | 2021-04-09 15:06 | 41.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.844 | μmol/L | 11.6154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.036 | 133270.8743 | 275788.0563 | 26.25 | 74
89157 | 2021-04-09 15:07 | 41.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7404 | μmol/L | 11.6215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.038 | 133266.5262 | 275772.7811 | 26.25 | 74
89166 | 2021-04-09 15:07 | 42.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7726 | μmol/L | 11.6154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 133256.6539 | 275775.2348 | 26.25 | 74
89175 | 2021-04-09 15:07 | 42.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5893 | μmol/L | 11.6275 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.042 | 133257.0502 | 275776.7284 | 26.25 | 74
89184 | 2021-04-09 15:08 | 42.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.6368 | μmol/L | 11.6275 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.04 | 133241.5088 | 275772.1239 | 26.25 | 74
89193 | 2021-04-09 15:08 | 43.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.7166 | μmol/L | 11.6215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.039 | 133252.6907 | 275752.1868 | 26.25 | 74
89202 | 2021-04-09 15:08 | 43.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5571 | μmol/L | 11.6336 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.041 | 133257.2524 | 275753.2309 | 26.25 | 74
89211 | 2021-04-09 15:09 | 43.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5095 | μmol/L | 11.6336 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.043 | 133260.1382 | 275767.9426 | 26.25 | 74
89220 | 2021-04-09 15:09 | 44.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5333 | μmol/L | 11.6336 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.042 | 133253.2743 | 275739.7391 | 26.25 | 74
89229 | 2021-04-09 15:09 | 44.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.57 | μmol/L | 11.6215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.045 | 133258.5548 | 275739.3602 | 26.25 | 74
89238 | 2021-04-09 15:10 | 44.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5095 | μmol/L | 11.6336 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.043 | 133254.8592 | 275739.9827 | 26.25 | 74
89247 | 2021-04-09 15:10 | 45.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5333 | μmol/L | 11.6336 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.042 | 133251.3733 | 275728.3133 | 26.25 | 74
89256 | 2021-04-09 15:10 | 45.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3784 | μmol/L | 11.6397 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.046 | 133254.2425 | 275738.8852 | 26.25 | 74
89265 | 2021-04-09 15:11 | 45.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3784 | μmol/L | 11.6397 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.046 | 133248.4418 | 275723.2928 | 26.25 | 74
89274 | 2021-04-09 15:11 | 46.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.4176 | μmol/L | 11.6458 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.042 | 133248.8454 | 275720.5899 | 26.25 | 74
89283 | 2021-04-09 15:11 | 46.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.5012 | μmol/L | 11.6397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.041 | 133237.9672 | 275711.3352 | 26.25 | 74
89292 | 2021-04-09 15:12 | 46.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.4092 | μmol/L | 11.6519 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.04 | 133234.848 | 275714.5352 | 26.25 | 74
89301 | 2021-04-09 15:12 | 47.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3977 | μmol/L | 11.6458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.043 | 133229.7784 | 275712.293 | 26.25 | 74
89310 | 2021-04-09 15:12 | 47.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3938 | μmol/L | 11.6458 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.043 | 133231.2843 | 275703.311 | 26.25 | 74
89319 | 2021-04-09 15:13 | 47.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.4414 | μmol/L | 11.6458 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.041 | 133227.4274 | 275690.7592 | 26.25 | 74
89328 | 2021-04-09 15:13 | 48.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2666 | μmol/L | 11.6519 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.046 | 133215.4875 | 275677.8638 | 26.25 | 74
89337 | 2021-04-09 15:13 | 48.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3855 | μmol/L | 11.6519 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.041 | 133218.2042 | 275686.1097 | 26.25 | 74
89346 | 2021-04-09 15:14 | 48.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2345 | μmol/L | 11.6579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.045 | 133210.2394 | 275678.1732 | 26.25 | 74
89355 | 2021-04-09 15:14 | 49.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.3058 | μmol/L | 11.6579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.042 | 133212.9731 | 275683.8583 | 26.25 | 74
89364 | 2021-04-09 15:14 | 49.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2666 | μmol/L | 11.6519 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.046 | 133209.3495 | 275679.3477 | 26.25 | 74
89373 | 2021-04-09 15:15 | 49.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.4092 | μmol/L | 11.6519 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.04 | 133209.363 | 275665.259 | 26.25 | 74
89382 | 2021-04-09 15:15 | 50.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2583 | μmol/L | 11.6579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.044 | 133207.8449 | 275669.5249 | 26.25 | 74
89391 | 2021-04-09 15:15 | 50.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2583 | μmol/L | 11.6579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.044 | 133201.6842 | 275636.6964 | 26.25 | 74
89400 | 2021-04-09 15:16 | 50.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2345 | μmol/L | 11.6579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.045 | 133204.1624 | 275649.8033 | 26.25 | 74
89409 | 2021-04-09 15:16 | 51.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.2108 | μmol/L | 11.6579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.046 | 133203.923 | 275641.0236 | 26.25 | 74
89418 | 2021-04-09 15:16 | 51.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.1549 | μmol/L | 11.664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.046 | 133207.6878 | 275638.3756 | 26.25 | 74
89427 | 2021-04-09 15:17 | 51.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.1787 | μmol/L | 11.664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.045 | 133205.572 | 275630.8858 | 26.25 | 74
89436 | 2021-04-09 15:17 | 52.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.1588 | μmol/L | 11.664 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.046 | 133205.7254 | 275628.5279 | 26.25 | 74
89445 | 2021-04-09 15:17 | 52.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.1074 | μmol/L | 11.664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.048 | 133209.9052 | 275629.474 | 26.25 | 74
89454 | 2021-04-09 15:18 | 52.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.0516 | μmol/L | 11.6701 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.048 | 133208.542 | 275611.2106 | 26.25 | 74
89463 | 2021-04-09 15:18 | 53.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.0516 | μmol/L | 11.6701 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.048 | 133216.7823 | 275609.7378 | 26.25 | 74
89472 | 2021-04-09 15:18 | 53.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.0362 | μmol/L | 11.664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.051 | 133218.3478 | 275605.0205 | 26.25 | 74
89481 | 2021-04-09 15:19 | 53.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.933 | μmol/L | 11.6701 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.053 | 133215.8983 | 275594.3898 | 26.25 | 74
89490 | 2021-04-09 15:19 | 54.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.9246 | μmol/L | 11.6762 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.051 | 133209.1895 | 275596.6968 | 26.25 | 74
89499 | 2021-04-09 15:19 | 54.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.8535 | μmol/L | 11.6762 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.054 | 133207.1032 | 275581.3723 | 26.25 | 74
89508 | 2021-04-09 15:20 | 54.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.9567 | μmol/L | 11.6701 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.052 | 133217.4448 | 275592.3964 | 26.25 | 74
89517 | 2021-04-09 15:20 | 55.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.9888 | μmol/L | 11.664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.053 | 133211.3945 | 275574.0018 | 26.25 | 74
89526 | 2021-04-09 15:20 | 55.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 282.0042 | μmol/L | 11.6701 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.05 | 133203.1511 | 275583.7608 | 26.25 | 74
89535 | 2021-04-09 15:21 | 55.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.933 | μmol/L | 11.6701 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.053 | 133203.6688 | 275569.4414 | 26.25 | 74
89544 | 2021-04-09 15:21 | 56.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.9484 | μmol/L | 11.6762 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.05 | 133205.0071 | 275561.1582 | 26.25 | 74
89553 | 2021-04-09 15:21 | 56.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.8214 | μmol/L | 11.6822 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.053 | 133187.6147 | 275561.035 | 26.25 | 74
89562 | 2021-04-09 15:22 | 56.6716 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.8772 | μmol/L | 11.6762 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.053 | 133183.6146 | 275554.772 | 26.25 | 74
89571 | 2021-04-09 15:22 | 57.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.8689 | μmol/L | 11.6822 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.051 | 133185.0853 | 275546.2781 | 26.25 | 74
89580 | 2021-04-09 15:22 | 57.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 281.8131 | μmol/L | 11.6883 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.051 | 133180.1935 | 275549.4032 | 26.25 | 74