## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-09 15:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
88033 | 2021-04-09 14:25 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7434 | μmol/L | 11.1107 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.907 | 126360.6616 | 274924.7483 | 32.55 | 27.7
88042 | 2021-04-09 14:25 | 0.34034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.9377 | μmol/L | 11.1107 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.899 | 126341.1596 | 274917.258 | 32.55 | 27.7
88051 | 2021-04-09 14:26 | 0.67412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7499 | μmol/L | 11.1229 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.902 | 126324.0314 | 274909.9328 | 32.55 | 27.7
88060 | 2021-04-09 14:26 | 1.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7807 | μmol/L | 11.1351 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.896 | 126301.092 | 274895.1975 | 32.55 | 27.7
88069 | 2021-04-09 14:26 | 1.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7718 | μmol/L | 11.1412 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.894 | 126277.8278 | 274886.6466 | 32.55 | 27.7
88078 | 2021-04-09 14:27 | 1.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.9419 | μmol/L | 11.1412 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.887 | 126256.2938 | 274878.4624 | 32.55 | 27.7
88087 | 2021-04-09 14:27 | 2.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7452 | μmol/L | 11.1595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.888 | 126237.8659 | 274862.0067 | 32.55 | 27.7
88096 | 2021-04-09 14:27 | 2.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8579 | μmol/L | 11.1656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.881 | 126222.5192 | 274858.369 | 32.55 | 27.7
88105 | 2021-04-09 14:28 | 2.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.922 | μmol/L | 11.1717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.876 | 126198.1738 | 274844.708 | 32.55 | 27.7
88114 | 2021-04-09 14:28 | 3.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8071 | μmol/L | 11.1839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.876 | 126176.4546 | 274829.0725 | 32.55 | 27.7
88123 | 2021-04-09 14:28 | 3.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8469 | μmol/L | 11.19 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.872 | 126167.3474 | 274820.6503 | 32.55 | 27.7
88132 | 2021-04-09 14:29 | 3.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7895 | μmol/L | 11.1961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.872 | 126157.2411 | 274816.1104 | 32.55 | 27.7
88141 | 2021-04-09 14:29 | 4.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8293 | μmol/L | 11.2022 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.868 | 126132.7608 | 274816.3824 | 32.55 | 27.7
88150 | 2021-04-09 14:29 | 4.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8692 | μmol/L | 11.2083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.864 | 126116.7843 | 274811.5469 | 32.55 | 27.7
88159 | 2021-04-09 14:30 | 4.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8604 | μmol/L | 11.2144 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.862 | 126107.3626 | 274794.8228 | 32.55 | 27.7
88168 | 2021-04-09 14:30 | 5.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8273 | μmol/L | 11.2205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.861 | 126097.2619 | 274812.5833 | 32.55 | 27.7
88177 | 2021-04-09 14:30 | 5.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7126 | μmol/L | 11.2328 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.861 | 126075.6503 | 274786.6793 | 32.55 | 27.7
88186 | 2021-04-09 14:31 | 5.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.768 | μmol/L | 11.245 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.854 | 126069.5917 | 274788.5876 | 32.55 | 27.7
88195 | 2021-04-09 14:31 | 6.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7924 | μmol/L | 11.245 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.853 | 126047.5128 | 274784.9277 | 32.55 | 27.7
88204 | 2021-04-09 14:31 | 6.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7593 | μmol/L | 11.2511 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.852 | 126040.077 | 274778.1708 | 32.55 | 27.7
88213 | 2021-04-09 14:32 | 6.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7992 | μmol/L | 11.2572 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.848 | 126019.5292 | 274760.2129 | 32.55 | 27.7
88222 | 2021-04-09 14:32 | 7.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7662 | μmol/L | 11.2633 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.847 | 125998.4076 | 274774.3282 | 32.55 | 27.7
88231 | 2021-04-09 14:32 | 7.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7575 | μmol/L | 11.2694 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.845 | 125983.6383 | 274777.9331 | 32.55 | 27.7
88240 | 2021-04-09 14:33 | 7.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7401 | μmol/L | 11.2816 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.841 | 125968.581 | 274760.5407 | 32.55 | 27.7
88249 | 2021-04-09 14:33 | 8.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8131 | μmol/L | 11.2816 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.838 | 125953.1758 | 274740.6952 | 32.55 | 27.7
88258 | 2021-04-09 14:33 | 8.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7888 | μmol/L | 11.2816 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.839 | 125944.8139 | 274760.1993 | 32.55 | 27.7
88267 | 2021-04-09 14:34 | 8.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7384 | μmol/L | 11.2999 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.834 | 125927.9347 | 274747.2293 | 32.55 | 27.7
88276 | 2021-04-09 14:34 | 9.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7871 | μmol/L | 11.2999 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.832 | 125916.1663 | 274735.2386 | 32.55 | 27.7
88285 | 2021-04-09 14:34 | 9.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8271 | μmol/L | 11.306 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.828 | 125902.4293 | 274728.4725 | 32.55 | 27.7
88294 | 2021-04-09 14:35 | 9.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7941 | μmol/L | 11.3121 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.827 | 125887.4835 | 274730.2529 | 32.55 | 27.7
88303 | 2021-04-09 14:35 | 10.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8514 | μmol/L | 11.306 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.827 | 125870.99 | 274710.6101 | 32.55 | 27.7
88312 | 2021-04-09 14:35 | 10.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.8341 | μmol/L | 11.3182 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.823 | 125854.6553 | 274715.283 | 32.55 | 27.7
88321 | 2021-04-09 14:36 | 10.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7195 | μmol/L | 11.3304 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.823 | 125846.3646 | 274703.7449 | 32.55 | 27.7
88330 | 2021-04-09 14:36 | 11.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7353 | μmol/L | 11.3365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.82 | 125832.9143 | 274699.8915 | 32.55 | 27.7
88339 | 2021-04-09 14:36 | 11.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7109 | μmol/L | 11.3365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.821 | 125821.2855 | 274713.2872 | 32.55 | 27.7
88348 | 2021-04-09 14:37 | 11.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7596 | μmol/L | 11.3365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.819 | 125815.5697 | 274686.9543 | 32.55 | 27.7
88357 | 2021-04-09 14:37 | 12.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7753 | μmol/L | 11.3426 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.816 | 125799.2543 | 274685.7854 | 32.55 | 27.7
88366 | 2021-04-09 14:37 | 12.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.6365 | μmol/L | 11.3548 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.817 | 125782.367 | 274686.5752 | 32.55 | 27.7
88375 | 2021-04-09 14:38 | 12.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7581 | μmol/L | 11.3548 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.812 | 125776.9838 | 274668.5489 | 32.55 | 27.7
88384 | 2021-04-09 14:38 | 13.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.6608 | μmol/L | 11.3548 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.816 | 125762.9397 | 274672.2672 | 32.55 | 27.7
88393 | 2021-04-09 14:38 | 13.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7252 | μmol/L | 11.3609 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.811 | 125755.3884 | 274672.7714 | 32.55 | 27.7
88402 | 2021-04-09 14:39 | 13.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7495 | μmol/L | 11.3609 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.81 | 125747.5617 | 274670.0646 | 32.55 | 27.7
88411 | 2021-04-09 14:39 | 14.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7081 | μmol/L | 11.3731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.807 | 125731.6141 | 274650.2929 | 32.55 | 27.7
88420 | 2021-04-09 14:39 | 14.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7567 | μmol/L | 11.3731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.805 | 125720.5725 | 274651.4129 | 32.55 | 27.7
88429 | 2021-04-09 14:40 | 14.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.7567 | μmol/L | 11.3731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.805 | 125707.6803 | 274643.3442 | 32.55 | 27.7
88438 | 2021-04-09 14:40 | 15.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.5121 | μmol/L | 11.3914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.808 | 125709.7553 | 274640.4388 | 32.55 | 27.7
88447 | 2021-04-09 14:40 | 15.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.5365 | μmol/L | 11.3914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.807 | 125696.8533 | 274644.4001 | 32.55 | 27.7
88456 | 2021-04-09 14:41 | 15.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.6581 | μmol/L | 11.3914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.802 | 125691.2433 | 274638.0977 | 32.55 | 27.7
88465 | 2021-04-09 14:41 | 16.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.6581 | μmol/L | 11.3914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.802 | 125676.735 | 274620.3108 | 32.55 | 27.7
88474 | 2021-04-09 14:41 | 16.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.5437 | μmol/L | 11.4036 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.802 | 125669.4085 | 274617.0268 | 32.55 | 27.7
88483 | 2021-04-09 14:42 | 16.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.6252 | μmol/L | 11.3975 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.801 | 125665.991 | 274625.8366 | 32.55 | 27.7
88492 | 2021-04-09 14:42 | 17.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.5109 | μmol/L | 11.4097 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.801 | 125657.2397 | 274613.7542 | 32.55 | 27.7
88501 | 2021-04-09 14:42 | 17.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.5194 | μmol/L | 11.4036 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.803 | 125651.5907 | 274596.1773 | 32.55 | 27.7
88510 | 2021-04-09 14:43 | 17.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.5595 | μmol/L | 11.4097 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.799 | 125647.343 | 274604.5197 | 32.55 | 27.7
88519 | 2021-04-09 14:43 | 18.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.4537 | μmol/L | 11.4158 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.801 | 125639.7368 | 274582.2281 | 32.55 | 27.7
88528 | 2021-04-09 14:43 | 18.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.4537 | μmol/L | 11.4158 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.801 | 125635.9277 | 274589.0035 | 32.55 | 27.7
88537 | 2021-04-09 14:44 | 18.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.4938 | μmol/L | 11.4219 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.797 | 125630.8318 | 274579.908 | 32.55 | 27.7
88546 | 2021-04-09 14:44 | 19.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.4124 | μmol/L | 11.428 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.798 | 125628.2952 | 274584.6041 | 32.55 | 27.7
88555 | 2021-04-09 14:44 | 19.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.461 | μmol/L | 11.428 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.796 | 125624.0499 | 274574.7782 | 32.55 | 27.7
88564 | 2021-04-09 14:45 | 19.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.3067 | μmol/L | 11.4341 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.8 | 125621.295 | 274574.7509 | 32.55 | 27.7
88573 | 2021-04-09 14:45 | 20.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.2739 | μmol/L | 11.4402 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.799 | 125614.7633 | 274586.2192 | 32.55 | 27.7
88582 | 2021-04-09 14:45 | 20.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.1925 | μmol/L | 11.4463 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.8 | 125609.7201 | 274553.9917 | 32.55 | 27.7
88591 | 2021-04-09 14:46 | 20.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.2739 | μmol/L | 11.4402 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.799 | 125605.6338 | 274554.6591 | 32.55 | 27.7
88600 | 2021-04-09 14:46 | 21.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.1925 | μmol/L | 11.4463 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.8 | 125599.3078 | 274532.5625 | 32.55 | 27.7
88609 | 2021-04-09 14:46 | 21.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.184 | μmol/L | 11.4524 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.798 | 125597.7007 | 274547.18 | 32.55 | 27.7
88618 | 2021-04-09 14:47 | 21.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.2083 | μmol/L | 11.4524 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.797 | 125594.8158 | 274542.0324 | 32.55 | 27.7
88627 | 2021-04-09 14:47 | 22.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.1355 | μmol/L | 11.4524 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.8 | 125577.556 | 274523.1345 | 32.55 | 27.7
88636 | 2021-04-09 14:47 | 22.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.1999 | μmol/L | 11.4585 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.795 | 125566.1874 | 274522.395 | 32.55 | 27.7
88645 | 2021-04-09 14:48 | 22.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.1756 | μmol/L | 11.4585 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.796 | 125572.0582 | 274529.0269 | 32.55 | 27.7
88654 | 2021-04-09 14:48 | 23.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.1185 | μmol/L | 11.4646 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.796 | 125571.9264 | 274523.6067 | 32.55 | 27.7
88663 | 2021-04-09 14:48 | 23.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.1185 | μmol/L | 11.4646 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.796 | 125564.0653 | 274524.5542 | 32.55 | 27.7
88672 | 2021-04-09 14:49 | 23.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.0372 | μmol/L | 11.4707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.797 | 125564.6786 | 274514.4959 | 32.55 | 27.7
88681 | 2021-04-09 14:49 | 24.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 287.0045 | μmol/L | 11.4768 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.796 | 125568.8342 | 274503.5086 | 32.55 | 27.7
88690 | 2021-04-09 14:49 | 24.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.9887 | μmol/L | 11.4707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.799 | 125559.0437 | 274495.7257 | 32.55 | 27.7
88699 | 2021-04-09 14:50 | 24.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.9802 | μmol/L | 11.4768 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.797 | 125563.8732 | 274502.6243 | 32.55 | 27.7
88708 | 2021-04-09 14:50 | 25.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.8346 | μmol/L | 11.4768 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.803 | 125555.5616 | 274481.2922 | 32.55 | 27.7
88717 | 2021-04-09 14:50 | 25.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.9233 | μmol/L | 11.4829 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.797 | 125558.5006 | 274475.9499 | 32.55 | 27.7
88726 | 2021-04-09 14:51 | 25.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.7935 | μmol/L | 11.489 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.8 | 125544.6724 | 274469.5141 | 32.55 | 27.7
88735 | 2021-04-09 14:51 | 26.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.7207 | μmol/L | 11.489 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.803 | 125555.1154 | 274471.4777 | 32.55 | 27.7
88744 | 2021-04-09 14:51 | 26.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.6881 | μmol/L | 11.4951 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.802 | 125555.5257 | 274471.0625 | 32.55 | 27.7
88753 | 2021-04-09 14:52 | 26.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.7123 | μmol/L | 11.4951 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.801 | 125553.3309 | 274470.1922 | 32.55 | 27.7
88762 | 2021-04-09 14:52 | 27.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.7935 | μmol/L | 11.489 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.8 | 125552.7712 | 274462.4345 | 32.55 | 27.7
88771 | 2021-04-09 14:52 | 27.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.6554 | μmol/L | 11.5012 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.801 | 125555.2505 | 274453.1272 | 32.55 | 27.7
88780 | 2021-04-09 14:53 | 27.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.5016 | μmol/L | 11.5073 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.805 | 125548.1858 | 274451.1589 | 32.55 | 27.7
88789 | 2021-04-09 14:53 | 28.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.5743 | μmol/L | 11.5073 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.802 | 125551.4255 | 274436.8583 | 32.55 | 27.7
88798 | 2021-04-09 14:53 | 28.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.4773 | μmol/L | 11.5073 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.806 | 125551.8828 | 274439.8102 | 32.55 | 27.7
88807 | 2021-04-09 14:54 | 28.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.4447 | μmol/L | 11.5134 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.805 | 125544.8394 | 274422.5522 | 32.55 | 27.7
88816 | 2021-04-09 14:54 | 29.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.4363 | μmol/L | 11.5195 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.803 | 125542.3945 | 274414.9457 | 32.55 | 27.7
88825 | 2021-04-09 14:54 | 29.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.4447 | μmol/L | 11.5134 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.805 | 125538.133 | 274407.2814 | 32.55 | 27.7
88834 | 2021-04-09 14:55 | 29.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.3152 | μmol/L | 11.5195 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.808 | 125547.7398 | 274414.8762 | 32.55 | 27.7
88843 | 2021-04-09 14:55 | 30.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.3152 | μmol/L | 11.5195 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.808 | 125546.0652 | 274414.161 | 32.55 | 27.7
88852 | 2021-04-09 14:55 | 30.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.291 | μmol/L | 11.5195 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.809 | 125540.6194 | 274395.7202 | 32.55 | 27.7
88861 | 2021-04-09 14:56 | 30.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.2826 | μmol/L | 11.5256 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.807 | 125546.0353 | 274407.728 | 32.55 | 27.7
88870 | 2021-04-09 14:56 | 31.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.129 | μmol/L | 11.5318 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.811 | 125547.894 | 274400.9396 | 32.55 | 27.7
88879 | 2021-04-09 14:56 | 31.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.2584 | μmol/L | 11.5256 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.808 | 125553.4735 | 274415.2337 | 32.55 | 27.7
88888 | 2021-04-09 14:57 | 31.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.2016 | μmol/L | 11.5318 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.808 | 125549.12 | 274402.6163 | 32.55 | 27.7
88897 | 2021-04-09 14:57 | 32.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.21 | μmol/L | 11.5256 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.81 | 125544.3208 | 274404.1279 | 32.55 | 27.7
88906 | 2021-04-09 14:57 | 32.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.048 | μmol/L | 11.5379 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.812 | 125547.3924 | 274379.1033 | 32.55 | 27.7
88915 | 2021-04-09 14:58 | 32.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.1532 | μmol/L | 11.5318 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.81 | 125550.2034 | 274380.2744 | 32.55 | 27.7
88924 | 2021-04-09 14:58 | 33.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.0722 | μmol/L | 11.5379 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.811 | 125543.7988 | 274388.1878 | 32.55 | 27.7
88933 | 2021-04-09 14:58 | 33.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.1448 | μmol/L | 11.5379 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.808 | 125542.0776 | 274369.4109 | 32.55 | 27.7
88942 | 2021-04-09 14:59 | 33.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.0155 | μmol/L | 11.544 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.811 | 125534.7186 | 274363.0375 | 32.55 | 27.7
88951 | 2021-04-09 14:59 | 34.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 286.0638 | μmol/L | 11.544 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.809 | 125549.4189 | 274369.309 | 32.55 | 27.7
88960 | 2021-04-09 14:59 | 34.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.9104 | μmol/L | 11.5501 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.813 | 125551.1731 | 274362.8968 | 32.55 | 27.7
88969 | 2021-04-09 15:00 | 34.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.8862 | μmol/L | 11.5501 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.814 | 125538.6412 | 274359.2877 | 32.55 | 27.7
88978 | 2021-04-09 15:00 | 35.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.9104 | μmol/L | 11.5501 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.813 | 125539.2365 | 274352.4682 | 32.55 | 27.7
88987 | 2021-04-09 15:00 | 35.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.8295 | μmol/L | 11.5562 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.814 | 125539.3182 | 274369.3177 | 32.55 | 27.7
88996 | 2021-04-09 15:01 | 35.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.8862 | μmol/L | 11.5501 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.814 | 125535.7559 | 274349.4667 | 32.55 | 27.7
89005 | 2021-04-09 15:01 | 36.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.7811 | μmol/L | 11.5562 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.816 | 125534.3431 | 274357.1652 | 32.55 | 27.7
89014 | 2021-04-09 15:01 | 36.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.8137 | μmol/L | 11.5501 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.817 | 125531.6496 | 274333.6298 | 32.55 | 27.7
89023 | 2021-04-09 15:02 | 36.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.7486 | μmol/L | 11.5623 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.815 | 125535.096 | 274338.7635 | 32.55 | 27.7
89032 | 2021-04-09 15:02 | 37.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.6761 | μmol/L | 11.5623 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.818 | 125529.3573 | 274322.5894 | 32.55 | 27.7
89041 | 2021-04-09 15:02 | 37.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.6678 | μmol/L | 11.5684 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.816 | 125528.6623 | 274330.1082 | 32.55 | 27.7
89050 | 2021-04-09 15:03 | 37.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.6678 | μmol/L | 11.5684 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.816 | 125530.8155 | 274337.5629 | 32.55 | 27.7
89059 | 2021-04-09 15:03 | 38.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.6678 | μmol/L | 11.5684 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.816 | 125534.4954 | 274320.1768 | 32.55 | 27.7
89068 | 2021-04-09 15:03 | 38.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.5471 | μmol/L | 11.5684 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.821 | 125536.8878 | 274327.312 | 32.55 | 27.7
89077 | 2021-04-09 15:04 | 38.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.4904 | μmol/L | 11.5745 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.821 | 125525.1025 | 274318.5282 | 32.55 | 27.7
89086 | 2021-04-09 15:04 | 39.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.5629 | μmol/L | 11.5745 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.818 | 125528.2614 | 274319.9658 | 32.55 | 27.7
89095 | 2021-04-09 15:04 | 39.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.4663 | μmol/L | 11.5745 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.822 | 125530.3606 | 274316.8165 | 32.55 | 27.7
89104 | 2021-04-09 15:05 | 39.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.5304 | μmol/L | 11.5806 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.817 | 125523.0336 | 274313.4784 | 32.55 | 27.7
89113 | 2021-04-09 15:05 | 40.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.5146 | μmol/L | 11.5745 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.82 | 125529.0151 | 274314.4411 | 32.55 | 27.7
89122 | 2021-04-09 15:05 | 40.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.4904 | μmol/L | 11.5745 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.821 | 125532.0827 | 274315.357 | 32.55 | 27.7
89131 | 2021-04-09 15:06 | 40.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.329 | μmol/L | 11.5867 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.823 | 125530.7351 | 274299.7024 | 32.55 | 27.7
89140 | 2021-04-09 15:06 | 41.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.458 | μmol/L | 11.5806 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.82 | 125538.3722 | 274307.2265 | 32.55 | 27.7
89149 | 2021-04-09 15:06 | 41.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.3689 | μmol/L | 11.5928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.819 | 125527.4685 | 274303.4134 | 32.55 | 27.7
89158 | 2021-04-09 15:07 | 41.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.3448 | μmol/L | 11.5928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.82 | 125525.4436 | 274295.162 | 32.55 | 27.7
89167 | 2021-04-09 15:07 | 42.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.3772 | μmol/L | 11.5867 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.821 | 125512.5055 | 274283.1461 | 32.55 | 27.7
89176 | 2021-04-09 15:07 | 42.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.2001 | μmol/L | 11.5928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.826 | 125511.3962 | 274270.5168 | 32.55 | 27.7
89185 | 2021-04-09 15:08 | 42.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.2882 | μmol/L | 11.5989 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.82 | 125498.4923 | 274270.4583 | 32.55 | 27.7
89194 | 2021-04-09 15:08 | 43.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.3207 | μmol/L | 11.5928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.821 | 125496.3758 | 274266.2081 | 32.55 | 27.7
89203 | 2021-04-09 15:08 | 43.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.3448 | μmol/L | 11.5928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.82 | 125497.6805 | 274272.8246 | 32.55 | 27.7
89212 | 2021-04-09 15:09 | 43.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.2076 | μmol/L | 11.605 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.821 | 125484.3154 | 274261.9411 | 32.55 | 27.7
89221 | 2021-04-09 15:09 | 44.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.2641 | μmol/L | 11.5989 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.821 | 125486.0545 | 274258.2506 | 32.55 | 27.7
89230 | 2021-04-09 15:09 | 44.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.2641 | μmol/L | 11.5989 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.821 | 125484.0702 | 274263.4376 | 32.55 | 27.7
89239 | 2021-04-09 15:10 | 44.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.3124 | μmol/L | 11.5989 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.819 | 125486.6267 | 274260.0984 | 32.55 | 27.7
89248 | 2021-04-09 15:10 | 45.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.1835 | μmol/L | 11.605 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.822 | 125481.8442 | 274254.5751 | 32.55 | 27.7
89257 | 2021-04-09 15:10 | 45.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.1111 | μmol/L | 11.605 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.825 | 125491.5371 | 274233.3625 | 32.55 | 27.7
89266 | 2021-04-09 15:11 | 45.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.0546 | μmol/L | 11.6111 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.825 | 125492.1358 | 274250.6325 | 32.55 | 27.7
89275 | 2021-04-09 15:11 | 46.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.0305 | μmol/L | 11.6111 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.826 | 125487.0203 | 274233.9209 | 32.55 | 27.7
89284 | 2021-04-09 15:11 | 46.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 285.0787 | μmol/L | 11.6111 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.824 | 125502.0746 | 274241.6049 | 32.55 | 27.7
89293 | 2021-04-09 15:12 | 46.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.9824 | μmol/L | 11.6111 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.828 | 125501.1901 | 274226.1724 | 32.55 | 27.7
89302 | 2021-04-09 15:12 | 47.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8777 | μmol/L | 11.6172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.83 | 125506.8633 | 274224.8063 | 32.55 | 27.7
89311 | 2021-04-09 15:12 | 47.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8777 | μmol/L | 11.6172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.83 | 125505.7124 | 274221.4888 | 32.55 | 27.7
89320 | 2021-04-09 15:13 | 47.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7972 | μmol/L | 11.6233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.831 | 125518.2772 | 274222.1821 | 32.55 | 27.7
89329 | 2021-04-09 15:13 | 48.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8055 | μmol/L | 11.6172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.833 | 125510.3408 | 274212.3414 | 32.55 | 27.7
89338 | 2021-04-09 15:13 | 48.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8173 | μmol/L | 11.6233 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.83 | 125508.0045 | 274202.0505 | 32.55 | 27.7
89347 | 2021-04-09 15:14 | 48.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7451 | μmol/L | 11.6233 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.833 | 125513.0666 | 274209.8097 | 32.55 | 27.7
89356 | 2021-04-09 15:14 | 49.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7692 | μmol/L | 11.6233 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.832 | 125515.325 | 274192.6972 | 32.55 | 27.7
89365 | 2021-04-09 15:14 | 49.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.8777 | μmol/L | 11.6172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.83 | 125511.6789 | 274185.1615 | 32.55 | 27.7
89374 | 2021-04-09 15:15 | 49.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7167 | μmol/L | 11.6294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.832 | 125499.117 | 274194.6445 | 32.55 | 27.7
89383 | 2021-04-09 15:15 | 50.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.749 | μmol/L | 11.6233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.833 | 125503.0741 | 274190.7859 | 32.55 | 27.7
89392 | 2021-04-09 15:15 | 50.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.7167 | μmol/L | 11.6294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.832 | 125506.759 | 274188.959 | 32.55 | 27.7
89401 | 2021-04-09 15:16 | 50.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.5964 | μmol/L | 11.6294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.837 | 125513.3674 | 274178.78 | 32.55 | 27.7
89410 | 2021-04-09 15:16 | 51.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.6686 | μmol/L | 11.6294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.834 | 125510.1796 | 274173.7754 | 32.55 | 27.7
89419 | 2021-04-09 15:16 | 51.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.5242 | μmol/L | 11.6294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.84 | 125515.6257 | 274168.4301 | 32.55 | 27.7
89428 | 2021-04-09 15:17 | 51.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.516 | μmol/L | 11.6355 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.838 | 125524.8561 | 274181.242 | 32.55 | 27.7
89437 | 2021-04-09 15:17 | 52.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.4679 | μmol/L | 11.6355 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.84 | 125529.7664 | 274172.546 | 32.55 | 27.7
89446 | 2021-04-09 15:17 | 52.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.516 | μmol/L | 11.6355 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.838 | 125530.6637 | 274166.857 | 32.55 | 27.7
89455 | 2021-04-09 15:18 | 52.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.4076 | μmol/L | 11.6416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.84 | 125529.7397 | 274145.3539 | 32.55 | 27.7
89464 | 2021-04-09 15:18 | 53.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.3634 | μmol/L | 11.6416 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.842 | 125536.0442 | 274155.2072 | 32.55 | 27.7
89473 | 2021-04-09 15:18 | 53.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.2914 | μmol/L | 11.6416 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.845 | 125544.9945 | 274145.4721 | 32.55 | 27.7
89482 | 2021-04-09 15:19 | 53.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.2634 | μmol/L | 11.6416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.846 | 125553.483 | 274136.6808 | 32.55 | 27.7
89491 | 2021-04-09 15:19 | 54.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1953 | μmol/L | 11.6416 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.849 | 125552.0651 | 274141.6875 | 32.55 | 27.7
89500 | 2021-04-09 15:19 | 54.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0587 | μmol/L | 11.6538 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.85 | 125567.5096 | 274135.7784 | 32.55 | 27.7
89509 | 2021-04-09 15:20 | 54.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.063 | μmol/L | 11.6477 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.852 | 125564.4048 | 274136.4026 | 32.55 | 27.7
89518 | 2021-04-09 15:20 | 55.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.1673 | μmol/L | 11.6416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.85 | 125575.9512 | 274137.0357 | 32.55 | 27.7
89527 | 2021-04-09 15:20 | 55.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.087 | μmol/L | 11.6477 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.851 | 125572.5449 | 274135.6519 | 32.55 | 27.7
89536 | 2021-04-09 15:21 | 55.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 284.0107 | μmol/L | 11.6538 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.852 | 125582.0005 | 274134.0039 | 32.55 | 27.7
89545 | 2021-04-09 15:21 | 56.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8907 | μmol/L | 11.6538 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.857 | 125586.2222 | 274139.517 | 32.55 | 27.7
89554 | 2021-04-09 15:21 | 56.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8868 | μmol/L | 11.6538 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.857 | 125587.6103 | 274113.3981 | 32.55 | 27.7
89563 | 2021-04-09 15:22 | 56.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.9671 | μmol/L | 11.6477 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.856 | 125585.3636 | 274106.8798 | 32.55 | 27.7
89572 | 2021-04-09 15:22 | 57.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.7909 | μmol/L | 11.6538 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.861 | 125587.0499 | 274110.9992 | 32.55 | 27.7
89581 | 2021-04-09 15:22 | 57.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 283.8628 | μmol/L | 11.6538 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.858 | 125603.7941 | 274130.2746 | 32.55 | 27.7