## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99267 | 2021-04-20 14:41 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0781 | μmol/L | 14.9577 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.731 | 103290.9729 | 297476.1896 | 30.45 | 114.2
99277 | 2021-04-20 14:42 | 0.33898 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4871 | μmol/L | 14.9393 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.719 | 103177.8413 | 297404.9361 | 30.45 | 114.2
99287 | 2021-04-20 14:42 | 0.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5925 | μmol/L | 14.9455 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.712 | 103063.5039 | 297352.4137 | 30.45 | 114.2
99297 | 2021-04-20 14:42 | 1.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.7465 | μmol/L | 14.9455 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.705 | 102958.7902 | 297290.1801 | 30.45 | 114.2
99307 | 2021-04-20 14:43 | 1.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.0594 | μmol/L | 14.9393 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.693 | 102862.2273 | 297235.6902 | 30.45 | 114.2
99317 | 2021-04-20 14:43 | 1.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.2579 | μmol/L | 14.9393 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.684 | 102760.1071 | 297150.9401 | 30.45 | 114.2
99327 | 2021-04-20 14:43 | 2.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.3507 | μmol/L | 14.9332 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.682 | 102674.2223 | 297092.8772 | 30.45 | 114.2
99337 | 2021-04-20 14:44 | 2.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.452 | μmol/L | 14.9455 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.673 | 102583.012 | 297016.9497 | 30.45 | 114.2
99347 | 2021-04-20 14:44 | 2.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.66 | μmol/L | 14.9332 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.668 | 102497.7359 | 296967.7499 | 30.45 | 114.2
99357 | 2021-04-20 14:44 | 3.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.7881 | μmol/L | 14.9393 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.66 | 102415.0306 | 296894.3198 | 30.45 | 114.2
99367 | 2021-04-20 14:45 | 3.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.8766 | μmol/L | 14.9393 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.656 | 102335.932 | 296825.9386 | 30.45 | 114.2
99377 | 2021-04-20 14:45 | 3.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.0139 | μmol/L | 14.9332 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.652 | 102262.6107 | 296773.3155 | 30.45 | 114.2
99387 | 2021-04-20 14:45 | 4.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.0537 | μmol/L | 14.9393 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.648 | 102193.7052 | 296702.9719 | 30.45 | 114.2
99397 | 2021-04-20 14:46 | 4.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.2974 | μmol/L | 14.9393 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.637 | 102116.1397 | 296631.2029 | 30.45 | 114.2
99407 | 2021-04-20 14:46 | 4.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.3463 | μmol/L | 14.9332 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.637 | 102059.2602 | 296578.8066 | 30.45 | 114.2
99417 | 2021-04-20 14:46 | 5.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.5505 | μmol/L | 14.927 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.63 | 101978.9862 | 296514.8172 | 30.45 | 114.2
99427 | 2021-04-20 14:47 | 5.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.5949 | μmol/L | 14.927 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.628 | 101922.7869 | 296449.3099 | 30.45 | 114.2
99437 | 2021-04-20 14:47 | 5.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.6393 | μmol/L | 14.927 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.626 | 101859.5091 | 296388.2914 | 30.45 | 114.2
99447 | 2021-04-20 14:47 | 6.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.7726 | μmol/L | 14.927 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.62 | 101790.2744 | 296320.1877 | 30.45 | 114.2
99457 | 2021-04-20 14:48 | 6.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.8615 | μmol/L | 14.927 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.616 | 101738.11 | 296273.4935 | 30.45 | 114.2
99467 | 2021-04-20 14:48 | 6.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.955 | μmol/L | 14.9209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.614 | 101663.7272 | 296212.5324 | 30.45 | 114.2
99477 | 2021-04-20 14:48 | 7.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.9772 | μmol/L | 14.9209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.613 | 101617.8214 | 296156.1211 | 30.45 | 114.2
99487 | 2021-04-20 14:49 | 7.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2088 | μmol/L | 14.9086 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.607 | 101564.4461 | 296099.6225 | 30.45 | 114.2
99497 | 2021-04-20 14:49 | 7.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2488 | μmol/L | 14.9148 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.603 | 101511.4176 | 296044.4553 | 30.45 | 114.2
99507 | 2021-04-20 14:49 | 8.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2488 | μmol/L | 14.9148 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.603 | 101456.8865 | 295983.8611 | 30.45 | 114.2
99517 | 2021-04-20 14:50 | 8.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.387 | μmol/L | 14.9086 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.599 | 101400.8847 | 295930.4655 | 30.45 | 114.2
99527 | 2021-04-20 14:50 | 8.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5521 | μmol/L | 14.8964 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.596 | 101348.0168 | 295871.4938 | 30.45 | 114.2
99537 | 2021-04-20 14:50 | 9.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6591 | μmol/L | 14.9025 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.589 | 101296.2711 | 295815.202 | 30.45 | 114.2
99547 | 2021-04-20 14:51 | 9.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.619 | μmol/L | 14.8964 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.593 | 101241.9271 | 295749.7975 | 30.45 | 114.2
99557 | 2021-04-20 14:51 | 9.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6591 | μmol/L | 14.9025 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.589 | 101192.0672 | 295710.3822 | 30.45 | 114.2
99567 | 2021-04-20 14:51 | 10.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7574 | μmol/L | 14.8902 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.589 | 101145.2605 | 295634.7613 | 30.45 | 114.2
99577 | 2021-04-20 14:52 | 10.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8513 | μmol/L | 14.8841 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.587 | 101106.0745 | 295590.9914 | 30.45 | 114.2
99587 | 2021-04-20 14:52 | 10.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8021 | μmol/L | 14.8902 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.587 | 101064.3769 | 295551.9481 | 30.45 | 114.2
99597 | 2021-04-20 14:52 | 11.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7529 | μmol/L | 14.8964 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.587 | 101013.473 | 295488.2262 | 30.45 | 114.2
99607 | 2021-04-20 14:53 | 11.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.9183 | μmol/L | 14.8841 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.584 | 100976.4934 | 295440.0438 | 30.45 | 114.2
99617 | 2021-04-20 14:53 | 11.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8244 | μmol/L | 14.8902 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.586 | 100940.8736 | 295383.5641 | 30.45 | 114.2
99627 | 2021-04-20 14:53 | 12.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.9675 | μmol/L | 14.878 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.584 | 100906.0248 | 295342.805 | 30.45 | 114.2
99637 | 2021-04-20 14:54 | 12.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.972 | μmol/L | 14.8718 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.586 | 100867.3792 | 295283.4194 | 30.45 | 114.2
99647 | 2021-04-20 14:54 | 12.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.9944 | μmol/L | 14.8718 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.585 | 100822.3262 | 295245.9434 | 30.45 | 114.2
99657 | 2021-04-20 14:54 | 13.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.1285 | μmol/L | 14.8718 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.579 | 100787.884 | 295204.4344 | 30.45 | 114.2
99667 | 2021-04-20 14:55 | 13.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.0929 | μmol/L | 14.8595 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.585 | 100759.9001 | 295138.7604 | 30.45 | 114.2
99677 | 2021-04-20 14:55 | 13.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.1153 | μmol/L | 14.8595 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.584 | 100718.9579 | 295081.2427 | 30.45 | 114.2
99687 | 2021-04-20 14:55 | 14.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2138 | μmol/L | 14.8473 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.584 | 100677.7439 | 295049.6829 | 30.45 | 114.2
99697 | 2021-04-20 14:56 | 14.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.1244 | μmol/L | 14.8473 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.588 | 100659.4143 | 294999.3186 | 30.45 | 114.2
99707 | 2021-04-20 14:56 | 14.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.0975 | μmol/L | 14.8534 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.587 | 100619.2445 | 294950.8641 | 30.45 | 114.2
99717 | 2021-04-20 14:56 | 15.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.1645 | μmol/L | 14.8534 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.584 | 100584.3228 | 294918.6186 | 30.45 | 114.2
99727 | 2021-04-20 14:57 | 15.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2543 | μmol/L | 14.8473 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.582 | 100555.7928 | 294859.7048 | 30.45 | 114.2
99737 | 2021-04-20 14:57 | 15.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2677 | μmol/L | 14.835 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.586 | 100533.1249 | 294797.1628 | 30.45 | 114.2
99747 | 2021-04-20 14:57 | 16.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2141 | μmol/L | 14.8411 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.586 | 100499.9024 | 294768.2957 | 30.45 | 114.2
99757 | 2021-04-20 14:58 | 16.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3125 | μmol/L | 14.835 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.584 | 100467.7212 | 294720.7263 | 30.45 | 114.2
99767 | 2021-04-20 14:58 | 16.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.1964 | μmol/L | 14.835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.589 | 100445.094 | 294674.6495 | 30.45 | 114.2
99777 | 2021-04-20 14:58 | 17.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2411 | μmol/L | 14.835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.587 | 100412.1989 | 294638.9327 | 30.45 | 114.2
99787 | 2021-04-20 14:59 | 17.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3888 | μmol/L | 14.8227 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.585 | 100391.6633 | 294602.2055 | 30.45 | 114.2
99797 | 2021-04-20 14:59 | 17.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.268 | μmol/L | 14.8289 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.588 | 100359.5612 | 294551.2339 | 30.45 | 114.2
99807 | 2021-04-20 14:59 | 18.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2233 | μmol/L | 14.8289 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.59 | 100333.0481 | 294506.533 | 30.45 | 114.2
99817 | 2021-04-20 15:00 | 18.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2233 | μmol/L | 14.8289 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.59 | 100304.7626 | 294465.9261 | 30.45 | 114.2
99827 | 2021-04-20 15:00 | 18.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2773 | μmol/L | 14.8166 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.592 | 100278.356 | 294425.2801 | 30.45 | 114.2
99837 | 2021-04-20 15:00 | 19.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3312 | μmol/L | 14.8043 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.594 | 100263.271 | 294397.5021 | 30.45 | 114.2
99847 | 2021-04-20 15:01 | 19.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3355 | μmol/L | 14.8043 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.594 | 100240.0704 | 294353.4347 | 30.45 | 114.2
99857 | 2021-04-20 15:01 | 19.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.1879 | μmol/L | 14.8166 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.596 | 100215.9279 | 294314.9025 | 30.45 | 114.2
99867 | 2021-04-20 15:01 | 20.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3536 | μmol/L | 14.8043 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.593 | 100190.6355 | 294274.0769 | 30.45 | 114.2
99877 | 2021-04-20 15:02 | 20.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3806 | μmol/L | 14.7982 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.594 | 100161.9226 | 294233.6339 | 30.45 | 114.2
99887 | 2021-04-20 15:02 | 20.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3536 | μmol/L | 14.8043 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.593 | 100149.168 | 294189.2593 | 30.45 | 114.2
99897 | 2021-04-20 15:02 | 21.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4794 | μmol/L | 14.7859 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.594 | 100103.9731 | 294154.3394 | 30.45 | 114.2
99907 | 2021-04-20 15:03 | 21.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4486 | μmol/L | 14.7675 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.602 | 100113.3612 | 294129.2768 | 30.45 | 114.2
99917 | 2021-04-20 15:03 | 21.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2734 | μmol/L | 14.792 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.601 | 100081.9529 | 294077.6995 | 30.45 | 114.2
99927 | 2021-04-20 15:03 | 22.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3228 | μmol/L | 14.7859 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.601 | 100051.9449 | 294044.1542 | 30.45 | 114.2
99937 | 2021-04-20 15:04 | 22.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3498 | μmol/L | 14.7798 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.602 | 100036.9264 | 294001.5378 | 30.45 | 114.2
99947 | 2021-04-20 15:04 | 22.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3004 | μmol/L | 14.7859 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.602 | 100017.0701 | 293958.4282 | 30.45 | 114.2
99957 | 2021-04-20 15:04 | 23.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3051 | μmol/L | 14.7798 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.604 | 99997.5828 | 293930.3129 | 30.45 | 114.2
99967 | 2021-04-20 15:05 | 23.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3051 | μmol/L | 14.7798 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.604 | 99979.7137 | 293893.5116 | 30.45 | 114.2
99977 | 2021-04-20 15:05 | 23.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4262 | μmol/L | 14.7675 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.603 | 99957.1614 | 293843.9129 | 30.45 | 114.2
99987 | 2021-04-20 15:05 | 24.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3368 | μmol/L | 14.7675 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.607 | 99945.5186 | 293827.6433 | 30.45 | 114.2