## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99266 | 2021-04-20 14:41 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.633 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.103 | 130987.3313 | 270501.7902 | 36.4 | 83.1
99276 | 2021-04-20 14:42 | 0.32893 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5279 | μmol/L | 14.9919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.105 | 130954.4081 | 270441.2911 | 36.4 | 83.1
99286 | 2021-04-20 14:42 | 0.66202 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5837 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.105 | 130924.2778 | 270378.9727 | 36.4 | 83.1
99296 | 2021-04-20 14:42 | 0.99566 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5655 | μmol/L | 14.9797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.108 | 130880.1557 | 270322.9975 | 36.4 | 83.1
99306 | 2021-04-20 14:43 | 1.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.4916 | μmol/L | 14.9797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.111 | 130846.0386 | 270267.2538 | 36.4 | 83.1
99316 | 2021-04-20 14:43 | 1.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.362 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.114 | 130775.6281 | 270207.9881 | 36.4 | 83.1
99326 | 2021-04-20 14:43 | 1.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.3127 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.116 | 130731.8141 | 270156.3213 | 36.4 | 83.1
99336 | 2021-04-20 14:44 | 2.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.134 | μmol/L | 14.9919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.121 | 130678.5071 | 270097.7836 | 36.4 | 83.1
99346 | 2021-04-20 14:44 | 2.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0045 | μmol/L | 14.9981 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.124 | 130645.1945 | 270048.0878 | 36.4 | 83.1
99356 | 2021-04-20 14:44 | 2.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9438 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.131 | 130629.7931 | 269993.8415 | 36.4 | 83.1
99366 | 2021-04-20 14:45 | 3.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.8455 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.135 | 130603.4395 | 269929.7566 | 36.4 | 83.1
99376 | 2021-04-20 14:45 | 3.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.7653 | μmol/L | 14.9919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.136 | 130575.3137 | 269888.7523 | 36.4 | 83.1
99386 | 2021-04-20 14:45 | 3.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4463 | μmol/L | 14.9919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.149 | 130575.0888 | 269844.7504 | 36.4 | 83.1
99396 | 2021-04-20 14:46 | 4.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4528 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.151 | 130543.7048 | 269782.7263 | 36.4 | 83.1
99406 | 2021-04-20 14:46 | 4.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.3302 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.156 | 130519.3113 | 269745.6429 | 36.4 | 83.1
99416 | 2021-04-20 14:46 | 4.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1767 | μmol/L | 14.9919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.16 | 130511.4473 | 269679.8922 | 36.4 | 83.1
99426 | 2021-04-20 14:47 | 5.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9808 | μmol/L | 14.9919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.168 | 130498.9169 | 269648.0184 | 36.4 | 83.1
99436 | 2021-04-20 14:47 | 5.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9874 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.17 | 130439.6174 | 269585.598 | 36.4 | 83.1
99446 | 2021-04-20 14:47 | 5.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.7428 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.18 | 130456.4668 | 269538.4592 | 36.4 | 83.1
99456 | 2021-04-20 14:48 | 6.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8048 | μmol/L | 14.9736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.182 | 130433.6522 | 269503.5501 | 36.4 | 83.1
99466 | 2021-04-20 14:48 | 6.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.5961 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.186 | 130403.3384 | 269434.1064 | 36.4 | 83.1
99476 | 2021-04-20 14:48 | 6.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.474 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.191 | 130374.8533 | 269388.1127 | 36.4 | 83.1
99486 | 2021-04-20 14:49 | 7.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.3763 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.195 | 130345.8744 | 269348.6875 | 36.4 | 83.1
99496 | 2021-04-20 14:49 | 7.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.2431 | μmol/L | 14.9736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.205 | 130371.2749 | 269292.3296 | 36.4 | 83.1
99506 | 2021-04-20 14:49 | 7.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.1634 | μmol/L | 14.9797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.206 | 130337.542 | 269245.5617 | 36.4 | 83.1
99516 | 2021-04-20 14:50 | 8.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.0105 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.21 | 130302.6577 | 269193.6872 | 36.4 | 83.1
99526 | 2021-04-20 14:50 | 8.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.9197 | μmol/L | 14.9797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.216 | 130285.377 | 269165.0812 | 36.4 | 83.1
99536 | 2021-04-20 14:50 | 8.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.8709 | μmol/L | 14.9797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.218 | 130270.9029 | 269118.9962 | 36.4 | 83.1
99546 | 2021-04-20 14:51 | 9.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.5723 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.228 | 130255.9247 | 269068.8977 | 36.4 | 83.1
99556 | 2021-04-20 14:51 | 9.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.6032 | μmol/L | 14.9797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.229 | 130210.2198 | 269033.011 | 36.4 | 83.1
99566 | 2021-04-20 14:51 | 9.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.3535 | μmol/L | 14.9858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.237 | 130211.8211 | 268969.7504 | 36.4 | 83.1
99576 | 2021-04-20 14:52 | 10.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.391 | μmol/L | 14.9736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.24 | 130182.8748 | 268922.1408 | 36.4 | 83.1
99586 | 2021-04-20 14:52 | 10.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1658 | μmol/L | 14.9797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.247 | 130179.6374 | 268877.5389 | 36.4 | 83.1
99596 | 2021-04-20 14:52 | 10.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1724 | μmol/L | 14.9736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.249 | 130156.8468 | 268833.2369 | 36.4 | 83.1
99606 | 2021-04-20 14:53 | 11.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0092 | μmol/L | 14.9675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.258 | 130139.0701 | 268785.9345 | 36.4 | 83.1
99616 | 2021-04-20 14:53 | 11.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.9607 | μmol/L | 14.9675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.26 | 130130.2178 | 268740.4971 | 36.4 | 83.1
99626 | 2021-04-20 14:53 | 11.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8813 | μmol/L | 14.9736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.261 | 130088.9052 | 268698.6462 | 36.4 | 83.1
99636 | 2021-04-20 14:54 | 12.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.639 | μmol/L | 14.9736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.271 | 130094.3495 | 268655.4318 | 36.4 | 83.1
99646 | 2021-04-20 14:54 | 12.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.5905 | μmol/L | 14.9736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.273 | 130070.6161 | 268615.7863 | 36.4 | 83.1
99656 | 2021-04-20 14:54 | 12.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6808 | μmol/L | 14.9797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.267 | 130012.0663 | 268587.0975 | 36.4 | 83.1
99666 | 2021-04-20 14:55 | 13.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4585 | μmol/L | 14.9613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.283 | 130038.0647 | 268518.5382 | 36.4 | 83.1
99676 | 2021-04-20 14:55 | 13.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4211 | μmol/L | 14.9736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.28 | 130005.8071 | 268488.7972 | 36.4 | 83.1
99686 | 2021-04-20 14:55 | 13.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3793 | μmol/L | 14.9675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.284 | 129965.4384 | 268450.7457 | 36.4 | 83.1
99696 | 2021-04-20 14:56 | 14.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3309 | μmol/L | 14.9675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.286 | 129952.5396 | 268405.8774 | 36.4 | 83.1
99706 | 2021-04-20 14:56 | 14.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2584 | μmol/L | 14.9675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.289 | 129913.8284 | 268362.4238 | 36.4 | 83.1
99716 | 2021-04-20 14:56 | 14.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0167 | μmol/L | 14.9675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.299 | 129925.5932 | 268340.8938 | 36.4 | 83.1
99726 | 2021-04-20 14:57 | 15.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0234 | μmol/L | 14.9613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.301 | 129911.1411 | 268292.0431 | 36.4 | 83.1
99736 | 2021-04-20 14:57 | 15.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9027 | μmol/L | 14.9613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.306 | 129867.6484 | 268256.1444 | 36.4 | 83.1
99746 | 2021-04-20 14:57 | 15.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9335 | μmol/L | 14.9552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.307 | 129859.1966 | 268221.1541 | 36.4 | 83.1
99756 | 2021-04-20 14:58 | 16.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9093 | μmol/L | 14.9552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.308 | 129836.2178 | 268194.0821 | 36.4 | 83.1
99766 | 2021-04-20 14:58 | 16.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8852 | μmol/L | 14.9552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.309 | 129806.7345 | 268149.1109 | 36.4 | 83.1
99776 | 2021-04-20 14:58 | 16.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6681 | μmol/L | 14.9552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.318 | 129806.122 | 268115.2351 | 36.4 | 83.1
99786 | 2021-04-20 14:59 | 17.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.644 | μmol/L | 14.9552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.319 | 129778.1457 | 268083.1833 | 36.4 | 83.1
99796 | 2021-04-20 14:59 | 17.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4752 | μmol/L | 14.9552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.326 | 129776.2159 | 268038.0885 | 36.4 | 83.1
99806 | 2021-04-20 14:59 | 17.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4096 | μmol/L | 14.9491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.331 | 129768.0699 | 267996.2394 | 36.4 | 83.1
99816 | 2021-04-20 15:00 | 18.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2585 | μmol/L | 14.9552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.335 | 129757.1953 | 267979.6 | 36.4 | 83.1
99826 | 2021-04-20 15:00 | 18.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0794 | μmol/L | 14.943 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.347 | 129801.7768 | 267941.8046 | 36.4 | 83.1
99836 | 2021-04-20 15:00 | 18.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7843 | μmol/L | 14.9491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.357 | 129824.9658 | 267912.3017 | 36.4 | 83.1
99846 | 2021-04-20 15:01 | 19.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.719 | μmol/L | 14.943 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.362 | 129855.0888 | 267868.2029 | 36.4 | 83.1
99856 | 2021-04-20 15:01 | 19.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3831 | μmol/L | 14.943 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.376 | 129893.2374 | 267832.9813 | 36.4 | 83.1
99866 | 2021-04-20 15:01 | 19.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1674 | μmol/L | 14.943 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.385 | 129922.721 | 267820.4062 | 36.4 | 83.1
99876 | 2021-04-20 15:02 | 20.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7367 | μmol/L | 14.943 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.403 | 129983.9417 | 267775.9241 | 36.4 | 83.1
99886 | 2021-04-20 15:02 | 20.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4739 | μmol/L | 14.943 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 130022.546 | 267734.792 | 36.4 | 83.1
99896 | 2021-04-20 15:02 | 20.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1808 | μmol/L | 14.9491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.424 | 130066.7253 | 267703.9333 | 36.4 | 83.1
99906 | 2021-04-20 15:03 | 21.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9798 | μmol/L | 14.9369 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.437 | 130124.7507 | 267676.984 | 36.4 | 83.1
99916 | 2021-04-20 15:03 | 21.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7655 | μmol/L | 14.9369 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.446 | 130148.8757 | 267637.1801 | 36.4 | 83.1
99926 | 2021-04-20 15:03 | 21.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.446 | μmol/L | 14.9246 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.464 | 130210.331 | 267615.1852 | 36.4 | 83.1
99936 | 2021-04-20 15:04 | 22.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.0526 | μmol/L | 14.9369 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.476 | 130246.0134 | 267586.848 | 36.4 | 83.1
99946 | 2021-04-20 15:04 | 22.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.8628 | μmol/L | 14.9369 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.484 | 130286.1936 | 267552.6919 | 36.4 | 83.1
99956 | 2021-04-20 15:04 | 22.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6022 | μmol/L | 14.9369 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.495 | 130314.3719 | 267531.7636 | 36.4 | 83.1
99966 | 2021-04-20 15:05 | 23.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.5447 | μmol/L | 14.9246 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.502 | 130338.6175 | 267496.36 | 36.4 | 83.1
99976 | 2021-04-20 15:05 | 23.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.3622 | μmol/L | 14.9185 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.512 | 130352.0274 | 267461.3566 | 36.4 | 83.1
99986 | 2021-04-20 15:05 | 23.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.9942 | μmol/L | 14.9308 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.523 | 130382.9578 | 267431.3571 | 36.4 | 83.1