## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99264 | 2021-04-20 14:41 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.9501 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.727 | 107217.9633 | 214707.3185 | 27.3 | 43.4
99274 | 2021-04-20 14:42 | 0.32708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.3002 | μmol/L | 14.9118 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.711 | 107061.6184 | 214667.2922 | 27.3 | 43.4
99284 | 2021-04-20 14:42 | 0.66115 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.6118 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.701 | 106916.4803 | 214636.9042 | 27.3 | 43.4
99294 | 2021-04-20 14:42 | 0.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.0199 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.685 | 106777.5098 | 214597.3853 | 27.3 | 43.4
99304 | 2021-04-20 14:43 | 1.327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.3462 | μmol/L | 14.9118 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.67 | 106654.4552 | 214557.9902 | 27.3 | 43.4
99314 | 2021-04-20 14:43 | 1.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.4682 | μmol/L | 14.9179 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.663 | 106534.6814 | 214527.1757 | 27.3 | 43.4
99324 | 2021-04-20 14:43 | 1.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.8384 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.653 | 106428.2697 | 214477.7993 | 27.3 | 43.4
99334 | 2021-04-20 14:44 | 2.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.9863 | μmol/L | 14.9118 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.645 | 106332.7031 | 214442.9346 | 27.3 | 43.4
99344 | 2021-04-20 14:44 | 2.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.1915 | μmol/L | 14.9118 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.637 | 106246.664 | 214399.399 | 27.3 | 43.4
99354 | 2021-04-20 14:44 | 2.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.4798 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.628 | 106160.119 | 214351.914 | 27.3 | 43.4
99364 | 2021-04-20 14:45 | 3.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.6597 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.621 | 106085.5126 | 214312.4262 | 27.3 | 43.4
99374 | 2021-04-20 14:45 | 3.6611 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.6083 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.623 | 106000.0062 | 214283.9788 | 27.3 | 43.4
99384 | 2021-04-20 14:45 | 3.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.9228 | μmol/L | 14.8996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.613 | 105929.4897 | 214242.4473 | 27.3 | 43.4
99394 | 2021-04-20 14:46 | 4.3271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.8912 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.612 | 105854.8074 | 214210.0676 | 27.3 | 43.4
99404 | 2021-04-20 14:46 | 4.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.1031 | μmol/L | 14.8996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.606 | 105792.7493 | 214177.7909 | 27.3 | 43.4
99414 | 2021-04-20 14:46 | 4.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.0714 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.605 | 105726.1764 | 214137.9153 | 27.3 | 43.4
99424 | 2021-04-20 14:47 | 5.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.1745 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.601 | 105655.0065 | 214093.5041 | 27.3 | 43.4
99434 | 2021-04-20 14:47 | 5.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.4381 | μmol/L | 14.8996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.593 | 105583.6209 | 214053.0152 | 27.3 | 43.4
99444 | 2021-04-20 14:47 | 5.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.5414 | μmol/L | 14.8996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.589 | 105516.9371 | 214015.6735 | 27.3 | 43.4
99454 | 2021-04-20 14:48 | 6.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.5672 | μmol/L | 14.8996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.588 | 105466.8798 | 213978.2737 | 27.3 | 43.4
99464 | 2021-04-20 14:48 | 6.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.7021 | μmol/L | 14.8934 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.585 | 105391.1089 | 213956.7436 | 27.3 | 43.4
99474 | 2021-04-20 14:48 | 6.9938 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.7479 | μmol/L | 14.8996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.581 | 105339.317 | 213919.2174 | 27.3 | 43.4
99484 | 2021-04-20 14:49 | 7.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.9604 | μmol/L | 14.8934 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.575 | 105278.4059 | 213878.9138 | 27.3 | 43.4
99494 | 2021-04-20 14:49 | 7.6603 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.9604 | μmol/L | 14.8934 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.575 | 105229.2827 | 213844.4977 | 27.3 | 43.4
99504 | 2021-04-20 14:49 | 7.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.038 | μmol/L | 14.8934 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.572 | 105170.269 | 213809.9375 | 27.3 | 43.4
99514 | 2021-04-20 14:50 | 8.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.0439 | μmol/L | 14.8873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.574 | 105116.3123 | 213785.1859 | 27.3 | 43.4
99524 | 2021-04-20 14:50 | 8.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2049 | μmol/L | 14.8812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.57 | 105075.3566 | 213758.9009 | 27.3 | 43.4
99534 | 2021-04-20 14:50 | 8.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.1273 | μmol/L | 14.8812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.573 | 105025.2682 | 213702.8381 | 27.3 | 43.4
99544 | 2021-04-20 14:51 | 9.3271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2508 | μmol/L | 14.8873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.566 | 104973.3983 | 213673.6079 | 27.3 | 43.4
99554 | 2021-04-20 14:51 | 9.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3602 | μmol/L | 14.8812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.564 | 104926.8678 | 213650.0857 | 27.3 | 43.4
99564 | 2021-04-20 14:51 | 9.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.4178 | μmol/L | 14.8751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.564 | 104881.419 | 213620.9621 | 27.3 | 43.4
99574 | 2021-04-20 14:52 | 10.3271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3861 | μmol/L | 14.8812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.563 | 104830.7337 | 213584.2664 | 27.3 | 43.4
99584 | 2021-04-20 14:52 | 10.6611 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3861 | μmol/L | 14.8812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.563 | 104784.6945 | 213558.4487 | 27.3 | 43.4
99594 | 2021-04-20 14:52 | 10.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.5214 | μmol/L | 14.8751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.56 | 104747.9941 | 213523.2174 | 27.3 | 43.4
99604 | 2021-04-20 14:53 | 11.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.4696 | μmol/L | 14.8751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.562 | 104710.8975 | 213490.6731 | 27.3 | 43.4
99614 | 2021-04-20 14:53 | 11.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.5733 | μmol/L | 14.8751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.558 | 104663.6249 | 213465.1068 | 27.3 | 43.4
99624 | 2021-04-20 14:53 | 11.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.5473 | μmol/L | 14.8751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.559 | 104631.7371 | 213432.5342 | 27.3 | 43.4
99634 | 2021-04-20 14:54 | 12.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.6886 | μmol/L | 14.8629 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.558 | 104592.003 | 213406.5785 | 27.3 | 43.4
99644 | 2021-04-20 14:54 | 12.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.6945 | μmol/L | 14.8568 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.56 | 104549.5867 | 213382.6716 | 27.3 | 43.4
99654 | 2021-04-20 14:54 | 12.9938 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.7664 | μmol/L | 14.8629 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.555 | 104512.9255 | 213344.9544 | 27.3 | 43.4
99664 | 2021-04-20 14:55 | 13.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8241 | μmol/L | 14.8568 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.555 | 104484.071 | 213328.5901 | 27.3 | 43.4
99674 | 2021-04-20 14:55 | 13.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.6945 | μmol/L | 14.8568 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.56 | 104437.9022 | 213291.721 | 27.3 | 43.4
99684 | 2021-04-20 14:55 | 13.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8501 | μmol/L | 14.8568 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.554 | 104395.8868 | 213250.0434 | 27.3 | 43.4
99694 | 2021-04-20 14:56 | 14.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.9078 | μmol/L | 14.8507 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.554 | 104362.3581 | 213236.3057 | 27.3 | 43.4
99704 | 2021-04-20 14:56 | 14.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8819 | μmol/L | 14.8507 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.555 | 104332.1498 | 213202.8044 | 27.3 | 43.4
99714 | 2021-04-20 14:56 | 14.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0116 | μmol/L | 14.8507 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.55 | 104299.7211 | 213186.8441 | 27.3 | 43.4
99724 | 2021-04-20 14:57 | 15.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.9396 | μmol/L | 14.8446 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.555 | 104267.9912 | 213147.9645 | 27.3 | 43.4
99734 | 2021-04-20 14:57 | 15.6604 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8877 | μmol/L | 14.8446 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.557 | 104234.4148 | 213138.0471 | 27.3 | 43.4
99744 | 2021-04-20 14:57 | 15.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0234 | μmol/L | 14.8385 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.554 | 104204.3923 | 213112.97 | 27.3 | 43.4
99754 | 2021-04-20 14:58 | 16.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0116 | μmol/L | 14.8507 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.55 | 104169.5281 | 213073.2628 | 27.3 | 43.4
99764 | 2021-04-20 14:58 | 16.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0434 | μmol/L | 14.8446 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.551 | 104134.0077 | 213058.7603 | 27.3 | 43.4
99774 | 2021-04-20 14:58 | 16.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0234 | μmol/L | 14.8385 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.554 | 104101.6169 | 213033.9696 | 27.3 | 43.4
99784 | 2021-04-20 14:59 | 17.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.1331 | μmol/L | 14.8324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.552 | 104071.8627 | 213014.5405 | 27.3 | 43.4
99794 | 2021-04-20 14:59 | 17.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.1272 | μmol/L | 14.8385 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.55 | 104037.475 | 212986.9383 | 27.3 | 43.4
99804 | 2021-04-20 14:59 | 17.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.211 | μmol/L | 14.8324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.549 | 104006.1231 | 212948.7371 | 27.3 | 43.4
99814 | 2021-04-20 15:00 | 18.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.1331 | μmol/L | 14.8324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.552 | 103975.5173 | 212940.8275 | 27.3 | 43.4
99824 | 2021-04-20 15:00 | 18.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.211 | μmol/L | 14.8324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.549 | 103946.3919 | 212909.1343 | 27.3 | 43.4
99834 | 2021-04-20 15:00 | 18.9938 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.3208 | μmol/L | 14.8263 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.547 | 103917.0622 | 212883.1064 | 27.3 | 43.4
99844 | 2021-04-20 15:01 | 19.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.2948 | μmol/L | 14.8263 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.548 | 103885.5418 | 212863.1504 | 27.3 | 43.4
99854 | 2021-04-20 15:01 | 19.6605 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4365 | μmol/L | 14.8141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.547 | 103859.9539 | 212828.6457 | 27.3 | 43.4
99864 | 2021-04-20 15:01 | 19.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.5405 | μmol/L | 14.8141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.543 | 103834.8257 | 212823.48 | 27.3 | 43.4
99874 | 2021-04-20 15:02 | 20.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.3585 | μmol/L | 14.8141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.55 | 103803.3484 | 212802.4606 | 27.3 | 43.4
99884 | 2021-04-20 15:02 | 20.6605 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4365 | μmol/L | 14.8141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.547 | 103772.2083 | 212766.0983 | 27.3 | 43.4
99894 | 2021-04-20 15:02 | 20.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4105 | μmol/L | 14.8141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.548 | 103738.8969 | 212748.8676 | 27.3 | 43.4
99904 | 2021-04-20 15:03 | 21.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4424 | μmol/L | 14.808 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.549 | 103713.7652 | 212720.9862 | 27.3 | 43.4
99914 | 2021-04-20 15:03 | 21.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4885 | μmol/L | 14.8141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.545 | 103675.8028 | 212694.7057 | 27.3 | 43.4
99924 | 2021-04-20 15:03 | 21.9937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4944 | μmol/L | 14.808 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.547 | 103647.0192 | 212683.1157 | 27.3 | 43.4
99934 | 2021-04-20 15:04 | 22.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.5204 | μmol/L | 14.808 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.546 | 103630.3715 | 212661.8694 | 27.3 | 43.4
99944 | 2021-04-20 15:04 | 22.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.7084 | μmol/L | 14.8019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.541 | 103601.6111 | 212636.9264 | 27.3 | 43.4
99954 | 2021-04-20 15:04 | 22.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.5464 | μmol/L | 14.808 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.545 | 103568.8702 | 212615.2003 | 27.3 | 43.4
99964 | 2021-04-20 15:05 | 23.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.6824 | μmol/L | 14.8019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.542 | 103545.963 | 212589.4782 | 27.3 | 43.4
99974 | 2021-04-20 15:05 | 23.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.6362 | μmol/L | 14.7958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.546 | 103512.4661 | 212569.7749 | 27.3 | 43.4
99984 | 2021-04-20 15:05 | 23.9938 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.6883 | μmol/L | 14.7958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.544 | 103494.4437 | 212548.9699 | 27.3 | 43.4