## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99262 | 2021-04-20 14:41 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.047 | μmol/L | 14.932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.14 | 144664.3153 | 273327.1577 | 33.25 | 75.7
99272 | 2021-04-20 14:42 | 0.33135 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.1396 | μmol/L | 14.932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.136 | 144636.6698 | 273284.6002 | 33.25 | 75.7
99282 | 2021-04-20 14:42 | 0.66454 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.121 | μmol/L | 14.9259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.139 | 144613.5704 | 273238.2884 | 33.25 | 75.7
99292 | 2021-04-20 14:42 | 0.99841 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.1164 | μmol/L | 14.932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.137 | 144565.9269 | 273176.3268 | 33.25 | 75.7
99302 | 2021-04-20 14:43 | 1.3313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.0701 | μmol/L | 14.932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.139 | 144519.969 | 273126.5296 | 33.25 | 75.7
99312 | 2021-04-20 14:43 | 1.6643 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.0238 | μmol/L | 14.932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.141 | 144492.1378 | 273070.2644 | 33.25 | 75.7
99322 | 2021-04-20 14:43 | 1.9982 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.0007 | μmol/L | 14.932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.142 | 144464.3293 | 273013.9954 | 33.25 | 75.7
99332 | 2021-04-20 14:44 | 2.3312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.0562 | μmol/L | 14.9197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.144 | 144481.4363 | 272975.2904 | 33.25 | 75.7
99342 | 2021-04-20 14:44 | 2.6644 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.9359 | μmol/L | 14.9259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.147 | 144469.5853 | 272916.7195 | 33.25 | 75.7
99352 | 2021-04-20 14:44 | 2.9983 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.9822 | μmol/L | 14.9259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.145 | 144419.7188 | 272851.6422 | 33.25 | 75.7
99362 | 2021-04-20 14:45 | 3.3315 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.0146 | μmol/L | 14.9136 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.148 | 144382.892 | 272805.6031 | 33.25 | 75.7
99372 | 2021-04-20 14:45 | 3.6645 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.9452 | μmol/L | 14.9136 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.151 | 144369.6367 | 272760.1306 | 33.25 | 75.7
99382 | 2021-04-20 14:45 | 3.9976 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.8019 | μmol/L | 14.9197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.155 | 144329.7674 | 272716.3967 | 33.25 | 75.7
99392 | 2021-04-20 14:46 | 4.3314 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.7556 | μmol/L | 14.9197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.157 | 144293.1652 | 272672.4333 | 33.25 | 75.7
99402 | 2021-04-20 14:46 | 4.6645 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.5431 | μmol/L | 14.9259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.164 | 144288.0256 | 272614.1282 | 33.25 | 75.7
99412 | 2021-04-20 14:46 | 4.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.5478 | μmol/L | 14.9197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.166 | 144283.3761 | 272564.6131 | 33.25 | 75.7
99422 | 2021-04-20 14:47 | 5.3313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.3632 | μmol/L | 14.9197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.174 | 144280.4946 | 272513.6169 | 33.25 | 75.7
99432 | 2021-04-20 14:47 | 5.6649 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.4417 | μmol/L | 14.9075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.175 | 144275.1203 | 272468.6098 | 33.25 | 75.7
99442 | 2021-04-20 14:47 | 5.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.2065 | μmol/L | 14.9136 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.183 | 144277.6816 | 272417.7879 | 33.25 | 75.7
99452 | 2021-04-20 14:48 | 6.3311 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.1237 | μmol/L | 14.9014 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.191 | 144281.7153 | 272363.756 | 33.25 | 75.7
99462 | 2021-04-20 14:48 | 6.6649 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.9578 | μmol/L | 14.9075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.196 | 144270.4275 | 272311.2815 | 33.25 | 75.7
99472 | 2021-04-20 14:48 | 6.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.8197 | μmol/L | 14.9075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.202 | 144268.6041 | 272279.0313 | 33.25 | 75.7
99482 | 2021-04-20 14:49 | 7.3316 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.7508 | μmol/L | 14.9075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.205 | 144251.8168 | 272223.6526 | 33.25 | 75.7
99492 | 2021-04-20 14:49 | 7.6645 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.6588 | μmol/L | 14.9075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.209 | 144237.5363 | 272181.8774 | 33.25 | 75.7
99502 | 2021-04-20 14:49 | 7.9976 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.7831 | μmol/L | 14.8952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.208 | 144195.2908 | 272136.2777 | 33.25 | 75.7
99512 | 2021-04-20 14:50 | 8.3316 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.6818 | μmol/L | 14.9075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.208 | 144165.4666 | 272087.6022 | 33.25 | 75.7
99522 | 2021-04-20 14:50 | 8.6644 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.5945 | μmol/L | 14.9014 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.214 | 144152.8248 | 272035.276 | 33.25 | 75.7
99532 | 2021-04-20 14:50 | 8.9982 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.4844 | μmol/L | 14.8952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.221 | 144123.6693 | 271994.9926 | 33.25 | 75.7
99542 | 2021-04-20 14:51 | 9.3315 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.4385 | μmol/L | 14.8952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.223 | 144090.0627 | 271941.9239 | 33.25 | 75.7
99552 | 2021-04-20 14:51 | 9.6645 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.3926 | μmol/L | 14.8952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.225 | 144065.693 | 271884.6278 | 33.25 | 75.7
99562 | 2021-04-20 14:51 | 9.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.402 | μmol/L | 14.883 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.229 | 144036.3157 | 271849.0383 | 33.25 | 75.7
99572 | 2021-04-20 14:52 | 10.3314 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.2643 | μmol/L | 14.883 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.235 | 144026.2901 | 271804.8222 | 33.25 | 75.7
99582 | 2021-04-20 14:52 | 10.6643 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.292 | μmol/L | 14.8769 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.236 | 144019.4289 | 271771.9274 | 33.25 | 75.7
99592 | 2021-04-20 14:52 | 10.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.182 | μmol/L | 14.8707 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.243 | 144020.304 | 271725.9649 | 33.25 | 75.7
99602 | 2021-04-20 14:53 | 11.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0627 | μmol/L | 14.8769 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.246 | 144015.3825 | 271684.9328 | 33.25 | 75.7
99612 | 2021-04-20 14:53 | 11.6649 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0034 | μmol/L | 14.8646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.253 | 144017.5289 | 271643.1272 | 33.25 | 75.7
99622 | 2021-04-20 14:53 | 11.9978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.9395 | μmol/L | 14.8585 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.258 | 143996.6447 | 271604.84 | 33.25 | 75.7
99632 | 2021-04-20 14:54 | 12.3316 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.8937 | μmol/L | 14.8585 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.26 | 143981.3482 | 271557.0198 | 33.25 | 75.7
99642 | 2021-04-20 14:54 | 12.6648 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.8985 | μmol/L | 14.8524 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.262 | 143945.9744 | 271508.459 | 33.25 | 75.7
99652 | 2021-04-20 14:54 | 12.9977 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.825 | μmol/L | 14.8585 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.263 | 143936.8803 | 271487.933 | 33.25 | 75.7
99662 | 2021-04-20 14:55 | 13.3314 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.8346 | μmol/L | 14.8462 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.267 | 143920.7351 | 271434.0884 | 33.25 | 75.7
99672 | 2021-04-20 14:55 | 13.6643 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.8212 | μmol/L | 14.834 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.272 | 143930.6146 | 271398.1483 | 33.25 | 75.7
99682 | 2021-04-20 14:55 | 13.9982 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.6383 | μmol/L | 14.834 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.28 | 143934.45 | 271362.2912 | 33.25 | 75.7
99692 | 2021-04-20 14:56 | 14.3312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.5745 | μmol/L | 14.8279 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.285 | 143923.1635 | 271310.3362 | 33.25 | 75.7
99702 | 2021-04-20 14:56 | 14.6651 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.6118 | μmol/L | 14.8095 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.29 | 143924.5841 | 271286.791 | 33.25 | 75.7
99712 | 2021-04-20 14:56 | 14.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.4927 | μmol/L | 14.8156 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.293 | 143917.1461 | 271245.592 | 33.25 | 75.7
99722 | 2021-04-20 14:57 | 15.3312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.5252 | μmol/L | 14.8034 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.296 | 143911.3622 | 271206.2716 | 33.25 | 75.7
99732 | 2021-04-20 14:57 | 15.665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.5252 | μmol/L | 14.8034 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.296 | 143885.5905 | 271173.2575 | 33.25 | 75.7
99742 | 2021-04-20 14:57 | 15.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.4615 | μmol/L | 14.7972 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.301 | 143890.0061 | 271149.2366 | 33.25 | 75.7
99752 | 2021-04-20 14:58 | 16.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3702 | μmol/L | 14.7972 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.305 | 143855.455 | 271098.111 | 33.25 | 75.7
99762 | 2021-04-20 14:58 | 16.6644 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.4255 | μmol/L | 14.785 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.307 | 143839.8145 | 271066.4894 | 33.25 | 75.7
99772 | 2021-04-20 14:58 | 16.9981 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.4255 | μmol/L | 14.785 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.307 | 143827.4761 | 271033.8705 | 33.25 | 75.7
99782 | 2021-04-20 14:59 | 17.3312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.4076 | μmol/L | 14.7789 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.31 | 143804.3626 | 270994.8846 | 33.25 | 75.7
99792 | 2021-04-20 14:59 | 17.665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.5494 | μmol/L | 14.7727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.306 | 143752.1649 | 270948.25 | 33.25 | 75.7
99802 | 2021-04-20 14:59 | 17.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.6048 | μmol/L | 14.7605 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.308 | 143742.1647 | 270929.3618 | 33.25 | 75.7
99812 | 2021-04-20 15:00 | 18.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3716 | μmol/L | 14.7666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.316 | 143743.9407 | 270885.1682 | 33.25 | 75.7
99822 | 2021-04-20 15:00 | 18.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.445 | μmol/L | 14.7605 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.315 | 143707.3297 | 270853.9599 | 33.25 | 75.7
99832 | 2021-04-20 15:00 | 18.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.5412 | μmol/L | 14.7544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.313 | 143658.801 | 270811.6151 | 33.25 | 75.7
99842 | 2021-04-20 15:01 | 19.3314 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.546 | μmol/L | 14.7482 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.315 | 143644.5309 | 270794.2817 | 33.25 | 75.7
99852 | 2021-04-20 15:01 | 19.6645 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.6749 | μmol/L | 14.7299 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.316 | 143621.2723 | 270760.3004 | 33.25 | 75.7
99862 | 2021-04-20 15:01 | 19.9983 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3374 | μmol/L | 14.7237 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.333 | 143690.5912 | 270734.1247 | 33.25 | 75.7
99872 | 2021-04-20 15:02 | 20.3312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.1649 | μmol/L | 14.7115 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.345 | 143740.3241 | 270696.4351 | 33.25 | 75.7
99882 | 2021-04-20 15:02 | 20.6649 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.0658 | μmol/L | 14.6931 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.356 | 143806.4723 | 270656.1275 | 33.25 | 75.7
99892 | 2021-04-20 15:02 | 20.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.5931 | μmol/L | 14.687 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.379 | 143957.9892 | 270631.9988 | 33.25 | 75.7
99902 | 2021-04-20 15:03 | 21.3316 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.9453 | μmol/L | 14.6747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 144157.2012 | 270599.0057 | 33.25 | 75.7
99912 | 2021-04-20 15:03 | 21.6645 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.2896 | μmol/L | 14.6747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.441 | 144353.9058 | 270561.436 | 33.25 | 75.7
99922 | 2021-04-20 15:03 | 21.9983 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.7135 | μmol/L | 14.6625 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.471 | 144546.8383 | 270540.7301 | 33.25 | 75.7
99932 | 2021-04-20 15:04 | 22.3312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.1116 | μmol/L | 14.6563 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.5 | 144708.7787 | 270497.5285 | 33.25 | 75.7
99942 | 2021-04-20 15:04 | 22.665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.8576 | μmol/L | 14.638 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.518 | 144845.7634 | 270461.2903 | 33.25 | 75.7
99952 | 2021-04-20 15:04 | 22.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.3529 | μmol/L | 14.6257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.545 | 144997.0331 | 270448.7461 | 33.25 | 75.7
99962 | 2021-04-20 15:05 | 23.3311 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.9285 | μmol/L | 14.6257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.564 | 145107.0381 | 270410.8562 | 33.25 | 75.7
99972 | 2021-04-20 15:05 | 23.6651 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.493 | μmol/L | 14.6135 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.588 | 145256.1811 | 270375.9322 | 33.25 | 75.7
99982 | 2021-04-20 15:05 | 23.9976 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.0755 | μmol/L | 14.6073 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.609 | 145390.2769 | 270339.2652 | 33.25 | 75.7