## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99268 | 2021-04-20 14:41 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 259.7089 | μmol/L | 14.9695 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.603 | 140581.4232 | 293505.5249 | 59.9307 | 49.4
99278 | 2021-04-20 14:42 | 0.33136 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.0658 | μmol/L | 14.9695 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.587 | 140441.3744 | 293435.2126 | 59.9307 | 49.4
99288 | 2021-04-20 14:42 | 0.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.2939 | μmol/L | 14.9633 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.579 | 140297.5546 | 293358.9718 | 59.9307 | 49.4
99298 | 2021-04-20 14:42 | 0.99811 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.4504 | μmol/L | 14.9633 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.572 | 140189.4112 | 293307.9363 | 59.9307 | 49.4
99308 | 2021-04-20 14:43 | 1.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.5575 | μmol/L | 14.9695 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.565 | 140056.3905 | 293242.9502 | 59.9307 | 49.4
99318 | 2021-04-20 14:43 | 1.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.7366 | μmol/L | 14.9695 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.557 | 139922.7471 | 293182.2491 | 59.9307 | 49.4
99328 | 2021-04-20 14:43 | 1.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.8935 | μmol/L | 14.9695 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.55 | 139805.5217 | 293120.5444 | 59.9307 | 49.4
99338 | 2021-04-20 14:44 | 2.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.0728 | μmol/L | 14.9695 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.542 | 139688.7449 | 293078.4239 | 59.9307 | 49.4
99348 | 2021-04-20 14:44 | 2.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.2252 | μmol/L | 14.9756 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.533 | 139555.2733 | 293019.071 | 59.9307 | 49.4
99358 | 2021-04-20 14:44 | 2.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.3328 | μmol/L | 14.9818 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.526 | 139442.0601 | 292965.7801 | 59.9307 | 49.4
99368 | 2021-04-20 14:45 | 3.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.5125 | μmol/L | 14.9818 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.518 | 139323.9302 | 292905.6232 | 59.9307 | 49.4
99378 | 2021-04-20 14:45 | 3.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.5528 | μmol/L | 14.988 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.514 | 139208.1616 | 292852.6732 | 59.9307 | 49.4
99388 | 2021-04-20 14:45 | 3.9977 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7102 | μmol/L | 14.988 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.507 | 139108.4286 | 292782.6036 | 59.9307 | 49.4
99398 | 2021-04-20 14:46 | 4.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8228 | μmol/L | 14.988 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.502 | 139003.8992 | 292742.0211 | 59.9307 | 49.4
99408 | 2021-04-20 14:46 | 4.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9307 | μmol/L | 14.9941 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.495 | 138900.4533 | 292700.8635 | 59.9307 | 49.4
99418 | 2021-04-20 14:46 | 4.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0659 | μmol/L | 14.9941 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.489 | 138802.5183 | 292642.5197 | 59.9307 | 49.4
99428 | 2021-04-20 14:47 | 5.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9889 | μmol/L | 15.0065 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.488 | 138710.7299 | 292603.3976 | 59.9307 | 49.4
99438 | 2021-04-20 14:47 | 5.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.1918 | μmol/L | 15.0065 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.479 | 138622.8519 | 292529.7883 | 59.9307 | 49.4
99448 | 2021-04-20 14:47 | 5.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.2595 | μmol/L | 15.0065 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.476 | 138527.5288 | 292487.3311 | 59.9307 | 49.4
99458 | 2021-04-20 14:48 | 6.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.3544 | μmol/L | 15.0003 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.474 | 138446.5724 | 292444.8854 | 59.9307 | 49.4
99468 | 2021-04-20 14:48 | 6.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.3723 | μmol/L | 15.0065 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.471 | 138351.4729 | 292390.9395 | 59.9307 | 49.4
99478 | 2021-04-20 14:48 | 6.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.4128 | μmol/L | 15.0126 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.467 | 138273.8154 | 292348.7821 | 59.9307 | 49.4
99488 | 2021-04-20 14:49 | 7.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.4082 | μmol/L | 15.0188 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.465 | 138190.9333 | 292294.5904 | 59.9307 | 49.4
99498 | 2021-04-20 14:49 | 7.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.4261 | μmol/L | 15.025 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.462 | 138116.819 | 292251.5837 | 59.9307 | 49.4
99508 | 2021-04-20 14:49 | 7.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.5663 | μmol/L | 15.0188 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.458 | 138040.5061 | 292205.3081 | 59.9307 | 49.4
99518 | 2021-04-20 14:50 | 8.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.6069 | μmol/L | 15.025 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.454 | 137968.9038 | 292183.1573 | 59.9307 | 49.4
99528 | 2021-04-20 14:50 | 8.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.6295 | μmol/L | 15.025 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.453 | 137888.7265 | 292118.9945 | 59.9307 | 49.4
99538 | 2021-04-20 14:50 | 8.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.6926 | μmol/L | 15.0311 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.448 | 137812.08 | 292073.0684 | 59.9307 | 49.4
99548 | 2021-04-20 14:51 | 9.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.6428 | μmol/L | 15.0373 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.448 | 137734.7807 | 292015.2421 | 59.9307 | 49.4
99558 | 2021-04-20 14:51 | 9.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.7379 | μmol/L | 15.0311 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.446 | 137664.1114 | 291974.1006 | 59.9307 | 49.4
99568 | 2021-04-20 14:51 | 9.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8284 | μmol/L | 15.0311 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.442 | 137586.9101 | 291929.8081 | 59.9307 | 49.4
99578 | 2021-04-20 14:52 | 10.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.7106 | μmol/L | 15.0373 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.445 | 137516.6453 | 291899.6263 | 59.9307 | 49.4
99588 | 2021-04-20 14:52 | 10.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.7965 | μmol/L | 15.0435 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.439 | 137455.649 | 291860.5019 | 59.9307 | 49.4
99598 | 2021-04-20 14:52 | 10.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8417 | μmol/L | 15.0435 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.437 | 137398.3726 | 291818.4947 | 59.9307 | 49.4
99608 | 2021-04-20 14:53 | 11.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8598 | μmol/L | 15.0496 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.434 | 137335.1739 | 291781.8591 | 59.9307 | 49.4
99618 | 2021-04-20 14:53 | 11.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8099 | μmol/L | 15.0558 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.434 | 137276.0671 | 291718.9941 | 59.9307 | 49.4
99628 | 2021-04-20 14:53 | 11.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.9503 | μmol/L | 15.0496 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.43 | 137204.8288 | 291670.5494 | 59.9307 | 49.4
99638 | 2021-04-20 14:54 | 12.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8732 | μmol/L | 15.0619 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.429 | 137151.2448 | 291652.0662 | 59.9307 | 49.4
99648 | 2021-04-20 14:54 | 12.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8958 | μmol/L | 15.0619 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.428 | 137097.0315 | 291614.7359 | 59.9307 | 49.4
99658 | 2021-04-20 14:54 | 12.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8958 | μmol/L | 15.0619 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.428 | 137030.9013 | 291584.8477 | 59.9307 | 49.4
99668 | 2021-04-20 14:55 | 13.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8007 | μmol/L | 15.0681 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.43 | 136980.1842 | 291538.6761 | 59.9307 | 49.4
99678 | 2021-04-20 14:55 | 13.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8912 | μmol/L | 15.0681 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.426 | 136913.5675 | 291501.9466 | 59.9307 | 49.4
99688 | 2021-04-20 14:55 | 13.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8912 | μmol/L | 15.0681 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.426 | 136862.4413 | 291481.9049 | 59.9307 | 49.4
99698 | 2021-04-20 14:56 | 14.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.9592 | μmol/L | 15.0681 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.423 | 136815.7056 | 291434.1247 | 59.9307 | 49.4
99708 | 2021-04-20 14:56 | 14.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.7915 | μmol/L | 15.0804 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.426 | 136766.3176 | 291393.0315 | 59.9307 | 49.4
99718 | 2021-04-20 14:56 | 14.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8866 | μmol/L | 15.0743 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.424 | 136712.5852 | 291350.8671 | 59.9307 | 49.4
99728 | 2021-04-20 14:57 | 15.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8142 | μmol/L | 15.0804 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.425 | 136685.9375 | 291318.979 | 59.9307 | 49.4
99738 | 2021-04-20 14:57 | 15.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8096 | μmol/L | 15.0866 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.423 | 136631.3037 | 291280.071 | 59.9307 | 49.4
99748 | 2021-04-20 14:57 | 15.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8594 | μmol/L | 15.0804 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.423 | 136575.1721 | 291251.1812 | 59.9307 | 49.4
99758 | 2021-04-20 14:58 | 16.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8142 | μmol/L | 15.0804 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.425 | 136542.4794 | 291233.1865 | 59.9307 | 49.4
99768 | 2021-04-20 14:58 | 16.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.7869 | μmol/L | 15.0866 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.424 | 136480.9011 | 291194.5784 | 59.9307 | 49.4
99778 | 2021-04-20 14:58 | 16.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8548 | μmol/L | 15.0866 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.421 | 136435.5005 | 291126.583 | 59.9307 | 49.4
99788 | 2021-04-20 14:59 | 17.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8096 | μmol/L | 15.0866 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.423 | 136408.1332 | 291132.8028 | 59.9307 | 49.4
99798 | 2021-04-20 14:59 | 17.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.7824 | μmol/L | 15.0928 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.422 | 136365.1543 | 291083.5543 | 59.9307 | 49.4
99808 | 2021-04-20 14:59 | 17.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.7597 | μmol/L | 15.0928 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.423 | 136317.088 | 291043.1362 | 59.9307 | 49.4
99818 | 2021-04-20 15:00 | 18.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.7099 | μmol/L | 15.0989 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.423 | 136282.0866 | 291022.4979 | 59.9307 | 49.4
99828 | 2021-04-20 15:00 | 18.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.7099 | μmol/L | 15.0989 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.423 | 136242.4514 | 290978.1256 | 59.9307 | 49.4
99838 | 2021-04-20 15:00 | 18.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.6692 | μmol/L | 15.0928 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.427 | 136209.3872 | 290951.5418 | 59.9307 | 49.4
99848 | 2021-04-20 15:01 | 19.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.6601 | μmol/L | 15.1051 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.423 | 136172.8371 | 290918.0185 | 59.9307 | 49.4
99858 | 2021-04-20 15:01 | 19.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.5425 | μmol/L | 15.1113 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.426 | 136127.4934 | 290878.4697 | 59.9307 | 49.4
99868 | 2021-04-20 15:01 | 19.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.6103 | μmol/L | 15.1113 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.423 | 136098.4939 | 290856.0627 | 59.9307 | 49.4
99878 | 2021-04-20 15:02 | 20.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.5651 | μmol/L | 15.1113 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.425 | 136070.1305 | 290835.705 | 59.9307 | 49.4
99888 | 2021-04-20 15:02 | 20.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.5199 | μmol/L | 15.1113 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.427 | 136030.288 | 290779.5183 | 59.9307 | 49.4
99898 | 2021-04-20 15:02 | 20.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.4973 | μmol/L | 15.1113 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.428 | 135993.9463 | 290752.2231 | 59.9307 | 49.4
99908 | 2021-04-20 15:03 | 21.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.4249 | μmol/L | 15.1174 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.429 | 135961.6808 | 290725.5237 | 59.9307 | 49.4
99918 | 2021-04-20 15:03 | 21.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.4475 | μmol/L | 15.1174 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.428 | 135929.2313 | 290697.1585 | 59.9307 | 49.4
99928 | 2021-04-20 15:03 | 21.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.5153 | μmol/L | 15.1174 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.425 | 135890.8232 | 290655.3181 | 59.9307 | 49.4
99938 | 2021-04-20 15:04 | 22.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.3254 | μmol/L | 15.1297 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.429 | 135862.5297 | 290636.4077 | 59.9307 | 49.4
99948 | 2021-04-20 15:04 | 22.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.3254 | μmol/L | 15.1297 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.429 | 135833.147 | 290595.432 | 59.9307 | 49.4
99958 | 2021-04-20 15:04 | 22.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.33 | μmol/L | 15.1236 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.431 | 135793.7867 | 290581.633 | 59.9307 | 49.4
99968 | 2021-04-20 15:05 | 23.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.33 | μmol/L | 15.1236 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.431 | 135772.3042 | 290545.3077 | 59.9307 | 49.4
99978 | 2021-04-20 15:05 | 23.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.2531 | μmol/L | 15.1359 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.43 | 135738.024 | 290529.3205 | 59.9307 | 49.4
99988 | 2021-04-20 15:05 | 23.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.2803 | μmol/L | 15.1297 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.431 | 135710.6702 | 290485.2126 | 59.9307 | 49.4