## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
100627 | 2021-04-20 15:46 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.9332 | μmol/L | 15.0913 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.262 | 138551.2464 | 268418.0805 | 33.25 | 75.7
100635 | 2021-04-20 15:46 | 0.33937 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.5203 | μmol/L | 15.0668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.245 | 138414.2416 | 268423.4532 | 33.25 | 75.7
100645 | 2021-04-20 15:47 | 0.67263 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.8669 | μmol/L | 15.0606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.232 | 138315.7437 | 268412.3123 | 33.25 | 75.7
100656 | 2021-04-20 15:47 | 1.0065 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.0495 | μmol/L | 15.0606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.224 | 138232.5385 | 268401.4962 | 33.25 | 75.7
100666 | 2021-04-20 15:47 | 1.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3009 | μmol/L | 15.0606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.213 | 138159.398 | 268387.7622 | 33.25 | 75.7
100675 | 2021-04-20 15:48 | 1.6732 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3421 | μmol/L | 15.0668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.209 | 138111.5853 | 268365.4862 | 33.25 | 75.7
100686 | 2021-04-20 15:48 | 2.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.5526 | μmol/L | 15.0606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.202 | 138061.5465 | 268370.202 | 33.25 | 75.7
100696 | 2021-04-20 15:48 | 2.34 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.7129 | μmol/L | 15.0606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.195 | 138017.4528 | 268348.7383 | 33.25 | 75.7
100706 | 2021-04-20 15:49 | 2.6726 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.658 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.193 | 137985.5148 | 268343.8222 | 33.25 | 75.7
100716 | 2021-04-20 15:49 | 3.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.7497 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.189 | 137959.4879 | 268331.3099 | 33.25 | 75.7
100725 | 2021-04-20 15:49 | 3.3392 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.9101 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.182 | 137915.5152 | 268324.6233 | 33.25 | 75.7
100735 | 2021-04-20 15:50 | 3.6725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.8643 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.184 | 137890.1203 | 268313.8591 | 33.25 | 75.7
100746 | 2021-04-20 15:50 | 4.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.9331 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.181 | 137872.1964 | 268311.1593 | 33.25 | 75.7
100755 | 2021-04-20 15:50 | 4.3393 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0294 | μmol/L | 15.0668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.179 | 137854.4438 | 268287.168 | 33.25 | 75.7
100766 | 2021-04-20 15:51 | 4.6732 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0248 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.177 | 137821.4795 | 268280.8494 | 33.25 | 75.7
100775 | 2021-04-20 15:51 | 5.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0937 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.174 | 137797.031 | 268272.4852 | 33.25 | 75.7
100786 | 2021-04-20 15:51 | 5.3392 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.1121 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.171 | 137785.7779 | 268276.0864 | 33.25 | 75.7
100796 | 2021-04-20 15:52 | 5.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.2085 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.169 | 137760.95 | 268253.6585 | 33.25 | 75.7
100805 | 2021-04-20 15:52 | 6.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.2315 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.168 | 137724.6571 | 268244.6351 | 33.25 | 75.7
100815 | 2021-04-20 15:52 | 6.3398 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.3693 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.162 | 137686.4186 | 268245.0961 | 33.25 | 75.7
100826 | 2021-04-20 15:53 | 6.673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.1855 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.17 | 137695.7697 | 268235.1662 | 33.25 | 75.7
100835 | 2021-04-20 15:53 | 7.0061 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.2959 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.163 | 137674.915 | 268241.7171 | 33.25 | 75.7
100845 | 2021-04-20 15:53 | 7.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.4523 | μmol/L | 15.0851 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.154 | 137627.4191 | 268230.9425 | 33.25 | 75.7
100856 | 2021-04-20 15:54 | 7.6732 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.7835 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.144 | 137551.8487 | 268215.6698 | 33.25 | 75.7
100865 | 2021-04-20 15:54 | 8.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.4798 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.155 | 137611.9232 | 268209.3547 | 33.25 | 75.7
100875 | 2021-04-20 15:54 | 8.3398 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.4983 | μmol/L | 15.0851 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.152 | 137591.1405 | 268193.1766 | 33.25 | 75.7
100885 | 2021-04-20 15:55 | 8.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.3189 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.162 | 137601.6238 | 268177.7348 | 33.25 | 75.7
100896 | 2021-04-20 15:55 | 9.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.3693 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.162 | 137611.2702 | 268175.6882 | 33.25 | 75.7
100906 | 2021-04-20 15:55 | 9.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.2729 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.164 | 137612.6854 | 268164.3184 | 33.25 | 75.7
100915 | 2021-04-20 15:56 | 9.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.2684 | μmol/L | 15.0851 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.162 | 137609.1287 | 268156.4316 | 33.25 | 75.7
100926 | 2021-04-20 15:56 | 10.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.1995 | μmol/L | 15.0851 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.165 | 137606.5525 | 268145.4596 | 33.25 | 75.7
100935 | 2021-04-20 15:56 | 10.3392 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.2499 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.165 | 137616.6147 | 268140.4105 | 33.25 | 75.7
100946 | 2021-04-20 15:57 | 10.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.227 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.166 | 137604.8814 | 268125.2334 | 33.25 | 75.7
100956 | 2021-04-20 15:57 | 11.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.195 | μmol/L | 15.0913 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.163 | 137590.389 | 268134.2949 | 33.25 | 75.7
100966 | 2021-04-20 15:57 | 11.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.204 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.167 | 137605.3931 | 268111.479 | 33.25 | 75.7
100976 | 2021-04-20 15:58 | 11.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0892 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.172 | 137620.1091 | 268099.5187 | 33.25 | 75.7
100986 | 2021-04-20 15:58 | 12.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.181 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.168 | 137591.0045 | 268102.2782 | 33.25 | 75.7
100996 | 2021-04-20 15:58 | 12.3398 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0158 | μmol/L | 15.0851 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.173 | 137616.3283 | 268085.4232 | 33.25 | 75.7
101006 | 2021-04-20 15:59 | 12.6727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0388 | μmol/L | 15.0851 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.172 | 137607.0423 | 268085.8609 | 33.25 | 75.7
101016 | 2021-04-20 15:59 | 13.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0342 | μmol/L | 15.0913 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.17 | 137591.5256 | 268076.5715 | 33.25 | 75.7
101025 | 2021-04-20 15:59 | 13.3396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0892 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.172 | 137603.3747 | 268075.2474 | 33.25 | 75.7
101035 | 2021-04-20 16:00 | 13.6727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0847 | μmol/L | 15.0851 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.17 | 137578.1938 | 268062.6657 | 33.25 | 75.7
101046 | 2021-04-20 16:00 | 14.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.4843 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.157 | 137511.6089 | 268057.0825 | 33.25 | 75.7
101056 | 2021-04-20 16:00 | 14.3396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0388 | μmol/L | 15.0851 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.172 | 137570.687 | 268039.4915 | 33.25 | 75.7
101065 | 2021-04-20 16:01 | 14.6726 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.9699 | μmol/L | 15.0851 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.175 | 137585.0963 | 268039.6112 | 33.25 | 75.7
101076 | 2021-04-20 16:01 | 15.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.8827 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.181 | 137617.1826 | 268057.5489 | 33.25 | 75.7
101085 | 2021-04-20 16:01 | 15.3396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.7132 | μmol/L | 15.0913 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.184 | 137611.086 | 268027.9724 | 33.25 | 75.7
101095 | 2021-04-20 16:02 | 15.6727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.6764 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.19 | 137644.4701 | 268026.7284 | 33.25 | 75.7
101106 | 2021-04-20 16:02 | 16.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.8184 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.186 | 137625.498 | 268017.2424 | 33.25 | 75.7
101116 | 2021-04-20 16:02 | 16.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.5802 | μmol/L | 15.0851 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.192 | 137636.1738 | 268017.6359 | 33.25 | 75.7
101125 | 2021-04-20 16:03 | 16.6733 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.6993 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.189 | 137647.3247 | 268012.3082 | 33.25 | 75.7
101135 | 2021-04-20 16:03 | 17.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0019 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.178 | 137576.2797 | 268002.7681 | 33.25 | 75.7
101145 | 2021-04-20 16:03 | 17.34 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3604 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.206 | 137728.0574 | 267986.1762 | 33.25 | 75.7
101156 | 2021-04-20 16:04 | 17.673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.4291 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.203 | 137706.7632 | 267986.6928 | 33.25 | 75.7
101166 | 2021-04-20 16:04 | 18.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.0861 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.218 | 137797.4927 | 267988.223 | 33.25 | 75.7
101175 | 2021-04-20 16:04 | 18.3392 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.1089 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.217 | 137791.8415 | 267993.5045 | 33.25 | 75.7
101186 | 2021-04-20 16:05 | 18.673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.1775 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.214 | 137778.1174 | 267974.9635 | 33.25 | 75.7
101195 | 2021-04-20 16:05 | 19.0059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.3878 | μmol/L | 15.0668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.207 | 137734.614 | 267977.3591 | 33.25 | 75.7
101205 | 2021-04-20 16:05 | 19.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.9719 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.223 | 137812.0953 | 267967.2693 | 33.25 | 75.7
101215 | 2021-04-20 16:06 | 19.6726 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.7209 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.234 | 137881.931 | 267970.9895 | 33.25 | 75.7
101225 | 2021-04-20 16:06 | 20.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.5431 | μmol/L | 15.0668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.244 | 137958.8013 | 267962.2972 | 33.25 | 75.7
101236 | 2021-04-20 16:06 | 20.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.2471 | μmol/L | 15.0668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.257 | 138047.0867 | 267973.9132 | 33.25 | 75.7
101246 | 2021-04-20 16:07 | 20.6726 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.0378 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.264 | 138097.5462 | 267948.7429 | 33.25 | 75.7
101256 | 2021-04-20 16:07 | 21.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.8879 | μmol/L | 15.0606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.275 | 138167.3803 | 267949.3613 | 33.25 | 75.7
101265 | 2021-04-20 16:07 | 21.3396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.7471 | μmol/L | 15.0668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.279 | 138210.3676 | 267948.2495 | 33.25 | 75.7
101276 | 2021-04-20 16:08 | 21.6727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.5837 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 138263.5646 | 267954.6514 | 33.25 | 75.7
101286 | 2021-04-20 16:08 | 22.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.5702 | μmol/L | 15.0606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.289 | 138279.4506 | 267941.8442 | 33.25 | 75.7
101295 | 2021-04-20 16:08 | 22.3392 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.4023 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.292 | 138260.4592 | 267943.0413 | 33.25 | 75.7
101306 | 2021-04-20 16:09 | 22.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.493 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.288 | 138230.4056 | 267937.2885 | 33.25 | 75.7
101316 | 2021-04-20 16:09 | 23.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.5656 | μmol/L | 15.0668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.287 | 138227.2754 | 267948.8185 | 33.25 | 75.7
101325 | 2021-04-20 16:09 | 23.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.5022 | μmol/L | 15.0606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.292 | 138218.7597 | 267934.0073 | 33.25 | 75.7
101335 | 2021-04-20 16:10 | 23.6725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.4703 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.289 | 138233.0441 | 267933.2058 | 33.25 | 75.7
101346 | 2021-04-20 16:10 | 24.0065 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.4296 | μmol/L | 15.0668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.293 | 138277.7169 | 267930.0294 | 33.25 | 75.7
101356 | 2021-04-20 16:10 | 24.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.2257 | μmol/L | 15.0668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.302 | 138316.007 | 267922.671 | 33.25 | 75.7
101366 | 2021-04-20 16:11 | 24.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.1804 | μmol/L | 15.0668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.304 | 138334.0063 | 267934.7957 | 33.25 | 75.7