## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
100628 | 2021-04-20 15:46 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.4431 | μmol/L | 15.1182 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.755 | 128283.2893 | 291914.2009 | 59.9307 | 38.1
100637 | 2021-04-20 15:46 | 0.33251 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5995 | μmol/L | 15.1121 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.75 | 128234.5476 | 291902.6952 | 59.9307 | 38.1
100647 | 2021-04-20 15:47 | 0.66559 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.6948 | μmol/L | 15.0999 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.75 | 128202.726 | 291904.1448 | 59.9307 | 38.1
100657 | 2021-04-20 15:47 | 0.99947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7861 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.748 | 128184.0559 | 291882.384 | 59.9307 | 38.1
100667 | 2021-04-20 15:47 | 1.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8338 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.748 | 128170.8921 | 291858.6711 | 59.9307 | 38.1
100677 | 2021-04-20 15:48 | 1.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7166 | μmol/L | 15.0999 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.749 | 128163.0428 | 291851.3927 | 59.9307 | 38.1
100687 | 2021-04-20 15:48 | 1.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8514 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.745 | 128151.0124 | 291848.4122 | 59.9307 | 38.1
100697 | 2021-04-20 15:48 | 2.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7643 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.749 | 128150.4265 | 291833.1756 | 59.9307 | 38.1
100707 | 2021-04-20 15:49 | 2.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7903 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.75 | 128147.6003 | 291832.3283 | 59.9307 | 38.1
100717 | 2021-04-20 15:49 | 2.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7601 | μmol/L | 15.0999 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.747 | 128115.7637 | 291809.8067 | 59.9307 | 38.1
100727 | 2021-04-20 15:49 | 3.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.699 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.752 | 128118.3581 | 291809.7594 | 59.9307 | 38.1
100737 | 2021-04-20 15:50 | 3.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.7861 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.748 | 128113.05 | 291791.4767 | 59.9307 | 38.1
100747 | 2021-04-20 15:50 | 3.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.6337 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.755 | 128100.6668 | 291770.8363 | 59.9307 | 38.1
100757 | 2021-04-20 15:50 | 4.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.725 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.753 | 128100.0171 | 291770.0519 | 59.9307 | 38.1
100767 | 2021-04-20 15:51 | 4.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.6773 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.753 | 128100.5529 | 291767.6131 | 59.9307 | 38.1
100777 | 2021-04-20 15:51 | 4.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.6555 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.754 | 128095.4048 | 291756.2187 | 59.9307 | 38.1
100787 | 2021-04-20 15:51 | 5.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.6773 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.753 | 128088.1561 | 291751.2431 | 59.9307 | 38.1
100797 | 2021-04-20 15:52 | 5.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5727 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.76 | 128080.3632 | 291729.3356 | 59.9307 | 38.1
100807 | 2021-04-20 15:52 | 5.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.6379 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.757 | 128078.7369 | 291713.9613 | 59.9307 | 38.1
100817 | 2021-04-20 15:52 | 6.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5033 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.761 | 128069.6957 | 291705.5313 | 59.9307 | 38.1
100827 | 2021-04-20 15:53 | 6.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5509 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.761 | 128065.2837 | 291705.5082 | 59.9307 | 38.1
100837 | 2021-04-20 15:53 | 6.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.438 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.764 | 128067.968 | 291692.6618 | 59.9307 | 38.1
100847 | 2021-04-20 15:53 | 7.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.4598 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.763 | 128076.6331 | 291692.9997 | 59.9307 | 38.1
100857 | 2021-04-20 15:54 | 7.6655 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5116 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.765 | 128087.4728 | 291665.3495 | 59.9307 | 38.1
100867 | 2021-04-20 15:54 | 7.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.4163 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.765 | 128070.7918 | 291684.7506 | 59.9307 | 38.1
100877 | 2021-04-20 15:54 | 8.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.3553 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.77 | 128059.5214 | 291670.9261 | 59.9307 | 38.1
100887 | 2021-04-20 15:55 | 8.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.3077 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.77 | 128062.9075 | 291663.3788 | 59.9307 | 38.1
100897 | 2021-04-20 15:55 | 8.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.3119 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.772 | 128060.5354 | 291658.394 | 59.9307 | 38.1
100907 | 2021-04-20 15:55 | 9.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2425 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.773 | 128057.5148 | 291632.9329 | 59.9307 | 38.1
100917 | 2021-04-20 15:56 | 9.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.26 | μmol/L | 15.0999 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.77 | 128062.0908 | 291633.7766 | 59.9307 | 38.1
100927 | 2021-04-20 15:56 | 9.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2684 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.774 | 128062.5046 | 291628.8687 | 59.9307 | 38.1
100937 | 2021-04-20 15:56 | 10.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.1641 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.781 | 128053.4883 | 291597.8785 | 59.9307 | 38.1
100947 | 2021-04-20 15:57 | 10.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.1816 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.778 | 128054.4367 | 291604.0693 | 59.9307 | 38.1
100957 | 2021-04-20 15:57 | 10.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2292 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.778 | 128069.2833 | 291613.2433 | 59.9307 | 38.1
100967 | 2021-04-20 15:57 | 11.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.1207 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.783 | 128072.8009 | 291603.7483 | 59.9307 | 38.1
100977 | 2021-04-20 15:58 | 11.6653 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.1858 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.78 | 128058.3392 | 291577.348 | 59.9307 | 38.1
100987 | 2021-04-20 15:58 | 11.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9905 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.789 | 128057.1975 | 291574.647 | 59.9307 | 38.1
100997 | 2021-04-20 15:58 | 12.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0815 | μmol/L | 15.0755 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.787 | 128064.4022 | 291563.1404 | 59.9307 | 38.1
101007 | 2021-04-20 15:59 | 12.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9905 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.789 | 128068.2419 | 291571.2761 | 59.9307 | 38.1
101017 | 2021-04-20 15:59 | 12.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0164 | μmol/L | 15.0755 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.79 | 128067.1856 | 291559.1678 | 59.9307 | 38.1
101027 | 2021-04-20 15:59 | 13.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9947 | μmol/L | 15.0755 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.791 | 128074.2325 | 291532.1959 | 59.9307 | 38.1
101037 | 2021-04-20 16:00 | 13.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9297 | μmol/L | 15.0755 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.794 | 128090.8357 | 291545.2468 | 59.9307 | 38.1
101047 | 2021-04-20 16:00 | 13.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9038 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.793 | 128078.6932 | 291533.8912 | 59.9307 | 38.1
101057 | 2021-04-20 16:00 | 14.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9556 | μmol/L | 15.0694 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.795 | 128076.291 | 291533.4098 | 59.9307 | 38.1
101067 | 2021-04-20 16:01 | 14.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8646 | μmol/L | 15.0755 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.797 | 128067.9741 | 291528.0854 | 59.9307 | 38.1
101077 | 2021-04-20 16:01 | 14.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8821 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.794 | 128060.6274 | 291513.0767 | 59.9307 | 38.1
101087 | 2021-04-20 16:01 | 15.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8472 | μmol/L | 15.0694 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.8 | 128069.1221 | 291504.6645 | 59.9307 | 38.1
101097 | 2021-04-20 16:02 | 15.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8689 | μmol/L | 15.0694 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.799 | 128054.9742 | 291503.5377 | 59.9307 | 38.1
101107 | 2021-04-20 16:02 | 15.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7389 | μmol/L | 15.0694 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.805 | 128066.8153 | 291494.7648 | 59.9307 | 38.1
101117 | 2021-04-20 16:02 | 16.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7521 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.8 | 128059.8573 | 291498.4769 | 59.9307 | 38.1
101127 | 2021-04-20 16:03 | 16.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6913 | μmol/L | 15.0755 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.805 | 128064.1915 | 291503.9701 | 59.9307 | 38.1
101137 | 2021-04-20 16:03 | 16.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6306 | μmol/L | 15.0694 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.81 | 128075.4388 | 291501.0139 | 59.9307 | 38.1
101147 | 2021-04-20 16:03 | 17.3322 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6739 | μmol/L | 15.0694 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.808 | 128059.9353 | 291481.008 | 59.9307 | 38.1
101157 | 2021-04-20 16:04 | 17.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.5614 | μmol/L | 15.0755 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.811 | 128060.7574 | 291477.0351 | 59.9307 | 38.1
101167 | 2021-04-20 16:04 | 17.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.544 | μmol/L | 15.0694 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.814 | 128070.8756 | 291488.1278 | 59.9307 | 38.1
101177 | 2021-04-20 16:04 | 18.3321 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6132 | μmol/L | 15.0633 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.813 | 128072.552 | 291480.013 | 59.9307 | 38.1
101187 | 2021-04-20 16:05 | 18.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6781 | μmol/L | 15.0633 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.81 | 128060.5369 | 291476.8441 | 59.9307 | 38.1
101197 | 2021-04-20 16:05 | 18.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6565 | μmol/L | 15.0633 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.811 | 128073.2966 | 291491.9418 | 59.9307 | 38.1
101207 | 2021-04-20 16:05 | 19.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6348 | μmol/L | 15.0633 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.812 | 128060.2174 | 291457.5269 | 59.9307 | 38.1
101217 | 2021-04-20 16:06 | 19.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.5567 | μmol/L | 15.0511 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.82 | 128075.3578 | 291468.5151 | 59.9307 | 38.1
101227 | 2021-04-20 16:06 | 19.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3926 | μmol/L | 15.0694 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.821 | 128085.4313 | 291472.6627 | 59.9307 | 38.1
101237 | 2021-04-20 16:06 | 20.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.466 | μmol/L | 15.0572 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.822 | 128083.8434 | 291461.1364 | 59.9307 | 38.1
101247 | 2021-04-20 16:07 | 20.6655 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4227 | μmol/L | 15.0572 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.824 | 128091.6304 | 291463.5666 | 59.9307 | 38.1
101257 | 2021-04-20 16:07 | 20.9987 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4443 | μmol/L | 15.0572 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.823 | 128085.9506 | 291446.7317 | 59.9307 | 38.1
101267 | 2021-04-20 16:07 | 21.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3837 | μmol/L | 15.0511 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.828 | 128116.399 | 291449.71 | 59.9307 | 38.1
101277 | 2021-04-20 16:08 | 21.6655 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3146 | μmol/L | 15.0572 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.829 | 128100.9057 | 291449.6297 | 59.9307 | 38.1
101287 | 2021-04-20 16:08 | 21.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3362 | μmol/L | 15.0572 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.828 | 128102.4725 | 291438.7261 | 59.9307 | 38.1
101297 | 2021-04-20 16:08 | 22.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3447 | μmol/L | 15.045 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.832 | 128116.0555 | 291447.4766 | 59.9307 | 38.1
101307 | 2021-04-20 16:09 | 22.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3146 | μmol/L | 15.0572 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.829 | 128096.2415 | 291432.4147 | 59.9307 | 38.1
101317 | 2021-04-20 16:09 | 22.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3015 | μmol/L | 15.045 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.834 | 128107.2127 | 291447.9919 | 59.9307 | 38.1
101327 | 2021-04-20 16:09 | 23.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.2367 | μmol/L | 15.045 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.837 | 128110.6291 | 291426.5703 | 59.9307 | 38.1
101337 | 2021-04-20 16:10 | 23.6654 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.2756 | μmol/L | 15.0511 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.833 | 128107.6551 | 291441.7389 | 59.9307 | 38.1
101347 | 2021-04-20 16:10 | 23.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3058 | μmol/L | 15.0389 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.836 | 128124.4017 | 291431.2737 | 59.9307 | 38.1
101357 | 2021-04-20 16:10 | 24.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3274 | μmol/L | 15.0389 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.835 | 128133.2317 | 291438.5287 | 59.9307 | 38.1
101367 | 2021-04-20 16:11 | 24.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.0597 | μmol/L | 15.0511 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.843 | 128138.4718 | 291432.4977 | 59.9307 | 38.1