## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
100629 | 2021-04-20 15:46 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.5346 | μmol/L | 15.0643 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.844 | 102712.802 | 211205.1742 | 27.3 | 43.4
100639 | 2021-04-20 15:46 | 0.32607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.6095 | μmol/L | 15.0643 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.841 | 102659.4562 | 211209.9024 | 27.3 | 43.4
100648 | 2021-04-20 15:47 | 0.65913 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.8711 | μmol/L | 15.0521 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.835 | 102625.2612 | 211210.3228 | 27.3 | 43.4
100658 | 2021-04-20 15:47 | 0.99293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.9153 | μmol/L | 15.0582 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.831 | 102593.4289 | 211205.1878 | 27.3 | 43.4
100669 | 2021-04-20 15:47 | 1.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.4115 | μmol/L | 14.985 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.838 | 102588.3676 | 211187.1876 | 27.3 | 43.4
100678 | 2021-04-20 15:48 | 1.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.9888 | μmol/L | 15.0338 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.837 | 102547.6587 | 211198.5935 | 27.3 | 43.4
100688 | 2021-04-20 15:48 | 1.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.3893 | μmol/L | 15.0338 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.821 | 102482.0163 | 211180.317 | 27.3 | 43.4
100699 | 2021-04-20 15:48 | 2.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.3024 | μmol/L | 15.046 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.82 | 102432.2927 | 211174.6631 | 27.3 | 43.4
100709 | 2021-04-20 15:49 | 2.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.4026 | μmol/L | 15.046 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.816 | 102403.6658 | 211172.2651 | 27.3 | 43.4
100718 | 2021-04-20 15:49 | 2.9929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.528 | μmol/L | 15.046 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.811 | 102396.1653 | 211164.8198 | 27.3 | 43.4
100728 | 2021-04-20 15:49 | 3.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.3968 | μmol/L | 15.0521 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.814 | 102365.1594 | 211155.1319 | 27.3 | 43.4
100739 | 2021-04-20 15:50 | 3.6597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.4912 | μmol/L | 15.0582 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.808 | 102368.0281 | 211153.1159 | 27.3 | 43.4
100749 | 2021-04-20 15:50 | 3.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.6283 | μmol/L | 15.046 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.807 | 102350.068 | 211146.6414 | 27.3 | 43.4
100758 | 2021-04-20 15:50 | 4.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.6032 | μmol/L | 15.046 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.808 | 102335.2215 | 211140.3913 | 27.3 | 43.4
100768 | 2021-04-20 15:51 | 4.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.6843 | μmol/L | 15.0399 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.807 | 102327.2895 | 211134.2182 | 27.3 | 43.4
100778 | 2021-04-20 15:51 | 4.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.8349 | μmol/L | 15.0399 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.801 | 102318.3528 | 211116.8641 | 27.3 | 43.4
100788 | 2021-04-20 15:51 | 5.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.8039 | μmol/L | 15.046 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.8 | 102310.0987 | 211128.3912 | 27.3 | 43.4
100799 | 2021-04-20 15:52 | 5.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.7345 | μmol/L | 15.0399 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.805 | 102292.5738 | 211106.5711 | 27.3 | 43.4
100809 | 2021-04-20 15:52 | 5.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.7788 | μmol/L | 15.046 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.801 | 102281.9314 | 211105.9922 | 27.3 | 43.4
100819 | 2021-04-20 15:52 | 6.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.86 | μmol/L | 15.0399 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.8 | 102262.9033 | 211098.2313 | 27.3 | 43.4
100828 | 2021-04-20 15:53 | 6.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.86 | μmol/L | 15.0399 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.8 | 102253.0463 | 211091.9642 | 27.3 | 43.4
100839 | 2021-04-20 15:53 | 6.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.9604 | μmol/L | 15.0399 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.796 | 102239.2277 | 211091.8623 | 27.3 | 43.4
100849 | 2021-04-20 15:53 | 7.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.1171 | μmol/L | 15.0338 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.792 | 102229.4678 | 211094.3511 | 27.3 | 43.4
100858 | 2021-04-20 15:54 | 7.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.0727 | μmol/L | 15.0277 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.796 | 102210.9435 | 211087.6808 | 27.3 | 43.4
100868 | 2021-04-20 15:54 | 7.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.9353 | μmol/L | 15.0399 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.797 | 102201.3626 | 211078.5283 | 27.3 | 43.4
100879 | 2021-04-20 15:54 | 8.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.1673 | μmol/L | 15.0338 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.79 | 102186.9262 | 211091.3535 | 27.3 | 43.4
100888 | 2021-04-20 15:55 | 8.6593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.1732 | μmol/L | 15.0277 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.792 | 102172.6493 | 211076.5629 | 27.3 | 43.4
100899 | 2021-04-20 15:55 | 8.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.3241 | μmol/L | 15.0277 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.786 | 102163.4495 | 211069.9397 | 27.3 | 43.4
100908 | 2021-04-20 15:55 | 9.326 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.2738 | μmol/L | 15.0277 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.788 | 102154.7063 | 211059.8492 | 27.3 | 43.4
100918 | 2021-04-20 15:56 | 9.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.2738 | μmol/L | 15.0277 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.788 | 102136.1586 | 211051.0167 | 27.3 | 43.4
100928 | 2021-04-20 15:56 | 9.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.3048 | μmol/L | 15.0216 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.789 | 102126.9564 | 211053.6194 | 27.3 | 43.4
100938 | 2021-04-20 15:56 | 10.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.4306 | μmol/L | 15.0216 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.784 | 102116.3284 | 211049.8718 | 27.3 | 43.4
100948 | 2021-04-20 15:57 | 10.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.3299 | μmol/L | 15.0216 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.788 | 102107.3114 | 211044.9255 | 27.3 | 43.4
100958 | 2021-04-20 15:57 | 10.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.4868 | μmol/L | 15.0155 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.784 | 102091.2491 | 211044.5958 | 27.3 | 43.4
100969 | 2021-04-20 15:57 | 11.3263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.5371 | μmol/L | 15.0155 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.782 | 102084.9418 | 211032.6824 | 27.3 | 43.4
100979 | 2021-04-20 15:58 | 11.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.5682 | μmol/L | 15.0094 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.783 | 102075.1446 | 211022.0375 | 27.3 | 43.4
100988 | 2021-04-20 15:58 | 11.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.512 | μmol/L | 15.0155 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.783 | 102060.5952 | 211022.6302 | 27.3 | 43.4
100999 | 2021-04-20 15:58 | 12.3265 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.4557 | μmol/L | 15.0216 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.783 | 102056.4491 | 211005.1385 | 27.3 | 43.4
101009 | 2021-04-20 15:59 | 12.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.6941 | μmol/L | 15.0094 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.778 | 102052.1766 | 211009.7074 | 27.3 | 43.4
101018 | 2021-04-20 15:59 | 12.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.663 | μmol/L | 15.0155 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.777 | 102045.562 | 211006.4331 | 27.3 | 43.4
101029 | 2021-04-20 15:59 | 13.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.5741 | μmol/L | 15.0033 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.785 | 102035.3326 | 210999.6727 | 27.3 | 43.4
101038 | 2021-04-20 16:00 | 13.6593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.6496 | μmol/L | 15.0033 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.782 | 102037.1341 | 211005.8904 | 27.3 | 43.4
101049 | 2021-04-20 16:00 | 13.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.6244 | μmol/L | 15.0033 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.783 | 102029.1942 | 210996.2017 | 27.3 | 43.4
101058 | 2021-04-20 16:00 | 14.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.6051 | μmol/L | 14.9972 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.786 | 102030.0594 | 210996.438 | 27.3 | 43.4
101068 | 2021-04-20 16:01 | 14.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7252 | μmol/L | 15.0033 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.779 | 102013.8359 | 210986.5962 | 27.3 | 43.4
101078 | 2021-04-20 16:01 | 14.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.6244 | μmol/L | 15.0033 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.783 | 102008.8591 | 210980.8423 | 27.3 | 43.4
101089 | 2021-04-20 16:01 | 15.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7814 | μmol/L | 14.9972 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.779 | 102013.9733 | 210980.3774 | 27.3 | 43.4
101098 | 2021-04-20 16:02 | 15.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7814 | μmol/L | 14.9972 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.779 | 102000.3053 | 210978.4214 | 27.3 | 43.4
101108 | 2021-04-20 16:02 | 15.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7059 | μmol/L | 14.9972 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.782 | 101997.8695 | 210967.8929 | 27.3 | 43.4
101119 | 2021-04-20 16:02 | 16.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7117 | μmol/L | 14.9911 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.784 | 101983.9796 | 210964.5268 | 27.3 | 43.4
101128 | 2021-04-20 16:03 | 16.6593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.6614 | μmol/L | 14.9911 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.786 | 101981.5055 | 210955.9838 | 27.3 | 43.4
101138 | 2021-04-20 16:03 | 16.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.6614 | μmol/L | 14.9911 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.786 | 101982.1878 | 210956.4768 | 27.3 | 43.4
101149 | 2021-04-20 16:03 | 17.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.6303 | μmol/L | 14.9972 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.785 | 101987.0395 | 210955.732 | 27.3 | 43.4
101158 | 2021-04-20 16:04 | 17.6593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.768 | μmol/L | 14.985 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.784 | 101981.3841 | 210958.4959 | 27.3 | 43.4
101169 | 2021-04-20 16:04 | 17.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.6984 | μmol/L | 14.9789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.789 | 101964.5198 | 210946.8557 | 27.3 | 43.4
101178 | 2021-04-20 16:04 | 18.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7428 | μmol/L | 14.985 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.785 | 101966.0104 | 210949.5766 | 27.3 | 43.4
101188 | 2021-04-20 16:05 | 18.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7428 | μmol/L | 14.985 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.785 | 101967.5484 | 210945.8453 | 27.3 | 43.4
101198 | 2021-04-20 16:05 | 18.9929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.8747 | μmol/L | 14.9789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.782 | 101973.2041 | 210952.373 | 27.3 | 43.4
101208 | 2021-04-20 16:05 | 19.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.8806 | μmol/L | 14.9728 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.784 | 101967.0086 | 210935.1434 | 27.3 | 43.4
101219 | 2021-04-20 16:06 | 19.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7991 | μmol/L | 14.9789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.785 | 101964.5017 | 210943.0892 | 27.3 | 43.4
101228 | 2021-04-20 16:06 | 19.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7546 | μmol/L | 14.9728 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.789 | 101963.4169 | 210934.9308 | 27.3 | 43.4
101239 | 2021-04-20 16:06 | 20.3264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7487 | μmol/L | 14.9789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.787 | 101964.9431 | 210938.3429 | 27.3 | 43.4
101248 | 2021-04-20 16:07 | 20.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7546 | μmol/L | 14.9728 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.789 | 101963.0082 | 210939.3206 | 27.3 | 43.4
101258 | 2021-04-20 16:07 | 20.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.8361 | μmol/L | 14.9667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.788 | 101972.1789 | 210939.688 | 27.3 | 43.4
101268 | 2021-04-20 16:07 | 21.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7606 | μmol/L | 14.9667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.791 | 101973.6984 | 210929.8473 | 27.3 | 43.4
101278 | 2021-04-20 16:08 | 21.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7235 | μmol/L | 14.9789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.788 | 101972.1885 | 210929.2701 | 27.3 | 43.4
101289 | 2021-04-20 16:08 | 21.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7354 | μmol/L | 14.9667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.792 | 101965.5303 | 210932.852 | 27.3 | 43.4
101299 | 2021-04-20 16:08 | 22.326 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.8925 | μmol/L | 14.9606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.788 | 101960.5464 | 210928.945 | 27.3 | 43.4
101308 | 2021-04-20 16:09 | 22.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.8925 | μmol/L | 14.9606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.788 | 101968.1805 | 210929.1919 | 27.3 | 43.4
101319 | 2021-04-20 16:09 | 22.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.9117 | μmol/L | 14.9667 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.785 | 101961.7206 | 210936.9627 | 27.3 | 43.4
101328 | 2021-04-20 16:09 | 23.326 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.7976 | μmol/L | 14.9545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.794 | 101960.8145 | 210923.2066 | 27.3 | 43.4
101338 | 2021-04-20 16:10 | 23.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.974 | μmol/L | 14.9545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.787 | 101961.2258 | 210936.9296 | 27.3 | 43.4
101348 | 2021-04-20 16:10 | 23.9931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.9236 | μmol/L | 14.9545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.789 | 101958.5607 | 210925.2176 | 27.3 | 43.4
101359 | 2021-04-20 16:10 | 24.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.9236 | μmol/L | 14.9545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.789 | 101963.0352 | 210924.2772 | 27.3 | 43.4
101369 | 2021-04-20 16:11 | 24.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.8169 | μmol/L | 14.9606 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.791 | 101959.2744 | 210921.701 | 27.3 | 43.4