## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
100630 | 2021-04-20 15:46 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.2077 | μmol/L | 15.0773 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.594 | 95386.2162 | 288292.7325 | 28.7 | 67.6
100640 | 2021-04-20 15:46 | 0.33317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.2783 | μmol/L | 15.0712 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.593 | 95355.1522 | 288282.6353 | 28.7 | 67.6
100650 | 2021-04-20 15:47 | 0.66633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.4116 | μmol/L | 15.0712 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.587 | 95343.7501 | 288280.4861 | 28.7 | 67.6
100660 | 2021-04-20 15:47 | 1.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.4378 | μmol/L | 15.0651 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.588 | 95334.1676 | 288278.69 | 28.7 | 67.6
100670 | 2021-04-20 15:47 | 1.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.4418 | μmol/L | 15.059 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.59 | 95322.1052 | 288244.5748 | 28.7 | 67.6
100680 | 2021-04-20 15:48 | 1.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.468 | μmol/L | 15.053 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.591 | 95328.3396 | 288257.9106 | 28.7 | 67.6
100690 | 2021-04-20 15:48 | 1.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.4236 | μmol/L | 15.053 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.593 | 95323.9315 | 288254.382 | 28.7 | 67.6
100700 | 2021-04-20 15:48 | 2.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.3347 | μmol/L | 15.053 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.597 | 95314.9812 | 288222.5418 | 28.7 | 67.6
100710 | 2021-04-20 15:49 | 2.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.4578 | μmol/L | 15.0347 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.598 | 95327.8017 | 288221.5059 | 28.7 | 67.6
100720 | 2021-04-20 15:49 | 3.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.48 | μmol/L | 15.0347 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.597 | 95331.6895 | 288212.3396 | 28.7 | 67.6
100730 | 2021-04-20 15:49 | 3.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.3245 | μmol/L | 15.0347 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.604 | 95336.1816 | 288200.1868 | 28.7 | 67.6
100740 | 2021-04-20 15:50 | 3.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.4698 | μmol/L | 15.0165 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.604 | 95337.6312 | 288190.3656 | 28.7 | 67.6
100750 | 2021-04-20 15:50 | 4.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5405 | μmol/L | 15.0104 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.603 | 95350.7378 | 288190.2861 | 28.7 | 67.6
100760 | 2021-04-20 15:50 | 4.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5001 | μmol/L | 15.0044 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.607 | 95346.913 | 288174.0772 | 28.7 | 67.6
100770 | 2021-04-20 15:51 | 4.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.4335 | μmol/L | 15.0044 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.61 | 95349.3516 | 288153.8312 | 28.7 | 67.6
100780 | 2021-04-20 15:51 | 5.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.486 | μmol/L | 14.9922 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.612 | 95351.5949 | 288144.8789 | 28.7 | 67.6
100790 | 2021-04-20 15:51 | 5.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.4415 | μmol/L | 14.9922 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.614 | 95364.5459 | 288159.9317 | 28.7 | 67.6
100800 | 2021-04-20 15:52 | 5.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.4274 | μmol/L | 14.9801 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.619 | 95368.4581 | 288139.0495 | 28.7 | 67.6
100810 | 2021-04-20 15:52 | 6.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.4496 | μmol/L | 14.9801 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.618 | 95363.5828 | 288131.2691 | 28.7 | 67.6
100820 | 2021-04-20 15:52 | 6.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5466 | μmol/L | 14.9679 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.618 | 95359.4288 | 288114.8693 | 28.7 | 67.6
100830 | 2021-04-20 15:53 | 6.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5507 | μmol/L | 14.9618 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.62 | 95356.9355 | 288103.5043 | 28.7 | 67.6
100840 | 2021-04-20 15:53 | 7.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6922 | μmol/L | 14.9497 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.618 | 95376.073 | 288109.0336 | 28.7 | 67.6
100850 | 2021-04-20 15:53 | 7.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.4881 | μmol/L | 14.9558 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.625 | 95366.4264 | 288101.1564 | 28.7 | 67.6
100860 | 2021-04-20 15:54 | 7.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6074 | μmol/L | 14.9436 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.624 | 95375.887 | 288093.4008 | 28.7 | 67.6
100870 | 2021-04-20 15:54 | 7.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.563 | μmol/L | 14.9436 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.626 | 95375.4973 | 288073.5217 | 28.7 | 67.6
100880 | 2021-04-20 15:54 | 8.3338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5004 | μmol/L | 14.9375 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.631 | 95381.2126 | 288065.5523 | 28.7 | 67.6
100890 | 2021-04-20 15:55 | 8.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6197 | μmol/L | 14.9254 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.63 | 95374.5129 | 288046.7082 | 28.7 | 67.6
100900 | 2021-04-20 15:55 | 8.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5267 | μmol/L | 14.9315 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.632 | 95371.2472 | 288031.8789 | 28.7 | 67.6
100910 | 2021-04-20 15:55 | 9.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5794 | μmol/L | 14.9193 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.634 | 95380.6069 | 288044.4832 | 28.7 | 67.6
100920 | 2021-04-20 15:56 | 9.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5835 | μmol/L | 14.9132 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.636 | 95377.4694 | 288022.6621 | 28.7 | 67.6
100930 | 2021-04-20 15:56 | 10.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5876 | μmol/L | 14.9072 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.638 | 95381.3211 | 288024.1273 | 28.7 | 67.6
100940 | 2021-04-20 15:56 | 10.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5695 | μmol/L | 14.9011 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.641 | 95384.7859 | 288026.9646 | 28.7 | 67.6
100950 | 2021-04-20 15:57 | 10.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6181 | μmol/L | 14.895 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.641 | 95390.2891 | 288010.4329 | 28.7 | 67.6
100960 | 2021-04-20 15:57 | 11.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6042 | μmol/L | 14.8828 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.646 | 95391.6505 | 287985.154 | 28.7 | 67.6
100970 | 2021-04-20 15:57 | 11.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5597 | μmol/L | 14.8828 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.648 | 95402.8418 | 287992.0258 | 28.7 | 67.6
100980 | 2021-04-20 15:58 | 11.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.5195 | μmol/L | 14.8768 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.652 | 95393.5667 | 287975.8199 | 28.7 | 67.6
100990 | 2021-04-20 15:58 | 11.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6347 | μmol/L | 14.8707 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.649 | 95405.5835 | 287987.7925 | 28.7 | 67.6
101000 | 2021-04-20 15:58 | 12.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6874 | μmol/L | 14.8585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.651 | 95403.4627 | 287964.6676 | 28.7 | 67.6
101010 | 2021-04-20 15:59 | 12.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.643 | μmol/L | 14.8585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.653 | 95408.873 | 287948.7555 | 28.7 | 67.6
101020 | 2021-04-20 15:59 | 12.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6958 | μmol/L | 14.8464 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.655 | 95409.1354 | 287939.3979 | 28.7 | 67.6
101030 | 2021-04-20 15:59 | 13.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6028 | μmol/L | 14.8525 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.657 | 95414.4646 | 287940.6956 | 28.7 | 67.6
101040 | 2021-04-20 16:00 | 13.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.7264 | μmol/L | 14.8342 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.658 | 95418.6859 | 287938.6724 | 28.7 | 67.6
101050 | 2021-04-20 16:00 | 13.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6639 | μmol/L | 14.8282 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.663 | 95412.9359 | 287921.9369 | 28.7 | 67.6
101060 | 2021-04-20 16:00 | 14.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.7528 | μmol/L | 14.8282 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.659 | 95406.7425 | 287916.7692 | 28.7 | 67.6
101070 | 2021-04-20 16:01 | 14.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.8237 | μmol/L | 14.8221 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.658 | 95415.6459 | 287914.6936 | 28.7 | 67.6
101080 | 2021-04-20 16:01 | 14.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.8723 | μmol/L | 14.816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.658 | 95411.5477 | 287909.1659 | 28.7 | 67.6
101090 | 2021-04-20 16:01 | 15.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.8988 | μmol/L | 14.8099 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.659 | 95423.012 | 287907.5329 | 28.7 | 67.6
101100 | 2021-04-20 16:02 | 15.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.9072 | μmol/L | 14.7978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.663 | 95412.1899 | 287912.7987 | 28.7 | 67.6
101110 | 2021-04-20 16:02 | 15.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.9295 | μmol/L | 14.7978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.662 | 95417.1472 | 287897.9126 | 28.7 | 67.6
101120 | 2021-04-20 16:02 | 16.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.8363 | μmol/L | 14.8039 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.664 | 95406.5106 | 287895.6925 | 28.7 | 67.6
101130 | 2021-04-20 16:03 | 16.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.849 | μmol/L | 14.7856 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.67 | 95417.9203 | 287889.9211 | 28.7 | 67.6
101140 | 2021-04-20 16:03 | 16.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.8934 | μmol/L | 14.7856 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.668 | 95416.8781 | 287887.4702 | 28.7 | 67.6
101150 | 2021-04-20 16:03 | 17.3338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.9909 | μmol/L | 14.7735 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.668 | 95417.9174 | 287885.1678 | 28.7 | 67.6
101160 | 2021-04-20 16:04 | 17.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0173 | μmol/L | 14.7674 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.669 | 95421.713 | 287873.8245 | 28.7 | 67.6
101170 | 2021-04-20 16:04 | 17.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.9062 | μmol/L | 14.7674 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.674 | 95423.5908 | 287866.4714 | 28.7 | 67.6
101180 | 2021-04-20 16:04 | 18.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.9771 | μmol/L | 14.7613 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.673 | 95423.6219 | 287863.9276 | 28.7 | 67.6
101190 | 2021-04-20 16:05 | 18.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0344 | μmol/L | 14.7431 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.677 | 95424.7759 | 287868.6127 | 28.7 | 67.6
101200 | 2021-04-20 16:05 | 19.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.9856 | μmol/L | 14.7492 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.677 | 95420.9434 | 287867.309 | 28.7 | 67.6
101210 | 2021-04-20 16:05 | 19.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0121 | μmol/L | 14.7431 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.678 | 95418.6737 | 287849.4664 | 28.7 | 67.6
101220 | 2021-04-20 16:06 | 19.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0429 | μmol/L | 14.731 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.681 | 95423.6106 | 287856.7923 | 28.7 | 67.6
101230 | 2021-04-20 16:06 | 20.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0429 | μmol/L | 14.731 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.681 | 95417.5025 | 287839.934 | 28.7 | 67.6
101240 | 2021-04-20 16:06 | 20.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.1584 | μmol/L | 14.7249 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.678 | 95425.778 | 287838.5955 | 28.7 | 67.6
101250 | 2021-04-20 16:07 | 20.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.1362 | μmol/L | 14.7249 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.679 | 95438.952 | 287853.2748 | 28.7 | 67.6
101260 | 2021-04-20 16:07 | 21.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.1225 | μmol/L | 14.7127 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.684 | 95439.2032 | 287854.4637 | 28.7 | 67.6
101270 | 2021-04-20 16:07 | 21.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.167 | μmol/L | 14.7127 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.682 | 95435.9601 | 287849.4969 | 28.7 | 67.6
101280 | 2021-04-20 16:08 | 21.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.1448 | μmol/L | 14.7127 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.683 | 95434.8996 | 287850.4396 | 28.7 | 67.6
101290 | 2021-04-20 16:08 | 22.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.2022 | μmol/L | 14.6945 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.687 | 95434.7086 | 287834.7478 | 28.7 | 67.6
101300 | 2021-04-20 16:08 | 22.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.1534 | μmol/L | 14.7006 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.687 | 95433.4819 | 287819.8115 | 28.7 | 67.6
101310 | 2021-04-20 16:09 | 22.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.2467 | μmol/L | 14.6945 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.685 | 95429.0963 | 287835.3732 | 28.7 | 67.6
101320 | 2021-04-20 16:09 | 23.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.251 | μmol/L | 14.6884 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.687 | 95431.0118 | 287843.2375 | 28.7 | 67.6
101330 | 2021-04-20 16:09 | 23.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3085 | μmol/L | 14.6702 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.691 | 95436.2531 | 287831.2212 | 28.7 | 67.6
101340 | 2021-04-20 16:10 | 23.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3042 | μmol/L | 14.6763 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.689 | 95435.9042 | 287828.1353 | 28.7 | 67.6
101350 | 2021-04-20 16:10 | 24.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.2152 | μmol/L | 14.6763 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.693 | 95438.8257 | 287810.6427 | 28.7 | 67.6
101360 | 2021-04-20 16:10 | 24.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.2862 | μmol/L | 14.6702 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.692 | 95453.3466 | 287819.2829 | 28.7 | 67.6
101370 | 2021-04-20 16:11 | 24.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.2906 | μmol/L | 14.6641 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.694 | 95443.9763 | 287819.3759 | 28.7 | 67.6