## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
100631 | 2021-04-20 15:46 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7161 | μmol/L | 15.1999 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.225 | 118586.7311 | 265450.564 | 36.4 | 83.1
100641 | 2021-04-20 15:46 | 0.34115 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9045 | μmol/L | 15.1816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.224 | 118479.6387 | 265430.418 | 36.4 | 83.1
100651 | 2021-04-20 15:47 | 0.67419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7048 | μmol/L | 15.1877 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.23 | 118479.7058 | 265420.2325 | 36.4 | 83.1
100661 | 2021-04-20 15:47 | 1.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4938 | μmol/L | 15.1816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.241 | 118477.6019 | 265400.6842 | 36.4 | 83.1
100671 | 2021-04-20 15:47 | 1.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4214 | μmol/L | 15.1816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.244 | 118483.2746 | 265380.4778 | 36.4 | 83.1
100681 | 2021-04-20 15:48 | 1.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1802 | μmol/L | 15.1816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.254 | 118493.6387 | 265385.7913 | 36.4 | 83.1
100691 | 2021-04-20 15:48 | 2.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9393 | μmol/L | 15.1816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.264 | 118501.4433 | 265379.7463 | 36.4 | 83.1
100701 | 2021-04-20 15:48 | 2.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8253 | μmol/L | 15.1755 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.271 | 118522.956 | 265378.7866 | 36.4 | 83.1
100711 | 2021-04-20 15:49 | 2.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.705 | μmol/L | 15.1755 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.276 | 118512.1006 | 265356.8418 | 36.4 | 83.1
100721 | 2021-04-20 15:49 | 3.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3926 | μmol/L | 15.1755 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.289 | 118545.305 | 265349.8876 | 36.4 | 83.1
100731 | 2021-04-20 15:49 | 3.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.242 | μmol/L | 15.1816 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.293 | 118581.7971 | 265355.8173 | 36.4 | 83.1
100741 | 2021-04-20 15:50 | 3.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.015 | μmol/L | 15.1694 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.307 | 118617.8818 | 265334.8674 | 36.4 | 83.1
100751 | 2021-04-20 15:50 | 4.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7929 | μmol/L | 15.1755 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.314 | 118649.7621 | 265328.0157 | 36.4 | 83.1
100761 | 2021-04-20 15:50 | 4.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5599 | μmol/L | 15.1694 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.326 | 118693.1709 | 265332.6461 | 36.4 | 83.1
100771 | 2021-04-20 15:51 | 4.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3033 | μmol/L | 15.1632 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.339 | 118720.804 | 265307.2272 | 36.4 | 83.1
100781 | 2021-04-20 15:51 | 5.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2316 | μmol/L | 15.1632 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.342 | 118768.028 | 265298.6632 | 36.4 | 83.1
100791 | 2021-04-20 15:51 | 5.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0405 | μmol/L | 15.1632 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.35 | 118786.362 | 265288.4849 | 36.4 | 83.1
100801 | 2021-04-20 15:52 | 5.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.778 | μmol/L | 15.1632 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.361 | 118827.5943 | 265289.0053 | 36.4 | 83.1
100811 | 2021-04-20 15:52 | 6.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.713 | μmol/L | 15.1571 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.366 | 118849.6236 | 265270.0273 | 36.4 | 83.1
100821 | 2021-04-20 15:52 | 6.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4574 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.379 | 118932.6975 | 265264.2897 | 36.4 | 83.1
100831 | 2021-04-20 15:53 | 6.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2605 | μmol/L | 15.1571 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.385 | 118942.225 | 265261.349 | 36.4 | 83.1
100841 | 2021-04-20 15:53 | 7.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2195 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.389 | 118906.4504 | 265237.9876 | 36.4 | 83.1
100851 | 2021-04-20 15:53 | 7.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.0293 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.397 | 118996.2355 | 265245.9413 | 36.4 | 83.1
100861 | 2021-04-20 15:54 | 7.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.9342 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.401 | 118971.1873 | 265225.0509 | 36.4 | 83.1
100871 | 2021-04-20 15:54 | 8.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.7983 | μmol/L | 15.1449 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.409 | 118993.4425 | 265231.1882 | 36.4 | 83.1
100881 | 2021-04-20 15:54 | 8.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.4834 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.42 | 119007.1609 | 265216.3802 | 36.4 | 83.1
100891 | 2021-04-20 15:55 | 8.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.4359 | μmol/L | 15.151 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.422 | 119024.5164 | 265202.8156 | 36.4 | 83.1
100901 | 2021-04-20 15:55 | 9.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.3714 | μmol/L | 15.1449 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.427 | 119051.5426 | 265190.2987 | 36.4 | 83.1
100911 | 2021-04-20 15:55 | 9.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.2293 | μmol/L | 15.1449 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.433 | 119069.7066 | 265184.1614 | 36.4 | 83.1
100921 | 2021-04-20 15:56 | 9.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.0938 | μmol/L | 15.1388 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.441 | 119082.3628 | 265182.7115 | 36.4 | 83.1
100931 | 2021-04-20 15:56 | 10.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.9992 | μmol/L | 15.1388 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.445 | 119098.7176 | 265174.3457 | 36.4 | 83.1
100941 | 2021-04-20 15:56 | 10.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.965 | μmol/L | 15.1265 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.451 | 119123.0499 | 265159.1273 | 36.4 | 83.1
100951 | 2021-04-20 15:57 | 10.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.7221 | μmol/L | 15.1326 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.459 | 119140.3741 | 265155.5908 | 36.4 | 83.1
100961 | 2021-04-20 15:57 | 11.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.6512 | μmol/L | 15.1326 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.462 | 119147.3902 | 265148.1738 | 36.4 | 83.1
100971 | 2021-04-20 15:57 | 11.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.6814 | μmol/L | 15.1265 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.463 | 119173.3238 | 265142.1085 | 36.4 | 83.1
100981 | 2021-04-20 15:58 | 11.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4925 | μmol/L | 15.1265 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.471 | 119182.2354 | 265123.4868 | 36.4 | 83.1
100991 | 2021-04-20 15:58 | 12.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4755 | μmol/L | 15.1204 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.474 | 119194.987 | 265121.2605 | 36.4 | 83.1
101001 | 2021-04-20 15:58 | 12.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.334 | μmol/L | 15.1204 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.48 | 119218.9578 | 265115.485 | 36.4 | 83.1
101011 | 2021-04-20 15:59 | 12.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.2633 | μmol/L | 15.1204 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.483 | 119226.0577 | 265121.0427 | 36.4 | 83.1
101021 | 2021-04-20 15:59 | 13.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.3 | μmol/L | 15.1082 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.486 | 119238.2297 | 265108.2735 | 36.4 | 83.1
101031 | 2021-04-20 15:59 | 13.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.2058 | μmol/L | 15.1082 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.49 | 119247.2682 | 265101.4396 | 36.4 | 83.1
101041 | 2021-04-20 16:00 | 13.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.0409 | μmol/L | 15.1082 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.497 | 119269.7791 | 265101.7782 | 36.4 | 83.1
101051 | 2021-04-20 16:00 | 14.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.0173 | μmol/L | 15.1082 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.498 | 119275.6452 | 265104.6327 | 36.4 | 83.1
101061 | 2021-04-20 16:00 | 14.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.7989 | μmol/L | 15.1143 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.505 | 119284.1443 | 265083.8123 | 36.4 | 83.1
101071 | 2021-04-20 16:01 | 14.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.782 | μmol/L | 15.1082 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.508 | 119290.2593 | 265088.4231 | 36.4 | 83.1
101081 | 2021-04-20 16:01 | 15.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.782 | μmol/L | 15.1082 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.508 | 119300.7205 | 265086.6575 | 36.4 | 83.1
101091 | 2021-04-20 16:01 | 15.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.641 | μmol/L | 15.1082 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.514 | 119316.9873 | 265091.4665 | 36.4 | 83.1
101101 | 2021-04-20 16:02 | 15.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5771 | μmol/L | 15.1021 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.519 | 119312.6481 | 265074.4783 | 36.4 | 83.1
101111 | 2021-04-20 16:02 | 16.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.6711 | μmol/L | 15.1021 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.515 | 119320.4292 | 265075.6012 | 36.4 | 83.1
101121 | 2021-04-20 16:02 | 16.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5668 | μmol/L | 15.0898 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.524 | 119329.546 | 265085.8767 | 36.4 | 83.1
101131 | 2021-04-20 16:03 | 16.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5199 | μmol/L | 15.0898 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.526 | 119334.6362 | 265057.0503 | 36.4 | 83.1
101141 | 2021-04-20 16:03 | 17.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4025 | μmol/L | 15.0898 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.531 | 119348.1053 | 265046.8036 | 36.4 | 83.1
101151 | 2021-04-20 16:03 | 17.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2851 | μmol/L | 15.0898 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.536 | 119366.6144 | 265057.2962 | 36.4 | 83.1
101161 | 2021-04-20 16:04 | 17.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2851 | μmol/L | 15.0898 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.536 | 119367.4084 | 265036.6817 | 36.4 | 83.1
101171 | 2021-04-20 16:04 | 18.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2214 | μmol/L | 15.0837 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.541 | 119365.5356 | 265031.8493 | 36.4 | 83.1
101181 | 2021-04-20 16:04 | 18.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1444 | μmol/L | 15.0898 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.542 | 119374.6443 | 265019.6488 | 36.4 | 83.1
101191 | 2021-04-20 16:05 | 18.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.0104 | μmol/L | 15.0837 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.55 | 119366.0812 | 265024.2229 | 36.4 | 83.1
101201 | 2021-04-20 16:05 | 19.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.0338 | μmol/L | 15.0837 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.549 | 119373.1018 | 265013.8973 | 36.4 | 83.1
101211 | 2021-04-20 16:05 | 19.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.0405 | μmol/L | 15.0776 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.551 | 119388.5818 | 265007.7807 | 36.4 | 83.1
101221 | 2021-04-20 16:06 | 19.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.9468 | μmol/L | 15.0776 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.555 | 119395.7761 | 265007.8898 | 36.4 | 83.1
101231 | 2021-04-20 16:06 | 20.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.9534 | μmol/L | 15.0715 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.557 | 119397.897 | 265010.1175 | 36.4 | 83.1
101241 | 2021-04-20 16:06 | 20.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.8765 | μmol/L | 15.0776 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.558 | 119406.4286 | 264995.8069 | 36.4 | 83.1
101251 | 2021-04-20 16:07 | 20.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.7828 | μmol/L | 15.0776 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.562 | 119419.6615 | 264987.9824 | 36.4 | 83.1
101261 | 2021-04-20 16:07 | 21.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.9433 | μmol/L | 15.0592 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.562 | 119413.0978 | 265000.2124 | 36.4 | 83.1
101271 | 2021-04-20 16:07 | 21.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.8664 | μmol/L | 15.0654 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.563 | 119431.0548 | 264986.4674 | 36.4 | 83.1
101281 | 2021-04-20 16:08 | 21.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.6257 | μmol/L | 15.0715 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.571 | 119436.9305 | 264983.9578 | 36.4 | 83.1
101291 | 2021-04-20 16:08 | 22.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.7494 | μmol/L | 15.0654 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.568 | 119444.5334 | 264986.3537 | 36.4 | 83.1
101301 | 2021-04-20 16:08 | 22.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.6625 | μmol/L | 15.0592 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.574 | 119436.6171 | 264962.4321 | 36.4 | 83.1
101311 | 2021-04-20 16:09 | 22.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.7093 | μmol/L | 15.0592 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.572 | 119451.6572 | 264968.2661 | 36.4 | 83.1
101321 | 2021-04-20 16:09 | 23.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.6458 | μmol/L | 15.0531 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.577 | 119449.9586 | 264956.4716 | 36.4 | 83.1
101331 | 2021-04-20 16:09 | 23.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.5522 | μmol/L | 15.0531 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.581 | 119465.4244 | 264952.2338 | 36.4 | 83.1
101341 | 2021-04-20 16:10 | 23.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.5756 | μmol/L | 15.0531 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.58 | 119484.9595 | 264951.4759 | 36.4 | 83.1
101351 | 2021-04-20 16:10 | 24.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.5122 | μmol/L | 15.047 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.585 | 119483.5573 | 264962.4944 | 36.4 | 83.1
101361 | 2021-04-20 16:10 | 24.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.4354 | μmol/L | 15.0531 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.586 | 119499.6938 | 264957.5231 | 36.4 | 83.1
101371 | 2021-04-20 16:11 | 24.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.3653 | μmol/L | 15.0531 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.589 | 119533.9863 | 264950.2384 | 36.4 | 83.1