## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99270 | 2021-04-20 14:41 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.6122 | μmol/L | 15.0458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.674 | 112259.5249 | 269585.0654 | 26.25 | 74
99280 | 2021-04-20 14:42 | 0.32541 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1556 | μmol/L | 15.0336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 117950.52 | 269525.056 | 26.25 | 74
99290 | 2021-04-20 14:42 | 0.65844 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8615 | μmol/L | 15.0153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.629 | 120425.2803 | 269453.2741 | 26.25 | 74
99300 | 2021-04-20 14:42 | 0.99209 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.411 | μmol/L | 15.0275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.6 | 122375.0353 | 269385.6669 | 26.25 | 74
99310 | 2021-04-20 14:43 | 1.3259 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0712 | μmol/L | 15.0153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.575 | 123411.5843 | 269334.6737 | 26.25 | 74
99320 | 2021-04-20 14:43 | 1.6591 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.566 | μmol/L | 15.0153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.553 | 124199.5163 | 269267.1855 | 26.25 | 74
99330 | 2021-04-20 14:43 | 1.9921 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.2023 | μmol/L | 15.0093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.527 | 124801.5329 | 269207.8943 | 26.25 | 74
99340 | 2021-04-20 14:44 | 2.3251 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.5817 | μmol/L | 15.0153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.508 | 125296.58 | 269142.9703 | 26.25 | 74
99350 | 2021-04-20 14:44 | 2.6591 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8988 | μmol/L | 15.0153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.494 | 125721.9889 | 269091.695 | 26.25 | 74
99360 | 2021-04-20 14:44 | 2.9923 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.221 | μmol/L | 15.0093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.482 | 126058.4626 | 269029.2002 | 26.25 | 74
99370 | 2021-04-20 14:45 | 3.3253 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4254 | μmol/L | 15.0093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.473 | 126426.8735 | 268964.811 | 26.25 | 74
99380 | 2021-04-20 14:45 | 3.6592 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.6527 | μmol/L | 15.0093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.463 | 126298.2537 | 268911.2859 | 26.25 | 74
99390 | 2021-04-20 14:45 | 3.9922 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.8119 | μmol/L | 15.0093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.456 | 126188.511 | 268865.9659 | 26.25 | 74
99400 | 2021-04-20 14:46 | 4.3252 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.8622 | μmol/L | 15.0032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.456 | 126109.7227 | 268796.6017 | 26.25 | 74
99410 | 2021-04-20 14:46 | 4.6592 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.0444 | μmol/L | 15.0032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.448 | 126014.9047 | 268731.2718 | 26.25 | 74
99420 | 2021-04-20 14:46 | 4.9923 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.1175 | μmol/L | 14.9971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.447 | 125931.578 | 268677.1018 | 26.25 | 74
99430 | 2021-04-20 14:47 | 5.3254 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.1079 | μmol/L | 15.0093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.443 | 125852.8376 | 268607.5367 | 26.25 | 74
99440 | 2021-04-20 14:47 | 5.6592 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.2362 | μmol/L | 14.991 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.444 | 125790.6874 | 268568.5025 | 26.25 | 74
99450 | 2021-04-20 14:47 | 5.9922 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.2723 | μmol/L | 15.0032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.438 | 125713.6265 | 268507.9447 | 26.25 | 74
99460 | 2021-04-20 14:48 | 6.3253 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.3683 | μmol/L | 14.9971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.436 | 125642.3347 | 268460.7293 | 26.25 | 74
99470 | 2021-04-20 14:48 | 6.6591 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.4139 | μmol/L | 14.9971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.434 | 125567.7107 | 268405.8905 | 26.25 | 74
99480 | 2021-04-20 14:48 | 6.9921 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.5328 | μmol/L | 14.991 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.431 | 125497.0387 | 268361.9091 | 26.25 | 74
99490 | 2021-04-20 14:49 | 7.3259 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.5557 | μmol/L | 14.991 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.43 | 125443.8551 | 268288.327 | 26.25 | 74
99500 | 2021-04-20 14:49 | 7.6591 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.629 | μmol/L | 14.9849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.429 | 125391.6154 | 268242.7786 | 26.25 | 74
99510 | 2021-04-20 14:49 | 7.9923 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.5604 | μmol/L | 14.9849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.432 | 125345.1983 | 268185.9651 | 26.25 | 74
99520 | 2021-04-20 14:50 | 8.3253 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.7023 | μmol/L | 14.9788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.428 | 125295.4767 | 268129.5963 | 26.25 | 74
99530 | 2021-04-20 14:50 | 8.6589 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.6109 | μmol/L | 14.9788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.432 | 125245.4723 | 268093.4596 | 26.25 | 74
99540 | 2021-04-20 14:50 | 8.992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.629 | μmol/L | 14.9849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.429 | 125196.5573 | 268034.2486 | 26.25 | 74
99550 | 2021-04-20 14:51 | 9.3258 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.5376 | μmol/L | 14.9849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.433 | 125154.8237 | 267967.1009 | 26.25 | 74
99560 | 2021-04-20 14:51 | 9.659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.4283 | μmol/L | 14.9788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.44 | 125134.4931 | 267911.6672 | 26.25 | 74
99570 | 2021-04-20 14:51 | 9.9921 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.337 | μmol/L | 14.9788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.444 | 125143.8097 | 267877.4459 | 26.25 | 74
99580 | 2021-04-20 14:52 | 10.3252 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.1642 | μmol/L | 14.9667 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.456 | 125171.105 | 267836.3858 | 26.25 | 74
99590 | 2021-04-20 14:52 | 10.659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.982 | μmol/L | 14.9667 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.464 | 125180.8979 | 267772.2602 | 26.25 | 74
99600 | 2021-04-20 14:52 | 10.9921 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.8 | μmol/L | 14.9667 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.472 | 125200.3974 | 267735.2016 | 26.25 | 74
99610 | 2021-04-20 14:53 | 11.3259 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.459 | μmol/L | 14.9667 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.487 | 125221.3813 | 267694.0988 | 26.25 | 74
99620 | 2021-04-20 14:53 | 11.6589 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4866 | μmol/L | 14.9606 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.488 | 125220.1522 | 267642.1637 | 26.25 | 74
99630 | 2021-04-20 14:53 | 11.9919 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3276 | μmol/L | 14.9606 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.495 | 125210.9465 | 267599.024 | 26.25 | 74
99640 | 2021-04-20 14:54 | 12.3251 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0878 | μmol/L | 14.9484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.51 | 125250.1937 | 267546.0918 | 26.25 | 74
99650 | 2021-04-20 14:54 | 12.659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3098 | μmol/L | 14.9545 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.498 | 125172.3882 | 267512.979 | 26.25 | 74
99660 | 2021-04-20 14:54 | 12.9919 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1332 | μmol/L | 14.9484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.508 | 125152.0718 | 267454.5903 | 26.25 | 74
99670 | 2021-04-20 14:55 | 13.3257 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1332 | μmol/L | 14.9484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.508 | 125122.3975 | 267397.7065 | 26.25 | 74
99680 | 2021-04-20 14:55 | 13.6587 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1607 | μmol/L | 14.9423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.509 | 125099.8341 | 267362.8448 | 26.25 | 74
99690 | 2021-04-20 14:55 | 13.9924 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0069 | μmol/L | 14.9362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.518 | 125071.6564 | 267331.6595 | 26.25 | 74
99700 | 2021-04-20 14:56 | 14.3254 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0797 | μmol/L | 14.9301 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.517 | 125070.053 | 267284.8169 | 26.25 | 74
99710 | 2021-04-20 14:56 | 14.6592 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9212 | μmol/L | 14.9301 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.524 | 125065.7218 | 267230.8195 | 26.25 | 74
99720 | 2021-04-20 14:56 | 14.9921 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9487 | μmol/L | 14.9241 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.525 | 125053.6993 | 267207.1715 | 26.25 | 74
99730 | 2021-04-20 14:57 | 15.3252 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9407 | μmol/L | 14.9058 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.532 | 125042.112 | 267150.1238 | 26.25 | 74
99740 | 2021-04-20 14:57 | 15.6592 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.6545 | μmol/L | 14.9241 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.538 | 125020.0926 | 267095.4087 | 26.25 | 74
99750 | 2021-04-20 14:57 | 15.9922 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.7774 | μmol/L | 14.9119 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.537 | 124982.4305 | 267058.828 | 26.25 | 74
99760 | 2021-04-20 14:58 | 16.3252 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8777 | μmol/L | 14.8997 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.537 | 124974.2021 | 267017.6985 | 26.25 | 74
99770 | 2021-04-20 14:58 | 16.6589 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.6692 | μmol/L | 14.9058 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.544 | 124941.9661 | 266983.882 | 26.25 | 74
99780 | 2021-04-20 14:58 | 16.9919 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8551 | μmol/L | 14.8997 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.538 | 124868.2258 | 266939.5945 | 26.25 | 74
99790 | 2021-04-20 14:59 | 17.3258 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.7419 | μmol/L | 14.8997 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.543 | 124875.5782 | 266907.3848 | 26.25 | 74
99800 | 2021-04-20 14:59 | 17.6589 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8826 | μmol/L | 14.8936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.539 | 124822.0295 | 266863.587 | 26.25 | 74
99810 | 2021-04-20 14:59 | 17.9926 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8423 | μmol/L | 14.8875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.543 | 124820.5573 | 266834.2487 | 26.25 | 74
99820 | 2021-04-20 15:00 | 18.3255 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.7567 | μmol/L | 14.8815 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.549 | 124805.0324 | 266797.3455 | 26.25 | 74
99830 | 2021-04-20 15:00 | 18.6584 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.6613 | μmol/L | 14.8875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.551 | 124771.0971 | 266756.2515 | 26.25 | 74
99840 | 2021-04-20 15:00 | 18.9924 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.7164 | μmol/L | 14.8754 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.553 | 124772.1112 | 266715.8842 | 26.25 | 74
99850 | 2021-04-20 15:01 | 19.3252 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.5356 | μmol/L | 14.8754 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.561 | 124797.3864 | 266675.803 | 26.25 | 74
99860 | 2021-04-20 15:01 | 19.6591 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.3598 | μmol/L | 14.8693 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.571 | 124813.5561 | 266628.5704 | 26.25 | 74
99870 | 2021-04-20 15:01 | 19.9922 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.247 | μmol/L | 14.8693 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.576 | 124822.6619 | 266610.5134 | 26.25 | 74
99880 | 2021-04-20 15:02 | 20.3259 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.1441 | μmol/L | 14.8571 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.585 | 124847.3036 | 266565.3601 | 26.25 | 74
99890 | 2021-04-20 15:02 | 20.659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.9913 | μmol/L | 14.851 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.594 | 124851.1528 | 266514.7664 | 26.25 | 74
99900 | 2021-04-20 15:02 | 20.9921 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.8787 | μmol/L | 14.851 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.599 | 124880.8938 | 266483.2689 | 26.25 | 74
99910 | 2021-04-20 15:03 | 21.3258 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.8111 | μmol/L | 14.851 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.602 | 124875.7936 | 266454.383 | 26.25 | 74
99920 | 2021-04-20 15:03 | 21.6587 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5861 | μmol/L | 14.851 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.612 | 124885.442 | 266427.9995 | 26.25 | 74
99930 | 2021-04-20 15:03 | 21.9918 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5511 | μmol/L | 14.8389 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.618 | 124893.5347 | 266384.5524 | 26.25 | 74
99940 | 2021-04-20 15:04 | 22.3255 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4662 | μmol/L | 14.8328 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.624 | 124900.6183 | 266341.9766 | 26.25 | 74
99950 | 2021-04-20 15:04 | 22.6585 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.304 | μmol/L | 14.8389 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.629 | 124901.5343 | 266312.5152 | 26.25 | 74
99960 | 2021-04-20 15:04 | 22.9922 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.2641 | μmol/L | 14.8328 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.633 | 124899.9365 | 266262.7602 | 26.25 | 74
99970 | 2021-04-20 15:05 | 23.3252 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.1344 | μmol/L | 14.8267 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.641 | 124928.2312 | 266248.6802 | 26.25 | 74
99980 | 2021-04-20 15:05 | 23.6591 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0447 | μmol/L | 14.8267 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.645 | 124913.7911 | 266215.5798 | 26.25 | 74
99990 | 2021-04-20 15:05 | 23.9921 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.0497 | μmol/L | 14.8206 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.647 | 124920.7409 | 266187.438 | 26.25 | 74