## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99265 | 2021-04-20 14:41 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6487 | μmol/L | 14.8889 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.642 | 98195.4677 | 294139.2643 | 28.7 | 67.6
99275 | 2021-04-20 14:42 | 0.33727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.671 | μmol/L | 14.8889 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.641 | 98217.8723 | 294084.6237 | 28.7 | 67.6
99285 | 2021-04-20 14:42 | 0.67037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.6529 | μmol/L | 14.8828 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.644 | 98206.3737 | 294025.832 | 28.7 | 67.6
99295 | 2021-04-20 14:42 | 1.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.764 | μmol/L | 14.8828 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.639 | 98174.0465 | 293979.8204 | 28.7 | 67.6
99305 | 2021-04-20 14:43 | 1.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.7542 | μmol/L | 14.8646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.646 | 98131.7151 | 293917.6643 | 28.7 | 67.6
99315 | 2021-04-20 14:43 | 1.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.8432 | μmol/L | 14.8646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.642 | 98073.6401 | 293850.6367 | 28.7 | 67.6
99325 | 2021-04-20 14:43 | 2.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0517 | μmol/L | 14.8525 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.637 | 98035.6621 | 293787.4105 | 28.7 | 67.6
99335 | 2021-04-20 14:44 | 2.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 258.9849 | μmol/L | 14.8525 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.64 | 98088.2111 | 293718.8529 | 28.7 | 67.6
99345 | 2021-04-20 14:44 | 2.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.0823 | μmol/L | 14.8403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.64 | 98049.6715 | 293673.8005 | 28.7 | 67.6
99355 | 2021-04-20 14:44 | 3.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.1533 | μmol/L | 14.8342 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.639 | 97993.6055 | 293600.6718 | 28.7 | 67.6
99365 | 2021-04-20 14:45 | 3.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.2465 | μmol/L | 14.8282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.637 | 97940.4449 | 293574.6447 | 28.7 | 67.6
99375 | 2021-04-20 14:45 | 3.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.4151 | μmol/L | 14.8099 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.636 | 97894.7617 | 293492.1591 | 28.7 | 67.6
99385 | 2021-04-20 14:45 | 4.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.3928 | μmol/L | 14.8099 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.637 | 97839.7302 | 293425.3434 | 28.7 | 67.6
99395 | 2021-04-20 14:46 | 4.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.5753 | μmol/L | 14.8039 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.631 | 97798.1041 | 293367.58 | 28.7 | 67.6
99405 | 2021-04-20 14:46 | 4.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6019 | μmol/L | 14.7978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.632 | 97746.3651 | 293309.9636 | 28.7 | 67.6
99415 | 2021-04-20 14:46 | 5.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6772 | μmol/L | 14.7856 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.633 | 97688.1921 | 293245.6879 | 28.7 | 67.6
99425 | 2021-04-20 14:47 | 5.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.6591 | μmol/L | 14.7796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.636 | 97649.8238 | 293185.3666 | 28.7 | 67.6
99435 | 2021-04-20 14:47 | 5.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.8461 | μmol/L | 14.7674 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.632 | 97609.3962 | 293141.3597 | 28.7 | 67.6
99445 | 2021-04-20 14:47 | 6.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9886 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.63 | 97560.4317 | 293070.8142 | 28.7 | 67.6
99455 | 2021-04-20 14:48 | 6.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 259.9928 | μmol/L | 14.7492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.632 | 97531.744 | 293014.7672 | 28.7 | 67.6
99465 | 2021-04-20 14:48 | 6.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2695 | μmol/L | 14.737 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.624 | 97485.0832 | 292946.2994 | 28.7 | 67.6
99475 | 2021-04-20 14:48 | 7.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.2024 | μmol/L | 14.737 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.627 | 97438.631 | 292894.6851 | 28.7 | 67.6
99485 | 2021-04-20 14:49 | 7.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.3899 | μmol/L | 14.7249 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.623 | 97406.8337 | 292841.0208 | 28.7 | 67.6
99495 | 2021-04-20 14:49 | 7.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.4837 | μmol/L | 14.7188 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.621 | 97362.4861 | 292791.7722 | 28.7 | 67.6
99505 | 2021-04-20 14:49 | 8.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.649 | μmol/L | 14.7067 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.618 | 97324.685 | 292730.5405 | 28.7 | 67.6
99515 | 2021-04-20 14:50 | 8.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.6575 | μmol/L | 14.6945 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.622 | 97290.7142 | 292683.2418 | 28.7 | 67.6
99525 | 2021-04-20 14:50 | 8.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.7247 | μmol/L | 14.6945 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.619 | 97253.9717 | 292627.2408 | 28.7 | 67.6
99535 | 2021-04-20 14:50 | 9.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.9126 | μmol/L | 14.6824 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.615 | 97206.299 | 292571.5302 | 28.7 | 67.6
99545 | 2021-04-20 14:51 | 9.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 260.9169 | μmol/L | 14.6763 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.617 | 97171.0165 | 292514.1877 | 28.7 | 67.6
99555 | 2021-04-20 14:51 | 9.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.0377 | μmol/L | 14.6641 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.616 | 97114.3715 | 292460.376 | 28.7 | 67.6
99565 | 2021-04-20 14:51 | 10.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.042 | μmol/L | 14.6581 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.618 | 97075.6658 | 292406.0668 | 28.7 | 67.6
99575 | 2021-04-20 14:52 | 10.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.1809 | μmol/L | 14.652 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.614 | 97040.2816 | 292369.4934 | 28.7 | 67.6
99585 | 2021-04-20 14:52 | 10.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.3243 | μmol/L | 14.6398 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.612 | 97001.4961 | 292304.7332 | 28.7 | 67.6
99595 | 2021-04-20 14:52 | 11.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.4185 | μmol/L | 14.6338 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.61 | 96967.015 | 292258.4362 | 28.7 | 67.6
99605 | 2021-04-20 14:53 | 11.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.4902 | μmol/L | 14.6277 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.609 | 96914.6649 | 292221.1235 | 28.7 | 67.6
99615 | 2021-04-20 14:53 | 11.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.5663 | μmol/L | 14.6155 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.61 | 96885.8931 | 292162.6967 | 28.7 | 67.6
99625 | 2021-04-20 14:53 | 12.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.5888 | μmol/L | 14.6155 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.609 | 96854.7046 | 292123.1709 | 28.7 | 67.6
99635 | 2021-04-20 14:54 | 12.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.8043 | μmol/L | 14.5973 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.606 | 96820.6469 | 292069.4509 | 28.7 | 67.6
99645 | 2021-04-20 14:54 | 12.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.8087 | μmol/L | 14.5912 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.608 | 96781.7313 | 292017.2457 | 28.7 | 67.6
99655 | 2021-04-20 14:54 | 13.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.8624 | μmol/L | 14.5791 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.61 | 96743.361 | 291972.3968 | 28.7 | 67.6
99665 | 2021-04-20 14:55 | 13.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.0019 | μmol/L | 14.573 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.606 | 96709.9772 | 291920.4082 | 28.7 | 67.6
99675 | 2021-04-20 14:55 | 13.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.0157 | μmol/L | 14.5852 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.601 | 96675.3122 | 291877.8615 | 28.7 | 67.6
99685 | 2021-04-20 14:55 | 14.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.1952 | μmol/L | 14.5548 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.604 | 96630.2295 | 291839.7337 | 28.7 | 67.6
99695 | 2021-04-20 14:56 | 14.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.2447 | μmol/L | 14.5487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.604 | 96598.571 | 291785.9748 | 28.7 | 67.6
99705 | 2021-04-20 14:56 | 14.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.2898 | μmol/L | 14.5487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.602 | 96567.3443 | 291744.6977 | 28.7 | 67.6
99715 | 2021-04-20 14:56 | 15.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.3618 | μmol/L | 14.5426 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.601 | 96532.4453 | 291714.0521 | 28.7 | 67.6
99725 | 2021-04-20 14:57 | 15.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.4339 | μmol/L | 14.5366 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.6 | 96503.69 | 291662.5744 | 28.7 | 67.6
99735 | 2021-04-20 14:57 | 15.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.5374 | μmol/L | 14.5183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.602 | 96477.6717 | 291613.9577 | 28.7 | 67.6
99745 | 2021-04-20 14:57 | 16.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.506 | μmol/L | 14.5305 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.599 | 96444.578 | 291568.294 | 28.7 | 67.6
99755 | 2021-04-20 14:58 | 16.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.745 | μmol/L | 14.5123 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.595 | 96409.1227 | 291525.9977 | 28.7 | 67.6
99765 | 2021-04-20 14:58 | 16.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.7313 | μmol/L | 14.5001 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.6 | 96372.179 | 291466.9992 | 28.7 | 67.6
99775 | 2021-04-20 14:58 | 17.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.772 | μmol/L | 14.5062 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.596 | 96342.7968 | 291428.5717 | 28.7 | 67.6
99785 | 2021-04-20 14:59 | 17.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.9209 | μmol/L | 14.488 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.596 | 96313.3919 | 291404.6271 | 28.7 | 67.6
99795 | 2021-04-20 14:59 | 17.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.061 | μmol/L | 14.4819 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.592 | 96294.0779 | 291360.8075 | 28.7 | 67.6
99805 | 2021-04-20 14:59 | 18.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.9209 | μmol/L | 14.488 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.596 | 96254.7331 | 291311.3623 | 28.7 | 67.6
99815 | 2021-04-20 15:00 | 18.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.9705 | μmol/L | 14.4819 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.596 | 96221.4797 | 291291.0575 | 28.7 | 67.6
99825 | 2021-04-20 15:00 | 18.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.1604 | μmol/L | 14.4697 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.592 | 96191.0511 | 291242.983 | 28.7 | 67.6
99835 | 2021-04-20 15:00 | 19.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.278 | μmol/L | 14.4637 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.589 | 96170.9938 | 291201.6088 | 28.7 | 67.6
99845 | 2021-04-20 15:01 | 19.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.3504 | μmol/L | 14.4576 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.588 | 96140.7972 | 291163.734 | 28.7 | 67.6
99855 | 2021-04-20 15:01 | 19.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.3051 | μmol/L | 14.4576 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.59 | 96121.2091 | 291137.0561 | 28.7 | 67.6
99865 | 2021-04-20 15:01 | 20.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.314 | μmol/L | 14.4454 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.594 | 96088.5125 | 291085.6895 | 28.7 | 67.6
99875 | 2021-04-20 15:02 | 20.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.314 | μmol/L | 14.4454 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.594 | 96060.5755 | 291036.188 | 28.7 | 67.6
99885 | 2021-04-20 15:02 | 20.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.3864 | μmol/L | 14.4394 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.593 | 96030.4097 | 291004.0065 | 28.7 | 67.6
99895 | 2021-04-20 15:02 | 21.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.4815 | μmol/L | 14.4333 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.591 | 96000.3496 | 290962.2449 | 28.7 | 67.6
99905 | 2021-04-20 15:03 | 21.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6944 | μmol/L | 14.4211 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.586 | 95978.0864 | 290916.2681 | 28.7 | 67.6
99915 | 2021-04-20 15:03 | 21.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.5992 | μmol/L | 14.4272 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.588 | 95958.0903 | 290893.7949 | 28.7 | 67.6
99925 | 2021-04-20 15:03 | 22.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6717 | μmol/L | 14.4211 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.587 | 95928.9601 | 290858.3422 | 28.7 | 67.6
99935 | 2021-04-20 15:04 | 22.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6082 | μmol/L | 14.4151 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.592 | 95894.0831 | 290815.0299 | 28.7 | 67.6
99945 | 2021-04-20 15:04 | 22.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7532 | μmol/L | 14.4029 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.59 | 95882.936 | 290787.4454 | 28.7 | 67.6
99955 | 2021-04-20 15:04 | 23.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.8213 | μmol/L | 14.4029 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.587 | 95850.1921 | 290738.293 | 28.7 | 67.6
99965 | 2021-04-20 15:05 | 23.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7487 | μmol/L | 14.409 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.588 | 95819.8434 | 290714.4604 | 28.7 | 67.6
99975 | 2021-04-20 15:05 | 23.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9664 | μmol/L | 14.3908 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.585 | 95808.0205 | 290671.6108 | 28.7 | 67.6
99985 | 2021-04-20 15:05 | 24.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9664 | μmol/L | 14.3908 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.585 | 95791.6339 | 290643.3711 | 28.7 | 67.6