## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
100633 | 2021-04-20 15:46 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.8934 | μmol/L | 15.1667 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.614 | 136720.3269 | 288648.9779 | 59.9307 | 49.4
100643 | 2021-04-20 15:46 | 0.33382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.1601 | μmol/L | 15.1359 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.613 | 136700.5362 | 288635.2741 | 59.9307 | 49.4
100653 | 2021-04-20 15:47 | 0.66759 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.3423 | μmol/L | 15.1236 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.609 | 136685.9783 | 288623.4759 | 59.9307 | 49.4
100663 | 2021-04-20 15:47 | 1.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.3866 | μmol/L | 15.1236 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.607 | 136659.8166 | 288626.795 | 59.9307 | 49.4
100673 | 2021-04-20 15:47 | 1.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.4353 | μmol/L | 15.1236 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.605 | 136622.2366 | 288606.7935 | 59.9307 | 49.4
100683 | 2021-04-20 15:48 | 1.6671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.4532 | μmol/L | 15.1236 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.604 | 136598.9924 | 288605.7748 | 59.9307 | 49.4
100693 | 2021-04-20 15:48 | 2.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.5019 | μmol/L | 15.1236 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.602 | 136559.4138 | 288591.2187 | 59.9307 | 49.4
100703 | 2021-04-20 15:48 | 2.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.5463 | μmol/L | 15.1236 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.6 | 136539.154 | 288598.4929 | 59.9307 | 49.4
100713 | 2021-04-20 15:49 | 2.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.5194 | μmol/L | 15.1297 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.599 | 136496.6298 | 288582.8957 | 59.9307 | 49.4
100723 | 2021-04-20 15:49 | 3.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.6973 | μmol/L | 15.1236 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.593 | 136468.2514 | 288552.6052 | 59.9307 | 49.4
100733 | 2021-04-20 15:49 | 3.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.6261 | μmol/L | 15.1297 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.594 | 136446.1643 | 288551.8594 | 59.9307 | 49.4
100743 | 2021-04-20 15:50 | 3.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.7639 | μmol/L | 15.1236 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.59 | 136436.6433 | 288531.3461 | 59.9307 | 49.4
100753 | 2021-04-20 15:50 | 4.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.6927 | μmol/L | 15.1297 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.591 | 136411.9521 | 288524.1213 | 59.9307 | 49.4
100763 | 2021-04-20 15:50 | 4.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.7639 | μmol/L | 15.1236 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.59 | 136382.7866 | 288507.6019 | 59.9307 | 49.4
100773 | 2021-04-20 15:51 | 4.6671 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.6748 | μmol/L | 15.1297 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.592 | 136376.7806 | 288515.275 | 59.9307 | 49.4
100783 | 2021-04-20 15:51 | 5.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.6214 | μmol/L | 15.1359 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.592 | 136362.6216 | 288503.0409 | 59.9307 | 49.4
100793 | 2021-04-20 15:51 | 5.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.7861 | μmol/L | 15.1236 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.589 | 136352.7342 | 288496.6332 | 59.9307 | 49.4
100803 | 2021-04-20 15:52 | 5.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.7593 | μmol/L | 15.1297 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.588 | 136341.0877 | 288482.8412 | 59.9307 | 49.4
100813 | 2021-04-20 15:52 | 6.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.688 | μmol/L | 15.1359 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.589 | 136319.4034 | 288492.5975 | 59.9307 | 49.4
100823 | 2021-04-20 15:52 | 6.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.6927 | μmol/L | 15.1297 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.591 | 136330.4045 | 288480.9971 | 59.9307 | 49.4
100833 | 2021-04-20 15:53 | 6.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.5992 | μmol/L | 15.1359 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.593 | 136328.6107 | 288464.5463 | 59.9307 | 49.4
100843 | 2021-04-20 15:53 | 7.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.5946 | μmol/L | 15.1421 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.591 | 136309.6724 | 288454.1121 | 59.9307 | 49.4
100853 | 2021-04-20 15:53 | 7.3338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.5724 | μmol/L | 15.1421 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.592 | 136332.3895 | 288460.634 | 59.9307 | 49.4
100863 | 2021-04-20 15:54 | 7.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.6168 | μmol/L | 15.1421 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.59 | 136303.343 | 288441.7193 | 59.9307 | 49.4
100873 | 2021-04-20 15:54 | 8.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.5058 | μmol/L | 15.1421 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.595 | 136299.1912 | 288431.8728 | 59.9307 | 49.4
100883 | 2021-04-20 15:54 | 8.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.479 | μmol/L | 15.1482 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.594 | 136292.9728 | 288430.7637 | 59.9307 | 49.4
100893 | 2021-04-20 15:55 | 8.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.4125 | μmol/L | 15.1482 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.597 | 136289.9848 | 288414.8674 | 59.9307 | 49.4
100903 | 2021-04-20 15:55 | 9.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.3681 | μmol/L | 15.1482 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.599 | 136290.6341 | 288412.4247 | 59.9307 | 49.4
100913 | 2021-04-20 15:55 | 9.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.3681 | μmol/L | 15.1482 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.599 | 136291.6281 | 288407.6017 | 59.9307 | 49.4
100923 | 2021-04-20 15:56 | 9.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.2083 | μmol/L | 15.1544 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.604 | 136286.9868 | 288379.5681 | 59.9307 | 49.4
100933 | 2021-04-20 15:56 | 10.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.297 | μmol/L | 15.1544 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.6 | 136276.8886 | 288382.1721 | 59.9307 | 49.4
100943 | 2021-04-20 15:56 | 10.3337 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.0929 | μmol/L | 15.1606 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.607 | 136280.2262 | 288378.4452 | 59.9307 | 49.4
100953 | 2021-04-20 15:57 | 10.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.1419 | μmol/L | 15.1544 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.607 | 136288.6161 | 288379.2703 | 59.9307 | 49.4
100963 | 2021-04-20 15:57 | 11.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.0487 | μmol/L | 15.1606 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.609 | 136282.3496 | 288336.5266 | 59.9307 | 49.4
100973 | 2021-04-20 15:57 | 11.3338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.0754 | μmol/L | 15.1544 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.61 | 136281.5312 | 288334.3925 | 59.9307 | 49.4
100983 | 2021-04-20 15:58 | 11.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.0265 | μmol/L | 15.1606 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.61 | 136286.4943 | 288347.4665 | 59.9307 | 49.4
100993 | 2021-04-20 15:58 | 12.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.9158 | μmol/L | 15.1606 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.615 | 136295.554 | 288334.7234 | 59.9307 | 49.4
101003 | 2021-04-20 15:58 | 12.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.8273 | μmol/L | 15.1606 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.619 | 136301.4346 | 288341.5431 | 59.9307 | 49.4
101013 | 2021-04-20 15:59 | 12.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.8273 | μmol/L | 15.1606 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.619 | 136311.0557 | 288330.016 | 59.9307 | 49.4
101023 | 2021-04-20 15:59 | 13.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.7564 | μmol/L | 15.1667 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.62 | 136313.1316 | 288317.0264 | 59.9307 | 49.4
101033 | 2021-04-20 15:59 | 13.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.69 | μmol/L | 15.1667 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.623 | 136317.693 | 288305.6517 | 59.9307 | 49.4
101043 | 2021-04-20 16:00 | 13.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.5482 | μmol/L | 15.1791 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.625 | 136331.9951 | 288308.5064 | 59.9307 | 49.4
101053 | 2021-04-20 16:00 | 14.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.5086 | μmol/L | 15.1729 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.629 | 136334.2435 | 288289.2752 | 59.9307 | 49.4
101063 | 2021-04-20 16:00 | 14.3338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.4378 | μmol/L | 15.1791 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.63 | 136331.7012 | 288289.9851 | 59.9307 | 49.4
101073 | 2021-04-20 16:01 | 14.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.3494 | μmol/L | 15.1791 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.634 | 136339.929 | 288279.0442 | 59.9307 | 49.4
101083 | 2021-04-20 16:01 | 15.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.3274 | μmol/L | 15.1791 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.635 | 136346.2065 | 288284.3229 | 59.9307 | 49.4
101093 | 2021-04-20 16:01 | 15.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.3099 | μmol/L | 15.1729 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.638 | 136360.949 | 288277.8981 | 59.9307 | 49.4
101103 | 2021-04-20 16:02 | 15.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.2878 | μmol/L | 15.1729 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.639 | 136357.1774 | 288276.9547 | 59.9307 | 49.4
101113 | 2021-04-20 16:02 | 16.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.1288 | μmol/L | 15.1791 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.644 | 136359.981 | 288258.8524 | 59.9307 | 49.4
101123 | 2021-04-20 16:02 | 16.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.0801 | μmol/L | 15.1852 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.644 | 136370.9655 | 288277.6342 | 59.9307 | 49.4
101133 | 2021-04-20 16:03 | 16.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.0847 | μmol/L | 15.1791 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.646 | 136371.7394 | 288259.0382 | 59.9307 | 49.4
101143 | 2021-04-20 16:03 | 17.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.0186 | μmol/L | 15.1791 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.649 | 136381.3672 | 288240.4606 | 59.9307 | 49.4
101153 | 2021-04-20 16:03 | 17.3338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.9525 | μmol/L | 15.1791 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.652 | 136383.9703 | 288259.3378 | 59.9307 | 49.4
101163 | 2021-04-20 16:04 | 17.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8864 | μmol/L | 15.1791 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.655 | 136395.3058 | 288263.4043 | 59.9307 | 49.4
101173 | 2021-04-20 16:04 | 18.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.913 | μmol/L | 15.1729 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.656 | 136385.1963 | 288237.391 | 59.9307 | 49.4
101183 | 2021-04-20 16:04 | 18.3338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.7543 | μmol/L | 15.1791 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.661 | 136402.9548 | 288237.1365 | 59.9307 | 49.4
101193 | 2021-04-20 16:05 | 18.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8157 | μmol/L | 15.1852 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.656 | 136399.2517 | 288215.6091 | 59.9307 | 49.4
101203 | 2021-04-20 16:05 | 19.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.7056 | μmol/L | 15.1852 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.661 | 136402.0557 | 288228.4058 | 59.9307 | 49.4
101213 | 2021-04-20 16:05 | 19.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.6662 | μmol/L | 15.1791 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.665 | 136410.6655 | 288232.844 | 59.9307 | 49.4
101223 | 2021-04-20 16:06 | 19.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.613 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.663 | 136412.7715 | 288215.8458 | 59.9307 | 49.4
101233 | 2021-04-20 16:06 | 20.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.4811 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.669 | 136425.3635 | 288231.0213 | 59.9307 | 49.4
101243 | 2021-04-20 16:06 | 20.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.5077 | μmol/L | 15.1852 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.67 | 136424.8958 | 288194.2685 | 59.9307 | 49.4
101253 | 2021-04-20 16:07 | 20.667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.3978 | μmol/L | 15.1852 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.675 | 136439.8214 | 288204.0201 | 59.9307 | 49.4
101263 | 2021-04-20 16:07 | 21.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.3492 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.675 | 136447.0774 | 288217.6994 | 59.9307 | 49.4
101273 | 2021-04-20 16:07 | 21.3338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.4151 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.672 | 136453.7429 | 288208.9584 | 59.9307 | 49.4
101283 | 2021-04-20 16:08 | 21.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.3052 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.677 | 136449.0709 | 288222.3239 | 59.9307 | 49.4
101293 | 2021-04-20 16:08 | 22.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.3052 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.677 | 136451.962 | 288207.1401 | 59.9307 | 49.4
101303 | 2021-04-20 16:08 | 22.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.1076 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.686 | 136486.9247 | 288196.4493 | 59.9307 | 49.4
101313 | 2021-04-20 16:09 | 22.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.2879 | μmol/L | 15.1852 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.68 | 136449.8545 | 288192.4174 | 59.9307 | 49.4
101323 | 2021-04-20 16:09 | 23.0004 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.1515 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.684 | 136461.4679 | 288185.9088 | 59.9307 | 49.4
101333 | 2021-04-20 16:09 | 23.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.0418 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.689 | 136474.6375 | 288192.9843 | 59.9307 | 49.4
101343 | 2021-04-20 16:10 | 23.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.0464 | μmol/L | 15.1852 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.691 | 136494.738 | 288187.578 | 59.9307 | 49.4
101353 | 2021-04-20 16:10 | 24.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.0638 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.688 | 136488.6621 | 288180.298 | 59.9307 | 49.4
101363 | 2021-04-20 16:10 | 24.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.9494 | μmol/L | 15.1976 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.691 | 136487.9506 | 288187.4347 | 59.9307 | 49.4
101373 | 2021-04-20 16:11 | 24.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.6473 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.707 | 136568.5991 | 288167.6469 | 59.9307 | 49.4