## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
100634 | 2021-04-20 15:46 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.439 | μmol/L | 15.2525 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.562 | 138371.9548 | 299572.3422 | 33.25 | 68.6
100644 | 2021-04-20 15:46 | 0.33894 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.8259 | μmol/L | 15.2099 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.56 | 138307.855 | 299577.0674 | 33.25 | 68.6
100654 | 2021-04-20 15:47 | 0.67277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.1089 | μmol/L | 15.2038 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.549 | 138255.3343 | 299577.9526 | 33.25 | 68.6
100664 | 2021-04-20 15:47 | 1.0057 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.3071 | μmol/L | 15.1978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.542 | 138199.5761 | 299551.2217 | 33.25 | 68.6
100674 | 2021-04-20 15:47 | 1.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.4775 | μmol/L | 15.1978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.534 | 138154.9286 | 299534.8576 | 33.25 | 68.6
100684 | 2021-04-20 15:48 | 1.6724 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.8176 | μmol/L | 15.1795 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.525 | 138122.7839 | 299527.1426 | 33.25 | 68.6
100694 | 2021-04-20 15:48 | 2.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.7545 | μmol/L | 15.1978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.521 | 138098.9137 | 299516.2093 | 33.25 | 68.6
100704 | 2021-04-20 15:48 | 2.3389 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.8893 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.517 | 138076 | 299499.4557 | 33.25 | 68.6
100714 | 2021-04-20 15:49 | 2.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.9107 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.516 | 138054.0266 | 299497.5595 | 33.25 | 68.6
100724 | 2021-04-20 15:49 | 3.0057 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.0029 | μmol/L | 15.1856 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.514 | 138029.4301 | 299486.3199 | 33.25 | 68.6
100734 | 2021-04-20 15:49 | 3.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 257.0456 | μmol/L | 15.1856 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.512 | 138032.2518 | 299466.3638 | 33.25 | 68.6
100744 | 2021-04-20 15:50 | 3.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.9534 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.514 | 138044.407 | 299446.2194 | 33.25 | 68.6
100754 | 2021-04-20 15:50 | 4.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.9039 | μmol/L | 15.1978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.514 | 138062.6725 | 299442.8695 | 33.25 | 68.6
100764 | 2021-04-20 15:50 | 4.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.8893 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.517 | 138060.804 | 299432.7085 | 33.25 | 68.6
100774 | 2021-04-20 15:51 | 4.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.8467 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.519 | 138080.0079 | 299427.3512 | 33.25 | 68.6
100784 | 2021-04-20 15:51 | 5.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.7827 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.522 | 138086.8587 | 299414.3148 | 33.25 | 68.6
100794 | 2021-04-20 15:51 | 5.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.6479 | μmol/L | 15.1978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.526 | 138101.8482 | 299399.2473 | 33.25 | 68.6
100804 | 2021-04-20 15:52 | 5.6725 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.6053 | μmol/L | 15.1978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.528 | 138110.5658 | 299386.6783 | 33.25 | 68.6
100814 | 2021-04-20 15:52 | 6.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.5627 | μmol/L | 15.1978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.53 | 138130.4645 | 299373.3144 | 33.25 | 68.6
100824 | 2021-04-20 15:52 | 6.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.5269 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.534 | 138129.4378 | 299368.8515 | 33.25 | 68.6
100834 | 2021-04-20 15:53 | 6.6725 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.5056 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.535 | 138146.9544 | 299348.1622 | 33.25 | 68.6
100844 | 2021-04-20 15:53 | 7.0057 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.3352 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.543 | 138178.1908 | 299354.4265 | 33.25 | 68.6
100854 | 2021-04-20 15:53 | 7.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.2714 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.546 | 138254.1113 | 299342.5559 | 33.25 | 68.6
100864 | 2021-04-20 15:54 | 7.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 256.0519 | μmol/L | 15.1978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.554 | 138216.4406 | 299341.0385 | 33.25 | 68.6
100874 | 2021-04-20 15:54 | 8.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.9669 | μmol/L | 15.1978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.558 | 138230.6333 | 299312.1871 | 33.25 | 68.6
100884 | 2021-04-20 15:54 | 8.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.9244 | μmol/L | 15.1978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.56 | 138224.6114 | 299297.3058 | 33.25 | 68.6
100894 | 2021-04-20 15:55 | 8.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.8463 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.566 | 138260.1493 | 299307.9905 | 33.25 | 68.6
100904 | 2021-04-20 15:55 | 9.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.8275 | μmol/L | 15.1856 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.569 | 138269.8392 | 299277.9264 | 33.25 | 68.6
100914 | 2021-04-20 15:55 | 9.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.7002 | μmol/L | 15.1856 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.575 | 138293.0113 | 299282.0838 | 33.25 | 68.6
100924 | 2021-04-20 15:56 | 9.6725 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.6509 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.575 | 138299.2311 | 299269.5388 | 33.25 | 68.6
100934 | 2021-04-20 15:56 | 10.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.5305 | μmol/L | 15.1856 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.583 | 138323.4008 | 299260.1905 | 33.25 | 68.6
100944 | 2021-04-20 15:56 | 10.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.4109 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.584 | 138337.7674 | 299252.1445 | 33.25 | 68.6
100954 | 2021-04-20 15:57 | 10.6723 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.3329 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.59 | 138349.6648 | 299248.5619 | 33.25 | 68.6
100964 | 2021-04-20 15:57 | 11.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.227 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.595 | 138356.3426 | 299212.6842 | 33.25 | 68.6
100974 | 2021-04-20 15:57 | 11.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1144 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.598 | 138375.9665 | 299204.3478 | 33.25 | 68.6
100984 | 2021-04-20 15:58 | 11.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9595 | μmol/L | 15.2038 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.603 | 138391.3861 | 299215.5116 | 33.25 | 68.6
100994 | 2021-04-20 15:58 | 12.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9731 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.607 | 138410.9053 | 299207.5861 | 33.25 | 68.6
101004 | 2021-04-20 15:58 | 12.3389 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.9308 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.609 | 138423.8302 | 299196.1277 | 33.25 | 68.6
101014 | 2021-04-20 15:59 | 12.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.804 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.615 | 138444.7651 | 299188.7755 | 33.25 | 68.6
101024 | 2021-04-20 15:59 | 13.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7338 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.616 | 138457.2748 | 299187.0907 | 33.25 | 68.6
101034 | 2021-04-20 15:59 | 13.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5649 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.624 | 138473.807 | 299187.6073 | 33.25 | 68.6
101044 | 2021-04-20 16:00 | 13.6727 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6071 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.622 | 138475.0921 | 299168.3812 | 33.25 | 68.6
101054 | 2021-04-20 16:00 | 14.0055 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4383 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.63 | 138503.309 | 299159.2403 | 33.25 | 68.6
101064 | 2021-04-20 16:00 | 14.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.375 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.633 | 138498.7555 | 299137.9125 | 33.25 | 68.6
101074 | 2021-04-20 16:01 | 14.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1785 | μmol/L | 15.2038 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.64 | 138521.8586 | 299145.1474 | 33.25 | 68.6
101084 | 2021-04-20 16:01 | 15.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2764 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.64 | 138533.9909 | 299130.4113 | 33.25 | 68.6
101094 | 2021-04-20 16:01 | 15.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2343 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.642 | 138545.728 | 299139.6879 | 33.25 | 68.6
101104 | 2021-04-20 16:02 | 15.6724 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0169 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.65 | 138556.3097 | 299113.1045 | 33.25 | 68.6
101114 | 2021-04-20 16:02 | 16.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9259 | μmol/L | 15.2038 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.652 | 138576.227 | 299115.4806 | 33.25 | 68.6
101124 | 2021-04-20 16:02 | 16.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9748 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.652 | 138590.5897 | 299095.1955 | 33.25 | 68.6
101134 | 2021-04-20 16:03 | 16.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.7786 | μmol/L | 15.2038 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.659 | 138608.6279 | 299109.1641 | 33.25 | 68.6
101144 | 2021-04-20 16:03 | 17.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.7013 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.665 | 138626.7095 | 299100.1375 | 33.25 | 68.6
101154 | 2021-04-20 16:03 | 17.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.6803 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.666 | 138642.0805 | 299090.959 | 33.25 | 68.6
101164 | 2021-04-20 16:04 | 17.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.5963 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.67 | 138652.4818 | 299092.3372 | 33.25 | 68.6
101174 | 2021-04-20 16:04 | 18.0057 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.5821 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.673 | 138664.2318 | 299080.9902 | 33.25 | 68.6
101184 | 2021-04-20 16:04 | 18.3389 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.4492 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.677 | 138668.3246 | 299070.1458 | 33.25 | 68.6
101194 | 2021-04-20 16:05 | 18.6725 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.3443 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.682 | 138683.6029 | 299074.7782 | 33.25 | 68.6
101204 | 2021-04-20 16:05 | 19.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.2536 | μmol/L | 15.2038 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.684 | 138695.7198 | 299059.2672 | 33.25 | 68.6
101214 | 2021-04-20 16:05 | 19.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.3023 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.684 | 138710.2035 | 299068.9911 | 33.25 | 68.6
101224 | 2021-04-20 16:06 | 19.6723 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.2253 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.69 | 138719.1756 | 299059.5002 | 33.25 | 68.6
101234 | 2021-04-20 16:06 | 20.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0649 | μmol/L | 15.2038 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.693 | 138731.5969 | 299054.1683 | 33.25 | 68.6
101244 | 2021-04-20 16:06 | 20.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1902 | μmol/L | 15.1856 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.694 | 138743.0905 | 299045.2 | 33.25 | 68.6
101254 | 2021-04-20 16:07 | 20.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0644 | μmol/L | 15.1856 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.7 | 138765.4637 | 299054.9034 | 33.25 | 68.6
101264 | 2021-04-20 16:07 | 21.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.9319 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.704 | 138790.11 | 299053.4578 | 33.25 | 68.6
101274 | 2021-04-20 16:07 | 21.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.9251 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.702 | 138784.0338 | 299044.8311 | 33.25 | 68.6
101284 | 2021-04-20 16:08 | 21.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.89 | μmol/L | 15.1917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.706 | 138798.7143 | 299036.9643 | 33.25 | 68.6
101294 | 2021-04-20 16:08 | 22.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7367 | μmol/L | 15.1978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.711 | 138809.0008 | 299032.6185 | 33.25 | 68.6
101304 | 2021-04-20 16:08 | 22.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.8341 | μmol/L | 15.1856 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.711 | 138809.76 | 299020.1326 | 33.25 | 68.6
101314 | 2021-04-20 16:09 | 22.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7713 | μmol/L | 15.1856 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.714 | 138817.323 | 299025.4896 | 33.25 | 68.6
101324 | 2021-04-20 16:09 | 23.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.8687 | μmol/L | 15.1735 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.714 | 138832.4816 | 299021.1982 | 33.25 | 68.6
101334 | 2021-04-20 16:09 | 23.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7363 | μmol/L | 15.1795 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.718 | 138836.0028 | 299016.3921 | 33.25 | 68.6
101344 | 2021-04-20 16:10 | 23.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.6735 | μmol/L | 15.1795 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.721 | 138861.1127 | 299017.5968 | 33.25 | 68.6
101354 | 2021-04-20 16:10 | 24.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.6804 | μmol/L | 15.1735 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.723 | 138865.0962 | 298993.0488 | 33.25 | 68.6
101364 | 2021-04-20 16:10 | 24.3389 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.5549 | μmol/L | 15.1735 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.729 | 138882.6427 | 299006.8713 | 33.25 | 68.6
101374 | 2021-04-20 16:11 | 24.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.4854 | μmol/L | 15.1795 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.73 | 138894.6336 | 298993.4778 | 33.25 | 68.6