## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 15:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
99271 | 2021-04-20 14:41 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.653 | μmol/L | 15.0485 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.674 | 128261.8563 | 270224.3634 | 32.55 | 27.7
99281 | 2021-04-20 14:42 | 0.32891 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.1802 | μmol/L | 15.0118 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.663 | 128117.7628 | 270174.7085 | 32.55 | 27.7
99291 | 2021-04-20 14:42 | 0.66283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.6467 | μmol/L | 14.9996 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.646 | 127962.32 | 270107.0278 | 32.55 | 27.7
99301 | 2021-04-20 14:42 | 0.99605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.8866 | μmol/L | 14.9996 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.635 | 127800.0023 | 270040.8996 | 32.55 | 27.7
99311 | 2021-04-20 14:43 | 1.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1751 | μmol/L | 14.9935 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.624 | 127650.7356 | 269987.079 | 32.55 | 27.7
99321 | 2021-04-20 14:43 | 1.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.4859 | μmol/L | 14.9874 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.612 | 127527.5237 | 269950.5744 | 32.55 | 27.7
99331 | 2021-04-20 14:43 | 1.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.683 | μmol/L | 14.9874 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.603 | 127418.2312 | 269887.2452 | 32.55 | 27.7
99341 | 2021-04-20 14:44 | 2.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.7268 | μmol/L | 14.9874 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.601 | 127314.7672 | 269843.1844 | 32.55 | 27.7
99351 | 2021-04-20 14:44 | 2.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.9067 | μmol/L | 14.9813 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.595 | 127215.3155 | 269794.7419 | 32.55 | 27.7
99361 | 2021-04-20 14:44 | 2.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0164 | μmol/L | 14.9813 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.59 | 127132.4994 | 269748.9078 | 32.55 | 27.7
99371 | 2021-04-20 14:45 | 3.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0649 | μmol/L | 14.9752 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.59 | 127057.0602 | 269699.4552 | 32.55 | 27.7
99381 | 2021-04-20 14:45 | 3.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.1792 | μmol/L | 14.9691 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.587 | 126989.9801 | 269652.036 | 32.55 | 27.7
99391 | 2021-04-20 14:45 | 3.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2936 | μmol/L | 14.963 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.584 | 126926.4155 | 269631.6497 | 32.55 | 27.7
99401 | 2021-04-20 14:46 | 4.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.3687 | μmol/L | 14.9508 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.585 | 126877.1711 | 269574.9302 | 32.55 | 27.7
99411 | 2021-04-20 14:46 | 4.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2762 | μmol/L | 14.9569 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.587 | 126828.2508 | 269536.9288 | 32.55 | 27.7
99421 | 2021-04-20 14:46 | 4.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2589 | μmol/L | 14.9508 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.59 | 126774.968 | 269489.4952 | 32.55 | 27.7
99431 | 2021-04-20 14:47 | 5.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.3074 | μmol/L | 14.9446 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.59 | 126738.3928 | 269452.5336 | 32.55 | 27.7
99441 | 2021-04-20 14:47 | 5.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.312 | μmol/L | 14.9385 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.592 | 126706.9269 | 269421.9135 | 32.55 | 27.7
99451 | 2021-04-20 14:47 | 5.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2947 | μmol/L | 14.9324 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.595 | 126658.5408 | 269379.8671 | 32.55 | 27.7
99461 | 2021-04-20 14:48 | 6.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2993 | μmol/L | 14.9263 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.597 | 126627.6547 | 269351.4195 | 32.55 | 27.7
99471 | 2021-04-20 14:48 | 6.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.238 | μmol/L | 14.9202 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.602 | 126591.1391 | 269308.0388 | 32.55 | 27.7
99481 | 2021-04-20 14:48 | 6.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2161 | μmol/L | 14.9202 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.603 | 126554.0105 | 269265.614 | 32.55 | 27.7
99491 | 2021-04-20 14:49 | 7.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.1329 | μmol/L | 14.9141 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.609 | 126523.188 | 269222.8924 | 32.55 | 27.7
99501 | 2021-04-20 14:49 | 7.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.089 | μmol/L | 14.9141 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.611 | 126493.2502 | 269194.3161 | 32.55 | 27.7
99511 | 2021-04-20 14:49 | 7.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0059 | μmol/L | 14.908 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.617 | 126465.2651 | 269163.3195 | 32.55 | 27.7
99521 | 2021-04-20 14:50 | 8.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0983 | μmol/L | 14.9019 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.615 | 126439.3139 | 269141.053 | 32.55 | 27.7
99531 | 2021-04-20 14:50 | 8.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0106 | μmol/L | 14.9019 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.619 | 126398.4835 | 269093.6653 | 32.55 | 27.7
99541 | 2021-04-20 14:50 | 8.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0684 | μmol/L | 14.8836 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.623 | 126372.8385 | 269070.7741 | 32.55 | 27.7
99551 | 2021-04-20 14:51 | 9.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0511 | μmol/L | 14.8775 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.626 | 126330.4713 | 269034.8434 | 32.55 | 27.7
99561 | 2021-04-20 14:51 | 9.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0558 | μmol/L | 14.8713 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.628 | 126292.1756 | 268994.8405 | 32.55 | 27.7
99571 | 2021-04-20 14:51 | 9.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.9901 | μmol/L | 14.8713 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.631 | 126260.7698 | 268944.8126 | 32.55 | 27.7
99581 | 2021-04-20 14:52 | 10.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.9509 | μmol/L | 14.8652 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.635 | 126231.8051 | 268915.7832 | 32.55 | 27.7
99591 | 2021-04-20 14:52 | 10.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.9556 | μmol/L | 14.8591 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.637 | 126208.5962 | 268878.1434 | 32.55 | 27.7
99601 | 2021-04-20 14:52 | 10.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8899 | μmol/L | 14.8591 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.64 | 126176.1682 | 268844.8359 | 32.55 | 27.7
99611 | 2021-04-20 14:53 | 11.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8508 | μmol/L | 14.853 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.644 | 126163.9037 | 268829.773 | 32.55 | 27.7
99621 | 2021-04-20 14:53 | 11.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8117 | μmol/L | 14.8469 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.648 | 126142.0947 | 268798.5057 | 32.55 | 27.7
99631 | 2021-04-20 14:53 | 11.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.7241 | μmol/L | 14.8469 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.652 | 126115.5327 | 268769.0226 | 32.55 | 27.7
99641 | 2021-04-20 14:54 | 12.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.7773 | μmol/L | 14.8347 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.654 | 126088.3213 | 268727.0409 | 32.55 | 27.7
99651 | 2021-04-20 14:54 | 12.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.7601 | μmol/L | 14.8286 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.657 | 126076.2702 | 268703.1151 | 32.55 | 27.7
99661 | 2021-04-20 14:54 | 12.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.743 | μmol/L | 14.8225 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.66 | 126054.5599 | 268656.5965 | 32.55 | 27.7
99671 | 2021-04-20 14:55 | 13.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.6336 | μmol/L | 14.8225 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.665 | 126029.3293 | 268640.6617 | 32.55 | 27.7
99681 | 2021-04-20 14:55 | 13.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.665 | μmol/L | 14.8103 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.668 | 126002.0961 | 268607.0679 | 32.55 | 27.7
99691 | 2021-04-20 14:55 | 13.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.5337 | μmol/L | 14.8103 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.674 | 125973.2558 | 268575.3499 | 32.55 | 27.7
99701 | 2021-04-20 14:56 | 14.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.4948 | μmol/L | 14.8042 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.678 | 125957.5535 | 268543.2903 | 32.55 | 27.7
99711 | 2021-04-20 14:56 | 14.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.4558 | μmol/L | 14.798 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.682 | 125947.0811 | 268516.6412 | 32.55 | 27.7
99721 | 2021-04-20 14:56 | 14.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.5528 | μmol/L | 14.7858 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.682 | 125920.5239 | 268496.0208 | 32.55 | 27.7
99731 | 2021-04-20 14:57 | 15.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.4436 | μmol/L | 14.7858 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.687 | 125923.1487 | 268480.4108 | 32.55 | 27.7
99741 | 2021-04-20 14:57 | 15.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.2907 | μmol/L | 14.7858 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.694 | 125889.1987 | 268447.5621 | 32.55 | 27.7
99751 | 2021-04-20 14:57 | 15.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.247 | μmol/L | 14.7858 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.696 | 125872.2725 | 268417.3204 | 32.55 | 27.7
99761 | 2021-04-20 14:58 | 16.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3439 | μmol/L | 14.7736 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.696 | 125847.3139 | 268383.4204 | 32.55 | 27.7
99771 | 2021-04-20 14:58 | 16.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3269 | μmol/L | 14.7675 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.699 | 125818.352 | 268352.6567 | 32.55 | 27.7
99781 | 2021-04-20 14:58 | 16.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.2178 | μmol/L | 14.7675 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.704 | 125801.0925 | 268321.9023 | 32.55 | 27.7
99791 | 2021-04-20 14:59 | 17.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1353 | μmol/L | 14.7614 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.71 | 125777.1522 | 268313.4754 | 32.55 | 27.7
99801 | 2021-04-20 14:59 | 17.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.2274 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.708 | 125756.9196 | 268271.5469 | 32.55 | 27.7
99811 | 2021-04-20 14:59 | 17.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1619 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.711 | 125737.2752 | 268258.3092 | 32.55 | 27.7
99821 | 2021-04-20 15:00 | 18.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1934 | μmol/L | 14.7431 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.714 | 125711.1617 | 268229.4258 | 32.55 | 27.7
99831 | 2021-04-20 15:00 | 18.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.0795 | μmol/L | 14.7492 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.717 | 125694.6002 | 268202.2687 | 32.55 | 27.7
99841 | 2021-04-20 15:00 | 18.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.0577 | μmol/L | 14.7492 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.718 | 125659.2444 | 268184.6716 | 32.55 | 27.7
99851 | 2021-04-20 15:01 | 19.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1328 | μmol/L | 14.737 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.719 | 125630.2032 | 268146.1088 | 32.55 | 27.7
99861 | 2021-04-20 15:01 | 19.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.0892 | μmol/L | 14.737 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.721 | 125608.7799 | 268125.8785 | 32.55 | 27.7
99871 | 2021-04-20 15:01 | 19.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1643 | μmol/L | 14.7247 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.722 | 125580.3655 | 268095.3735 | 32.55 | 27.7
99881 | 2021-04-20 15:02 | 20.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1207 | μmol/L | 14.7247 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.724 | 125551.9581 | 268060.4889 | 32.55 | 27.7
99891 | 2021-04-20 15:02 | 20.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.0819 | μmol/L | 14.7186 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.728 | 125522.1809 | 268046.094 | 32.55 | 27.7
99901 | 2021-04-20 15:02 | 20.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.2007 | μmol/L | 14.7064 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.727 | 125493.9783 | 268024.3825 | 32.55 | 27.7
99911 | 2021-04-20 15:03 | 21.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1353 | μmol/L | 14.7064 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.73 | 125467.7416 | 267999.1883 | 32.55 | 27.7
99921 | 2021-04-20 15:03 | 21.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.2274 | μmol/L | 14.7003 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.728 | 125445.5335 | 267999.596 | 32.55 | 27.7
99931 | 2021-04-20 15:03 | 21.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1837 | μmol/L | 14.7003 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.73 | 125411.5981 | 267954.4487 | 32.55 | 27.7
99941 | 2021-04-20 15:04 | 22.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1837 | μmol/L | 14.7003 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.73 | 125390.1586 | 267928.2083 | 32.55 | 27.7
99951 | 2021-04-20 15:04 | 22.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.1232 | μmol/L | 14.6942 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.735 | 125364.344 | 267904.9893 | 32.55 | 27.7
99961 | 2021-04-20 15:04 | 22.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.0578 | μmol/L | 14.6942 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.738 | 125346.4547 | 267897.8838 | 32.55 | 27.7
99971 | 2021-04-20 15:05 | 23.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.0361 | μmol/L | 14.6942 | °C | 1022 | hPa | Humid | 30 | 0 | 0 | 22.739 | 125324.1204 | 267864.541 | 32.55 | 27.7
99981 | 2021-04-20 15:05 | 23.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.4919 | μmol/L | 14.682 | °C | 1022 | hPa | Humid | 31 | 0 | 0 | 22.736 | 125303.2727 | 267839.4772 | 32.55 | 27.7
99991 | 2021-04-20 15:05 | 23.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.3836 | μmol/L | 14.682 | °C | 1022 | hPa | Humid | 31 | 0 | 0 | 22.741 | 125278.811 | 267823.2754 | 32.55 | 27.7