## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
100636 | 2021-04-20 15:46 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.3701 | μmol/L | 15.2101 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.67 | 125094.5986 | 263981.2524 | 26.25 | 74
100646 | 2021-04-20 15:47 | 0.33067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.5565 | μmol/L | 15.1979 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.666 | 125043.9284 | 263991.2638 | 26.25 | 74
100655 | 2021-04-20 15:47 | 0.66393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.876 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.656 | 124990.346 | 263977.0157 | 26.25 | 74
100665 | 2021-04-20 15:47 | 0.99671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.0581 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.65 | 124934.9172 | 263970.735 | 26.25 | 74
100676 | 2021-04-20 15:48 | 1.3307 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.0137 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.652 | 124892.9877 | 263944.8442 | 26.25 | 74
100685 | 2021-04-20 15:48 | 1.6638 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.2577 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.641 | 124848.2958 | 263936.274 | 26.25 | 74
100695 | 2021-04-20 15:48 | 1.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.3687 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124798.8606 | 263932.5317 | 26.25 | 74
100705 | 2021-04-20 15:49 | 2.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.4845 | μmol/L | 15.1736 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.633 | 124733.4728 | 263918.4077 | 26.25 | 74
100715 | 2021-04-20 15:49 | 2.664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.502 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.63 | 124700.1494 | 263917.1604 | 26.25 | 74
100726 | 2021-04-20 15:49 | 2.9971 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.6401 | μmol/L | 15.1736 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.626 | 124662.0042 | 263906.3497 | 26.25 | 74
100736 | 2021-04-20 15:50 | 3.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7561 | μmol/L | 15.1675 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.623 | 124634.0438 | 263903.6507 | 26.25 | 74
100745 | 2021-04-20 15:50 | 3.6642 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7561 | μmol/L | 15.1675 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.623 | 124604.0295 | 263891.9732 | 26.25 | 74
100756 | 2021-04-20 15:50 | 3.9971 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.6799 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.622 | 124594.2834 | 263884.3558 | 26.25 | 74
100765 | 2021-04-20 15:51 | 4.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7243 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.62 | 124573.3796 | 263863.139 | 26.25 | 74
100776 | 2021-04-20 15:51 | 4.6638 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7736 | μmol/L | 15.1736 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.62 | 124553.0398 | 263857.5161 | 26.25 | 74
100785 | 2021-04-20 15:51 | 4.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7419 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.617 | 124533.9801 | 263854.2646 | 26.25 | 74
100795 | 2021-04-20 15:52 | 5.3305 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7736 | μmol/L | 15.1736 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.62 | 124523.7823 | 263835.9854 | 26.25 | 74
100806 | 2021-04-20 15:52 | 5.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.6306 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.622 | 124514.488 | 263834.6853 | 26.25 | 74
100816 | 2021-04-20 15:52 | 5.9972 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5862 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.624 | 124505.9722 | 263831.6228 | 26.25 | 74
100825 | 2021-04-20 15:53 | 6.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7291 | μmol/L | 15.1736 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.622 | 124503.2302 | 263820.6846 | 26.25 | 74
100836 | 2021-04-20 15:53 | 6.6641 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7466 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.619 | 124506.6182 | 263814.7987 | 26.25 | 74
100846 | 2021-04-20 15:53 | 6.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7021 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.621 | 124494.5915 | 263806.3963 | 26.25 | 74
100855 | 2021-04-20 15:54 | 7.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.6306 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.622 | 124509.9966 | 263806.7627 | 26.25 | 74
100866 | 2021-04-20 15:54 | 7.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5687 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.627 | 124485.2197 | 263785.4245 | 26.25 | 74
100876 | 2021-04-20 15:54 | 7.9973 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5465 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.628 | 124485.2649 | 263780.9762 | 26.25 | 74
100886 | 2021-04-20 15:55 | 8.3305 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.4528 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.63 | 124473.3656 | 263748.0264 | 26.25 | 74
100895 | 2021-04-20 15:55 | 8.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.4973 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.628 | 124480.7376 | 263747.9615 | 26.25 | 74
100905 | 2021-04-20 15:55 | 8.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.4131 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.634 | 124483.172 | 263754.3489 | 26.25 | 74
100916 | 2021-04-20 15:56 | 9.3307 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.3196 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.636 | 124484.8822 | 263745.9667 | 26.25 | 74
100925 | 2021-04-20 15:56 | 9.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.3243 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.638 | 124478.0284 | 263726.4808 | 26.25 | 74
100936 | 2021-04-20 15:56 | 9.9974 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.3465 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.637 | 124465.3605 | 263715.9381 | 26.25 | 74
100945 | 2021-04-20 15:57 | 10.3305 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.2308 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.64 | 124478.5533 | 263705.171 | 26.25 | 74
100955 | 2021-04-20 15:57 | 10.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.3291 | μmol/L | 15.1736 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.64 | 124476.5752 | 263700.289 | 26.25 | 74
100965 | 2021-04-20 15:57 | 10.9972 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.2577 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.641 | 124482.1301 | 263695.4025 | 26.25 | 74
100975 | 2021-04-20 15:58 | 11.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.0977 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.646 | 124469.1188 | 263682.7691 | 26.25 | 74
100985 | 2021-04-20 15:58 | 11.6642 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.0977 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.646 | 124479.104 | 263677.7446 | 26.25 | 74
100995 | 2021-04-20 15:58 | 11.9973 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.0533 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.648 | 124489.8008 | 263670.6885 | 26.25 | 74
101005 | 2021-04-20 15:59 | 12.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.0137 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.652 | 124493.0927 | 263664.0559 | 26.25 | 74
101015 | 2021-04-20 15:59 | 12.6639 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.876 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.656 | 124500.3732 | 263652.9233 | 26.25 | 74
101026 | 2021-04-20 15:59 | 12.9971 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.8048 | μmol/L | 15.1918 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.657 | 124506.5986 | 263648.5387 | 26.25 | 74
101036 | 2021-04-20 16:00 | 13.3308 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.8586 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.659 | 124496.9203 | 263625.9775 | 26.25 | 74
101045 | 2021-04-20 16:00 | 13.6639 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.6372 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.669 | 124532.3654 | 263634.7633 | 26.25 | 74
101055 | 2021-04-20 16:00 | 13.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.7036 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.666 | 124534.7447 | 263626.2759 | 26.25 | 74
101066 | 2021-04-20 16:01 | 14.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.4112 | μmol/L | 15.1857 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.677 | 124550.5442 | 263618.8047 | 26.25 | 74
101075 | 2021-04-20 16:01 | 14.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.5535 | μmol/L | 15.1736 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.675 | 124547.6042 | 263619.0217 | 26.25 | 74
101086 | 2021-04-20 16:01 | 14.9975 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.4256 | μmol/L | 15.1675 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.683 | 124560.9958 | 263601.5207 | 26.25 | 74
101096 | 2021-04-20 16:02 | 15.3305 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.3497 | μmol/L | 15.1796 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.682 | 124557.1376 | 263607.0689 | 26.25 | 74
101105 | 2021-04-20 16:02 | 15.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.3892 | μmol/L | 15.1675 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.73 | 124770.3186 | 263605.6546 | 26.25 | 74
101115 | 2021-04-20 16:02 | 15.9974 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.7304 | μmol/L | 15.1675 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.76 | 124880.8728 | 263599.1626 | 26.25 | 74
101126 | 2021-04-20 16:03 | 16.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.9546 | μmol/L | 15.1614 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.752 | 124853.3921 | 263600.0517 | 26.25 | 74
101136 | 2021-04-20 16:03 | 16.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.303 | μmol/L | 15.1492 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.832 | 125219.6063 | 263588.1201 | 26.25 | 74
101146 | 2021-04-20 16:03 | 16.9973 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.955 | μmol/L | 15.1492 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.848 | 125370.5103 | 263578.4163 | 26.25 | 74
101155 | 2021-04-20 16:04 | 17.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.3031 | μmol/L | 15.131 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.931 | 125796.2809 | 263585.2479 | 26.25 | 74
101165 | 2021-04-20 16:04 | 17.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.4855 | μmol/L | 15.131 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.969 | 126032.7999 | 263566.8319 | 26.25 | 74
101176 | 2021-04-20 16:04 | 17.9973 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.0879 | μmol/L | 15.1188 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.992 | 126170.627 | 263565.7644 | 26.25 | 74
101185 | 2021-04-20 16:05 | 18.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.7918 | μmol/L | 15.0884 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.017 | 126341.2422 | 263576.466 | 26.25 | 74
101196 | 2021-04-20 16:05 | 18.6642 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.1561 | μmol/L | 15.0823 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.049 | 126501.7689 | 263561.009 | 26.25 | 74
101206 | 2021-04-20 16:05 | 18.9971 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.086 | μmol/L | 15.064 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.059 | 126598.803 | 263562.3762 | 26.25 | 74
101216 | 2021-04-20 16:06 | 19.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.6967 | μmol/L | 15.0458 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.084 | 126704.0946 | 263546.8347 | 26.25 | 74
101226 | 2021-04-20 16:06 | 19.6639 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.5696 | μmol/L | 15.0214 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.052 | 126583.3871 | 263546.0497 | 26.25 | 74
101235 | 2021-04-20 16:06 | 19.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.7963 | μmol/L | 15.0032 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.095 | 126812.7495 | 263553.1901 | 26.25 | 74
101245 | 2021-04-20 16:07 | 20.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.3552 | μmol/L | 14.9971 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.118 | 126895.9185 | 263545.0507 | 26.25 | 74
101255 | 2021-04-20 16:07 | 20.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.7215 | μmol/L | 14.991 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.103 | 126812.176 | 263548.216 | 26.25 | 74
101266 | 2021-04-20 16:07 | 20.9972 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.0342 | μmol/L | 14.9484 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.104 | 126799.809 | 263529.6365 | 26.25 | 74
101275 | 2021-04-20 16:08 | 21.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.4226 | μmol/L | 14.9484 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.039 | 126507.8049 | 263542.7469 | 26.25 | 74
101285 | 2021-04-20 16:08 | 21.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.3738 | μmol/L | 14.9301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.048 | 126527.9729 | 263530.8174 | 26.25 | 74
101296 | 2021-04-20 16:08 | 21.9972 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.4175 | μmol/L | 14.9545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.037 | 126451.3762 | 263524.8567 | 26.25 | 74
101305 | 2021-04-20 16:09 | 22.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.8835 | μmol/L | 14.9362 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.022 | 126348.6581 | 263528.8409 | 26.25 | 74
101315 | 2021-04-20 16:09 | 22.6641 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.529 | μmol/L | 14.9362 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.992 | 126176.0733 | 263522.4268 | 26.25 | 74
101326 | 2021-04-20 16:09 | 22.9972 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.6955 | μmol/L | 14.9301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.033 | 126354.5393 | 263533.0166 | 26.25 | 74
101336 | 2021-04-20 16:10 | 23.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.6066 | μmol/L | 14.845 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.022 | 126331.6675 | 263533.7245 | 26.25 | 74
101345 | 2021-04-20 16:10 | 23.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.3618 | μmol/L | 14.9301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.002 | 126243.3853 | 263520.6614 | 26.25 | 74
101355 | 2021-04-20 16:10 | 23.9972 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.4428 | μmol/L | 14.9362 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.996 | 126215.6082 | 263504.9085 | 26.25 | 74
101365 | 2021-04-20 16:11 | 24.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.411 | μmol/L | 14.9484 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.993 | 126209.9699 | 263526.4766 | 26.25 | 74
101375 | 2021-04-20 16:11 | 24.6641 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.6096 | μmol/L | 14.9301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.037 | 126372.8199 | 263522.0305 | 26.25 | 74