## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-20 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
100638 | 2021-04-20 15:46 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7923 | μmol/L | 15.2073 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.627 | 123079.7493 | 266456.9683 | 32.55 | 27.7
100649 | 2021-04-20 15:47 | 0.33471 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0784 | μmol/L | 15.2073 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.614 | 122975.4787 | 266438.9977 | 32.55 | 27.7
100659 | 2021-04-20 15:47 | 0.66848 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3255 | μmol/L | 15.2012 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.605 | 122895.2304 | 266414.2848 | 32.55 | 27.7
100668 | 2021-04-20 15:47 | 1.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4798 | μmol/L | 15.2012 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.598 | 122828.2834 | 266378.447 | 32.55 | 27.7
100679 | 2021-04-20 15:48 | 1.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5287 | μmol/L | 15.1951 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.598 | 122790.1495 | 266366.1743 | 32.55 | 27.7
100689 | 2021-04-20 15:48 | 1.6681 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5287 | μmol/L | 15.1951 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.598 | 122769.1043 | 266351.7559 | 32.55 | 27.7
100698 | 2021-04-20 15:48 | 2.0021 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5334 | μmol/L | 15.189 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.6 | 122754.2352 | 266334.598 | 32.55 | 27.7
100708 | 2021-04-20 15:49 | 2.3346 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5555 | μmol/L | 15.189 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.599 | 122747.5937 | 266320.0959 | 32.55 | 27.7
100719 | 2021-04-20 15:49 | 2.6686 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4672 | μmol/L | 15.189 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.603 | 122754.66 | 266320.6399 | 32.55 | 27.7
100729 | 2021-04-20 15:49 | 3.0017 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4278 | μmol/L | 15.1829 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.607 | 122761.036 | 266304.1765 | 32.55 | 27.7
100738 | 2021-04-20 15:50 | 3.3349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2955 | μmol/L | 15.1829 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.613 | 122771.9329 | 266291.4799 | 32.55 | 27.7
100748 | 2021-04-20 15:50 | 3.668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1853 | μmol/L | 15.1829 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.618 | 122790.7352 | 266283.6823 | 32.55 | 27.7
100759 | 2021-04-20 15:50 | 4.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0532 | μmol/L | 15.1829 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.624 | 122806.1557 | 266274.8645 | 32.55 | 27.7
100769 | 2021-04-20 15:51 | 4.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9479 | μmol/L | 15.1768 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.631 | 122820.5285 | 266265.3034 | 32.55 | 27.7
100779 | 2021-04-20 15:51 | 4.668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.8379 | μmol/L | 15.1768 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.636 | 122844.8639 | 266259.466 | 32.55 | 27.7
100789 | 2021-04-20 15:51 | 5.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7987 | μmol/L | 15.1707 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.64 | 122874.0314 | 266260.7069 | 32.55 | 27.7
100798 | 2021-04-20 15:52 | 5.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7155 | μmol/L | 15.1646 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.646 | 122898.8087 | 266250.12 | 32.55 | 27.7
100808 | 2021-04-20 15:52 | 5.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6543 | μmol/L | 15.1584 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.651 | 122912.0742 | 266230.5658 | 32.55 | 27.7
100818 | 2021-04-20 15:52 | 6.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.43 | μmol/L | 15.1646 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.659 | 122926.4465 | 266226.0562 | 32.55 | 27.7
100829 | 2021-04-20 15:53 | 6.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.3031 | μmol/L | 15.1584 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.667 | 122942.0552 | 266199.404 | 32.55 | 27.7
100838 | 2021-04-20 15:53 | 6.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2812 | μmol/L | 15.1584 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.668 | 122975.3271 | 266207.1109 | 32.55 | 27.7
100848 | 2021-04-20 15:53 | 7.0013 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2031 | μmol/L | 15.1462 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.676 | 122997.1103 | 266197.072 | 32.55 | 27.7
100859 | 2021-04-20 15:54 | 7.3354 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0011 | μmol/L | 15.1523 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.683 | 123010.4106 | 266176.0783 | 32.55 | 27.7
100869 | 2021-04-20 15:54 | 7.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0059 | μmol/L | 15.1462 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.685 | 123033.6726 | 266171.5277 | 32.55 | 27.7
100878 | 2021-04-20 15:54 | 8.0013 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8527 | μmol/L | 15.1462 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.692 | 123049.2718 | 266160.2106 | 32.55 | 27.7
100889 | 2021-04-20 15:55 | 8.3353 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.77 | μmol/L | 15.1401 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.698 | 123058.7972 | 266157.656 | 32.55 | 27.7
100898 | 2021-04-20 15:55 | 8.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.5951 | μmol/L | 15.1401 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.706 | 123074.6309 | 266156.6695 | 32.55 | 27.7
100909 | 2021-04-20 15:55 | 9.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.5732 | μmol/L | 15.1401 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.707 | 123102.3587 | 266148.8133 | 32.55 | 27.7
100919 | 2021-04-20 15:56 | 9.3349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3548 | μmol/L | 15.1401 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.717 | 123109.9527 | 266128.6893 | 32.55 | 27.7
100929 | 2021-04-20 15:56 | 9.6687 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3378 | μmol/L | 15.134 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.72 | 123135.4284 | 266132.7121 | 32.55 | 27.7
100939 | 2021-04-20 15:56 | 10.0017 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.2287 | μmol/L | 15.134 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.725 | 123147.5592 | 266119.9422 | 32.55 | 27.7
100949 | 2021-04-20 15:57 | 10.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.2117 | μmol/L | 15.1279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.728 | 123166.8443 | 266106.5765 | 32.55 | 27.7
100959 | 2021-04-20 15:57 | 10.6686 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.0373 | μmol/L | 15.1279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.736 | 123179.7865 | 266093.0136 | 32.55 | 27.7
100968 | 2021-04-20 15:57 | 11.0016 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.9768 | μmol/L | 15.1218 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.741 | 123196.4438 | 266095.3483 | 32.55 | 27.7
100978 | 2021-04-20 15:58 | 11.3347 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.863 | μmol/L | 15.1279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.744 | 123215.6781 | 266098.0353 | 32.55 | 27.7
100989 | 2021-04-20 15:58 | 11.6687 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.7808 | μmol/L | 15.1218 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.75 | 123231.7077 | 266097.2452 | 32.55 | 27.7
100998 | 2021-04-20 15:58 | 12.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.7204 | μmol/L | 15.1157 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.755 | 123247.2861 | 266089.055 | 32.55 | 27.7
101008 | 2021-04-20 15:59 | 12.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.6986 | μmol/L | 15.1157 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.756 | 123272.4775 | 266080.7446 | 32.55 | 27.7
101019 | 2021-04-20 15:59 | 12.6686 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.5513 | μmol/L | 15.1096 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.765 | 123276.4908 | 266063.0887 | 32.55 | 27.7
101028 | 2021-04-20 15:59 | 13.0017 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.4112 | μmol/L | 15.1218 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.767 | 123292.4277 | 266059.9189 | 32.55 | 27.7
101039 | 2021-04-20 16:00 | 13.3354 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.4258 | μmol/L | 15.1035 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.773 | 123308.3057 | 266048.2354 | 32.55 | 27.7
101048 | 2021-04-20 16:00 | 13.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.5442 | μmol/L | 15.0913 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.772 | 123313.8077 | 266037.6392 | 32.55 | 27.7
101059 | 2021-04-20 16:00 | 14.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.3438 | μmol/L | 15.0974 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.779 | 123330.3912 | 266029.024 | 32.55 | 27.7
101069 | 2021-04-20 16:01 | 14.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.3053 | μmol/L | 15.0913 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.783 | 123328.4529 | 266026.1395 | 32.55 | 27.7
101079 | 2021-04-20 16:01 | 14.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.1219 | μmol/L | 15.1035 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.787 | 123349.7891 | 266013.3564 | 32.55 | 27.7
101088 | 2021-04-20 16:01 | 15.0013 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.2016 | μmol/L | 15.0851 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.79 | 123361.4663 | 266016.0564 | 32.55 | 27.7
101099 | 2021-04-20 16:02 | 15.3353 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.1317 | μmol/L | 15.0913 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.791 | 123376.7448 | 266009.8247 | 32.55 | 27.7
101109 | 2021-04-20 16:02 | 15.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.968 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.803 | 123384.4243 | 266011.7928 | 32.55 | 27.7
101118 | 2021-04-20 16:02 | 16.0013 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.0596 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.801 | 123376.8022 | 265999.3849 | 32.55 | 27.7
101129 | 2021-04-20 16:03 | 16.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.8646 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.81 | 123406.2512 | 265999.3137 | 32.55 | 27.7
101139 | 2021-04-20 16:03 | 16.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.8164 | μmol/L | 15.079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.81 | 123422.8637 | 265995.8011 | 32.55 | 27.7
101148 | 2021-04-20 16:03 | 17.0013 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.843 | μmol/L | 15.0729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.811 | 123433.7058 | 265987.3398 | 32.55 | 27.7
101159 | 2021-04-20 16:04 | 17.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.8961 | μmol/L | 15.0607 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.813 | 123443.4074 | 265978.7601 | 32.55 | 27.7
101168 | 2021-04-20 16:04 | 17.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.7013 | μmol/L | 15.0607 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.822 | 123458.9353 | 265972.2929 | 32.55 | 27.7
101179 | 2021-04-20 16:04 | 18.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.6797 | μmol/L | 15.0607 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.823 | 123470.7191 | 265980.6209 | 32.55 | 27.7
101189 | 2021-04-20 16:05 | 18.3349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.7062 | μmol/L | 15.0546 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.824 | 123484.2201 | 265985.824 | 32.55 | 27.7
101199 | 2021-04-20 16:05 | 18.668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.485 | μmol/L | 15.0607 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.832 | 123482.6833 | 265956.6034 | 32.55 | 27.7
101209 | 2021-04-20 16:05 | 19.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.6828 | μmol/L | 15.0302 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.834 | 123516.2697 | 265959.5709 | 32.55 | 27.7
101218 | 2021-04-20 16:06 | 19.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.5481 | μmol/L | 15.0363 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.838 | 123529.8331 | 265953.8739 | 32.55 | 27.7
101229 | 2021-04-20 16:06 | 19.6686 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.4184 | μmol/L | 15.0363 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.844 | 123553.3731 | 265952.2971 | 32.55 | 27.7
101238 | 2021-04-20 16:06 | 20.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.3968 | μmol/L | 15.0363 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.845 | 123562.2764 | 265954.4615 | 32.55 | 27.7
101249 | 2021-04-20 16:07 | 20.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.224 | μmol/L | 15.0363 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.853 | 123585.1655 | 265954.0473 | 32.55 | 27.7
101259 | 2021-04-20 16:07 | 20.6686 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.2772 | μmol/L | 15.0241 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.855 | 123607.7524 | 265949.7067 | 32.55 | 27.7
101269 | 2021-04-20 16:07 | 21.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.2772 | μmol/L | 15.0241 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.855 | 123622.9367 | 265952.7259 | 32.55 | 27.7
101279 | 2021-04-20 16:08 | 21.3354 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.1261 | μmol/L | 15.0241 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.862 | 123628.7887 | 265954.967 | 32.55 | 27.7
101288 | 2021-04-20 16:08 | 21.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.1311 | μmol/L | 15.0179 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.864 | 123624.9584 | 265930.7284 | 32.55 | 27.7
101298 | 2021-04-20 16:08 | 22.0013 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.0398 | μmol/L | 15.0241 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.866 | 123633.0608 | 265937.9808 | 32.55 | 27.7
101309 | 2021-04-20 16:09 | 22.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.0448 | μmol/L | 15.0179 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.868 | 123639.6504 | 265930.8701 | 32.55 | 27.7
101318 | 2021-04-20 16:09 | 22.6681 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.0067 | μmol/L | 15.0118 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.872 | 123662.5798 | 265929.5172 | 32.55 | 27.7
101329 | 2021-04-20 16:09 | 23.0021 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.8674 | μmol/L | 15.0241 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.874 | 123672.4018 | 265930.1376 | 32.55 | 27.7
101339 | 2021-04-20 16:10 | 23.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.9471 | μmol/L | 15.0057 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.877 | 123689.1689 | 265922.74 | 32.55 | 27.7
101349 | 2021-04-20 16:10 | 23.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.7913 | μmol/L | 15.0118 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.882 | 123696.3771 | 265907.9361 | 32.55 | 27.7
101358 | 2021-04-20 16:10 | 24.0013 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.7382 | μmol/L | 15.0241 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.88 | 123715.4354 | 265919.9522 | 32.55 | 27.7
101368 | 2021-04-20 16:11 | 24.3353 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.5975 | μmol/L | 15.0118 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.891 | 123755.6135 | 265920.2921 | 32.55 | 27.7
101376 | 2021-04-20 16:11 | 24.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.6241 | μmol/L | 15.0057 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.892 | 123796.7268 | 265926.0202 | 32.55 | 27.7