## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
98192 | 2021-04-19 16:16 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.252 | μmol/L | 30.6014 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.265 | 132330.7666 | 265991.1995 | 33.25 | 75.7
98202 | 2021-04-19 16:17 | 0.33177 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.7854 | μmol/L | 30.5767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.299 | 132572.6738 | 265990.8045 | 33.25 | 75.7
98212 | 2021-04-19 16:17 | 0.66554 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.775 | μmol/L | 30.589 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.351 | 132979.4633 | 265999.1008 | 33.25 | 75.7
98222 | 2021-04-19 16:17 | 0.99871 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.0358 | μmol/L | 30.5152 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.417 | 133375.5884 | 265991.6277 | 33.25 | 75.7
98232 | 2021-04-19 16:18 | 1.332 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.3445 | μmol/L | 30.4967 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.462 | 133643.4741 | 265984.166 | 33.25 | 75.7
98242 | 2021-04-19 16:18 | 1.6654 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4696 | μmol/L | 30.5337 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.499 | 133943.8185 | 265998.4531 | 33.25 | 75.7
98252 | 2021-04-19 16:18 | 1.9991 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.103 | μmol/L | 30.5952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.556 | 134331.9587 | 265979.4527 | 33.25 | 75.7
98262 | 2021-04-19 16:19 | 2.3321 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.4425 | μmol/L | 30.5767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.6 | 134635.2112 | 265974.5162 | 33.25 | 75.7
98272 | 2021-04-19 16:19 | 2.6657 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.1302 | μmol/L | 30.5706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.62 | 134752.1796 | 265973.604 | 33.25 | 75.7
98282 | 2021-04-19 16:19 | 2.999 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.9266 | μmol/L | 30.546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.64 | 134897.4801 | 265987.6544 | 33.25 | 75.7
98292 | 2021-04-19 16:20 | 3.3318 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.6713 | μmol/L | 30.5214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.663 | 135037.6439 | 265976.6758 | 33.25 | 75.7
98302 | 2021-04-19 16:20 | 3.6656 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.4486 | μmol/L | 30.509 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.68 | 135147.3051 | 265974.038 | 33.25 | 75.7
98312 | 2021-04-19 16:20 | 3.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.2818 | μmol/L | 30.6383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.704 | 135303.6309 | 265981.0674 | 33.25 | 75.7
98322 | 2021-04-19 16:21 | 4.3321 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.6304 | μmol/L | 30.5398 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.717 | 135439.6213 | 265991.2839 | 33.25 | 75.7
98332 | 2021-04-19 16:21 | 4.6655 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.9136 | μmol/L | 30.5952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.74 | 135573.9475 | 265987.0015 | 33.25 | 75.7
98342 | 2021-04-19 16:21 | 4.9987 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.5978 | μmol/L | 30.5521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.773 | 135834.4634 | 265993.411 | 33.25 | 75.7
98352 | 2021-04-19 16:22 | 5.3325 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.4407 | μmol/L | 30.4906 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.803 | 136045.3592 | 265988.2608 | 33.25 | 75.7
98362 | 2021-04-19 16:22 | 5.6655 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.3705 | μmol/L | 30.4229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.83 | 136221.5641 | 266000.3558 | 33.25 | 75.7
98372 | 2021-04-19 16:22 | 5.9989 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.1033 | μmol/L | 30.3983 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.854 | 136385.9023 | 266007.5341 | 33.25 | 75.7
98382 | 2021-04-19 16:23 | 6.3319 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.1613 | μmol/L | 30.4352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.897 | 136713.1321 | 266015.5241 | 33.25 | 75.7
98392 | 2021-04-19 16:23 | 6.6655 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.0191 | μmol/L | 30.3921 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.92 | 136886.7748 | 266012.4873 | 33.25 | 75.7
98402 | 2021-04-19 16:23 | 6.9987 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.4552 | μmol/L | 30.4229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.943 | 137058.7472 | 266009.4857 | 33.25 | 75.7
98412 | 2021-04-19 16:24 | 7.3323 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.3571 | μmol/L | 30.4106 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.953 | 137124.2035 | 266011.6404 | 33.25 | 75.7
98422 | 2021-04-19 16:24 | 7.6659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.8853 | μmol/L | 30.4167 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.979 | 137312.113 | 266014.7743 | 33.25 | 75.7
98432 | 2021-04-19 16:24 | 7.9992 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.4573 | μmol/L | 30.386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.015 | 137578.3563 | 266017.8905 | 33.25 | 75.7
98442 | 2021-04-19 16:25 | 8.332 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.0035 | μmol/L | 30.3983 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.038 | 137729.5372 | 266008.0293 | 33.25 | 75.7
98452 | 2021-04-19 16:25 | 8.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.9762 | μmol/L | 30.3737 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.048 | 137818.7942 | 266001.2621 | 33.25 | 75.7
98462 | 2021-04-19 16:25 | 8.9989 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.6418 | μmol/L | 30.3798 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.066 | 137945.6629 | 265999.2727 | 33.25 | 75.7
98472 | 2021-04-19 16:26 | 9.3326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.3745 | μmol/L | 30.386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.08 | 138034.7416 | 266008.5341 | 33.25 | 75.7
98482 | 2021-04-19 16:26 | 9.6651 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.3324 | μmol/L | 30.3552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.093 | 138150.7645 | 266007.8188 | 33.25 | 75.7
98492 | 2021-04-19 16:26 | 9.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.9483 | μmol/L | 30.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.112 | 138268.3361 | 265990.3957 | 33.25 | 75.7
98502 | 2021-04-19 16:27 | 10.3319 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.5652 | μmol/L | 30.3798 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.131 | 138417.0399 | 266001.7963 | 33.25 | 75.7
98512 | 2021-04-19 16:27 | 10.6656 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.423 | μmol/L | 30.3552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.148 | 138540.3985 | 266013.2747 | 33.25 | 75.7
98522 | 2021-04-19 16:27 | 10.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.1086 | μmol/L | 30.3613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.165 | 138670.3924 | 266013.6291 | 33.25 | 75.7
98532 | 2021-04-19 16:28 | 11.3324 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.467 | μmol/L | 30.429 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.181 | 138800.1551 | 266011.5509 | 33.25 | 75.7
98542 | 2021-04-19 16:28 | 11.6654 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.1561 | μmol/L | 30.429 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.2 | 138922.0595 | 266020.171 | 33.25 | 75.7
98552 | 2021-04-19 16:28 | 11.9991 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.5977 | μmol/L | 30.306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.215 | 139041.5239 | 266007.146 | 33.25 | 75.7
98562 | 2021-04-19 16:29 | 12.3321 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.063 | μmol/L | 30.349 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.233 | 139172.4452 | 266012.6401 | 33.25 | 75.7
98572 | 2021-04-19 16:29 | 12.6653 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.6032 | μmol/L | 30.3613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.257 | 139348.6305 | 266021.9119 | 33.25 | 75.7
98582 | 2021-04-19 16:29 | 12.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.3334 | μmol/L | 30.3367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.282 | 139523.9052 | 266030.817 | 33.25 | 75.7
98592 | 2021-04-19 16:30 | 13.3322 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.2817 | μmol/L | 30.2875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.302 | 139656.6195 | 266032.5928 | 33.25 | 75.7
98602 | 2021-04-19 16:30 | 13.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.2347 | μmol/L | 30.2813 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.307 | 139709.2642 | 266023.7357 | 33.25 | 75.7
98612 | 2021-04-19 16:30 | 13.9986 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.9932 | μmol/L | 30.2752 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.324 | 139872.2449 | 266040.1335 | 33.25 | 75.7
98622 | 2021-04-19 16:31 | 14.3323 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.5804 | μmol/L | 30.306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.339 | 139951.3804 | 266027.9403 | 33.25 | 75.7
98632 | 2021-04-19 16:31 | 14.6654 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.6746 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.35 | 140039.1714 | 266022.181 | 33.25 | 75.7
98642 | 2021-04-19 16:31 | 14.999 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.4731 | μmol/L | 30.226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.373 | 140217.5444 | 266029.2749 | 33.25 | 75.7
98652 | 2021-04-19 16:32 | 15.332 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.2525 | μmol/L | 30.2075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.393 | 140334.95 | 266019.8914 | 33.25 | 75.7
98662 | 2021-04-19 16:32 | 15.6656 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.9384 | μmol/L | 30.2383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.402 | 140416.3591 | 266016.1646 | 33.25 | 75.7
98672 | 2021-04-19 16:32 | 15.999 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.7617 | μmol/L | 30.2383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.413 | 140499.7051 | 266014.903 | 33.25 | 75.7
98682 | 2021-04-19 16:33 | 16.3325 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.7009 | μmol/L | 30.226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.421 | 140558.4218 | 266010.6974 | 33.25 | 75.7
98692 | 2021-04-19 16:33 | 16.6651 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.4478 | μmol/L | 30.2137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.441 | 140691.5369 | 266011.5697 | 33.25 | 75.7
98702 | 2021-04-19 16:33 | 16.9988 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.2541 | μmol/L | 30.2198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.451 | 140803.8562 | 266010.4712 | 33.25 | 75.7
98712 | 2021-04-19 16:34 | 17.3319 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.0623 | μmol/L | 30.2198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.463 | 140894.2627 | 266011.9816 | 33.25 | 75.7
98722 | 2021-04-19 16:34 | 17.6653 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.6105 | μmol/L | 30.2383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.485 | 141045.021 | 266016.401 | 33.25 | 75.7
98732 | 2021-04-19 16:34 | 17.9987 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.9837 | μmol/L | 30.2629 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.516 | 141251.2948 | 266015.4432 | 33.25 | 75.7
98742 | 2021-04-19 16:35 | 18.3323 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.9784 | μmol/L | 30.349 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.55 | 141508.414 | 266002.2242 | 33.25 | 75.7
98752 | 2021-04-19 16:35 | 18.6657 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.2442 | μmol/L | 30.386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.584 | 141752.4404 | 266015.5176 | 33.25 | 75.7
98762 | 2021-04-19 16:35 | 18.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.9504 | μmol/L | 30.3737 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.607 | 141932.3617 | 266019.4191 | 33.25 | 75.7
98772 | 2021-04-19 16:36 | 19.3322 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.5929 | μmol/L | 30.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.632 | 142107.8017 | 266018.3404 | 33.25 | 75.7
98782 | 2021-04-19 16:36 | 19.6658 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.3393 | μmol/L | 30.3306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.661 | 142290.8444 | 266021.1343 | 33.25 | 75.7
98792 | 2021-04-19 16:36 | 19.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.0711 | μmol/L | 30.3429 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.674 | 142414.4006 | 266009.5678 | 33.25 | 75.7
98802 | 2021-04-19 16:37 | 20.3321 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.5842 | μmol/L | 30.3613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.699 | 142638.9283 | 266024.2595 | 33.25 | 75.7
98812 | 2021-04-19 16:37 | 20.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.5861 | μmol/L | 30.306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.718 | 142765.575 | 266015.1028 | 33.25 | 75.7
98822 | 2021-04-19 16:37 | 20.9989 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.4836 | μmol/L | 30.2875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.731 | 142869.9307 | 266022.1102 | 33.25 | 75.7
98832 | 2021-04-19 16:38 | 21.3325 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.327 | μmol/L | 30.2937 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.739 | 142918.8233 | 266019.9903 | 33.25 | 75.7
98842 | 2021-04-19 16:38 | 21.6651 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.1744 | μmol/L | 30.3367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.734 | 142898.4283 | 266020.4815 | 33.25 | 75.7
98852 | 2021-04-19 16:38 | 21.9986 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.1281 | μmol/L | 30.3367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.737 | 142949.5902 | 266024.1698 | 33.25 | 75.7
98862 | 2021-04-19 16:39 | 22.3323 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.9718 | μmol/L | 30.3429 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.745 | 142986.9155 | 266018.394 | 33.25 | 75.7
98872 | 2021-04-19 16:39 | 22.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.7194 | μmol/L | 30.3613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.755 | 143089.3344 | 266026.798 | 33.25 | 75.7
98882 | 2021-04-19 16:39 | 22.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.837 | μmol/L | 30.3306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.758 | 143091.8201 | 266031.7735 | 33.25 | 75.7
98892 | 2021-04-19 16:40 | 23.3319 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.8043 | μmol/L | 30.3367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.758 | 143093.5035 | 266033.2742 | 33.25 | 75.7
98902 | 2021-04-19 16:40 | 23.6654 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.8852 | μmol/L | 30.3244 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.757 | 143093.0274 | 266045.7335 | 33.25 | 75.7
98912 | 2021-04-19 16:40 | 23.9988 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.6464 | μmol/L | 30.349 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.764 | 143144.0651 | 266045.9146 | 33.25 | 75.7
98922 | 2021-04-19 16:41 | 24.3323 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.5928 | μmol/L | 30.3244 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.776 | 143208.0914 | 266038.5197 | 33.25 | 75.7
98932 | 2021-04-19 16:41 | 24.6658 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.3851 | μmol/L | 30.349 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.781 | 143255.7652 | 266039.4761 | 33.25 | 75.7
98942 | 2021-04-19 16:41 | 24.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.0224 | μmol/L | 30.3798 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.794 | 143344.5771 | 266042.7112 | 33.25 | 75.7
98952 | 2021-04-19 16:42 | 25.332 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.4719 | μmol/L | 30.3798 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.83 | 143602.4654 | 266038.8536 | 33.25 | 75.7
98962 | 2021-04-19 16:42 | 25.6653 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 174.9125 | μmol/L | 30.3675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.871 | 143874.1804 | 266030.9956 | 33.25 | 75.7
98972 | 2021-04-19 16:42 | 25.9988 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 174.7608 | μmol/L | 30.2752 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.913 | 144190.5995 | 266041.2886 | 33.25 | 75.7
98982 | 2021-04-19 16:43 | 26.3322 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 173.844 | μmol/L | 30.349 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.948 | 144433.83 | 266040.0249 | 33.25 | 75.7
98992 | 2021-04-19 16:43 | 26.6658 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 173.8933 | μmol/L | 30.3367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.949 | 144445.2909 | 266034.1116 | 33.25 | 75.7
99002 | 2021-04-19 16:43 | 26.9993 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 173.9249 | μmol/L | 30.2875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.964 | 144597.2392 | 266042.8553 | 33.25 | 75.7
99012 | 2021-04-19 16:44 | 27.3319 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 173.6983 | μmol/L | 30.2444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.994 | 144777.5998 | 266034.4263 | 33.25 | 75.7
99022 | 2021-04-19 16:44 | 27.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 173.4728 | μmol/L | 30.2444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.009 | 144903.547 | 266039.0483 | 33.25 | 75.7
99032 | 2021-04-19 16:44 | 27.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.7134 | μmol/L | 30.3183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.034 | 145077.5336 | 266041.5502 | 33.25 | 75.7
99042 | 2021-04-19 16:45 | 28.3326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.6623 | μmol/L | 30.3367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.031 | 145086.1822 | 266042.0634 | 33.25 | 75.7
99052 | 2021-04-19 16:45 | 28.6657 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.4976 | μmol/L | 30.2506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.072 | 145349.0939 | 266031.8333 | 33.25 | 75.7
99062 | 2021-04-19 16:45 | 28.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.2103 | μmol/L | 30.306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.072 | 145363.2032 | 266039.8954 | 33.25 | 75.7
99072 | 2021-04-19 16:46 | 29.3319 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.2507 | μmol/L | 30.2752 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.08 | 145423.471 | 266042.1732 | 33.25 | 75.7
99082 | 2021-04-19 16:46 | 29.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.0465 | μmol/L | 30.2198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.113 | 145642.2765 | 266054.1396 | 33.25 | 75.7
99092 | 2021-04-19 16:46 | 29.9986 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.5248 | μmol/L | 30.3121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.116 | 145682.359 | 266049.0499 | 33.25 | 75.7
99102 | 2021-04-19 16:47 | 30.3323 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.5081 | μmol/L | 30.2752 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.13 | 145789.3127 | 266054.0158 | 33.25 | 75.7
99112 | 2021-04-19 16:47 | 30.6657 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.21 | μmol/L | 30.2813 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.148 | 145923.3684 | 266039.9166 | 33.25 | 75.7
99122 | 2021-04-19 16:47 | 30.9989 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 170.8366 | μmol/L | 30.2937 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.169 | 146081.7803 | 266044.5064 | 33.25 | 75.7
99132 | 2021-04-19 16:48 | 31.3323 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 170.5252 | μmol/L | 30.2998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.188 | 146199.5299 | 266049.3441 | 33.25 | 75.7
99142 | 2021-04-19 16:48 | 31.6657 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 170.6312 | μmol/L | 30.2075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.213 | 146374.4404 | 266029.5573 | 33.25 | 75.7
99152 | 2021-04-19 16:48 | 31.999 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.7019 | μmol/L | 30.306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.242 | 146577.5976 | 266042.5954 | 33.25 | 75.7
99162 | 2021-04-19 16:49 | 32.3322 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.9762 | μmol/L | 30.2752 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.234 | 146558.0852 | 266034.8764 | 33.25 | 75.7
99172 | 2021-04-19 16:49 | 32.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 170.5226 | μmol/L | 30.1398 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.244 | 146623.7399 | 266036.1872 | 33.25 | 75.7
99182 | 2021-04-19 16:49 | 32.9991 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.9439 | μmol/L | 30.2013 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.262 | 146741.4312 | 266029.953 | 33.25 | 75.7
99192 | 2021-04-19 16:50 | 33.3325 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.5544 | μmol/L | 30.269 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.265 | 146748.3702 | 266039.9215 | 33.25 | 75.7
99202 | 2021-04-19 16:50 | 33.6659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.4261 | μmol/L | 30.2198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.291 | 146939.9106 | 266043.1499 | 33.25 | 75.7
99212 | 2021-04-19 16:50 | 33.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.0175 | μmol/L | 30.2629 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.304 | 147040.3101 | 266042.2178 | 33.25 | 75.7
99222 | 2021-04-19 16:51 | 34.3321 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.3183 | μmol/L | 30.1952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.307 | 147084.923 | 266042.9705 | 33.25 | 75.7
99232 | 2021-04-19 16:51 | 34.6655 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.014 | μmol/L | 30.2321 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.315 | 147154.2235 | 266046.1994 | 33.25 | 75.7
99242 | 2021-04-19 16:51 | 34.9994 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 168.804 | μmol/L | 30.2506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.323 | 147193.6618 | 266046.7162 | 33.25 | 75.7
99252 | 2021-04-19 16:52 | 35.332 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 168.8107 | μmol/L | 30.2321 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.329 | 147260.2472 | 266056.8294 | 33.25 | 75.7