## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
98193 | 2021-04-19 16:16 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.4919 | μmol/L | 30.709 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.07 | 121234.3248 | 289349.4976 | 59.9307 | 38.1
98203 | 2021-04-19 16:17 | 0.33791 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.2838 | μmol/L | 30.7335 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.135 | 121600.8882 | 289329.926 | 59.9307 | 38.1
98213 | 2021-04-19 16:17 | 0.6713 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.6665 | μmol/L | 30.7152 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.179 | 121905.6069 | 289339.2887 | 59.9307 | 38.1
98223 | 2021-04-19 16:17 | 1.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.9398 | μmol/L | 30.6906 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.232 | 122196.0115 | 289332.6821 | 59.9307 | 38.1
98233 | 2021-04-19 16:18 | 1.3378 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.3383 | μmol/L | 30.6968 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.267 | 122432.0505 | 289333.3398 | 59.9307 | 38.1
98243 | 2021-04-19 16:18 | 1.671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.7264 | μmol/L | 30.6906 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.307 | 122691.6208 | 289331.1564 | 59.9307 | 38.1
98253 | 2021-04-19 16:18 | 2.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.0833 | μmol/L | 30.6906 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.347 | 122941.041 | 289337.5107 | 59.9307 | 38.1
98263 | 2021-04-19 16:19 | 2.3382 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.5566 | μmol/L | 30.6845 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.382 | 123166.3502 | 289348.3052 | 59.9307 | 38.1
98273 | 2021-04-19 16:19 | 2.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.1132 | μmol/L | 30.6723 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.414 | 123352.287 | 289338.2773 | 59.9307 | 38.1
98283 | 2021-04-19 16:19 | 3.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.8125 | μmol/L | 30.6661 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.435 | 123512.6928 | 289339.0006 | 59.9307 | 38.1
98293 | 2021-04-19 16:20 | 3.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.449 | μmol/L | 30.66 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.46 | 123658.8986 | 289336.305 | 59.9307 | 38.1
98303 | 2021-04-19 16:20 | 3.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.0407 | μmol/L | 30.6477 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.49 | 123817.4707 | 289350.0051 | 59.9307 | 38.1
98313 | 2021-04-19 16:20 | 4.0046 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.5741 | μmol/L | 30.6232 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.528 | 124085.7976 | 289357.9764 | 59.9307 | 38.1
98323 | 2021-04-19 16:21 | 4.3382 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.0236 | μmol/L | 30.6232 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.563 | 124269.6561 | 289345.9059 | 59.9307 | 38.1
98333 | 2021-04-19 16:21 | 4.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.6666 | μmol/L | 30.611 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.59 | 124456.1473 | 289348.983 | 59.9307 | 38.1
98343 | 2021-04-19 16:21 | 5.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.3555 | μmol/L | 30.6048 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.612 | 124613.2147 | 289364.0822 | 59.9307 | 38.1
98353 | 2021-04-19 16:22 | 5.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.0452 | μmol/L | 30.5987 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.634 | 124796.6912 | 289386.823 | 59.9307 | 38.1
98363 | 2021-04-19 16:22 | 5.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.7218 | μmol/L | 30.5865 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.659 | 124966.9594 | 289380.9251 | 59.9307 | 38.1
98373 | 2021-04-19 16:22 | 6.0049 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.3974 | μmol/L | 30.5803 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.682 | 125071.5281 | 289383.3356 | 59.9307 | 38.1
98383 | 2021-04-19 16:23 | 6.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.1393 | μmol/L | 30.562 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.705 | 125220.4822 | 289386.1116 | 59.9307 | 38.1
98393 | 2021-04-19 16:23 | 6.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.0637 | μmol/L | 30.5558 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.712 | 125308.7559 | 289399.7122 | 59.9307 | 38.1
98403 | 2021-04-19 16:23 | 7.0049 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.7373 | μmol/L | 30.562 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.731 | 125416.7508 | 289403.2155 | 59.9307 | 38.1
98413 | 2021-04-19 16:24 | 7.3378 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.4923 | μmol/L | 30.5558 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.749 | 125513.9741 | 289400.606 | 59.9307 | 38.1
98423 | 2021-04-19 16:24 | 7.6715 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.1726 | μmol/L | 30.5436 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.774 | 125655.8232 | 289418.9013 | 59.9307 | 38.1
98433 | 2021-04-19 16:24 | 8.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.1049 | μmol/L | 30.5129 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.789 | 125769.9627 | 289400.5114 | 59.9307 | 38.1
98443 | 2021-04-19 16:25 | 8.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.8421 | μmol/L | 30.5191 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.804 | 125890.5645 | 289422.672 | 59.9307 | 38.1
98453 | 2021-04-19 16:25 | 8.6712 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.4781 | μmol/L | 30.5068 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.832 | 126066.8279 | 289401.8046 | 59.9307 | 38.1
98463 | 2021-04-19 16:25 | 9.0044 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.3423 | μmol/L | 30.5007 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.843 | 126149.2064 | 289399.7885 | 59.9307 | 38.1
98473 | 2021-04-19 16:26 | 9.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.2085 | μmol/L | 30.4884 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.856 | 126215.7467 | 289404.7638 | 59.9307 | 38.1
98483 | 2021-04-19 16:26 | 9.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.0023 | μmol/L | 30.4639 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.878 | 126340.434 | 289390.0275 | 59.9307 | 38.1
98493 | 2021-04-19 16:26 | 10.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.7471 | μmol/L | 30.4516 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.899 | 126460.0141 | 289399.5307 | 59.9307 | 38.1
98503 | 2021-04-19 16:27 | 10.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.5306 | μmol/L | 30.4639 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.909 | 126542.8423 | 289400.6297 | 59.9307 | 38.1
98513 | 2021-04-19 16:27 | 10.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.1211 | μmol/L | 30.4639 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.936 | 126701.8316 | 289405.6445 | 59.9307 | 38.1
98523 | 2021-04-19 16:27 | 11.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.9451 | μmol/L | 30.4455 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.954 | 126818.8648 | 289407.2018 | 59.9307 | 38.1
98533 | 2021-04-19 16:28 | 11.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.7221 | μmol/L | 30.4333 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.973 | 126922.1209 | 289410.6623 | 59.9307 | 38.1
98543 | 2021-04-19 16:28 | 11.671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.5448 | μmol/L | 30.421 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.989 | 127039.9629 | 289414.5317 | 59.9307 | 38.1
98553 | 2021-04-19 16:28 | 12.0044 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.2774 | μmol/L | 30.4088 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.011 | 127184.8587 | 289411.0099 | 59.9307 | 38.1
98563 | 2021-04-19 16:29 | 12.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.2191 | μmol/L | 30.4026 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.017 | 127246.7983 | 289399.2166 | 59.9307 | 38.1
98573 | 2021-04-19 16:29 | 12.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.0537 | μmol/L | 30.4026 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.028 | 127316.5232 | 289407.2697 | 59.9307 | 38.1
98583 | 2021-04-19 16:29 | 13.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.8773 | μmol/L | 30.3904 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.044 | 127419.8505 | 289425.7591 | 59.9307 | 38.1
98593 | 2021-04-19 16:30 | 13.3381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.8267 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.058 | 127498.5013 | 289430.7344 | 59.9307 | 38.1
98603 | 2021-04-19 16:30 | 13.6712 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.6525 | μmol/L | 30.3413 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.076 | 127605.3074 | 289435.686 | 59.9307 | 38.1
98613 | 2021-04-19 16:30 | 14.0049 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.2562 | μmol/L | 30.3659 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.094 | 127705.074 | 289422.9845 | 59.9307 | 38.1
98623 | 2021-04-19 16:31 | 14.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.0958 | μmol/L | 30.3536 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.109 | 127809.3275 | 289423.1319 | 59.9307 | 38.1
98633 | 2021-04-19 16:31 | 14.6712 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.8088 | μmol/L | 30.3659 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.124 | 127902.5736 | 289435.1537 | 59.9307 | 38.1
98643 | 2021-04-19 16:31 | 15.005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.6826 | μmol/L | 30.3413 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.141 | 128012.4227 | 289436.2125 | 59.9307 | 38.1
98653 | 2021-04-19 16:32 | 15.3381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.3855 | μmol/L | 30.3413 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.161 | 128124.1076 | 289437.1325 | 59.9307 | 38.1
98663 | 2021-04-19 16:32 | 15.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.3615 | μmol/L | 30.323 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.169 | 128212.8108 | 289439.7166 | 59.9307 | 38.1
98673 | 2021-04-19 16:32 | 16.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.0781 | μmol/L | 30.3291 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.186 | 128293.2844 | 289443.0599 | 59.9307 | 38.1
98683 | 2021-04-19 16:33 | 16.3378 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.9635 | μmol/L | 30.3168 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.198 | 128394.0323 | 289445.7231 | 59.9307 | 38.1
98693 | 2021-04-19 16:33 | 16.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.668 | μmol/L | 30.3168 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.218 | 128496.3753 | 289447.1619 | 59.9307 | 38.1
98703 | 2021-04-19 16:33 | 17.005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.434 | μmol/L | 30.3107 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.236 | 128618.7229 | 289438.1829 | 59.9307 | 38.1
98713 | 2021-04-19 16:34 | 17.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.1435 | μmol/L | 30.2985 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.26 | 128765.811 | 289441.8108 | 59.9307 | 38.1
98723 | 2021-04-19 16:34 | 17.6713 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.2894 | μmol/L | 30.2556 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.265 | 128833.4576 | 289450.7623 | 59.9307 | 38.1
98733 | 2021-04-19 16:34 | 18.0049 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.8742 | μmol/L | 30.2678 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.289 | 128946.4399 | 289445.7345 | 59.9307 | 38.1
98743 | 2021-04-19 16:35 | 18.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.7823 | μmol/L | 30.2801 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.291 | 128989.3213 | 289427.453 | 59.9307 | 38.1
98753 | 2021-04-19 16:35 | 18.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.4621 | μmol/L | 30.2739 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.315 | 129124.3377 | 289467.9158 | 59.9307 | 38.1
98763 | 2021-04-19 16:35 | 19.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.1182 | μmol/L | 30.2985 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.33 | 129229.4786 | 289458.1404 | 59.9307 | 38.1
98773 | 2021-04-19 16:36 | 19.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.0697 | μmol/L | 30.2678 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.344 | 129309.3003 | 289472.2344 | 59.9307 | 38.1
98783 | 2021-04-19 16:36 | 19.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.4777 | μmol/L | 30.2985 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.374 | 129497.0348 | 289472.4401 | 59.9307 | 38.1
98793 | 2021-04-19 16:36 | 20.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.3265 | μmol/L | 30.3168 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.378 | 129552.5717 | 289468.1494 | 59.9307 | 38.1
98803 | 2021-04-19 16:37 | 20.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.177 | μmol/L | 30.2862 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.399 | 129671.7447 | 289468.8822 | 59.9307 | 38.1
98813 | 2021-04-19 16:37 | 20.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.0611 | μmol/L | 30.2862 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.407 | 129727.489 | 289463.8209 | 59.9307 | 38.1
98823 | 2021-04-19 16:37 | 21.0047 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.6647 | μmol/L | 30.3046 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.428 | 129849.1199 | 289460.4638 | 59.9307 | 38.1
98833 | 2021-04-19 16:38 | 21.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.9862 | μmol/L | 30.2494 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.425 | 129875.8789 | 289460.6162 | 59.9307 | 38.1
98843 | 2021-04-19 16:38 | 21.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.3927 | μmol/L | 30.2985 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.449 | 129979.8592 | 289467.844 | 59.9307 | 38.1
98853 | 2021-04-19 16:38 | 22.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.0967 | μmol/L | 30.323 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.461 | 130079.472 | 289470.4408 | 59.9307 | 38.1
98863 | 2021-04-19 16:39 | 22.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.9099 | μmol/L | 30.323 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.474 | 130166.2687 | 289464.7464 | 59.9307 | 38.1
98873 | 2021-04-19 16:39 | 22.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.6823 | μmol/L | 30.3168 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.492 | 130291.1715 | 289477.2839 | 59.9307 | 38.1
98883 | 2021-04-19 16:39 | 23.0047 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.4225 | μmol/L | 30.323 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.508 | 130382.9833 | 289486.7688 | 59.9307 | 38.1
98893 | 2021-04-19 16:40 | 23.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.2652 | μmol/L | 30.323 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.519 | 130490.2462 | 289476.1677 | 59.9307 | 38.1
98903 | 2021-04-19 16:40 | 23.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.9674 | μmol/L | 30.3168 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.542 | 130629.5318 | 289497.6461 | 59.9307 | 38.1
98913 | 2021-04-19 16:40 | 24.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.5687 | μmol/L | 30.3168 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.57 | 130781.7372 | 289488.7298 | 59.9307 | 38.1
98923 | 2021-04-19 16:41 | 24.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.4955 | μmol/L | 30.323 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.573 | 130838.3137 | 289490.778 | 59.9307 | 38.1
98933 | 2021-04-19 16:41 | 24.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.4997 | μmol/L | 30.3107 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.577 | 130893.9018 | 289494.2313 | 59.9307 | 38.1
98943 | 2021-04-19 16:41 | 25.0046 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.2199 | μmol/L | 30.2985 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.601 | 131012.8691 | 289498.9011 | 59.9307 | 38.1
98953 | 2021-04-19 16:42 | 25.3381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.0582 | μmol/L | 30.2739 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.621 | 131141.6252 | 289509.0925 | 59.9307 | 38.1
98963 | 2021-04-19 16:42 | 25.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.9308 | μmol/L | 30.2739 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.63 | 131217.0368 | 289503.8182 | 59.9307 | 38.1
98973 | 2021-04-19 16:42 | 26.0047 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.5974 | μmol/L | 30.2985 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.645 | 131304.9094 | 289512.3785 | 59.9307 | 38.1
98983 | 2021-04-19 16:43 | 26.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.3499 | μmol/L | 30.2801 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.669 | 131454.7998 | 289489.2802 | 59.9307 | 38.1
98993 | 2021-04-19 16:43 | 26.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.3045 | μmol/L | 30.2065 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.698 | 131662.1796 | 289490.3241 | 59.9307 | 38.1
99003 | 2021-04-19 16:43 | 27.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.6754 | μmol/L | 30.2801 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.717 | 131775.3183 | 289504.6107 | 59.9307 | 38.1
99013 | 2021-04-19 16:44 | 27.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.6019 | μmol/L | 30.2494 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.733 | 131861.9045 | 289526.0402 | 59.9307 | 38.1
99023 | 2021-04-19 16:44 | 27.671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4801 | μmol/L | 30.2372 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.746 | 131953.802 | 289512.3063 | 59.9307 | 38.1
99033 | 2021-04-19 16:44 | 28.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.3555 | μmol/L | 30.2739 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.742 | 131911.5955 | 289501.0016 | 59.9307 | 38.1
99043 | 2021-04-19 16:45 | 28.3378 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.2856 | μmol/L | 30.2739 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.747 | 131966.472 | 289515.5635 | 59.9307 | 38.1
99053 | 2021-04-19 16:45 | 28.671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.0343 | μmol/L | 30.2739 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.765 | 132060.6721 | 289518.7142 | 59.9307 | 38.1
99063 | 2021-04-19 16:45 | 29.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.7995 | μmol/L | 30.2678 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.784 | 132175.1424 | 289506.5208 | 59.9307 | 38.1
99073 | 2021-04-19 16:46 | 29.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.6818 | μmol/L | 30.2862 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.786 | 132196.2081 | 289504.497 | 59.9307 | 38.1
99083 | 2021-04-19 16:46 | 29.6712 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.5865 | μmol/L | 30.2801 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.795 | 132252.0016 | 289500.1052 | 59.9307 | 38.1
99093 | 2021-04-19 16:46 | 30.0047 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.422 | μmol/L | 30.2739 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.809 | 132360.5779 | 289509.5382 | 59.9307 | 38.1
99103 | 2021-04-19 16:47 | 30.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.3568 | μmol/L | 30.2617 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.818 | 132414.6514 | 289505.8485 | 59.9307 | 38.1
99113 | 2021-04-19 16:47 | 30.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.167 | μmol/L | 30.2494 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.836 | 132531.3289 | 289495.1587 | 59.9307 | 38.1
99123 | 2021-04-19 16:47 | 31.0044 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.102 | μmol/L | 30.2372 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.845 | 132592.2664 | 289505.8066 | 59.9307 | 38.1
99133 | 2021-04-19 16:48 | 31.3382 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.8732 | μmol/L | 30.2188 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.868 | 132754.1711 | 289504.5635 | 59.9307 | 38.1
99143 | 2021-04-19 16:48 | 31.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.6458 | μmol/L | 30.2372 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.878 | 132807.4272 | 289504.3657 | 59.9307 | 38.1
99153 | 2021-04-19 16:48 | 32.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.5673 | μmol/L | 30.2249 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.888 | 132886.9798 | 289496.5538 | 59.9307 | 38.1
99163 | 2021-04-19 16:49 | 32.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.1593 | μmol/L | 30.2494 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.909 | 133022.4011 | 289506.0898 | 59.9307 | 38.1
99173 | 2021-04-19 16:49 | 32.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.079 | μmol/L | 30.2433 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.917 | 133047.421 | 289514.0808 | 59.9307 | 38.1
99183 | 2021-04-19 16:49 | 33.0046 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.1087 | μmol/L | 30.2372 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.917 | 133052.7935 | 289497.582 | 59.9307 | 38.1
99193 | 2021-04-19 16:50 | 33.3378 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.1246 | μmol/L | 30.2311 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.918 | 133069.4239 | 289495.5487 | 59.9307 | 38.1
99203 | 2021-04-19 16:50 | 33.6713 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.1817 | μmol/L | 30.2249 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.916 | 133044.0736 | 289504.2573 | 59.9307 | 38.1
99213 | 2021-04-19 16:50 | 34.0049 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.2346 | μmol/L | 30.2311 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.91 | 132999.2662 | 289508.7291 | 59.9307 | 38.1
99223 | 2021-04-19 16:51 | 34.3378 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.1267 | μmol/L | 30.2249 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.92 | 133088.2417 | 289517.1984 | 59.9307 | 38.1
99233 | 2021-04-19 16:51 | 34.6715 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.907 | μmol/L | 30.2249 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.936 | 133183.0835 | 289521.9991 | 59.9307 | 38.1
99243 | 2021-04-19 16:51 | 35.0044 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.8449 | μmol/L | 30.2065 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.947 | 133257.4436 | 289506.5001 | 59.9307 | 38.1
99253 | 2021-04-19 16:52 | 35.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.0469 | μmol/L | 30.1391 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.956 | 133317.5885 | 289518.021 | 59.9307 | 38.1