## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
98194 | 2021-04-19 16:16 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.8526 | μmol/L | 30.7421 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.193 | 92557.735 | 209731.8528 | 27.3 | 43.4
98204 | 2021-04-19 16:17 | 0.33075 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.5612 | μmol/L | 30.5949 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.259 | 92838.4158 | 209728.5355 | 27.3 | 43.4
98214 | 2021-04-19 16:17 | 0.66359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.3487 | μmol/L | 30.6378 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.309 | 93069.1862 | 209726.7182 | 27.3 | 43.4
98224 | 2021-04-19 16:17 | 0.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.3843 | μmol/L | 30.6869 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.398 | 93469.005 | 209733.8775 | 27.3 | 43.4
98234 | 2021-04-19 16:18 | 1.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.8984 | μmol/L | 30.7298 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.519 | 94044.9907 | 209735.8004 | 27.3 | 43.4
98244 | 2021-04-19 16:18 | 1.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.6555 | μmol/L | 30.6501 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.56 | 94243.3192 | 209732.8303 | 27.3 | 43.4
98254 | 2021-04-19 16:18 | 1.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.6823 | μmol/L | 30.5765 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.584 | 94350.0052 | 209744.4537 | 27.3 | 43.4
98264 | 2021-04-19 16:19 | 2.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.9617 | μmol/L | 30.6194 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.609 | 94443.8835 | 209736.0292 | 27.3 | 43.4
98274 | 2021-04-19 16:19 | 2.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.2959 | μmol/L | 30.6194 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.646 | 94613.8583 | 209742.8471 | 27.3 | 43.4
98284 | 2021-04-19 16:19 | 2.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.8877 | μmol/L | 30.6317 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.664 | 94703.8539 | 209748.9834 | 27.3 | 43.4
98294 | 2021-04-19 16:20 | 3.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.2127 | μmol/L | 30.644 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.698 | 94839.0804 | 209740.8748 | 27.3 | 43.4
98304 | 2021-04-19 16:20 | 3.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.3883 | μmol/L | 30.6133 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.755 | 95128.071 | 209755.2437 | 27.3 | 43.4
98314 | 2021-04-19 16:20 | 3.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.4662 | μmol/L | 30.6194 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.805 | 95367.3916 | 209751.7313 | 27.3 | 43.4
98324 | 2021-04-19 16:21 | 4.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.6875 | μmol/L | 30.5949 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.801 | 95338.5562 | 209751.4604 | 27.3 | 43.4
98334 | 2021-04-19 16:21 | 4.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.7653 | μmol/L | 30.5765 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.803 | 95348.7864 | 209756.9603 | 27.3 | 43.4
98344 | 2021-04-19 16:21 | 4.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.4549 | μmol/L | 30.5581 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.827 | 95439.0899 | 209757.2579 | 27.3 | 43.4
98354 | 2021-04-19 16:22 | 5.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.2083 | μmol/L | 30.5581 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.841 | 95513.6403 | 209764.1761 | 27.3 | 43.4
98364 | 2021-04-19 16:22 | 5.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.904 | μmol/L | 30.5275 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.869 | 95623.6554 | 209769.0215 | 27.3 | 43.4
98374 | 2021-04-19 16:22 | 5.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.453 | μmol/L | 30.5152 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.899 | 95784.5385 | 209776.5655 | 27.3 | 43.4
98384 | 2021-04-19 16:23 | 6.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.082 | μmol/L | 30.503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.924 | 95915.5747 | 209786.6717 | 27.3 | 43.4
98394 | 2021-04-19 16:23 | 6.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.7045 | μmol/L | 30.5091 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.944 | 96029.9913 | 209785.9713 | 27.3 | 43.4
98404 | 2021-04-19 16:23 | 6.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.98 | μmol/L | 30.4907 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.05 | 96470.282 | 209782.077 | 27.3 | 43.4
98414 | 2021-04-19 16:24 | 7.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.44 | μmol/L | 30.4662 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.09 | 96685.915 | 209784.0719 | 27.3 | 43.4
98424 | 2021-04-19 16:24 | 7.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.1229 | μmol/L | 30.4662 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.108 | 96802.3745 | 209785.2999 | 27.3 | 43.4
98434 | 2021-04-19 16:24 | 7.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.53 | μmol/L | 30.4539 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.147 | 97018.8115 | 209785.2524 | 27.3 | 43.4
98444 | 2021-04-19 16:25 | 8.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.7799 | μmol/L | 30.4171 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.204 | 97241.4836 | 209780.1383 | 27.3 | 43.4
98454 | 2021-04-19 16:25 | 8.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.1238 | μmol/L | 30.3865 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.195 | 97234.0256 | 209781.9228 | 27.3 | 43.4
98464 | 2021-04-19 16:25 | 8.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.4075 | μmol/L | 30.3558 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.248 | 97479.7111 | 209787.3404 | 27.3 | 43.4
98474 | 2021-04-19 16:26 | 9.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.3562 | μmol/L | 30.3374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.257 | 97510.557 | 209783.8834 | 27.3 | 43.4
98484 | 2021-04-19 16:26 | 9.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.7845 | μmol/L | 30.3252 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.236 | 97443.2703 | 209786.2759 | 27.3 | 43.4
98494 | 2021-04-19 16:26 | 9.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.234 | μmol/L | 30.362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.315 | 97781.0568 | 209778.9218 | 27.3 | 43.4
98504 | 2021-04-19 16:27 | 10.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.7377 | μmol/L | 30.3436 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.292 | 97691.8074 | 209796.0578 | 27.3 | 43.4
98514 | 2021-04-19 16:27 | 10.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.9427 | μmol/L | 30.3374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.341 | 97932.8963 | 209772.9427 | 27.3 | 43.4
98524 | 2021-04-19 16:27 | 10.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.8846 | μmol/L | 30.3558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.338 | 97925.4815 | 209789.9955 | 27.3 | 43.4
98534 | 2021-04-19 16:28 | 11.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.1323 | μmol/L | 30.3252 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.334 | 97904.4244 | 209796.2557 | 27.3 | 43.4
98544 | 2021-04-19 16:28 | 11.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.7357 | μmol/L | 30.3129 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.362 | 98032.7645 | 209793.3399 | 27.3 | 43.4
98554 | 2021-04-19 16:28 | 11.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.9733 | μmol/L | 30.2823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.419 | 98304.7373 | 209800.4715 | 27.3 | 43.4
98564 | 2021-04-19 16:29 | 12.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.3696 | μmol/L | 30.1535 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.44 | 98408.7877 | 209789.1928 | 27.3 | 43.4
98574 | 2021-04-19 16:29 | 12.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.0228 | μmol/L | 30.1474 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.463 | 98501.504 | 209791.2397 | 27.3 | 43.4
98584 | 2021-04-19 16:29 | 12.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.7203 | μmol/L | 30.2332 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.451 | 98467.7466 | 209803.7114 | 27.3 | 43.4
98594 | 2021-04-19 16:30 | 13.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.7449 | μmol/L | 30.2148 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.456 | 98507.9166 | 209796.1617 | 27.3 | 43.4
98604 | 2021-04-19 16:30 | 13.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.5266 | μmol/L | 30.221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.467 | 98568.6464 | 209790.5761 | 27.3 | 43.4
98614 | 2021-04-19 16:30 | 13.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.2974 | μmol/L | 30.2148 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.483 | 98640.4442 | 209804.0388 | 27.3 | 43.4
98624 | 2021-04-19 16:31 | 14.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.5783 | μmol/L | 30.0616 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.52 | 98778.2178 | 209803.5836 | 27.3 | 43.4
98634 | 2021-04-19 16:31 | 14.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.6855 | μmol/L | 30.0432 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.52 | 98787.5659 | 209794.249 | 27.3 | 43.4
98644 | 2021-04-19 16:31 | 14.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.2648 | μmol/L | 30.0984 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.526 | 98831.4259 | 209801.2952 | 27.3 | 43.4
98654 | 2021-04-19 16:32 | 15.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.6146 | μmol/L | 30.1903 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.533 | 98851.0753 | 209805.9966 | 27.3 | 43.4
98664 | 2021-04-19 16:32 | 15.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.4772 | μmol/L | 30.1658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.55 | 98930.2068 | 209807.1529 | 27.3 | 43.4
98674 | 2021-04-19 16:32 | 15.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.4772 | μmol/L | 30.1658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.55 | 98935.942 | 209797.9656 | 27.3 | 43.4
98684 | 2021-04-19 16:33 | 16.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.1046 | μmol/L | 30.1535 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.577 | 99056.2011 | 209799.2978 | 27.3 | 43.4
98694 | 2021-04-19 16:33 | 16.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.1153 | μmol/L | 30.129 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.585 | 99122.3017 | 209801.1887 | 27.3 | 43.4
98704 | 2021-04-19 16:33 | 16.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.6022 | μmol/L | 30.1413 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.612 | 99210.7799 | 209787.775 | 27.3 | 43.4
98714 | 2021-04-19 16:34 | 17.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.5886 | μmol/L | 30.1351 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.615 | 99238.1554 | 209800.8232 | 27.3 | 43.4
98724 | 2021-04-19 16:34 | 17.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.1207 | μmol/L | 30.1597 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.635 | 99336.9526 | 209800.6 | 27.3 | 43.4
98734 | 2021-04-19 16:34 | 17.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.9876 | μmol/L | 30.129 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.654 | 99444.7554 | 209806.2463 | 27.3 | 43.4
98744 | 2021-04-19 16:35 | 18.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.5648 | μmol/L | 30.129 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.68 | 99541.4414 | 209794.3494 | 27.3 | 43.4
98754 | 2021-04-19 16:35 | 18.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.8682 | μmol/L | 30.1045 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.67 | 99539.92 | 209803.89 | 27.3 | 43.4
98764 | 2021-04-19 16:35 | 18.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.3489 | μmol/L | 30.1229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.634 | 99417.3288 | 209802.7491 | 27.3 | 43.4
98774 | 2021-04-19 16:36 | 19.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.3735 | μmol/L | 30.1413 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.626 | 99391.9034 | 209794.143 | 27.3 | 43.4
98784 | 2021-04-19 16:36 | 19.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.4413 | μmol/L | 30.0984 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.637 | 99423.0919 | 209800.7173 | 27.3 | 43.4
98794 | 2021-04-19 16:36 | 19.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.8953 | μmol/L | 30.1167 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.664 | 99532.0905 | 209803.7545 | 27.3 | 43.4
98804 | 2021-04-19 16:37 | 20.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.1864 | μmol/L | 30.1413 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.699 | 99682.3418 | 209794.2395 | 27.3 | 43.4
98814 | 2021-04-19 16:37 | 20.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.9601 | μmol/L | 30.1045 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.726 | 99830.0765 | 209806.7118 | 27.3 | 43.4
98824 | 2021-04-19 16:37 | 20.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.1434 | μmol/L | 30.0922 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.781 | 100092.2227 | 209812.9692 | 27.3 | 43.4
98834 | 2021-04-19 16:38 | 21.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.6995 | μmol/L | 30.08 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.813 | 100251.5846 | 209818.4992 | 27.3 | 43.4
98844 | 2021-04-19 16:38 | 21.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.5698 | μmol/L | 30.0125 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.845 | 100406.0869 | 209817.0211 | 27.3 | 43.4
98854 | 2021-04-19 16:38 | 21.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.9829 | μmol/L | 30.0738 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.86 | 100484.6914 | 209809.2946 | 27.3 | 43.4
98864 | 2021-04-19 16:39 | 22.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.3164 | μmol/L | 30.1045 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.891 | 100601.6024 | 209818.1138 | 27.3 | 43.4
98874 | 2021-04-19 16:39 | 22.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.9964 | μmol/L | 30.1106 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.909 | 100702.745 | 209822.1473 | 27.3 | 43.4
98884 | 2021-04-19 16:39 | 22.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.2614 | μmol/L | 30.0861 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.901 | 100689.7978 | 209827.9869 | 27.3 | 43.4
98894 | 2021-04-19 16:40 | 23.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.1933 | μmol/L | 30.0616 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.914 | 100741.549 | 209826.6451 | 27.3 | 43.4
98904 | 2021-04-19 16:40 | 23.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.6494 | μmol/L | 30.0738 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.944 | 100929.9904 | 209826.0794 | 27.3 | 43.4
98914 | 2021-04-19 16:40 | 23.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.3538 | μmol/L | 30.0984 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.954 | 100975.0477 | 209832.252 | 27.3 | 43.4
98924 | 2021-04-19 16:41 | 24.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.9944 | μmol/L | 30.0922 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.979 | 101081.6916 | 209829.4245 | 27.3 | 43.4
98934 | 2021-04-19 16:41 | 24.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.1529 | μmol/L | 30.08 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.037 | 101340.0592 | 209823.1184 | 27.3 | 43.4
98944 | 2021-04-19 16:41 | 24.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.6017 | μmol/L | 30.0248 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.028 | 101338.355 | 209828.6335 | 27.3 | 43.4
98954 | 2021-04-19 16:42 | 25.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.6601 | μmol/L | 30.0677 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.009 | 101282.1296 | 209828.2551 | 27.3 | 43.4
98964 | 2021-04-19 16:42 | 25.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.4363 | μmol/L | 30.0432 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.032 | 101369.7688 | 209839.7326 | 27.3 | 43.4
98974 | 2021-04-19 16:42 | 25.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.8803 | μmol/L | 30.0616 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.061 | 101480.3781 | 209825.4365 | 27.3 | 43.4
98984 | 2021-04-19 16:43 | 26.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.0369 | μmol/L | 30.0677 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.113 | 101706.6755 | 209827.646 | 27.3 | 43.4
98994 | 2021-04-19 16:43 | 26.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.1077 | μmol/L | 30.0493 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.115 | 101698.6933 | 209827.5785 | 27.3 | 43.4
99004 | 2021-04-19 16:43 | 26.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.0883 | μmol/L | 30.1229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.09 | 101615.7765 | 209835.971 | 27.3 | 43.4
99014 | 2021-04-19 16:44 | 27.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.2767 | μmol/L | 30.0861 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.091 | 101636.7939 | 209834.551 | 27.3 | 43.4
99024 | 2021-04-19 16:44 | 27.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.0809 | μmol/L | 30.0003 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.07 | 101609.7814 | 209826.9272 | 27.3 | 43.4
99034 | 2021-04-19 16:44 | 27.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.5275 | μmol/L | 30.0493 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.088 | 101669.854 | 209838.6558 | 27.3 | 43.4
99044 | 2021-04-19 16:45 | 28.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.4077 | μmol/L | 30.0064 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.111 | 101758.022 | 209836.4351 | 27.3 | 43.4
99054 | 2021-04-19 16:45 | 28.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.4515 | μmol/L | 30.0125 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.106 | 101755.915 | 209829.5684 | 27.3 | 43.4
99064 | 2021-04-19 16:45 | 28.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.7984 | μmol/L | 30.08 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.124 | 101806.8531 | 209838.6655 | 27.3 | 43.4
99074 | 2021-04-19 16:46 | 29.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.9651 | μmol/L | 30.0554 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.122 | 101823.2287 | 209844.7825 | 27.3 | 43.4
99084 | 2021-04-19 16:46 | 29.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.9981 | μmol/L | 30.0187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.133 | 101874.7023 | 209841.6533 | 27.3 | 43.4
99094 | 2021-04-19 16:46 | 29.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.7192 | μmol/L | 30.0187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.151 | 101952.8449 | 209843.4423 | 27.3 | 43.4
99104 | 2021-04-19 16:47 | 30.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.1222 | μmol/L | 30.0187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.125 | 101865.4609 | 209854.8579 | 27.3 | 43.4
99114 | 2021-04-19 16:47 | 30.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.877 | μmol/L | 30.0125 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.143 | 101966.966 | 209850.1056 | 27.3 | 43.4
99124 | 2021-04-19 16:47 | 30.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.5046 | μmol/L | 29.9819 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.178 | 102153.4472 | 209845.3264 | 27.3 | 43.4
99134 | 2021-04-19 16:48 | 31.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.0189 | μmol/L | 29.9328 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.227 | 102403.0469 | 209840.1947 | 27.3 | 43.4
99144 | 2021-04-19 16:48 | 31.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.7348 | μmol/L | 30.0125 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.217 | 102367.8522 | 209842.5433 | 27.3 | 43.4
99154 | 2021-04-19 16:48 | 31.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.8366 | μmol/L | 30.0248 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.206 | 102311.9211 | 209847.596 | 27.3 | 43.4
99164 | 2021-04-19 16:49 | 32.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.0638 | μmol/L | 30.0003 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.2 | 102272.4421 | 209851.8951 | 27.3 | 43.4
99174 | 2021-04-19 16:49 | 32.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.058 | μmol/L | 30.0125 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.196 | 102256.4622 | 209858.0857 | 27.3 | 43.4
99184 | 2021-04-19 16:49 | 32.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.5563 | μmol/L | 30.0003 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.233 | 102420.0955 | 209858.2953 | 27.3 | 43.4
99194 | 2021-04-19 16:50 | 33.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.6046 | μmol/L | 30.0064 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.293 | 102667.4117 | 209853.1866 | 27.3 | 43.4
99204 | 2021-04-19 16:50 | 33.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.7902 | μmol/L | 29.9696 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.294 | 102694.2101 | 209858.2003 | 27.3 | 43.4
99214 | 2021-04-19 16:50 | 33.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.7567 | μmol/L | 29.9758 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.294 | 102709.5049 | 209863.2586 | 27.3 | 43.4
99224 | 2021-04-19 16:51 | 34.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.8695 | μmol/L | 29.9635 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.291 | 102734.9594 | 209869.0835 | 27.3 | 43.4
99234 | 2021-04-19 16:51 | 34.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.0859 | μmol/L | 29.9267 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.29 | 102732.9201 | 209872.2803 | 27.3 | 43.4
99244 | 2021-04-19 16:51 | 34.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.869 | μmol/L | 29.9328 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.302 | 102795.5895 | 209860.2605 | 27.3 | 43.4
99254 | 2021-04-19 16:52 | 35.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.2535 | μmol/L | 29.9451 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.338 | 102950.3205 | 209861.5921 | 27.3 | 43.4