## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 11:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
91168 | 2021-04-19 10:39 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.934 | μmol/L | 30.0562 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.951 | 97101.2658 | 294683.8535 | 30.45 | 114.2
91178 | 2021-04-19 10:39 | 0.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8102 | μmol/L | 30.0747 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.952 | 97083.8677 | 294668.6747 | 30.45 | 114.2
91188 | 2021-04-19 10:39 | 0.66052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.5825 | μmol/L | 30.0994 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.957 | 97092.6714 | 294634.4308 | 30.45 | 114.2
91198 | 2021-04-19 10:40 | 0.99312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4944 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.958 | 97082.776 | 294601.2532 | 30.45 | 114.2
91208 | 2021-04-19 10:40 | 1.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.3551 | μmol/L | 30.1241 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.962 | 97070.5623 | 294591.668 | 30.45 | 114.2
91218 | 2021-04-19 10:40 | 1.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.3578 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.966 | 97049.8325 | 294568.4002 | 30.45 | 114.2
91228 | 2021-04-19 10:41 | 1.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.3578 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.966 | 97050.2866 | 294533.274 | 30.45 | 114.2
91238 | 2021-04-19 10:41 | 2.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.0822 | μmol/L | 30.1241 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.978 | 97044.2077 | 294498.4987 | 30.45 | 114.2
91248 | 2021-04-19 10:41 | 2.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2042 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.975 | 97027.6156 | 294476.2369 | 30.45 | 114.2
91258 | 2021-04-19 10:42 | 2.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1899 | μmol/L | 30.0994 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.98 | 97012.282 | 294461.3509 | 30.45 | 114.2
91268 | 2021-04-19 10:42 | 3.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1217 | μmol/L | 30.0994 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.984 | 96998.3958 | 294423.5252 | 30.45 | 114.2
91278 | 2021-04-19 10:42 | 3.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.106 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.987 | 97014.2949 | 294386.4942 | 30.45 | 114.2
91288 | 2021-04-19 10:43 | 3.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1128 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.997 | 97040.3369 | 294369.2469 | 30.45 | 114.2
91298 | 2021-04-19 10:43 | 4.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4067 | μmol/L | 30.0439 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.986 | 96997.7459 | 294345.181 | 30.45 | 114.2
91308 | 2021-04-19 10:43 | 4.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2598 | μmol/L | 30.0131 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.005 | 97055.6172 | 294323.5476 | 30.45 | 114.2
91318 | 2021-04-19 10:44 | 4.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.202 | μmol/L | 30.0439 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.998 | 96978.3908 | 294297.6756 | 30.45 | 114.2
91328 | 2021-04-19 10:44 | 5.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2231 | μmol/L | 30.0254 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.003 | 97016.6555 | 294260.7487 | 30.45 | 114.2
91338 | 2021-04-19 10:44 | 5.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.324 | μmol/L | 30.0316 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.995 | 96963.0608 | 294250.1778 | 30.45 | 114.2
91348 | 2021-04-19 10:45 | 5.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.3923 | μmol/L | 30.0316 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.991 | 96921.8776 | 294217.3389 | 30.45 | 114.2
91358 | 2021-04-19 10:45 | 6.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.3254 | μmol/L | 30.0254 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.997 | 96925.0267 | 294207.9991 | 30.45 | 114.2
91368 | 2021-04-19 10:45 | 6.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.7596 | μmol/L | 30.0439 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.024 | 97033.207 | 294198.4953 | 30.45 | 114.2
91378 | 2021-04-19 10:46 | 6.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1078 | μmol/L | 30.0069 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.016 | 97011.9454 | 294160.4721 | 30.45 | 114.2
91388 | 2021-04-19 10:46 | 7.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.9506 | μmol/L | 30.0254 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.019 | 96980.3786 | 294129.6295 | 30.45 | 114.2
91398 | 2021-04-19 10:46 | 7.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.6549 | μmol/L | 30.0562 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.026 | 97011.931 | 294125.7299 | 30.45 | 114.2
91408 | 2021-04-19 10:47 | 7.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4031 | μmol/L | 30.0439 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.045 | 97077.8198 | 294100.4192 | 30.45 | 114.2
91418 | 2021-04-19 10:47 | 8.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.6501 | μmol/L | 30.0008 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.045 | 97048.6687 | 294064.9695 | 30.45 | 114.2
91428 | 2021-04-19 10:47 | 8.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4255 | μmol/L | 30.0193 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.052 | 97067.8972 | 294048.7221 | 30.45 | 114.2
91438 | 2021-04-19 10:48 | 8.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.3019 | μmol/L | 29.896 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.042 | 97038.9653 | 294020.7999 | 30.45 | 114.2
91448 | 2021-04-19 10:48 | 9.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.9 | μmol/L | 29.9453 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.049 | 97046.6487 | 294004.5649 | 30.45 | 114.2
91458 | 2021-04-19 10:48 | 9.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.849 | μmol/L | 29.9453 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.052 | 97069.0486 | 293985.8519 | 30.45 | 114.2
91468 | 2021-04-19 10:49 | 9.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.3096 | μmol/L | 30.0069 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.063 | 97092.2003 | 293963.1817 | 30.45 | 114.2
91478 | 2021-04-19 10:49 | 10.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.7275 | μmol/L | 29.9576 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.055 | 97053.9543 | 293948.2603 | 30.45 | 114.2
91488 | 2021-04-19 10:49 | 10.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.3252 | μmol/L | 30.0131 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.06 | 97053.2911 | 293916.6636 | 30.45 | 114.2
91498 | 2021-04-19 10:50 | 10.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.513 | μmol/L | 30.0069 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.051 | 96994.2799 | 293899.9319 | 30.45 | 114.2
91508 | 2021-04-19 10:50 | 11.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4425 | μmol/L | 30.0193 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.051 | 96980.3787 | 293877.0403 | 30.45 | 114.2
91518 | 2021-04-19 10:50 | 11.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.7729 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.076 | 97096.3432 | 293856.8944 | 30.45 | 114.2
91528 | 2021-04-19 10:51 | 11.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4215 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.101 | 97170.2554 | 293831.8572 | 30.45 | 114.2
91538 | 2021-04-19 10:51 | 12.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.8347 | μmol/L | 30.0131 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.089 | 97127.0502 | 293813.8508 | 30.45 | 114.2
91548 | 2021-04-19 10:51 | 12.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4341 | μmol/L | 30.0686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.094 | 97149.0925 | 293800.3426 | 30.45 | 114.2
91558 | 2021-04-19 10:52 | 12.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.8222 | μmol/L | 30.0686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.071 | 97041.9777 | 293772.8452 | 30.45 | 114.2
91568 | 2021-04-19 10:52 | 13.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.0078 | μmol/L | 29.9946 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.085 | 97083.384 | 293749.5506 | 30.45 | 114.2
91578 | 2021-04-19 10:52 | 13.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.27 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.11 | 97189.7092 | 293728.6185 | 30.45 | 114.2
91588 | 2021-04-19 10:53 | 13.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.3935 | μmol/L | 30.0254 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.111 | 97166.1772 | 293716.3327 | 30.45 | 114.2
91598 | 2021-04-19 10:53 | 14.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.5353 | μmol/L | 29.9946 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.113 | 97190.5257 | 293684.6218 | 30.45 | 114.2
91608 | 2021-04-19 10:53 | 14.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4496 | μmol/L | 30.0008 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.116 | 97176.9036 | 293682.6864 | 30.45 | 114.2
91618 | 2021-04-19 10:54 | 14.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.9813 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.123 | 97192.3246 | 293654.8107 | 30.45 | 114.2
91628 | 2021-04-19 10:54 | 15.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.9631 | μmol/L | 30.0686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.122 | 97185.358 | 293625.2585 | 30.45 | 114.2
91638 | 2021-04-19 10:54 | 15.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7828 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.139 | 97268.37 | 293604.4495 | 30.45 | 114.2
91648 | 2021-04-19 10:55 | 15.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2868 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.109 | 97119.3418 | 293602.094 | 30.45 | 114.2
91658 | 2021-04-19 10:55 | 16.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.9741 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.113 | 97145.9488 | 293577.9343 | 30.45 | 114.2
91668 | 2021-04-19 10:55 | 16.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.6691 | μmol/L | 30.1056 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.127 | 97181.593 | 293545.3417 | 30.45 | 114.2
91678 | 2021-04-19 10:56 | 16.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.6524 | μmol/L | 30.1056 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.128 | 97165.3153 | 293525.5497 | 30.45 | 114.2
91688 | 2021-04-19 10:56 | 17.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.0485 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.119 | 97150.9239 | 293511.362 | 30.45 | 114.2
91698 | 2021-04-19 10:56 | 17.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.9301 | μmol/L | 30.1179 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.167 | 97306.9671 | 293486.7706 | 30.45 | 114.2
91708 | 2021-04-19 10:57 | 17.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6543 | μmol/L | 30.1549 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.171 | 97312.0905 | 293460.9474 | 30.45 | 114.2
91718 | 2021-04-19 10:57 | 18.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.0685 | μmol/L | 30.1672 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.142 | 97232.6857 | 293457.2269 | 30.45 | 114.2
91728 | 2021-04-19 10:57 | 18.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.252 | μmol/L | 30.0994 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.154 | 97254.0834 | 293430.1486 | 30.45 | 114.2
91738 | 2021-04-19 10:58 | 18.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1866 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.16 | 97255.7002 | 293413.8244 | 30.45 | 114.2
91748 | 2021-04-19 10:58 | 19.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5741 | μmol/L | 30.1425 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.18 | 97320.536 | 293385.88 | 30.45 | 114.2
91758 | 2021-04-19 10:58 | 19.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5937 | μmol/L | 30.1302 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.183 | 97336.6856 | 293376.8952 | 30.45 | 114.2
91768 | 2021-04-19 10:59 | 19.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.268 | μmol/L | 30.0316 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.176 | 97317.2603 | 293364.5472 | 30.45 | 114.2
91778 | 2021-04-19 10:59 | 20.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.7163 | μmol/L | 30.1056 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.184 | 97346.2398 | 293363.8087 | 30.45 | 114.2
91788 | 2021-04-19 10:59 | 20.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3879 | μmol/L | 30.0871 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.21 | 97437.5931 | 293323.1709 | 30.45 | 114.2
91798 | 2021-04-19 11:00 | 20.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3623 | μmol/L | 30.1241 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.199 | 97393.926 | 293317.6774 | 30.45 | 114.2
91808 | 2021-04-19 11:00 | 21.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.8071 | μmol/L | 30.0747 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.189 | 97382.5697 | 293293.6418 | 30.45 | 114.2
91818 | 2021-04-19 11:00 | 21.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.911 | μmol/L | 30.1364 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.222 | 97464.125 | 293267.5701 | 30.45 | 114.2
91828 | 2021-04-19 11:01 | 21.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6131 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.209 | 97443.9434 | 293254.1448 | 30.45 | 114.2
91838 | 2021-04-19 11:01 | 22.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.9232 | μmol/L | 30.0871 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.238 | 97549.3969 | 293231.863 | 30.45 | 114.2
91848 | 2021-04-19 11:01 | 22.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.875 | μmol/L | 30.0809 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.243 | 97557.8644 | 293224.9544 | 30.45 | 114.2
91858 | 2021-04-19 11:02 | 22.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0513 | μmol/L | 30.1056 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.224 | 97484.6661 | 293214.2744 | 30.45 | 114.2
91868 | 2021-04-19 11:02 | 23.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.8628 | μmol/L | 30.1302 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.227 | 97481.6139 | 293180.7457 | 30.45 | 114.2
91878 | 2021-04-19 11:02 | 23.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2463 | μmol/L | 30.1487 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.258 | 97598.3282 | 293167.8513 | 30.45 | 114.2
91888 | 2021-04-19 11:03 | 23.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2148 | μmol/L | 30.1425 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.262 | 97601.5142 | 293164.5394 | 30.45 | 114.2
91898 | 2021-04-19 11:03 | 24.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0468 | μmol/L | 30.1549 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.268 | 97633.0172 | 293136.1188 | 30.45 | 114.2
91908 | 2021-04-19 11:03 | 24.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1896 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.274 | 97645.8108 | 293113.331 | 30.45 | 114.2
91918 | 2021-04-19 11:04 | 24.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1071 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.279 | 97661.4385 | 293099.8962 | 30.45 | 114.2
91928 | 2021-04-19 11:04 | 25.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8342 | μmol/L | 30.1487 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.283 | 97678.2326 | 293076.5501 | 30.45 | 114.2
91938 | 2021-04-19 11:04 | 25.6604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8358 | μmol/L | 30.1425 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.285 | 97686.6836 | 293067.7089 | 30.45 | 114.2
91948 | 2021-04-19 11:05 | 25.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0577 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.282 | 97673.2484 | 293044.446 | 30.45 | 114.2
91958 | 2021-04-19 11:05 | 26.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.766 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.306 | 97773.1447 | 293026.6869 | 30.45 | 114.2
91968 | 2021-04-19 11:05 | 26.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9321 | μmol/L | 30.0871 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.298 | 97724.4551 | 293013.2801 | 30.45 | 114.2
91978 | 2021-04-19 11:06 | 26.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0459 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.289 | 97714.9825 | 292993.9499 | 30.45 | 114.2
91988 | 2021-04-19 11:06 | 27.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.3264 | μmol/L | 30.1425 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.316 | 97785.3097 | 292976.1405 | 30.45 | 114.2
91998 | 2021-04-19 11:06 | 27.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.2212 | μmol/L | 30.1056 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.335 | 97856.6273 | 292969.1653 | 30.45 | 114.2
92008 | 2021-04-19 11:07 | 27.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.1704 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.336 | 97856.312 | 292931.1698 | 30.45 | 114.2
92018 | 2021-04-19 11:07 | 28.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.4422 | μmol/L | 30.0747 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.332 | 97851.4561 | 292936.5474 | 30.45 | 114.2
92028 | 2021-04-19 11:07 | 28.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.1604 | μmol/L | 30.0871 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.345 | 97876.9755 | 292897.9609 | 30.45 | 114.2
92038 | 2021-04-19 11:08 | 28.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.154 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.337 | 97868.1651 | 292898.0103 | 30.45 | 114.2
92048 | 2021-04-19 11:08 | 29.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0462 | μmol/L | 30.1487 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.331 | 97858.3206 | 292870.5284 | 30.45 | 114.2
92058 | 2021-04-19 11:08 | 29.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.3946 | μmol/L | 30.0686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.337 | 97874.2189 | 292866.8776 | 30.45 | 114.2
92068 | 2021-04-19 11:09 | 29.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.5655 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.373 | 97988.7263 | 292848.8775 | 30.45 | 114.2
92078 | 2021-04-19 11:09 | 30.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4954 | μmol/L | 30.1302 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.371 | 97985.6535 | 292833.7703 | 30.45 | 114.2
92088 | 2021-04-19 11:09 | 30.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.5492 | μmol/L | 30.1117 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.374 | 98013.9765 | 292813.6741 | 30.45 | 114.2
92098 | 2021-04-19 11:10 | 30.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4171 | μmol/L | 30.1179 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.38 | 97998.7012 | 292806.8048 | 30.45 | 114.2
92108 | 2021-04-19 11:10 | 31.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3275 | μmol/L | 30.0871 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.396 | 98072.6178 | 292800.8029 | 30.45 | 114.2
92118 | 2021-04-19 11:10 | 31.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4154 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.399 | 98091.2529 | 292796.4547 | 30.45 | 114.2
92128 | 2021-04-19 11:11 | 31.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4431 | μmol/L | 30.0809 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.391 | 98070.283 | 292765.0345 | 30.45 | 114.2
92138 | 2021-04-19 11:11 | 32.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4121 | μmol/L | 30.0747 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.395 | 98076.4461 | 292759.9655 | 30.45 | 114.2
92148 | 2021-04-19 11:11 | 32.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4984 | μmol/L | 30.0562 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.396 | 98088.6463 | 292747.1683 | 30.45 | 114.2
92158 | 2021-04-19 11:12 | 32.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.5927 | μmol/L | 30.0069 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.407 | 98121.7771 | 292736.7527 | 30.45 | 114.2
92168 | 2021-04-19 11:12 | 33.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4265 | μmol/L | 30.0193 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.413 | 98135.7224 | 292713.0498 | 30.45 | 114.2
92178 | 2021-04-19 11:12 | 33.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4559 | μmol/L | 30.0316 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.407 | 98130.7454 | 292696.4934 | 30.45 | 114.2
92188 | 2021-04-19 11:13 | 33.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.2296 | μmol/L | 30.0254 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.423 | 98166.0696 | 292673.4692 | 30.45 | 114.2