## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
98195 | 2021-04-19 16:16 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.6036 | μmol/L | 30.6192 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.893 | 88233.1653 | 285546.2193 | 28.7 | 67.6
98205 | 2021-04-19 16:17 | 0.33812 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.7621 | μmol/L | 30.5582 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.963 | 88584.9752 | 285553.2303 | 28.7 | 67.6
98215 | 2021-04-19 16:17 | 0.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.5301 | μmol/L | 30.5887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.026 | 88881.1203 | 285554.8312 | 28.7 | 67.6
98225 | 2021-04-19 16:17 | 1.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.6557 | μmol/L | 30.546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.093 | 89199.6849 | 285578.9623 | 28.7 | 67.6
98235 | 2021-04-19 16:18 | 1.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3923 | μmol/L | 30.607 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.149 | 89441.4912 | 285582.0762 | 28.7 | 67.6
98245 | 2021-04-19 16:18 | 1.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.6577 | μmol/L | 30.6192 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.189 | 89643.6333 | 285577.5655 | 28.7 | 67.6
98255 | 2021-04-19 16:18 | 2.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.8641 | μmol/L | 30.6192 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.238 | 89858.1883 | 285582.0871 | 28.7 | 67.6
98265 | 2021-04-19 16:19 | 2.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.3443 | μmol/L | 30.6131 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.272 | 90012.2716 | 285601.8312 | 28.7 | 67.6
98275 | 2021-04-19 16:19 | 2.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.0674 | μmol/L | 30.5826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.299 | 90138.1117 | 285601.5922 | 28.7 | 67.6
98285 | 2021-04-19 16:19 | 3.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.4461 | μmol/L | 30.607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.329 | 90257.6704 | 285614.7361 | 28.7 | 67.6
98295 | 2021-04-19 16:20 | 3.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.151 | μmol/L | 30.6253 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.341 | 90315.5633 | 285629.4748 | 28.7 | 67.6
98305 | 2021-04-19 16:20 | 3.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.091 | μmol/L | 30.607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.351 | 90386.1476 | 285623.2301 | 28.7 | 67.6
98315 | 2021-04-19 16:20 | 4.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.7624 | μmol/L | 30.6009 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.374 | 90486.6653 | 285640.4849 | 28.7 | 67.6
98325 | 2021-04-19 16:21 | 4.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.6816 | μmol/L | 30.5704 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.389 | 90549.4546 | 285641.7275 | 28.7 | 67.6
98335 | 2021-04-19 16:21 | 4.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.5576 | μmol/L | 30.5521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.403 | 90612.7638 | 285644.1765 | 28.7 | 67.6
98345 | 2021-04-19 16:21 | 5.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.4293 | μmol/L | 30.5521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.411 | 90644.9645 | 285639.2878 | 28.7 | 67.6
98355 | 2021-04-19 16:22 | 5.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.325 | μmol/L | 30.5521 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.418 | 90720.826 | 285643.5875 | 28.7 | 67.6
98365 | 2021-04-19 16:22 | 5.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.926 | μmol/L | 30.5154 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.455 | 90858.9281 | 285663.9681 | 28.7 | 67.6
98375 | 2021-04-19 16:22 | 6.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.6798 | μmol/L | 30.4788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.483 | 90985.6896 | 285662.1631 | 28.7 | 67.6
98385 | 2021-04-19 16:23 | 6.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.6031 | μmol/L | 30.4666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.492 | 91045.4318 | 285669.4934 | 28.7 | 67.6
98395 | 2021-04-19 16:23 | 6.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.0989 | μmol/L | 30.5093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.509 | 91123.9456 | 285670.3803 | 28.7 | 67.6
98405 | 2021-04-19 16:23 | 7.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.1571 | μmol/L | 30.4361 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.531 | 91218.0061 | 285680.8667 | 28.7 | 67.6
98415 | 2021-04-19 16:24 | 7.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7828 | μmol/L | 30.4727 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.542 | 91266.4204 | 285694.6683 | 28.7 | 67.6
98425 | 2021-04-19 16:24 | 7.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7228 | μmol/L | 30.491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.539 | 91272.3017 | 285684.3536 | 28.7 | 67.6
98435 | 2021-04-19 16:24 | 8.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7526 | μmol/L | 30.4361 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.556 | 91347.8867 | 285680.9881 | 28.7 | 67.6
98445 | 2021-04-19 16:25 | 8.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.8488 | μmol/L | 30.3689 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.573 | 91434.5346 | 285702.3741 | 28.7 | 67.6
98455 | 2021-04-19 16:25 | 8.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.6792 | μmol/L | 30.3506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.59 | 91524.9038 | 285689.587 | 28.7 | 67.6
98465 | 2021-04-19 16:25 | 9.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.3835 | μmol/L | 30.3628 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.605 | 91596.6996 | 285708.6047 | 28.7 | 67.6
98475 | 2021-04-19 16:26 | 9.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.191 | μmol/L | 30.3445 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.623 | 91672.5688 | 285690.4177 | 28.7 | 67.6
98485 | 2021-04-19 16:26 | 9.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.934 | μmol/L | 30.3018 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.654 | 91794.3268 | 285695.2071 | 28.7 | 67.6
98495 | 2021-04-19 16:26 | 10.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.4234 | μmol/L | 30.3323 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.676 | 91900.8931 | 285686.9977 | 28.7 | 67.6
98505 | 2021-04-19 16:27 | 10.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.1491 | μmol/L | 30.3628 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.683 | 91942.9259 | 285690.5927 | 28.7 | 67.6
98515 | 2021-04-19 16:27 | 10.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.8535 | μmol/L | 30.3567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.704 | 92020.2627 | 285711.571 | 28.7 | 67.6
98525 | 2021-04-19 16:27 | 11.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.5053 | μmol/L | 30.3751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.72 | 92111.4402 | 285717.8064 | 28.7 | 67.6
98535 | 2021-04-19 16:28 | 11.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.3371 | μmol/L | 30.3628 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.735 | 92162.9782 | 285735.5024 | 28.7 | 67.6
98545 | 2021-04-19 16:28 | 11.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.2142 | μmol/L | 30.3567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.745 | 92209.223 | 285710.9291 | 28.7 | 67.6
98555 | 2021-04-19 16:28 | 12.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.6104 | μmol/L | 30.2713 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.749 | 92260.2392 | 285719.5354 | 28.7 | 67.6
98565 | 2021-04-19 16:29 | 12.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.397 | μmol/L | 30.253 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.769 | 92366.3329 | 285719.8075 | 28.7 | 67.6
98575 | 2021-04-19 16:29 | 12.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.0689 | μmol/L | 30.2591 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.788 | 92459.227 | 285729.4059 | 28.7 | 67.6
98585 | 2021-04-19 16:29 | 13.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.7057 | μmol/L | 30.2835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.803 | 92530.2807 | 285730.7276 | 28.7 | 67.6
98595 | 2021-04-19 16:30 | 13.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.5835 | μmol/L | 30.2774 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.813 | 92587.062 | 285731.3577 | 28.7 | 67.6
98605 | 2021-04-19 16:30 | 13.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.3335 | μmol/L | 30.2286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.846 | 92707.068 | 285735.4614 | 28.7 | 67.6
98615 | 2021-04-19 16:30 | 14.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.1418 | μmol/L | 30.253 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.85 | 92733.7857 | 285724.0278 | 28.7 | 67.6
98625 | 2021-04-19 16:31 | 14.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.8198 | μmol/L | 30.2469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.873 | 92839.4199 | 285746.9625 | 28.7 | 67.6
98635 | 2021-04-19 16:31 | 14.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.7137 | μmol/L | 30.2408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.882 | 92894.022 | 285731.2028 | 28.7 | 67.6
98645 | 2021-04-19 16:31 | 15.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.1474 | μmol/L | 30.2347 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.921 | 93035.8393 | 285731.6168 | 28.7 | 67.6
98655 | 2021-04-19 16:32 | 15.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.2509 | μmol/L | 30.1919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.929 | 93103.6747 | 285721.2821 | 28.7 | 67.6
98665 | 2021-04-19 16:32 | 15.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.9367 | μmol/L | 30.2774 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.92 | 93087.6062 | 285715.78 | 28.7 | 67.6
98675 | 2021-04-19 16:32 | 16.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.7329 | μmol/L | 30.2957 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.927 | 93101.976 | 285729.2059 | 28.7 | 67.6
98685 | 2021-04-19 16:33 | 16.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.8447 | μmol/L | 30.2225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.945 | 93193.6385 | 285728.1205 | 28.7 | 67.6
98695 | 2021-04-19 16:33 | 16.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.4952 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.97 | 93300.7203 | 285728.5259 | 28.7 | 67.6
98705 | 2021-04-19 16:33 | 17.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.1044 | μmol/L | 30.253 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.983 | 93377.0928 | 285735.2073 | 28.7 | 67.6
98715 | 2021-04-19 16:34 | 17.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.0082 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.002 | 93455.7515 | 285727.7097 | 28.7 | 67.6
98725 | 2021-04-19 16:34 | 17.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.7956 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.016 | 93512.7717 | 285734.0108 | 28.7 | 67.6
98735 | 2021-04-19 16:34 | 18.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.4891 | μmol/L | 30.2286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.032 | 93588.778 | 285723.9178 | 28.7 | 67.6
98745 | 2021-04-19 16:35 | 18.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.3546 | μmol/L | 30.2225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.043 | 93663.6187 | 285728.952 | 28.7 | 67.6
98755 | 2021-04-19 16:35 | 18.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.8895 | μmol/L | 30.2652 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.059 | 93736.5891 | 285733.9003 | 28.7 | 67.6
98765 | 2021-04-19 16:35 | 19.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.8193 | μmol/L | 30.2469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.07 | 93797.2878 | 285741.4796 | 28.7 | 67.6
98775 | 2021-04-19 16:36 | 19.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.8198 | μmol/L | 30.1919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.089 | 93874.5192 | 285756.613 | 28.7 | 67.6
98785 | 2021-04-19 16:36 | 19.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.6426 | μmol/L | 30.1797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.105 | 93943.9808 | 285747.5329 | 28.7 | 67.6
98795 | 2021-04-19 16:36 | 20.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.4304 | μmol/L | 30.1858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.117 | 94000.5929 | 285759.0361 | 28.7 | 67.6
98805 | 2021-04-19 16:37 | 20.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.2652 | μmol/L | 30.1858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.128 | 94040.681 | 285749.4469 | 28.7 | 67.6
98815 | 2021-04-19 16:37 | 20.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.9048 | μmol/L | 30.2408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.133 | 94082.4582 | 285754.4717 | 28.7 | 67.6
98825 | 2021-04-19 16:37 | 21.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.9003 | μmol/L | 30.2041 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.146 | 94131.8903 | 285766.5058 | 28.7 | 67.6
98835 | 2021-04-19 16:38 | 21.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.4993 | μmol/L | 30.2469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.158 | 94207.8776 | 285766.0154 | 28.7 | 67.6
98845 | 2021-04-19 16:38 | 21.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.3501 | μmol/L | 30.2469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.168 | 94263.7495 | 285742.3331 | 28.7 | 67.6
98855 | 2021-04-19 16:38 | 22.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.2416 | μmol/L | 30.2103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.188 | 94356.2355 | 285751.9008 | 28.7 | 67.6
98865 | 2021-04-19 16:39 | 22.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.8827 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.21 | 94434.7515 | 285756.61 | 28.7 | 67.6
98875 | 2021-04-19 16:39 | 22.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.7265 | μmol/L | 30.1919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.229 | 94524.3152 | 285771.0364 | 28.7 | 67.6
98885 | 2021-04-19 16:39 | 23.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.5966 | μmol/L | 30.1797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.242 | 94601.4747 | 285771.6376 | 28.7 | 67.6
98895 | 2021-04-19 16:40 | 23.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.2452 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.253 | 94665.0667 | 285772.8228 | 28.7 | 67.6
98905 | 2021-04-19 16:40 | 23.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.8668 | μmol/L | 30.2469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.268 | 94728.524 | 285776.5574 | 28.7 | 67.6
98915 | 2021-04-19 16:40 | 24.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.7837 | μmol/L | 30.2286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.28 | 94787.2063 | 285778.4536 | 28.7 | 67.6
98925 | 2021-04-19 16:41 | 24.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.8076 | μmol/L | 30.198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.289 | 94859.4293 | 285778.1593 | 28.7 | 67.6
98935 | 2021-04-19 16:41 | 24.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5314 | μmol/L | 30.1858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.312 | 94937.6591 | 285792.165 | 28.7 | 67.6
98945 | 2021-04-19 16:41 | 25.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.3623 | μmol/L | 30.2103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.315 | 94977.9301 | 285784.5771 | 28.7 | 67.6
98955 | 2021-04-19 16:42 | 25.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.1622 | μmol/L | 30.1919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.335 | 95041.1886 | 285778.9343 | 28.7 | 67.6
98965 | 2021-04-19 16:42 | 25.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.0486 | μmol/L | 30.1797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.347 | 95098.2869 | 285783.9837 | 28.7 | 67.6
98975 | 2021-04-19 16:42 | 26.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.9625 | μmol/L | 30.1736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.355 | 95142.2227 | 285790.1581 | 28.7 | 67.6
98985 | 2021-04-19 16:43 | 26.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.6679 | μmol/L | 30.1797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.373 | 95224.0811 | 285775.9209 | 28.7 | 67.6
98995 | 2021-04-19 16:43 | 26.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3795 | μmol/L | 30.1675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.397 | 95333.8723 | 285777.6041 | 28.7 | 67.6
99005 | 2021-04-19 16:43 | 27.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1007 | μmol/L | 30.1736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 95439.2139 | 285770.3257 | 28.7 | 67.6
99015 | 2021-04-19 16:44 | 27.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7986 | μmol/L | 30.2103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.422 | 95479.4275 | 285764.5346 | 28.7 | 67.6
99025 | 2021-04-19 16:44 | 27.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.6951 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.427 | 95510.1995 | 285765.2155 | 28.7 | 67.6
99035 | 2021-04-19 16:44 | 28.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7358 | μmol/L | 30.1309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.454 | 95598.4671 | 285770.5106 | 28.7 | 67.6
99045 | 2021-04-19 16:45 | 28.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.6323 | μmol/L | 30.137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.459 | 95651.0545 | 285769.8313 | 28.7 | 67.6
99055 | 2021-04-19 16:45 | 28.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.3425 | μmol/L | 30.137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.479 | 95717.389 | 285774.6295 | 28.7 | 67.6
99065 | 2021-04-19 16:45 | 29.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.2123 | μmol/L | 30.137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.488 | 95776.7293 | 285783.8848 | 28.7 | 67.6
99075 | 2021-04-19 16:46 | 29.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.988 | μmol/L | 30.1614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.495 | 95814.2136 | 285784.7263 | 28.7 | 67.6
99085 | 2021-04-19 16:46 | 29.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.0225 | μmol/L | 30.1431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.499 | 95856.7415 | 285782.0145 | 28.7 | 67.6
99095 | 2021-04-19 16:46 | 30.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.6369 | μmol/L | 30.1309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.53 | 95983.8554 | 285787.2481 | 28.7 | 67.6
99105 | 2021-04-19 16:47 | 30.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.4317 | μmol/L | 30.1431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.54 | 96030.8216 | 285775.6563 | 28.7 | 67.6
99115 | 2021-04-19 16:47 | 30.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.1616 | μmol/L | 30.1797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.546 | 96076.4395 | 285779.6909 | 28.7 | 67.6
99125 | 2021-04-19 16:47 | 31.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.1195 | μmol/L | 30.1309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.566 | 96133.7715 | 285786.0438 | 28.7 | 67.6
99135 | 2021-04-19 16:48 | 31.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.9474 | μmol/L | 30.1309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.578 | 96203.3788 | 285774.3267 | 28.7 | 67.6
99145 | 2021-04-19 16:48 | 31.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.8939 | μmol/L | 30.1187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.586 | 96256.1124 | 285784.3743 | 28.7 | 67.6
99155 | 2021-04-19 16:48 | 32.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.6917 | μmol/L | 30.1248 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.598 | 96292.0197 | 285782.7431 | 28.7 | 67.6
99165 | 2021-04-19 16:49 | 32.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.5183 | μmol/L | 30.1309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.608 | 96344.6573 | 285783.0438 | 28.7 | 67.6
99175 | 2021-04-19 16:49 | 32.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.4974 | μmol/L | 30.1065 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.618 | 96395.4528 | 285791.3867 | 28.7 | 67.6
99185 | 2021-04-19 16:49 | 33.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.3994 | μmol/L | 30.1004 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.627 | 96448.6829 | 285799.4509 | 28.7 | 67.6
99195 | 2021-04-19 16:50 | 33.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.0916 | μmol/L | 30.0821 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.655 | 96556.6921 | 285799.6964 | 28.7 | 67.6
99205 | 2021-04-19 16:50 | 33.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.7956 | μmol/L | 30.1187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.663 | 96602.4697 | 285805.9176 | 28.7 | 67.6
99215 | 2021-04-19 16:50 | 34.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.7627 | μmol/L | 30.0882 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.676 | 96671.2202 | 285825.8823 | 28.7 | 67.6
99225 | 2021-04-19 16:51 | 34.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.4854 | μmol/L | 30.1126 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.687 | 96715.1828 | 285818.3428 | 28.7 | 67.6
99235 | 2021-04-19 16:51 | 34.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.3155 | μmol/L | 30.1126 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.699 | 96781.1638 | 285822.5039 | 28.7 | 67.6
99245 | 2021-04-19 16:51 | 35.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.2525 | μmol/L | 30.0882 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.712 | 96857.0327 | 285831.6913 | 28.7 | 67.6
99255 | 2021-04-19 16:52 | 35.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.9236 | μmol/L | 30.1004 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.731 | 96937.5771 | 285837.8212 | 28.7 | 67.6