## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 11:14

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
91171 | 2021-04-19 10:39 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.1994 | μmol/L | 30.2325 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.497 | 104867.2845 | 266905.6928 | 26.25 | 74
91181 | 2021-04-19 10:39 | 0.33981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.8918 | μmol/L | 30.2264 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.516 | 105353.6609 | 266869.494 | 26.25 | 74
91191 | 2021-04-19 10:40 | 0.67305 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.5669 | μmol/L | 30.2203 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.536 | 105880.9442 | 266860.2694 | 26.25 | 74
91201 | 2021-04-19 10:40 | 1.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.4412 | μmol/L | 30.2142 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.545 | 106431.2128 | 266816.4241 | 26.25 | 74
91211 | 2021-04-19 10:40 | 1.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.2625 | μmol/L | 30.2019 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.559 | 107010.7638 | 266788.9791 | 26.25 | 74
91221 | 2021-04-19 10:41 | 1.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0081 | μmol/L | 30.2142 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.569 | 107631.476 | 266766.3622 | 26.25 | 74
91231 | 2021-04-19 10:41 | 2.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.103 | μmol/L | 30.1836 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.574 | 108283.4394 | 266745.7506 | 26.25 | 74
91241 | 2021-04-19 10:41 | 2.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.8309 | μmol/L | 30.1958 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.585 | 109179.1489 | 266726.1016 | 26.25 | 74
91251 | 2021-04-19 10:42 | 2.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.687 | μmol/L | 30.1958 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.593 | 109936.3783 | 266692.8992 | 26.25 | 74
91261 | 2021-04-19 10:42 | 3.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.7079 | μmol/L | 30.1775 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.598 | 110715.7802 | 266671.6315 | 26.25 | 74
91271 | 2021-04-19 10:42 | 3.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.5442 | μmol/L | 30.1897 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.603 | 111487.614 | 266636.4215 | 26.25 | 74
91281 | 2021-04-19 10:43 | 3.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.5462 | μmol/L | 30.1775 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.607 | 112038.4182 | 266621.1017 | 26.25 | 74
91291 | 2021-04-19 10:43 | 4.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.2551 | μmol/L | 30.2019 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.615 | 112594.5054 | 266596.9899 | 26.25 | 74
91301 | 2021-04-19 10:43 | 4.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.4603 | μmol/L | 30.153 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.62 | 113116.6609 | 266556.6526 | 26.25 | 74
91311 | 2021-04-19 10:44 | 4.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.587 | μmol/L | 30.1469 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.615 | 113545.8179 | 266538.232 | 26.25 | 74
91321 | 2021-04-19 10:44 | 5.0067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3198 | μmol/L | 30.1347 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.634 | 113850.2283 | 266506.8802 | 26.25 | 74
91331 | 2021-04-19 10:44 | 5.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.1943 | μmol/L | 30.1347 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.641 | 114228.9358 | 266487.1203 | 26.25 | 74
91341 | 2021-04-19 10:45 | 5.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3586 | μmol/L | 30.1164 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.638 | 114548.5954 | 266475.3099 | 26.25 | 74
91351 | 2021-04-19 10:45 | 6.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3775 | μmol/L | 30.1103 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.639 | 114857.1324 | 266462.0005 | 26.25 | 74
91361 | 2021-04-19 10:45 | 6.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3048 | μmol/L | 30.1164 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.641 | 115077.0411 | 266440.7231 | 26.25 | 74
91371 | 2021-04-19 10:46 | 6.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3227 | μmol/L | 30.1164 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.64 | 115239.7044 | 266412.2341 | 26.25 | 74
91381 | 2021-04-19 10:46 | 7.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.6174 | μmol/L | 30.0675 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.64 | 115386.9983 | 266400.64 | 26.25 | 74
91391 | 2021-04-19 10:46 | 7.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7363 | μmol/L | 30.0919 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.681 | 115862.4691 | 266381.0702 | 26.25 | 74
91401 | 2021-04-19 10:47 | 7.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7185 | μmol/L | 30.0919 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.682 | 115993.2793 | 266354.3823 | 26.25 | 74
91411 | 2021-04-19 10:47 | 8.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.666 | μmol/L | 30.0858 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.687 | 116100.8895 | 266335.7575 | 26.25 | 74
91421 | 2021-04-19 10:47 | 8.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.5431 | μmol/L | 30.0736 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.698 | 116232.5073 | 266323.9964 | 26.25 | 74
91431 | 2021-04-19 10:48 | 8.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9016 | μmol/L | 30.0797 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.732 | 116544.7793 | 266295.6932 | 26.25 | 74
91441 | 2021-04-19 10:48 | 9.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9048 | μmol/L | 30.0613 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.738 | 116730.314 | 266294.4861 | 26.25 | 74
91451 | 2021-04-19 10:48 | 9.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1001 | μmol/L | 30.0613 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.727 | 116799.8184 | 266268.232 | 26.25 | 74
91461 | 2021-04-19 10:49 | 9.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0646 | μmol/L | 30.0613 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.729 | 116891.0877 | 266249.5868 | 26.25 | 74
91471 | 2021-04-19 10:49 | 10.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2612 | μmol/L | 30.0552 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.72 | 117010.3869 | 266227.611 | 26.25 | 74
91481 | 2021-04-19 10:49 | 10.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8713 | μmol/L | 30.0491 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.744 | 117275.99 | 266195.482 | 26.25 | 74
91491 | 2021-04-19 10:50 | 10.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9403 | μmol/L | 30.0613 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.736 | 117328.1965 | 266175.5312 | 26.25 | 74
91501 | 2021-04-19 10:50 | 11.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2267 | μmol/L | 30.0491 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.724 | 117413.4071 | 266148.8706 | 26.25 | 74
91511 | 2021-04-19 10:50 | 11.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1032 | μmol/L | 30.043 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.733 | 117626.9634 | 266129.9572 | 26.25 | 74
91521 | 2021-04-19 10:51 | 11.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6408 | μmol/L | 30.0491 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.757 | 117982.8727 | 266121.8067 | 26.25 | 74
91531 | 2021-04-19 10:51 | 12.0067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.023 | μmol/L | 30.043 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.794 | 118418.0018 | 266110.6256 | 26.25 | 74
91541 | 2021-04-19 10:51 | 12.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.3363 | μmol/L | 30.043 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.833 | 118813.1443 | 266085.2393 | 26.25 | 74
91551 | 2021-04-19 10:52 | 12.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.4033 | μmol/L | 30.0613 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.823 | 118960.6822 | 266071.797 | 26.25 | 74
91561 | 2021-04-19 10:52 | 13.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.2112 | μmol/L | 30.0552 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.836 | 119287.3317 | 266035.4126 | 26.25 | 74
91571 | 2021-04-19 10:52 | 13.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.7761 | μmol/L | 30.043 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.808 | 119356.0062 | 266021.1141 | 26.25 | 74
91581 | 2021-04-19 10:53 | 13.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.3704 | μmol/L | 30.0491 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.829 | 119774.5221 | 266003.1535 | 26.25 | 74
91591 | 2021-04-19 10:53 | 14.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.1376 | μmol/L | 30.0736 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.834 | 120003.5058 | 265976.6281 | 26.25 | 74
91601 | 2021-04-19 10:53 | 14.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.2638 | μmol/L | 30.0552 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.833 | 120171.0295 | 265961.5051 | 26.25 | 74
91611 | 2021-04-19 10:54 | 14.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.3879 | μmol/L | 30.0491 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.828 | 120271.5885 | 265934.4715 | 26.25 | 74
91621 | 2021-04-19 10:54 | 15.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.6877 | μmol/L | 30.043 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.87 | 120654.0907 | 265917.3101 | 26.25 | 74
91631 | 2021-04-19 10:54 | 15.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.4244 | μmol/L | 30.0491 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.883 | 120809.05 | 265912.7679 | 26.25 | 74
91641 | 2021-04-19 10:55 | 15.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3988 | μmol/L | 30.0919 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.87 | 120779.8205 | 265891.9816 | 26.25 | 74
91651 | 2021-04-19 10:55 | 16.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.4687 | μmol/L | 30.0919 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.866 | 120758.3047 | 265859.775 | 26.25 | 74
91661 | 2021-04-19 10:55 | 16.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.6785 | μmol/L | 30.0919 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.854 | 120688.928 | 265844.2849 | 26.25 | 74
91671 | 2021-04-19 10:56 | 16.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.8921 | μmol/L | 30.0736 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.848 | 120586.9625 | 265829.2575 | 26.25 | 74
91681 | 2021-04-19 10:56 | 17.0066 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.2532 | μmol/L | 30.0675 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.829 | 120462.848 | 265814.003 | 26.25 | 74
91691 | 2021-04-19 10:56 | 17.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.9096 | μmol/L | 30.0736 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.847 | 120593.0564 | 265791.8706 | 26.25 | 74
91701 | 2021-04-19 10:57 | 17.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.6622 | μmol/L | 30.0858 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.857 | 120604.2219 | 265783.9529 | 26.25 | 74
91711 | 2021-04-19 10:57 | 18.0067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.8022 | μmol/L | 30.0858 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.849 | 120528.6921 | 265747.7907 | 26.25 | 74
91721 | 2021-04-19 10:57 | 18.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.085 | μmol/L | 30.0736 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.837 | 120440.9875 | 265737.7391 | 26.25 | 74
91731 | 2021-04-19 10:58 | 18.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.5922 | μmol/L | 30.0858 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.861 | 120606.3409 | 265727.8103 | 26.25 | 74
91741 | 2021-04-19 10:58 | 19.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8061 | μmol/L | 30.0919 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.904 | 120853.5594 | 265699.9231 | 26.25 | 74
91751 | 2021-04-19 10:58 | 19.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5777 | μmol/L | 30.1041 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.913 | 120925.4343 | 265684.8016 | 26.25 | 74
91761 | 2021-04-19 10:59 | 19.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5405 | μmol/L | 30.1164 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.911 | 120910.2805 | 265677.859 | 26.25 | 74
91771 | 2021-04-19 10:59 | 20.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.7851 | μmol/L | 30.1103 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.899 | 120815.7565 | 265662.8977 | 26.25 | 74
91781 | 2021-04-19 10:59 | 20.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.9881 | μmol/L | 30.098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.891 | 120756.1395 | 265643.7069 | 26.25 | 74
91791 | 2021-04-19 11:00 | 20.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.9604 | μmol/L | 30.1041 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.891 | 120738.8229 | 265623.4853 | 26.25 | 74
91801 | 2021-04-19 11:00 | 21.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3802 | μmol/L | 30.098 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.869 | 120592.0151 | 265606.9209 | 26.25 | 74
91811 | 2021-04-19 11:00 | 21.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.2045 | μmol/L | 30.1041 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.877 | 120605.7691 | 265607.9424 | 26.25 | 74
91821 | 2021-04-19 11:01 | 21.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.1589 | μmol/L | 30.1164 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.875 | 120596.2428 | 265586.7162 | 26.25 | 74
91831 | 2021-04-19 11:01 | 22.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0614 | μmol/L | 30.1225 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.879 | 120576.3767 | 265565.5211 | 26.25 | 74
91841 | 2021-04-19 11:01 | 22.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.2556 | μmol/L | 30.1103 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.872 | 120563.2833 | 265549.0469 | 26.25 | 74
91851 | 2021-04-19 11:02 | 22.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.2556 | μmol/L | 30.1103 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.872 | 120518.3524 | 265541.5506 | 26.25 | 74
91861 | 2021-04-19 11:02 | 23.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2306 | μmol/L | 30.1041 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.933 | 120897.1826 | 265515.7679 | 26.25 | 74
91871 | 2021-04-19 11:02 | 23.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5603 | μmol/L | 30.1041 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.914 | 120750.9198 | 265501.9959 | 26.25 | 74
91881 | 2021-04-19 11:03 | 23.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4686 | μmol/L | 30.1286 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.911 | 120673.0225 | 265503.4243 | 26.25 | 74
91891 | 2021-04-19 11:03 | 24.0066 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.829 | μmol/L | 30.1103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.896 | 120589.6452 | 265486.8737 | 26.25 | 74
91901 | 2021-04-19 11:03 | 24.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.7107 | μmol/L | 30.1347 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.895 | 120562.4867 | 265460.5695 | 26.25 | 74
91911 | 2021-04-19 11:04 | 24.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6549 | μmol/L | 30.153 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.892 | 120534.9729 | 265457.4739 | 26.25 | 74
91921 | 2021-04-19 11:04 | 25.0067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.916 | μmol/L | 30.1103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.891 | 120515.9056 | 265421.9598 | 26.25 | 74
91931 | 2021-04-19 11:04 | 25.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0103 | μmol/L | 30.1164 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.884 | 120450.9517 | 265409.3478 | 26.25 | 74
91941 | 2021-04-19 11:05 | 25.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2999 | μmol/L | 30.1041 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.929 | 120752.3528 | 265400.6502 | 26.25 | 74
91951 | 2021-04-19 11:05 | 26.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7077 | μmol/L | 30.1225 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.957 | 120889.9523 | 265374.5242 | 26.25 | 74
91961 | 2021-04-19 11:05 | 26.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9337 | μmol/L | 30.1164 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.946 | 120828.7746 | 265366.2251 | 26.25 | 74
91971 | 2021-04-19 11:06 | 26.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1171 | μmol/L | 30.1103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.937 | 120760.0035 | 265355.1399 | 26.25 | 74
91981 | 2021-04-19 11:06 | 27.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.191 | μmol/L | 30.1286 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.927 | 120685.9724 | 265317.2029 | 26.25 | 74
91991 | 2021-04-19 11:06 | 27.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5243 | μmol/L | 30.1103 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.914 | 120603.3119 | 265311.2761 | 26.25 | 74
92001 | 2021-04-19 11:07 | 27.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1576 | μmol/L | 30.1225 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.931 | 120675.3012 | 265299.1664 | 26.25 | 74
92011 | 2021-04-19 11:07 | 28.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.019 | μmol/L | 30.1225 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.939 | 120714.2421 | 265289.5841 | 26.25 | 74
92021 | 2021-04-19 11:07 | 28.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8818 | μmol/L | 30.1164 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.949 | 120783.0091 | 265273.6453 | 26.25 | 74
92031 | 2021-04-19 11:08 | 28.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8312 | μmol/L | 30.1103 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.954 | 120811.2529 | 265246.852 | 26.25 | 74
92041 | 2021-04-19 11:08 | 29.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7978 | μmol/L | 30.1041 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.958 | 120788.5196 | 265233.9687 | 26.25 | 74
92051 | 2021-04-19 11:08 | 29.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8139 | μmol/L | 30.1103 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.955 | 120779.9185 | 265243.0274 | 26.25 | 74
92061 | 2021-04-19 11:09 | 29.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9201 | μmol/L | 30.098 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.953 | 120734.7604 | 265213.4357 | 26.25 | 74
92071 | 2021-04-19 11:09 | 30.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0227 | μmol/L | 30.1041 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.945 | 120678.4006 | 265207.8699 | 26.25 | 74
92081 | 2021-04-19 11:09 | 30.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8509 | μmol/L | 30.098 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.957 | 120751.8375 | 265189.711 | 26.25 | 74
92091 | 2021-04-19 11:10 | 30.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6954 | μmol/L | 30.098 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.966 | 120760.2435 | 265179.13 | 26.25 | 74
92101 | 2021-04-19 11:10 | 31.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6966 | μmol/L | 30.0919 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.968 | 120803.5302 | 265174.5167 | 26.25 | 74
92111 | 2021-04-19 11:10 | 31.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.524 | μmol/L | 30.0919 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.978 | 120856.1061 | 265154.3867 | 26.25 | 74
92121 | 2021-04-19 11:11 | 31.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.561 | μmol/L | 30.0797 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.98 | 120846.2158 | 265147.3106 | 26.25 | 74
92131 | 2021-04-19 11:11 | 32.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.471 | μmol/L | 30.098 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.979 | 120857.0583 | 265138.5864 | 26.25 | 74
92141 | 2021-04-19 11:11 | 32.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3701 | μmol/L | 30.0858 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.989 | 120899.2289 | 265120.6007 | 26.25 | 74
92151 | 2021-04-19 11:12 | 32.6734 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4588 | μmol/L | 30.0736 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.988 | 120862.509 | 265111.4843 | 26.25 | 74
92161 | 2021-04-19 11:12 | 33.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9768 | μmol/L | 30.0736 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.016 | 121057.1365 | 265110.6387 | 26.25 | 74
92171 | 2021-04-19 11:12 | 33.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9265 | μmol/L | 30.0675 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.021 | 121095.6744 | 265095.9267 | 26.25 | 74
92181 | 2021-04-19 11:13 | 33.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9634 | μmol/L | 30.0552 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.023 | 121060.7152 | 265084.4717 | 26.25 | 74
92191 | 2021-04-19 11:13 | 34.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.015 | μmol/L | 30.0552 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.02 | 121027.365 | 265072.2545 | 26.25 | 74